## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

## PROCESSING NOTES

Cruise: 2002-36

Agency: OSAP

Location: Broughton Archipelago

Project: Circulation and Oceanography of the Broughton Archipelago

Party Chief: Stucchi D.

Platform: Vector

Date: 9 December 2002 – 16 December 2002

Processed by: Germaine Gatien

Date of Processing: 24 March 2003 – 5 April 2002

Number of original CTD casts: 31

Number of casts processed: 31

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0550) was mounted with a Transmissometer (498DR), SBE 43 Dissolved Oxygen Sensor (S/N #0047), PAR sensor #4615 and Seapoint Fluorometer (S/N #2229). The DO sensor was mounted on the primary pump and the fluorometer on the secondary. The fluorometer had a 10X cable. The deck unit S/N was #0619.

# SUMMARY OF QUALITY AND CONCERNS

The data was in good order but there was some confusion about configuration files.

The dissolved oxygen sensor continues to show poor time response. Attempts have been made to correct for some of this error using titrated samples, but the errors are considered to be on the order of:

- ±0.4 ml/l  from 0 to 125m

- ±0.2 ml/l  from 125 to 200m

- ±0.1 ml/l  below 200m

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension DAT.

##### Preliminary Steps

The Log Book was obtained and read.

Salinity, dissolved oxygen and chlorophyll calibration data was obtained.

The cruise summary sheet was completed.

The data entry in the configuration files was correct except for the date of the pressure calibration.

There were many versions of the configuration file as the scientific party were confused about the order of the external sensors and had concerns about some of the values being observed.

File 2002-36-test.con was prepared with what appear to be the correct entries. Checks will need to be made that all casts look reasonable after conversion.

The sensor history was found.

##### Conversion of Raw Data

The raw data was converted using configuration file 2002-36-test.con; rosette files were converted separately with salinity channels included.

A preliminary check of a few casts shows all expected channels present.

The temperature and conductivity traces track very well during downcasts and up and downcasts are similar, but there is a lot of spiking in the data and upcast data shows evidence of alignment differences.

The transmissivity looks ok and the oxygen looks like other data logged with this instrument – there is clear evidence of poor response time.

The PAR data looks very odd – with very low maximum values (~0.6) and not at all smooth. The fluorescence also looks odd, being unreasonably smooth. It looks as though the PAR and Fluorescence might be reversed. During the cruise the scientific party discovered that the transmissivity and oxygen sensors were reversed and the con file was changed. It looks like all the sensors were attached in the opposite sense from the usual. A new con file was prepared (2002-36-CTD.con) with those two channels reversed. Test conversions produced fluorescence that has the right look and values reasonably close to chlorophyll samples. The PAR data looks smoother, but values are still lower than expected.

Other data sets with PAR data were checked to see what values are seen in observations in low light conditions. For 2001-33 in early October around 6:45 pm, the maximum was about 24 and at 8pm about 2.7. For 2001-33 in May casts in the middle of the night had maxima of about 2.5. Dario Stucchi reports that the weather was drizzly and dark during 2002-36, so conditions like those at dusk may be reasonable.

The data was reconverted using file 2002-36-CTD.con.

##### WILDEDIT

Program WILDEDIT was used to remove spikes in all channels due to spikiness noted in many casts.  Parameters used were:

Pass 1    Std Dev = 2

Pass 2    Std Dev = 5

Points per block = 50

##### CELLTM

Tests were run on casts #4, 15 and 28 to find the optimal parameter choice for CELLTM. Runs using (0.02,9), (0.03,9), (0.03,7) and (0.03,7) were used for (alpha, 1/beta). There was very little difference between any of the results for the first two casts, probably because there was such a small temperature range. For cast #28 with a larger range there were very small differences; (0.03,9) was the best choice overall for both conductivity channels. CELLTM was run on all casts for both channels using (0.03,9).

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity.

on all casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity and to calculate the descent rate. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

A sample of casts was plotted to check for agreement between the pairs of T and C sensors. All expected channels were present. The differences in conductivity and salinity were extremely noisy and the values that follow are very rough averages:

| Cast # | Max. Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 11 | 470 | -0.0004 | -0.00027 | -0.0025 | ~0.8m/s, very steady |
| 26 | 540 | -0.0005 | -0.00025 | -0.0022 | ~0.8m/s, very steady |
| 29 | 650 | -0.0004 | -0.00025 | -0.0025 | ~0.8m/s, very steady |
| 30 | 670 | -0.0005 | -0.00027 | -0.0024 | >1m/s, very steady |

The T and C sensors have been recalibrated since last used. The temperature differences are much smaller than observed during 2002-11 when these sensors were last used. This may just reflect the small temperature range for this data set. The conductivity and salinity differences are a little higher than for cruises in April and May during which this equipment was used.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers. CLEAN was used to add event numbers.

The ROS files were converted to IOS files, CLEAN was run to add event numbers and the extensions were changed to BOT.

All casts were plotted and checked for evidence of problems with the processing or instruments. The only notable differences between up and downcasts were for the dissolved oxygen sensor which continues to show poor time response.

##### Checking Headers

A header summary and a header check were produced and checked. Two errors in station numbers were found and fixed.

The mixed layer depth indicates that the surface is not sufficiently well-mixed for shallow salinity calibrations to be useful. The average surface pressure is 0.6 db.

The cruise track was plotted and looks reasonable.

##### 10. COMPARE

The BOT files were examined for errors and none were found.

SALINITY

COMPARE was run. After 5 extreme outliers were excluded the primary salinity was high by 0.0022 units and the secondary low by about 0.0001 units. When only data from 475m down is included the primary is high by 0.004 and the secondary by 0.002 units. Using only the 5 bottles from below 600db the differences are +0.0033 and +0.0009. There is quite a large gradient in temperature and salinity at mid-depths so using only the 5 deepest bottles may be the best move.

There is a hint of time-dependence but it looks exactly the same for each sensor and so is probably a geographical artifact; the later casts were deeper than the early casts. (See 2236comp.xls)

DISSOLVED OXYGEN (2002-36 and 2002-41 were considered together for this step)

- A three-step approach was taken to determining the correction of the dissolved oxygen channel.

- First, COMPARE was run using the OXY files (titrated oxygen values) and the SBE_DOX channel from the CTD bottle files. This corrects for the errors in calibration of the sensor. It is assumed that by the time the bottle is fired the sensor has come to equilibrium, but in fact, in areas of high gradient of DOX this is far from true, but is the best we can do. As has been found for other data sets the best fit is differences versus dissolved oxygen rather than versus pressure or time. The results are as follows:

- Titrated oxygen = 1.1054*(SBE_DOX) – 0.0565

- For 2002-41 a similar result was found:

- Titrated oxygen = 1.1170*(SBE_DOX) – 0.1051

- Because there is so much scatter it seemed wise to combine the two data sets and the results were then:

- Titrated oxygen = 1.1090*(SBE_DOX) – 0.0704

- Attempts were made to achieve a tighter fit by excluding outliers but the effects were small and hard to justify. As noted with other data sets, there is some apparent dependence on pressure, but that is likely a secondary effect since the DOX values are varying with pressure. Similarly a slight hint of time-dependence completely disappears when the two cruises are examined together. Each of the cruises moved through different water types muddying the issue. (See 2236oxy.xls and 36-41combo_DOX.xls.)

- The second step in the analysis involved shifting the oxygen channel to improve the alignment relative to pressure. There is clearly a large delay in the oxygen – this step will attempt to align features in downcast and upcast data so the vertical offset is the same as for temperature. This is a fairly gross estimate since again it depends on descent rate and local gradients; moreover, the upcast temperature for this cruise was particularly noisy and the upcast contained many stops. Nonetheless, since the position of features is one of the more important uses of this data it seems important to try to get the features to a realistic pressure. For 2002-31 a value of +220 records was found after extensive analysis. For 2002-36 estimates of +170, +220 and 250 records were made based on different features. The higher values are in higher gradient zones. There were bottle stops for all casts complicating the issue. From 2002-41 two casts with steady descent rate and no bottle stops suggest that +220 records is the best choice.

- After running SHIFT and DELETE a set of recalibrated, averaged and calibrated downcast files will be compared with the titrated values. At that point a fit of differences vs pressure may be chosen to correct some of the time-response errors that remain after SHIFT.

###### CHLOROPHYLL

- A comparison was also made between the chlorophyll data and the SeaPoint fluorometer data from averaged rosette bottle files. The chlorophyll concentration was low, no values higher than 0.5. The  Fluorometer/CHL ratio varied from 1.25 to 2.9 with an average of 1.9. The higher values occurred during the later part of the cruise in Jervis Inlet. These values are similar to other observations using this equipment when the fluorometer appears to read high in low chlorophyll conditions. (See 2236chl.xls.) There was no chlorophyll sampling for 2002-41.

- The offset between upcast and downcast fluorescence was compared to that of temperature in the same way as was done for dissolved oxygen to determine if alignment is needed. The noisy upcast temperature trace, low fluorescence values and frequent stops for bottles makes this difficult and estimates of lags of 0s, 1s, 1.5s, 1.5s, 1.7s and 3s were found. For 2002-41, with the same equipment, there were some casts without stops but noisy upcast temperature traces and low fluorescence values continued; 0.5s to 3s lags were found. During 2002-38 using similar equipment a lag of 1s (24 records) was found. The fluorescence will be advanced by 24 records.

##### SHIFT

###### Conductivity

The routine SHIFT was used to align the conductivity.  The deck unit was one of the newer versions that advance both channels by 0.073s. Tests were run on casts #17 and 20 using shifts between –0.6 records and +0.2 records. After shifting, the data was put through DELETE then displayed in T-S space to look for the choice that “just” removes unstable salinity spikes without oversmoothing. The best results were with shifts of –0.2 for both primary and secondary conductivity.

###### Dissolved Oxygen

Based on the analysis in the previous section the dissolved oxygen sensor was advanced by +220 records.

###### Fluorescence

The fluorescence was shifted by +24 records.

##### DELETE

CLEAN was run to replace pad values in pressure with interpolated values.

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Pressure Tolerance: 1.0

Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates < 0.3m/s (calculated over 11 points) was deleted between 10db and 10db above the maximum pressure.

Sample interval =  .0412 seconds.

COMMENTS ON WARNINGS:

The only warnings in the DELETE log pertained to odd pressures in the 95-106db range for cast #1.

All DEL files were copied to EDT files.

##### Final comparison of SBE DOX

The downcast data was averaged in 1m bins and thinned to depths corresponding to bottles. The DOX channel was recalibrated using the results of section 10 which correct for the errors in the sensor itself. A comparison was then run between the titrated values and the thinned, recalibrated downcast data. There are two sources of error in what remains - time response errors not fixed by SHIFT and real differences between up and downcast. Since we can not distinguish between the two we just hope the latter is not too significant. A second recalibration was done using file 2236rcal2.ccf, based on the 2nd run of COMPARE, in an attempt to remove the time response error. A number of attempts were made and a linear fit excluding all bottom bottles, worked as well as any other choice. There remain significant errors particularly in the top 125db.

##### DETAILED EDITING

The secondary sensors were chosen for further processing because the secondary salinity was less noisy and closer to the bottles than the primary.

Page plots were produced using T1,S1. These plots were examined for spikes and instabilities and used to guide the use of CTDEDIT. Salinity was cleaned where large spikes occurred. Small spikes were cleaned only if it was clear they were due to imperfect alignment of T and C.

All casts except #3, 7, 21 and 23 required light editing; for many, records near the top and bottom were removed and salinity was cleaned very lightly. No casts required heavy editing.

Note was made of the editing details in the relevant files.

The edited files were copied to EDT files so that a complete set of files exists with either edited data or data that does not require editing.

##### SPECIAL FLUOROMETER PROCESSING (FILTER AND BIN AVERAGE)

A median filter with fixed size 11 was applied to the SeaPoint fluorometer channel to reduce spikiness. One cast was examined before and after this step and showed that the filter was effective.

BIN AVERAGE with an average interval of 0.25m was applied to the output of the filter. The ¼m-averaged files were recalibrated and stored in a separate directory for the use of Angelica Peña.

The full BOT files were recalibrated and saved for Angelica Peña.

##### BIN AVERAGE

The following Bin Average values were applied to the DEL files for general use:

Bin channel = pressure

Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

The same values were used for the BOT files except that the Bin Channel = Bottle Number.

After averaging, page plots were examined on screen and no further editing was deemed necessary.

##### Other comparisons

Previous experience with these sensors – The sensors have been used only one other time since the last recalibration. The comparison for 2002-41 was poor due to a huge scatter and shallow sampling in very actively mixing water; the primary salinity was found to be high by about 0.0026 units and the secondary low by 0.0003.

Historic ranges – There was no useful climatology available for this area.

##### Recalibration

The SBE 43 oxygen data was recalibrated in two steps using 2236rcal1.ccf and 2236rcal2.ccf.

The salinity was not recalibrated since the differences from bottles are small and scattered.

##### Final Plots

THIN and DERIVE were run to obtain values for tables and page plots were prepared using the edited data.

##### REMOVE

The following channels were removed from all CTD casts: Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Bottle_number, Status:Pump and Flag.

The following channels were removed from all rosette files: Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Status:Pump and Flag.

EDIT HEADERS was used to fix the data format of CTD and RAC files and to add a warning to the headers of the CTD files as follows:

Transmissivity: The data are unedited.

Fluorescence:URU:Seapoint – The data are nominal.

Oxygen:Dissolved:SBE – This channel was processed by shifting +220 records with respect to pressure before removal of any records. Recalibration was done in two steps, using files 2236rcal1.ccf and 2236rcal2.ccf as described in the REMARKS section of the header.

The anticipated errors in oxygen are:

- ±0.4 ml/l  from 0 to 125m

- ±0.2 ml/l  from 125 to 200m

- ±0.1 ml/l  below 200m

The final files were named CTD and RAC.

##### Producing final files

A cross-reference listing was produced.

The sensor history was updated.

##### Particulars

8. Hit bottom

# Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#: 2002-36

Dates: Start: 9 December 2002 End: 16 December 2002

Location: Broughton Archipelago

Vessel: Vector

Party Chief: Stucchi, D.

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0550 | Yes | Yes |

Institute of Ocean Sciences

# CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/	0550

Cruise ID#:		2002-36

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2968 | 9/07/21 | Factory |  |  |
| Conductivity | 2173 | 9/07/21 | “ |  |  |
| Secondary Temp. | 2038 | 18/09/01 | “ |  |  |
| Secondary Cond. | 1729 | 9/07/21 | “ |  |  |
| Fluorometer –pumped | 2229 | 9/07/21 | IOS |  |  |
| PAR | 4615 | 15/12/00 |  |  |  |
| Oxygen SBE43 | 0047 | 21/08/02 | Factory |  |  |
| Transmissometer | 498DR | 05/12/02 | IOS |  |  |
| Pressure Sensor | 75636 | 6/04/1999 | Factory |  |  |