File List for SeaBird Data

Cruise Number: _2002-38____

[OSAPCOMMON.ctd.2002-38]

*.hdr - original files from SeaSave

*.dat - 		“

*.con -     	“

[OSAPCOMMON.ctd.2002-38.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[OSAPCOMMON.ctd.2002-38.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[OSAPCOMMON.ctd.2002-38.doc]

2002-38_proc.doc - processing notes

2002-38_file.doc - this document

2002-38header.hdr – header warnings; input for HEADER EDIT

2002-38-rcal.ccf – calibration control file

[OSAPCOMMON.ctd.2002-38.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log and *.lo& - log files created by CTDEDIT.

Delete.log - log from routine DELETE

*.rev – cast #31 - reversed full data file after conversion to IOS HEADERS, CLEAN and SHIFT

[OSAPCOMMON.ctd.2002-38.hydro]

*.sal  - salinity bottle data provided by Bernard Minkley

*.thn – upcast data averaged and thinned to depths of Niskin bottle samples

2002-38_comp.xls   - EXCEL file comparing Niskin bottle salinity and CTD salinity

2002-38chlhugh.xls – chlorophyll data

2002-38flcomp1.xls – comparisons of chlorophyll and fluorescence

2002-38Flcomp2.xls – more comparisons of chlorophyll and fluorescence

2002-38 salinity:notes.txt – notes provided by Bernard Minkley on salinity sampling