File List for SeaBird Data

Cruise Number: _2002-40____

[osapcommon.ctd.2002-40.doc]

2002-40_proc.doc - processing notes

2002-40_file.doc - this document

2002-40hdr.txt – header file used to add comments to the headers of the CTD files

[osapcommon.ctd.2002-40.ctd data]

*.con - original files from SeaSave

*.dat -      	“

*.hdr -		“

[osapcommon.ctd.2002-40.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon.ctd.2002-40.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon.ctd.2002-40.ios]

*.avg - data after metre-averaging using BINAVE

*.cln – *.ios files with event numbers added

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon.ctd.2002-40.hydro]

*.sal – salinity calibration files provided by Sheila Toews

2240comp.xls – comparison of Niskin bottle salinity with CTD salinity