## Final Data
Cruise |  |  | 2003-01
Ship |  |  | CCGS John P. Tully
Dates |  |  | February 5-18, 2003
Chief Scientist |  |  | Marie Robert
update from raw data
Date | Time | Latitude | Longitude | Station | Cast | Niskin | Sample | NomDepth | Pres | Bot S | TIC | TIC | ALK | ALK | Comments
UTC | UTC |  |  |  | # | # | # | m | dbar | (PSU) | umol/kg | FLAG | umol/kg | FLAG
20030212 | 18:32 | 50.1162 | -145.4987 | SOLO | 12 | 8 | 121 | 1500 | 1500.943 | 34.5095 | 2400.782 | 6 | 2400.2455 | 6
20030212 | 18:32 | 50.1162 | -145.4987 | SOLO | 12 | 7 | 120 | 1500 | 1500.432 | 34.508 | 2397.6789 |  | 2402.9646
20030212 | 18:32 | 50.1162 | -145.4987 | SOLO | 12 | 6 | 119 | 1500 | 1500.276 | 34.5086 | 2399.4138 | 6 | 2402.4122 | 3,6 | Alk: Large difference between replicates
20030212 | 18:32 | 50.1162 | -145.4987 | SOLO | 12 | 5 | 118 | 1500 | 1500.809 | 34.5076 | 2397.8879 | 6 | 2401.3367 | 6
20030212 | 18:32 | 50.1162 | -145.4987 | SOLO | 12 | 4 | 117 | 1500 | 1500.857 | 34.507 | 2396.834 | 6 | 2400.0429 | 6
20030212 | 18:32 | 50.1162 | -145.4987 | SOLO | 12 | 3 | 116 | 1500 | 1500.668 | 34.5083 | 2399.7549 | 6 | 2399.9109 | 6
20030212 | 18:32 | 50.1162 | -145.4987 | SOLO | 12 | 2 | 115 | 1500 | 1500.213 | 34.5077 | 2399.2142 | 6 | 2400.6933 | 6
20030212 | 18:32 | 50.1162 | -145.4987 | SOLO | 12 | 1 | 114 | 1500 | 1500.862 | 34.5077 | 2396.9022 | 6 | 2403.8627 | 6
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 24 | 161 | 0 | 0.178 | 32.5941 | 2006.9786 |  | 2198.7968
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 23 | 160 | 10 | 9.272 | 32.594 | 2019.4766 |  | 2199.1173
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 22 | 159 | 25 | 24.125 | 32.5944 | 2030.8427 |  | 2185.0915
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 21 | 158 | 50 | 49.465 | 32.5949 | 2032.3157 |  | 2183.2153
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 20 | 157 | 75 | 74.386 | 32.5973 | 2038.1795 |  | 2184.3851
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 19 | 156 | 100 | 99.988 | 32.9974 | 2106.7923 |  | 2196.2028
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 18 | 155 | 125 | 125.262 | 33.3269 | 2169.9201 |  | 2197.1926
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 17 | 154 | 150 | 150.421 | 33.565 | 2218.8026 |  | 2226.3069
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 16 | 153 | 175 | 174.483 | 33.7305 | 2254.6484 |  | 2259.9104
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 15 | 152 | 200 | 200.026 | 33.7756 | 2270.3241 |  | 2274.9275
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 14 | 151 | 250 | 250.043 | 33.8423 | 2274.2427 |  | 2301.2024
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 13 | 150 | 300 | 301.274 | 33.9027 | 2284.4237 |  | 2312.2002
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 12 | 149 | 400 | 400.356 | 34.0268 | 2307.8622 |  | 2326.3675
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 11 | 148 | 600 | 600.536 | 34.1906 | 2336.7053 |  | 2347.1934
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 10 | 147 | 800 | 800.292 | 34.2976 | 2363.7138 |  | 2379.1872
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 9 | 146 | 1000 | 1000.847 | 34.3772 | 2383.8782 |  | 2398.1535 | 3 | Alk: High relative to historical experience
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 8 | 145 | 1250 | 1249.666 | 34.4493 | 2396.4156 |  | 2411.211 | 3 | Alk: High relative to historical experience
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 7 | 144 | 1500 | 1500.107 | 34.5023 | 2389.211 |  | 2410.1812
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 6 | 143 | 2000 | 2000.215 | 34.5838 | 2384.7336 |  | 2413.4305
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 5 | 142 | 2500 | 2500.114 | 34.6275 | 2376.7134 |  | 2423.2186
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 4 | 141 | 3000 | 2999.948 | 34.6544 | 2363.2249 |  | 2422.3088
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 3 | 140 | 3500 | 3501.384 | 34.6716 | 2357.7239 |  | 2431.837
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 2 | 139 | 4000 | 3999.579 | 34.6805 | 2345.1562 |  | 2435.1363
20030213 | 2:33 | 50.0043 | -144.9967 | P26 | 16 | 1 | 138 | Bot-20 | 4303.339 | 34.6826 | 2342.6177 |  | 2429.1575
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 24 | 191 | 0 | 0.144 | 32.4336 | 1999.6561 |  | 2171.2911
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 23 | 190 | 10 | 9.668 | 32.4333 | 1999.462 |  | 2174.9639
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 22 | 189 | 25 | 24.282 | 32.4372 | 2005.3833 |  | 2172.6721
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 21 | 188 | 50 | 49.476 | 32.468 | 2015.6827 |  | 2200.7098
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 20 | 187 | 75 | 74.714 | 32.4935 | 2015.0246 |  | 2215.0518
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 19 | 186 | 100 | 100.772 | 32.8254 | 2064.6125 |  | 2242.7645
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 18 | 185 | 125 | 124.469 | 33.071 | 2091.2741 |  | 2249.7853
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 17 | 184 | 150 | 148.947 | 33.3662 | 2132.6841 |  | 2259.1297
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 16 | 183 | 175 | 174.724 | 33.611 | 2176.1854 |  | 2269.2253
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 15 | 182 | 200 | 200.759 | 33.7683 | 2208.7981 |  | 2277.1475
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 14 | 181 | 250 | 250.358 | 33.8129 | 2246.9811 |  | 2288.505
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 13 | 180 | 300 | 299.378 | 33.8592 | 2274.7684 |  | 2298.6206
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 12 | 179 | 400 | 399.923 | 33.9828 | 2306.6992 |  | 2315.3463
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 11 | 178 | 600 | 599.133 | 34.1796 | 2338.4411 |  | 2348.7979 | 3 | Alk: High relative to historical experience
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 10 | 177 | 800 | 799.508 | 34.2782 | 2367.4952 |  | 2379.2548 | 3 | Alk: High relative to historical experience
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 9 | 176 | 1000 | 1000.179 | 34.3638 | 2382.5641 |  | 2382.6901
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 8 | 175 | 1250 | 1250.103 | 34.439 | 2392.3175 |  | 2393.7444
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 7 | 174 | 1500 | 1500.264 | 34.4966 | 2396.8248 |  | 2415.9313
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 6 | 173 | 2000 | 2002.169 | 34.5826 | 2388.0449 | 6 | 2410.3323 | 3,6 | Alk: Differs from replicate niskin
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 5 | 172 | 2000 | 2002.159 | 34.5821 | 2389.1191 |  | 2417.6697 | 3 | Alk: Differs from replicate niskin
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 4 | 171 | 2500 | 2499.984 | 34.6226 | 2375.2186 |  | 2417.6297
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 3 | 170 | 3000 | 3000.53 | 34.6525 | 2355.001 |  | 2422.1688
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 2 | 169 | 3500 | 3500.489 | 34.6676 | 2356.6344 | 3 | 2435.1763 |  | TIC: Unstable analysis
20030215 | 0:06 | 49.5667 | -138.6667 | P20 | 28 | 1 | 168 | Bot-20 | 4002.033 | 34.6764 | 2351.1885 |  | 2455.6224 | 3 | Alk: High relative to historical experience
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 24 | 218 | 0 | 1.453 | 32.3548 | 2009.188 |  | 2173.3441
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 23 | 217 | 10 | 10.655 | 32.3568 | 2011.4945 |  | 2162.0494
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 22 | 216 | 25 | 25.332 | 32.3551 | 2010.4118 |  | 2184.8698
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 21 | 215 | 50 | 50.561 | 32.3555 | 2010.773 |  | 2191.8938
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 20 | 214 | 75 | 75.372 | 32.692 | 2050.159 |  | 2194.983
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 19 | 213 | 100 | 100.66 | 32.9087 | 2096.082 |  | 2209.9807
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 18 | 212 | 125 | 126.038 | 33.2538 | 2115.2286 |  | 2230.2662
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 17 | 211 | 150 | 149.91 | 33.5746 | 2130.6455 |  | 2252.9018
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 16 | 210 | 175 | 174.683 | 33.7078 | 2180.1962 |  | 2262.3141
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 15 | 209 | 200 | 200.798 | 33.8035 | 2208.2124 |  | 2264.4195
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 14 | 208 | 250 | 251.169 | 33.8608 | 2235.0976 |  | 2283.3133
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 13 | 207 | 300 | 300.506 | 33.8938 | 2263.6324 |  | 2289.4035
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 12 | 206 | 400 | 399.805 | 33.99 | 2293.443 |  | 2303.9376
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 11 | 205 | 600 | 600.958 | 34.1644 | 2332.5867 |  | 2328.197
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 10 | 204 | 800 | 800.533 | 34.2796 | 2363.5162 |  | 2361.7937
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 9 | 203 | 1000 | 1000.815 | 34.3652 | 2375.6338 |  | 2371.1493
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 8 | 202 | 1250 | 1250.758 | 34.445 | 2387.5386 |  | 2393.8069
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 7 | 201 | 1500 | 1499.79 | 34.5069 | 2391.5545 |  | 2398.2643
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 6 | 200 | 2000 | 1999.409 | 34.591 | 2378.8617 | 6 | 2420.8654 | 6
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 5 | 199 | 2000 | 2000.155 | 34.5905 | 2378.5857 |  | 2420.6816
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 4 | 198 | 2500 | 2500.469 | 34.6246 | 2369.8589 |  | 2417.4562
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 3 | 197 | 3000 | 2999.676 | 34.6503 | 2357.991 | 3 | 2420.962 |  | TIC: Unstable analysis
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 2 | 196 | 3500 | 3499.742 | 34.6651 | 2351.763 | 3 | 2427.3326 |  | TIC: Unstable analysis
20030216 | 1:39 | 49.2835 | -134.6667 | P16 | 34 | 1 | 195 | bot-20 | 3678.292 | 34.6677 | 2351.5647 |  | 2432.2007
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 23 | 244 | 0 | 2.216 | 32.3034 | 2008.0684 |  | 2173.8036
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 21 | 242 | 25 | 24.994 | 32.3044 | 2010.4321 |  | 2172.3753
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 20 | 241 | 50 | 49.257 | 32.3065 | 2010.4568 |  | 2177.2354
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 19 | 240 | 75 | 74.333 | 32.5455 | 2048.9088 |  | 2182.5432
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 18 | 239 | 100 | 99.856 | 33.0905 | 2119.6865 |  | 2212.5077
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 17 | 238 | 125 | 124.979 | 33.3928 | 2150.8493 |  | 2228.0193
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 16 | 237 | 150 | 150.984 | 33.5723 | 2165.0175 |  | 2232.4541
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 15 | 236 | 175 | 175.215 | 33.801 | 2198.0025 |  | 2243.6608
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 14 | 235 | 200 | 200.176 | 33.9235 | 2214.6757 |  | 2257.3562
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 13 | 234 | 250 | 250.339 | 33.9522 | 2238.3355 |  | 2271.1566
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 12 | 233 | 300 | 300.765 | 33.9899 | 2260.7841 |  | 2281.6158
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 11 | 232 | 400 | 400.707 | 34.0192 | 2297.0023 |  | 2304.2016
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 10 | 231 | 600 | 599.739 | 34.1258 | 2334.4742 |  | 2327.3616
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 9 | 230 | 800 | 801.22 | 34.2499 | 2362.4896 |  | 2347.7645
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 8 | 229 | 1000 | 1001.044 | 34.3406 | 2376.1668 |  | 2359.9237
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 7 | 228 | 1250 | 1250.47 | 34.4481 | 2388.7424 | 3,6 | 2374.6948 | 6 | TIC: Large difference between replicates
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 6 | 227 | 1250 | 1249.441 | 34.4483 | 2387.5893 |  | 2375.4442
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 5 | 226 | 1500 | 1500.761 | 34.509 | 2393.2876 |  | 2393.9519
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 4 | 225 | 2000 | 1999.838 | 34.5907 | 2384.3138 |  | 2403.0358
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 3 | 224 | 2500 | 2499.867 | 34.6249 | 2377.5251 |  | 2417.3666
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 2 | 223 | 3000 | 2999.399 | 34.6486 | 2368.0941 |  | 2433.9775
20030217 | 3:15 | 48.97 | -130.6668 | P12 | 40 | 1 | 222 | Bot-20 | 3260.428 | 34.6497 | 2365.1477 |  | 2420.5668
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 19 | 288 | 0 | 2.93 | 32.3121 | 1996.5075 |  | 2175.2783
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 18 | 287 | 10 | 9.932 | 32.3144 | 1995.3358 |  | 2184.4046
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 17 | 286 | 25 | 24.958 | 32.3116 | 1995.7016 |  | 2183.3402
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 16 | 285 | 50 | 49.6 | 32.3011 | 1995.6894 |  | 2179.7274
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 15 | 284 | 75 | 75.035 | 32.3143 | 2013.9447 |  | 2170.0926
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 14 | 283 | 100 | 99.945 | 32.6486 | 2042.1063 |  | 2194.7506
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 13 | 282 | 125 | 125.484 | 33.086 | 2104.2595 |  | 2221.652
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 12 | 281 | 150 | 150.617 | 33.5321 | 2149.7229 |  | 2234.483
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 11 | 280 | 175 | 175.177 | 33.6762 | 2164.4345 |  | 2241.4273
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 10 | 279 | 200 | 199.72 | 33.8891 | 2191.3103 |  | 2257.0545
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 9 | 278 | 250 | 250.444 | 33.9608 | 2213.7266 |  | 2280.3353
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 8 | 277 | 300 | 300.363 | 33.9712 | 2249.3523 |  | 2294.7934
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 7 | 276 | 400 | 400.067 | 34.0123 | 2281.1837 |  | 2298.2506
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 6 | 275 | 600 | 600.759 | 34.1391 | 2327.3869 |  | 2316.7454
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 5 | 274 | 800 | 799.633 | 34.2359 | 2351.2859 | 6 | 2358.621 | 6
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 4 | 273 | 800 | 800.072 | 34.2358 | 2350.4409 |  | 2357.9016
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 3 | 272 | 1000 | 1000.323 | 34.3622 | 2372.5246 |  | 2374.8077
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 2 | 271 | 1250 | 1249.932 | 34.462 | 2384.7329 |  | 2403.0345
20030218 | 10:08 | 48.6503 | -126.668 | P4 | 51 | 1 | 270 | Bot-20 | 1301.081 | 34.4744 | 2386.5672 |  | 2406.7714

## Metadata
cruise |  | 2003-01
ship |  | CCGS John P. Tully
dates |  | February 5 - February 18, 2003
Chief Scientist |  | Marie Robert
Reference: | Miller, L.A., M. Davelaar, and J. Linguanti, 2010. Line P Inorganic Carbon Data Set, Cruise 2003-01, February 2003. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
Samples collected in 500ml bottles, to which 100 microlitres of HgCl2 was added.
Both TIC and Alkalinity were analyzed from the same bottle
Analysts: | Marty Davelaar and Suzanne Wratten
flags
3 = suspect sample
6 = mean of replicate samples
Total inorganic carbon
Coulometric titration
| Reference: |  | DOE (1994) Handbook of methods for the analysis of the various parameters of the carbon dioxide system in sea water.Version 2, A. G. Dickson & C. Goyet, eds. ORNL/CDIAC-74
Standardization technique |  |  | CRM water
Analysis temperature (C) |  |  | 20
Standards used:
Dickson CRM |  |  | 57
certified value |  |  | 2005.98 +/- 0.55
IOS standard |  |  | 11
calibrated value |  |  | 2177.50 +/- 0.49
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
notes: | 169 | Unstable analysis
| 196 | Unstable analysis
| 197 | Unstable analysis
| 228 | Large difference between replicates
Replicate Analyses (same niskin)
Sample | A | B | Average | Difference | Absolute
id | umol/kg | umol/kg | umol/kg | umol/kg | Difference
114 | 2396.4162 | 2397.3882 | 2396.9022 | -0.97196 | 0.97196
115 | 2399.1518 | 2399.2766 | 2399.2142 | -0.12478 | 0.12478
116 | 2400.3731 | 2399.1366 | 2399.7549 | 1.2364 | 1.2364
117 | 2397.3339 | 2396.3342 | 2396.834 | 0.99973 | 0.99973
118 | 2397.5684 | 2398.2074 | 2397.8879 | -0.63897 | 0.63897
119 | 2399.6082 | 2399.2194 | 2399.4138 | 0.38878 | 0.38878
121 | 2400.5098 | 2401.0542 | 2400.782 | -0.54438 | 0.54438
173 | 2388.3225 | 2387.7673 | 2388.0449 | 0.55517 | 0.55517
200 | 2379.1386 | 2378.5848 | 2378.8617 | 0.55378 | 0.55378
228 | 2389.4788 | 2388.006 | 2388.7424 | 1.4728 | 1.4728
274 | 2351.272 | 2351.2997 | 2351.2859 | -0.027711 | 0.027711
average variability: |  |  |  | 0.26354 | 0.68314
standard deviation of variability: |  |  |  | 0.79782 | 0.44673
Replicate Samples (different niskins)
Sample |  | Average | STDDEV. | difference | absolute
id | umol/kg | umol/kg | umol/kg | umol/kg | difference
114 | 2396.9022
115 | 2399.2142
116 | 2399.7549
117 | 2396.834
118 | 2397.8879
119 | 2399.4138
120 | 2397.6789
121 | 2400.782
|  | 2398.5585 | 1.4381
199 | 2378.5857
200 | 2378.8617
|  | 2378.7237 |  | 0.276 | 0.276
172 | 2389.1191
173 | 2388.0449
|  | 2388.582 |  | -1.0742 | 1.0742
227 | 2387.5893
228 | 2388.7424
|  | 2388.1659 |  | 1.1531 | 1.1531
273 | 2350.4409
274 | 2351.2859
|  | 2350.8634 |  | 0.845 | 0.845
average variability: |  |  |  | 0.29998 |  | 0.9573
standard deviation of variability: |  |  |  | 0.98555 |  | 0.43589
Precision estimate: |  | 0.9573 | umol/kg
Total Alkalinity
Potentiometric titration
| Reference: |  | DOE (1994) Handbook of methods for the analysis of the various parameters of the carbon dioxide system in sea water.Version 2, A. G. Dickson & C. Goyet, eds. ORNL/CDIAC-74
Cell type |  |  | Open
Endpoint determination |  |  | Gran plot
Standard used:
Dickson CRM |  |  | 57
certified value |  |  | 2230.33+/-0.66
Acid batch |  |  | 3
acid concentration |  |  | 0.0967
sample weight |  |  | 70-80 grams
notes: | time of analysis is not available because of computer hard drive crash
| 119 | Large difference betwen replicates
| 145 | High relative to historical experience
| 146 | High relative to historical experience
| 168 | High relative to historical experience
| 172 | Differs from replicate niskin
| 173 | Differs from replicate niskin
| 177 | High relative to historical experience
| 178 | High relative to historical experience
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Replicate Analyses (same niskin)
Sample | A | B | Average | Difference | Absolute
id | umol/kg | umol/kg | umol/kg | umol/kg | Difference
114 | 2403.685 | 2404.0405 | 2403.8627 | -0.35554 | 0.35554
115 | 2400.9434 | 2400.4431 | 2400.6933 | 0.50029 | 0.50029
116 | 2400.5551 | 2399.2667 | 2399.9109 | 1.2883 | 1.2883
117 | 2399.087 | 2400.9989 | 2400.0429 | -1.9119 | 1.9119
118 | 2401.7301 | 2400.9434 | 2401.3367 | 0.78667 | 0.78667
119 | 2406.3866 | 2398.4378 | 2402.4122 | 7.9487 | 7.9487
121 | 2401.4739 | 2399.0171 | 2400.2455 | 2.4568 | 2.4568
173 | 2409.1239 | 2411.5408 | 2410.3323 | -2.4169 | 2.4169
200 | 2420.055 | 2421.6759 | 2420.8654 | -1.6208 | 1.6208
228 | 2375.4154 | 2373.9743 | 2374.6948 | 1.4411 | 1.4411
274 | 2360.2097 | 2357.0323 | 2358.621 | 3.1774 | 3.1774
average variability: |  |  |  | 1.0267 | 2.1731
standard deviation of variability: |  |  |  | 2.9082 | 2.1029
Replicate Samples (different niskins)
Sample |  | Average | STDDEV. | difference | absolute
id | umol/kg | umol/kg | umol/kg | umol/kg | difference
114 | 2403.8627
115 | 2400.6933
116 | 2399.9109
117 | 2400.0429
118 | 2401.3367
119 | 2402.4122
120 | 2402.9646
121 | 2400.2455
|  | 2401.4336 | 1.4844
172 | 2417.6697
173 | 2410.3323
|  | 2414.001 |  | -7.3374 | 7.3374
199 | 2420.6816
200 | 2420.8654
|  | 2420.7735 |  | 0.18387 | 0.18387
227 | 2375.4442
228 | 2374.6948
|  | 2375.0695 |  | -0.7494 | 0.7494
273 | 2357.9016
274 | 2358.621
|  | 2358.2613 |  | 0.71941 | 0.71941
average variability: |  |  |  | -1.7959 |  | 2.0949
standard deviation of variability: |  |  |  | 3.7439 |  | 2.9669
Precision estimate: |  | 2.1736 | umol/kg
Version control
2010-08-10 | First archived
2010-08-31 | Corrected chief scientist name
Corrected time format

## TIC raw data
TIC
analysis | time | sample | ug C | pipette vol. | salinity | density | uncorrected | std | std | Calibration | corrected
date |  | id |  | cm3 |  | kg/dm3 | umol/kg | umol/kg | ID | factor | umol/kg
20040130 | 518 | ss11 | 782.71 | 29.3808 | 32 | 1.0225 | 2176.8739
20040130 | 1200 | 146 | 858.24 | 29.3808 | 34.3772 | 1.0243 | 2382.7162 | 2176.8739 | ss11 | 1.0003 | 2383.8782
20040130 | 1221 | 147 | 850.93 | 29.3808 | 34.2976 | 1.0242 | 2362.5616 | 2176.8739 | ss11 | 1.0003 | 2363.7138
20040130 | 1305 | 145 | 862.8 | 29.3808 | 34.4493 | 1.0243 | 2395.2475 | 2176.8739 | ss11 | 1.0003 | 2396.4156
20040130 | 1349 | 140 | 849.01 | 29.3808 | 34.6716 | 1.0245 | 2356.5746 | 2176.8739 | ss11 | 1.0003 | 2357.7239
20040130 | 1413 | 143 | 858.68 | 29.3808 | 34.5838 | 1.0244 | 2383.5711 | 2176.8739 | ss11 | 1.0003 | 2384.7336
20040130 | 1434 | 144 | 860.24 | 29.3808 | 34.5023 | 1.0244 | 2388.0464 | 2176.8739 | ss11 | 1.0003 | 2389.211
20040130 | 1522 | 150 | 822.22 | 29.3808 | 34.0268 | 1.024 | 2283.3101 | 2176.8739 | ss11 | 1.0003 | 2284.4237
20040130 | 1546 | 148 | 841.14 | 29.3808 | 34.1906 | 1.0241 | 2335.5662 | 2176.8739 | ss11 | 1.0003 | 2336.7053
20040130 | 1617 | 141 | 850.98 | 29.3808 | 34.6544 | 1.0245 | 2362.0729 | 2176.8739 | ss11 | 1.0003 | 2363.2249
20040130 | 1638 | 151 | 818.48 | 29.3808 | 33.9027 | 1.0239 | 2273.1342 | 2176.8739 | ss11 | 1.0003 | 2274.2427
20040130 | 1704 | 142 | 855.82 | 29.3808 | 34.6275 | 1.0245 | 2375.5549 | 2176.8739 | ss11 | 1.0003 | 2376.7134
20040130 | 1729 | 139 | 844.49 | 29.3808 | 34.6805 | 1.0245 | 2344.013 | 2176.8739 | ss11 | 1.0003 | 2345.1562
20040131 | 545 | ad - 57 | 721.66 | 29.3808 | 33.485 | 1.0236 | 2004.863
20040131 | 642 | 226 | 861.48 | 29.3808 | 34.509 | 1.0244 | 2391.4767 | 2004.863 | ad 57 | 1.0006 | 2393.2876
20040131 | 708 | 224 | 855.88 | 29.3808 | 34.6249 | 1.0245 | 2375.7261 | 2004.863 | ad 57 | 1.0006 | 2377.5251
20040131 | 844 | 225 | 858.302 | 29.3808 | 34.5907 | 1.0245 | 2382.5096 | 2004.863 | ad 57 | 1.0006 | 2384.3138
20040131 | 900 | 223 | 852.5 | 29.3808 | 34.6486 | 1.0245 | 2366.3022 | 2004.863 | ad 57 | 1.0006 | 2368.0941
20040131 | 923 | 149 | 830.43 | 29.3808 | 34.023 | 1.024 | 2306.1159 | 2004.863 | ad 57 | 1.0006 | 2307.8622
20040131 | 945 | 222 | 851.44 | 29.3808 | 34.6497 | 1.0245 | 2363.358 | 2004.863 | ad 57 | 1.0006 | 2365.1477
20040131 | 1022 | 229 | 855.21 | 29.3808 | 34.3406 | 1.0243 | 2374.3688 | 2004.863 | ad 57 | 1.0006 | 2376.1668
20040131 | 1044 | 228 | 860.07 | 29.3808 | 34.4481 | 1.0243 | 2387.6708 | 2004.863 | ad 57 | 1.0006 | 2389.4788
20040131 | 1113 | 227 | 859.39 | 29.3808 | 34.4483 | 1.0243 | 2385.7826 | 2004.863 | ad 57 | 1.0006 | 2387.5893
20040131 | 1135 | 230 | 850.23 | 29.3808 | 34.2499 | 1.0242 | 2360.7019 | 2004.863 | ad 57 | 1.0006 | 2362.4896
20040131 | 1157 | 138 | 843.35 | 29.3808 | 34.6826 | 1.0245 | 2340.8451 | 2004.863 | ad 57 | 1.0006 | 2342.6177
20040131 | 1219 | 234 | 805.37 | 29.3808 | 33.9522 | 1.024 | 2236.6418 | 2004.863 | ad 57 | 1.0006 | 2238.3355
20040131 | 1241 | 235 | 796.84 | 29.3808 | 33.9235 | 1.0239 | 2212.9999 | 2004.863 | ad 57 | 1.0006 | 2214.6757
20040131 | 1302 | 232 | 826.52 | 29.3808 | 34.0192 | 1.024 | 2295.2642 | 2004.863 | ad 57 | 1.0006 | 2297.0023
20040131 | 1325 | 228b | 859.54 | 29.3808 | 34.4483 | 1.0243 | 2386.1991 | 2004.863 | ad 57 | 1.0006 | 2388.006
20040131 | 1352 | 233 | 813.47 | 29.3808 | 33.9899 | 1.024 | 2259.0734 | 2004.863 | ad 57 | 1.0006 | 2260.7841
20040131 | 1421 | 231 | 840.07 | 29.3808 | 34.1258 | 1.0241 | 2332.7077 | 2004.863 | ad 57 | 1.0006 | 2334.4742
20040131 | 1452 | 118b | 863.25 | 29.3808 | 34.5076 | 1.0244 | 2396.3927 | 2004.863 | ad 57 | 1.0006 | 2398.2074
20040131 | 1527 | 116a | 864.03 | 29.3808 | 34.5083 | 1.0244 | 2398.5568 | 2004.863 | ad 57 | 1.0006 | 2400.3731
20040131 | 1558 | 121a | 864.08 | 29.3808 | 34.5095 | 1.0244 | 2398.6934 | 2004.863 | ad 57 | 1.0006 | 2400.5098
20040131 | 1621 | 118a | 863.02 | 29.3808 | 34.5076 | 1.0244 | 2395.7542 | 2004.863 | ad 57 | 1.0006 | 2397.5684
20040131 | 1643 | 120b | 863.06 | 29.3808 | 34.508 | 1.0244 | 2395.8646 | 2004.863 | ad 57 | 1.0006 | 2397.6789
20040131 | 1705 | 115a | 863.59 | 29.3808 | 34.5077 | 1.0244 | 2397.3364 | 2004.863 | ad 57 | 1.0006 | 2399.1518
20040201 | 616 | ad - 57 | 721.94 | 29.3808 | 33.485 | 1.0236 | 2005.6409
20040201 | 640 | 114b | 863.29 | 29.3808 | 34.5077 | 1.0244 | 2396.5036 | 2005.6409 | ad 57 | 1.0002 | 2397.3882
20040201 | 702 | 114a | 862.94 | 29.3808 | 34.5077 | 1.0244 | 2395.532 | 2005.6409 | ad 57 | 1.0002 | 2396.4162
20040201 | 725 | 117a | 863.27 | 29.3808 | 34.507 | 1.0244 | 2396.4493 | 2005.6409 | ad 57 | 1.0002 | 2397.3339
20040201 | 751 | 116b | 863.92 | 29.3808 | 34.5083 | 1.0244 | 2398.2514 | 2005.6409 | ad 57 | 1.0002 | 2399.1366
20040201 | 836 | 119b | 863.95 | 29.3808 | 34.5086 | 1.0244 | 2398.3342 | 2005.6409 | ad 57 | 1.0002 | 2399.2194
20040201 | 859 | 119a | 864.09 | 29.3808 | 34.5086 | 1.0244 | 2398.7228 | 2005.6409 | ad 57 | 1.0002 | 2399.6082
20040201 | 922 | 284 | 724.03 | 29.3808 | 32.3143 | 1.0227 | 2013.2016 | 2005.6409 | ad 57 | 1.0002 | 2013.9447
20040201 | 952 | 285 | 717.46 | 29.3808 | 32.3011 | 1.0227 | 1994.953 | 2005.6409 | ad 57 | 1.0002 | 1995.6894
20040201 | 1013 | 286 | 717.47 | 29.3808 | 32.3116 | 1.0227 | 1994.9652 | 2005.6409 | ad 57 | 1.0002 | 1995.7016
20040201 | 1034 | 287 | 717.34 | 29.3808 | 32.3144 | 1.0227 | 1994.5996 | 2005.6409 | ad 57 | 1.0002 | 1995.3358
20040201 | 1059 | 288 | 717.76 | 29.3808 | 32.3121 | 1.0227 | 1995.7708 | 2005.6409 | ad 57 | 1.0002 | 1996.5075
20040201 | 1130 | 117b | 862.91 | 29.3808 | 34.507 | 1.0244 | 2395.45 | 2005.6409 | ad 57 | 1.0002 | 2396.3342
20040201 | 1153 | 115b | 863.97 | 29.3808 | 34.5077 | 1.0244 | 2398.3913 | 2005.6409 | ad 57 | 1.0002 | 2399.2766
20040201 | 1217 | 168 | 846.76 | 29.3808 | 34.6764 | 1.0245 | 2350.3209 | 2005.6409 | ad 57 | 1.0002 | 2351.1885
20040201 | 1242 | 160 | 726.17 | 29.3808 | 32.594 | 1.0229 | 2018.7314 | 2005.6409 | ad 57 | 1.0002 | 2019.4766
20040201 | 1437 | 174 | 863.08 | 29.3808 | 34.4966 | 1.0244 | 2395.9404 | 2005.6409 | ad 57 | 1.0002 | 2396.8248
20040201 | 1502 | 171 | 855.38 | 29.3808 | 34.6226 | 1.0245 | 2374.3422 | 2005.6409 | ad 57 | 1.0002 | 2375.2186
20040201 | 1527 | 172 | 860.36 | 29.3808 | 34.5821 | 1.0244 | 2388.2376 | 2005.6409 | ad 57 | 1.0002 | 2389.1191
20040201 | 1604 | 176 | 857.86 | 29.3808 | 34.3638 | 1.0243 | 2381.685 | 2005.6409 | ad 57 | 1.0002 | 2382.5641
20040201 | 1642 | 177 | 852.38 | 29.3808 | 34.2782 | 1.0242 | 2366.6216 | 2005.6409 | ad 57 | 1.0002 | 2367.4952
20040201 | 1708 | 175 | 861.42 | 29.3808 | 34.439 | 1.0243 | 2391.4348 | 2005.6409 | ad 57 | 1.0002 | 2392.3175
20040202 | 806 | ss11 | 783.1 | 29.3808 | 32 | 1.0225 | 2177.9585
20040202 | 941 | 170 | 848.44 | 29.3808 | 34.6525 | 1.0245 | 2355.0259 | 2177.9585 | ss11 | 0.99979 | 2355.001
20040202 | 1126 | 173 | 860.4 | 29.3808 | 34.5826 | 1.0244 | 2388.3477 | 2177.9585 | ss11 | 0.99979 | 2388.3225
20040202 | 1207 | 173b | 860.2 | 29.3808 | 34.5826 | 1.0244 | 2387.7926 | 2177.9585 | ss11 | 0.99979 | 2387.7673
20040202 | 1231 | 161 | 721.95 | 29.3808 | 32.5941 | 1.0229 | 2006.9998 | 2177.9585 | ss11 | 0.99979 | 2006.9786
20040202 | 1325 | 185 | 752.54 | 29.3808 | 33.071 | 1.0233 | 2091.2962 | 2177.9585 | ss11 | 0.99979 | 2091.2741
20040202 | 1411 | 186 | 742.81 | 29.3808 | 32.8254 | 1.0231 | 2064.6343 | 2177.9585 | ss11 | 0.99979 | 2064.6125
20040202 | 1449 | 191 | 719.23 | 29.3808 | 32.4336 | 1.0228 | 1999.6773 | 2177.9585 | ss11 | 0.99979 | 1999.6561
20040202 | 1523 | 190 | 719.16 | 29.3808 | 32.4333 | 1.0228 | 1999.4831 | 2177.9585 | ss11 | 0.99979 | 1999.462
20040202 | 1558 | 184 | 767.61 | 29.3808 | 33.3662 | 1.0235 | 2132.7066 | 2177.9585 | ss11 | 0.99979 | 2132.6841
20040202 | 1635 | 187 | 724.79 | 29.3808 | 32.4935 | 1.0229 | 2015.0459 | 2177.9585 | ss11 | 0.99979 | 2015.0246
20040203 | 722 | ss11 | 782.87 | 29.3808 | 32 | 1.0225 | 2177.3188
20040203 | 818 | 188 | 724.8 | 29.3808 | 32.468 | 1.0228 | 2015.1119 | 2177.3188 | ss11 | 1.0001 | 2015.6827
20040203 | 925 | 181 | 808.78 | 29.3808 | 33.8129 | 1.0239 | 2246.3449 | 2177.3188 | ss11 | 1.0001 | 2246.9811
20040203 | 951 | 183 | 783.18 | 29.3808 | 33.611 | 1.0237 | 2175.5692 | 2177.3188 | ss11 | 1.0001 | 2176.1854
20040203 | 1017 | 180 | 818.81 | 29.3808 | 33.8592 | 1.0239 | 2274.1243 | 2177.3188 | ss11 | 1.0001 | 2274.7684
20040203 | 1041 | 189 | 721.08 | 29.3808 | 32.4372 | 1.0228 | 2004.8155 | 2177.3188 | ss11 | 1.0001 | 2005.3833
20040203 | 1104 | 178 | 841.93 | 29.3808 | 34.1796 | 1.0241 | 2337.779 | 2177.3188 | ss11 | 1.0001 | 2338.4411
20040203 | 1127 | 179 | 830.38 | 29.3808 | 33.9828 | 1.024 | 2306.046 | 2177.3188 | ss11 | 1.0001 | 2306.6992
20040203 | 1152 | 152 | 817.2 | 29.3808 | 33.8423 | 1.0239 | 2269.6813 | 2177.3188 | ss11 | 1.0001 | 2270.3241
20040203 | 1217 | 153 | 811.49 | 29.3808 | 33.7305 | 1.0238 | 2254.0101 | 2177.3188 | ss11 | 1.0001 | 2254.6484
20040203 | 1242 | 155 | 780.76 | 29.3808 | 33.3269 | 1.0235 | 2169.3057 | 2177.3188 | ss11 | 1.0001 | 2169.9201
20040203 | 1306 | 156 | 757.86 | 29.3808 | 32.9974 | 1.0232 | 2106.1958 | 2177.3188 | ss11 | 1.0001 | 2106.7923
20040203 | 1329 | 158 | 730.85 | 29.3808 | 32.5949 | 1.0229 | 2031.7403 | 2177.3188 | ss11 | 1.0001 | 2032.3157
20040203 | 1350 | 154 | 798.49 | 29.3808 | 33.565 | 1.0237 | 2218.1744 | 2177.3188 | ss11 | 1.0001 | 2218.8026
20040203 | 1412 | 157 | 732.96 | 29.3808 | 32.5973 | 1.0229 | 2037.6024 | 2177.3188 | ss11 | 1.0001 | 2038.1795
20040203 | 1435 | 159 | 730.32 | 29.3808 | 32.5944 | 1.0229 | 2030.2677 | 2177.3188 | ss11 | 1.0001 | 2030.8427
20040203 | 1459 | 209 | 794.82 | 29.3808 | 33.8035 | 1.0239 | 2207.5872 | 2177.3188 | ss11 | 1.0001 | 2208.2124
20040203 | 1524 | 214 | 737.32 | 29.3808 | 32.692 | 1.023 | 2049.5785 | 2177.3188 | ss11 | 1.0001 | 2050.159
20040203 | 1545 | 211 | 766.77 | 29.3808 | 33.5746 | 1.0237 | 2130.0422 | 2177.3188 | ss11 | 1.0001 | 2130.6455
20040203 | 1612 | 212 | 761.04 | 29.3808 | 33.2538 | 1.0234 | 2114.6297 | 2177.3188 | ss11 | 1.0001 | 2115.2286
20040203 | 1647 | 210 | 784.68 | 29.3808 | 33.7078 | 1.0238 | 2179.5789 | 2177.3188 | ss11 | 1.0001 | 2180.1962
20040203 | 1714 | 182 | 795.01 | 29.3808 | 33.7683 | 1.0238 | 2208.1728 | 2177.3188 | ss11 | 1.0001 | 2208.7981
20040204 | 918 | ss11 | 782.53 | 29.3808 | 32 | 1.0225 | 2176.3732
20040204 | 1033 | 121b | 864.31 | 29.3808 | 34.5095 | 1.0244 | 2399.3319 | 2176.3732 | ss11 | 1.0005 | 2401.0542
20040204 | 1052 | 169 | 848.42 | 29.3808 | 34.6676 | 1.0245 | 2354.9439 | 2176.3732 | ss11 | 1.0005 | 2356.6344
20040204 | 1125 | 215 | 722.66 | 29.3808 | 32.3555 | 1.0227 | 2009.3306 | 2176.3732 | ss11 | 1.0005 | 2010.773
20040204 | 1203 | 217 | 722.92 | 29.3808 | 32.3568 | 1.0227 | 2010.0516 | 2176.3732 | ss11 | 1.0005 | 2011.4945
20040204 | 1235 | 216 | 722.53 | 29.3808 | 32.3551 | 1.0227 | 2008.9697 | 2176.3732 | ss11 | 1.0005 | 2010.4118
20040204 | 1259 | 213 | 753.63 | 29.3808 | 32.9087 | 1.0232 | 2094.5784 | 2176.3732 | ss11 | 1.0005 | 2096.082
20040204 | 1321 | 218 | 722.09 | 29.3808 | 32.3548 | 1.0227 | 2007.7468 | 2176.3732 | ss11 | 1.0005 | 2009.188
20040204 | 1344 | 237 | 778.8 | 29.3808 | 33.5723 | 1.0237 | 2163.4645 | 2176.3732 | ss11 | 1.0005 | 2165.0175
20040204 | 1421 | 238 | 773.6 | 29.3808 | 33.3928 | 1.0235 | 2149.3065 | 2176.3732 | ss11 | 1.0005 | 2150.8493
20040204 | 1443 | 239 | 762.22 | 29.3808 | 33.0905 | 1.0233 | 2118.166 | 2176.3732 | ss11 | 1.0005 | 2119.6865
20040204 | 1517 | 242 | 722.51 | 29.3808 | 32.3044 | 1.0227 | 2008.99 | 2176.3732 | ss11 | 1.0005 | 2010.4321
20040204 | 1539 | 240 | 736.47 | 29.3808 | 32.5455 | 1.0229 | 2047.4391 | 2176.3732 | ss11 | 1.0005 | 2048.9088
20040204 | 1600 | 244 | 721.66 | 29.3808 | 32.3034 | 1.0227 | 2006.628 | 2176.3732 | ss11 | 1.0005 | 2008.0684
20040204 | 1622 | 241 | 722.52 | 29.3808 | 32.3065 | 1.0227 | 2009.0147 | 2176.3732 | ss11 | 1.0005 | 2010.4568
20040204 | 1651 | 236 | 790.8 | 29.3808 | 33.801 | 1.0238 | 2196.4258 | 2176.3732 | ss11 | 1.0005 | 2198.0025
New Pipette volume
20040225 | 604 | ad | 724.02 | 29.4518 | 33.485 | 1.0236 | 2006.5704
20040225 | 730 | 207 | 817.1 | 29.4518 | 33.8938 | 1.0239 | 2263.8459 | 2006.5704 | ad 57 | 0.99971 | 2263.6324
20040225 | 829 | 208 | 806.78 | 29.4518 | 33.8608 | 1.0239 | 2235.3084 | 2006.5704 | ad 57 | 0.99971 | 2235.0976
20040225 | 925 | 204 | 853.4 | 29.4518 | 34.2796 | 1.0242 | 2363.7391 | 2006.5704 | ad 57 | 0.99971 | 2363.5162
20040225 | 948 | 196 | 849.4 | 29.4518 | 34.6651 | 1.0245 | 2351.9848 | 2006.5704 | ad 57 | 0.99971 | 2351.763
20040225 | 1016 | 195 | 849.33 | 29.4518 | 34.6677 | 1.0245 | 2351.7864 | 2006.5704 | ad 57 | 0.99971 | 2351.5647
20040225 | 1057 | 197 | 851.64 | 29.4518 | 34.6503 | 1.0245 | 2358.2134 | 2006.5704 | ad 57 | 0.99971 | 2357.991
20040225 | 1123 | 201 | 863.67 | 29.4518 | 34.5069 | 1.0244 | 2391.7801 | 2006.5704 | ad 57 | 0.99971 | 2391.5545
20040225 | 1148 | 206 | 827.92 | 29.4518 | 33.99 | 1.024 | 2293.6593 | 2006.5704 | ad 57 | 0.99971 | 2293.443
20040225 | 1247 | 200 | 859.24 | 29.4518 | 34.591 | 1.0245 | 2379.363 | 2006.5704 | ad 57 | 0.99971 | 2379.1386
20040225 | 1316 | 202 | 862.18 | 29.4518 | 34.445 | 1.0243 | 2387.7638 | 2006.5704 | ad 57 | 0.99971 | 2387.5386
20040225 | 1343 | 203 | 857.83 | 29.4518 | 34.3652 | 1.0243 | 2375.8579 | 2006.5704 | ad 57 | 0.99971 | 2375.6338
20040225 | 1416 | 198 | 855.91 | 29.4518 | 34.6246 | 1.0245 | 2370.0824 | 2006.5704 | ad 57 | 0.99971 | 2369.8589
20040225 | 1443 | 199 | 859.04 | 29.4518 | 34.5905 | 1.0245 | 2378.8101 | 2006.5704 | ad 57 | 0.99971 | 2378.5857
20040225 | 1511 | 200b | 859.04 | 29.4518 | 34.591 | 1.0245 | 2378.8092 | 2006.5704 | ad 57 | 0.99971 | 2378.5848
20040225 | 1547 | 205 | 842.16 | 29.4518 | 34.1644 | 1.0241 | 2332.8067 | 2006.5704 | ad 57 | 0.99971 | 2332.5867
20040229 | 900 | ss11 | 784.65 | 29.4518 | 32 | 1.0225 | 2177.0085
20040229 | 1118 | 279 | 790.58 | 29.4518 | 33.8891 | 1.0239 | 2190.3776 | 2177.0085 | ss11 | 1.0002 | 2191.3103
20040229 | 1141 | 274 | 848.51 | 29.4518 | 34.2359 | 1.0242 | 2350.2713 | 2177.0085 | ss11 | 1.0002 | 2351.272
20040229 | 1203 | 270 | 861.4 | 29.4518 | 34.4744 | 1.0244 | 2385.5514 | 2177.0085 | ss11 | 1.0002 | 2386.5672
20040229 | 1228 | 275 | 839.83 | 29.4518 | 34.1391 | 1.0241 | 2326.3964 | 2177.0085 | ss11 | 1.0002 | 2327.3869
20040229 | 1300 | 280 | 780.76 | 29.4518 | 33.6762 | 1.0238 | 2163.5133 | 2177.0085 | ss11 | 1.0002 | 2164.4345
20040229 | 1323 | 272 | 856.26 | 29.4518 | 34.3622 | 1.0243 | 2371.5149 | 2177.0085 | ss11 | 1.0002 | 2372.5246
20040229 | 1348 | 281 | 775.37 | 29.4518 | 33.5321 | 1.0236 | 2148.808 | 2177.0085 | ss11 | 1.0002 | 2149.7229
20040229 | 1410 | 276 | 823.08 | 29.4518 | 34.0123 | 1.024 | 2280.2128 | 2177.0085 | ss11 | 1.0002 | 2281.1837
20040229 | 1436 | 271 | 860.73 | 29.4518 | 34.462 | 1.0244 | 2383.7179 | 2177.0085 | ss11 | 1.0002 | 2384.7329
20040229 | 1502 | 282 | 758.72 | 29.4518 | 33.086 | 1.0233 | 2103.3639 | 2177.0085 | ss11 | 1.0002 | 2104.2595
20040229 | 1524 | 277 | 811.57 | 29.4518 | 33.9712 | 1.024 | 2248.395 | 2177.0085 | ss11 | 1.0002 | 2249.3523
20040229 | 1546 | 273 | 848.21 | 29.4518 | 34.2358 | 1.0242 | 2349.4405 | 2177.0085 | ss11 | 1.0002 | 2350.4409
20040229 | 1610 | 274b | 848.52 | 29.4518 | 34.2359 | 1.0242 | 2350.299 | 2177.0085 | ss11 | 1.0002 | 2351.2997
20040229 | 1655 | 278 | 798.71 | 29.4518 | 33.9608 | 1.024 | 2212.7844 | 2177.0085 | ss11 | 1.0002 | 2213.7266
20040229 | 1718 | 283 | 736.07 | 29.4518 | 32.6486 | 1.023 | 2041.2372 | 2177.0085 | ss11 | 1.0002 | 2042.1063

## alk raw data
Alkalinity
analysis | sample | analysis | uncorrected | Enot | RMS | std | Calibration | corrected
date | ID | order | umol/kg |  |  | measured | factor | umol/kg
20040203 | ad | 1 | 2227.34 | 425.4 | 0.8
20040203 | 119a | 2 | 2402.68 | 421.3 | 3.6 | 2227.34 | 1.0013 | 2406.3866
20040203 | 284 | 3 | 2166.75 | 424.7 | 1.4 | 2227.34 | 1.0013 | 2170.0926
20040203 | 285 | 4 | 2176.37 | 424.3 | 2.1 | 2227.34 | 1.0013 | 2179.7274
20040203 | 287 | 6 | 2181.04 | 424.8 | 1.7 | 2227.34 | 1.0013 | 2184.4046
20040203 | 178 | 7 | 2345.18 | 424.1 | 0.5 | 2227.34 | 1.0013 | 2348.7979
20040203 | 283 | 8 | 2191.37 | 424.8 | 0.2 | 2227.34 | 1.0013 | 2194.7506
20040203 | 161 | 9 | 2195.41 | 422.7 | 0.5 | 2227.34 | 1.0013 | 2198.7968
20040203 | 176 | 10 | 2379.02 | 425.4 | 1.7 | 2227.34 | 1.0013 | 2382.6901
20040203 | 174 | 11 | 2412.21 | 424.7 | 1 | 2227.34 | 1.0013 | 2415.9313
20040203 | 168 | 12 | 2451.84 | 423.8 | 1.1 | 2227.34 | 1.0013 | 2455.6224
20040203 | 177 | 13 | 2375.59 | 424.5 | 1.5 | 2227.34 | 1.0013 | 2379.2548
20040203 | 179 | 14 | 2311.78 | 424 | 0.4 | 2227.34 | 1.0013 | 2315.3463
20040203 | 180 | 15 | 2295.08 | 423.9 | 0.3 | 2227.34 | 1.0013 | 2298.6206
20040203 | 188 | 16 | 2197.32 | 422.4 | 0.3 | 2227.34 | 1.0013 | 2200.7098
20040203 | 282 | 17 | 2218.23 | 424 | 0.7 | 2227.34 | 1.0013 | 2221.652
20040203 | 186 | 18 | 2239.31 | 422 | 0.4 | 2227.34 | 1.0013 | 2242.7645
20040203 | 184 | 19 | 2255.65 | 422 | 0.3 | 2227.34 | 1.0013 | 2259.1297
20040203 | 182 | 20 | 2273.64 | 422.4 | 0.4 | 2227.34 | 1.0013 | 2277.1475
20040203 | 183 | 21 | 2265.73 | 422.9 | 1.3 | 2227.34 | 1.0013 | 2269.2253
20040203 | 181 | 22 | 2284.98 | 422.4 | 0.4 | 2227.34 | 1.0013 | 2288.505
20040203 | 160 | 22 | 2195.73 | 424.6 | 0.4 | 2227.34 | 1.0013 | 2199.1173
20040203 | 185 | 23 | 2246.32 | 421.9 | 0.4 | 2227.34 | 1.0013 | 2249.7853
20040203 | 187 | 24 | 2211.64 | 422.4 | 0.3 | 2227.34 | 1.0013 | 2215.0518
20040210 | ad | 1 | 2229.09 | 424 | 0.8
20040210 | 159 | 2 | 2183.44 | 424.1 | 0.4 | 2229.09 | 1.0006 | 2185.0915
20040210 | 189 | 3 | 2171.03 | 424.8 | 0.4 | 2229.09 | 1.0006 | 2172.6721
20040210 | 235 | 4 | 2255.65 | 424.9 | 0.5 | 2229.09 | 1.0006 | 2257.3562
20040210 | 232 | 5 | 2302.46 | 422.5 | 0.5 | 2229.09 | 1.0006 | 2304.2016
20040210 | 229 | 6 | 2358.14 | 425 | 0.1 | 2229.09 | 1.0006 | 2359.9237
20040210 | 191 | 7 | 2169.65 | 422.3 | 0.4 | 2229.09 | 1.0006 | 2171.2911
20040210 | 190 | 8 | 2173.32 | 421.8 | 0.4 | 2229.09 | 1.0006 | 2174.9639
20040210 | 228 | 9 | 2373.62 | 424.8 | 0.5 | 2229.09 | 1.0006 | 2375.4154
20040210 | 234 | 10 | 2269.44 | 425.1 | 0.5 | 2229.09 | 1.0006 | 2271.1566
20040210 | 230 | 11 | 2345.99 | 422.7 | 0.6 | 2229.09 | 1.0006 | 2347.7645
20040210 | 286 | 12 | 2181.69 | 424.1 | 0.3 | 2229.09 | 1.0006 | 2183.3402
20040210 | 228b |  | 2372.18 | 424.7 | 0.6 | 2229.09 | 1.0006 | 2373.9743
20040211 | ad | 1 | 2230.65 | 424.3 | 0.9
20040211 | 227 | 2 | 2375.31 | 425.5 | 0.2 | 2230.65 | 0.99986 | 2375.4442
20040211 | 223 | 3 | 2433.84 | 422.2 | 0.5 | 2230.65 | 0.99986 | 2433.9775
20040211 | 222 | 4 | 2420.43 | 423.7 | 0.6 | 2230.65 | 0.99986 | 2420.5668
20040211 | 224 | 5 | 2417.23 | 424.2 | 0.8 | 2230.65 | 0.99986 | 2417.3666
20040211 | 225 | 6 | 2402.9 | 424.1 | 0.9 | 2230.65 | 0.99986 | 2403.0358
20040213 | ad | 1 | 2231.21 | 422.9 | 1
20040213 | 158 | 2 | 2183.64 | 424 | 1.1 | 2231.21 | 0.99961 | 2183.2153
20040213 | 157 | 3 | 2184.81 | 423.6 | 0.8 | 2231.21 | 0.99961 | 2184.3851
20040213 | 209 | 4 | 2264.86 | 424.7 | 0.6 | 2231.21 | 0.99961 | 2264.4195
20040213 | 175 | 5 | 2394.21 | 425.6 | 0.4 | 2231.21 | 0.99961 | 2393.7444
20040213 | 156 | 6 | 2196.63 | 422.8 | 0.5 | 2231.21 | 0.99961 | 2196.2028
20040213 | 154 | 7 | 2226.74 | 422.8 | 0.4 | 2231.21 | 0.99961 | 2226.3069
20040213 | 214 | 8 | 2195.41 | 422 | 0.6 | 2231.21 | 0.99961 | 2194.983
20040213 | 211 | 9 | 2253.34 | 423.9 | 0.7 | 2231.21 | 0.99961 | 2252.9018
20040213 | 212 | 10 | 2230.7 | 424.7 | 0.6 | 2231.21 | 0.99961 | 2230.2662
20040213 | 138 | 11 | 2429.63 | 422.9 | 0.4 | 2231.21 | 0.99961 | 2429.1575
20040213 | 140 | 12 | 2432.31 | 423.7 | 0.5 | 2231.21 | 0.99961 | 2431.837
20040213 | 142 | 13 | 2423.69 | 423.1 | 0.6 | 2231.21 | 0.99961 | 2423.2186
20040213 | 147 | 14 | 2379.65 | 423.4 | 0.3 | 2231.21 | 0.99961 | 2379.1872
20040213 | 152 | 15 | 2275.37 | 423.8 | 1.4 | 2231.21 | 0.99961 | 2274.9275
20040213 | 150 | 16 | 2312.65 | 423.6 | 0.3 | 2231.21 | 0.99961 | 2312.2002
20040213 | 148 | 17 | 2347.65 | 422.3 | 0.3 | 2231.21 | 0.99961 | 2347.1934
20040213 | 155 | 18 | 2197.62 | 422.2 | 0.5 | 2231.21 | 0.99961 | 2197.1926
20040213 | 217 | 19 | 2162.47 | 424.8 | 0.3 | 2231.21 | 0.99961 | 2162.0494
20040213 | 172 | 20 | 2418.14 | 423.6 | 0.8 | 2231.21 | 0.99961 | 2417.6697
20040213 | 170 | 21 | 2422.64 | 424.8 | 0.9 | 2231.21 | 0.99961 | 2422.1688
20040213 | 153 | 22 | 2260.35 | 422 | 0.2 | 2231.21 | 0.99961 | 2259.9104
20040213 | 146 | 23 | 2398.62 | 422.3 | 0.4 | 2231.21 | 0.99961 | 2398.1535
20040213 | 144 | 24 | 2410.65 | 422.4 | 0.3 | 2231.21 | 0.99961 | 2410.1812
20040213 | 141 | 25 | 2422.78 | 422.8 | 0.5 | 2231.21 | 0.99961 | 2422.3088
20040213 | 139 | 26 | 2435.61 | 422.8 | 0.8 | 2231.21 | 0.99961 | 2435.1363
20040213 | 143 | 27 | 2413.9 | 422.3 | 0.2 | 2231.21 | 0.99961 | 2413.4305
20040213 | 149 | 28 | 2326.82 | 422.8 | 1.2 | 2231.21 | 0.99961 | 2326.3675
20040213 | 151 | 29 | 2301.65 | 423.9 | 0.5 | 2231.21 | 0.99961 | 2301.2024
20040213 | 145 | 30 | 2411.68 | 422.9 | 0.5 | 2231.21 | 0.99961 | 2411.211
20040213 | 169 | 31 | 2435.65 | 422.1 | 0.2 | 2231.21 | 0.99961 | 2435.1763
20040213 | 171 | 32 | 2418.1 | 423.9 | 0.4 | 2231.21 | 0.99961 | 2417.6297
20040216 | ad | 1 | 2233.68 | 422.9 | 0.8
20040216 | 121b | 2 | 2402.14 | 424.5 | 0.3 | 2233.68 | 0.9985 | 2399.0171
20040216 | 121a | 3 | 2404.6 | 424.6 | 0.2 | 2233.68 | 0.9985 | 2401.4739
20040216 | 116b | 4 | 2402.39 | 424 | 0.8 | 2233.68 | 0.9985 | 2399.2667
20040216 | 114b | 5 | 2407.17 | 424.1 | 0.1 | 2233.68 | 0.9985 | 2404.0405
20040216 | 288 | 6 | 2178.11 | 423.9 | 0.9 | 2233.68 | 0.9985 | 2175.2783
20040216 | 116a | 7 | 2403.68 | 424.4 | 0.1 | 2233.68 | 0.9985 | 2400.5551
20040216 | 119b | 8 | 2401.56 | 423.1 | 0.8 | 2233.68 | 0.9985 | 2398.4378
20040216 | 117a | 9 | 2402.21 | 424.2 | 0.5 | 2233.68 | 0.9985 | 2399.087
20040216 | 173b | 10 | 2414.68 | 423.8 | 1.1 | 2233.68 | 0.9985 | 2411.5408
20040216 | 173 | 11 | 2412.26 | 424.8 | 0.7 | 2233.68 | 0.9985 | 2409.1239
20040219 | AD | 1 | 2233.42 | 421 | 0.3
20040219 | 240 | 2 | 2185.13 | 422.4 | 0.4 | 2233.42 | 0.99862 | 2182.5432
20040219 | 239 | 3 | 2215.13 | 422.5 | 0.5 | 2233.42 | 0.99862 | 2212.5077
20040219 | 236 | 4 | 2246.32 | 424.7 | 0.8 | 2233.42 | 0.99862 | 2243.6608
20040219 | 213 | 5 | 2212.6 | 422.4 | 0.6 | 2233.42 | 0.99862 | 2209.9807
20040219 | 218 | 6 | 2175.92 | 422.3 | 0.4 | 2233.42 | 0.99862 | 2173.3441
20040219 | 231 | 7 | 2330.12 | 424.7 | 1.1 | 2233.42 | 0.99862 | 2327.3616
20040219 | 238 | 8 | 2230.66 | 422.8 | 0.7 | 2233.42 | 0.99862 | 2228.0193
20040219 | 237 | 9 | 2235.1 | 422.1 | 0.2 | 2233.42 | 0.99862 | 2232.4541
20040219 | 244 | 10 | 2176.38 | 422.4 | 0.6 | 2233.42 | 0.99862 | 2173.8036
20040219 | 242 | 11 | 2174.95 | 422.5 | 0.5 | 2233.42 | 0.99862 | 2172.3753
20040219 | 233 |  | 2284.32 | 423.6 | 0.6 | 2233.42 | 0.99862 | 2281.6158
20040223 | AD | 1 | 2229.5 | 420.8 | 0.4
20040223 | 120a | 2 | 2401.59 | 424.7 | 0.2 | 2229.5 | 1.0004 | 2402.9646
20040223 | 118b | 3 | 2399.57 | 424.7 | 0.4 | 2229.5 | 1.0004 | 2400.9434
20040223 | 115a | 4 | 2399.57 | 424.7 | 0.3 | 2229.5 | 1.0004 | 2400.9434
20040223 | 114a | 5 | 2402.31 | 425 | 0.6 | 2229.5 | 1.0004 | 2403.685
20040223 | 115b | 6 | 2399.07 | 425.1 | 0.6 | 2229.5 | 1.0004 | 2400.4431
20040223 | 210 | 7 | 2261.02 | 423.3 | 0.2 | 2229.5 | 1.0004 | 2262.3141
20040223 | 216 | 8 | 2183.62 | 423.4 | 0.4 | 2229.5 | 1.0004 | 2184.8698
20040223 | 241 | 9 | 2175.99 | 422.4 | 0.6 | 2229.5 | 1.0004 | 2177.2354
20040223 | 215 | 10 | 2190.64 | 422.6 | 0.5 | 2229.5 | 1.0004 | 2191.8938
20040309 | AD | 1 | 2229.61 | 424.8 | 0.3
20040309 | 205 | 2 | 2326.98 | 424.8 | 0.4 | 2229.61 | 1.0003 | 2328.197
20040309 | 200 | 3 | 2418.79 | 424.3 | 0.2 | 2229.61 | 1.0003 | 2420.055
20040309 | 200b | 4 | 2420.41 | 424.8 | 1.6 | 2229.61 | 1.0003 | 2421.6759
20040312 | ad | 1 | 2232.61 | 424.3 | 0.6
20040312 | 274b | 2 | 2358.97 | 423.1 | 1.2 | 2232.61 | 0.99898 | 2357.0323
20040312 | 277 | 3 | 2296.68 | 423.8 | 1.1 | 2232.61 | 0.99898 | 2294.7934
20040312 | 274 | 4 | 2362.15 | 422.8 | 0.8 | 2232.61 | 0.99898 | 2360.2097
20040312 | 276 | 5 | 2300.14 | 424.1 | 0.9 | 2232.61 | 0.99898 | 2298.2506
20040312 | 270 | 6 | 2408.75 | 424.1 | 0.7 | 2232.61 | 0.99898 | 2406.7714
20040312 | 272 | 7 | 2376.76 | 423.2 | 0.6 | 2232.61 | 0.99898 | 2374.8077
20040312 | 271 | 8 | 2405.01 | 424.8 | 0.2 | 2232.61 | 0.99898 | 2403.0345
20040312 | 226 | 9 | 2395.92 | 423.9 | 1.2 | 2232.61 | 0.99898 | 2393.9519
20040312 | 273 | 10 | 2359.84 | 424.8 | 1.1 | 2232.61 | 0.99898 | 2357.9016
20040312 | 281 | 11 | 2236.32 | 424.7 | 0.8 | 2232.61 | 0.99898 | 2234.483
20040312 | 280 | 12 | 2243.27 | 424.5 | 0.3 | 2232.61 | 0.99898 | 2241.4273
20040312 | 278 | 13 | 2282.21 | 422.7 | 0.5 | 2232.61 | 0.99898 | 2280.3353
20040312 | 275 | 14 | 2318.65 | 423.5 | 0.9 | 2232.61 | 0.99898 | 2316.7454
20040312 | 279 | 15 | 2258.91 | 424.6 | 0.6 | 2232.61 | 0.99898 | 2257.0545
20040317 | AD | 1 | 2227.07 | 422.9 | 0.3
20040317 | 206 | 2 | 2300.11 | 425.1 | 0.2 | 2227.07 | 1.0015 | 2303.9376
20040317 | 204 | 3 | 2357.87 | 425.2 | 0.3 | 2227.07 | 1.0015 | 2361.7937
20040317 | 203 | 4 | 2367.21 | 424.4 | 0.4 | 2227.07 | 1.0015 | 2371.1493
20040317 | 197 | 6 | 2416.94 | 424.7 | 0.3 | 2227.07 | 1.0015 | 2420.962
20040317 | 202 | 7 | 2389.83 | 425.4 | 0.4 | 2227.07 | 1.0015 | 2393.8069
20040317 | 118a | 8 | 2397.74 | 424.6 | 0.5 | 2227.07 | 1.0015 | 2401.7301
20040317 | 117b | 9 | 2397.01 | 423.9 | 0.8 | 2227.07 | 1.0015 | 2400.9989
20040317 | 207 | 10 | 2285.6 | 424.8 | 0.2 | 2227.07 | 1.0015 | 2289.4035
20040317 | 201 | 11 | 2394.28 | 424.9 | 0.4 | 2227.07 | 1.0015 | 2398.2643
20040317 | 199 | 12 | 2416.66 | 424.9 | 0.3 | 2227.07 | 1.0015 | 2420.6816
20040317 | 198 | 13 | 2413.44 | 424.5 | 0.4 | 2227.07 | 1.0015 | 2417.4562
20040317 | 196 | 14 | 2423.3 | 424.2 | 0.1 | 2227.07 | 1.0015 | 2427.3326
20040317 | 195 | 15 | 2428.16 | 425.3 | 0.5 | 2227.07 | 1.0015 | 2432.2007
20040317 | 208 | 16 | 2279.52 | 425 | 0.5 | 2227.07 | 1.0015 | 2283.3133