## Final Data 2003-01
Iron III Data for Cruise 2003-01 | [29 empty] | For Graphing:
Cruise: | [6 empty] | 2003-01
Ship | [6 empty] | CCGS John P Tully
Dates | [6 empty] | February 4-19, 2003
Chief Scientist | [6 empty] | Marie Robert
Iron Analyst |  |  |  | IOS: |  |  | Nes Sutherland
For Methods and Explanation of Abbreviations please see Metadata Sheet
Flags & Abbreviations
1 | Sample for this measurement was drawn from water bottle but not analyzed - in storage, available for future analysis
3 | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outlyers)
4 | Bad measurement (known problem with sampling or analysis, but not serious enough to completely discard the value)
5 | Not reported (lost sample; unredeemably bad measurement, overrange)
6 | Mean of replicate measurements from one XNiskin (XN) or Goflo (GF)... Replicates are found in "WorkSumFe" sheet, and summary of replicate data in the "Metadata" sheet
Note that >90% of analyses have duplicate runs from within one bottle, average stats for these are in "Metadata" sheet; only separate bottles are flagged as "6"
9 | Sample not drawn for this measurement from this bottle
Salinity was collected from iron sampling bottles.
[9 empty] | GF= goflo |  | Sample_Number | Depth | Iron:Filtered:Buffered 0.22u | Flag FB | Iron:Unfiltered:Buffered | Flag UFB | Iron: Filtered: StrongAcid Micro waved | Flag FA mw | Iron:Unfiltered:StrongAcid Microwaved | Flag UFA mw |  | Salinity | Salinity flag | Nitrate | Nitrate flag | Silicate | Silicate flag | Phosphate | Phosphate flag
Date | Time | Cast or | Latitude |  | Longitude |  | Station | Event | Sampler | Sampler | Smp | Depth | FB 0.22 | FB | UFB | UFB | FAmw | FAmw | UFAmw | UFAmw | Analysis Comments | Sal |  | NO3 |  | Si |  | PO4
UTC | UTC | Profile | [5 empty] | # | Type | ID# | # | m | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | Collection Comments | (PSU) | Flag | uM | Flag | uM | Flag | uM | Flag
//all GF12#10 data suspect, poss insuff flushing
2003-02-13 | 1205 | 8001 | 48 39 | N | 126 40 | W | P26 | 5 | Pump | Asti | 11 | 10 | 0.03451 | 6 | 0.044203 | 6 | 0.133 |  | 0.19225
2003-02-13 | 1125 | 8001 | 48 39 | N | 126 40 | W | P26 | 5 | Pump | Asti | 10 | 25 | 0.03748 | 6 | 0.041364 | 6 | 0.11176 | 6 | 0.19588 | 6
2003-02-13 | 1105 | 8001 | 48 39 | N | 126 40 | W | P26 | 5 | Pump | Asti | 9 | 40 | 0.040752 | 6 | 0.04089 | 6 | 0.12724 |  | 0.18926
2003-02-13 | 0940 | 8001 | 48 39 | N | 126 40 | W | P26 | 4 | GF12 | #5 | 7 | 75 | 0.049366 | 6 | 0.058427 | 6 | 0.11344 |  | 0.19406 |  |  | 32.5945
2003-02-13 | 0840 | 8001 | 48 39 | N | 126 40 | W | P26 | 3 | GF12 | #12 | 5 | 100 | 0.066389 | 6 | 0.11018 | 6 | 0.14509 |  | 0.33489 |  |  | 32.7881
2003-02-13 | 0940 | 8001 | 48 39 | N | 126 40 | W | P26 | 4 | GF12 | #10 | 8 | 150 | 0.078731 | 6 | 0.11685 | 6 | 0.15284 |  | 0.7474 |  | //all GF12#10 data suspect, poss insuff flushing | 33.0133
2003-02-13 | 0840 | 8001 | 48 39 | N | 126 40 | W | P26 | 3 | GF12 | #10 | 6 | 200 | 0.18485 | 6 | 0.29024 | 6 | 0.37618 |  | 0.60343 |  |  | 33.4081
2003-02-12 | 2315 | 8001 | 48 39 | N | 126 40 | W | P26 | 1 | GF12 | #12 | 1 | 300 | 0.59241 | 6 | 0.54008 | 6 | 0.81195 | 3 | 0.66689 |  | 3 FAmw: ?contamination | 33.8957
2003-02-12 | 2315 | 8001 | 48 39 | N | 126 40 | W | P26 | 1 | GF12 | #10 | 2 | 400 | 0.45413 | 6 | 0.52817 | 6 | 0.65247 |  | 0.7199 |  |  | 33.9428
2003-02-13 | 0045 | 8001 | 48 39 | N | 126 40 | W | P26 | 2 | GF30 | BigB | 3 | 600 | 0.49111 | 6 | 0.53514 | 6 | 0.70003 | 6 | 0.76756 | 6 | //depth approximate, messenger problems | 34.1856
2003-02-13 | 0045 | 8001 | 48 39 | N | 126 40 | W | P26 | 2 | GF12 | #10 | 4 | 800 | 0.54164 | 6 | 0.66497 | 6 | 0.73484 |  | 0.93082 |  | //depth approximate, messenger problems | 34.2972
2003-02-15 | 0510 | 8002 | 49 34 | N | 138 40 | W | P20 | 9 | Pump | Asti | 20 | 10 | 0.041711 |  | 0.036907 |  | 0.047329 |  | 0.10708 | 6,3 | 3:UFAmw: one dup poss contam in mw when cap fell off: 0.59nM, not included in avg
2003-02-15 | 0440 | 8002 | 49 34 | N | 138 40 | W | P20 | 9 | Pump | Asti | 19 | 25 | 0.027338 | 6 | 0.041486 | 6 | 0.076522 |  | 0.14244 | 6
2003-02-15 | 0425 | 8002 | 49 34 | N | 138 40 | W | P20 | 9 | Pump | Asti | 18 | 40 | 0.033945 |  | 0.12944 |  | 0.048242 |  | 0.14867 | 6
2003-02-15 | 0300 | 8002 | 49 34 | N | 138 40 | W | P20 | 8 | GF12 | #12 | 16 | 75 | 0.033962 |  | 0.068893 |  | 0.058429 |  | 0.65222 | 6,3 | 3:UFAmw: large diff btw dups: 0.27, 1.04 | 32.4776
2003-02-15 | 0200 | 8002 | 49 34 | N | 138 40 | W | P20 | 7 | GF12 | #12 | 14 | 100 | 0.037106 |  | 0.068144 |  | 0.12075 |  | 0.38839 | 6 |  | 32.3888
2003-02-15 | 0300 | 8002 | 49 34 | N | 138 40 | W | P20 | 8 | GF12 | #10 | 17 | 150 | 0.064828 |  | 0.10862 |  | 0.10862 |  | 0.38829 |  |  | 32.7997
2003-02-15 | 0200 | 8002 | 49 34 | N | 138 40 | W | P20 | 7 | GF12 | #10 | 15 | 200 |  | 5 |  | 5 |  | 5 |  | 5 | 5 : Sal low, misstrip | 32.6753 | 5
2003-02-14 | 2225 | 8002 | 49 34 | N | 138 40 | W | P20 | 6 | GF12 | #12 | 12 | 400 | 0.36418 |  | 0.40264 |  | 0.5248 |  | 0.70302 | 6 |  | 33.9688
2003-02-14 | 2225 | 8002 | 49 34 | N | 138 40 | W | P20 | 6 | GF12 | #10 | 13 | 600 | 0.42111 | 6 | 0.46053 | 6 | 0.60809 |  | 1.0178 | 6,5 | 3:UFAmw: one dup likely contam: 3.03nM, not included in avg | 34.1415
2003-02-16 | 0630 | 8003 | 49 17 | N | 134 40 | W | P16 | 12 | Pump | Asti | 27 | 10 | 0.020971 |  | 0.024702 |  | 0.030952 |  | 0.17814 | 6
2003-02-16 | 0555 | 8003 | 49 17 | N | 134 40 | W | P16 | 12 | Pump | Asti | 26 | 25 | 0.013037 | 6 | 0.029264 | 6 | 0.090793 | 6 | 0.18668 | 6
2003-02-16 | 0530 | 8003 | 49 17 | N | 134 40 | W | P16 | 12 | Pump | Asti | 25 | 40 | 0.013473 |  | 0.033829 |  | 0.033044 |  | 0.29838 | 6
2003-02-16 | 0420 | 8003 | 49 17 | N | 134 40 | W | P16 | 11 | GF12 | #12 | 23 | 75 | 0.019639 |  | 0.052235 |  | 0.03577 |  | 0.42468 | 6 |  | 32.3945
2003-02-16 | 0315 | 8003 | 49 17 | N | 134 40 | W | P16 | 10 | GF12 | #12 | 21 | 100 | 0.036776 |  | 0.047276 |  | 0.059142 |  | 0.50799 | 6,3 | 3:UFAmw: large diff btw dups:0.79, 0.22 | 32.6814
2003-02-16 | 0420 | 8003 | 49 17 | N | 134 40 | W | P16 | 11 | GF12 | #10 | 24 | 150 | 0.054599 |  | 0.071802 |  | 0.42097 |  | 0.59258 |  |  | 32.945
2003-02-16 | 0315 | 8003 | 49 17 | N | 134 40 | W | P16 | 10 | GF12 | #10 | 22 | 200 | 0.10435 | 6 | 0.16746 | [6 empty] | 33.317
2003-02-17 | 0610 | 8004 | 48 58.2 | N | 130 40. | W | P12 | 13 | Pump | Asti | 30 | 10 | 0.034177 |  | 0.083248 |  | 0.058743
2003-02-17 | 0535 | 8004 | 48 58.2 | N | 130 40. | W | P12 | 13 | Pump | Asti | 29 | 25 | 0.035087 |  | 0.081115 |  | 0.098765
2003-02-17 | 0510 | 8004 | 48 58.2 | N | 130 40. | W | P12 | 13 | Pump | Asti | 28 | 40 | 0.045383 |  | 0.087776 |  | 0.06041
2003-02-17 | 0645 | 8004 | 48 58.2 | N | 130 40. | W | P12 | 14 | GF12 | #10 | 31 | 75 | 0.048025 |  | 0.11782 |  | 0.10398 |  |  |  |  | 32.3033
2003-02-17 | 0730 | 8004 | 48 58.2 | N | 130 40. | W | P12 | 15 | GF12 | #12 | 33 | 100 | 0.17704 |  | 0.36158 |  | 0.26268 |  |  |  |  | 32.5823
2003-02-17 | 0645 | 8004 | 48 58.2 | N | 130 40. | W | P12 | 14 | GF12 | #12 | 32 | 150 | 0.29159 |  | 0.51653 |  | 0.31816 |  |  |  |  | 33.5098
2003-02-17 | 0730 | 8004 | 48 58.2 | N | 130 40. | W | P12 | 15 | GF12 | #10 | 34 | 200 | 0.60189 |  | 1.1038 | [6 empty] | 33.6179

## Metadata Cruise
Metadata for Iron III Data for Cruise 2003-01 | [11 empty] | For Graphing:
Cruise: |  |  | 2003-01
Ship |  |  | CCGS John P Tully
Dates |  |  | February 4-19, 2003
Chief Scientist |  |  | Marie Robert
Iron Analyst | IOS: |  | Nes Sutherland
The cruise Line P stations were sampled in reverse order, as the purpose of the outbound leg was to deploy Argo units along a southern transect line, out to P26. During this time, iron analysis was dedicated to running acidified samples from previous cruises
On the return leg, the objective of the iron team was to sample and analyse Iron(III) at regularly monitored stations along Line P
A small study on the effect of adding H2O2 to acidified samples, as suggested by other labs, was conducted - results can be found on Sheet "H2O2Time Series"
Sample Collection:
Seawater samples for Iron(III) were collected by Teflon compressed air activated Asti pump with Teflon tubing (5-40m) or by 10L GoFlos (numbered), or 30L GoFlo (GF named BigB) on a Kevlar line spooled over a Delrin block (50-800m).
LDPE bottles had been previously acid cleaned to Geotraces standards.
Samples were filtered through 0.22u Opti Duropore cartidge type filters direct from the pump or Goflos
Sampler Bottle GF12#10 seemed to have frequent misstrips - mostly indicated by lower than expected salinity. Data from this sampler should be regarded with suspicion
Sample Treatment- Current and IOS Historical:
Iron analysis can be performed in several different ways, therefore it is necessary to operationally define the treatments used, if one wishes to compare results with other researchers.
At IOS we have traditionally followed the suggestions of Obata and Nishioka for treatment and analysis.
IOS protocol originally called for treatment of filtered and unfiltered samples with a mildly acidic buffered leach (pH 3.2), measured onboard, as well
as a strongly acidic leach (pH ~1.6 / 2.25 ml of 6N purified HCl to 250ml SW) measured after a storage period of 6 months or longer.
In recent years (post2006), IOS has also added the Geotraces method of acid leach for a minimum of 12 hours before analysis.
The following provides a description of these treatments, their abbreviations and nomenclature:
Buffered Sample Analysis - FB or UFB - traditional analysis performed for IOS Line P cruises - a mild leach where sample is buffered to pH3.2 with Ammonium formate,
then analysed within ~2 hours, unless noted; thought to be immediate bioavailable iron. Buffering for extended periods may result in more iron stripping off particles, therefore an attempt was made to standardize the time from buffereing
| Iron:Filtered:Buffered |  | FB | usually 0.22u filtered, buffered, also called dissolved Fe
|  |  |  | FB0.22u | Duropore Opti type cartridge direct from Goflo or Pump, else Flat Duropore membrane, either 90mm housing to GoFlo or pump, or 47mm housing in CleanRoom
| Iron:Unfiltered:Buffered |  | UFB | unfiltered, buffered, also considered to be labile or bioavailable
|  |  | UFB-FB | this difference is known as labile particulate fraction
Strongly Acidified Sample Analysis - FA or UFA - samples acidified to pH~1.6 with 1:1 HCl for 6 months or more, then brought back up to pH3.2, the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
IOS has traditionally used this strong acidification in the past, utilizing 2mL of 1:1 SeaStar HCl per 250mL sample for acidification, as suggested by Nishioka
(personal communication) for a complete digestion of iron, excepting what would be geologically bound compounds
It is thought that by microwaving the FA or UFA 24 hours after collection, the leaching of particles might be sped up to result in iron conc similar to the long term storage (Nishioka pers com), but this has not been verified by the IOS lab
Because the FA and UFA analyses were new to IOS, duplicate strongly acidified samples were collected - one set for long term storage, the other for long term and additional microwave as a comparison
| Iron:Filtered:StrongAcid |  | FA | 0.22u filtered, acidified to 1.6, into storage for minimum of 6 months - referred to as Total Dissolved fraction
This fraction tends to be similar to FB
|  |  |  | FA mw | Additional microwave procedure
| Iron:Unfiltered:StrongAcid |  | UFA | unfiltered, acidified to 1.6, then into storage for minimum of 6 months - also known as Total Dissolvable
|  |  |  | UFA mw | Additional microwave procedure
|  |  | UFA-FA | the difference provides leachable particulate, a measure of nonlabile particulate iron
|  |  | FA-FB | the difference reflects the nonlabile dissolved fraction
|  |  | UFA-UFB | the difference reflects the nonlabile fraction
For reference only:
Geotraces Acidified Sample - FG or UFG - samples acidified to <pH2 with 1:1 HCl for at least 12 hours, then brought back up to pH3.2, which is the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
The Geo (Geotraces) method is a stronger leach of iron than the Buffered Sample Analysis, especially on particulates in sea water.
It is becoming the norm for iron analyses, and therefore IOS has started to incorporate this treatment in its sampling protocol for Line P cruises
IOS protocol for Geotraces samples has been modified somewhat from when first run in 2009:
In 2009: 24 hour treatment, but with strong acid conc: 2.0mL 1:1 HCl per 250mL smp (->pH~1.6) as opposed to the then Geo suggested 0.5mL (->pH~1.9) Abbreviated to FGA and UFGA to reflect the stronger acid conc
In 2010: IOS followed the suggested addition of 0.5mL SS 1:1 HCl per 250mL sample (->pH~1.9) for 24 hour minimum digestion; called FG2010 and UFG2010
In 2011: it was noted that the Geotraces protocol now calls for addition of 1.0 mL of SeaStar 1:1 HCl per 250mL of sample, achieving a pH ~1.8, (min 12 hour digest), and will simply be abbreviated as FG or UFG
| Iron:Filtered:Geotrace |  | FG | 0.22u filtered, acidified to <2 for >12 hours, then pH3.2 for analysis - see below for 2011 modification. FG also referred to D(Fe), or Dissolved Fe
| Iron:Unfiltered:Geotrace |  | UFG | unfiltered, acidified to <2 for >12hours, then pH3.2 for analysis - see below for 2011 modification. UFG is also referred to TD(Fe), or Total Dissolvable Fe
Rough comparison of Treatments:
It is possible that over a 24 hour digest, the Geo results might be similar between the different acid concentrations (ie pH range1.6-1.9), but this has not been tested in our lab.
We have noted that the long term FA and UFA leaches result in greater iron concentration than the short digest of FG and UFG.
In 2009, FB~FGA, sometimes FB>FGA, but inconclusive, as known problems with contamination and calibration issues, however both FB&FGA < FA; UFB < UFGA < UFA
In 2010, FB and FG2000 were quite similar, no real trend observed; UFG2000 also tended to be similar or somewhat greater than UFB. However, for Stn P4 we used FGA, a stronger acid, and FGA was consistently > FB
In 2011, when comparing FB and FG, FG ~ > than FB, and UFG is also greater than UFB particularly in deeper waters; perhaps this trend shows the effect of increasing the amount of acid in the Geo method this year
In this cruise, filtered and unfiltered buffered samples (FB & UFB), and Strongly Acidified Filtered and Unfiltered (FA & UFA) were collected.
Sample Analysis:
Samples were analysed onboard using a chemiluminescent reaction with preconcentration according to the method of Obata et al (1993), incorporating
modifications made in Obata et al (1997). Details can be found in Johnson et al (2005)
In general, duplicate runs are taken from one sample bottle.
References: | Johnson, W.K., Miller, L.A., Sutherland, N.E., Wong, C.S., 2005. Iron transport by mesoscale Haida eddies in the Gulf of Alaska. Deep-Sea Research II 52, 933-953
Obata, H., Karatani, H., and E. Nakayama, 1993. Automated determination of iron in seawater by chlating resin concentration and chemiluminescence detection, Anal. Chem., 65, 1524 – 1528
Obata, H., Karatani, H., Matsui, M. and Nakayama, E., 1997. Fundamental studies for chemical speciation of iron in seawater with an improved analytical method. Mar. Chem., 56: 97-106.
Standards and Blanks:
The primary standard was a VWR FeCl3 in dilute HCl sol'n, certified at 1007ppm. From this a secondary 10ppm was prepared, then further diluted to stock solutions of 100 and 10ppb.
Working standards were prepared fresh from these stock solutions to bracket the expected range of samples, using low iron seawater collected from Stn Papa in previous cruises
Blanks for the standards were from the same low iron seawater. This typically has a small (<0.05nM) amount of Fe.
For more on blanks, see separate section below.
QAQC & Reference Standards, Blanks & Comments
Replication Statistics, or Sample Pooled Data Stats:
Pooled variance (sp) is used to report error associated with analyses, whether it be from duplicate analyses within a sample bottle, or between duplicate samples taken from one depth.
The Average Fe reported with the sp is the average of only the data used in calculating sp, and provided for determining relative standard deviation (%RSD).
|  | Replicate Analysis within a Sample Bottle | [5 empty] | Replicate Analysis of Separate Sample Bottles:
|  | Overall Cruise: | [5 empty] | Overall Cruise: | Buffered | Acidified
|  | AllData: |  | <0.2nmol:
Pooled Variance (sp): |  | 0.013241 |  | 0.01113 |  |  |  | 0.026643 | 0.02426 | 0.029917
Detection Limit: |  |  |  | 0.033391
Average Fe: |  | 0.21658 |  | 0.10313 |  |  |  | 0.24726 | 0.20629 | 0.30979
Sum d^2: |  | 0.045933 |  | 0.021308 |  |  |  | 0.068147 | 0.034136 | 0.034011
Rsp% |  | 6.1136 |  | 10.792 |  |  |  | 10.7753 | 11.7599 | 9.6571
n: |  | 131 |  | 86 |  |  |  | 48 | 29 | 19
Daily Reference Standards (DRS)
DRSs are run frequently to check on instrument performance and drift. Unfortunately in this cruise they were not run.
Intercalibration Standards
Intercalibration standards were not available, and thus not reported
Summary of Buffered Sea Water Blanks Used in Calibration and Determining Zero, and Detection Limits
Blanks:
Calibrations are run using standard additions of Fe to a volume of filtered low iron seawater collected from OSPapa, 050N 145W, or other HNLC area
This seawater source, without the additions, is sometimes referred to as BSW - Buffered SeaWater - and forms the 0 point or blank for the calibration standards
However, because there is invariably some iron in this water, it is necessary to correct samples to a zero iron or instrument blank.
In previous cruises, low iron seawater was run through the resin column and collected for use as zero water, and was referred to as "rc0" or resin-cleaned zero water.
In talking to other iron researchers about their source for "zero iron" water, IOS changed to using a very short preconcentration time of 0-5sload, as compared to the usual 120s- 300s load for samples.
This very short preconc time allows all reagents and a small quantity of seawater to still affect the column, but keeps iron addition negligible.
On our system, even with a 0s load, there is still a small amount of low iron seawater between the valves, that flushes through the column, keeping the chemistry the same as for samples. Note that the name, rc0 has not changed
Changing to the 0 load time circumvents problems with contamination creeping into rc0 bottles when used over a period of time.
This zero blank for sample correction is actually the concentration of the low iron seawater, and thus varies with the seawater batches used in calibration.
Following is a list of blanks used in calibration, but calculated with the rc0 (zero blank) to determine actual iron of the BSW used this cruise
Please see discussion of Determining Detection Limit in a section below this one
Data Statistics for rc0 and Standards 0 . Note that Std 0 reflects the concentration of the low iron seawater used for std addition.
Low iron seawater used was ~0.04nM
| Date | Standard rc0: |  |  | Standard 0(LowFeSW):
|  | Time | Fe(III) |  | Time | Fe(III)
Average: |  |  | 0.00052088 |  |  | 0.039254
Stdev: |  |  | 0.00083365 |  |  | 0.0094447
DL: |  |  | 0.002501 |  |  | 0.028334
Count: |  |  | 9 |  |  | 38
%RSD: |  |  | 160.0453 |  |  | 24.0602
|  |  | rc0 |  |  | 0
120s: | 2003-02-06 |  |  |  | 1136 | 0.041998 |  |  |  |  | fresh stock BSW (combo of two bottles)
[5 empty] | 1152 | 0.03824
[5 empty] | 1207 | 0.044932
[5 empty] | 1222 | 0.036974
[5 empty] | 1238 | 0.041467
[5 empty] | 1253 | 0.046583
240s: | 2003-02-07 | 1617 | 0.0016473 | 5sec load | 1518 | 0.050994
|  | 1633 | 0.00043536 | " | 1536 | 0.054833
| 2003-02-08 | 2200 | 0.00015141 | " | 2128 | 0.026725
|  | 2214 | 0.00078015 | " | 2145 | 0.026912
| 2003-02-10 | 819 | 0.00070604 | " | 711 | 0.036565 |  |  |  |  | refill stock btl with last of cracked carboy
|  | 832 | 0.000964 | " | 729 | 0.040931
[5 empty] | 746 | 0.037528 | +H2O2
[5 empty] | 804 | 0.040261 | "
| 2003-02-11 |  |  |  | 1549 | 0.043851
[5 empty] | 1607 | 0.04181
120s: | 2003-02-11 |  |  |  | 2029 | 0.02577
[5 empty] | 2045 | 0.016947
[5 empty] | 2100 | 0.028309
[5 empty] | 2115 | 0.020407
240s: | 2003-02-13 |  |  |  | 1750 | 0.04782 |  |  |  |  | added stock from 40L carboy
[5 empty] | 1807 | 0.04715
[5 empty] | 1826 | 0.046448 | +H2O2
[5 empty] | 1844 | 0.047004 | "
| 2003-02-14 |  |  |  | 1309 | 0.041361
[5 empty] | 1327 | 0.043158
| 2003-02-15 |  |  |  | 1129 | 0.028771
[5 empty] | 1146 | 0.029795
| 2003-02-16 |  |  |  | 720 | 0.054384
[5 empty] | 737 | 0.044881
| 2003-02-17 | 2107 | -0.001345 | 0 sec load | 2124 | 0.034777
[5 empty] | 2143 | 0.034011
| 2003-02-18 |  |  |  | 904 | 0.029079
[5 empty] | 921 | 0.030486
240s PL: | 2003-02-26 | 1133 | 0.0010748 | 5sec load | 1029 | 0.052642
|  | 1146 | 0.00027387 | 2sec load | 1046 | 0.049722
120s PL: | 2003-02-27 |  |  |  | 1505 | 0.0472
[5 empty] | 1520 | 0.040941
Determining Detection Limit (D.L.):
The detection limit can be determined as 3 x Stdev of the Average Blank FeIII concentration, depending on whether the stock batches used are the same, and have low iron content(<0.1nM).
The standard deviation of the blanks can be used instead to determine DL : in this case, for rc0 (=<5s load) DL~0.00nM; for Seawater calibration stock, DL~0.03nM
However, as there were numerous very low seawater samples, the DL can also be determined using 3* SP for all samples <0.2nM:
Using the data for this cruise, DL is ~0.03nM
| Avg: | 0.10313
| n: | 86
| sp: | 0.01113
| DL: | 0.033391
Overall Detection Limit ~0.00-0.03nM

## MetadataPostCruiseAcidSmp
Metadata for Post Cruise Acidified Iron III Data | [7 empty] | For Graphing:
Cruise: |  |  | 2003-01
Ship |  |  | CCGS John P Tully
Dates |  |  | February 4-19, 2003
Chief Scientist |  |  | Marie Robert
Iron Analyst | IOS: |  | Nes Sutherland
Sample Treatment- See Metadata Cruise Sheet for details
In this cruise, filtered and unfiltered buffered samples (FB & UFB), and Strongly Acidified Filtered and Unfiltered (FA & UFA) were collected.
The FA and UFA were microwaved to ensure complete digestion.
Sample Analysis:
See Metadata Cruise Sheet for details
The acidified microwaved samples, in their LDPE bottles, were brought to near boiling and held for 8 minutes at that temperature, then allowed to cool.
These microwaved acidifieds were brought up to pH3.2 for analysis by addition of ammonium formate buffer, and conc NH4OH and the addition of H2O2 to yield 10uM.
Standards and Blanks:
See Metadata Cruise Sheet for details
QAQC & Reference Standards, Blanks & Comments
2003-01: P12(10-150FAmw), P16(10-150FAmw&UFAmw), P20(10-600FAmw&UFAmw), P26(10-800FAmw&UFAmw) samples - microwaved 28-29Aug 2003; analysed 12-19Sep 2003, aged ~7 months.
September 2003 Analysis (Cruise 2003-27) Acidified Data:
Replication Statistics, or Sample Pooled Data Stats: | [5 empty] | Replicate Analysis of Separate Sample Bottles:
See Metadata Cruise Sheet for details | [5 empty] | Acidified
|  | All Samples: |  | <0.2nmol (for D.L.): |  | **w/o outlier
Pooled Variance (sp): |  | 0.01743 |  | 0.0051041 |  | 0.18747
Detection Limit: |  |  |  | 0.015312
Average Fe: |  | 0.44375 |  | 0.086537 |  | 0.4507
Sum d^2: |  | 0.21023 |  | 0.0092743 |  | 1.5463
Rsp% |  | 3.9279 |  | 5.8981 |  | 41.5947
n: |  | 346 |  | 178 |  | 22
Daily Reference Standards (DRS)
DRS were not run over the period from March to August 2001
Blanks:
See Metadata Cruise Sheet for details
| Date | Standard rc0: |  |  | Standard 0(LowFeSW): |  | Detection Limit:
|  | Fe(III) |  |  | Fe(III)
Average: |  | -0.0010005 |  |  | 0.043794 |  | ~0.00-0.02nM Fe
Stdev: |  | 0.0027563 |  |  | 0.013201
DL: |  | 0.0082689 |  |  | 0.039604
Count: |  | 7 |  |  | 37

## 0301LineP Sum
Cruise 2003-01 Summary - Microwaved 2002-30 &Buffered Line P 2003-01 | [15 empty] | Total Cruise:
|  |  |  | All Buffered: | Buff<0.2 | FB |  | UFB |  | All Acid: | Buff<0.2 | FA&mw |  | UFA&mw |  | All Data | <0.2nM |  | AllSeparate Btl: | Buff | Acid
Pooled Variance (sp): |  |  |  | 0.011765 | 0.0096639 | 0.011463 |  | 0.012051 |  | 0.015098 | 0.013446 | 0.018044 |  | 0.0078711 |  | 0.013241 | 0.01113 |  | 0.026643 | 0.02426 | 0.029917
Detection Limit: |  |  |  |  | 0.028992 | [5 empty] | 0.040338 | [5 empty] | 0.033391
Average Fe: |  |  |  | 0.18523 | 0.099362 | 0.16395 |  | 0.20597 |  | 0.26127 | 0.11017 | 0.30356 |  | 0.18938 |  | 0.21658 | 0.10313 |  | 0.24726 | 0.20629 | 0.30979
Sum d^2: |  |  |  | 0.021314 | 0.01046 | 0.009986 |  | 0.011329 |  | 0.024618 | 0.010848 | 0.02214 |  | 0.0024781 |  | 0.045933 | 0.021308 |  | 0.068147 | 0.034136 | 0.034011
Rsp% |  |  |  | 6.3512 | 9.726 | 6.9915 |  | 5.8512 |  | 5.7786 | 12.2044 | 5.9442 |  | 4.1562 |  | 6.1136 | 10.792 |  | 10.7753 | 11.7599 | 9.6571
n: |  |  |  | 77 | 56 | 38 |  | 39 |  | 54 | 30 | 34 |  | 20 |  | 131 | 86 |  | 48 | 29 | 19
Cruise | Stn | Depth |  |  |  | F B | d^2 | UF B | d^2 | F Amw | d^2 | F A | d^2 | UF Amw | d^2 | UF A | d^2 |  | Date Anal.
Summary, averaging duplicates:
2002-30 | P26 | 10 | [7 empty] | 0.053197 | 0.00017086 |  |  | 0.1373 | 0.0040412 | 0.14985
|  | 25 | [7 empty] | 0.07695 | 0.002027 |  |  | 0.11315 | 0.0128 | 0.18861
|  | 40 | [7 empty] | 0.097704 | 0.001116 |  |  | 0.13865 | 0.0087702 | 0.26769
|  | 75 | [7 empty] | 0.15247 | 8.3794e-05 |  |  | 0.2233 | 0.00018662 | 0.12374
|  | 100 | [7 empty] | 0.21174 | 0.035577 |  |  | 0.19324 | 0.0082079 | 0.16614
|  | 150 | [7 empty] | 0.42309 | 5.0395e-07 | 0.32098 |  | 1.5291
|  | 200 | [7 empty] | 0.40578 | 0.0024386 | 0.56264
|  | 300 | [7 empty] | 0.43656 | 0.0039747 | 0.64743
|  | 400 | [7 empty] | 0.54139 | 0.00032528
|  | 600 | [7 empty] | 1.395 | 0.00076627
|  | 800 | [7 empty] | 0.63708 | 0.0025132
2002-16 |  | 0 | [7 empty] | 0.049205 |  |  |  | 0.085714
|  | 10 | [7 empty] | 0.045244 | 0.00053614 |  |  | 0.091227 | 5.329e-06
|  | 25 | [7 empty] | 0.04584 |  |  |  | 0.10066
|  | 40 | [7 empty] | 0.038721 |  |  |  | 0.15812
|  | 75 | [7 empty] | 0.091257 |  |  |  | 0.20093
|  | 100 | [7 empty] | 0.050184 |  |  |  | 0.26716
|  | 125 | [7 empty] | 0.34266 |  |  |  | 0.34183
|  | 150 | [7 empty] | 0.21967 |  |  |  | 0.48738
|  | 200 | [7 empty] | 0.18393
|  | 300 | [7 empty] | 0.51295 | 7.6185e-05
|  | 400 | [7 empty] | 0.54161
|  | 600 | [7 empty] | 0.51182
2003-01 | P26 | 10 |  |  |  | 0.03451 | 9.7953e-06 | 0.044203 | 5.5812e-05
sep btl, 250&125mL size) |  | 25 |  |  |  | 0.03748 | 0.00014988 | 0.041364 | 5.2245e-05
|  | 40 |  |  |  | 0.040752 | 8.1473e-06 | 0.04089 | 1.3022e-05
|  | 75 |  |  |  | 0.049366 | 0.00027704 | 0.058427 | 7.9994e-05
|  | 100 |  |  |  | 0.066389 | 6.1507e-06 | 0.11018 | 0.0006277
|  | 150 |  |  |  | 0.078731 | 3.8643e-05 | 0.11685 | 0.00016758
|  | 200 |  |  |  | 0.18485 | 8.5639e-06 | 0.19844 | 0.00011643 | 0.29024 | [7 empty] | UFB poss low flow
|  | 300 |  |  |  | 0.59241 | 0.0013776 | 0.39441 | 0.0013503 | 0.54008
|  | 400 |  |  |  | 0.45413 | 0.00074159 | 0.35283 | 3.387e-05 | 0.52817
|  | 600 |  |  |  | 0.49111 | 0.015473 | 0.49255 | 0.011443 | 0.53514
|  | 800 |  |  |  | 0.54164 | 6.8246e-05 | 0.4639 | 0.00021993 | 0.66497
| P20 | 10 |  |  |  | 0.041711 |  | 0.036907
|  | 25 |  |  |  | 0.027338 | 6.9263e-05 | 0.041486 | 5.9241e-06
|  | 40 |  |  |  | 0.033945 |  | 0.12944
|  | 75 |  |  |  | 0.033962 |  | 0.068893
|  | 100 |  |  |  | 0.037106 |  | 0.068144
|  | 150 |  |  |  | 0.064828 |  | 0.10862
|  | 200 |  |  |  | 0.1525 |  | 0.21629
|  | 400 |  |  |  | 0.36418 |  | 0.40264
|  | 600 |  |  |  | 0.42111 | 0.0005931 | 0.46053 | 0.00038197
| P16 | 10 |  |  |  | 0.020971 |  | 0.024702
|  | 25 |  |  |  | 0.013037 | 4.1203e-05 | 0.029264 | 3.684e-05
|  | 40 |  |  |  | 0.013473 |  | 0.033829
|  | 75 |  |  |  | 0.019639 |  | 0.052235
|  | 100 |  |  |  | 0.036776 |  | 0.047276
|  | 150 |  |  |  | 0.054599 |  | 0.071802
|  | 200 |  |  |  | 0.10435 | 0.000689 | 0.16746
| P12 | 10 |  |  |  | 0.034177 |  | 0.083248
|  | 25 |  |  |  | 0.035087 |  | 0.081115
|  | 40 |  |  |  | 0.045383 |  | 0.087776
|  | 75 |  |  |  | 0.048025 |  | 0.11782
|  | 100 |  |  |  | 0.17704 |  | 0.36158
|  | 150 |  |  |  | 0.29159 |  | 0.51653
|  | 200 |  |  |  | 0.60189 |  | 1.1038
2002-30 DATA
2037 | P26 | 10 | F M1 | +HP | [5 empty] | 0.046661 | 5.1097e-05 | [7 empty] | 2003-02-07
2112 | P26 | 10 | F M2 | ?+HP | [5 empty] | 0.059732 | 0.00010798 | [7 empty] | 2003-02-07
2147 | P26 | 20 | F M1 | +HP | [5 empty] | 0.099461 | [8 empty] | 2003-02-07
2222 | P26 | 20 | F M2 | +HP | [5 empty] | 0.054439 | 2.9539e-05 | [7 empty] | 2003-02-07
2259 | P26 | 40 | F M1 | +HP | [5 empty] | 0.081 | 0.00010952 | [7 empty] | 2003-02-07
2334 | P26 | 40 | F M2 | ?+HP | [5 empty] | 0.11441 | 2.105e-05 | [7 empty] | 2003-02-07
9 | P26 | 10 | UF M1 | +HP | [9 empty] | 0.16909 | 0.0001119 |  |  |  | 2003-02-08
44 | P26 | 10 | UF M2 | +HP | [9 empty] | 0.10552 |  |  |  |  | 2003-02-08
101 | P26 | 10 | UF A | +HP | [11 empty] | 0.14985 | 0.0002534 |  | 2003-02-08
136 | P26 | 25 | UF M1 | +HP | [9 empty] | 0.11315 | 8.171e-05 |  |  |  | 2003-02-08
211 | P26 | 25 | UF M2 | +HP | [9 empty] | 0.11314 |  |  |  |  | 2003-02-08
228 | P26 | 25 | UF A | +HP | [11 empty] | 0.18861 | 0.00012332 |  | 2003-02-08
303 | P26 | 40 | UF M1 | +HP | [9 empty] | 0.18547 | 0.00027025 |  |  |  | 2003-02-08
338 | P26 | 40 | UF M2 | +HP | HDPE | [8 empty] | 0.091822 |  |  |  |  | 2003-02-08
355 | P26 | 40 | UF A | +HP | [11 empty] | 0.26769 | 4.0156e-05 |  | 2003-02-08
440 | P26 | 10 | UF M2 | +extraHP - 2% | [9 empty] | 0.11328 |  |  |  |  | 2003-02-08
458 | P26 | 25 | UF M2 | +extraHP - 2% | [9 empty] | 0.099773 |  |  |  |  | 2003-02-08
515 | P26 | 40 | UF M2 | +extraHP - 2% | [9 empty] | 0.070269 |  |  |  |  | 2003-02-08
535 | P26 | 75 | F M1 | +HP | [5 empty] | 0.1479 | 1.0041e-09 | [7 empty] | 2003-02-08
610 | P26 | 75 | F M2 | +HP | [5 empty] | 0.15705 | 0.0068838 | [7 empty] | 2003-02-08
645 | P26 | 25 | UF A | +HP | [11 empty] | 0.17474 | 4.2724e-07 |  | 2003-02-08
900 | P26 | 75 | UF M1 | +HP | [9 empty] | 0.21647 | 1.1383e-05 |  |  |  | 2003-02-08
935 | P26 | 75 | UF M2 | +HP | [9 empty] | 0.23013 | 0.00015068 |  |  |  | 2003-02-08
1009 | P26 | 75 | UF A | [12 empty] | 0.12374 |  |  | 2003-02-08
1027 | P26 | 100 | F M1 | [6 empty] | 0.30605 | 1.2659e-05 | [7 empty] | 2003-02-08
1123 | P26 | 100 | F M2 | [6 empty] | 0.11743 | 3.0015e-05 | [7 empty] | 2003-02-08
1158 | P26 | 100 | UF M1 | [10 empty] | 0.14794 | 5.9228e-05 |  |  |  | 2003-02-08
1232 | P26 | 100 | UF M2 | pH3.3 | [9 empty] | 0.23854 |  |  |  |  | 2003-02-08
1307 | P26 | 100 | UF A | pH3.1 | [11 empty] | 0.16614 |  |  | 2003-02-08
1325 | P26 | 100 | UF M2 | pH3.1, +60u 1:1 HCl | [9 empty] | 0.24822 |  |  |  |  | 2003-02-08
1342 | P26 | 75 | UF A | pH3.1 | [11 empty] | 0.12842 |  |  | 2003-02-08
1359 | P26 | 100 | UF A | pH3.3, +30u NH4 | [11 empty] | 0.21515 |  |  | 2003-02-08
1417 | P26 | 75 | UF A | pH3.3, +60u NH4 | [11 empty] | 0.12022 | 7.3351e-05 |  | 2003-02-08
1434 | P26 | 75 | UF A | pH3.3, +100u 2%HP | [11 empty] | 0.1245 |  |  | 2003-02-08
1511 | P26 | 0 | F M | 2002-16 | [5 empty] | 0.049205 | 2.9012e-06 | [7 empty] | 2003-02-08
1546 | P26 | 10 | F M1 | [6 empty] | 0.056822 | 3.8045e-05 | [7 empty] | 2003-02-08
1621 | P26 | 10 | F M2 | [6 empty] | 0.033667 | 3.9437e-05 | [7 empty] | 2003-02-08
1656 | P26 | 25 | F M | [6 empty] | 0.04584 | 3.3594e-09 | [7 empty] | 2003-02-08
1731 | P26 | 40 | F M | [6 empty] | 0.038721 | 2.2539e-07 | [7 empty] | 2003-02-08
1805 | P26 | 0 | UF M | [10 empty] | 0.085714 | 4.0839e-05 |  |  |  | 2003-02-08
1842 | P26 | 10 | UF M1 | [10 empty] | 0.090073 | 0.00015753 |  |  |  | 2003-02-08
1917 | P26 | 10 | UF M2 | no HP | fat peak | [8 empty] | 0.092381 | 0.00028568 |  |  |  | 2003-02-08
1952 | P26 | 25 | UF M | [10 empty] | 0.10066 | 7.173e-05 |  |  |  | 2003-02-08
2027 | P26 | 40 | UF M | [10 empty] | 0.15812 | 2.3206e-05 |  |  |  | 2003-02-08
2002-16
18 | P26 | 75 | F M | 2002-16 | [5 empty] | 0.091257 | 0.00015501 | [7 empty] | 2003-02-09
53 | P26 | 100 | F M | [6 empty] | 0.050184 | 2.1158e-05 | [7 empty] | 2003-02-09
127 | P26 | 75 | UF M | [10 empty] | 0.20093 | 0.00022588 |  |  |  | 2003-02-09
202 | P26 | 100 | UF M | rgt tu | [9 empty] | 0.26716 | 5.8232e-05 |  |  |  | 2003-02-09
347 | P26 | 125 | F M | [6 empty] | 0.34266 | 0.00027384 | [7 empty] | 2003-02-09
421 | P26 | 150 | F M | [6 empty] | 0.21967 | 0.00025871 | [7 empty] | 2003-02-09
456 | P26 | 125 | UF M | [10 empty] | 0.34183 | 0.00016535 |  |  |  | 2003-02-09
533 | P26 | 150 | UF M | [10 empty] | 0.48738 | 0.00027388 |  |  |  | 2003-02-09
608 | P26 | 150 | F M1 | 2002-30 | [5 empty] | 0.42274 | 5.2441e-05 | [7 empty] | 2003-02-09
643 | P26 | 150 | F M2 | [6 empty] | 0.42345 | 0.00081056 | [7 empty] | 2003-02-09
718 | P26 | 150 | F A | [8 empty] | 0.32098 | 0.00072914 | [5 empty] | 2003-02-09
753 | P26 | 150 | UF M1 | [10 empty] | 1.5291 |  |  |  |  | 2003-02-09
952 | P26 | 200 | F M | 2002-16 | NF |  |  |  |  | 0.18393 | 0.0015795 | [7 empty] | 2003-02-09
1027 | P26 | 300 | F M1 | [6 empty] | 0.51732 | 0.0020137 | [7 empty] | 2003-02-09
1102 | P26 | 300 | F M2 | [6 empty] | 0.50859 | [8 empty] | 2003-02-09
1137 | P26 | 400 | F M | [6 empty] | 0.54161 | 0.0010914 | [7 empty] | 2003-02-09
1212 | P26 | 600 | F M | [6 empty] | 0.51182 | 0.00047234 | [7 empty] | 2003-02-09
1246 | P26 | 200 | F M1 | 2002-30 | [5 empty] | 0.38109 | 0.00015029 | [7 empty] | 2003-02-09
1321 | P26 | 200 | F M2 | [6 empty] | 0.43047 | 8.8633e-05 | [7 empty] | 2003-02-09
1356 | P26 | 200 | F A | [8 empty] | 0.56264 | 4.0811e-05 | [5 empty] | 2003-02-09
1431 | P26 | 300 | F M1 | [6 empty] | 0.46808 | 1.0635e-05 | [7 empty] | 2003-02-09
1506 | P26 | 300 | F M2 | [6 empty] | 0.40504 | 1.2268e-05 | [7 empty] | 2003-02-09
1540 | P26 | 300 | F A | [8 empty] | 0.64743 | 0.0024099 | [5 empty] | 2003-02-09
1615 | P26 | 400 | F M1 | [6 empty] | 0.55041 | 0.00032752 | [7 empty] | 2003-02-09
1658 | P26 | 400 | F M2 | used conc HP | [5 empty] | 0.53237 | 0.00051605 | [7 empty] | 2003-02-09
1733 | P26 | 600 | F M1 | [6 empty] | 1.3812 | [8 empty] | 2003-02-09
1807 | P26 | 600 | F M2 | used conc HP | [5 empty] | 1.4089 | 0.0037999 | [7 empty] | 2003-02-09
1917 | P26 | 800 | F M1 | [6 empty] | 0.66215 | [8 empty] | 2003-02-09
2027 | P26 | 800 | F M2 | rpt | [5 empty] | 0.61201 | [8 empty] | 2003-02-09
2003-02-11
021303.xls - 240s - 2003-01 P26 B - New Luminol | [18 empty] | 2003-02-11
2248 | P26 | 25 | F B | 250A |  | 0.046599 | 0.00026182 | [11 empty] | 2003-02-11
2323 | P26 | 25 | F B | 125A |  | 0.034357 | [12 empty] | 2003-02-11
2340 | P26 | 25 | F B | 250B +HP |  | 0.034862 | 1.3902e-06 | [11 empty] | 2003-02-11
15 | P26 | 25 | F B | 125B +HP | poor peak | 0.034105 | [12 empty] | 2003-02-14
33 | P26 | 10 | F B | 250 |  | 0.036075 | 3.5682e-05 | [11 empty] | 2003-02-14
107 | P26 | 10 | F B | 125 | tu wash | 0.032945 | [12 empty] | 2003-02-14
125 | P26 | 40 | F B | 250 |  | 0.04218 | 8.6772e-11 | [11 empty] | 2003-02-14
200 | P26 | 40 | F B | 125 |  | 0.039325 | [12 empty] | 2003-02-14
217 | P26 | 75 | F B | 250 |  | 0.057689 | 8.4123e-06 | [11 empty] | 2003-02-14
252 | P26 | 75 | F B | 125 |  | 0.041044 | [12 empty] | 2003-02-14
309 | P26 | 100 | F B | 250 |  | 0.065149 | 4.8898e-05 | [11 empty] | 2003-02-14
344 | P26 | 100 | F B | 125 |  | 0.067629 | [12 empty] | 2003-02-14
401 | P26 | 25 | F B | 250A |  | 0.036463 | [12 empty] | 2003-02-14
419 | P26 | 25 | F B | 250B +HP |  | 0.019981 | [12 empty] | 2003-02-14
436 | P26 | 10 | F B | 250 |  | 0.024023 | [12 empty] | 2003-02-14
454 | P26 | 25 | F B | 250 |  | 0.029981 | [12 empty] | 2003-02-14
511 | P26 | 40 | F B | 250 |  | 0.04412 | [12 empty] | 2003-02-14
528 | P26 | 75 | F B | 250 |  | 0.050996 | [12 empty] | 2003-02-14
548 | P26 | 25 | UF B | 250A |  |  |  | 0.03724 | 1.3343e-06 | [9 empty] | 2003-02-14
623 | P26 | 25 | UF B | 125A |  |  |  | 0.041174 | [10 empty] | 2003-02-14
641 | P26 | 25 | UF B | 250B +HP |  |  |  | 0.042576 | 3.8285e-06 | [9 empty] | 2003-02-14
715 | P26 | 25 | UF B | 125B +HP |  |  |  | 0.044468 | [10 empty] | 2003-02-14
733 | P26 | 10 | UF B | 250 |  |  |  | 0.040467 | 2.618e-05 | [9 empty] | 2003-02-14
808 | P26 | 10 | UF B | 125 |  |  |  | 0.047938
825 | P26 | 40 | UF B | 250 |  |  |  | 0.042694 | 3.2577e-06 | [9 empty] | 2003-02-14
900 | P26 | 40 | UF B | 125 |  |  |  | 0.039086 | [10 empty] | 2003-02-14
917 | P26 | 75 | UF B | 250 |  |  |  | 0.062899 | 6.0453e-06 | [9 empty] | 2003-02-14
952 | P26 | 75 | UF B | 125 |  |  |  | 0.053956 | [10 empty] | 2003-02-14
1010 | P26 | 100 | UF B | 250 | tu rgt-fresh, except same lum |  |  | 0.12271 | 0.00024645 | [9 empty] | 2003-02-14
1044 | P26 | 100 | UF B | 125 |  |  |  | 0.097652 | [10 empty] | 2003-02-14
1102 | P26 | 25 | UF B | ?250 or 125 |  |  |  | 0.057908 | 1.4345e-05 | [9 empty] | 2003-02-14
1137 | P26 | 10 | UF B |  |  |  |  | 0.052251 | [10 empty] | 2003-02-14
1154 | P26 | 40 | UF B |  |  |  |  | 0.053353 | [10 empty] | 2003-02-14
1211 | P26 | 75 | UF B |  |  |  |  | 0.07801 | [10 empty] | 2003-02-14
1229 | P26 | 100 | UF B |  |  |  |  | 0.12569 | [10 empty] | 2003-02-14
1528 | P26 | 150 | F B | 250 |  | 0.081839 | 7.1641e-05 | [11 empty] | 2003-02-14
1603 | P26 | 150 | F B | 125 |  | 0.075623 | [12 empty] | 2003-02-14
1621 | P26 | 150 | UF B | 250 |  |  |  | 0.11038 | 4.9555e-05 | [9 empty] | 2003-02-14
1655 | P26 | 150 | UF B | 125 |  |  |  | 0.12332 | [10 empty] | 2003-02-14
1717 | P26 | 600 | UF B | 250A |  |  |  | 0.45022 | 0.0018366 | 0.57283 | [8 empty] | 2003-02-14
1752 | P26 | 600 | UF B | 125A |  |  |  | 0.49695 | [10 empty] | 2003-02-14
1810 | P26 | 600 | UF B | 250B +HP |  |  |  | 0.46586 | 0.00025624 | 0.52613 | [8 empty] | 2003-02-14
1844 | P26 | 600 | UF B | 125B +HP |  |  |  | 0.55719 |  | 0.50646 | [8 empty] | 2003-02-14
1902 | P20 | 600 | UF B | 250 |  |  |  | 0.45216 | 1.7067e-06 | [9 empty] | 2003-02-14
1937 | P26 | 800 | UF B | 250 |  |  |  | 0.47132 | 0.0010403 | 0.66497 | more likely closer to real result, as likely flow rate problems developing | [7 empty] | 2003-02-14
2011 | P26 | 800 | UF B | 125 |  |  |  | 0.45649 | [10 empty] | 2003-02-14
2029 | P26 | 400 | UF B | 250 | ?Low flow starts when? |  |  | 0.34992 | 0.00034278 | 0.52817 | [8 empty] | 2003-02-14
2104 | P26 | 400 | UF B | 125 |  |  |  | 0.35574 |  |  |  | 200 | 0.29024 | [5 empty] | 2003-02-14
2156 | P26 | 300 | UF B | 250 |  |  |  | 0.37604 | 4.373e-05 | 0.54008 |  | 300 | 0.54008 | [5 empty] | 2003-02-14
2237 | P26 | 300 | UF B | 125 |  |  |  | 0.41278 |  |  |  | 400 | 0.52817 | [5 empty] | 2003-02-14
2254 | P26 | 200 | UF B | 250 |  |  |  | 0.20383 | 4.204e-05 | 0.29024 |  | 600 | 0.53514 | [5 empty] | 2003-02-14
2329 | P26 | 200 | UF B | 125 |  |  |  | 0.19304 |  |  |  | 800 | 0.66497 | [5 empty] | 2003-02-14
2348 | P26 | 600 | UF B | 250B +HP | FRshot - new filter |  |  | 0.52613 | [10 empty] | 2003-02-14
6 | P26 | 600 | UF B | 125B +HP |  |  |  | 0.50646 | [10 empty] | 2003-02-15
23 | P26 | 600 | UF B | 250A |  |  |  | 0.57283 | [10 empty] | 2003-02-15
40 | P26 | 800 | UF B | ?250 |  |  |  | 0.66497 | [10 empty] | 2003-02-15
58 | P26 | 400 | UF B | ?250 |  |  |  | 0.52817 | [10 empty] | 2003-02-15
115 | P26 | 300 | UF B | ?250 |  |  |  | 0.54008 | [10 empty] | 2003-02-15
133 | P26 | 200 | UF B | ?250 |  |  |  | 0.29024 | [10 empty] | 2003-02-15
021503.xls - 240s - 2003-01 P26 + P20
1425 | P26 | 200 | F B | 250 +HP |  | 0.18339 | 0.00052805 | [11 empty] | 2003-02-15
1500 | P26 | 200 | F B | 125 |  | 0.18632 | [12 empty] | 2003-02-15
1518 | P26 | 300 | F B | 250 +HP |  | 0.57385 | 0.0014404 | [11 empty] | 2003-02-15
1552 | P26 | 300 | F B | 125 |  | 0.61097 | [12 empty] | 2003-02-15
1610 | P26 | 400 | F B | 250 +HP |  | 0.46775 | 0.00030804 | [11 empty] | 2003-02-15
1645 | P26 | 400 | F B | 125 |  | 0.44052 | [12 empty] | 2003-02-15
1702 | P26 | 600 | F B | 250A |  | 0.46163 | 0.00014556 | [11 empty] | 2003-02-15
1737 | P26 | 600 | F B | 125A |  | 0.44209 | [12 empty] | 2003-02-15
1754 | P26 | 600 | F B | 250B +HP |  | 0.49423 | 0.00010045 | [11 empty] | 2003-02-15
1829 | P26 | 600 | F B | 125B +HP |  | 0.56648 | [12 empty] | 2003-02-15
1846 | P26 | 800 | F B | 250 |  | 0.54577 | 0.0005468 | [11 empty] | 2003-02-15
1921 | P26 | 800 | F B | 125 |  | 0.53751 | [12 empty] | 2003-02-15
1943 | P20 | 600 | UF B | 250A rpt(buff yesterday) |  |  |  | 0.5467 | 4.4691e-05 | [9 empty] | 2003-02-15
2018 | P20 | 600 | UF B | +extra HP |  |  |  | 0.66061 | [10 empty] | 2003-02-15
2035 | P20 | 600 | UF B | 250B just buffed |  |  |  | 0.45771 | 0.00017724 | [9 empty] | 2003-02-15
2110 | P20 | 600 | UF B | 250C +HP |  |  |  | 0.47171 | 0.0011419 | [9 empty] | 2003-02-15
2145 | P20 | 600 | F B | 125A |  | 0.43927 | [12 empty] | 2003-02-15
2202 | P20 | 400 | UF B | 250 |  |  |  | 0.40264 | [10 empty] | 2003-02-15
2220 | P20 | 200 | UF B | 250 |  |  |  | 0.21629 | 0.0021877 | [9 empty] | 2003-02-15
2254 | P26 | 800 | F B | 125rpt | skinny peak, no wash for rinse - caught just in time to prevent air | 0.37609 | [12 empty] | 2003-02-15
2312 | P20 | 150 | UF B | 250 | new wash +tu rgt |  |  | 0.10862 | 5.306e-05 | [9 empty] | 2003-02-15
2347 | P20 | 600 | F B | 250A buffed~5 hrs ago - poss double buff |  | 0.41916 | [12 empty] | 2003-02-15
4 | P20 | 600 | F B | 250B-just buffed |  | 0.41108 | 7.3615e-06 | [11 empty] | 2003-02-16
39 | P20 | 600 | F B | 250C +HP |  | 0.41492 | 5.9491e-05 | [11 empty] | 2003-02-16
122 | P20 | 400 | F B | 250 |  | 0.36418 | 0.00060073 | [11 empty] | 2003-02-16
156 | P20 | 200 | F B | 250 |  | 0.1525 | 5.1223e-07 | [11 empty] | 2003-02-16
231 | P20 | 150 | F B | 250 |  | 0.064828 | 1.1464e-05 | [11 empty] | 2003-02-16
021603.xls - 240s - 2003-01 P20 | [18 empty] | 2003-02-16
1034 | P20 | 10 | F B |  |  | 0.041711 | 8.4166e-05 | [11 empty] | 2003-02-16
1109 | P20 | 25 | F B |  |  | 0.031499 | 9.1757e-06 | [11 empty] | 2003-02-16
1144 | P20 | 25 | F B | +HP |  | 0.023177 | 4.5268e-06 | [11 empty] | 2003-02-16
1219 | P20 | 40 | F B |  |  | 0.033945 | 1.099e-05 | [11 empty] | 2003-02-16
1254 | P20 | 75 | F B |  |  | 0.033962 | 8.6141e-07 | [11 empty] | 2003-02-16
1331 | P20 | 100 | F B |  |  | 0.037106 | 1.5825e-05 | [11 empty] | 2003-02-16
1406 | P20 | 10 | UF B |  |  |  |  | 0.036907 | 1.4701e-06 | [9 empty] | 2003-02-16
1441 | P20 | 25 | UF B |  |  |  |  | 0.040269 | 5.6853e-06 | [9 empty] | 2003-02-16
1515 | P20 | 25 | UF B | +HP |  |  |  | 0.042703 | 2.2226e-08 | [9 empty] | 2003-02-16
1550 | P20 | 40 | UF B |  |  |  |  | 0.12944 | 4.4137e-06 | [9 empty] | 2003-02-16
1625 | P20 | 75 | UF B |  |  |  |  | 0.068893 | 6.2977e-06 | [9 empty] | 2003-02-16
1700 | P20 | 100 | UF B |  |  |  |  | 0.068144 | 1.4292e-05 | [9 empty] | 2003-02-16
021703.xls - 240s - 2003-01 P16, P12 & SERIES MW | [18 empty] | 2003-02-16
37 | P16 | 10 | F B |  |  | 0.020971 | 0.0033686 | [11 empty] | 2003-02-17
135 | P16 | 25 | F B |  |  | 0.016246 | 2.2289e-06 | [11 empty] | 2003-02-17
210 | P16 | 25 | F B | +HP |  | 0.0098272 | 3.6188e-06 | [11 empty] | 2003-02-17
245 | P16 | 40 | F B |  |  | 0.013473 | 1.0609e-06 | [11 empty] | 2003-02-17
320 | P16 | 75 | F B |  |  | 0.019639 | 4.0247e-06 | [11 empty] | 2003-02-17
355 | P16 | 100 | F B |  |  | 0.036776 | 4.4544e-06 | [11 empty] | 2003-02-17
429 | P16 | 150 | F B | tu rgt |  | 0.054599 | 2.1498e-05 | [11 empty] | 2003-02-17
504 | P16 | 200 | F B |  |  | 0.091223 | 0.00013333 | [11 empty] | 2003-02-17
539 | P16 | 200 | F B | +HP |  | 0.11747 | 0.0001228 | [11 empty] | 2003-02-17
649 | P16 | 10 | UF B |  |  |  |  | 0.024702 | 1.0746e-06 | [9 empty] | 2003-02-17
723 | P16 | 25 | UF B | ?#6leaking? |  |  |  | 0.026229 | 1.9876e-06 | [9 empty] | 2003-02-17
758 | P16 | 25 | UF B | +HP |  |  |  | 0.032299 | 2.3803e-08 | [9 empty] | 2003-02-17
945 | P16 | 40 | UF B |  |  |  |  | 0.033829 | 6.2698e-08 | [9 empty] | 2003-02-17
1020 | P16 | 75 | UF B |  |  |  |  | 0.052235 | 1.4406e-05 | [9 empty] | 2003-02-17
1055 | P16 | 100 | UF B |  |  |  |  | 0.047276 | 8.9556e-06 | [9 empty] | 2003-02-17
1130 | P16 | 150 | UF B |  |  |  |  | 0.071802 | 5.6193e-05 | [9 empty] | 2003-02-17
1222 | P16 | 200 | UF B | #6 port leaking air, tightened |  |  |  | 0.16746 | [10 empty] | 2003-02-17
1257 | P12 | 200 | UF B |  |  |  |  | 1.1038 | 0.0025496 | [9 empty] | 2003-02-17
1332 | P12 | 150 | UF B |  |  |  |  | 0.51653 | 0.0010187 | [9 empty] | 2003-02-17
1407 | P12 | 100 | UF B |  |  |  |  | 0.36158 | 2.0747e-05 | [9 empty] | 2003-02-17
1441 | P12 | 75 | UF B |  |  |  |  | 0.11782 | 7.455e-05 | [9 empty] | 2003-02-17
1516 | P12 | 40 | UF B |  |  |  |  | 0.087776 | 2.978e-05 | [9 empty] | 2003-02-17
1551 | P12 | 25 | UF B |  |  |  |  | 0.081115 | [10 empty] | 2003-02-17
1608 | P12 | 10 | UF B |  |  |  |  | 0.083248 | 1.3372e-06 | [9 empty] | 2003-02-17
1645 | P12 | 10 | F B |  |  | 0.034177 | 7.0721e-06 | [11 empty] | 2003-02-17
1720 | P12 | 25 | F B |  |  | 0.035087 | [12 empty] | 2003-02-17
1737 | P12 | 40 | F B |  |  | 0.045383 | 0.0016348 | [11 empty] | 2003-02-17
1829 | P12 | 75 | F B |  |  | 0.048025 | [12 empty] | 2003-02-17
1847 | P12 | 100 | F B |  |  | 0.17704 | 3.362e-05 | [11 empty] | 2003-02-17
1922 | P12 | 150 | F B |  |  | 0.29159 | 0.0002029 | [11 empty] | 2003-02-17
1956 | P12 | 200 | F B |  |  | 0.60189 | 0.00014369 | [11 empty] | 2003-02-17
Note on G39: User: n=4
Note on G47: User: n=4
Note on G57: User: n=4
Note on H282: User: n=3
Note on I39: User: n=4
Note on I47: User: n=4
Note on O19: User: UFM1, at~upper limit, dup was OR

## H2O2Time Series
Test of HP (Hydrogen Peroxide) Addition
The Ken Johnson lab had found that adding HP (to equiv 10uM) would increase their low Fe levels of the intercalibration samples to the average expected
Not having any intercal sample left to test this with on our equipment, as we also had low levels, I ran the following tests:
Results: | There was no contamination problem, for a low filtered buffered iron sample, there was no significant difference in Fe levels to account for
For higher buffered iron samples, whether filtered or not, the +HP sample was always a bit higher than the nonHP sample,
but both decreased with time. It seems that for the first 5 hours there was not much change, before decreasing.
However, why the buffered eddy samples should decrease in the first place is a mystery, as these samples were prepared at least a week prior
by combining old remnants of analysed bottles into one large container for each type. For the analysis the sample was poured into
fresh cleaned bottles. Could it be that iron is actually being absorbed by the bottle walls?
I should test cleaned bottles - 1) soaking in dilute HCl, 2)soaking in DmQ, 3) DmQ rinsed and dried
Acidified samples - there was not a significant increase in release of iron - unlike the US lab's findings.
Action plan:
Most standards had HP added, in the hopes that they might not decrease as rapidly, but the most overriding concern was to analyse them fresh.
Acidified Samples were buffered, then brought to pH 3.1 (+/- 0.1) with NH4OH, as Jun prepares his, and then HP was added, with analysis
within 1-5 hours of HP addition.
020603 120s Std 0.8, with and without added HP
Time | Hrs | Without HP |  | With HP
|  | PH | Fe | PH | Fe
|  | 1615 |  | 1645
1647 | 0.5 | 4964416 | 0.79993
1703 | 0.75 | 4726532 | 0.77499
1718 | 0.5 |  |  | 5079296 | 0.81178
1733 | 0.75 |  |  | 4904824 | 0.79373
1850 | 2 |  |  | 5260568 | 0.83022
1905 | 3.25 | 4477808 | 0.74828
2142 | 5 |  |  | 5328732 | 0.83708
2301 | 6.75 | 4239196 | 0.72201
2316 | 7 | 3976872 | 0.69235
633 | 14.25 | 2768280 | 0.54253
648 | 14.5 | 2467432 | 0.50098
704 | 14.25 |  |  | 2238736 | 0.46792
Fresh 0.8 run at end of Time Series:
1042 | 0.5 |  |  | 4663700 | 0.7683
1058 | 0.75 |  |  | 4645300 | 0.76634
1113 | 1 |  |  | 4570340 | 0.75829
020603 120s Eddy Shallow (<100m) Filtered Buffered, with and without added HP
Time | Hrs | Without HP |  | With HP
|  | PH | Fe | PH | Fe |  | Difference - with HP minus w/o HP
|  |  | 0.080011 |  | 0.084235 |  | 0.0042236 | -> no contamination from HP addition
1310 | 0.5 | 259244 | 0.079432
1326 | 0.75 | 263204 | 0.08059
1341 | 0.5 |  |  | 268980 | 0.082272 | +HP (25u 1%HP)
1356 | 0.75 |  |  | 282552 | 0.086197
020603 120s Eddy Shallow (<100m) Unfiltered Buffered, with and without added HP
Time | Hrs | Without HP |  | With HP
|  | PH | Fe | PH | Fe
|  | 1345 |  | 1415
1412 | 0.5 | 874648 | 0.23064
1427 | 0.75 | 861828 | 0.22792
1458 | 0.75 |  |  | 1018604 | 0.26032
1528 | 1.25 |  |  | 1157056 | 0.28748 | turned on for 3min only
1546 | 1.5 |  |  | 1338120 | 0.32125
020603 120s Eddy Deep (>100m) Filtered Buffered, with and without added HP
Time | Hrs | Without HP |  | With HP
|  | PH | Fe | PH | Fe
|  | 1715 |  | 1745
1749 | 0.5 | 5138576 | 0.81784
1804 | 0.75 | 5194264 | 0.82351
1921 | 2 | 5094548 | 0.81334
2157 | 4.75 | 5450884 | 0.84928
2213 | 5 | 4990124 | 0.80259
719 | 14 | 3448708 | 0.6298
1819 | 0.5 |  |  | 5989156 | 0.90155
1835 | 0.75 |  |  | 6514584 | 0.9505
1939 | 2 |  |  | 6280076 | 0.92889
2228 | 4.75 |  |  | 6920912 | 0.98709
2243 | 5 |  |  | 6931240 | 0.988
734 | 13.75 |  |  | 5160488 | 0.82008
020603 120s Eddy Deep (>100m) Unfiltered Buffered, with and without added HP
Time | Hrs | Without HP |  | With HP
|  | PH | Fe | PH | Fe
|  | 2300 |  | 2330
2331 | 0.5 | 22920084 | 2.0078
2347 | 0.75 | 24731088 | 2.0963
906 | 10 | 19277488 | 1.8188
921 | 10.25 | 18740144 | 1.7894
2 | 0.5 |  |  | 26171892 | 2.1644
17 | 0.75 |  |  | 28304404 | 2.262
937 | 10 |  |  | 20991248 | 1.9097
952 | 10.25 |  |  | 22205780 | 1.972
020603 120s Daily Ref Std, Filtered Acidified, with and without added HP
Time | Hrs | Without HP |  | With HP
|  | PH | Fe | PH | Fe
1930
1955 | 0.5 | 19457640 | 1.8285 |  |  | Neut
2010 | 0.75 | 19245588 | 1.817
33 | 5 | 19125220 | 1.8105
48 | 5.75 | 18832672 | 1.7945
851 | 13.25 | 15811468 | 1.6218
2025 | 3 |  |  | 16914412 | 1.6866 | Neut+HP@1730
2041 | 3.25 |  |  | 20762728 | 1.8978 | "
103 | 7.5 |  |  | 15968116 | 1.6312 | "
750 | 14.25 |  |  | 12399592 | 1.4061 | "
805 | 14.5 |  |  | 15068104 | 1.5769 | "
2056 | 0.25 |  |  | 20429972 | 1.8803 | Neut+HP@2040
2111 | 0.5 |  |  | 23439680 | 2.0335 | "
119 | 4.75 |  |  | 19365484 | 1.8235 | "
820 | 11.75 |  |  | 15211584 | 1.5857 | "
835 | 12 |  |  | 15375940 | 1.5957 | "