Project Report

Department of Fisheries and Oceans

Institute of Ocean sciences

Sidney, B.C., Canada

To:  Regional Science Director.		Final:	 Yes

1.  Cruise/Project No.:  2003-01		2.  Dates:  Feb 3 to Feb 21, 2003

3.  Project Name:   Line P - Argo

4.  Area(s) of Operation:  N.E. Pacific to Station P & line ~ 420 miles south of Line P

5.  Platform:  John P. Tully			6.  Master:  John Anderson

7.  Days Allocated:  19			8.  Days at Sea:  15

9.  Days lost to weather:

- Days lost to other causes:  1 day to load, 1 day due to ship’s problems

11.  Appropriateness of platform:   great

- Safety issues:

Additional small survival suits required (M. Robert)

Cruise/Project Results (see appendix for details):

Fig. 1.  Cruise track showing sample locations.

- The Argo line was successful. We did the 5 rosettes and bongos that were planned. Unfortunately one of the floats could not be deployed due to mal-function. It has been reported by the end of the cruise that the first float deployed is transmitting good data.

- The 2 SOLO floats deployed 20 miles northwest of Station Papa for Jim Bishop of the Lawrence Berkeley National Laboratory in California are also reporting good data.

- The sonar survey of the SOLAS mooring showed that the mooring is still where it was deployed last September and sound transmission will allow a calibration of the instrument on the mooring.

- The Line P survey was very successful.  The CTD survey shows an abnormally shallow mixed layer of only 70 m at Station Papa. There also seems to be warmer and slightly saltier waters closer to the coast, from about P8 to P12 (~230 to ~400 nm offshore). The 0.5°C anomaly in that region extends from 110 to 730 m deep.

- Collected surface samples along the route for T, S, nutrients and chlorophyll.

- Iron data were collected at the main rosette stations, except for P4.

- Seabird surveys along Argo line and Line P for CWS (Ken Morgan)

14.  Primary Institute:   Institute of Ocean Sciences, DFO

15.  Associated Institutes:  Canadian Wildlife Service

16.  Chief Scientist/Affiliation:   	Marie Robert, IOS

- Science Staff/Affiliations:

| Marie Robert | IOS | Nes Sutherland | contract |
| --- | --- | --- | --- |
| Darren Tuele | IOS | Kirk Hesketh | contract |
| Doug Anderson | IOS | James Zwiers | coop student |
| Sheila Toews | IOS | Mike Bentley | CWS contract |

- Equipment:

ADCP:   yes         Other:   sounder, thermosalinograph

Winches:			.

| type | ID No | Wire type | Wire Condition/Spooling | No Casts/ Depth max |
| --- | --- | --- | --- | --- |
| Hawboldt 3242 | 17026 | CTD | Good | 35/4300m |
| Hawboldt 3242 | 17027 | CTD |  | Not used |
| 320 | 1207 | Bongo wire | good | 11 |
| 420 | 1432 | Kevlar | good | 8/800 |

Equipment Deployed/recovered:  none

- Comments and recommendations:

Science issues:

The end of the sea cable on the primary winch had a 4-pin connector on it. Both sea cables on the two Hawboldt winches had been spliced just before the cruise. Why did we end up with a 4-pin connector when all the CTDs have a 2-pin input?

The cable going from the slip ring to the deck unit on the main winch had to be re-spliced prior to doing the Saanich Inlet cast. Once again, those winches/cables had just been serviced prior to the cruise. Why weren’t they ready to go?

There always seems to be a problem for the science staff to be ready on time. It would be nice if once in a while we could leave on time …

The work that Doug Moore has done in creating the "Bongo Kits" has really made collecting Zooplankton Samples a pleasure.  The Bongo sampling typically has  been a dreaded task on cruises that did not have "Plankton Productivity" personnel on board.  Doug has obviously given much thought to these kits as there is every  possible item that one may need to carry out the Bongo casts.  There are clear instructions for the casts as well as the labelling which caters to all competency levels,  and yes even I could follow these instructions.  I look forward to my next Bongo.................  Darren Tuele

Science/ship issue:

When we got on board, the tugger winch was not installed on the A-frame. After talking with Phil Lobb it was finally located on the ship, but was not working properly. Email communication with Tom Juhasz revealed that we had a spare tugger winch on board, and also that the tugger winch was turned over to the ship as of 1999. It seems strange that equipment used only by the science party would be turned over to the ship. It should be in the care of IOS. The remote of the tugger winch was all corroded. The engineers tried to fix it, but it was too bad. So they installed the remote from the spare tugger winch. Soon after the cable of the remote got caught in a cleat during deployment of the rosette, and we were back to having to use the capstan. I really believe that we should have a tugger winch and a spare tugger winch, both in good conditions, and that both should be in the care of the winch personnel at IOS.

Ship issues:

There were some major problems with the electronic equipment on the bridge of the ship. Coast Guard knew of these problems while on SAR duties during the week prior to the science cruise. Nothing was done then. As a result, we lost 24 hours of science ship time for the repair of these problems. It would have made much more sense to have the technician on board during the SAR duties, since the ship was not going away from the coast. I know that problems can always occur, but we expect to have the ship in working conditions when we start our science cycle, specially if the problems were already known and acknowledged before and could have been fixed then.

The LAN system worked wonderfully well. Scientists were able to access the lab data from their cabin in order to process and analyse it. Email was also available from the cabins and the lab, which reduces the traffic to the bridge.

Good weather and agreeable ship’s and science crews made this a very successful trip. Thanks to Captain Anderson for his suggestion to do the trip in a clockwise way in order to use the weather in our advantage. Special thanks go to him too for putting on both engines to catch up on the time lost during the repair of the electronics equipment. Thanks to all the Tully crew for great support.

The Tully should be recognized as primarily a science vessel and be supported to complete science programs.  We discussed needs that could be addressed during mid-life refit that would greatly enhance the productivity of cruises and improve the safety of personnel.  Ideas include isolating some procedures (radioisotope use, noxious chemistries) from the main lab in containers on the aft and boat decks, improving power to the lab (UPS), improving seawater supplies to lab and heli deck, replacing the aft deck crane and refurbishment of transducers and sounders.  The Tully will need such modifications to support some of the emerging work that IOS and other institutes are undertaking.

## Appendix:  Reports from Participants

The Line P section of the cruise was completed very successfully.  Every station was surveyed, which means we performed 21 CTDs casts, 6 rosette casts, and 6 bongos. As mentioned previously, the mixed layer at Station Papa was abnormally shallow, as shown in Figure 1. The warmer and slightly saltier waters closer to the coast, from about P8 to P12 (~230 to ~400 nm offshore), are shown in figures 2 to 5.

The nutrient samples were frozen on the cruise and will be analysed at the institute. Results will be known later. Chlorophyll and iron samples will also be analysed at the institute in the near future.