# Cruise 2003-01 : Line P / Argo, February 2003

CTD used: 0550

Deck Unit: 0619

35 CTD/Rosette casts were done during this cruise (1-54)

13 casts were full rosette casts, with bottles closed to get a profile.

1 Si03 station in Saanich Inlet

5 Argo stations along the Argo line

1 Calibration cast close to Papa (all bottles closed at 1500m)

6 stations along Line P – P26, P20, P16, P12, P8, P4

1 cast was done as CTD only, no bottle closed

Cast 17 at the Solas mooring site

21 casts were CTD casts, with 1 bottle closed at 10 m for surface samples. All are along Line P.

Casts 1 and 53 had the Par sensor on.

Cast 54 had the PAR sensor and Surface PAR sensor on.

All the casts had

Transmissometer/Wetlabs

SBE 43 Oxygen Sensor – primary side

Seapoint Fluorometer – secondary side

No cast was done with the stand-alone CTD.