File List for SeaBird                  Cruise Number: _2003-01____

[osapcommon.ctd.2003-02]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon.ctd.2003-02.doc]

2003-02_proc.doc - processing notes

2003-02_file.doc - this document

2003-02rcal1.txt – calibration control file for pressure calibration

2003-02rcal2.txt – calibration control file for primary salinity calibration

2003-02-edit-header.hdr – header file used to add comments to the headers of the CTD files

[osapcommon.ctd.2003-02.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon.ctd.2003-02.derive]

*.cnv - data after running WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon.ctd.2003-02.ios]

*.avg - data after calibration and metre-averaging using BINAVE

*.cor – *.ios files with event numbers added and pressure recalibrated

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon.ctd.2003-02.hydro]

*.boc – bot files after recalibration using 2003-02rcal2.ccf

*.bot  - files created by converting *.ros files to IOS HEADERS

*.chl – titrated chlorophyll files for comparison with FL in bottle files

*.rac – rosette files averaged by bottle number

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity calibration files provided by Bernard Minkley

*.sam – *.bot files with sample numbers added

*.sac - *.sam after recalibration of salinity

2003-02-sal-comp.csv & .xls - files comparing CTD salinity and bottles before recal

2003-02-sal-comp2.csv & .xls - files comparing CTD salinity and bottles after recal

2003-02-comp-fl.csv & .xls – COMPARE files for SBE-FLUOR and titrated chlorophyll

2003-02sal.csv & .xls– input file to create SAL files

2003-02-chlarc.csv & .xls– input file for creation of CHL files

[osapcommon.ctd.2003-02.derive]

titrated oxygen files from S. Toews