## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2003-11-0062 | 2003-11-0062 | 12 | 35 | 2003-11-0062 & 2003-11-0062

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Sample#
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.32609 |  | X | CALC Y
m= | -4.3377e-05 | 1.4306e-05 |  | Std Dev of Resid |  | 0.00044331 |  | 330 | -0.0010807
b= | 0.013234 | 0.0048833 |  | Resid Sum of Squares |  | 3.734e-06 |  | 353 | -0.0020783
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 21
File | Use | Sample# | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Sample#
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 330 | 34.5122 | 0.00024367 | -0.0012588 | -0.0010807 | 0.00017818 |  | 330 | -0.0012588
1 | YES | 331 | 34.5124 | 0.00023985 | -0.0015564 | -0.001124 | 0.00043236 |  | 331 | -0.0015564
1 | YES | 332 | 34.5125 | 0.00025601 | -0.0010338 | -0.0011674 | -0.00013364 |  | 332 | -0.0010338
1 | NO | 333 | 34.5124 | 0.00029638 | -0.0021858 | -0.0012108 | 0.00097502 |  | 334 | -0.001564
1 | YES | 334 | 34.5123 | 0.00030497 | -0.001564 | -0.0012542 | 0.00030986 |  | 335 | -0.00040817
1 | YES | 335 | 34.5125 | 0.00023442 | -0.00040817 | -0.0012976 | -0.00088938 |  | 336 | -0.002388
1 | YES | 336 | 34.5125 | 0.00024417 | -0.002388 | -0.0013409 | 0.0010471 |  | 337 | -0.00083923
1 | YES | 337 | 34.5126 | 0.00025041 | -0.00083923 | -0.0013843 | -0.00054507 |  | 338 | -0.0018043
1 | YES | 338 | 34.5124 | 0.00030054 | -0.0018043 | -0.0014277 | 0.00037667 |  | 339 | -0.0011368
1 | YES | 339 | 34.5126 | 0.00022209 | -0.0011368 | -0.0014711 | -0.00033428 |  | 340 | -0.0008049
1 | YES | 340 | 34.5124 | 0.00028012 | -0.0008049 | -0.0015144 | -0.00070953 |  | 341 | -0.0015183
1 | YES | 341 | 34.5124 | 0.00026194 | -0.0015183 | -0.0015578 | -3.9559e-05 |  | 342 | -0.0014954
1 | YES | 342 | 34.5125 | 0.00023678 | -0.0014954 | -0.0016012 | -0.00010583 |  | 343 | -0.0014877
1 | YES | 343 | 34.5125 | 0.00023888 | -0.0014877 | -0.0016446 | -0.00015683 |  | 345 | -0.0017204
1 | NO | 344 | 34.5126 | 0.00025076 | -0.0018425 | -0.0016879 | 0.00015456 |  | 346 | -0.0015602
1 | YES | 345 | 34.5126 | 0.00027868 | -0.0017204 | -0.0017313 | -1.0886e-05 |  | 347 | -0.0017395
1 | YES | 346 | 34.5126 | 0.00028543 | -0.0015602 | -0.0017747 | -0.00021448 |  | 348 | -0.0022392
1 | YES | 347 | 34.5126 | 0.000241 | -0.0017395 | -0.0018181 | -7.8569e-05 |  | 349 | -0.0022812
1 | YES | 348 | 34.5126 | 0.00027289 | -0.0022392 | -0.0018614 | 0.00037778 |  | 350 | -0.002182
1 | YES | 349 | 34.5125 | 0.00025258 | -0.0022812 | -0.0019048 | 0.00037637 |  | 351 | -0.0018234
1 | YES | 350 | 34.5126 | 0.00024804 | -0.002182 | -0.0019482 | 0.00023381 |  | 353 | -0.0021324
1 | YES | 351 | 34.5126 | 0.00024081 | -0.0018234 | -0.0019916 | -0.00016814
1 | NO | 352 | 34.5126 | 0.00027974 | -0.0039024 | -0.002035 | 0.0018675
1 | YES | 353 | 34.5128 | 0.0002486 | -0.0021324 | -0.0020783 | 5.4092e-05
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
FIT vs. Sample#
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Sample#
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.40181 |  | X | CALC Y
m= | -6.2628e-05 | 1.7087e-05 |  | Std Dev of Resid |  | 0.00055889 |  | 330 | 0.0019637
b= | 0.022631 | 0.0058411 |  | Resid Sum of Squares |  | 6.2473e-06 |  | 353 | 0.00052328
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 22
File | Use | Sample# | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Sample#
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 330 | 34.5152 | 0.00022215 | 0.0017357 | 0.0019637 | 0.00022804 |  | 330 | 0.0017357
1 | YES | 331 | 34.5154 | 0.00020456 | 0.0014 | 0.0019011 | 0.00050111 |  | 331 | 0.0014
1 | YES | 332 | 34.5154 | 0.00020474 | 0.0018959 | 0.0018385 | -5.743e-05 |  | 332 | 0.0018959
1 | NO | 333 | 34.5153 | 0.00025101 | 0.00072861 | 0.0017758 | 0.0010472 |  | 334 | 0.0012474
1 | YES | 334 | 34.5151 | 0.00022805 | 0.0012474 | 0.0017132 | 0.0004658 |  | 335 | 0.0024033
1 | YES | 335 | 34.5153 | 0.00022923 | 0.0024033 | 0.0016506 | -0.00075267 |  | 336 | 0.00053406
1 | YES | 336 | 34.5154 | 0.00025142 | 0.00053406 | 0.001588 | 0.0010539 |  | 337 | 0.0020599
1 | YES | 337 | 34.5155 | 0.00023293 | 0.0020599 | 0.0015253 | -0.00053461 |  | 338 | 0.0012207
1 | YES | 338 | 34.5154 | 0.00026155 | 0.0012207 | 0.0014627 | 0.000242 |  | 339 | 0.0017319
1 | YES | 339 | 34.5154 | 0.00026314 | 0.0017319 | 0.0014001 | -0.00033179 |  | 340 | 0.0021248
1 | YES | 340 | 34.5153 | 0.00023124 | 0.0021248 | 0.0013374 | -0.00078734 |  | 341 | 0.0014
1 | YES | 341 | 34.5153 | 0.00025665 | 0.0014 | 0.0012748 | -0.00012517 |  | 342 | 0.0013199
1 | YES | 342 | 34.5153 | 0.00024966 | 0.0013199 | 0.0012122 | -0.0001077 |  | 343 | 0.0014191
1 | YES | 343 | 34.5154 | 0.00023675 | 0.0014191 | 0.0011496 | -0.00026951 |  | 345 | 0.0011215
1 | NO | 344 | 34.5154 | 0.00025614 | 0.00097656 | 0.0010869 | 0.00011037 |  | 346 | 0.0012856
1 | YES | 345 | 34.5154 | 0.0002486 | 0.0011215 | 0.0010243 | -9.7212e-05 |  | 347 | 0.0012016
1 | YES | 346 | 34.5155 | 0.0002511 | 0.0012856 | 0.00096168 | -0.00032387 |  | 348 | 0.00071716
1 | YES | 347 | 34.5155 | 0.00024775 | 0.0012016 | 0.00089905 | -0.00030258 |  | 349 | 0.00067902
1 | YES | 348 | 34.5155 | 0.0002166 | 0.00071716 | 0.00083642 | 0.00011926 |  | 350 | 0.00068283
1 | YES | 349 | 34.5155 | 0.00026847 | 0.00067902 | 0.0007738 | 9.478e-05 |  | 351 | 0.0010757
1 | YES | 350 | 34.5155 | 0.00026398 | 0.00068283 | 0.00071117 | 2.8337e-05 |  | 352 | -0.00097275
1 | YES | 351 | 34.5155 | 0.00022855 | 0.0010757 | 0.00064854 | -0.0004272 |  | 353 | 0.00069809
1 | YES | 352 | 34.5155 | 0.00024443 | -0.00097275 | 0.00058591 | 0.0015587
1 | YES | 353 | 34.5156 | 0.00027047 | 0.00069809 | 0.00052328 | -0.00017481
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Sample#
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Sal0
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.081576 |  | X | CALC Y
m= | -1.1562 | 0.89004 |  | Std Dev of Resid |  | 0.00051752 |  | 34.5122 | -0.0012123
b= | 39.9029 | 30.7176 |  | Resid Sum of Squares |  | 5.0888e-06 |  | 34.5128 | -0.0019061
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 21
File | Use | Sample# | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Sal0
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 330 | 34.5122 | 0.00024367 | -0.0012588 | -0.0012123 | 4.6529e-05 |  | 34.5122 | -0.0012588
1 | YES | 331 | 34.5124 | 0.00023985 | -0.0015564 | -0.0014436 | 0.00011283 |  | 34.5124 | -0.0015564
1 | YES | 332 | 34.5125 | 0.00025601 | -0.0010338 | -0.0015592 | -0.00052541 |  | 34.5125 | -0.0010338
1 | NO | 333 | 34.5124 | 0.00029638 | -0.0021858 | -0.0014436 | 0.00074225 |  | 34.5123 | -0.001564
1 | YES | 334 | 34.5123 | 0.00030497 | -0.001564 | -0.0013279 | 0.00023609 |  | 34.5125 | -0.00040817
1 | YES | 335 | 34.5125 | 0.00023442 | -0.00040817 | -0.0015592 | -0.001151 |  | 34.5125 | -0.002388
1 | YES | 336 | 34.5125 | 0.00024417 | -0.002388 | -0.0015592 | 0.00082881 |  | 34.5126 | -0.00083923
1 | YES | 337 | 34.5126 | 0.00025041 | -0.00083923 | -0.0016748 | -0.00083558 |  | 34.5124 | -0.0018043
1 | YES | 338 | 34.5124 | 0.00030054 | -0.0018043 | -0.0014436 | 0.00036078 |  | 34.5126 | -0.0011368
1 | YES | 339 | 34.5126 | 0.00022209 | -0.0011368 | -0.0016748 | -0.00053803 |  | 34.5124 | -0.0008049
1 | YES | 340 | 34.5124 | 0.00028012 | -0.0008049 | -0.0014436 | -0.00063867 |  | 34.5124 | -0.0015183
1 | YES | 341 | 34.5124 | 0.00026194 | -0.0015183 | -0.0014436 | 7.4682e-05 |  | 34.5125 | -0.0014954
1 | YES | 342 | 34.5125 | 0.00023678 | -0.0014954 | -0.0015592 | -6.3831e-05 |  | 34.5125 | -0.0014877
1 | YES | 343 | 34.5125 | 0.00023888 | -0.0014877 | -0.0015592 | -7.1461e-05 |  | 34.5126 | -0.0017204
1 | NO | 344 | 34.5126 | 0.00025076 | -0.0018425 | -0.0016748 | 0.00016769 |  | 34.5126 | -0.0015602
1 | YES | 345 | 34.5126 | 0.00027868 | -0.0017204 | -0.0016748 | 4.5616e-05 |  | 34.5126 | -0.0017395
1 | YES | 346 | 34.5126 | 0.00028543 | -0.0015602 | -0.0016748 | -0.0001146 |  | 34.5126 | -0.0022392
1 | YES | 347 | 34.5126 | 0.000241 | -0.0017395 | -0.0016748 | 6.4686e-05 |  | 34.5125 | -0.0022812
1 | YES | 348 | 34.5126 | 0.00027289 | -0.0022392 | -0.0016748 | 0.00056442 |  | 34.5126 | -0.002182
1 | YES | 349 | 34.5125 | 0.00025258 | -0.0022812 | -0.0015592 | 0.000722 |  | 34.5126 | -0.0018234
1 | YES | 350 | 34.5126 | 0.00024804 | -0.002182 | -0.0016748 | 0.0005072 |  | 34.5128 | -0.0021324
1 | YES | 351 | 34.5126 | 0.00024081 | -0.0018234 | -0.0016748 | 0.00014862
1 | NO | 352 | 34.5126 | 0.00027974 | -0.0039024 | -0.0016748 | 0.0022276
1 | YES | 353 | 34.5128 | 0.0002486 | -0.0021324 | -0.0019061 | 0.00022636
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
FIT vs. Sample#
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Sal1
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.19108 |  | X | CALC Y
m= | -1.9155 | 0.9042 |  | Std Dev of Resid |  | 0.00047846 |  | 34.5151 | 0.0019058
b= | 66.1167 | 31.2087 |  | Resid Sum of Squares |  | 4.3495e-06 |  | 34.5156 | 0.00094804
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 21
File | Use | Sample# | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Sal1
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 330 | 34.5152 | 0.00022215 | 0.0017357 | 0.0017143 | -2.1436e-05 |  | 34.5152 | 0.0017357
1 | YES | 331 | 34.5154 | 0.00020456 | 0.0014 | 0.0013311 | -6.8842e-05 |  | 34.5154 | 0.0014
1 | YES | 332 | 34.5154 | 0.00020474 | 0.0018959 | 0.0013311 | -0.00056475 |  | 34.5154 | 0.0018959
1 | NO | 333 | 34.5153 | 0.00025101 | 0.00072861 | 0.0015227 | 0.00079409 |  | 34.5151 | 0.0012474
1 | YES | 334 | 34.5151 | 0.00022805 | 0.0012474 | 0.0019058 | 0.0006584 |  | 34.5153 | 0.0024033
1 | YES | 335 | 34.5153 | 0.00022923 | 0.0024033 | 0.0015227 | -0.00088056 |  | 34.5154 | 0.00053406
1 | YES | 336 | 34.5154 | 0.00025142 | 0.00053406 | 0.0013311 | 0.00079709 |  | 34.5155 | 0.0020599
1 | YES | 337 | 34.5155 | 0.00023293 | 0.0020599 | 0.0011396 | -0.00092035 |  | 34.5154 | 0.0012207
1 | YES | 338 | 34.5154 | 0.00026155 | 0.0012207 | 0.0013311 | 0.00011045 |  | 34.5154 | 0.0017319
1 | YES | 339 | 34.5154 | 0.00026314 | 0.0017319 | 0.0013311 | -0.00040072 |  | 34.5153 | 0.0021248
1 | YES | 340 | 34.5153 | 0.00023124 | 0.0021248 | 0.0015227 | -0.00060209 |  | 34.5153 | 0.0014
1 | YES | 341 | 34.5153 | 0.00025665 | 0.0014 | 0.0015227 | 0.00012271 |  | 34.5153 | 0.0013199
1 | YES | 342 | 34.5153 | 0.00024966 | 0.0013199 | 0.0015227 | 0.00020281 |  | 34.5154 | 0.0014191
1 | YES | 343 | 34.5154 | 0.00023675 | 0.0014191 | 0.0013311 | -8.7922e-05 |  | 34.5154 | 0.0011215
1 | NO | 344 | 34.5154 | 0.00025614 | 0.00097656 | 0.0013311 | 0.00035459 |  | 34.5155 | 0.0012856
1 | YES | 345 | 34.5154 | 0.0002486 | 0.0011215 | 0.0013311 | 0.00020963 |  | 34.5155 | 0.0012016
1 | YES | 346 | 34.5155 | 0.0002511 | 0.0012856 | 0.0011396 | -0.00014596 |  | 34.5155 | 0.00071716
1 | YES | 347 | 34.5155 | 0.00024775 | 0.0012016 | 0.0011396 | -6.2036e-05 |  | 34.5155 | 0.00067902
1 | YES | 348 | 34.5155 | 0.0002166 | 0.00071716 | 0.0011396 | 0.00042243 |  | 34.5155 | 0.00068283
1 | YES | 349 | 34.5155 | 0.00026847 | 0.00067902 | 0.0011396 | 0.00046058 |  | 34.5155 | 0.0010757
1 | YES | 350 | 34.5155 | 0.00026398 | 0.00068283 | 0.0011396 | 0.00045676 |  | 34.5156 | 0.00069809
1 | YES | 351 | 34.5155 | 0.00022855 | 0.0010757 | 0.0011396 | 6.3854e-05
1 | NO | 352 | 34.5155 | 0.00024443 | -0.00097275 | 0.0011396 | 0.0021123
1 | YES | 353 | 34.5156 | 0.00027047 | 0.00069809 | 0.00094804 | 0.00024995
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
FIT vs. Sample#
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Sample# | Sample# |  | Sample# - Sample#
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 0.1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Sample# | Sample# | Sample# | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2003-11-0062 | 2003-11-0062 | 61 | 330 | 330 | 0 | 0 | 34.5135 | 34.5122 | 0.00024367 | -0.0012588 | 34.5135 | 34.5152 | 0.00022215 | 0.0017357
2003-11-0062 | 2003-11-0062 | 58 | 331 | 331 | 0 | 0 | 34.514 | 34.5124 | 0.00023985 | -0.0015564 | 34.514 | 34.5154 | 0.00020456 | 0.0014
2003-11-0062 | 2003-11-0062 | 65 | 332 | 332 | 0 | 0 | 34.5135 | 34.5125 | 0.00025601 | -0.0010338 | 34.5135 | 34.5154 | 0.00020474 | 0.0018959
2003-11-0062 | 2003-11-0062 | 66 | 333 | 333 | 0 | 0 | 34.5146 | 34.5124 | 0.00029638 | -0.0021858 | 34.5146 | 34.5153 | 0.00025101 | 0.00072861
2003-11-0062 | 2003-11-0062 | 120 | 334 | 334 | 0 | 0 | 34.5139 | 34.5123 | 0.00030497 | -0.001564 | 34.5139 | 34.5151 | 0.00022805 | 0.0012474
2003-11-0062 | 2003-11-0062 | 121 | 335 | 335 | 0 | 0 | 34.5129 | 34.5125 | 0.00023442 | -0.00040817 | 34.5129 | 34.5153 | 0.00022923 | 0.0024033
2003-11-0062 | 2003-11-0062 | 121 | 336 | 336 | 0 | 0 | 34.5149 | 34.5125 | 0.00024417 | -0.002388 | 34.5149 | 34.5154 | 0.00025142 | 0.00053406
2003-11-0062 | 2003-11-0062 | 121 | 337 | 337 | 0 | 0 | 34.5134 | 34.5126 | 0.00025041 | -0.00083923 | 34.5134 | 34.5155 | 0.00023293 | 0.0020599
2003-11-0062 | 2003-11-0062 | 121 | 338 | 338 | 0 | 0 | 34.5142 | 34.5124 | 0.00030054 | -0.0018043 | 34.5142 | 34.5154 | 0.00026155 | 0.0012207
2003-11-0062 | 2003-11-0062 | 121 | 339 | 339 | 0 | 0 | 34.5137 | 34.5126 | 0.00022209 | -0.0011368 | 34.5137 | 34.5154 | 0.00026314 | 0.0017319
2003-11-0062 | 2003-11-0062 | 121 | 340 | 340 | 0 | 0 | 34.5132 | 34.5124 | 0.00028012 | -0.0008049 | 34.5132 | 34.5153 | 0.00023124 | 0.0021248
2003-11-0062 | 2003-11-0062 | 121 | 341 | 341 | 0 | 0 | 34.5139 | 34.5124 | 0.00026194 | -0.0015183 | 34.5139 | 34.5153 | 0.00025665 | 0.0014
2003-11-0062 | 2003-11-0062 | 121 | 342 | 342 | 0 | 0 | 34.514 | 34.5125 | 0.00023678 | -0.0014954 | 34.514 | 34.5153 | 0.00024966 | 0.0013199
2003-11-0062 | 2003-11-0062 | 121 | 343 | 343 | 0 | 0 | 34.514 | 34.5125 | 0.00023888 | -0.0014877 | 34.514 | 34.5154 | 0.00023675 | 0.0014191
2003-11-0062 | 2003-11-0062 | 121 | 344 | 344 | 0 | 0 | 34.5144 | 34.5126 | 0.00025076 | -0.0018425 | 34.5144 | 34.5154 | 0.00025614 | 0.00097656
2003-11-0062 | 2003-11-0062 | 121 | 345 | 345 | 0 | 0 | 34.5143 | 34.5126 | 0.00027868 | -0.0017204 | 34.5143 | 34.5154 | 0.0002486 | 0.0011215
2003-11-0062 | 2003-11-0062 | 121 | 346 | 346 | 0 | 0 | 34.5142 | 34.5126 | 0.00028543 | -0.0015602 | 34.5142 | 34.5155 | 0.0002511 | 0.0012856
2003-11-0062 | 2003-11-0062 | 121 | 347 | 347 | 0 | 0 | 34.5143 | 34.5126 | 0.000241 | -0.0017395 | 34.5143 | 34.5155 | 0.00024775 | 0.0012016
2003-11-0062 | 2003-11-0062 | 121 | 348 | 348 | 0 | 0 | 34.5148 | 34.5126 | 0.00027289 | -0.0022392 | 34.5148 | 34.5155 | 0.0002166 | 0.00071716
2003-11-0062 | 2003-11-0062 | 121 | 349 | 349 | 0 | 0 | 34.5148 | 34.5125 | 0.00025258 | -0.0022812 | 34.5148 | 34.5155 | 0.00026847 | 0.00067902
2003-11-0062 | 2003-11-0062 | 121 | 350 | 350 | 0 | 0 | 34.5148 | 34.5126 | 0.00024804 | -0.002182 | 34.5148 | 34.5155 | 0.00026398 | 0.00068283
2003-11-0062 | 2003-11-0062 | 121 | 351 | 351 | 0 | 0 | 34.5144 | 34.5126 | 0.00024081 | -0.0018234 | 34.5144 | 34.5155 | 0.00022855 | 0.0010757
2003-11-0062 | 2003-11-0062 | 121 | 352 | 352 | 0 | 0 | 34.5165 | 34.5126 | 0.00027974 | -0.0039024 | 34.5165 | 34.5155 | 0.00024443 | -0.00097275
2003-11-0062 | 2003-11-0062 | 121 | 353 | 353 | 0 | 0 | 34.5149 | 34.5128 | 0.0002486 | -0.0021324 | 34.5149 | 34.5156 | 0.00027047 | 0.00069809
Create Fit Sheet