## File List
Number of Files= |  | 11
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2003-12-0076 | 2003-12-0076 | 11 | 12 | 2003-12-0076 & 2003-12-0076
2 | 2003-12-0004 | 2003-12-0004 | 14 | 18 | 2003-12-0004 & 2003-12-0004
3 | 2003-12-0019 | 2003-12-0019 | 20 | 22 | 2003-12-0019 & 2003-12-0019
4 | 2003-12-0021 | 2003-12-0021 | 24 | 26 | 2003-12-0021 & 2003-12-0021
5 | 2003-12-0026 | 2003-12-0026 | 28 | 30 | 2003-12-0026 & 2003-12-0026
6 | 2003-12-0030 | 2003-12-0030 | 32 | 33 | 2003-12-0030 & 2003-12-0030
7 | 2003-12-0033 | 2003-12-0033 | 35 | 36 | 2003-12-0033 & 2003-12-0033
8 | 2003-12-0034 | 2003-12-0034 | 38 | 39 | 2003-12-0034 & 2003-12-0034
9 | 2003-12-0036 | 2003-12-0036 | 41 | 42 | 2003-12-0036 & 2003-12-0036
10 | 2003-12-0064 | 2003-12-0064 | 44 | 45 | 2003-12-0064 & 2003-12-0064
11 | 2003-12-0068 | 2003-12-0068 | 47 | 48 | 2003-12-0068 & 2003-12-0068

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0011255 |  | X | CALC Y
m= | -1.205e-07 | 8.7063e-07 |  | Std Dev of Resid |  | 0.001709 |  | 250.222 | 8.2167e-06
b= | 3.8368e-05 | 0.0007125 |  | Resid Sum of Squares |  | 4.9654e-05 |  | 1751.1 | -0.00017263
# of Values Extracted = |  |  | 28
# of Values Used in Fit = |  |  | 19
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 285.451 | 31.0535 | 0.00023207 | -0.0036564 | 3.9717e-06 | 0.0036604 |  | 285.451 | -0.0036564
1 | NO | 120.405 | 30.3198 | 0.00033438 | -0.0061893 | 2.3859e-05 | 0.0062132 |  | 1238.59 | 0.0014038
2 | YES | 1238.59 | 34.4663 | 0.00062171 | 0.0014038 | -0.00011088 | -0.0015147 |  | 750.629 | -0.00050354
2 | YES | 750.629 | 34.2533 | 0.00035956 | -0.00050354 | -5.2081e-05 | 0.00045146 |  | 499.822 | 0.0011673
2 | YES | 499.822 | 34.0734 | 0.00050965 | 0.0011673 | -2.1859e-05 | -0.0011892 |  | 1751.1 | -0.0011101
2 | NO | 20.9185 | 32.155 | 0.00071596 | 0.0023117 | 3.5847e-05 | -0.0022759 |  | 1499.17 | -0.00012589
2 | NO | 12.5139 | 32.126 | 0.0088152 | -0.0021591 | 3.686e-05 | 0.002196 |  | 1299.3 | -0.00072479
3 | YES | 1751.1 | 34.5614 | 0.00035169 | -0.0011101 | -0.00017263 | 0.00093745 |  | 803.617 | 0.00011063
3 | YES | 1499.17 | 34.5125 | 0.00032921 | -0.00012589 | -0.00014228 | -1.6393e-05 |  | 604.259 | 0.0008049
3 | YES | 1299.3 | 34.4746 | 0.00033837 | -0.00072479 | -0.00011819 | 0.0006066 |  | 403.498 | 0.0020905
4 | YES | 803.617 | 34.2853 | 0.00032322 | 0.00011063 | -5.8466e-05 | -0.00016909 |  | 298.934 | -0.0013809
4 | YES | 604.259 | 34.1591 | 0.00035935 | 0.0008049 | -3.4444e-05 | -0.00083934 |  | 250.222 | -7.6294e-06
4 | YES | 403.498 | 34.0312 | 0.00037839 | 0.0020905 | -1.0253e-05 | -0.0021007 |  | 903.008 | -0.00061798
5 | YES | 298.934 | 33.9369 | 0.00031573 | -0.0013809 | 2.3471e-06 | 0.0013833 |  | 797.938 | -0.00032425
5 | YES | 250.222 | 33.9241 | 0.00037059 | -7.6294e-06 | 8.2167e-06 | 1.5846e-05 |  | 344.917 | 0.00048065
5 | NO | 199.845 | 33.752 | 0.00036342 | 0.0034637 | 1.4287e-05 | -0.0034495 |  | 299.884 | -0.00072479
6 | NO | 102.876 | 32.9764 | 0.013121 | 0.053333 | 2.5972e-05 | -0.053307 |  | 276.871 | -0.0028534
6 | NO | 100.415 | 32.9635 | 0.00053303 | 0.0027313 | 2.6268e-05 | -0.0027051 |  | 304.836 | 0.0017013
7 | YES | 903.008 | 34.3882 | 0.0011232 | -0.00061798 | -7.0442e-05 | 0.00054754 |  | 370.965 | 0.0034351
7 | YES | 797.938 | 34.3122 | 0.00040653 | -0.00032425 | -5.7782e-05 | 0.00026647
8 | YES | 344.917 | 34.0257 | 0.00042659 | 0.00048065 | -3.1938e-06 | -0.00048385 |  |  | -4.397e-05
8 | YES | 299.884 | 34.0123 | 0.00033917 | -0.00072479 | 2.2326e-06 | 0.00072702
9 | YES | 276.871 | 33.9805 | 0.00032714 | -0.0028534 | 5.0056e-06 | 0.0028584
9 | NO | 198.486 | 33.8877 | 0.00095794 | -0.0073242 | 1.4451e-05 | 0.0073387
10 | YES | 304.836 | 31.1012 | 0.00077238 | 0.0017013 | 1.6359e-06 | -0.0016997
10 | NO | 140.3 | 30.3476 | 0.0031425 | -0.005743 | 2.1462e-05 | 0.0057645
11 | YES | 370.965 | 31.1618 | 0.00030556 | 0.0034351 | -6.3325e-06 | -0.0034415
11 | NO | 300.195 | 31.0858 | 0.00025713 | -0.009655 | 2.1951e-06 | 0.0096572
YES
NO
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
NO
YES
NO
YES
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Average Size: | 5
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2003-12-0076 | 2003-12-0076 | 73 | 285 | 285.451 | 0.025649 | 0.45123 | 31.0572 | 31.0535 | 0.00023207 | -0.0036564
2003-12-0076 | 2003-12-0076 | 73 | 120 | 120.405 | 0.025871 | 0.40536 | 30.326 | 30.3198 | 0.00033438 | -0.0061893
2003-12-0004 | 2003-12-0004 | 73 | 1238 | 1238.59 | 0.21286 | 0.59485 | 34.4649 | 34.4663 | 0.00062171 | 0.0014038
2003-12-0004 | 2003-12-0004 | 73 | 750 | 750.629 | 0.10892 | 0.62927 | 34.2538 | 34.2533 | 0.00035956 | -0.00050354
2003-12-0004 | 2003-12-0004 | 73 | 500 | 499.822 | 0.39114 | -0.17825 | 34.0722 | 34.0734 | 0.00050965 | 0.0011673
2003-12-0004 | 2003-12-0004 | 73 | 20 | 20.9185 | 0.15394 | 0.91848 | 32.1527 | 32.155 | 0.00071596 | 0.0023117
2003-12-0004 | 2003-12-0004 | 146 | 10 | 12.5139 | 2.1983 | 2.5139 | 32.1282 | 32.126 | 0.0088152 | -0.0021591
2003-12-0019 | 2003-12-0019 | 73 | 1750 | 1751.1 | 0.52154 | 1.1006 | 34.5625 | 34.5614 | 0.00035169 | -0.0011101
2003-12-0019 | 2003-12-0019 | 73 | 1500 | 1499.17 | 0.40613 | -0.82727 | 34.5126 | 34.5125 | 0.00032921 | -0.00012589
2003-12-0019 | 2003-12-0019 | 73 | 1300 | 1299.3 | 0.257 | -0.70166 | 34.4753 | 34.4746 | 0.00033837 | -0.00072479
2003-12-0021 | 2003-12-0021 | 73 | 800 | 803.617 | 0.30868 | 3.6168 | 34.2852 | 34.2853 | 0.00032322 | 0.00011063
2003-12-0021 | 2003-12-0021 | 55 | 600 | 604.259 | 0.4514 | 4.2592 | 34.1583 | 34.1591 | 0.00035935 | 0.0008049
2003-12-0021 | 2003-12-0021 | 73 | 400 | 403.498 | 0.21985 | 3.4977 | 34.0291 | 34.0312 | 0.00037839 | 0.0020905
2003-12-0026 | 2003-12-0026 | 73 | 300 | 298.934 | 0.089575 | -1.0662 | 33.9383 | 33.9369 | 0.00031573 | -0.0013809
2003-12-0026 | 2003-12-0026 | 73 | 250 | 250.222 | 0.28384 | 0.22223 | 33.9241 | 33.9241 | 0.00037059 | -7.6294e-06
2003-12-0026 | 2003-12-0026 | 73 | 200 | 199.845 | 0.16462 | -0.15514 | 33.7485 | 33.752 | 0.00036342 | 0.0034637
2003-12-0030 | 2003-12-0030 | 146 | 105 | 102.876 | 2.4748 | -2.1236 | 32.9231 | 32.9764 | 0.013121 | 0.053333
2003-12-0030 | 2003-12-0030 | 73 | 100 | 100.415 | 0.19402 | 0.41478 | 32.9608 | 32.9635 | 0.00053303 | 0.0027313
2003-12-0033 | 2003-12-0033 | 73 | 903 | 903.008 | 0.15664 | 0.0084839 | 34.3888 | 34.3882 | 0.0011232 | -0.00061798
2003-12-0033 | 2003-12-0033 | 73 | 800 | 797.938 | 0.094742 | -2.0623 | 34.3125 | 34.3122 | 0.00040653 | -0.00032425
2003-12-0034 | 2003-12-0034 | 73 | 345 | 344.917 | 0.10908 | -0.082733 | 34.0252 | 34.0257 | 0.00042659 | 0.00048065
2003-12-0034 | 2003-12-0034 | 73 | 300 | 299.884 | 0.080945 | -0.11588 | 34.013 | 34.0123 | 0.00033917 | -0.00072479
2003-12-0036 | 2003-12-0036 | 73 | 277 | 276.871 | 0.16631 | -0.12872 | 33.9834 | 33.9805 | 0.00032714 | -0.0028534
2003-12-0036 | 2003-12-0036 | 73 | 200 | 198.486 | 0.16448 | -1.5135 | 33.895 | 33.8877 | 0.00095794 | -0.0073242
2003-12-0064 | 2003-12-0064 | 73 | 305 | 304.836 | 0.03202 | -0.16412 | 31.0995 | 31.1012 | 0.00077238 | 0.0017013
2003-12-0064 | 2003-12-0064 | 73 | 140 | 140.3 | 0.025615 | 0.30039 | 30.3533 | 30.3476 | 0.0031425 | -0.005743
2003-12-0068 | 2003-12-0068 | 73 | 371 | 370.965 | 0.025597 | -0.034759 | 31.1584 | 31.1618 | 0.00030556 | 0.0034351
2003-12-0068 | 2003-12-0068 | 73 | 300 | 300.195 | 0.029493 | 0.19492 | 31.0955 | 31.0858 | 0.00025713 | -0.009655
Create Fit Sheet