## File List
Number of Files= |  | 33
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2003-15-0002 | 2003-15-0002 | 11 | 13 | 2003-15-0002 & 2003-15-0002
2 | 2003-15-0004 | 2003-15-0004 | 15 | 17 | 2003-15-0004 & 2003-15-0004
3 | 2003-15-0008 | 2003-15-0008 | 19 | 21 | 2003-15-0008 & 2003-15-0008
4 | 2003-15-0013 | 2003-15-0013 | 23 | 25 | 2003-15-0013 & 2003-15-0013
5 | 2003-15-0034 | 2003-15-0034 | 27 | 29 | 2003-15-0034 & 2003-15-0034
6 | 2003-15-0036 | 2003-15-0036 | 31 | 33 | 2003-15-0036 & 2003-15-0036
7 | 2003-15-0040 | 2003-15-0040 | 35 | 37 | 2003-15-0040 & 2003-15-0040
8 | 2003-15-0042 | 2003-15-0042 | 39 | 41 | 2003-15-0042 & 2003-15-0042
9 | 2003-15-0046 | 2003-15-0046 | 43 | 45 | 2003-15-0046 & 2003-15-0046
10 | 2003-15-0056 | 2003-15-0056 | 47 | 49 | 2003-15-0056 & 2003-15-0056
11 | 2003-15-0060 | 2003-15-0060 | 51 | 53 | 2003-15-0060 & 2003-15-0060
12 | 2003-15-0064 | 2003-15-0064 | 55 | 57 | 2003-15-0064 & 2003-15-0064
13 | 2003-15-0070 | 2003-15-0070 | 59 | 60 | 2003-15-0070 & 2003-15-0070
14 | 2003-15-0074 | 2003-15-0074 | 62 | 64 | 2003-15-0074 & 2003-15-0074
15 | 2003-15-0079 | 2003-15-0079 | 66 | 68 | 2003-15-0079 & 2003-15-0079
16 | 2003-15-0086 | 2003-15-0086 | 70 | 72 | 2003-15-0086 & 2003-15-0086
17 | 2003-15-0091 | 2003-15-0091 | 74 | 75 | 2003-15-0091 & 2003-15-0091
18 | 2003-15-0093 | 2003-15-0093 | 77 | 79 | 2003-15-0093 & 2003-15-0093
19 | 2003-15-0156 | 2003-15-0156 | 81 | 83 | 2003-15-0156 & 2003-15-0156
20 | 2003-15-0161 | 2003-15-0161 | 85 | 87 | 2003-15-0161 & 2003-15-0161
21 | 2003-15-0165 | 2003-15-0165 | 89 | 91 | 2003-15-0165 & 2003-15-0165
22 | 2003-15-0167 | 2003-15-0167 | 93 | 95 | 2003-15-0167 & 2003-15-0167
23 | 2003-15-0172 | 2003-15-0172 | 97 | 99 | 2003-15-0172 & 2003-15-0172
24 | 2003-15-0177 | 2003-15-0177 | 101 | 103 | 2003-15-0177 & 2003-15-0177
25 | 2003-15-0183 | 2003-15-0183 | 105 | 107 | 2003-15-0183 & 2003-15-0183
26 | 2003-15-0187 | 2003-15-0187 | 109 | 111 | 2003-15-0187 & 2003-15-0187
27 | 2003-15-0189 | 2003-15-0189 | 113 | 115 | 2003-15-0189 & 2003-15-0189
28 | 2003-15-0191 | 2003-15-0191 | 117 | 119 | 2003-15-0191 & 2003-15-0191
29 | 2003-15-0193 | 2003-15-0193 | 121 | 123 | 2003-15-0193 & 2003-15-0193
30 | 2003-15-0196 | 2003-15-0196 | 125 | 127 | 2003-15-0196 & 2003-15-0196
31 | 2003-15-0199 | 2003-15-0199 | 129 | 131 | 2003-15-0199 & 2003-15-0199
32 | 2003-15-0200 | 2003-15-0200 | 133 | 135 | 2003-15-0200 & 2003-15-0200
33 | 2003-15-0201 | 2003-15-0201 | 137 | 139 | 2003-15-0201 & 2003-15-0201

## (FLUOR - CHL)
Calculation of Linear Least Squares Fit For
(FLUOR - CHL)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FLUOR - CHL), Prop=FLUOR
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.37287 |  | X | CALC Y
m= | -0.54794 | 0.12187 |  | Std Dev of Resid |  | 2.8581 |  | 0.28391 | 0.086919
b= | 0.24248 | 0.66017 |  | Resid Sum of Squares |  | 277.7355 |  | 14.7876 | -7.8602
# of Values Extracted = |  |  | 97
# of Values Used in Fit = |  |  | 36
File | Use | Pressure | FLUOR | FLUOR | Diff (FLUOR - CHL) |  |  |  | Fit vs. | FLUOR
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 29.8007 | 0.65607 | 0.089254 | -0.53393 | -0.11701 | 0.41692 |  | 0.37097 | -0.31903
1 | NO | 4.5963 | 13.3154 | 2.2505 | -7.4947 | -7.0535 | 0.44112 |  | 3.0612 | -2.3688
1 | NO | 3.2772 | 14.8632 | 0.0049947 | -6.1568 | -7.9016 | -1.7448 |  | 0.65443 | -0.56557
2 | NO | 50.6097 | 0.37097 | 0.04044 | -0.31903 | 0.039216 | 0.35825 |  | 1.3907 | -0.0093141
2 | NO | 4.7305 | 14.1318 | 0.77279 | -2.9882 | -7.5009 | -4.5127 |  | 3.5699 | -0.47007
2 | NO | 3.5662 | 14.095 | 0.80704 | -2.815 | -7.4807 | -4.6657 |  | 0.65732 | 0.24732
3 | YES | 19.298 | 3.0612 | 0.48011 | -2.3688 | -1.4349 | 0.93387 |  | 1.449 | 0.62905
3 | NO | 4.7318 | 5.2004 | 0.69806 | -2.0996 | -2.607 | -0.50746 |  | 0.67482 | 0.14482
3 | NO | 3.5728 | 5.0045 | 0.57386 | -2.3455 | -2.4997 | -0.1542 |  | 0.74909 | 0.20909
4 | YES | 25.4609 | 0.65443 | 0.11844 | -0.56557 | -0.1161 | 0.44947 |  | 4.3667 | 0.98668
4 | NO | 4.931 | 6.4042 | 2.2131 | -5.2958 | -3.2666 | 2.0291 |  | 3.5471 | -0.80289
4 | NO | 3.4772 | 5.5881 | 1.8113 | -4.4719 | -2.8194 | 1.6525 |  | 0.34549 | -1.0045
5 | YES | 19.692 | 1.3907 | 0.16901 | -0.0093141 | -0.51953 | -0.51021 |  | 1.0508 | 0.71083
5 | NO | 2.2384 | 3.3977 | 0.27178 | -0.28228 | -1.6193 | -1.337 |  | 4.867 | 0.24702
5 | NO | 2.2384 | 3.3977 | 0.27178 | -0.11228 | -1.6193 | -1.507 |  | 5.5216 | -2.0884
6 | NO | 19.6812 | 2.2046 | 0.25088 | -0.15535 | -0.96553 | -0.81018 |  | 0.7329 | -0.2871
6 | YES | 5.2093 | 3.5699 | 0.39397 | -0.47007 | -1.7136 | -1.2436 |  | 0.46578 | -0.15422
6 | NO | 3.2268 | 3.6025 | 0.4312 | -0.1075 | -1.7315 | -1.624 |  | 0.81393 | -1.0361
7 | YES | 22.4412 | 0.65732 | 0.03745 | 0.24732 | -0.11769 | -0.36501 |  | 1.5362 | 0.48625
7 | NO | 4.3336 | 0.81693 | 0.033502 | 0.38693 | -0.20515 | -0.59208 |  | 2.5957 | -1.7743
7 | NO | 4.3336 | 0.81693 | 0.033502 | 0.33693 | -0.20515 | -0.54208 |  | 0.28391 | 0.073908
8 | YES | 21.8037 | 1.449 | 0.045947 | 0.62905 | -0.55151 | -1.1806 |  | 1.38 | -5.78
8 | YES | 5.493 | 0.67482 | 0.063669 | 0.14482 | -0.12728 | -0.27209 |  | 3.7113 | -1.4387
8 | NO | 3.8317 | 0.69935 | 0.045568 | 0.16936 | -0.14072 | -0.31008 |  | 14.7492 | -0.46082
9 | YES | 20.3078 | 0.74909 | 0.043587 | 0.20909 | -0.16797 | -0.37706 |  | 14.7876 | -9.0024
9 | NO | 3.5195 | 0.73921 | 0.074727 | 0.099211 | -0.16256 | -0.26177 |  | 4.4575 | -3.1825
9 | NO | 3.5195 | 0.73921 | 0.074727 | 0.15921 | -0.16256 | -0.32177 |  | 10.1989 | -15.9511
10 | YES | 19.9963 | 4.3667 | 0.1279 | 0.98668 | -2.1502 | -3.1369 |  | 4.4775 | -1.8025
10 | NO | 3.9364 | 0.57855 | 0.15731 | -0.21145 | -0.074527 | 0.13692 |  | 2.8438 | 0.35377
10 | NO | 3.4717 | 0.53275 | 0.021852 | -0.26725 | -0.049432 | 0.21782 |  | 3.0715 | 1.6415
11 | YES | 19.7945 | 3.5471 | 0.62136 | -0.80289 | -1.7011 | -0.89822 |  | 2.8896 | -4.1604
11 | NO | 3.3279 | 0.34866 | 0.13544 | -0.061339 | 0.051438 | 0.11278 |  | 10.4494 | -2.0306
11 | NO | 3.3279 | 0.34866 | 0.13544 | -0.60134 | 0.051438 | 0.65278 |  | 11.8676 | -10.7924
12 | YES | 53.4743 | 0.34549 | 0.052222 | -1.0045 | 0.053177 | 1.0577 |  | 2.1619 | -0.47809
12 | YES | 19.654 | 1.0508 | 0.15779 | 0.71083 | -0.33331 | -1.0441 |  | 2.2639 | -1.0761
12 | NO | 4.5886 | 0.35628 | 0.046526 | 0.016277 | 0.047265 | 0.030988 |  | 7.0035 | -3.9465
13 | NO | 18.8939 | 1.0699 | 0.23284 | -0.23005 | -0.34378 | -0.11373
13 | YES | 5.8426 | 4.867 | 0.67053 | 0.24702 | -2.4243 | -2.6714
14 | YES | 20.1203 | 5.5216 | 0.55314 | -2.0884 | -2.783 | -0.69456
14 | NO | 4.4355 | 1.8974 | 0.36641 | 0.34736 | -0.79715 | -1.1445
14 | NO | 3.3004 | 1.7849 | 0.27667 | 0.24489 | -0.73553 | -0.98042
15 | YES | 19.8389 | 0.7329 | 0.312 | -0.2871 | -0.1591 | 0.128
15 | NO | 4.6243 | 1.7767 | 0.36087 | -1.7033 | -0.73101 | 0.97234
15 | NO | 3.431 | 1.7075 | 0.24743 | -1.5525 | -0.69314 | 0.85932
16 | YES | 20.4621 | 0.46578 | 0.084468 | -0.15422 | -0.012734 | 0.14149
16 | YES | 5.1089 | 0.81393 | 0.17166 | -1.0361 | -0.2035 | 0.83258
16 | NO | 3.4898 | 0.78088 | 0.18099 | -1.0591 | -0.18539 | 0.87373
17 | NO | 3.5252 | 0.56993 | 0.060817 | -0.13007 | -0.069804 | 0.060266
17 | NO | 3.5252 | 0.56993 | 0.060817 | -0.12007 | -0.069804 | 0.050266
18 | YES | 19.9297 | 1.5362 | 0.040821 | 0.48625 | -0.59929 | -1.0855
18 | NO | 2.5695 | 1.2377 | 0.044183 | -0.17233 | -0.43568 | -0.26335
18 | NO | 2.5695 | 1.2377 | 0.044183 | -0.17233 | -0.43568 | -0.26335
19 | YES | 9.0746 | 2.5957 | 0.74437 | -1.7743 | -1.1798 | 0.59449
19 | NO | 3.9536 | 2.6176 | 0.54286 | -2.7124 | -1.1918 | 1.5206
19 | NO | 3.2405 | 2.6182 | 0.51489 | -3.3318 | -1.1921 | 2.1396
20 | NO | 10.224 | 1.8924 | 0.4166 | -2.0376 | -0.79441 | 1.2432
20 | NO | 3.3571 | 1.8042 | 0.38979 | -1.3258 | -0.7461 | 0.57972
20 | NO | 3.3571 | 1.8042 | 0.38979 | -1.2358 | -0.7461 | 0.48972
21 | NO | 10.4407 | 0.31537 | 0.053477 | -0.024628 | 0.069678 | 0.094306
21 | NO | 3.6417 | 0.32932 | 0.088486 | 0.039322 | 0.062034 | 0.022712
21 | NO | 3.6417 | 0.32932 | 0.088486 | 0.049322 | 0.062034 | 0.012712
22 | YES | 10.0861 | 0.28391 | 0.017845 | 0.073908 | 0.086919 | 0.013011
22 | NO | 3.3753 | 0.28859 | 0.029436 | 0.05859 | 0.084353 | 0.025763
22 | NO | 3.3175 | 0.28854 | 0.029551 | 0.068537 | 0.084382 | 0.015845
23 | YES | 10.0869 | 1.38 | 0.54039 | -5.78 | -0.51367 | 5.2663
23 | NO | 3.4692 | 7.4812 | 1.6831 | 4.1912 | -3.8568 | -8.048
23 | NO | 3.4692 | 7.4812 | 1.6831 | -8.5788 | -3.8568 | 4.722
24 | YES | 10.2351 | 3.7113 | 0.45934 | -1.4387 | -1.7911 | -0.35242
24 | NO | 3.0918 | 10.3941 | 0.77897 | -3.5259 | -5.4528 | -1.9269
24 | NO | 3.0918 | 10.3941 | 0.77897 | -4.5159 | -5.4528 | -0.93695
25 | YES | 7.8125 | 14.7492 | 0.23264 | -0.46082 | -7.8392 | -7.3783
25 | YES | 5.8418 | 14.7876 | 0.19746 | -9.0024 | -7.8602 | 1.1422
25 | NO | 3.6682 | 14.8624 | 0.0054532 | -12.0776 | -7.9012 | 4.1764
26 | YES | 10.1642 | 4.4575 | 0.32847 | -3.1825 | -2.2 | 0.98249
26 | NO | 3.3148 | 9.3969 | 1.5379 | -2.4131 | -4.9064 | -2.4934
26 | NO | 3.3148 | 9.3969 | 1.5379 | -6.1431 | -4.9064 | 1.2366
27 | YES | 10.0441 | 10.1989 | 0.2977 | -15.9511 | -5.3459 | 10.6052
27 | NO | 3.6131 | 14.8643 | 0.0011386 | -12.4357 | -7.9022 | 4.5335
27 | NO | 3.6131 | 14.8643 | 0.0011386 | -12.3757 | -7.9022 | 4.4735
28 | YES | 10.2362 | 4.4775 | 0.25542 | -1.8025 | -2.2109 | -0.40842
28 | NO | 3.0475 | 9.3917 | 0.8096 | -4.2383 | -4.9036 | -0.6653
28 | NO | 3.0475 | 9.3917 | 0.8096 | -5.3983 | -4.9036 | 0.4947
29 | YES | 9.9076 | 2.8438 | 0.23016 | 0.35377 | -1.3157 | -1.6695
29 | NO | 3.1745 | 5.5716 | 1.7932 | -0.35845 | -2.8104 | -2.4519
29 | NO | 3.1745 | 5.5716 | 1.7932 | -1.1084 | -2.8104 | -1.7019
30 | YES | 7.4877 | 3.0715 | 1.4936 | 1.6415 | -1.4405 | -3.0819
30 | YES | 5.3738 | 2.8896 | 1.2469 | -4.1604 | -1.3408 | 2.8196
30 | NO | 3.1629 | 3.5325 | 1.036 | 2.1725 | -1.6931 | -3.8656
31 | YES | 7.4355 | 10.4494 | 4.4344 | -2.0306 | -5.4831 | -3.4526
31 | YES | 5.4518 | 11.8676 | 4.1412 | -10.7924 | -6.2602 | 4.5322
31 | NO | 3.2662 | 14.7842 | 0.20947 | -5.4758 | -7.8583 | -2.3825
32 | YES | 7.503 | 2.1619 | 0.33005 | -0.47809 | -0.94211 | -0.46402
32 | YES | 5.5671 | 2.2639 | 0.31291 | -1.0761 | -0.99799 | 0.078106
32 | NO | 3.4219 | 2.4491 | 0.15294 | -1.1109 | -1.0995 | 0.011459
33 | YES | 10.0586 | 7.0035 | 0.59458 | -3.9465 | -3.595 | 0.35144
33 | NO | 2.9766 | 4.3823 | 1.071 | -4.7477 | -2.1588 | 2.5889
33 | NO | 2.6258 | 4.2445 | 0.88386 | -1.4555 | -2.0832 | -0.62774
NO
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
NO
YES
NO
YES
NO
NO
YES
YES
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
YES
NO
NO
YES
YES
NO
NO
YES
NO
NO
YES
YES
NO
NO
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
YES
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
YES
NO
YES
YES
NO
YES
YES
NO
YES
NO
NO
FIT vs. Pressure
FIT vs. FLUOR
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (FLUOR - CHL) (2)
Calculation of Linear Least Squares Fit For
(FLUOR - CHL)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FLUOR - CHL), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.16713 |  | X | CALC Y
m= | -0.13955 | 0.049882 |  | Std Dev of Resid |  | 3.1072 |  | 1 | 0.63656
b= | 0.77611 | 0.99821 |  | Resid Sum of Squares |  | 376.5357 |  | 33 | -3.8289
# of Values Extracted = |  |  | 97
# of Values Used in Fit = |  |  | 41
File | Use | Pressure | FLUOR | FLUOR | Diff (FLUOR - CHL) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 29.8007 | 0.65607 | 0.089254 | -0.53393 | 0.63656 | 1.1705 |  | 1 | -0.53393
1 | NO | 4.5963 | 13.3154 | 2.2505 | -7.4947 | 0.63656 | 8.1312 |  | 2 | -0.31903
1 | NO | 3.2772 | 14.8632 | 0.0049947 | -6.1568 | 0.63656 | 6.7934 |  | 3 | -2.3688
2 | YES | 50.6097 | 0.37097 | 0.04044 | -0.31903 | 0.49702 | 0.81605 |  | 4 | -0.56557
2 | NO | 4.7305 | 14.1318 | 0.77279 | -2.9882 | 0.49702 | 3.4852 |  | 5 | -0.0093141
2 | NO | 3.5662 | 14.095 | 0.80704 | -2.815 | 0.49702 | 3.312 |  | 6 | -0.15535
3 | YES | 19.298 | 3.0612 | 0.48011 | -2.3688 | 0.35747 | 2.7262 |  | 6 | -0.47007
3 | NO | 4.7318 | 5.2004 | 0.69806 | -2.0996 | 0.35747 | 2.457 |  | 7 | 0.24732
3 | NO | 3.5728 | 5.0045 | 0.57386 | -2.3455 | 0.35747 | 2.703 |  | 8 | 0.62905
4 | YES | 25.4609 | 0.65443 | 0.11844 | -0.56557 | 0.21793 | 0.7835 |  | 8 | 0.14482
4 | NO | 4.931 | 6.4042 | 2.2131 | -5.2958 | 0.21793 | 5.5137 |  | 9 | 0.20909
4 | NO | 3.4772 | 5.5881 | 1.8113 | -4.4719 | 0.21793 | 4.6899 |  | 10 | 0.98668
5 | YES | 19.692 | 1.3907 | 0.16901 | -0.0093141 | 0.078382 | 0.087696 |  | 11 | -0.80289
5 | NO | 2.2384 | 3.3977 | 0.27178 | -0.28228 | 0.078382 | 0.36066 |  | 12 | -1.0045
5 | NO | 2.2384 | 3.3977 | 0.27178 | -0.11228 | 0.078382 | 0.19066 |  | 12 | 0.71083
6 | YES | 19.6812 | 2.2046 | 0.25088 | -0.15535 | -0.061164 | 0.094183 |  | 13 | -0.23005
6 | YES | 5.2093 | 3.5699 | 0.39397 | -0.47007 | -0.061164 | 0.4089 |  | 13 | 0.24702
6 | NO | 3.2268 | 3.6025 | 0.4312 | -0.1075 | -0.061164 | 0.046332 |  | 14 | -2.0884
7 | YES | 22.4412 | 0.65732 | 0.03745 | 0.24732 | -0.20071 | -0.44803 |  | 15 | -0.2871
7 | NO | 4.3336 | 0.81693 | 0.033502 | 0.38693 | -0.20071 | -0.58764 |  | 16 | -0.15422
7 | NO | 4.3336 | 0.81693 | 0.033502 | 0.33693 | -0.20071 | -0.53764 |  | 16 | -1.0361
8 | YES | 21.8037 | 1.449 | 0.045947 | 0.62905 | -0.34025 | -0.9693 |  | 18 | 0.48625
8 | YES | 5.493 | 0.67482 | 0.063669 | 0.14482 | -0.34025 | -0.48507 |  | 19 | -1.7743
8 | NO | 3.8317 | 0.69935 | 0.045568 | 0.16936 | -0.34025 | -0.50961 |  | 20 | -2.0376
9 | YES | 20.3078 | 0.74909 | 0.043587 | 0.20909 | -0.4798 | -0.68889 |  | 21 | -0.024628
9 | NO | 3.5195 | 0.73921 | 0.074727 | 0.099211 | -0.4798 | -0.57901 |  | 22 | 0.073908
9 | NO | 3.5195 | 0.73921 | 0.074727 | 0.15921 | -0.4798 | -0.63901 |  | 23 | -5.78
10 | YES | 19.9963 | 4.3667 | 0.1279 | 0.98668 | -0.61935 | -1.606 |  | 24 | -1.4387
10 | NO | 3.9364 | 0.57855 | 0.15731 | -0.21145 | -0.61935 | -0.4079 |  | 25 | -0.46082
10 | NO | 3.4717 | 0.53275 | 0.021852 | -0.26725 | -0.61935 | -0.3521 |  | 25 | -9.0024
11 | YES | 19.7945 | 3.5471 | 0.62136 | -0.80289 | -0.75889 | 0.044001 |  | 26 | -3.1825
11 | NO | 3.3279 | 0.34866 | 0.13544 | -0.061339 | -0.75889 | -0.69755 |  | 27 | -15.9511
11 | NO | 3.3279 | 0.34866 | 0.13544 | -0.60134 | -0.75889 | -0.15755 |  | 28 | -1.8025
12 | YES | 53.4743 | 0.34549 | 0.052222 | -1.0045 | -0.89844 | 0.10607 |  | 29 | 0.35377
12 | YES | 19.654 | 1.0508 | 0.15779 | 0.71083 | -0.89844 | -1.6093 |  | 30 | 1.6415
12 | NO | 4.5886 | 0.35628 | 0.046526 | 0.016277 | -0.89844 | -0.91471 |  | 30 | -4.1604
13 | YES | 18.8939 | 1.0699 | 0.23284 | -0.23005 | -1.038 | -0.80793 |  | 31 | -2.0306
13 | YES | 5.8426 | 4.867 | 0.67053 | 0.24702 | -1.038 | -1.285 |  | 31 | -10.7924
14 | YES | 20.1203 | 5.5216 | 0.55314 | -2.0884 | -1.1775 | 0.9109 |  | 32 | -0.47809
14 | NO | 4.4355 | 1.8974 | 0.36641 | 0.34736 | -1.1775 | -1.5249 |  | 32 | -1.0761
14 | NO | 3.3004 | 1.7849 | 0.27667 | 0.24489 | -1.1775 | -1.4224 |  | 33 | -3.9465
15 | YES | 19.8389 | 0.7329 | 0.312 | -0.2871 | -1.3171 | -1.03
15 | NO | 4.6243 | 1.7767 | 0.36087 | -1.7033 | -1.3171 | 0.38628
15 | NO | 3.431 | 1.7075 | 0.24743 | -1.5525 | -1.3171 | 0.23539
16 | YES | 20.4621 | 0.46578 | 0.084468 | -0.15422 | -1.4566 | -1.3024
16 | YES | 5.1089 | 0.81393 | 0.17166 | -1.0361 | -1.4566 | -0.42054
16 | NO | 3.4898 | 0.78088 | 0.18099 | -1.0591 | -1.4566 | -0.3975
17 | NO | 3.5252 | 0.56993 | 0.060817 | -0.13007 | -1.5962 | -1.4661
17 | NO | 3.5252 | 0.56993 | 0.060817 | -0.12007 | -1.5962 | -1.4761
18 | YES | 19.9297 | 1.5362 | 0.040821 | 0.48625 | -1.7357 | -2.222
18 | NO | 2.5695 | 1.2377 | 0.044183 | -0.17233 | -1.7357 | -1.5634
18 | NO | 2.5695 | 1.2377 | 0.044183 | -0.17233 | -1.7357 | -1.5634
19 | YES | 9.0746 | 2.5957 | 0.74437 | -1.7743 | -1.8753 | -0.10097
19 | NO | 3.9536 | 2.6176 | 0.54286 | -2.7124 | -1.8753 | 0.83711
19 | NO | 3.2405 | 2.6182 | 0.51489 | -3.3318 | -1.8753 | 1.4565
20 | YES | 10.224 | 1.8924 | 0.4166 | -2.0376 | -2.0148 | 0.022839
20 | NO | 3.3571 | 1.8042 | 0.38979 | -1.3258 | -2.0148 | -0.68898
20 | NO | 3.3571 | 1.8042 | 0.38979 | -1.2358 | -2.0148 | -0.77898
21 | YES | 10.4407 | 0.31537 | 0.053477 | -0.024628 | -2.1543 | -2.1297
21 | NO | 3.6417 | 0.32932 | 0.088486 | 0.039322 | -2.1543 | -2.1937
21 | NO | 3.6417 | 0.32932 | 0.088486 | 0.049322 | -2.1543 | -2.2037
22 | YES | 10.0861 | 0.28391 | 0.017845 | 0.073908 | -2.2939 | -2.3678
22 | NO | 3.3753 | 0.28859 | 0.029436 | 0.05859 | -2.2939 | -2.3525
22 | NO | 3.3175 | 0.28854 | 0.029551 | 0.068537 | -2.2939 | -2.3624
23 | YES | 10.0869 | 1.38 | 0.54039 | -5.78 | -2.4334 | 3.3466
23 | NO | 3.4692 | 7.4812 | 1.6831 | 4.1912 | -2.4334 | -6.6247
23 | NO | 3.4692 | 7.4812 | 1.6831 | -8.5788 | -2.4334 | 6.1453
24 | YES | 10.2351 | 3.7113 | 0.45934 | -1.4387 | -2.573 | -1.1343
24 | NO | 3.0918 | 10.3941 | 0.77897 | -3.5259 | -2.573 | 0.95291
24 | NO | 3.0918 | 10.3941 | 0.77897 | -4.5159 | -2.573 | 1.9429
25 | YES | 7.8125 | 14.7492 | 0.23264 | -0.46082 | -2.7125 | -2.2517
25 | YES | 5.8418 | 14.7876 | 0.19746 | -9.0024 | -2.7125 | 6.2899
25 | NO | 3.6682 | 14.8624 | 0.0054532 | -12.0776 | -2.7125 | 9.3651
26 | YES | 10.1642 | 4.4575 | 0.32847 | -3.1825 | -2.8521 | 0.33039
26 | NO | 3.3148 | 9.3969 | 1.5379 | -2.4131 | -2.8521 | -0.43899
26 | NO | 3.3148 | 9.3969 | 1.5379 | -6.1431 | -2.8521 | 3.291
27 | YES | 10.0441 | 10.1989 | 0.2977 | -15.9511 | -2.9916 | 12.9595
27 | NO | 3.6131 | 14.8643 | 0.0011386 | -12.4357 | -2.9916 | 9.4441
27 | NO | 3.6131 | 14.8643 | 0.0011386 | -12.3757 | -2.9916 | 9.3841
28 | YES | 10.2362 | 4.4775 | 0.25542 | -1.8025 | -3.1312 | -1.3287
28 | NO | 3.0475 | 9.3917 | 0.8096 | -4.2383 | -3.1312 | 1.1071
28 | NO | 3.0475 | 9.3917 | 0.8096 | -5.3983 | -3.1312 | 2.2671
29 | YES | 9.9076 | 2.8438 | 0.23016 | 0.35377 | -3.2707 | -3.6245
29 | NO | 3.1745 | 5.5716 | 1.7932 | -0.35845 | -3.2707 | -2.9123
29 | NO | 3.1745 | 5.5716 | 1.7932 | -1.1084 | -3.2707 | -2.1623
30 | YES | 7.4877 | 3.0715 | 1.4936 | 1.6415 | -3.4103 | -5.0517
30 | YES | 5.3738 | 2.8896 | 1.2469 | -4.1604 | -3.4103 | 0.75015
30 | NO | 3.1629 | 3.5325 | 1.036 | 2.1725 | -3.4103 | -5.5827
31 | YES | 7.4355 | 10.4494 | 4.4344 | -2.0306 | -3.5498 | -1.5192
31 | YES | 5.4518 | 11.8676 | 4.1412 | -10.7924 | -3.5498 | 7.2426
31 | NO | 3.2662 | 14.7842 | 0.20947 | -5.4758 | -3.5498 | 1.926
32 | YES | 7.503 | 2.1619 | 0.33005 | -0.47809 | -3.6893 | -3.2113
32 | YES | 5.5671 | 2.2639 | 0.31291 | -1.0761 | -3.6893 | -2.6132
32 | NO | 3.4219 | 2.4491 | 0.15294 | -1.1109 | -3.6893 | -2.5784
33 | YES | 10.0586 | 7.0035 | 0.59458 | -3.9465 | -3.8289 | 0.11757
33 | NO | 2.9766 | 4.3823 | 1.071 | -4.7477 | -3.8289 | 0.9188
33 | NO | 2.6258 | 4.2445 | 0.88386 | -1.4555 | -3.8289 | -2.3734
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
YES
NO
YES
NO
NO
YES
YES
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
YES
NO
YES
YES
YES
NO
NO
YES
NO
NO
YES
YES
NO
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
YES
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
YES
NO
YES
YES
NO
YES
YES
NO
YES
NO
NO
FIT vs. Pressure
FIT vs. FLUOR
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (FLUOR - CHL) (3)
Calculation of Linear Least Squares Fit For
(FLUOR - CHL)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FLUOR - CHL), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.032173 |  | X | CALC Y
m= | 0.066778 | 0.037577 |  | Std Dev of Resid |  | 3.3529 |  | 2.2384 | -2.4238
b= | -2.5733 | 0.46631 |  | Resid Sum of Squares |  | 1067.9631 |  | 53.4743 | 0.99756
# of Values Extracted = |  |  | 97
# of Values Used in Fit = |  |  | 97
File | Use | Pressure | FLUOR | FLUOR | Diff (FLUOR - CHL) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 29.8007 | 0.65607 | 0.089254 | -0.53393 | -0.5833 | -0.049376 |  | 29.8007 | -0.53393
1 | YES | 4.5963 | 13.3154 | 2.2505 | -7.4947 | -2.2664 | 5.2283 |  | 4.5963 | -7.4947
1 | YES | 3.2772 | 14.8632 | 0.0049947 | -6.1568 | -2.3545 | 3.8024 |  | 3.2772 | -6.1568
2 | YES | 50.6097 | 0.37097 | 0.04044 | -0.31903 | 0.80627 | 1.1253 |  | 50.6097 | -0.31903
2 | YES | 4.7305 | 14.1318 | 0.77279 | -2.9882 | -2.2574 | 0.73077 |  | 4.7305 | -2.9882
2 | YES | 3.5662 | 14.095 | 0.80704 | -2.815 | -2.3352 | 0.47983 |  | 3.5662 | -2.815
3 | YES | 19.298 | 3.0612 | 0.48011 | -2.3688 | -1.2846 | 1.0841 |  | 19.298 | -2.3688
3 | YES | 4.7318 | 5.2004 | 0.69806 | -2.0996 | -2.2573 | -0.15777 |  | 4.7318 | -2.0996
3 | YES | 3.5728 | 5.0045 | 0.57386 | -2.3455 | -2.3347 | 0.010745 |  | 3.5728 | -2.3455
4 | YES | 25.4609 | 0.65443 | 0.11844 | -0.56557 | -0.8731 | -0.30753 |  | 25.4609 | -0.56557
4 | YES | 4.931 | 6.4042 | 2.2131 | -5.2958 | -2.244 | 3.0517 |  | 4.931 | -5.2958
4 | YES | 3.4772 | 5.5881 | 1.8113 | -4.4719 | -2.3411 | 2.1308 |  | 3.4772 | -4.4719
5 | YES | 19.692 | 1.3907 | 0.16901 | -0.0093141 | -1.2583 | -1.249 |  | 19.692 | -0.0093141
5 | YES | 2.2384 | 3.3977 | 0.27178 | -0.28228 | -2.4238 | -2.1416 |  | 2.2384 | -0.28228
5 | YES | 2.2384 | 3.3977 | 0.27178 | -0.11228 | -2.4238 | -2.3116 |  | 2.2384 | -0.11228
6 | YES | 19.6812 | 2.2046 | 0.25088 | -0.15535 | -1.2591 | -1.1037 |  | 19.6812 | -0.15535
6 | YES | 5.2093 | 3.5699 | 0.39397 | -0.47007 | -2.2255 | -1.7554 |  | 5.2093 | -0.47007
6 | YES | 3.2268 | 3.6025 | 0.4312 | -0.1075 | -2.3578 | -2.2503 |  | 3.2268 | -0.1075
7 | YES | 22.4412 | 0.65732 | 0.03745 | 0.24732 | -1.0748 | -1.3221 |  | 22.4412 | 0.24732
7 | YES | 4.3336 | 0.81693 | 0.033502 | 0.38693 | -2.2839 | -2.6709 |  | 4.3336 | 0.38693
7 | YES | 4.3336 | 0.81693 | 0.033502 | 0.33693 | -2.2839 | -2.6209 |  | 4.3336 | 0.33693
8 | YES | 21.8037 | 1.449 | 0.045947 | 0.62905 | -1.1173 | -1.7464 |  | 21.8037 | 0.62905
8 | YES | 5.493 | 0.67482 | 0.063669 | 0.14482 | -2.2065 | -2.3513 |  | 5.493 | 0.14482
8 | YES | 3.8317 | 0.69935 | 0.045568 | 0.16936 | -2.3175 | -2.4868 |  | 3.8317 | 0.16936
9 | YES | 20.3078 | 0.74909 | 0.043587 | 0.20909 | -1.2172 | -1.4263 |  | 20.3078 | 0.20909
9 | YES | 3.5195 | 0.73921 | 0.074727 | 0.099211 | -2.3383 | -2.4375 |  | 3.5195 | 0.099211
9 | YES | 3.5195 | 0.73921 | 0.074727 | 0.15921 | -2.3383 | -2.4975 |  | 3.5195 | 0.15921
10 | YES | 19.9963 | 4.3667 | 0.1279 | 0.98668 | -1.238 | -2.2247 |  | 19.9963 | 0.98668
10 | YES | 3.9364 | 0.57855 | 0.15731 | -0.21145 | -2.3105 | -2.099 |  | 3.9364 | -0.21145
10 | YES | 3.4717 | 0.53275 | 0.021852 | -0.26725 | -2.3415 | -2.0742 |  | 3.4717 | -0.26725
11 | YES | 19.7945 | 3.5471 | 0.62136 | -0.80289 | -1.2515 | -0.4486 |  | 19.7945 | -0.80289
11 | YES | 3.3279 | 0.34866 | 0.13544 | -0.061339 | -2.3511 | -2.2898 |  | 3.3279 | -0.061339
11 | YES | 3.3279 | 0.34866 | 0.13544 | -0.60134 | -2.3511 | -1.7498 |  | 3.3279 | -0.60134
12 | YES | 53.4743 | 0.34549 | 0.052222 | -1.0045 | 0.99756 | 2.0021 |  | 53.4743 | -1.0045
12 | YES | 19.654 | 1.0508 | 0.15779 | 0.71083 | -1.2609 | -1.9717 |  | 19.654 | 0.71083
12 | YES | 4.5886 | 0.35628 | 0.046526 | 0.016277 | -2.2669 | -2.2832 |  | 4.5886 | 0.016277
13 | YES | 18.8939 | 1.0699 | 0.23284 | -0.23005 | -1.3116 | -1.0816 |  | 18.8939 | -0.23005
13 | YES | 5.8426 | 4.867 | 0.67053 | 0.24702 | -2.1832 | -2.4302 |  | 5.8426 | 0.24702
14 | YES | 20.1203 | 5.5216 | 0.55314 | -2.0884 | -1.2297 | 0.85869 |  | 20.1203 | -2.0884
14 | YES | 4.4355 | 1.8974 | 0.36641 | 0.34736 | -2.2771 | -2.6245 |  | 4.4355 | 0.34736
14 | YES | 3.3004 | 1.7849 | 0.27667 | 0.24489 | -2.3529 | -2.5978 |  | 3.3004 | 0.24489
15 | YES | 19.8389 | 0.7329 | 0.312 | -0.2871 | -1.2485 | -0.96143 |  | 19.8389 | -0.2871
15 | YES | 4.6243 | 1.7767 | 0.36087 | -1.7033 | -2.2645 | -0.56117 |  | 4.6243 | -1.7033
15 | YES | 3.431 | 1.7075 | 0.24743 | -1.5525 | -2.3442 | -0.79175 |  | 3.431 | -1.5525
16 | YES | 20.4621 | 0.46578 | 0.084468 | -0.15422 | -1.2069 | -1.0527 |  | 20.4621 | -0.15422
16 | YES | 5.1089 | 0.81393 | 0.17166 | -1.0361 | -2.2322 | -1.1961 |  | 5.1089 | -1.0361
16 | YES | 3.4898 | 0.78088 | 0.18099 | -1.0591 | -2.3403 | -1.2812 |  | 3.4898 | -1.0591
17 | YES | 3.5252 | 0.56993 | 0.060817 | -0.13007 | -2.3379 | -2.2078 |  | 3.5252 | -0.13007
17 | YES | 3.5252 | 0.56993 | 0.060817 | -0.12007 | -2.3379 | -2.2178 |  | 3.5252 | -0.12007
18 | YES | 19.9297 | 1.5362 | 0.040821 | 0.48625 | -1.2425 | -1.7287 |  | 19.9297 | 0.48625
18 | YES | 2.5695 | 1.2377 | 0.044183 | -0.17233 | -2.4017 | -2.2294 |  | 2.5695 | -0.17233
18 | YES | 2.5695 | 1.2377 | 0.044183 | -0.17233 | -2.4017 | -2.2294 |  | 2.5695 | -0.17233
19 | YES | 9.0746 | 2.5957 | 0.74437 | -1.7743 | -1.9673 | -0.19305 |  | 9.0746 | -1.7743
19 | YES | 3.9536 | 2.6176 | 0.54286 | -2.7124 | -2.3093 | 0.40306 |  | 3.9536 | -2.7124
19 | YES | 3.2405 | 2.6182 | 0.51489 | -3.3318 | -2.3569 | 0.97483 |  | 3.2405 | -3.3318
20 | YES | 10.224 | 1.8924 | 0.4166 | -2.0376 | -1.8906 | 0.14705 |  | 10.224 | -2.0376
20 | YES | 3.3571 | 1.8042 | 0.38979 | -1.3258 | -2.3491 | -1.0233 |  | 3.3571 | -1.3258
20 | YES | 3.3571 | 1.8042 | 0.38979 | -1.2358 | -2.3491 | -1.1133 |  | 3.3571 | -1.2358
21 | YES | 10.4407 | 0.31537 | 0.053477 | -0.024628 | -1.8761 | -1.8515 |  | 10.4407 | -0.024628
21 | YES | 3.6417 | 0.32932 | 0.088486 | 0.039322 | -2.3301 | -2.3695 |  | 3.6417 | 0.039322
21 | YES | 3.6417 | 0.32932 | 0.088486 | 0.049322 | -2.3301 | -2.3795 |  | 3.6417 | 0.049322
22 | YES | 10.0861 | 0.28391 | 0.017845 | 0.073908 | -1.8998 | -1.9737 |  | 10.0861 | 0.073908
22 | YES | 3.3753 | 0.28859 | 0.029436 | 0.05859 | -2.3479 | -2.4065 |  | 3.3753 | 0.05859
22 | YES | 3.3175 | 0.28854 | 0.029551 | 0.068537 | -2.3518 | -2.4203 |  | 3.3175 | 0.068537
23 | YES | 10.0869 | 1.38 | 0.54039 | -5.78 | -1.8997 | 3.8803 |  | 10.0869 | -5.78
23 | YES | 3.4692 | 7.4812 | 1.6831 | 4.1912 | -2.3417 | -6.5329 |  | 3.4692 | 4.1912
23 | YES | 3.4692 | 7.4812 | 1.6831 | -8.5788 | -2.3417 | 6.2371 |  | 3.4692 | -8.5788
24 | YES | 10.2351 | 3.7113 | 0.45934 | -1.4387 | -1.8898 | -0.45118 |  | 10.2351 | -1.4387
24 | YES | 3.0918 | 10.3941 | 0.77897 | -3.5259 | -2.3669 | 1.159 |  | 3.0918 | -3.5259
24 | YES | 3.0918 | 10.3941 | 0.77897 | -4.5159 | -2.3669 | 2.149 |  | 3.0918 | -4.5159
25 | YES | 7.8125 | 14.7492 | 0.23264 | -0.46082 | -2.0516 | -1.5908 |  | 7.8125 | -0.46082
25 | YES | 5.8418 | 14.7876 | 0.19746 | -9.0024 | -2.1832 | 6.8192 |  | 5.8418 | -9.0024
25 | YES | 3.6682 | 14.8624 | 0.0054532 | -12.0776 | -2.3284 | 9.7492 |  | 3.6682 | -12.0776
26 | YES | 10.1642 | 4.4575 | 0.32847 | -3.1825 | -1.8946 | 1.2879 |  | 10.1642 | -3.1825
26 | YES | 3.3148 | 9.3969 | 1.5379 | -2.4131 | -2.352 | 0.061113 |  | 3.3148 | -2.4131
26 | YES | 3.3148 | 9.3969 | 1.5379 | -6.1431 | -2.352 | 3.7911 |  | 3.3148 | -6.1431
27 | YES | 10.0441 | 10.1989 | 0.2977 | -15.9511 | -1.9026 | 14.0485 |  | 10.0441 | -15.9511
27 | YES | 3.6131 | 14.8643 | 0.0011386 | -12.4357 | -2.332 | 10.1037 |  | 3.6131 | -12.4357
27 | YES | 3.6131 | 14.8643 | 0.0011386 | -12.3757 | -2.332 | 10.0437 |  | 3.6131 | -12.3757
28 | YES | 10.2362 | 4.4775 | 0.25542 | -1.8025 | -1.8898 | -0.087282 |  | 10.2362 | -1.8025
28 | YES | 3.0475 | 9.3917 | 0.8096 | -4.2383 | -2.3698 | 1.8685 |  | 3.0475 | -4.2383
28 | YES | 3.0475 | 9.3917 | 0.8096 | -5.3983 | -2.3698 | 3.0285 |  | 3.0475 | -5.3983
29 | YES | 9.9076 | 2.8438 | 0.23016 | 0.35377 | -1.9117 | -2.2655 |  | 9.9076 | 0.35377
29 | YES | 3.1745 | 5.5716 | 1.7932 | -0.35845 | -2.3613 | -2.0029 |  | 3.1745 | -0.35845
29 | YES | 3.1745 | 5.5716 | 1.7932 | -1.1084 | -2.3613 | -1.2529 |  | 3.1745 | -1.1084
30 | YES | 7.4877 | 3.0715 | 1.4936 | 1.6415 | -2.0733 | -3.7148 |  | 7.4877 | 1.6415
30 | YES | 5.3738 | 2.8896 | 1.2469 | -4.1604 | -2.2145 | 1.9459 |  | 5.3738 | -4.1604
30 | YES | 3.1629 | 3.5325 | 1.036 | 2.1725 | -2.3621 | -4.5346 |  | 3.1629 | 2.1725
31 | YES | 7.4355 | 10.4494 | 4.4344 | -2.0306 | -2.0768 | -0.046236 |  | 7.4355 | -2.0306
31 | YES | 5.4518 | 11.8676 | 4.1412 | -10.7924 | -2.2093 | 8.5831 |  | 5.4518 | -10.7924
31 | YES | 3.2662 | 14.7842 | 0.20947 | -5.4758 | -2.3552 | 3.1206 |  | 3.2662 | -5.4758
32 | YES | 7.503 | 2.1619 | 0.33005 | -0.47809 | -2.0723 | -1.5942 |  | 7.503 | -0.47809
32 | YES | 5.5671 | 2.2639 | 0.31291 | -1.0761 | -2.2016 | -1.1255 |  | 5.5671 | -1.0761
32 | YES | 3.4219 | 2.4491 | 0.15294 | -1.1109 | -2.3448 | -1.2339 |  | 3.4219 | -1.1109
33 | YES | 10.0586 | 7.0035 | 0.59458 | -3.9465 | -1.9016 | 2.0448 |  | 10.0586 | -3.9465
33 | YES | 2.9766 | 4.3823 | 1.071 | -4.7477 | -2.3745 | 2.3731 |  | 2.9766 | -4.7477
33 | YES | 2.6258 | 4.2445 | 0.88386 | -1.4555 | -2.398 | -0.94248 |  | 2.6258 | -1.4555
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. FLUOR
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (FLUOR - CHL) (4)
Calculation of Linear Least Squares Fit For
(FLUOR - CHL)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FLUOR - CHL), Prop=FLUOR
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.046949 |  | X | CALC Y
m= | -0.11556 | 0.12628 |  | Std Dev of Resid |  | 0.88461 |  | 0.34549 | -0.12997
b= | -0.090045 | 0.32222 |  | Resid Sum of Squares |  | 13.303 |  | 5.5216 | -0.72811
# of Values Extracted = |  |  | 97
# of Values Used in Fit = |  |  | 19
File | Use | Pressure | FLUOR | FLUOR | Diff (FLUOR - CHL) |  |  |  | Fit vs. | FLUOR
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 29.8007 | 0.65607 | 0.089254 | -0.53393 | -0.16586 | 0.36807 |  | 0.65607 | -0.53393
1 | NO | 4.5963 | 13.3154 | 2.2505 | -7.4947 | -1.6287 | 5.8659 |  | 3.0612 | -2.3688
1 | NO | 3.2772 | 14.8632 | 0.0049947 | -6.1568 | -1.8076 | 4.3492 |  | 0.65443 | -0.56557
2 | NO | 50.6097 | 0.37097 | 0.04044 | -0.31903 | -0.13291 | 0.18612 |  | 1.3907 | -0.0093141
2 | NO | 4.7305 | 14.1318 | 0.77279 | -2.9882 | -1.7231 | 1.2651 |  | 2.2046 | -0.15535
2 | NO | 3.5662 | 14.095 | 0.80704 | -2.815 | -1.7188 | 1.0962 |  | 3.5699 | -0.47007
3 | YES | 19.298 | 3.0612 | 0.48011 | -2.3688 | -0.4438 | 1.925 |  | 1.449 | 0.62905
3 | NO | 4.7318 | 5.2004 | 0.69806 | -2.0996 | -0.691 | 1.4086 |  | 0.67482 | 0.14482
3 | NO | 3.5728 | 5.0045 | 0.57386 | -2.3455 | -0.66836 | 1.6771 |  | 0.74909 | 0.20909
4 | YES | 25.4609 | 0.65443 | 0.11844 | -0.56557 | -0.16567 | 0.39991 |  | 4.3667 | 0.98668
4 | NO | 4.931 | 6.4042 | 2.2131 | -5.2958 | -0.8301 | 4.4657 |  | 3.5471 | -0.80289
4 | NO | 3.4772 | 5.5881 | 1.8113 | -4.4719 | -0.73579 | 3.7361 |  | 0.34549 | -1.0045
5 | YES | 19.692 | 1.3907 | 0.16901 | -0.0093141 | -0.25075 | -0.24144 |  | 1.0508 | 0.71083
5 | NO | 2.2384 | 3.3977 | 0.27178 | -0.28228 | -0.48268 | -0.2004 |  | 4.867 | 0.24702
5 | NO | 2.2384 | 3.3977 | 0.27178 | -0.11228 | -0.48268 | -0.3704 |  | 5.5216 | -2.0884
6 | YES | 19.6812 | 2.2046 | 0.25088 | -0.15535 | -0.34481 | -0.18946 |  | 0.7329 | -0.2871
6 | YES | 5.2093 | 3.5699 | 0.39397 | -0.47007 | -0.50258 | -0.032515 |  | 0.46578 | -0.15422
6 | NO | 3.2268 | 3.6025 | 0.4312 | -0.1075 | -0.50634 | -0.39885 |  | 0.81393 | -1.0361
7 | NO | 22.4412 | 0.65732 | 0.03745 | 0.24732 | -0.166 | -0.41333 |  | 1.5362 | 0.48625
7 | NO | 4.3336 | 0.81693 | 0.033502 | 0.38693 | -0.18445 | -0.57138
7 | NO | 4.3336 | 0.81693 | 0.033502 | 0.33693 | -0.18445 | -0.52138
8 | YES | 21.8037 | 1.449 | 0.045947 | 0.62905 | -0.25749 | -0.88654
8 | YES | 5.493 | 0.67482 | 0.063669 | 0.14482 | -0.16803 | -0.31284
8 | NO | 3.8317 | 0.69935 | 0.045568 | 0.16936 | -0.17086 | -0.34022
9 | YES | 20.3078 | 0.74909 | 0.043587 | 0.20909 | -0.17661 | -0.3857
9 | NO | 3.5195 | 0.73921 | 0.074727 | 0.099211 | -0.17547 | -0.27468
9 | NO | 3.5195 | 0.73921 | 0.074727 | 0.15921 | -0.17547 | -0.33468
10 | YES | 19.9963 | 4.3667 | 0.1279 | 0.98668 | -0.59465 | -1.5813
10 | NO | 3.9364 | 0.57855 | 0.15731 | -0.21145 | -0.1569 | 0.054548
10 | NO | 3.4717 | 0.53275 | 0.021852 | -0.26725 | -0.15161 | 0.11564
11 | YES | 19.7945 | 3.5471 | 0.62136 | -0.80289 | -0.49994 | 0.30295
11 | NO | 3.3279 | 0.34866 | 0.13544 | -0.061339 | -0.13034 | -0.068996
11 | NO | 3.3279 | 0.34866 | 0.13544 | -0.60134 | -0.13034 | 0.471
12 | YES | 53.4743 | 0.34549 | 0.052222 | -1.0045 | -0.12997 | 0.87454
12 | YES | 19.654 | 1.0508 | 0.15779 | 0.71083 | -0.21148 | -0.92231
12 | NO | 4.5886 | 0.35628 | 0.046526 | 0.016277 | -0.13122 | -0.14749
13 | NO | 18.8939 | 1.0699 | 0.23284 | -0.23005 | -0.21369 | 0.016363
13 | YES | 5.8426 | 4.867 | 0.67053 | 0.24702 | -0.65247 | -0.89949
14 | YES | 20.1203 | 5.5216 | 0.55314 | -2.0884 | -0.72811 | 1.3603
14 | NO | 4.4355 | 1.8974 | 0.36641 | 0.34736 | -0.3093 | -0.65666
14 | NO | 3.3004 | 1.7849 | 0.27667 | 0.24489 | -0.2963 | -0.5412
15 | YES | 19.8389 | 0.7329 | 0.312 | -0.2871 | -0.17474 | 0.11236
15 | NO | 4.6243 | 1.7767 | 0.36087 | -1.7033 | -0.29535 | 1.408
15 | NO | 3.431 | 1.7075 | 0.24743 | -1.5525 | -0.28736 | 1.2651
16 | YES | 20.4621 | 0.46578 | 0.084468 | -0.15422 | -0.14387 | 0.010354
16 | YES | 5.1089 | 0.81393 | 0.17166 | -1.0361 | -0.1841 | 0.85198
16 | NO | 3.4898 | 0.78088 | 0.18099 | -1.0591 | -0.18028 | 0.87884
17 | NO | 3.5252 | 0.56993 | 0.060817 | -0.13007 | -0.1559 | -0.025835
17 | NO | 3.5252 | 0.56993 | 0.060817 | -0.12007 | -0.1559 | -0.035835
18 | YES | 19.9297 | 1.5362 | 0.040821 | 0.48625 | -0.26757 | -0.75382
18 | NO | 2.5695 | 1.2377 | 0.044183 | -0.17233 | -0.23307 | -0.060737
18 | NO | 2.5695 | 1.2377 | 0.044183 | -0.17233 | -0.23307 | -0.060737
19 | NO | 9.0746 | 2.5957 | 0.74437 | -1.7743 | -0.39 | 1.3843
19 | NO | 3.9536 | 2.6176 | 0.54286 | -2.7124 | -0.39253 | 2.3198
19 | NO | 3.2405 | 2.6182 | 0.51489 | -3.3318 | -0.3926 | 2.9392
20 | NO | 10.224 | 1.8924 | 0.4166 | -2.0376 | -0.30872 | 1.7289
20 | NO | 3.3571 | 1.8042 | 0.38979 | -1.3258 | -0.29853 | 1.0273
20 | NO | 3.3571 | 1.8042 | 0.38979 | -1.2358 | -0.29853 | 0.93729
21 | NO | 10.4407 | 0.31537 | 0.053477 | -0.024628 | -0.12649 | -0.10186
21 | NO | 3.6417 | 0.32932 | 0.088486 | 0.039322 | -0.1281 | -0.16742
21 | NO | 3.6417 | 0.32932 | 0.088486 | 0.049322 | -0.1281 | -0.17742
22 | NO | 10.0861 | 0.28391 | 0.017845 | 0.073908 | -0.12285 | -0.19676
22 | NO | 3.3753 | 0.28859 | 0.029436 | 0.05859 | -0.12339 | -0.18198
22 | NO | 3.3175 | 0.28854 | 0.029551 | 0.068537 | -0.12339 | -0.19192
23 | NO | 10.0869 | 1.38 | 0.54039 | -5.78 | -0.24951 | 5.5305
23 | NO | 3.4692 | 7.4812 | 1.6831 | 4.1912 | -0.95456 | -5.1458
23 | NO | 3.4692 | 7.4812 | 1.6831 | -8.5788 | -0.95456 | 7.6242
24 | NO | 10.2351 | 3.7113 | 0.45934 | -1.4387 | -0.51892 | 0.91975
24 | NO | 3.0918 | 10.3941 | 0.77897 | -3.5259 | -1.2912 | 2.2347
24 | NO | 3.0918 | 10.3941 | 0.77897 | -4.5159 | -1.2912 | 3.2247
25 | NO | 7.8125 | 14.7492 | 0.23264 | -0.46082 | -1.7944 | -1.3336
25 | NO | 5.8418 | 14.7876 | 0.19746 | -9.0024 | -1.7989 | 7.2036
25 | NO | 3.6682 | 14.8624 | 0.0054532 | -12.0776 | -1.8075 | 10.2701
26 | NO | 10.1642 | 4.4575 | 0.32847 | -3.1825 | -0.60515 | 2.5773
26 | NO | 3.3148 | 9.3969 | 1.5379 | -2.4131 | -1.1759 | 1.2371
26 | NO | 3.3148 | 9.3969 | 1.5379 | -6.1431 | -1.1759 | 4.9671
27 | NO | 10.0441 | 10.1989 | 0.2977 | -15.9511 | -1.2686 | 14.6825
27 | NO | 3.6131 | 14.8643 | 0.0011386 | -12.4357 | -1.8077 | 10.628
27 | NO | 3.6131 | 14.8643 | 0.0011386 | -12.3757 | -1.8077 | 10.568
28 | NO | 10.2362 | 4.4775 | 0.25542 | -1.8025 | -0.60746 | 1.195
28 | NO | 3.0475 | 9.3917 | 0.8096 | -4.2383 | -1.1753 | 3.063
28 | NO | 3.0475 | 9.3917 | 0.8096 | -5.3983 | -1.1753 | 4.223
29 | NO | 9.9076 | 2.8438 | 0.23016 | 0.35377 | -0.41867 | -0.77243
29 | NO | 3.1745 | 5.5716 | 1.7932 | -0.35845 | -0.73388 | -0.37544
29 | NO | 3.1745 | 5.5716 | 1.7932 | -1.1084 | -0.73388 | 0.37457
30 | NO | 7.4877 | 3.0715 | 1.4936 | 1.6415 | -0.44498 | -2.0864
30 | NO | 5.3738 | 2.8896 | 1.2469 | -4.1604 | -0.42396 | 3.7364
30 | NO | 3.1629 | 3.5325 | 1.036 | 2.1725 | -0.49825 | -2.6707
31 | NO | 7.4355 | 10.4494 | 4.4344 | -2.0306 | -1.2976 | 0.733
31 | NO | 5.4518 | 11.8676 | 4.1412 | -10.7924 | -1.4614 | 9.331
31 | NO | 3.2662 | 14.7842 | 0.20947 | -5.4758 | -1.7985 | 3.6774
32 | NO | 7.503 | 2.1619 | 0.33005 | -0.47809 | -0.33987 | 0.13822
32 | NO | 5.5671 | 2.2639 | 0.31291 | -1.0761 | -0.35166 | 0.72444
32 | NO | 3.4219 | 2.4491 | 0.15294 | -1.1109 | -0.37306 | 0.73786
33 | NO | 10.0586 | 7.0035 | 0.59458 | -3.9465 | -0.89936 | 3.0471
33 | NO | 2.9766 | 4.3823 | 1.071 | -4.7477 | -0.59646 | 4.1512
33 | NO | 2.6258 | 4.2445 | 0.88386 | -1.4555 | -0.58053 | 0.87497
YES
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
YES
NO
NO
NO
NO
YES
YES
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
YES
NO
NO
YES
YES
NO
NO
YES
NO
NO
YES
YES
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. FLUOR
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (FLUOR - CHL) (5)
Calculation of Linear Least Squares Fit For
(FLUOR - CHL)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FLUOR - CHL), Prop=FLUOR
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.27023 |  | X | CALC Y
m= | -0.50242 | 0.21318 |  | Std Dev of Resid |  | 4.037 |  | 0.28391 | -0.72915
b= | -0.58651 | 1.583 |  | Resid Sum of Squares |  | 244.4617 |  | 14.7876 | -8.0161
# of Values Extracted = |  |  | 97
# of Values Used in Fit = |  |  | 17
File | Use | Pressure | FLUOR | FLUOR | Diff (FLUOR - CHL) |  |  |  | Fit vs. | FLUOR
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 29.8007 | 0.65607 | 0.089254 | -0.53393 | -0.91613 | -0.38221 |  | 2.5957 | -1.7743
1 | NO | 4.5963 | 13.3154 | 2.2505 | -7.4947 | -7.2764 | 0.21821 |  | 0.28391 | 0.073908
1 | NO | 3.2772 | 14.8632 | 0.0049947 | -6.1568 | -8.0541 | -1.8972 |  | 1.38 | -5.78
2 | NO | 50.6097 | 0.37097 | 0.04044 | -0.31903 | -0.77289 | -0.45386 |  | 3.7113 | -1.4387
2 | NO | 4.7305 | 14.1318 | 0.77279 | -2.9882 | -7.6866 | -4.6984 |  | 14.7492 | -0.46082
2 | NO | 3.5662 | 14.095 | 0.80704 | -2.815 | -7.6681 | -4.8531 |  | 14.7876 | -9.0024
3 | NO | 19.298 | 3.0612 | 0.48011 | -2.3688 | -2.1245 | 0.24422 |  | 4.4575 | -3.1825
3 | NO | 4.7318 | 5.2004 | 0.69806 | -2.0996 | -3.1993 | -1.0997 |  | 10.1989 | -15.9511
3 | NO | 3.5728 | 5.0045 | 0.57386 | -2.3455 | -3.1009 | -0.7554 |  | 4.4775 | -1.8025
4 | NO | 25.4609 | 0.65443 | 0.11844 | -0.56557 | -0.9153 | -0.34973 |  | 2.8438 | 0.35377
4 | NO | 4.931 | 6.4042 | 2.2131 | -5.2958 | -3.8041 | 1.4917 |  | 3.0715 | 1.6415
4 | NO | 3.4772 | 5.5881 | 1.8113 | -4.4719 | -3.3941 | 1.0779 |  | 2.8896 | -4.1604
5 | NO | 19.692 | 1.3907 | 0.16901 | -0.0093141 | -1.2852 | -1.2759 |  | 10.4494 | -2.0306
5 | NO | 2.2384 | 3.3977 | 0.27178 | -0.28228 | -2.2936 | -2.0113 |  | 11.8676 | -10.7924
5 | NO | 2.2384 | 3.3977 | 0.27178 | -0.11228 | -2.2936 | -2.1813 |  | 2.1619 | -0.47809
6 | NO | 19.6812 | 2.2046 | 0.25088 | -0.15535 | -1.6942 | -1.5388 |  | 2.2639 | -1.0761
6 | NO | 5.2093 | 3.5699 | 0.39397 | -0.47007 | -2.3801 | -1.9101 |  | 7.0035 | -3.9465
6 | NO | 3.2268 | 3.6025 | 0.4312 | -0.1075 | -2.3965 | -2.289
7 | NO | 22.4412 | 0.65732 | 0.03745 | 0.24732 | -0.91676 | -1.1641
7 | NO | 4.3336 | 0.81693 | 0.033502 | 0.38693 | -0.99695 | -1.3839
7 | NO | 4.3336 | 0.81693 | 0.033502 | 0.33693 | -0.99695 | -1.3339
8 | NO | 21.8037 | 1.449 | 0.045947 | 0.62905 | -1.3145 | -1.9436
8 | NO | 5.493 | 0.67482 | 0.063669 | 0.14482 | -0.92555 | -1.0704
8 | NO | 3.8317 | 0.69935 | 0.045568 | 0.16936 | -0.93788 | -1.1072
9 | NO | 20.3078 | 0.74909 | 0.043587 | 0.20909 | -0.96287 | -1.172
9 | NO | 3.5195 | 0.73921 | 0.074727 | 0.099211 | -0.9579 | -1.0571
9 | NO | 3.5195 | 0.73921 | 0.074727 | 0.15921 | -0.9579 | -1.1171
10 | NO | 19.9963 | 4.3667 | 0.1279 | 0.98668 | -2.7804 | -3.7671
10 | NO | 3.9364 | 0.57855 | 0.15731 | -0.21145 | -0.87718 | -0.66573
10 | NO | 3.4717 | 0.53275 | 0.021852 | -0.26725 | -0.85417 | -0.58692
11 | NO | 19.7945 | 3.5471 | 0.62136 | -0.80289 | -2.3686 | -1.5658
11 | NO | 3.3279 | 0.34866 | 0.13544 | -0.061339 | -0.76168 | -0.70034
11 | NO | 3.3279 | 0.34866 | 0.13544 | -0.60134 | -0.76168 | -0.16034
12 | NO | 53.4743 | 0.34549 | 0.052222 | -1.0045 | -0.76009 | 0.24442
12 | NO | 19.654 | 1.0508 | 0.15779 | 0.71083 | -1.1145 | -1.8253
12 | NO | 4.5886 | 0.35628 | 0.046526 | 0.016277 | -0.76551 | -0.78178
13 | NO | 18.8939 | 1.0699 | 0.23284 | -0.23005 | -1.1241 | -0.89402
13 | NO | 5.8426 | 4.867 | 0.67053 | 0.24702 | -3.0318 | -3.2788
14 | NO | 20.1203 | 5.5216 | 0.55314 | -2.0884 | -3.3607 | -1.2722
14 | NO | 4.4355 | 1.8974 | 0.36641 | 0.34736 | -1.5398 | -1.8871
14 | NO | 3.3004 | 1.7849 | 0.27667 | 0.24489 | -1.4833 | -1.7282
15 | NO | 19.8389 | 0.7329 | 0.312 | -0.2871 | -0.95473 | -0.66763
15 | NO | 4.6243 | 1.7767 | 0.36087 | -1.7033 | -1.4791 | 0.22422
15 | NO | 3.431 | 1.7075 | 0.24743 | -1.5525 | -1.4444 | 0.10805
16 | NO | 20.4621 | 0.46578 | 0.084468 | -0.15422 | -0.82052 | -0.6663
16 | NO | 5.1089 | 0.81393 | 0.17166 | -1.0361 | -0.99544 | 0.040641
16 | NO | 3.4898 | 0.78088 | 0.18099 | -1.0591 | -0.97884 | 0.080283
17 | NO | 3.5252 | 0.56993 | 0.060817 | -0.13007 | -0.87285 | -0.74278
17 | NO | 3.5252 | 0.56993 | 0.060817 | -0.12007 | -0.87285 | -0.75278
18 | NO | 19.9297 | 1.5362 | 0.040821 | 0.48625 | -1.3584 | -1.8446
18 | NO | 2.5695 | 1.2377 | 0.044183 | -0.17233 | -1.2083 | -1.036
18 | NO | 2.5695 | 1.2377 | 0.044183 | -0.17233 | -1.2083 | -1.036
19 | YES | 9.0746 | 2.5957 | 0.74437 | -1.7743 | -1.8906 | -0.11635
19 | NO | 3.9536 | 2.6176 | 0.54286 | -2.7124 | -1.9017 | 0.81071
19 | NO | 3.2405 | 2.6182 | 0.51489 | -3.3318 | -1.902 | 1.4298
20 | NO | 10.224 | 1.8924 | 0.4166 | -2.0376 | -1.5373 | 0.50037
20 | NO | 3.3571 | 1.8042 | 0.38979 | -1.3258 | -1.493 | -0.16714
20 | NO | 3.3571 | 1.8042 | 0.38979 | -1.2358 | -1.493 | -0.25714
21 | NO | 10.4407 | 0.31537 | 0.053477 | -0.024628 | -0.74496 | -0.72033
21 | NO | 3.6417 | 0.32932 | 0.088486 | 0.039322 | -0.75196 | -0.79129
21 | NO | 3.6417 | 0.32932 | 0.088486 | 0.049322 | -0.75196 | -0.80129
22 | YES | 10.0861 | 0.28391 | 0.017845 | 0.073908 | -0.72915 | -0.80306
22 | NO | 3.3753 | 0.28859 | 0.029436 | 0.05859 | -0.7315 | -0.79009
22 | NO | 3.3175 | 0.28854 | 0.029551 | 0.068537 | -0.73147 | -0.80001
23 | YES | 10.0869 | 1.38 | 0.54039 | -5.78 | -1.2798 | 4.5002
23 | NO | 3.4692 | 7.4812 | 1.6831 | 4.1912 | -4.3452 | -8.5365
23 | NO | 3.4692 | 7.4812 | 1.6831 | -8.5788 | -4.3452 | 4.2335
24 | YES | 10.2351 | 3.7113 | 0.45934 | -1.4387 | -2.4512 | -1.0125
24 | NO | 3.0918 | 10.3941 | 0.77897 | -3.5259 | -5.8087 | -2.2828
24 | NO | 3.0918 | 10.3941 | 0.77897 | -4.5159 | -5.8087 | -1.2928
25 | YES | 7.8125 | 14.7492 | 0.23264 | -0.46082 | -7.9968 | -7.536
25 | YES | 5.8418 | 14.7876 | 0.19746 | -9.0024 | -8.0161 | 0.98633
25 | NO | 3.6682 | 14.8624 | 0.0054532 | -12.0776 | -8.0537 | 4.0239
26 | YES | 10.1642 | 4.4575 | 0.32847 | -3.1825 | -2.8261 | 0.35639
26 | NO | 3.3148 | 9.3969 | 1.5379 | -2.4131 | -5.3077 | -2.8946
26 | NO | 3.3148 | 9.3969 | 1.5379 | -6.1431 | -5.3077 | 0.83537
27 | YES | 10.0441 | 10.1989 | 0.2977 | -15.9511 | -5.7106 | 10.2405
27 | NO | 3.6131 | 14.8643 | 0.0011386 | -12.4357 | -8.0546 | 4.3811
27 | NO | 3.6131 | 14.8643 | 0.0011386 | -12.3757 | -8.0546 | 4.3211
28 | YES | 10.2362 | 4.4775 | 0.25542 | -1.8025 | -2.8361 | -1.0336
28 | NO | 3.0475 | 9.3917 | 0.8096 | -4.2383 | -5.3051 | -1.0668
28 | NO | 3.0475 | 9.3917 | 0.8096 | -5.3983 | -5.3051 | 0.093196
29 | YES | 9.9076 | 2.8438 | 0.23016 | 0.35377 | -2.0153 | -2.369
29 | NO | 3.1745 | 5.5716 | 1.7932 | -0.35845 | -3.3858 | -3.0273
29 | NO | 3.1745 | 5.5716 | 1.7932 | -1.1084 | -3.3858 | -2.2773
30 | YES | 7.4877 | 3.0715 | 1.4936 | 1.6415 | -2.1297 | -3.7711
30 | YES | 5.3738 | 2.8896 | 1.2469 | -4.1604 | -2.0383 | 2.1221
30 | NO | 3.1629 | 3.5325 | 1.036 | 2.1725 | -2.3613 | -4.5338
31 | YES | 7.4355 | 10.4494 | 4.4344 | -2.0306 | -5.8365 | -3.8059
31 | YES | 5.4518 | 11.8676 | 4.1412 | -10.7924 | -6.549 | 4.2434
31 | NO | 3.2662 | 14.7842 | 0.20947 | -5.4758 | -8.0144 | -2.5386
32 | YES | 7.503 | 2.1619 | 0.33005 | -0.47809 | -1.6727 | -1.1946
32 | YES | 5.5671 | 2.2639 | 0.31291 | -1.0761 | -1.7239 | -0.64784
32 | NO | 3.4219 | 2.4491 | 0.15294 | -1.1109 | -1.817 | -0.70605
33 | YES | 10.0586 | 7.0035 | 0.59458 | -3.9465 | -4.1052 | -0.15877
33 | NO | 2.9766 | 4.3823 | 1.071 | -4.7477 | -2.7883 | 1.9594
33 | NO | 2.6258 | 4.2445 | 0.88386 | -1.4555 | -2.719 | -1.2635
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
YES
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
YES
NO
YES
YES
NO
YES
YES
NO
YES
NO
NO
FIT vs. Pressure
FIT vs. FLUOR
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | CHL | FLUOR |  | FLUOR - CHL
Average Size: | 5
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | CHL | FLUOR | FLUOR | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2003-15-0002 | 2003-15-0002 | 121 | 29.801 | 29.8007 | 0.23805 | -0.00032234 | 1.19 | 0.65607 | 0.089254 | -0.53393
2003-15-0002 | 2003-15-0002 | 363 | 5.044 | 4.5963 | 2.382 | -0.44771 | 20.81 | 13.3154 | 2.2505 | -7.4947
2003-15-0002 | 2003-15-0002 | 242 | 1.51 | 3.2772 | 1.7968 | 1.7672 | 21.02 | 14.8632 | 0.0049947 | -6.1568
2003-15-0004 | 2003-15-0004 | 121 | 50.61 | 50.6097 | 0.15281 | -0.00033188 | 0.69 | 0.37097 | 0.04044 | -0.31903
2003-15-0004 | 2003-15-0004 | 299 | 4.787 | 4.7305 | 2.6452 | -0.056525 | 17.12 | 14.1318 | 0.77279 | -2.9882
2003-15-0004 | 2003-15-0004 | 242 | 2.346 | 3.5662 | 1.2292 | 1.2202 | 16.91 | 14.095 | 0.80704 | -2.815
2003-15-0008 | 2003-15-0008 | 121 | 19.298 | 19.298 | 0.27949 | -2.4796e-05 | 5.43 | 3.0612 | 0.48011 | -2.3688
2003-15-0008 | 2003-15-0008 | 296 | 5.312 | 4.7318 | 2.9258 | -0.58015 | 7.3 | 5.2004 | 0.69806 | -2.0996
2003-15-0008 | 2003-15-0008 | 242 | 1.834 | 3.5728 | 1.7547 | 1.7388 | 7.35 | 5.0045 | 0.57386 | -2.3455
2003-15-0013 | 2003-15-0013 | 242 | 24.339 | 25.4609 | 1.1537 | 1.1219 | 1.22 | 0.65443 | 0.11844 | -0.56557
2003-15-0013 | 2003-15-0013 | 316 | 4.998 | 4.931 | 2.9759 | -0.067048 | 11.7 | 6.4042 | 2.2131 | -5.2958
2003-15-0013 | 2003-15-0013 | 242 | 1.957 | 3.4772 | 1.584 | 1.5202 | 10.06 | 5.5881 | 1.8113 | -4.4719
2003-15-0034 | 2003-15-0034 | 121 | 19.692 | 19.692 | 0.23594 | -4.0054e-05 | 1.4 | 1.3907 | 0.16901 | -0.0093141
2003-15-0034 | 2003-15-0034 | 242 | 2.757 | 2.2384 | 0.61022 | -0.51865 | 3.68 | 3.3977 | 0.27178 | -0.28228
2003-15-0034 | 2003-15-0034 | 242 | 1.72 | 2.2384 | 0.61022 | 0.51836 | 3.51 | 3.3977 | 0.27178 | -0.11228
2003-15-0036 | 2003-15-0036 | 121 | 19.681 | 19.6812 | 1.0721 | 0.00021553 | 2.36 | 2.2046 | 0.25088 | -0.15535
2003-15-0036 | 2003-15-0036 | 355 | 4.658 | 5.2093 | 3.1398 | 0.55131 | 4.04 | 3.5699 | 0.39397 | -0.47007
2003-15-0036 | 2003-15-0036 | 242 | 1.795 | 3.2268 | 1.439 | 1.4318 | 3.71 | 3.6025 | 0.4312 | -0.1075
2003-15-0040 | 2003-15-0040 | 121 | 22.441 | 22.4412 | 0.28147 | 0.0001812 | 0.41 | 0.65732 | 0.03745 | 0.24732
2003-15-0040 | 2003-15-0040 | 242 | 5.867 | 4.3336 | 1.5403 | -1.5333 | 0.43 | 0.81693 | 0.033502 | 0.38693
2003-15-0040 | 2003-15-0040 | 242 | 2.801 | 4.3336 | 1.5403 | 1.5327 | 0.48 | 0.81693 | 0.033502 | 0.33693
2003-15-0042 | 2003-15-0042 | 121 | 21.804 | 21.8037 | 0.76523 | -0.00033188 | 0.82 | 1.449 | 0.045947 | 0.62905
2003-15-0042 | 2003-15-0042 | 363 | 5.576 | 5.493 | 2.8192 | -0.083008 | 0.53 | 0.67482 | 0.063669 | 0.14482
2003-15-0042 | 2003-15-0042 | 242 | 2.087 | 3.8317 | 1.8153 | 1.7447 | 0.53 | 0.69935 | 0.045568 | 0.16936
2003-15-0046 | 2003-15-0046 | 121 | 20.308 | 20.3078 | 0.15831 | -0.00024033 | 0.54 | 0.74909 | 0.043587 | 0.20909
2003-15-0046 | 2003-15-0046 | 242 | 4.469 | 3.5195 | 0.98722 | -0.94954 | 0.64 | 0.73921 | 0.074727 | 0.099211
2003-15-0046 | 2003-15-0046 | 242 | 2.57 | 3.5195 | 0.98722 | 0.94946 | 0.58 | 0.73921 | 0.074727 | 0.15921
2003-15-0056 | 2003-15-0056 | 121 | 19.996 | 19.9963 | 0.26896 | 0.0003376 | 3.38 | 4.3667 | 0.1279 | 0.98668
2003-15-0056 | 2003-15-0056 | 263 | 4.467 | 3.9364 | 1.8713 | -0.53058 | 0.79 | 0.57855 | 0.15731 | -0.21145
2003-15-0056 | 2003-15-0056 | 242 | 2.476 | 3.4717 | 1.0439 | 0.99568 | 0.8 | 0.53275 | 0.021852 | -0.26725
2003-15-0060 | 2003-15-0060 | 121 | 19.795 | 19.7945 | 0.44388 | -0.00047874 | 4.35 | 3.5471 | 0.62136 | -0.80289
2003-15-0060 | 2003-15-0060 | 242 | 3.928 | 3.3279 | 0.63595 | -0.60007 | 0.41 | 0.34866 | 0.13544 | -0.061339
2003-15-0060 | 2003-15-0060 | 242 | 2.727 | 3.3279 | 0.63595 | 0.60093 | 0.95 | 0.34866 | 0.13544 | -0.60134
2003-15-0064 | 2003-15-0064 | 121 | 53.474 | 53.4743 | 0.28493 | 0.00033951 | 1.35 | 0.34549 | 0.052222 | -1.0045
2003-15-0064 | 2003-15-0064 | 121 | 19.654 | 19.654 | 0.27518 | 4.1962e-05 | 0.34 | 1.0508 | 0.15779 | 0.71083
2003-15-0064 | 2003-15-0064 | 314 | 4.132 | 4.5886 | 2.5071 | 0.45661 | 0.34 | 0.35628 | 0.046526 | 0.016277
2003-15-0070 | 2003-15-0070 | 121 | 18.894 | 18.8939 | 0.21025 | -4.9591e-05 | 1.3 | 1.0699 | 0.23284 | -0.23005
2003-15-0070 | 2003-15-0070 | 363 | 5.354 | 5.8426 | 3.1569 | 0.48861 | 4.62 | 4.867 | 0.67053 | 0.24702
2003-15-0074 | 2003-15-0074 | 121 | 20.12 | 20.1203 | 0.079215 | 0.00026321 | 7.61 | 5.5216 | 0.55314 | -2.0884
2003-15-0074 | 2003-15-0074 | 301 | 4.541 | 4.4355 | 2.5663 | -0.10547 | 1.55 | 1.8974 | 0.36641 | 0.34736
2003-15-0074 | 2003-15-0074 | 242 | 2.06 | 3.3004 | 1.2595 | 1.2404 | 1.54 | 1.7849 | 0.27667 | 0.24489
2003-15-0079 | 2003-15-0079 | 121 | 19.839 | 19.8389 | 0.056162 | -5.722e-05 | 1.02 | 0.7329 | 0.312 | -0.2871
2003-15-0079 | 2003-15-0079 | 298 | 4.985 | 4.6243 | 2.8559 | -0.36069 | 3.48 | 1.7767 | 0.36087 | -1.7033
2003-15-0079 | 2003-15-0079 | 242 | 1.877 | 3.431 | 1.562 | 1.554 | 3.26 | 1.7075 | 0.24743 | -1.5525
2003-15-0086 | 2003-15-0086 | 121 | 20.462 | 20.4621 | 0.16472 | 5.722e-05 | 0.62 | 0.46578 | 0.084468 | -0.15422
2003-15-0086 | 2003-15-0086 | 319 | 5.406 | 5.1089 | 3.3282 | -0.29706 | 1.85 | 0.81393 | 0.17166 | -1.0361
2003-15-0086 | 2003-15-0086 | 242 | 1.574 | 3.4898 | 1.9255 | 1.9158 | 1.84 | 0.78088 | 0.18099 | -1.0591
2003-15-0091 | 2003-15-0091 | 242 | 4.902 | 3.5252 | 1.3824 | -1.3768 | 0.7 | 0.56993 | 0.060817 | -0.13007
2003-15-0091 | 2003-15-0091 | 242 | 2.148 | 3.5252 | 1.3824 | 1.3772 | 0.69 | 0.56993 | 0.060817 | -0.12007
2003-15-0093 | 2003-15-0093 | 121 | 19.93 | 19.9297 | 0.26485 | -0.00031471 | 1.05 | 1.5362 | 0.040821 | 0.48625
2003-15-0093 | 2003-15-0093 | 242 | 3.179 | 2.5695 | 0.6629 | -0.60953 | 1.41 | 1.2377 | 0.044183 | -0.17233
2003-15-0093 | 2003-15-0093 | 242 | 1.96 | 2.5695 | 0.6629 | 0.60947 | 1.41 | 1.2377 | 0.044183 | -0.17233
2003-15-0156 | 2003-15-0156 | 147 | 9.952 | 9.0746 | 1.8994 | -0.87737 | 4.37 | 2.5957 | 0.74437 | -1.7743
2003-15-0156 | 2003-15-0156 | 271 | 4.942 | 3.9536 | 2.6182 | -0.98842 | 5.33 | 2.6176 | 0.54286 | -2.7124
2003-15-0156 | 2003-15-0156 | 242 | 1.539 | 3.2405 | 1.7055 | 1.7015 | 5.95 | 2.6182 | 0.51489 | -3.3318
2003-15-0161 | 2003-15-0161 | 121 | 10.224 | 10.224 | 0.027925 | -8.5831e-06 | 3.93 | 1.8924 | 0.4166 | -2.0376
2003-15-0161 | 2003-15-0161 | 242 | 5.044 | 3.3571 | 1.6911 | -1.6869 | 3.13 | 1.8042 | 0.38979 | -1.3258
2003-15-0161 | 2003-15-0161 | 242 | 1.67 | 3.3571 | 1.6911 | 1.687 | 3.04 | 1.8042 | 0.38979 | -1.2358
2003-15-0165 | 2003-15-0165 | 121 | 10.441 | 10.4407 | 0.030466 | -0.00028133 | 0.34 | 0.31537 | 0.053477 | -0.024628
2003-15-0165 | 2003-15-0165 | 242 | 5.21 | 3.6417 | 1.572 | -1.5683 | 0.29 | 0.32932 | 0.088486 | 0.039322
2003-15-0165 | 2003-15-0165 | 242 | 2.073 | 3.6417 | 1.572 | 1.5687 | 0.28 | 0.32932 | 0.088486 | 0.049322
2003-15-0167 | 2003-15-0167 | 130 | 10.432 | 10.0861 | 1.2715 | -0.34586 | 0.21 | 0.28391 | 0.017845 | 0.073908
2003-15-0167 | 2003-15-0167 | 244 | 5.387 | 3.3753 | 2.1614 | -2.0117 | 0.23 | 0.28859 | 0.029436 | 0.05859
2003-15-0167 | 2003-15-0167 | 242 | 1.248 | 3.3175 | 2.074 | 2.0695 | 0.22 | 0.28854 | 0.029551 | 0.068537
2003-15-0172 | 2003-15-0172 | 122 | 10.128 | 10.0869 | 0.45312 | -0.041107 | 7.16 | 1.38 | 0.54039 | -5.78
2003-15-0172 | 2003-15-0172 | 242 | 5.043 | 3.4692 | 1.5774 | -1.5738 | 3.29 | 7.4812 | 1.6831 | 4.1912
2003-15-0172 | 2003-15-0172 | 242 | 1.895 | 3.4692 | 1.5774 | 1.5742 | 16.06 | 7.4812 | 1.6831 | -8.5788
2003-15-0177 | 2003-15-0177 | 121 | 10.235 | 10.2351 | 0.022223 | 5.8174e-05 | 5.15 | 3.7113 | 0.45934 | -1.4387
2003-15-0177 | 2003-15-0177 | 242 | 4.693 | 3.0918 | 1.6042 | -1.6012 | 13.92 | 10.3941 | 0.77897 | -3.5259
2003-15-0177 | 2003-15-0177 | 242 | 1.491 | 3.0918 | 1.6042 | 1.6008 | 14.91 | 10.3941 | 0.77897 | -4.5159
2003-15-0183 | 2003-15-0183 | 242 | 10.189 | 7.8125 | 2.3815 | -2.3765 | 15.21 | 14.7492 | 0.23264 | -0.46082
2003-15-0183 | 2003-15-0183 | 363 | 5.436 | 5.8418 | 3.4007 | 0.40579 | 23.79 | 14.7876 | 0.19746 | -9.0024
2003-15-0183 | 2003-15-0183 | 242 | 1.9 | 3.6682 | 1.7718 | 1.7682 | 26.94 | 14.8624 | 0.0054532 | -12.0776
2003-15-0187 | 2003-15-0187 | 121 | 10.164 | 10.1642 | 0.024791 | 0.00019074 | 7.64 | 4.4575 | 0.32847 | -3.1825
2003-15-0187 | 2003-15-0187 | 242 | 4.997 | 3.3148 | 1.6862 | -1.6822 | 11.81 | 9.3969 | 1.5379 | -2.4131
2003-15-0187 | 2003-15-0187 | 242 | 1.633 | 3.3148 | 1.6862 | 1.6818 | 15.54 | 9.3969 | 1.5379 | -6.1431
2003-15-0189 | 2003-15-0189 | 121 | 10.044 | 10.0441 | 0.025836 | 9.1553e-05 | 26.15 | 10.1989 | 0.2977 | -15.9511
2003-15-0189 | 2003-15-0189 | 242 | 4.695 | 3.6131 | 1.0869 | -1.0819 | 27.3 | 14.8643 | 0.0011386 | -12.4357
2003-15-0189 | 2003-15-0189 | 242 | 2.531 | 3.6131 | 1.0869 | 1.0821 | 27.24 | 14.8643 | 0.0011386 | -12.3757
2003-15-0191 | 2003-15-0191 | 121 | 10.236 | 10.2362 | 0.021671 | 0.00023174 | 6.28 | 4.4775 | 0.25542 | -1.8025
2003-15-0191 | 2003-15-0191 | 242 | 4.283 | 3.0475 | 1.2389 | -1.2355 | 13.63 | 9.3917 | 0.8096 | -4.2383
2003-15-0191 | 2003-15-0191 | 242 | 1.812 | 3.0475 | 1.2389 | 1.2355 | 14.79 | 9.3917 | 0.8096 | -5.3983
2003-15-0193 | 2003-15-0193 | 121 | 9.908 | 9.9076 | 0.024148 | -0.00038815 | 2.49 | 2.8438 | 0.23016 | 0.35377
2003-15-0193 | 2003-15-0193 | 242 | 4.74 | 3.1745 | 1.5686 | -1.5655 | 5.93 | 5.5716 | 1.7932 | -0.35845
2003-15-0193 | 2003-15-0193 | 242 | 1.609 | 3.1745 | 1.5686 | 1.5655 | 6.68 | 5.5716 | 1.7932 | -1.1084
2003-15-0196 | 2003-15-0196 | 242 | 9.796 | 7.4877 | 2.3129 | -2.3083 | 1.43 | 3.0715 | 1.4936 | 1.6415
2003-15-0196 | 2003-15-0196 | 363 | 5.18 | 5.3738 | 3.5389 | 0.19384 | 7.05 | 2.8896 | 1.2469 | -4.1604
2003-15-0196 | 2003-15-0196 | 242 | 1.146 | 3.1629 | 2.0212 | 2.0169 | 1.36 | 3.5325 | 1.036 | 2.1725
2003-15-0199 | 2003-15-0199 | 242 | 9.823 | 7.4355 | 2.3925 | -2.3875 | 12.48 | 10.4494 | 4.4344 | -2.0306
2003-15-0199 | 2003-15-0199 | 363 | 5.048 | 5.4518 | 3.421 | 0.40377 | 22.66 | 11.8676 | 4.1412 | -10.7924
2003-15-0199 | 2003-15-0199 | 242 | 1.484 | 3.2662 | 1.7857 | 1.7822 | 20.26 | 14.7842 | 0.20947 | -5.4758
2003-15-0200 | 2003-15-0200 | 242 | 9.858 | 7.503 | 2.3595 | -2.355 | 2.64 | 2.1619 | 0.33005 | -0.47809
2003-15-0200 | 2003-15-0200 | 363 | 5.149 | 5.5671 | 3.3501 | 0.41809 | 3.34 | 2.2639 | 0.31291 | -1.0761
2003-15-0200 | 2003-15-0200 | 242 | 1.695 | 3.4219 | 1.7305 | 1.7269 | 3.56 | 2.4491 | 0.15294 | -1.1109
2003-15-0201 | 2003-15-0201 | 122 | 10.099 | 10.0586 | 0.45032 | -0.040426 | 10.95 | 7.0035 | 0.59458 | -3.9465
2003-15-0201 | 2003-15-0201 | 381 | 5.059 | 2.9766 | 2.306 | -2.0823 | 9.13 | 4.3823 | 1.071 | -4.7477
2003-15-0201 | 2003-15-0201 | 363 | 1.414 | 2.6258 | 1.7231 | 1.2118 | 5.7 | 4.2445 | 0.88386 | -1.4555
Create Fit Sheet