File List for SeaBird Data

Cruise Number: _2003-16____

[osapcommon.cruise_data.2003-16.ctd]

*.con - 		original files from SeaSave

*.dat -      		“

*.hdr -			“

[osapcommon.cruise_data.2003-16.ctd.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon.cruise_data.2003-16.ctd.derive]

*.cnv - data after running WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon.cruise_data.2003-16.ctd.hydro]

2003-16sal-1.csv – part 1 spreadsheet of salinity bottle data from analyst

2003-16sal-2.csv – part 2 spreadsheet of salinity bottle data from analyst

2003-16sal.csv – combo of 2 spreadsheets of salinity bottle data from analyst

2003-16-sal-cor-pr.csv – above spreadsheet with pressures corrected to match CTD maxima.

Nutrient Summary 2003-16.xls – nutrient data from anaylst

2003-16-salcomp1.csv & xls – comparison of Niskin bottle samples with CTD salinity data

2003-16 nuts-flag.xls – nutrient bottle data with flags added.

*.sal – individual cast files with salinity bottle data converted from 2003-16-sal-cor-pr.csv

[osapcommon.cruise_data.2003-16.ctd.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log and lo&- log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon.cruise_data.2003-16.ctd.doc]

2003-16_proc.doc - processing notes

2003-16_file.doc - this document

2003-16-recal.ccf – calibration control file

2003-16.hdr– header files used to add comments to the headers of the CTD files

[osapcommon.cruise_data.2003-16.salinity] – files from analyst

The following folders were not used in processing:

[osapcommon.cruise_data.2003-16.cdaq]

[osapcommon.cruise_data.2003-16.CTD locations] -

[osapcommon.cruise_data.2003-16.dso files] –

[osapcommon.cruise_data.2003-16.EK CAL CTDs] –