# Percent Content of Little Diomede Nutrient Analysis Waste

| Sea Water | 44.7 |
| --- | --- |
| Imidazole Reagent | 22.9 |
| Sulfanilamide Reagent | 4.4 |
| N- (1- napthyl)ethylene-diamine Dihydrochloride Reagent (NEDA) | 1.5 |
| Molybdic Acid Reagent | 1.7 |
| Ascorbic Acid Reagent | 1.2 |
| 1.2 M (10%) Hydrochloric Acid Reagent | 11.4 |
| 1.0 M Sodium Hydroxide Reagent | 6.9 |
| Deionized water Reagent | 4.5 |
| 0-phtaldialdehyde (OPA) Reagent | 0.7 |

## Reagent Contents

Imidazole Reagent:  6.8g imidazole + 3.75 g ammonium chloride + 0.75 mg copper sulfate in 1.0 Liters of deionized water (DIW)

Sulfanilamide Reagent: 10g sulfanilamide in 1.0 Liters of 1.2 M (10%) hydrochloric acid

NEDA: 1.0g N- (1- napthyl)ethylene-diamine dihydrochloride in 1 liter of DIW

Molybdic Acid Reagent: 4.8 g ammonium molybdate + 0.084g potassium antimony tartrate in 1 liter of 2.0 M (11%) sulfuric acid

Ascorbic Acid Reagent: 8.4g ascorbic acid in 1 liter of DIW

OPA Reagent: 0.36g 0-phtaldialdehyde + 10 ml ethanol + 0.016g sodium sulfite + 30g sodium borate in 1 liter of DIW