## overview of workbook
Sheets in this workbook :
overview of workbook --> this sheet --> summarizes contents of workbook
cast notes --> use this sheet as daily log to document any problems or observations with the casts, sampling, equipment etc
printout logsheet --> log sheet to printoout for the rosette sampling --> legal size paper
electronic sample log --> for keeping electronic log of rosette samping
2003-xx chem --> this sheet is for assembling the chemical data analyzed onboard
samples - volumes --> estimate of sample volume draw off the rosette bottles
March 24 2004
Salinity samples were analysed and entered by Bernard Minkley in January, 2004
Portasal serial number 59724 used in the temperature controlled room at IOS
Bernards report is in Fiona/2003
Linda White analyzed the frozen nutrients
Analysis date:Feb.24, 25, 26 and March 1, 2004
file 2003_19and18nutrfinal.xls

## cast notes
Use this sheet to make notes that are specific to particular casts eg bottle integrity, problems with spigots, concerns with contamination, any repairs or changes made to bottles, problems with bottle closure etc
Note - cells set up to wrap around
Cast # | Comments on the casts :
1 | Bottle 10 was swapped out before cast and replaced with a 5l. It's nylon locking shaft had broken. The replacement bottle leaked slightly
2 | No salinity calibration sample taken because I forgot to close the air valve.
3 | Bottle 10 repaired and returned - no bottle integrity problems.
4
5 | Extra bottle taken at bottom of cast (bottle 2) for seawater collection for the lab.
6
7
8
9
10
11
12
13
14
15 | Surface bottle taken on short extra cast 15a
16
17
18 | Bottle 3 did not fire. Checked out on deck - fired OK
19
20
21
22 | Bottle 11 leaked slightly
23 | Bottom contact switch installed, DO sensor did not work
24
25 | Casts before this had 2001 calibration values for T,P and C - this one and after have the latest calibrations.
26
27 | Bottle 11 leaked badly - reseated O-ring
29
30
31 | Salinity calibration sample at 28m - no rosette sheet
32 | Salinity calibration sample at 41m - no rosette sheet
33 | Duplicate salinity calibration sample at 41m - no rosette sheet
34
35
36
38
40
41
42
43
44

## printout logsheet
Rosette sampling log: Mission 2003 -18 | [7 empty] | Vessel: | CCGS Sir Wilfrid Laurier
| Event # | [5 empty] | Water depth | [5 empty] | Date
| Station | [5 empty] | Cast depth | [5 empty] | Local time (Time Zone)
| Latitude | [5 empty] | Longitude | [5 empty] | UTC time (start)
Cast # | Stn | Samp # | nom. Press | Trip Press | ROS BOT # | BOTTLE INTEGRITY | SAL | SAL DUP | NUTS | NUTS DUP | O18 | Ba
1
2
3
4
5
6
7
8
9
10
11
12
Comments :

## electronic sample log
Count --> | [5 empty] | 311 | 56 | 8 | 29 | 29 | 29 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2003-18 CHEM ISTRY DATA |  |  |  |  | GEOCHEMISTRY
ok | Cast # | Stn | Samp # | Raw Nom Press | ROS BOT # | BOTTLE INTEGRITY | SAL | SAL DUP | NUTS | NUTS DUP | O18 | Ba
| 1 | BS-1 | 1 | 500 | 1 | ok
|  |  | 2 | 250 | 2 | ok
|  |  | 3 | 150 | 3 | ok | x
|  |  | 4 | 100 | 4 | ok
|  |  | 5 | 75 | 5 | ok
|  |  | 6 | 50 | 6 | ok
|  |  | 7 | 30 | 7 | ok
|  |  | 8 | 20 | 8 | ok
|  |  | 9 | 15 | 9 | ok
|  |  | 10 | 10 | 10 | x
|  |  | 11 | 5 | 11 | ok
|  |  | 12 | 1 | 12 | ok
| 2 | BS-2 | 13 | 994 | 1 | ok
| 3 | BS-3 | 14 | 500 | 1 | ok | x
|  |  | 15 | 250 | 2 | ok
|  |  | 16 | 150 | 3 | ok
|  |  | 17 | 100 | 4 | ok
|  |  | 18 | 75 | 5 | ok
|  |  | 19 | 50 | 6 | ok
|  |  | 20 | 25 | 7 | ok
|  |  | 21 | 20 | 8 | ok
|  |  | 22 | 15 | 9 | ok
|  |  | 23 | 10 | 10 | ok
|  |  | 24 | 5 | 11 | ok
|  |  | 25 | 1 | 12 | ok
| 4 | BS-4 | 26 | 100 | 1 | ok | x
| 5 | BS-5 | 27 | 128 | 1 | ok | x
|  |  | 28 | 100 | 3 | ok
|  |  | 29 | 75 | 4 | ok
|  |  | 30 | 50 | 5 | ok
|  |  | 31 | 30 | 6 | ok
|  |  | 32 | 20 | 7 | ok
|  |  | 33 | 15 | 8 | ok
|  |  | 34 | 10 | 9 | ok
|  |  | 35 | 5 | 10 | ok
|  |  | 36 | 1 | 11 | ok
| 6 | BS-6 | 37 | 103 | 1 | ok | x
|  |  | 38 | 70 | 2 | ok
|  |  | 39 | 60 | 3 | ok
|  |  | 40 | 50 | 4 | ok
|  |  | 41 | 40 | 5 | ok
|  |  | 42 | 30 | 6 | ok
|  |  | 43 | 25 | 7 | ok
|  |  | 44 | 20 | 8 | ok
|  |  | 45 | 15 | 9 | ok
|  |  | 46 | 10 | 10 | ok
|  |  | 47 | 5 | 11 | ok
|  |  | 48 | 1 | 12 | ok
| 7 | SLIP1 | 49 | 78 | 1 | ok
|  |  | 50 | 78 | 2 | ok
|  |  | 51 | 60 | 3 | ok | x
|  |  | 52 | 49 | 4 | ok
|  |  | 53 | 39 | 5 | ok
|  |  | 54 | 29 | 6 | ok
|  |  | 55 | 25 | 7 | ok
|  |  | 56 | 20 | 8 | ok
|  |  | 57 | 15 | 9 | ok
|  |  | 58 | 10 | 10 | ok
|  |  | 59 | 5 | 11 | ok
|  |  | 60 | 1 | 12 | ok
| 8 | SLIP2 | 61 | 78 | 1 | ok | x
|  |  | 62 | 78 | 2 | ok
|  |  | 63 | 60 | 3 | ok
|  |  | 64 | 49 | 4 | ok
|  |  | 65 | 39 | 5 | ok
|  |  | 66 | 29 | 6 | ok
|  |  | 67 | 25 | 7 | ok
|  |  | 68 | 20 | 8 | ok
|  |  | 69 | 15 | 9 | ok
|  |  | 70 | 10 | 10 | ok
|  |  | 71 | 5 | 11 | ok
|  |  | 72 | 1 | 12 | ok
| 9 | NBS | 73 | 29 | 1 | ok
|  |  | 74 | 24 | 2 | ok
|  |  | 75 | 21 | 3 | ok
|  |  | 76 | 14 | 4 | ok
| 10 | SLIP3 | 77 | 68 | 1 | ok
|  |  | 78 | 68 | 2 | ok
|  |  | 79 | 60 | 3 | ok | x
|  |  | 80 | 50 | 4 | ok
|  |  | 81 | 34 | 5 | ok
|  |  | 82 | 30 | 6 | ok
|  |  | 83 | 24 | 7 | ok
|  |  | 84 | 20 | 8 | ok
|  |  | 85 | 15 | 9 | ok
|  |  | 86 | 10 | 10 | ok
|  |  | 87 | 5 | 11 | ok
|  |  | 88 | 1 | 12 | ok
| 11 | SLIP5 | 89 | 64 | 1 | ok
|  |  | 90 | 64 | 2 | ok
|  |  | 91 | 59 | 3 | ok | x | x
|  |  | 92 | 50 | 4 | ok
|  |  | 93 | 41 | 5 | ok
|  |  | 94 | 31 | 6 | ok
|  |  | 95 | 25 | 7 | ok
|  |  | 96 | 19 | 8 | ok
|  |  | 97 | 14 | 9 | ok
|  |  | 98 | 10 | 10 | ok
|  |  | 99 | 5 | 11 | ok
|  |  | 100 | 1 | 12 | ok
| 12 | SLIP4 | 101 | 68 | 1 | ok
|  |  | 102 | 68 | 2 | ok
|  |  | 103 | 59 | 3 | ok | x
|  |  | 104 | 50 | 4 | ok
|  |  | 105 | 36 | 5 | ok
|  |  | 106 | 30 | 6 | ok
|  |  | 107 | 24 | 7 | ok
|  |  | 108 | 20 | 8 | ok
|  |  | 109 | 14 | 9 | ok
|  |  | 110 | 10 | 10 | ok
|  |  | 111 | 5 | 11 | ok
|  |  | 112 | 1 | 12 | ok
| 13 | BCS6 | 113 | 52 | 1 | ok
|  |  | 114 | 40 | 2 | ok | x
|  |  | 115 | 30 | 3 | ok
|  |  | 116 | 25 | 4 | ok
|  |  | 117 | 18 | 5 | ok
|  |  | 118 | 18 | 6 | ok
|  |  | 119 | 18 | 7 | ok
|  |  | 120 | 15 | 8 | ok
|  |  | 121 | 10 | 9 | ok
|  |  | 122 | 5 | 10 | ok
|  |  | 123 | 1 | 11 | ok
| 14 | UT-BS5 | 124 | 44 | 1 | ok
|  |  | 125 | 44 | 2 | ok
|  |  | 126 | 40 | 3 | ok
|  |  | 127 | 34 | 4 | ok
|  |  | 128 | 30 | 5 | ok | x
|  |  | 129 | 25 | 6 | ok
|  |  | 130 | 20 | 7 | ok
|  |  | 131 | 13 | 8 | ok
|  |  | 132 | 13 | 9 | ok
|  |  | 133 | 11 | 10 | ok
|  |  | 134 | 4 | 11 | ok
|  |  | 135 | 1 | 12 | ok
| 15 | UT-BS2 | 136 | 41 | 1 | ok | x
|  |  | 137 | 41 | 2 | ok
|  |  | 138 | 33 | 3 | ok
|  |  | 139 | 30 | 4 | ok
|  |  | 140 | 25 | 5 | ok
|  |  | 141 | 25 | 6 | ok
|  |  | 142 | 20 | 7 | ok
|  |  | 143 | 15 | 8 | ok
|  |  | 144 | 10 | 9 | ok
|  |  | 145 | 6 | 10 | ok
|  |  | 146 | 1 | 11 | ok
| 16 | UT-BS4 | 147 | 47 | 1 | ok
|  |  | 148 | 47 | 2 | ok
|  |  | 149 | 39 | 3 | ok | x
|  |  | 150 | 34 | 4 | ok
|  |  | 151 | 30 | 5 | ok
|  |  | 152 | 25 | 6 | ok
|  |  | 153 | 25 | 7 | ok
|  |  | 154 | 20 | 8 | ok
|  |  | 155 | 15 | 9 | ok
|  |  | 156 | 10 | 10 | ok
|  |  | 157 | 5 | 11 | ok
|  |  | 158 | 1 | 12 | ok
| 17 | UT-BS1 | 159 | 45 | 1 | ok
|  |  | 160 | 45 | 2 | ok
|  |  | 161 | 40 | 3 | ok | x
|  |  | 162 | 34 | 4 | ok
|  |  | 163 | 30 | 5 | ok
|  |  | 164 | 26 | 6 | ok
|  |  | 165 | 26 | 7 | ok
|  |  | 166 | 19 | 8 | ok
|  |  | 167 | 16 | 9 | ok
|  |  | 168 | 10 | 10 | ok
|  |  | 169 | 4 | 11 | ok
|  |  | 170 | 1 | 12 | ok
| 18 | BRS1 | 171 | 35 | 1 | ok | x |  | x | x | x | x
|  |  | 172 | 35 | 2 | ok
|  |  | 173 | ns | 3 | ok
|  |  | 174 | 25 | 4 | ok | x |  | x | x | x | x
|  |  | 175 | 20 | 5 | ok
|  |  | 176 | 15 | 6 | ok
|  |  | 177 | 10 | 7 | ok | x | x | x | x | x | x
|  |  | 178 | 5 | 8 | ok | x |  | x | x | x | x
|  |  | 179 | 1 | 9 | ok | x |  | x | x | x | x
| 19 | BRS2 | 180 | 44 | 1 | ok | x |  | x | x | x | x
|  |  | 181 | 44 | 2 | ok
|  |  | 182 | 35 | 3 | ok | x |  | x | x | x | x
|  |  | 183 | 30 | 4 | ok
|  |  | 184 | 25 | 5 | ok | x |  | x | x | x | x
|  |  | 185 | 20 | 6 | ok
|  |  | 186 | 15 | 7 | ok
|  |  | 187 | 10 | 8 | ok | x |  | x | x | x | x
|  |  | 188 | 5 | 9 | ok | x |  | x | x | x | x
|  |  | 189 | 1 | 10 | ok | x |  | x | x | x | x
| 20 | BRS3 | 190 | 47 | 1 | ok | x | x | x | x | x | x
|  |  | 191 | 47 | 2 | ok
|  |  | 192 | 40 | 3 | ok
|  |  | 193 | 34 | 4 | ok | x |  | x | x | x | x
|  |  | 194 | 30 | 5 | ok
|  |  | 195 | 24 | 6 | ok | x |  | x | x | x | x
|  |  | 196 | 20 | 7 | ok
|  |  | 197 | 14 | 8 | ok
|  |  | 198 | 10 | 9 | ok | x |  | x | x | x | x
|  |  | 199 | 5 | 10 | ok | x |  | x | x | x | x
|  |  | 200 | 1 | 11 | ok | x |  | x | x | x | x
| 21 | BRS4 | 201 | 47 | 1 | ok | x |  | x | x | x | x
|  |  | 202 | 47 | 2 | ok
|  |  | 203 | 40 | 3 | ok
|  |  | 204 | 34 | 4 | ok | x |  | x | x | x | x
|  |  | 205 | 30 | 5 | ok
|  |  | 206 | 25 | 6 | ok | x |  | x | x | x | x
|  |  | 207 | 19 | 7 | ok
|  |  | 208 | 15 | 8 | ok
|  |  | 209 | 10 | 9 | ok | x | x | x | x | x | x
|  |  | 210 | 5 | 10 | ok | x |  | x | x | x | x
|  |  | 211 | 1 | 11 | ok | x |  | x | x | x | x
| 22 | BRS5 | 212 | 44 | 1 | ok | x |  | x | x | x | x
|  |  | 213 | 44 | 2 | ok
|  |  | 214 | 41 | 3 | ok
|  |  | 215 | 34 | 4 | ok | x |  | x | x | x | x
|  |  | 216 | 30 | 5 | ok
|  |  | 217 | 25 | 6 | ok | x |  | x | x | x | x
|  |  | 218 | 20 | 7 | ok
|  |  | 219 | 15 | 8 | ok
|  |  | 220 | 10 | 9 | ok | x |  | x | x | x | x
|  |  | 221 | 6 | 10 | ok | x |  | x | x | x | x
|  |  | 222 | 1 | 11 | x | x |  | x | x | x | x
| 23 | UTN-1 | 223 | 28 | 1 | ok
|  |  | 224 | 28 | 2 | ok
|  |  | 225 | 24 | 3 | ok
|  |  | 226 | 20 | 4 | ok
|  |  | 227 | 20 | 5 | ok
|  |  | 228 | 14 | 6 | ok | x
|  |  | 229 | 10 | 7 | ok
|  |  | 230 | 5 | 8 | ok
|  |  | 231 | 1 | 9 | ok
| 24 | UTN-2 | 232 | 38 | 1 | ok
|  |  | 233 | 38 | 2 | ok
|  |  | 234 | 35 | 3 | ok | x
|  |  | 235 | 30 | 4 | ok
|  |  | 236 | 24 | 5 | ok
|  |  | 237 | 24 | 6 | ok
|  |  | 238 | 19 | 7 | ok
|  |  | 239 | 15 | 8 | ok
|  |  | 240 | 9 | 9 | ok
|  |  | 241 | 5 | 10 | ok
|  |  | 242 | 1 | 11 | ok
| 25 | UTN-3 | 243 | 43 | 1 | ok
|  |  | 244 | 43 | 2 | ok
|  |  | 245 | 40 | 3 | ok | x | x
|  |  | 246 | 34 | 4 | ok
|  |  | 247 | 30 | 5 | ok
|  |  | 248 | 24 | 6 | ok
|  |  | 249 | 20 | 7 | ok
|  |  | 250 | 20 | 8 | ok
|  |  | 251 | 15 | 9 | ok
|  |  | 252 | 10 | 10 | ok
|  |  | 253 | 5 | 11 | ok
|  |  | 254 | 1 | 12 | ok
| 26 | UTN-4 | 255 | 44 | 1 | ok
|  |  | 256 | 44 | 2 | ok
|  |  | 257 | 39 | 3 | ok
|  |  | 258 | 35 | 4 | ok | x
|  |  | 259 | 30 | 5 | ok
|  |  | 260 | 24 | 6 | ok
|  |  | 261 | 20 | 7 | ok
|  |  | 262 | 15 | 8 | ok
|  |  | 263 | 15 | 9 | ok
|  |  | 264 | 10 | 10 | ok
|  |  | 265 | 6 | 11 | ok
|  |  | 266 | 1 | 12 | ok
| 27 | UTN-5 | 267 | 44 | 1 | ok
|  |  | 268 | 44 | 2 | ok
|  |  | 269 | 40 | 3 | ok
|  |  | 270 | 34 | 4 | ok | x
|  |  | 271 | 30 | 5 | ok
|  |  | 272 | 25 | 6 | ok
|  |  | 273 | 25 | 7 | ok
|  |  | 274 | 20 | 8 | ok
|  |  | 275 | 15 | 9 | ok
|  |  | 276 | 10 | 10 | ok
|  |  | 277 | 5 | 11 | x
|  |  | 278 | 1 | 12 | ok
| 28 | UTN-6 | 279 | 43 | 1 | ok
|  |  | 280 | 43 | 2 | ok
|  |  | 281 | 41 | 3 | ok
|  |  | 282 | 35 | 4 | ok | x
|  |  | 283 | 30 | 5 | ok
|  |  | 284 | 25 | 6 | ok
|  |  | 285 | 20 | 7 | ok
|  |  | 286 | 20 | 8 | ok
|  |  | 287 | 15 | 9 | ok
|  |  | 288 | 10 | 10 | ok
|  |  | 289 | 5 | 11 | ok
|  |  | 290 | 1 | 12 | ok
| 29 | UTN-7 | 291 | 51 | 1 | ok
|  |  | 292 | 51 | 2 | ok
|  |  | 293 | 45 | 3 | ok | x
|  |  | 294 | 36 | 4 | ok
|  |  | 295 | 30 | 5 | ok
|  |  | 296 | 24 | 6 | ok
|  |  | 297 | 21 | 7 | ok
|  |  | 298 | 14 | 8 | ok
|  |  | 299 | 14 | 9 | ok
|  |  | 300 | 10 | 10 | ok
|  |  | 301 | 6 | 11 | ok
|  |  | 302 | 1 | 12 | ok
| 30 | BD-6 | 303 | 26 | 1 | ok
|  |  | 304 | 20 | 2 | ok
|  |  | 305 | 14 | 3 | ok
|  |  | 306 | 11 | 4 | ok
|  |  | 307 | 5 | 5 | ok | x
|  |  | 308 | 1 | 6 | ok
| 31 | CKS-1 | 309 | 28 | 1 | ok | x
| 32 | BD-7 | 310 | 41 | 1 | ok | x
| 33 | BD-8 | 311 | 41 | 1 | ok | x | x
312
313
314
315
316
317
318
319
320
321
322
323
324
325
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365
366
367
368
369
370
371

## 2003-18 chem
| no | no | no | no |  | no | no | no |  | no | no | no |  | no | no | yes | yes | yes | no | no | no | no | no | no | yes | yes | no | yes | yes | yes | yes | yes | yes | yes | no | yes | no | no | no |  | no | no | yes | no | no | yes | no | yes | yes | no | yes | yes | no
| EVENT NUMBER | STATION |  | START TIME |  | LATITUDE |  |  |  | LONGITUDE |  |  |  | WATER_DEPTH | CAST_DEPTH | Sample_Number | Pressure:Nominal | Bottle_Number | [6 empty] | Pressure:raw | Temperature:ctd:raw |  | Salinity:SBE:raw | Oxygen:Dissolved:SBE:raw | Fluorescence:CTD:raw | Transmissivity:raw | StdDev_Temp:raw | StdDev_Cond:raw | StdDev_Sal:raw |  | Salinity:Bottle:raw | [6 empty] | NO3-1-corr |  |  | NO3-2-corr |  | Silicate_1 | Silicate_2 |  | Orthophosphate_1 | Orthophosphate_2
|  |  |  | MM/DD/YYYY | HH:MM | [8 empty] | metres | dbars |  | db | [7 empty] | dbars | deg C |  | PSS-78 | mL/L | mg/m^3 | %/metre |  |  |  |  | PSS-78 | [6 empty] | umol/L |  |  | umol/L |  | umol/L | umol/L |  | umol/L | umol/L
| R4 | C |  |  |  | Lat:D,M,H |  |  |  | Lon:D,M,H |  |  |  | R4 | R4 | R4 | R4 | R4 | [6 empty] | R4 | R4 |  | R4 | R4 | R4 | R4 | R4 | R4 | R4 |  | R4 | [6 empty] | R4 |  |  | R4 |  | R4 | R4 |  | R4 | R4
| R4:F6.0 | C |  |  |  | Lat:D,M,H |  |  |  | Lon:D,M,H |  |  |  | R4:F6.0 | R4:F6.0 | R4:F6.0 | R4:F7.0 | R4:F6.0 | [6 empty] | R4:F7.1 | R4:F9.4 |  | R4:F9.4 | R4:F8.3 | R4:F7.3 | R4:F7.1 | R4:F8.4 | R4:F8.4 | R4:F8.4 |  | R4:F9.4 | [6 empty] | R4:F6.1 |  |  | R4:F6.1 |  | R4:F6.1 | R4:F6.1 |  | R4:F7.2 | R4:F7.2
| -99 | -99 | -99 | -99 |  | -99 | -99 | -99 |  | -99 | -99 | -99 |  | -99 | -99 | -99 | -99 | -99 | [6 empty] | -99 | -99 |  | -99 | -99 | -99 | -99 | -99 | -99 | -99 |  | -99 | [6 empty] | -99 |  |  | -99 |  | -99 | -98 |  | -99 | -99
max | 33 |  |  |  |  | 71 | 59.87 |  |  | 175 | 59.77 |  |  | 1642 | 1000 |  | 994 | 12 | 311 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.0074 | 32.7551 | 7091 | 0 | 0 |  | 14.3 | 0 | 0 | 11.2 | 0 | 0 | 0 | 23 | 13.8 | 0 | 2.09 | 1.89 | 0
min | 33 |  |  |  |  | 56 | 0.74 |  |  | 157 | 0.06 |  |  | 30 | 27 |  | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29.8675 | 30.761 | 7091 | 0 | 0 |  | -0.025649 | 0 | 0 | 0.09 | 0 | 0 | 0 | 2.4 | 4.4 | 0 | 0.63 | 0.76 | 0
| Cast # | Station | Time Zone UTC | CAST START TIME (UTC) |  | Lat Deg N | Lat Min | N | latdec | Lon Deg | Lon Min | W | longdec | Water Depth (m) | Cast Depth (db) | Sample #'s | Raw Nominal Press | Bottle_Number | Sample_Number | Bottle integrity | Trip Up or Down | Date Aug | Bottle | Depth (nom'l) | Pressure (dbar) | Temp (C) | Cond (mS/cm) | Salinity (PSU) | Oxy (mL/L) | Chla (ug/L) | Transm (%) | StdDev Temp | StdDev Cond | StdDev Sal | Salinity:Bottle | Salinity:Bottle:dup | diff between CTD sal(raw) and bot sal | Botsal - data quality & comments | Nut Samp # | Depth | NO3-1 | Baseline Correction | NO3-1-corr | NO3-2 | Baseline Correction | NO3-2-corr | NO3 diff dups | SiO4-1 | SiO4-2 | SiO4 diff dups | PO4-1 | PO4-2 | PO4 diff dups | Turbidity corr | O18 | Ba | END
|  |  |  | yyyy/mm/dd | hh:mm | [15 empty] | up | ctd | ctd | ctd | ctd | ctd | ctd | ctd | ctd | ctd | ctd | ctd | ctd | ctd | [6 empty] | um/l | um/l | um/l | um/l | um/l | um/l |  | um/l | um/l |  | um/l | um/l
| 1 | BS-1 |  | 2003-07-13 | 1:46 | 56 | 18.66 | N | 56.311 | 172 | 49.11 | W | -172.8185 | 1642 | 1000 | 1 to 12 | 500 | 1 | 1
|  |  |  | 2003-07-13 | [12 empty] | 250 | 2 | 2 | ok
|  |  |  | 2003-07-13 | [12 empty] | 150 | 3 | 3 | ok | [14 empty] | 33.2876
|  |  |  | 2003-07-13 | [12 empty] | 100 | 4 | 4 | ok
|  |  |  | 2003-07-13 | [12 empty] | 75 | 5 | 5 | ok
|  |  |  | 2003-07-13 | [12 empty] | 50 | 6 | 6 | ok
|  |  |  | 2003-07-13 | [12 empty] | 30 | 7 | 7 | ok
|  |  |  | 2003-07-13 | [12 empty] | 20 | 8 | 8 | ok
|  |  |  | 2003-07-13 | [12 empty] | 15 | 9 | 9 | ok
|  |  |  | 2003-07-13 | [12 empty] | 10 | 10 | 10 | ok
|  |  |  | 2003-07-13 | [12 empty] | 5 | 11 | 11 | x
|  |  |  | 2003-07-13 | [12 empty] | 1 | 12 | 12 | ok
| 2 | BS-2 |  | 2003-07-13 | 3:28 | 56 | 25.05 | N | 56.4175 | 172 | 47.58 | W | -172.793 | 1583 | 1000 | 12 to 24 | 994 | 1 | 13 | ok
| 3 | BS-3 |  | 2003-07-13 | 4:30 | 56 | 28.49 | N | 56.4748 | 172 | 46.76 | W | -172.7793 | 740 | 700 |  | 500 | 1 | 14 | ok | [14 empty] | 34.0074
|  |  |  | 2003-07-13 | [12 empty] | 250 | 2 | 15 | ok
|  |  |  | 2003-07-13 | [12 empty] | 150 | 3 | 16 | ok
|  |  |  | 2003-07-13 | [12 empty] | 100 | 4 | 17 | ok
|  |  |  | 2003-07-13 | [12 empty] | 75 | 5 | 18 | ok
|  |  |  | 2003-07-13 | [12 empty] | 50 | 6 | 19 | ok
|  |  |  | 2003-07-13 | [12 empty] | 25 | 7 | 20 | ok
|  |  |  | 2003-07-13 | [12 empty] | 20 | 8 | 21 | ok
|  |  |  | 2003-07-13 | [12 empty] | 15 | 9 | 22 | ok
|  |  |  | 2003-07-13 | [12 empty] | 10 | 10 | 23 | ok
|  |  |  | 2003-07-13 | [12 empty] | 5 | 11 | 24 | ok
|  |  |  | 2003-07-13 | [11 empty] | 24 to 36 | 1 | 12 | 25 | ok
| 4 | BS-4 |  | 2003-07-13 | 5:55 | 56 | 32.64 | N | 56.544 | 172 | 45.36 | W | -172.756 | 245 | 237 |  | 100 | 1 | 26 | ok | [14 empty] | 33.2584
| 5 | BS-5 |  | 2003-07-13 | 6:50 | 56 | 38.65 | N | 56.6442 | 172 | 43.98 | W | -172.733 | 134 | 128 | 27 to 36 | 128 | 1 | 27 | ok | [14 empty] | 33.2665
|  |  |  | 2003-07-13 | [12 empty] | 100 | 3 | 28 | ok
|  |  |  | 2003-07-13 | [12 empty] | 75 | 4 | 29 | ok
|  |  |  | 2003-07-13 | [12 empty] | 50 | 5 | 30 | ok
|  |  |  | 2003-07-13 | [12 empty] | 30 | 6 | 31 | ok
|  |  |  | 2003-07-13 | [12 empty] | 20 | 7 | 32 | ok
|  |  |  | 2003-07-13 | [12 empty] | 15 | 8 | 33 | ok
|  |  |  | 2003-07-13 | [12 empty] | 10 | 9 | 34 | ok
|  |  |  | 2003-07-13 | [12 empty] | 5 | 10 | 35 | ok
|  |  |  | 2003-07-13 | [12 empty] | 1 | 11 | 36 | ok
| 6 | BS-6 |  | 2003-07-13 | 23:03 | 59 | 19.11 | N | 59.3185 | 172 | 29.97 | W | -172.4995 | 109 | 103 | 37 to 48 | 103 | 1 | 37 | ok | [14 empty] | 32.6816
|  |  |  | 2003-07-13 | [12 empty] | 70 | 2 | 38 | ok
|  |  |  | 2003-07-13 | [12 empty] | 60 | 3 | 39 | ok
|  |  |  | 2003-07-13 | [12 empty] | 50 | 4 | 40 | ok
|  |  |  | 2003-07-13 | [12 empty] | 40 | 5 | 41 | ok
|  |  |  | 2003-07-13 | [12 empty] | 30 | 6 | 42 | ok
|  |  |  | 2003-07-13 | [12 empty] | 25 | 7 | 43 | ok
|  |  |  | 2003-07-13 | [12 empty] | 20 | 8 | 44 | ok
|  |  |  | 2003-07-13 | [12 empty] | 15 | 9 | 45 | ok
|  |  |  | 2003-07-13 | [12 empty] | 10 | 10 | 46 | ok
|  |  |  | 2003-07-13 | [12 empty] | 5 | 11 | 47 | ok
|  |  |  | 2003-07-13 | [12 empty] | 1 | 12 | 48 | ok
| 7 | SLIP1 |  | 2003-07-14 | 16:04 | 62 | 0.74 | N | 62.0123 | 175 | 3.32 | W | -175.0553 | 84 | 78 | 49 to 60 | 78 | 1 | 49 | ok
|  |  |  | 2003-07-14 | [12 empty] | 78 | 2 | 50 | ok
|  |  |  | 2003-07-14 | [12 empty] | 60 | 3 | 51 | ok | [14 empty] | 32.2761
|  |  |  | 2003-07-14 | [12 empty] | 49 | 4 | 52 | ok
|  |  |  | 2003-07-14 | [12 empty] | 39 | 5 | 53 | ok
|  |  |  | 2003-07-14 | [12 empty] | 29 | 6 | 54 | ok
|  |  |  | 2003-07-14 | [12 empty] | 25 | 7 | 55 | ok
|  |  |  | 2003-07-14 | [12 empty] | 20 | 8 | 56 | ok
|  |  |  | 2003-07-14 | [12 empty] | 15 | 9 | 57 | ok
|  |  |  | 2003-07-14 | [12 empty] | 10 | 10 | 58 | ok
|  |  |  | 2003-07-14 | [12 empty] | 5 | 11 | 59 | ok
| 8 | SLIP2 |  | 2003-07-14 | 19:19 | 62 | 2.97 | N | 62.0495 | 175 | 12.08 | W | -175.2013 | 84 | 78 | 61 to 72 | 1 | 12 | 60 | ok
|  |  |  | 2003-07-14 | [12 empty] | 78 | 1 | 61 | ok | [14 empty] | 32.3681
|  |  |  | 2003-07-14 | [12 empty] | 78 | 2 | 62 | ok
|  |  |  | 2003-07-14 | [12 empty] | 60 | 3 | 63 | ok
|  |  |  | 2003-07-14 | [12 empty] | 49 | 4 | 64 | ok
|  |  |  | 2003-07-14 | [12 empty] | 39 | 5 | 65 | ok
|  |  |  | 2003-07-14 | [12 empty] | 29 | 6 | 66 | ok
|  |  |  | 2003-07-14 | [12 empty] | 25 | 7 | 67 | ok
|  |  |  | 2003-07-14 | [12 empty] | 20 | 8 | 68 | ok
|  |  |  | 2003-07-14 | [12 empty] | 15 | 9 | 69 | ok
|  |  |  | 2003-07-14 | [12 empty] | 10 | 10 | 70 | ok
|  |  |  | 2003-07-14 | [12 empty] | 5 | 11 | 71 | ok
|  |  |  | 2003-07-14 | [12 empty] | 1 | 12 | 72 | ok
| 9 | NBS |  | 2003-07-14 | 22:26 | 62 | 4.81 | N | 62.0802 | 174 | 59.6 | W | -174.9933 | 78 | 78 | 73 to 76 | 29 | 1 | 73 | ok
|  |  |  | 2003-07-14 | [12 empty] | 24 | 2 | 74 | ok
|  |  |  | 2003-07-14 | [12 empty] | 21 | 3 | 75 | ok
|  |  |  | 2003-07-14 | [12 empty] | 14 | 4 | 76 | ok
| 10 | SLIP3 |  | 2003-07-15 | 0:53 | 62 | 23.37 | N | 62.3895 | 174 | 34.28 | W | -174.5713 | 72 | 69 | 77 to 88 | 68 | 1 | 77 | ok
|  |  |  | 2003-07-15 | [12 empty] | 68 | 2 | 78 | ok
|  |  |  | 2003-07-15 | [12 empty] | 60 | 3 | 79 | ok | [14 empty] | 32.0567
|  |  |  | 2003-07-15 | [12 empty] | 50 | 4 | 80 | ok
|  |  |  | 2003-07-15 | [12 empty] | 34 | 5 | 81 | ok
|  |  |  | 2003-07-15 | [12 empty] | 30 | 6 | 82 | ok
|  |  |  | 2003-07-15 | [12 empty] | 24 | 7 | 83 | ok
|  |  |  | 2003-07-15 | [12 empty] | 20 | 8 | 84 | ok
|  |  |  | 2003-07-15 | [12 empty] | 15 | 9 | 85 | ok
|  |  |  | 2003-07-15 | [12 empty] | 10 | 10 | 86 | ok
|  |  |  | 2003-07-15 | [12 empty] | 5 | 11 | 87 | ok
|  |  |  | 2003-07-15 | [12 empty] | 1 | 12 | 88 | ok
| 11 | SLIP5 |  | 2003-07-15 | 5:13 | 62 | 33.25 | N | 62.5542 | 173 | 33.75 | W | -173.5625 | 67 | 64 | 89 to 100 | 64 | 1 | 89 | ok
|  |  |  | 2003-07-15 | [12 empty] | 64 | 2 | 90 | ok
|  |  |  | 2003-07-15 | [12 empty] | 59 | 3 | 91 | ok | [14 empty] | 31.8251 | 31.8241 | 7091
|  |  |  | 2003-07-15 | [12 empty] | 50 | 4 | 92 | ok
|  |  |  | 2003-07-15 | [12 empty] | 41 | 5 | 93 | ok
|  |  |  | 2003-07-15 | [12 empty] | 31 | 6 | 94 | ok
|  |  |  | 2003-07-15 | [12 empty] | 25 | 7 | 95 | ok
|  |  |  | 2003-07-15 | [12 empty] | 19 | 8 | 96 | ok
|  |  |  | 2003-07-15 | [12 empty] | 14 | 9 | 97 | ok
|  |  |  | 2003-07-15 | [12 empty] | 10 | 10 | 98 | ok
|  |  |  | 2003-07-15 | [12 empty] | 5 | 11 | 99 | ok
|  |  |  | 2003-07-15 | [12 empty] | 1 | 12 | 100 | ok
| 12 | SLIP4 |  | 2003-07-15 | 9:16 | 63 | 1.7 | N | 63.0283 | 173 | 27.33 | W | -173.4555 | 73 | 68 | 101 to 112 | 68 | 1 | 101 | ok
|  |  |  | 2003-07-15 | [12 empty] | 68 | 2 | 102 | ok
|  |  |  | 2003-07-15 | [12 empty] | 59 | 3 | 103 | ok
|  |  |  | 2003-07-15 | [12 empty] | 50 | 4 | 104 | ok | [14 empty] | 31.9602
|  |  |  | 2003-07-15 | [12 empty] | 36 | 5 | 105 | ok
|  |  |  | 2003-07-15 | [12 empty] | 30 | 6 | 106 | ok
|  |  |  | 2003-07-15 | [12 empty] | 24 | 7 | 107 | ok
|  |  |  | 2003-07-15 | [12 empty] | 20 | 8 | 108 | ok
|  |  |  | 2003-07-15 | [12 empty] | 14 | 9 | 109 | ok
|  |  |  | 2003-07-15 | [12 empty] | 10 | 10 | 110 | ok
|  |  |  | 2003-07-15 | [12 empty] | 5 | 11 | 111 | ok
|  |  |  | 2003-07-15 | [12 empty] | 1 | 12 | 112 | ok
| 13 | BCS6 |  | 2003-07-15 | 16:57 | 63 | 50.86 | N | 63.8477 | 172 | 24.14 | W | -172.4023 | 56 | 52 | 113 to 123 | 52 | 1 | 113 | ok
|  |  |  | 2003-07-15 | [12 empty] | 40 | 2 | 114 | ok | [14 empty] | 32.5799
|  |  |  | 2003-07-15 | [12 empty] | 30 | 3 | 115 | ok
|  |  |  | 2003-07-15 | [12 empty] | 25 | 4 | 116 | ok
|  |  |  | 2003-07-15 | [12 empty] | 18 | 5 | 117 | ok
|  |  |  | 2003-07-15 | [12 empty] | 18 | 6 | 118 | ok
|  |  |  | 2003-07-15 | [12 empty] | 18 | 7 | 119 | ok
|  |  |  | 2003-07-15 | [12 empty] | 15 | 8 | 120 | ok
|  |  |  | 2003-07-15 | [12 empty] | 10 | 9 | 121 | ok
|  |  |  | 2003-07-15 | [12 empty] | 5 | 10 | 122 | ok
|  |  |  | 2003-07-15 | [12 empty] | 1 | 11 | 123 | ok
| 14 | UT-BS5 |  | 2003-07-16 | 1:30 | 64 | 39.97 | N | 64.6662 | 169 | 55.28 | W | -169.9213 | 47 | 44 | 124 to 135 | 44 | 1 | 124 | ok
|  |  |  | 2003-07-16 | [12 empty] | 44 | 2 | 125 | ok
|  |  |  | 2003-07-16 | [12 empty] | 40 | 3 | 126 | ok
|  |  |  | 2003-07-16 | [12 empty] | 34 | 4 | 127 | ok
|  |  |  | 2003-07-16 | [12 empty] | 30 | 5 | 128 | ok | [14 empty] | 32.8457
|  |  |  | 2003-07-16 | [12 empty] | 25 | 6 | 129 | ok
|  |  |  | 2003-07-16 | [12 empty] | 20 | 7 | 130 | ok
|  |  |  | 2003-07-16 | [12 empty] | 13 | 8 | 131 | ok
|  |  |  | 2003-07-16 | [12 empty] | 13 | 9 | 132 | ok
|  |  |  | 2003-07-16 | [12 empty] | 11 | 10 | 133 | ok
|  |  |  | 2003-07-16 | [12 empty] | 4 | 11 | 134 | ok
|  |  |  | 2003-07-16 | [12 empty] | 1 | 12 | 135 | ok
| 15 | UT-BS2 |  | 2003-07-16 | 4:47 | 64 | 40.92 | N | 64.682 | 169 | 5.94 |  | -169.099 | 46 | 42 | 136 to 146 | 41 | 1 | 136 | ok | [14 empty] | 32.4646
|  |  |  | 2003-07-16 | [12 empty] | 41 | 2 | 137 | ok
|  |  |  | 2003-07-16 | [12 empty] | 33 | 3 | 138 | ok
|  |  |  | 2003-07-16 | [12 empty] | 30 | 4 | 139 | ok
|  |  |  | 2003-07-16 | [12 empty] | 25 | 5 | 140 | ok
|  |  |  | 2003-07-16 | [12 empty] | 25 | 6 | 141 | ok
|  |  |  | 2003-07-16 | [12 empty] | 20 | 7 | 142 | ok
|  |  |  | 2003-07-16 | [12 empty] | 15 | 8 | 143 | ok
|  |  |  | 2003-07-16 | [12 empty] | 10 | 9 | 144 | ok
|  |  |  | 2003-07-16 | [12 empty] | 6 | 10 | 145 | ok
|  |  |  | 2003-07-16 | [12 empty] | 1 | 11 | 146 | ok
| 16 | UT-BS4 |  | 2003-07-16 | 8:46 | 64 | 57.52 | N | 64.9587 | 169 | 52.9 |  | -169.8817 | 50 | 47 |  | 47 | 1 | 147 | ok
|  |  |  | 2003-07-16 | [12 empty] | 47 | 2 | 148 | ok
|  |  |  | 2003-07-16 | [12 empty] | 39 | 3 | 149 | ok | [14 empty] | 32.578
|  |  |  | 2003-07-16 | [12 empty] | 34 | 4 | 150 | ok
|  |  |  | 2003-07-16 | [12 empty] | 30 | 5 | 151 | ok
|  |  |  | 2003-07-16 | [12 empty] | 25 | 6 | 152 | ok
|  |  |  | 2003-07-16 | [12 empty] | 25 | 7 | 153 | ok
|  |  |  | 2003-07-16 | [12 empty] | 20 | 8 | 154 | ok
|  |  |  | 2003-07-16 | [12 empty] | 15 | 9 | 155 | ok
|  |  |  | 2003-07-16 | [12 empty] | 10 | 10 | 156 | ok
|  |  |  | 2003-07-16 | [12 empty] | 5 | 11 | 157 | ok
|  |  |  | 2003-07-16 | [12 empty] | 1 | 12 | 158 | ok
| 17 | UT-BS1 |  | 2003-07-16 | 13:08 | 64 | 59.57 | N | 64.9928 | 168 | 8.22 |  | -168.137 | 50 | 45 |  | 45 | 1 | 159 | ok
|  |  |  | 2003-07-16 | [12 empty] | 45 | 2 | 160 | ok
|  |  |  | 2003-07-16 | [12 empty] | 40 | 3 | 161 | ok | [14 empty] | 32.793 |  |  | unstable readings
|  |  |  | 2003-07-16 | [12 empty] | 34 | 4 | 162 | ok
|  |  |  | 2003-07-16 | [12 empty] | 30 | 5 | 163 | ok
|  |  |  | 2003-07-16 | [12 empty] | 26 | 6 | 164 | ok
|  |  |  | 2003-07-16 | [12 empty] | 26 | 7 | 165 | ok
|  |  |  | 2003-07-16 | [12 empty] | 19 | 8 | 166 | ok
|  |  |  | 2003-07-16 | [12 empty] | 16 | 9 | 167 | ok
|  |  |  | 2003-07-16 | [12 empty] | 10 | 10 | 168 | ok
|  |  |  | 2003-07-16 | [12 empty] | 4 | 11 | 169 | ok
|  |  |  | 2003-07-16 | [12 empty] | 1 | 12 | 170 | ok
| 18 | BRS1 |  | 2003-07-16 | 19:08 | 65 | 39.04 | N | 65.6507 | 168 | 13.01 | W | -168.2168 | 40 | 36 |  | 35 | 1 | 171 | ok | [14 empty] | 32.3421 | [5 empty] | 3.3208 |  |  | 3.2 |  |  |  | 4.1239 | 4.4 |  | 1.2373 | 1.24
|  |  |  | 2003-07-16 | [12 empty] | 35 | 2 | 172 | ok
|  |  |  | 2003-07-16 | [12 empty] | ns | 3 | 173 | ok
|  |  |  | 2003-07-16 | [12 empty] | 25 | 4 | 174 | ok | [14 empty] | 32.3002 | [5 empty] | 2.0022 | [6 empty] | 5.7784 |  |  | 1.0303
|  |  |  | 2003-07-16 | [12 empty] | 20 | 5 | 175 | ok
|  |  |  | 2003-07-16 | [12 empty] | 15 | 6 | 176 | ok
|  |  |  | 2003-07-16 | [12 empty] | 10 | 7 | 177 | ok | [14 empty] | 31.9198 | 31.9351 |  |  |  |  | 0.3294 | [6 empty] | 4.4 |  |  | 0.80993
|  |  |  | 2003-07-16 | [12 empty] | 5 | 8 | 178 | ok | [14 empty] | 30.0154 | [5 empty] | -0.025649 | [6 empty] | 12.2238 |  |  | 1.2355
|  |  |  | 2003-07-16 | [12 empty] | 1 | 9 | 179 | ok | [14 empty] | 30.0957 | [5 empty] | -0.025058 | [6 empty] | 12.3631 | 13.3 |  | 1.254 | 1.16
| 19 | BRS2 |  | 2003-07-16 | 20:09 | 65 | 40.03 | N | 65.6672 | 168 | 23.91 | W | -168.3985 | 52 | 45 |  | 44 | 1 | 180 | ok | [14 empty] | 32.6251
|  |  |  | 2003-07-16 | [12 empty] | 44 | 2 | 181 | ok
|  |  |  | 2003-07-16 | [12 empty] | 35 | 3 | 182 | ok | [14 empty] | 32.5228 | [5 empty] | 4.9 | [6 empty] | 2.4 |  |  | 1.27
|  |  |  | 2003-07-16 | [12 empty] | 30 | 4 | 183 | ok
|  |  |  | 2003-07-16 | [12 empty] | 25 | 5 | 184 | ok | [14 empty] | 31.5769 | [5 empty] | 0.1 | [6 empty] | 3.3 |  |  | 0.75
|  |  |  | 2003-07-16 | [12 empty] | 20 | 6 | 185 | ok
|  |  |  | 2003-07-16 | [12 empty] | 15 | 7 | 186 | ok
|  |  |  | 2003-07-16 | [12 empty] | 10 | 8 | 187 | ok | [14 empty] | 30.8132 | [5 empty] | 0 |  |  | 0.09 |  |  |  | 4.7 | 4.8 |  | 0.92 | 0.83
|  |  |  | 2003-07-16 | [12 empty] | 5 | 9 | 188 | ok | [14 empty] | 29.8892 | [5 empty] | 0 | [6 empty] | 10.2 |  |  | 0.89
|  |  |  | 2003-07-16 | [12 empty] | 1 | 10 | 189 | ok | [14 empty] | 29.8675 | [5 empty] | 0 | [6 empty] | 9.6 |  |  | 0.89
| 20 | BRS3 |  | 2003-07-16 | 21:21 | 65 | 40.85 | N | 65.6808 | 168 | 33.97 | W | -168.5662 | 52 | 48 |  | 47 | 1 | 190 | ok | [14 empty] | 32.7515 | 32.7551 |  |  |  |  | 10.6 | [6 empty] | 13.1 |  |  | 1.88
|  |  |  | 2003-07-16 | [12 empty] | 47 | 2 | 191 | ok
|  |  |  | 2003-07-16 | [12 empty] | 40 | 3 | 192 | ok
|  |  |  | 2003-07-16 | [12 empty] | 34 | 4 | 193 | ok | [14 empty] | 32.7686 | [5 empty] | 11.6 |  |  | 11.2 |  |  |  | 13.7 | 13.8 |  | 1.94 | 1.89
|  |  |  | 2003-07-16 | [12 empty] | 30 | 5 | 194 | ok
|  |  |  | 2003-07-16 | [12 empty] | 24 | 6 | 195 | ok | [14 empty] | 32.3996 | [5 empty] | 2 | [6 empty] | 5 |  |  | 0.98
|  |  |  | 2003-07-16 | [12 empty] | 20 | 7 | 196 | ok
|  |  |  | 2003-07-16 | [12 empty] | 14 | 8 | 197 | ok
|  |  |  | 2003-07-16 | [12 empty] | 10 | 9 | 198 | ok | [14 empty] | 31.7001 | [5 empty] | 0 | [6 empty] | 3.7 |  |  | 0.63
|  |  |  | 2003-07-16 | [12 empty] | 5 | 10 | 199 | ok | [14 empty] | 30.4404 | [5 empty] | 0 | [6 empty] | 7 |  |  | 0.81
|  |  |  | 2003-07-16 | [12 empty] | 1 | 11 | 200 | ok | [14 empty] | 30.175 | [5 empty] | 0 | [6 empty] | 7.8 |  |  | 1.03
| 21 | BRS4 |  | 2003-07-16 | 22:34 | 65 | 41.95 | N | 65.6992 | 168 | 42.87 | W | -168.7145 | 52 | 48 |  | 47 | 1 | 201 | ok | [14 empty] | 32.8126 | [5 empty] | 14.3 | [6 empty] | 23 |  |  | 2.09
|  |  |  | 2003-07-16 | [12 empty] | 47 | 2 | 202 | ok
|  |  |  | 2003-07-16 | [12 empty] | 40 | 3 | 203 | ok
|  |  |  | 2003-07-16 | [12 empty] | 34 | 4 | 204 | ok | [14 empty] | 32.8138 | [5 empty] | 14.3 | [6 empty] | 22.4 |  |  | 2.04
|  |  |  | 2003-07-16 | [12 empty] | 30 | 5 | 205 | ok
|  |  |  | 2003-07-16 | [12 empty] | 25 | 6 | 206 | ok | [14 empty] | 32.7816 | [5 empty] | 11.4 | [6 empty] | 13.5 |  |  | 1.87
|  |  |  | 2003-07-16 | [12 empty] | 19 | 7 | 207 | ok
|  |  |  | 2003-07-16 | [12 empty] | 15 | 8 | 208 | ok
|  |  |  | 2003-07-16 | [12 empty] | 10 | 9 | 209 | ok | [14 empty] | 31.9968 | 31.9979 |  |  |  |  | 0.2 | [6 empty] | 3.3 |  |  | 0.65
|  |  |  | 2003-07-16 | [12 empty] | 5 | 10 | 210 | ok | [14 empty] | 30.992 | [5 empty] | 0 | [6 empty] | 5.4 |  |  | 0.72
|  |  |  | 2003-07-16 | [12 empty] | 1 | 11 | 211 | ok | [14 empty] | 30.8138 | [5 empty] | 0 | [6 empty] | 5.9 |  |  | 0.82
| 22 | BRS5 |  | 2003-07-16 | 23:47 | 65 | 42.96 | N | 65.716 | 168 | 53.84 | W | -168.8973 | 50 | 45 |  | 44 | 1 | 212 | ok | [14 empty] | 32.7493 | [5 empty] | 11 | [6 empty] | 17.6 |  |  | 1.83
|  |  |  | 2003-07-16 | [12 empty] | 44 | 2 | 213 | ok
|  |  |  | 2003-07-16 | [12 empty] | 41 | 3 | 214 | ok
|  |  |  | 2003-07-16 | [12 empty] | 34 | 4 | 215 | ok | [14 empty] | 32.778 | [5 empty] | 11.5 | [6 empty] | 18.2 |  |  | 1.86
|  |  |  | 2003-07-16 | [12 empty] | 30 | 5 | 216 | ok
|  |  |  | 2003-07-16 | [12 empty] | 25 | 6 | 217 | ok | [14 empty] | 32.4874 | [5 empty] | 2.4 | [6 empty] | 5.7 |  |  | 0.92
|  |  |  | 2003-07-16 | [12 empty] | 20 | 7 | 218 | ok
|  |  |  | 2003-07-16 | [12 empty] | 15 | 8 | 219 | ok
|  |  |  | 2003-07-16 | [12 empty] | 10 | 9 | 220 | ok | [14 empty] | 32.4105 | [5 empty] | 0.9 | [6 empty] | 4.7 |  |  | 0.77
|  |  |  | 2003-07-16 | [12 empty] | 6 | 10 | 221 | ok | [14 empty] | 32.4045 | [5 empty] | 0.8 |  |  | 0.9 |  |  |  | 4.7 | 5 |  | 0.76 | 0.76
|  |  |  | 2003-07-16 | [12 empty] | 1 | 11 | 222 | ok | [14 empty] | 32.4017 | 32.4011 |  |  |  |  | 0.8 | [6 empty] | 4.5 |  |  | 0.84
| 23 | UTN-1 |  | 2003-07-18 | 3:55 | 66 | 42.47 | N | 66.7078 | 168 | 23.97 | W | -168.3995 | 34 | 29 |  | 28 | 1 | 223 | x
|  |  |  | 2003-07-18 | [12 empty] | 28 | 2 | 224 | ok
|  |  |  | 2003-07-18 | [12 empty] | 24 | 3 | 225 | ok
|  |  |  | 2003-07-18 | [12 empty] | 20 | 4 | 226 | ok
|  |  |  | 2003-07-18 | [12 empty] | 20 | 5 | 227 | ok
|  |  |  | 2003-07-18 | [12 empty] | 14 | 6 | 228 | ok | [14 empty] | 31.8096
|  |  |  | 2003-07-18 | [12 empty] | 10 | 7 | 229 | ok
|  |  |  | 2003-07-18 | [12 empty] | 5 | 8 | 230 | ok
|  |  |  | 2003-07-18 | [12 empty] | 1 | 9 | 231 | ok
| 24 | UTN-2 |  | 2003-07-18 | 12:14 | 66 | 3.09 | N | 66.0515 | 168 | 44.08 | W | -168.7347 | 45 | 39 |  | 38 | 1 | 232 | ok
|  |  |  | 2003-07-18 | [12 empty] | 38 | 2 | 233 | ok
|  |  |  | 2003-07-18 | [12 empty] | 35 | 3 | 234 | ok | [14 empty] | 32.6707
|  |  |  | 2003-07-18 | [12 empty] | 30 | 4 | 235 | ok
|  |  |  | 2003-07-18 | [12 empty] | 24 | 5 | 236 | ok
|  |  |  | 2003-07-18 | [12 empty] | 24 | 6 | 237 | ok
|  |  |  | 2003-07-18 | [12 empty] | 19 | 7 | 238 | ok
|  |  |  | 2003-07-18 | [12 empty] | 15 | 8 | 239 | ok
|  |  |  | 2003-07-18 | [12 empty] | 9 | 9 | 240 | ok
|  |  |  | 2003-07-18 | [12 empty] | 5 | 10 | 241 | ok
|  |  |  | 2003-07-18 | [12 empty] | 1 | 11 | 242 | ok
| 25 | UTN-3 |  | 2003-07-18 | 14:10 | 67 | 19.85 | N | 67.3308 | 168 | 59.77 | W | -168.9962 | 50 | 45 |  | 43 | 1 | 243 | ok
|  |  |  | 2003-07-18 | [12 empty] | 43 | 2 | 244 | ok
|  |  |  | 2003-07-18 | [12 empty] | 40 | 3 | 245 | ok | [14 empty] | 32.6888 | 32.6904
|  |  |  | 2003-07-18 | [12 empty] | 34 | 4 | 246 | ok
|  |  |  | 2003-07-18 | [12 empty] | 30 | 5 | 247 | ok
|  |  |  | 2003-07-18 | [12 empty] | 24 | 6 | 248 | ok
|  |  |  | 2003-07-18 | [12 empty] | 20 | 7 | 249 | ok
|  |  |  | 2003-07-18 | [12 empty] | 20 | 8 | 250 | ok
|  |  |  | 2003-07-18 | [12 empty] | 15 | 9 | 251 | ok
|  |  |  | 2003-07-18 | [12 empty] | 10 | 10 | 252 | ok
|  |  |  | 2003-07-18 | [12 empty] | 5 | 11 | 253 | ok
|  |  |  | 2003-07-18 | [12 empty] | 1 | 12 | 254 | ok
| 26 | UTN-4 |  | 2003-07-18 | 16:14 | 67 | 30.13 | N | 67.5022 | 168 | 54.75 | W | -168.9125 | 50 | 45 |  | 44 | 1 | 255 | ok
|  |  |  | 2003-07-18 | [12 empty] | 44 | 2 | 256 | ok
|  |  |  | 2003-07-18 | [12 empty] | 39 | 3 | 257 | ok
|  |  |  | 2003-07-18 | [12 empty] | 35 | 4 | 258 | ok | [14 empty] | 32.7967
|  |  |  | 2003-07-18 | [12 empty] | 30 | 5 | 259 | ok
|  |  |  | 2003-07-18 | [12 empty] | 24 | 6 | 260 | ok
|  |  |  | 2003-07-18 | [12 empty] | 20 | 7 | 261 | ok
|  |  |  | 2003-07-18 | [12 empty] | 15 | 8 | 262 | ok
|  |  |  | 2003-07-18 | [12 empty] | 15 | 9 | 263 | ok
|  |  |  | 2003-07-18 | [12 empty] | 10 | 10 | 264 | ok
|  |  |  | 2003-07-18 | [12 empty] | 6 | 11 | 265 | ok
|  |  |  | 2003-07-18 | [12 empty] | 1 | 12 | 266 | ok
| 27 | UTN-5 |  | 2003-07-18 | 18:16 | 67 | 40.21 | N | 67.6702 | 168 | 57.41 | W | -168.9568 | 50 | 45 |  | 44 | 1 | 267 | ok
|  |  |  | 2003-07-18 | [12 empty] | 44 | 2 | 268 | ok
|  |  |  | 2003-07-18 | [12 empty] | 40 | 3 | 269 | ok
|  |  |  | 2003-07-18 | [12 empty] | 34 | 4 | 270 | ok | [14 empty] | 32.6842
|  |  |  | 2003-07-18 | [12 empty] | 30 | 5 | 271 | ok
|  |  |  | 2003-07-18 | [12 empty] | 25 | 6 | 272 | ok
|  |  |  | 2003-07-18 | [12 empty] | 25 | 7 | 273 | ok
|  |  |  | 2003-07-18 | [12 empty] | 20 | 8 | 274 | ok
|  |  |  | 2003-07-18 | [12 empty] | 15 | 9 | 275 | ok
|  |  |  | 2003-07-18 | [12 empty] | 10 | 10 | 276 | ok
|  |  |  | 2003-07-18 | [12 empty] | 5 | 11 | 277 | ok
|  |  |  | 2003-07-18 | [12 empty] | 1 | 12 | 278 | x
| 28 | UTN-6 |  | 2003-07-18 | 21:22 | 67 | 44.24 | N | 67.7373 | 168 | 26.64 | W | -168.444 | 49 | 45 |  | 43 | 1 | 279 | ok
|  |  |  | 2003-07-18 | [12 empty] | 43 | 2 | 280 | ok
|  |  |  | 2003-07-18 | [12 empty] | 41 | 3 | 281 | ok
|  |  |  | 2003-07-18 | [12 empty] | 35 | 4 | 282 | ok | [14 empty] | 32.6348
|  |  |  | 2003-07-18 | [12 empty] | 30 | 5 | 283 | ok
|  |  |  | 2003-07-18 | [12 empty] | 25 | 6 | 284 | ok
|  |  |  | 2003-07-18 | [12 empty] | 20 | 7 | 285 | ok
|  |  |  | 2003-07-18 | [12 empty] | 20 | 8 | 286 | ok
|  |  |  | 2003-07-18 | [12 empty] | 15 | 9 | 287 | ok
|  |  |  | 2003-07-18 | [12 empty] | 10 | 10 | 288 | ok
|  |  |  | 2003-07-18 | [12 empty] | 5 | 11 | 289 | ok
|  |  |  | 2003-07-18 | [12 empty] | 1 | 12 | 290 | ok
| 29 | UTN-7 |  | 2003-07-19 | 0:11 | 67 | 59.87 | N | 67.9978 | 168 | 55.19 | W | -168.9198 | 57 | 53 |  | 51 | 1 | 291 | ok
|  |  |  | 2003-07-19 | [12 empty] | 51 | 2 | 292 | ok
|  |  |  | 2003-07-19 | [12 empty] | 45 | 3 | 293 | ok | [14 empty] | 32.8577
|  |  |  | 2003-07-19 | [12 empty] | 36 | 4 | 294 | ok
|  |  |  | 2003-07-19 | [12 empty] | 30 | 5 | 295 | ok
|  |  |  | 2003-07-19 | [12 empty] | 24 | 6 | 296 | ok
|  |  |  | 2003-07-19 | [12 empty] | 21 | 7 | 297 | ok
|  |  |  | 2003-07-19 | [12 empty] | 14 | 8 | 298 | ok
|  |  |  | 2003-07-19 | [12 empty] | 14 | 9 | 299 | ok
|  |  |  | 2003-07-19 | [12 empty] | 10 | 10 | 300 | ok
|  |  |  | 2003-07-19 | [12 empty] | 6 | 11 | 301 | ok
|  |  |  | 2003-07-19 | [12 empty] | 1 | 12 | 302 | ok
| 30 | BD-6 |  | 2003-07-19 | 9:50 | 69 | 11.75 | N | 69.1958 | 166 | 8.81 | W | -166.1468 | 30 | 27 |  | 26 | 1 | 303 | ok
|  |  |  | 2003-07-19 | [12 empty] | 20 | 2 | 304 | ok
|  |  |  | 2003-07-19 | [12 empty] | 14 | 3 | 305 | ok
|  |  |  | 2003-07-19 | [12 empty] | 11 | 4 | 306 | ok
|  |  |  | 2003-07-19 | [12 empty] | 5 | 5 | 307 | ok | [14 empty] | 30.223
|  |  |  | 2003-07-19 | [12 empty] | 1 | 6 | 308 | ok
| 31 | CKS-1 |  | 2003-07-19 | 23:19 | 70 | 37.03 | N | 70.6172 | 161 | 5.78 | W | -161.0963 | 34 | 28 |  | 28 | 1 | 309 | ok | [14 empty] | 31.3235
| 32 | BD-7 |  | 2003-07-20 | 4:44 | 71 | 9.26 | N | 71.1543 | 158 | 24.26 | W | -158.4043 | 46 | 43 |  | 41 | 1 | 310 | ok | [14 empty] | 31.1439
| 33 | BD-8 |  | 2003-07-20 | 7:21 | 71 | 17.94 | N | 71.299 | 157 | 0.06 | W | -157.001 | 47 | 43 |  | 41 | 1 | 311 | ok | [14 empty] | 30.7603 | 30.761
Note on T10: O'Brien: Assigned sample number
Note on AN10: O'Brien: Assigned sample number
Note on AQ10: NEC7: Baseline correction: If value is positive, it is added to the uncorrected value. If the value is negative, it is also added to the uncorrected value.
Note on AT10: NEC7: Baseline correction: If value is positive, it is added to the uncorrected value. If the value is negative, it is also added to the uncorrected value.
Note on AZ10: NEC7: no turbidity correction
Note on BA10: NEC7: no turbidity correction