## File List
Number of Files= |  | 13
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2003-24-0004 | 2003-24-0004 | 12 | 13 | 2003-24-0004 & 2003-24-0004
2 | 2003-24-0007 | 2003-24-0007 | 15 | 16 | 2003-24-0007 & 2003-24-0007
3 | 2003-24-0009 | 2003-24-0009 | 18 | 19 | 2003-24-0009 & 2003-24-0009
4 | 2003-24-0016 | 2003-24-0016 | 21 | 22 | 2003-24-0016 & 2003-24-0016
5 | 2003-24-0036 | 2003-24-0036 | 24 | 25 | 2003-24-0036 & 2003-24-0036
6 | 2003-24-0046 | 2003-24-0046 | 27 | 28 | 2003-24-0046 & 2003-24-0046
7 | 2003-24-0049 | 2003-24-0049 | 30 | 31 | 2003-24-0049 & 2003-24-0049
8 | 2003-24-0054 | 2003-24-0054 | 33 | 34 | 2003-24-0054 & 2003-24-0054
9 | 2003-24-0058 | 2003-24-0058 | 36 | 37 | 2003-24-0058 & 2003-24-0058
10 | 2003-24-0061 | 2003-24-0061 | 39 | 40 | 2003-24-0061 & 2003-24-0061
11 | 2003-24-0070 | 2003-24-0070 | 42 | 44 | 2003-24-0070 & 2003-24-0070
12 | 2003-24-0072 | 2003-24-0072 | 46 | 48 | 2003-24-0072 & 2003-24-0072
13 | 2003-24-0081 | 2003-24-0081 | 50 | 53 | 2003-24-0081 & 2003-24-0081

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.010589 |  | X | CALC Y
m= | 8.3425e-07 | 3.0479e-06 |  | Std Dev of Resid |  | 0.00051872 |  | 201.971 | -0.00035196
b= | -0.00052045 | 0.00084542 |  | Resid Sum of Squares |  | 1.8835e-06 |  | 357.92 | -0.00022186
# of Values Extracted = |  |  | 30
# of Values Used in Fit = |  |  | 9
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 219.453 | 32.2231 | 0.00018491 | 0.018238 | -0.00033737 | -0.018575 |  | 247.199 | -0.00059128
1 | NO | 203.251 | 32.1346 | 0.020768 | -0.0087852 | -0.00035089 | 0.0084344 |  | 202.685 | -0.00026703
2 | NO | 142.542 | 32.0667 | 0.022598 | 0.013069 | -0.00040154 | -0.013471 |  | 222.34 | -0.00049973
2 | NO | 127.739 | 31.901 | 0.024643 | 0.050875 | -0.00041389 | -0.051289 |  | 201.971 | -0.0004425
3 | YES | 247.199 | 33.9287 | 0.00021365 | -0.00059128 | -0.00031423 | 0.00027705 |  | 357.92 | -0.00060272
3 | YES | 202.685 | 33.9189 | 0.00025993 | -0.00026703 | -0.00035136 | -8.4332e-05 |  | 302.969 | -0.00029945
4 | YES | 222.34 | 33.8572 | 0.00022705 | -0.00049973 | -0.00033496 | 0.00016476 |  | 303.596 | -0.00093269
4 | YES | 201.971 | 33.8558 | 0.00024571 | -0.0004425 | -0.00035196 | 9.0548e-05 |  | 352.36 | 0.00046349
5 | NO | 208.028 | 31.3655 | 0.0058796 | 0.040543 | -0.0003469 | -0.04089 |  | 252.554 | 0.00052643
5 | NO | 202.433 | 31.2744 | 0.0020829 | -0.022505 | -0.00035157 | 0.022153
6 | NO | 318.006 | 31.0574 | 0.00043047 | 0.0015659 | -0.00025515 | -0.0018211 |  |  | -0.00029394
6 | NO | 302.697 | 31.038 | 0.00085584 | -0.0036812 | -0.00026793 | 0.0034133
7 | NO | 370.189 | 31.1014 | 0.00042229 | -0.016758 | -0.00021162 | 0.016546
7 | NO | 352.786 | 31.0875 | 0.00069958 | -0.016804 | -0.00022614 | 0.016578
8 | YES | 357.92 | 31.0568 | 0.014105 | -0.00060272 | -0.00022186 | 0.00038087
8 | YES | 302.969 | 31.0047 | 0.00032282 | -0.00029945 | -0.0002677 | 3.1755e-05
9 | NO | 276.333 | 31.0433 | 0.00076592 | -0.0037117 | -0.00028992 | 0.0034218
9 | NO | 253.929 | 31.0319 | 0.0010384 | -0.0052452 | -0.00030861 | 0.0049366
10 | NO | 309.65 | 31.0788 | 0.00024876 | 0.0041256 | -0.00026213 | -0.0043877
10 | YES | 303.596 | 31.073 | 0.00039826 | -0.00093269 | -0.00026718 | 0.00066552
11 | NO | 302.531 | 30.8233 | 0.00028485 | -0.0046215 | -0.00026806 | 0.0043534
11 | NO | 252.623 | 30.7744 | 0.00051985 | -0.0019588 | -0.0003097 | 0.0016491
11 | NO | 202.279 | 30.6272 | 0.00092087 | -0.0083389 | -0.0003517 | 0.0079872
12 | NO | 312.051 | 30.7866 | 0.00025168 | -0.01165 | -0.00026012 | 0.01139
12 | NO | 252.804 | 30.7264 | 0.00021579 | -0.0073853 | -0.00030955 | 0.0070757
12 | NO | 202.652 | 30.5916 | 0.00020962 | -0.016785 | -0.00035139 | 0.016433
13 | NO | 372.159 | 31.1411 | 0.00026679 | 0.0044918 | -0.00020998 | -0.0047018
13 | YES | 352.36 | 31.1199 | 0.00022479 | 0.00046349 | -0.00022649 | -0.00068998
13 | NO | 302.585 | 31.0486 | 0.0002051 | -0.0042324 | -0.00026802 | 0.0039644
13 | YES | 252.554 | 30.9959 | 0.00036941 | 0.00052643 | -0.00030976 | -0.00083619
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
YES
NO
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.40103 |  | X | CALC Y
m= | -8.6771e-06 | 4.0081e-06 |  | Std Dev of Resid |  | 0.00069657 |  | 201.971 | 0.00078011
b= | 0.0025326 | 0.0011062 |  | Resid Sum of Squares |  | 3.3965e-06 |  | 370.189 | -0.00067954
# of Values Extracted = |  |  | 30
# of Values Used in Fit = |  |  | 9
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 219.453 | 32.2244 | 0.00052587 | 0.01955 | 0.00062841 | -0.018922 |  | 247.199 | 0.00065613
1 | NO | 203.251 | 32.127 | 0.010675 | -0.016415 | 0.000769 | 0.017184 |  | 202.685 | 0.001339
2 | NO | 142.542 | 32.078 | 0.026616 | 0.024433 | 0.0012958 | -0.023137 |  | 222.34 | 0.00031662
2 | NO | 127.739 | 31.894 | 0.024396 | 0.043875 | 0.0014242 | -0.04245 |  | 201.971 | 0.0007019
3 | YES | 247.199 | 33.93 | 0.0002818 | 0.00065613 | 0.00038766 | -0.00026847 |  | 370.189 | -0.0011101
3 | YES | 202.685 | 33.9205 | 0.0002949 | 0.001339 | 0.00077391 | -0.00056505 |  | 302.969 | -0.00053215
4 | YES | 222.34 | 33.858 | 0.00026571 | 0.00031662 | 0.00060336 | 0.00028674 |  | 276.333 | -0.00092506
4 | YES | 201.971 | 33.8569 | 0.00031719 | 0.0007019 | 0.00078011 | 7.8201e-05 |  | 352.36 | 0.00062561
5 | NO | 208.028 | 31.3667 | 0.0055638 | 0.041746 | 0.00072755 | -0.041019 |  | 252.554 | 0.0006485
5 | NO | 202.433 | 31.2743 | 0.0044118 | -0.022602 | 0.0007761 | 0.023378
6 | NO | 318.006 | 31.0581 | 0.00047976 | 0.002327 | -0.00022675 | -0.0025537 |  |  | 0.00019116
6 | NO | 302.697 | 31.0382 | 0.0008469 | -0.0034828 | -9.3907e-05 | 0.0033889
7 | YES | 370.189 | 31.1171 | 0.00030607 | -0.0011101 | -0.00067954 | 0.00043054
7 | NO | 352.786 | 31.1019 | 0.00062919 | -0.0023746 | -0.00052854 | 0.0018461
8 | NO | 357.92 | 31.0601 | 0.00023097 | 0.0027447 | -0.00057308 | -0.0033178
8 | YES | 302.969 | 31.0045 | 0.00025579 | -0.00053215 | -9.6268e-05 | 0.00043588
9 | YES | 276.333 | 31.0461 | 0.00070766 | -0.00092506 | 0.00013486 | 0.0010599
9 | NO | 253.929 | 31.0345 | 0.0011638 | -0.002615 | 0.00032926 | 0.0029442
10 | NO | 309.65 | 31.0786 | 0.00025515 | 0.0038567 | -0.00015424 | -0.0040109
10 | NO | 303.596 | 31.0718 | 0.0003331 | -0.002058 | -0.00010171 | 0.0019563
11 | NO | 302.531 | 30.8228 | 0.00032159 | -0.0050507 | -9.2467e-05 | 0.0049582
11 | NO | 252.623 | 30.7738 | 0.00057184 | -0.0025921 | 0.00034059 | 0.0029327
11 | NO | 202.279 | 30.6267 | 0.001113 | -0.0088272 | 0.00077743 | 0.0096046
12 | NO | 312.051 | 30.7561 | 0.00024489 | -0.042088 | -0.00017507 | 0.041913
12 | NO | 252.804 | 30.6863 | 0.00023102 | -0.047487 | 0.00033902 | 0.047826
12 | NO | 202.652 | 30.552 | 0.00023452 | -0.056414 | 0.0007742 | 0.057188
13 | NO | 372.159 | 31.141 | 0.00022427 | 0.0043526 | -0.00069664 | -0.0050492
13 | YES | 352.36 | 31.12 | 0.00028049 | 0.00062561 | -0.00052484 | -0.0011504
13 | NO | 302.585 | 31.0486 | 0.00021312 | -0.0042229 | -9.2936e-05 | 0.0041299
13 | YES | 252.554 | 30.996 | 0.00023392 | 0.0006485 | 0.00034119 | -0.00030731
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
YES
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00047795 |  | X | CALC Y
m= | 5.1465e-06 | 7.8451e-05 |  | Std Dev of Resid |  | 0.00095028 |  | 3 | -0.00029961
b= | -0.00031505 | 0.00065764 |  | Resid Sum of Squares |  | 8.1273e-06 |  | 13 | -0.00024815
# of Values Extracted = |  |  | 30
# of Values Used in Fit = |  |  | 11
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 219.453 | 32.2231 | 0.00018491 | 0.018238 | -0.00030991 | -0.018548 |  | 3 | -0.00059128
1 | NO | 203.251 | 32.1346 | 0.020768 | -0.0087852 | -0.00030991 | 0.0084753 |  | 3 | -0.00026703
2 | NO | 142.542 | 32.0667 | 0.022598 | 0.013069 | -0.00030476 | -0.013374 |  | 4 | -0.00049973
2 | NO | 127.739 | 31.901 | 0.024643 | 0.050875 | -0.00030476 | -0.051179 |  | 4 | -0.0004425
3 | YES | 247.199 | 33.9287 | 0.00021365 | -0.00059128 | -0.00029961 | 0.00029167 |  | 6 | 0.0015659
3 | YES | 202.685 | 33.9189 | 0.00025993 | -0.00026703 | -0.00029961 | -3.2583e-05 |  | 8 | -0.00060272
4 | YES | 222.34 | 33.8572 | 0.00022705 | -0.00049973 | -0.00029447 | 0.00020526 |  | 8 | -0.00029945
4 | YES | 201.971 | 33.8558 | 0.00024571 | -0.0004425 | -0.00029447 | 0.00014804 |  | 10 | -0.00093269
5 | NO | 208.028 | 31.3655 | 0.0058796 | 0.040543 | -0.00028932 | -0.040832 |  | 11 | -0.0019588
5 | NO | 202.433 | 31.2744 | 0.0020829 | -0.022505 | -0.00028932 | 0.022215 |  | 13 | 0.00046349
6 | YES | 318.006 | 31.0574 | 0.00043047 | 0.0015659 | -0.00028417 | -0.0018501 |  | 13 | 0.00052643
6 | NO | 302.697 | 31.038 | 0.00085584 | -0.0036812 | -0.00028417 | 0.003397
7 | NO | 370.189 | 31.1014 | 0.00042229 | -0.016758 | -0.00027903 | 0.016479
7 | NO | 352.786 | 31.0875 | 0.00069958 | -0.016804 | -0.00027903 | 0.016525
8 | YES | 357.92 | 31.0568 | 0.014105 | -0.00060272 | -0.00027388 | 0.00032884
8 | YES | 302.969 | 31.0047 | 0.00032282 | -0.00029945 | -0.00027388 | 2.5574e-05
9 | NO | 276.333 | 31.0433 | 0.00076592 | -0.0037117 | -0.00026873 | 0.003443
9 | NO | 253.929 | 31.0319 | 0.0010384 | -0.0052452 | -0.00026873 | 0.0049765
10 | NO | 309.65 | 31.0788 | 0.00024876 | 0.0041256 | -0.00026359 | -0.0043892
10 | YES | 303.596 | 31.073 | 0.00039826 | -0.00093269 | -0.00026359 | 0.00066911
11 | NO | 302.531 | 30.8233 | 0.00028485 | -0.0046215 | -0.00025844 | 0.0043631
11 | YES | 252.623 | 30.7744 | 0.00051985 | -0.0019588 | -0.00025844 | 0.0017004
11 | NO | 202.279 | 30.6272 | 0.00092087 | -0.0083389 | -0.00025844 | 0.0080805
12 | NO | 312.051 | 30.7866 | 0.00025168 | -0.01165 | -0.00025329 | 0.011397
12 | NO | 252.804 | 30.7264 | 0.00021579 | -0.0073853 | -0.00025329 | 0.007132
12 | NO | 202.652 | 30.5916 | 0.00020962 | -0.016785 | -0.00025329 | 0.016531
13 | NO | 372.159 | 31.1411 | 0.00026679 | 0.0044918 | -0.00024815 | -0.00474
13 | YES | 352.36 | 31.1199 | 0.00022479 | 0.00046349 | -0.00024815 | -0.00071163
13 | NO | 302.585 | 31.0486 | 0.0002051 | -0.0042324 | -0.00024815 | 0.0039843
13 | YES | 252.554 | 30.9959 | 0.00036941 | 0.00052643 | -0.00024815 | -0.00077458
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
NO
NO
NO
YES
YES
NO
NO
NO
YES
NO
YES
NO
NO
NO
NO
NO
YES
NO
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2003-24-0004 | 2003-24-0004 | 8 | 218.495 | 219.453 | 0.030386 | 0.95825 | 32.2049 | 32.2231 | 0.00018491 | 0.018238 | 32.2049 | 32.2244 | 0.00052587 | 0.01955
2003-24-0004 | 2003-24-0004 | 121 | 202.917 | 203.251 | 0.086587 | 0.3336 | 32.1434 | 32.1346 | 0.020768 | -0.0087852 | 32.1434 | 32.127 | 0.010675 | -0.016415
2003-24-0007 | 2003-24-0007 | 121 | 142.922 | 142.542 | 0.094473 | -0.37976 | 32.0536 | 32.0667 | 0.022598 | 0.013069 | 32.0536 | 32.078 | 0.026616 | 0.024433
2003-24-0007 | 2003-24-0007 | 121 | 127.069 | 127.739 | 0.12297 | 0.67046 | 31.8501 | 31.901 | 0.024643 | 0.050875 | 31.8501 | 31.894 | 0.024396 | 0.043875
2003-24-0009 | 2003-24-0009 | 121 | 247.096 | 247.199 | 0.24962 | 0.10261 | 33.9293 | 33.9287 | 0.00021365 | -0.00059128 | 33.9293 | 33.93 | 0.0002818 | 0.00065613
2003-24-0009 | 2003-24-0009 | 121 | 202.613 | 202.685 | 0.26001 | 0.071899 | 33.9192 | 33.9189 | 0.00025993 | -0.00026703 | 33.9192 | 33.9205 | 0.0002949 | 0.001339
2003-24-0016 | 2003-24-0016 | 121 | 222.101 | 222.34 | 0.17783 | 0.23881 | 33.8577 | 33.8572 | 0.00022705 | -0.00049973 | 33.8577 | 33.858 | 0.00026571 | 0.00031662
2003-24-0016 | 2003-24-0016 | 121 | 202.187 | 201.971 | 0.12794 | -0.2162 | 33.8562 | 33.8558 | 0.00024571 | -0.0004425 | 33.8562 | 33.8569 | 0.00031719 | 0.0007019
2003-24-0036 | 2003-24-0036 | 121 | 207.79 | 208.028 | 0.070085 | 0.23775 | 31.325 | 31.3655 | 0.0058796 | 0.040543 | 31.325 | 31.3667 | 0.0055638 | 0.041746
2003-24-0036 | 2003-24-0036 | 121 | 202.359 | 202.433 | 0.042873 | 0.073898 | 31.2969 | 31.2744 | 0.0020829 | -0.022505 | 31.2969 | 31.2743 | 0.0044118 | -0.022602
2003-24-0046 | 2003-24-0046 | 121 | 317.881 | 318.006 | 0.052886 | 0.12491 | 31.0558 | 31.0574 | 0.00043047 | 0.0015659 | 31.0558 | 31.0581 | 0.00047976 | 0.002327
2003-24-0046 | 2003-24-0046 | 121 | 302.643 | 302.697 | 0.040722 | 0.054108 | 31.0417 | 31.038 | 0.00085584 | -0.0036812 | 31.0417 | 31.0382 | 0.0008469 | -0.0034828
2003-24-0049 | 2003-24-0049 | 121 | 369.897 | 370.189 | 0.061356 | 0.29181 | 31.1182 | 31.1014 | 0.00042229 | -0.016758 | 31.1182 | 31.1171 | 0.00030607 | -0.0011101
2003-24-0049 | 2003-24-0049 | 121 | 352.706 | 352.786 | 0.10582 | 0.079529 | 31.1043 | 31.0875 | 0.00069958 | -0.016804 | 31.1043 | 31.1019 | 0.00062919 | -0.0023746
2003-24-0054 | 2003-24-0054 | 121 | 357.893 | 357.92 | 0.080291 | 0.02713 | 31.0574 | 31.0568 | 0.014105 | -0.00060272 | 31.0574 | 31.0601 | 0.00023097 | 0.0027447
2003-24-0054 | 2003-24-0054 | 121 | 302.812 | 302.969 | 0.10267 | 0.1572 | 31.005 | 31.0047 | 0.00032282 | -0.00029945 | 31.005 | 31.0045 | 0.00025579 | -0.00053215
2003-24-0058 | 2003-24-0058 | 121 | 276.506 | 276.333 | 0.064399 | -0.17276 | 31.047 | 31.0433 | 0.00076592 | -0.0037117 | 31.047 | 31.0461 | 0.00070766 | -0.00092506
2003-24-0058 | 2003-24-0058 | 121 | 253.419 | 253.929 | 0.14941 | 0.5098 | 31.0371 | 31.0319 | 0.0010384 | -0.0052452 | 31.0371 | 31.0345 | 0.0011638 | -0.002615
2003-24-0061 | 2003-24-0061 | 121 | 309.483 | 309.65 | 0.090857 | 0.16708 | 31.0747 | 31.0788 | 0.00024876 | 0.0041256 | 31.0747 | 31.0786 | 0.00025515 | 0.0038567
2003-24-0061 | 2003-24-0061 | 121 | 303.32 | 303.596 | 0.087703 | 0.27594 | 31.0739 | 31.073 | 0.00039826 | -0.00093269 | 31.0739 | 31.0718 | 0.0003331 | -0.002058
2003-24-0070 | 2003-24-0070 | 68 | 302.648 | 302.531 | 0.25749 | -0.11652 | 30.8279 | 30.8233 | 0.00028485 | -0.0046215 | 30.8279 | 30.8228 | 0.00032159 | -0.0050507
2003-24-0070 | 2003-24-0070 | 60 | 252.821 | 252.623 | 0.28296 | -0.19765 | 30.7764 | 30.7744 | 0.00051985 | -0.0019588 | 30.7764 | 30.7738 | 0.00057184 | -0.0025921
2003-24-0070 | 2003-24-0070 | 61 | 202.46 | 202.279 | 0.27814 | -0.181 | 30.6355 | 30.6272 | 0.00092087 | -0.0083389 | 30.6355 | 30.6267 | 0.001113 | -0.0088272
2003-24-0072 | 2003-24-0072 | 121 | 312.046 | 312.051 | 0.042095 | 0.0046387 | 30.7982 | 30.7866 | 0.00025168 | -0.01165 | 30.7982 | 30.7561 | 0.00024489 | -0.042088
2003-24-0072 | 2003-24-0072 | 121 | 252.802 | 252.804 | 0.035937 | 0.0019379 | 30.7338 | 30.7264 | 0.00021579 | -0.0073853 | 30.7338 | 30.6863 | 0.00023102 | -0.047487
2003-24-0072 | 2003-24-0072 | 121 | 202.653 | 202.652 | 0.038538 | -0.00086975 | 30.6084 | 30.5916 | 0.00020962 | -0.016785 | 30.6084 | 30.552 | 0.00023452 | -0.056414
2003-24-0081 | 2003-24-0081 | 121 | 372.22 | 372.159 | 0.043345 | -0.061401 | 31.1366 | 31.1411 | 0.00026679 | 0.0044918 | 31.1366 | 31.141 | 0.00022427 | 0.0043526
2003-24-0081 | 2003-24-0081 | 121 | 352.34 | 352.36 | 0.033911 | 0.019653 | 31.1194 | 31.1199 | 0.00022479 | 0.00046349 | 31.1194 | 31.12 | 0.00028049 | 0.00062561
2003-24-0081 | 2003-24-0081 | 121 | 302.574 | 302.585 | 0.05164 | 0.010773 | 31.0528 | 31.0486 | 0.0002051 | -0.0042324 | 31.0528 | 31.0486 | 0.00021312 | -0.0042229
2003-24-0081 | 2003-24-0081 | 121 | 252.548 | 252.554 | 0.047102 | 0.0058136 | 30.9954 | 30.9959 | 0.00036941 | 0.00052643 | 30.9954 | 30.996 | 0.00023392 | 0.0006485
Create Fit Sheet