## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 22-Dec-2003 | Merged nutrient data with the rosette files. The oxygen data for cast 21 was added at this time as it had not been merged the first time. The OXY file was named as cast 19 instead of 21. |

## PROCESSING NOTES

Cruise: 2003-24

Agency: OSAP

Location: Strait of Georgia / Juan de Fuca Strait

Project: SoG

Party Chief: Johannessen S.

Platform: Vector

Date: June 16, 2003 – June 20, 2003

Processed by: Germaine Gatien

Date of Processing: 2 October 2003 – 10 October 2003

Number of original CTD casts: 78

Number of casts processed: 77

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0443) was mounted with a Chelsea transmissometer (#498DR) and a Seapoint Fluorometer (#2228) with a 10X cable. The deck unit was a SeaBird Model 11 (#0424).

# SUMMARY OF QUALITY AND CONCERNS

There is some uncertainty about whether the fluorometer was pumped or not, but the evidence suggests that it was pumped.

Some rosette log sheets were incomplete, with no indication of what sampling was done. According to the chief scientist the sampling was the same for all casts with the exception of salinity calibration sampling which is recorded on the sheets.

There was some data corruption due to jellyfish interrupting flow to the CTD; generally only one pair of sensors were affected, but a little data was lost when both were affected. There may be some residual data corruption when the problem was not bad enough to be obvious.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension DAT.

##### Preliminary Steps

The Log Book was obtained. There is mention of many problems with rosette bottles.

According to the log file #67 should be #68. This name was corrected.

The rosette log sheets were obtained; in several cases they lack any information about what sampling was done. There is no log sheet for cast #1 and in fact there is no useful data for cast #1. There is no indication in the log of what went wrong.

Salinity and oxygen bottle calibration data was obtained. The cruise summary sheet was completed.

The configuration files were obtained and the calibration constants were checked. Errors were corrected in the dates of the pressure and transmissometer calibrations.

The sensor history was found.

The file names were non-standard and needed to be corrected.

##### Conversion of Raw Data

The raw data was converted using the configuration file 2003-24-0001.con.

The first conversion indicated problems with the pressure, FL and O2. The con file had a dissolved oxygen channel, but the log says it was not mounted. The log is correct. According to the log the fluorometer was unpumped, but this entry may be in error. Neither the party chief nor Sheila Toews were aware that the fluorometer was unpumped. So it is likely wrong. The fluorescence looks noisy but not as bad as expected for unpumped data.

The pressure looks off, with values on the order of -0.8db for the beginning of the casts. In fact the casts were started at about 1.5db. So a new configuration file was created with an offset of 2.3db entered in the pressure section and the dissolved oxygen channel removed. Corrections were made to the dates of the transmissivity and pressure calibrations. The new con file was named 2003-24-CTD.con.

A second conversion was done.

A few casts were checked and the data looks reasonable except for cast #1 for which there are only out-of-water values in the file.

Rosette files were converted.

##### WILDEDIT

Program WILDEDIT was used to remove spikes from the pressure channels only.  Parameters used were:

Pass 1    Std Dev = 2;	Pass 2    Std Dev = 5;	Points per block = 50

A test was made running WILDEDIT on fluorescence, but it did not improve the spiky sections and in the past it has been noted that using in on that channel tends to lead to good data being lost in areas of low variation. Noisy temperature data was noted in one cast, but including this in WILDEDIT did not improve it noticeably.

##### CELLTM

Tests were run on a few casts with (alpha, 1/beta) set to (0.02,9), (0.03,9), (0.02,7), (0.03,7) and(0.0245, 9.5). The results depended on the depth that was examined with (0.03,9) looking best at most depths for both pairs of sensors. CELLTM was run on all casts using (0.03,9) for both sensors.

##### ALIGNCTD

Since the deck unit is one of the older ones the secondary conductivity was advanced by +0.073s.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity.

on all casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

A sample of casts was plotted to check for agreement between the pairs of T and C sensors.

The differences between sensors were generally noisy so the figures that follow are rough averages:

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 46 | 300 | +0.004 | +0.00002 | ~0 | Steady high |
| 49 | 320 | +0.0045 | -0.0002 | -0.002 | Steady ~1 |
| 54 | 320 | -0.0001 | -0.0001 | -0.001 | Steady ~1 |
| 56 | 320 | +0.005 | -0.00005 | -0.0005 | Steady ~1 |
| 70 | 300 | +0.005 | -0.00002 | -0.0008 | Steady ~1 |
| 80 | 300 | +0.005 | ~0 | -0.0003 | Steady ~1 |

The conductivity and salinity for cast #49 seem out of step with the other casts. It looks as though there may have been something wrong with one of the cells at mid-depth – a minor change in flow rate might account for this difference. There is a note in the log that jellyfish tentacles were found on the equipment, so that probably impeded flow to one of the cells. Similarly, the temperature differences for cast #54 are significantly different from the other casts; the log does not mention jellyfish, but there might have been some such effect at work. There is no indication of drifting calibrations and the closeness of the two pairs of sensors so soon after calibration suggests that both are producing accurate salinity.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers.

The rosette files were converted to IOS files and then CLEAN was run to add event numbers with the output being named BOT.

All BOT files were plotted and checked for outliers. There were strange results for many casts. The bottle appears to have been fired just after the CTD began to ascend again. If that is the case then the contents of the bottles will be of limited value. If the bottle closed at the right time and it is just the BL contents that are wrong then choosing times before the firing will make the ROS file contents match the bottles. This will be investigated later.

No outliers were noted in any of the rosette data other than the variation due to the vertical motion.

##### Checking Headers

CLEAN was run to add event numbers to IOS files.

The cruise track was plotted and no problems noted.

A header summary and a header check were produced and no problems found.

The average surface pressure is 1.4db (after applying the offset in the pressure calibration) and the mixed layer depth calculation shows no surface water sufficiently well-mixed to be useful for salinity calibration purposes.

All CLN files were examined on-screen for problems in T and S. Where problems were noted the original data was examined to see if processing had created trouble, or if the original data was bad. In each case the problems were in the original converted data. The downcast conductivity is bad below 180db for cast #47, probably due to the jellyfish noted in the log. The secondary looks better than the primary. The downcast secondary temperature was bad for casts #48 and #65. The problem with cast #48 was probably caused by the jellyfish tentacles noted in the log and given that #65 looks very similar, it may have had the same problem. Both conductivity channels were bad near the bottom of cast #60, but that problem affects mostly the upcast.

##### BOTTLE FILE PREPARATION

The BOT files were averaged to enable an addsamp file to be created. This file was edited to add sample numbers taken from the rosette sheets. Note that Niskin Bottle #14 at the surface does not have a corresponding entry in the rosette file. The bottle did close and no samples were taken.

The salinity analysis spreadsheets were converted to individual SAL files. There were no flags, so no comments needed to be added to the headers.

The DOX files already have the comments in the headers.

For cast #36 there were replicate DOX samples from 33db. One was entered in the bottle file and the other is entered in the header as a comment.

The SAL and OXY files were merged with SAMAVG in two steps. (Output: MRG1 MRG)

##### 11. COMPARE and Problems with the Rosette during 2003-24

Problems with the rosette include:

- The log indicates that problems were experienced at sea. On several occasions it is noted that the bottles would not fire. Work was done on the carousel after cast #15, after which no further entries were made in the log about such problems.

- The rosette files include records during upcasts. The important question is whether the bottle closed while stopped, as intended, or closed late.

- There have been oral reports of problems with bottle firing during other cruises, although the problems sound a little different, such as two bottles firing when one was intended. When the deck unit was changed during a recent cruise the problems disappeared. However, this was a different deck unit from that used during 2003-24 if the info in the two logs is accurate.

Sophie Johannessen reports that there were problems experienced at sea with computer crashes, difficulty setting up the proper carousel settings and inability to fire bottles. However, when the bottles were fired the response was normal with the bottle firing confirmation being received before the CTD was raised to the next level. As far as could be detected on-screen the firing was normal and the bottles did close. The problems of which they were aware were cleared up fairly early in the cruise.

When the full cast files are converted with the ”Number of Bottles Fired” channel included, that number changes at a scan number that is appropriate, during the stop time. The scan numbers in the BL files are different by a constant number of scans. The start is 48 scans after the firing. A check of one cast from 2003-11 suggests this is true for that cruise as well and that was a different deck unit, so this is probably how it is supposed to work. For 2003-11 the BOT files have scans that start at the time of firing. I always choose a start of -2s for creation of the BOT files so that makes sense if it is taking the start point as the beginning of the BL file. For 2003-24 the BOT files are also starting at the firing time but are including data from the time the CTD is moving upwards. This implies that either the firing time is late or the winch started up much faster than usual. The latter is likely. While this can be allowed for in the choice of conversion parameters, it would be best to wait for a few seconds after firing before starting up.

For a preliminary look at the salinity calibration I plotted the BOT files and looked for pressure variation in the bottles for which we have salinity bottle data. The bottle at 352db of cast # 81 is one for which there was no notable pressure variation in the BOT file and for which the local gradients of T and C were low. So we can consider this a measure of the calibration error, keeping in mind the danger of using only one bottle. From the averaged data in the MRG files we have:

P=352.360  S0=  31.1199 S1= 31.1200 S:BOT=  31.1194

The two salinity channels from the CTD are well within 0.001 units of the bottle. This, plus the facts that the two channels are in generally good agreement through the cruise and the conductivity sensors were both recalibrated just before this cruise, offer some comfort that the calibration is probably good.

Casts # 46 and 49 are at stations that would normally be good sources of comparison but both have problems with the pressure in the BOT files and casts #46 through #48 were ones for which jellyfish were mentioned in the log.

Running COMPARE in the normal way shows a lot of scatter especially between 100db and 250db. It is not unusual in this region to have a lot of scatter in comparisons due to the great variability and relatively shallow sampling. However some of the scatter varies from one sensor to the other. Since the two sensors are usually in good agreement in this data set, that suggests something special going on, such as mud from the occasional touch-downs of the rosette or the presence of jellyfish parts on the equipment. The differences vary in sign which would not be expected if the errors were primarily due to being at the wrong pressure.

Tests were done converting the rosette files by selecting data from -10s and -20s before the firing time, in each case including 5s worth of data. This produced files with little pressure variation per bottle. When COMPARE was rerun the differences between bottles and CTD were slightly smaller. This suggests that the bottles do contain water from the stop position, but the differences are slight and the scatter is still large. So the scatter is not primarily due to bottle-firing problems. There are 9 points with differences from bottles less than 0.001psu for both sensors and those 9 points look very flat, little pressure-dependence. This could just be luck, but it lends a little weight to the assumption that the salinity calibration is good.

CONCLUSIONS

- When the BOT file is prepared in the usual way it sometimes contains data from the beginning of the ascent after the bottle firing. The conversion routine can be adjusted to select earlier scans.

- It is possible the firing time somehow got delayed so that the bottles closed after the end of the stop, but it seems more likely that the cause of the problem is an extraordinarily quick start by the winch operator.

- The salinity calibration is probably fine for 2003-24.

- The rosette bottles probably closed during the stop, but there is no proof of this. The conversion using -10s and a duration of 5s was chosen for the final files so the pressure will be appropriate if the rosette did close during the stop. However, that is uncertain.

- There were problems with the bottle calibrations that are likely due to things other than the pressure question. Fouling by jellyfish or mud may account for some and/or there may have been problems with sampling.

Given the uncertainties no change was made to the quality flags for the salinity and no recalibration of salinity will be done. (See 2003-24-comp-sal.xls for the original conversion and 2003-24-comp-sal2.xls for the final comparison.)

##### 12. SHIFT

Conductivity

Tests were run on the deep waters of cast #49 since they display the sort of variations needed to analyze the alignment. The results were examined in T-S space with the best results those that minimize unstable spiking without oversmoothing. The best results were found using advancements of -0.2 records for the primary conductivity and -2.0 records for the secondary for net advancements of about 0.068s and 0.025s (since each channel was already advanced by +0.073s). The secondary results are surprising and if they were to be applied to all casts further investigation would be advised. However, since they will be applied only to casts #47 and 49 this was not done. All files were put through SHIFT using -0.2 records for the primary sensor. Casts # 47 and 49 were put through SHIFT a second time to advance the secondary conductivity channel by -2 records.

Fluorescence

To find what shift is needed for the fluorescence, upcast and downcast profiles were examined to determine the vertical offset of the temperature and fluorescence traces. The differences between these two offsets is treated as a measure of how much the fluorescence needs to be shifted. The “excess” offset for the fluorescence was divided by the averaged descent/ascent rate and divided by 2(since the shift will be applied to both up and downcast) to find the shift (in seconds) to remove that offset. The value found for cast #49 was about 1 to 1.5s. This suggests that the fluorometer was pumped since this is the result we usually get with pumped fluorescence. A shift of +24 records was applied. This is the same figure that has been applied to all recent data sets.

##### DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min and Low Salt

Maximum Surface Pressure (relative): 10.00

Minimum Surface Salinity: 5.0

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range    10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: There were no warnings.

##### DETAILED EDITING

There are problems with both pairs of sensors in the second half of this cruise, probably due to jellyfish parts interfering with the flow. The primary sensors were chosen for all casts except #47 and 49; for those two casts the secondary sensors gave better data.

Page plots were produced. These plots were examined for spikes and instabilities and used to guide the use of CTDEDIT. Some data was removed from the top few metres for most casts. Where unstable features were clearly due to shed wakes, data was removed. Salinity was cleaned where large spikes occurred. There were many very small one-sided spikes in salinity (~0.001psu) which did not appear to be due to flow-rate problems. They look like electrical glitches and were seen in both channels. These were cleaned where it appeared that bin-averaged data would be significantly affected by the spikes. Since such features are missed in areas of great variability there may some tendency to the averaged salinity being a little low, but the effect should be an error <0.001psu.

Most casts had a reasonably steady descent rate but there were a few with extremely noisy descent rate with the result of some data being corrupted by shed wakes. DELETE plus CTDEDIT removed much of the corrupted data, but in this region editing is limited by the difficulty in telling good data from bad. Only if the data is clearly corrupted by shed wakes was it removed.

All casts required a little editing.

The following casts were edited more extensively: #9, 18, 21, 22, 24 and 65.

Note was made of the editing details in the relevant files.

##### Other Comparisons

Previous experience with these sensors – Both conductivity sensors were recalibrated in April 2003. No other data has been processed using these sensors since that time.

Historic ranges – Temperature and salinity were compared with the historic ranges where local climatology was available. The only excursions from those ranges were for temperature at mid-depths for some casts; Diane Masson reviewed the results and did not consider this evidence of problems with the data.

##### RECALIBRATION

No recalibration was done.

##### Special Fluorometer Processing

The EDT files were clipped to 100db and stored in a separate directory for the use of Angelica Peña. They were put through REMOVE and HEADEDIT to produce files FCTD and saved to a CD-ROM.

A median filter, fixed size=11, was applied to the fluorescence channel in the AVG files to reduce spikiness. One cast was examined before and after this step and showed that the filter was effective. (Output: BOX)

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the BOX files (output AVG):

Bin channel = pressure

Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen and no further editing was deemed necessary.

##### Final Plots

THIN and DERIVE were run to obtain values for tables and page plots were prepared using the edited data and displaying T, S, Fluorescence and Transmissivity profiles.

##### FINAL CTD files steps (REMOVE and HEADEDIT)

The Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Descent_Rate and Flag channels were removed from all casts except #47 and #49.

The Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Descent_Rate and Flag channels were removed from casts #47 and #49.

HEADER EDIT was used to add a comment, fix formats and channel names using file 2003-24-header.txt. The Standards Check routine was run and no problems were found.

The final files were named CTD.

##### Final Bottle Files

The MRG files were put through CLEAN to remove the SeaBird headers and REMOVE to remove Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, and Flag except for cast #49. For cast #49 the following channels were removed: Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, and Flag.

HEADER EDIT was run to add a standard comment about quality flag definitions and to fix formats. Standards check was run on all files and HEADEDIT adjusted until all format problems were resolved. The final files were named CHE.

##### Producing final files

A cross-reference listing was produced.

The sensor history was updated.

Particulars

1. No useful data. Out-of-water values.

3. Bottle not firing

12. Bottle not firing

13. Cast aborted

14. Cast aborted

15. A bottle file was created with 24 bottles, but all are at the surface and no sampling was done.

16. Bottles did not fire.

30. Computer crash. Two bottles fired, but no rosette sheet so presumed accidental.

34. Computer crash

36. A replicate DOX sample was taken around 30db. 2nd sample value entered as comment in header.

46. Jellyfish

47. Jellyfish. Primary salinity bad below 180db. Used secondary sensors.

48. Jellyfish

49. Primary salinity bad near bottom of cast. Used secondary sensors. Jellyfish?

53. Hit bottom, mud on chain only. Bottles fired, but no rosette sheet so presumed accidental

55. Touched bottom

68. Saved as event number 67, should be 68.

65. Jellyfish? Not mentioned in log but transmissivity odd and T,S bad around 235db.

# Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#: 2003-24

Dates: Start: June 16, 2003 End: June 20, 2003

Location: Strait of Georgia / Juan de Fuca Strait

Vessel: Vector

Party Chief: Johannessen S.

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0443 | Yes | Yes |

Institute of Ocean Sciences

# CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/0443

Cruise ID#:		2003-24

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date(dd/mm/yy) | Location | Date | Location |

| Temperature | 2038 | 22/04/03 | Factory |  |  |
| --- | --- | --- | --- | --- | --- |

| Conductivity | 2173 | 24/04/03 | “ |  |  |
| --- | --- | --- | --- | --- | --- |
| Secondary Temp. | 2968 | 22/04/03 | “ |  |  |
| Secondary Cond. | 1729 | 24/04/03 | “ |  |  |
| Transmissometer | 198DR | 11/10/02 | IOS |  |  |
| Fluorometer | 2228 |  | IOS |  |  |
| Pressure Sensor | 63507 | 11/01/96 | Factory |  |  |