## File List
Number of Files= |  | 9
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2003-26-0001 | 2003-26-0001 | 12 | 13 | 2003-26-0001 & 2003-26-0001
2 | 2003-26-0004 | 2003-26-0004 | 15 | 16 | 2003-26-0004 & 2003-26-0004
3 | 2003-26-0005 | 2003-26-0005 | 18 | 19 | 2003-26-0005 & 2003-26-0005
4 | 2003-26-0006 | 2003-26-0006 | 21 | 22 | 2003-26-0006 & 2003-26-0006
5 | 2003-26-0007 | 2003-26-0007 | 24 | 25 | 2003-26-0007 & 2003-26-0007
6 | 2003-26-0045 | 2003-26-0045 | 27 | 27 | 2003-26-0045 & 2003-26-0045
7 | 2003-26-0046 | 2003-26-0046 | 29 | 29 | 2003-26-0046 & 2003-26-0046
8 | 2003-26-0055 | 2003-26-0055 | 31 | 31 | 2003-26-0055 & 2003-26-0055
9 | 2003-26-0057 | 2003-26-0057 | 33 | 33 | 2003-26-0057 & 2003-26-0057

## (Sal0 - Sal-bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal-bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal-bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.74171 |  | X | CALC Y
m= | -3.8032e-06 | 6.4788e-07 |  | Std Dev of Resid |  | 0.0016711 |  | 121.315 | 0.00098369
b= | 0.0014451 | 0.000821 |  | Resid Sum of Squares |  | 3.3512e-05 |  | 2176.74 | -0.0068335
# of Values Extracted = |  |  | 14
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal-bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 2176.74 | 34.6064 | 0.00045388 | -0.0057831 | -0.0068335 | -0.0010504 |  | 2176.74 | -0.0057831
1 | YES | 2105.04 | 34.6032 | 0.00027414 | -0.0046616 | -0.0065608 | -0.0018993 |  | 2105.04 | -0.0046616
2 | YES | 1506.14 | 34.5104 | 0.00028088 | -0.0073586 | -0.0042831 | 0.0030755 |  | 1506.14 | -0.0073586
2 | YES | 1404.07 | 34.4881 | 0.000255 | -0.0026245 | -0.0038949 | -0.0012704 |  | 1404.07 | -0.0026245
3 | YES | 1503.83 | 34.513 | 0.00023473 | -0.0053558 | -0.0042743 | 0.0010815 |  | 1503.83 | -0.0053558
3 | YES | 1401.95 | 34.4974 | 0.00025495 | -0.0031357 | -0.0038868 | -0.00075116 |  | 1401.95 | -0.0031357
4 | YES | 1411.97 | 34.4901 | 0.00035645 | -0.0043335 | -0.0039249 | 0.00040856 |  | 1411.97 | -0.0043335
4 | YES | 1301.68 | 34.4644 | 0.00037773 | -0.0038033 | -0.0035055 | 0.00029776 |  | 1301.68 | -0.0038033
5 | YES | 751.303 | 34.2618 | 0.00027187 | -0.0034485 | -0.0014123 | 0.0020362 |  | 751.303 | -0.0034485
5 | YES | 700.496 | 34.2281 | 0.00057964 | -0.0024338 | -0.0012191 | 0.0012147 |  | 700.496 | -0.0024338
6 | YES | 121.315 | 33.9079 | 0.0011107 | 0.0007019 | 0.00098369 | 0.00028179 |  | 121.315 | 0.0007019
7 | YES | 158.505 | 33.913 | 0.0016682 | 0.0039635 | 0.00084225 | -0.0031212 |  | 158.505 | 0.0039635
8 | YES | 128.661 | 33.9197 | 0.00023333 | 0.001461 | 0.00095575 | -0.00050528 |  | 128.661 | 0.001461
9 | YES | 214.577 | 33.9133 | 0.00022573 | 0.00042725 | 0.000629 | 0.00020175 |  | 214.577 | 0.00042725
-0.0025989
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal-bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal-bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal-bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.68423 |  | X | CALC Y
m= | -2.967e-06 | 5.8184e-07 |  | Std Dev of Resid |  | 0.0015008 |  | 121.315 | -0.00064738
b= | -0.00028744 | 0.00073732 |  | Resid Sum of Squares |  | 2.7028e-05 |  | 2176.74 | -0.0067457
# of Values Extracted = |  |  | 14
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal-bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 2176.74 | 34.6053 | 0.00037286 | -0.0069199 | -0.0067457 | 0.00017413 |  | 2176.74 | -0.0069199
1 | YES | 2105.04 | 34.6024 | 0.00025085 | -0.005497 | -0.006533 | -0.001036 |  | 2105.04 | -0.005497
2 | YES | 1506.14 | 34.5098 | 0.00032227 | -0.0080414 | -0.0047561 | 0.0032853 |  | 1506.14 | -0.0080414
2 | YES | 1404.07 | 34.4875 | 0.00028895 | -0.0032272 | -0.0044533 | -0.001226 |  | 1404.07 | -0.0032272
3 | YES | 1503.83 | 34.5127 | 0.00025953 | -0.0057335 | -0.0047492 | 0.00098425 |  | 1503.83 | -0.0057335
3 | YES | 1401.95 | 34.497 | 0.00025847 | -0.0034561 | -0.004447 | -0.00099084 |  | 1401.95 | -0.0034561
4 | YES | 1411.97 | 34.4902 | 0.00030345 | -0.0042458 | -0.0044767 | -0.00023093 |  | 1411.97 | -0.0042458
4 | YES | 1301.68 | 34.4648 | 0.00045215 | -0.0034256 | -0.0041495 | -0.00072387 |  | 1301.68 | -0.0034256
5 | YES | 751.303 | 34.2624 | 0.00025849 | -0.0028191 | -0.0025165 | 0.00030254 |  | 751.303 | -0.0028191
5 | YES | 700.496 | 34.2288 | 0.00057443 | -0.0017166 | -0.0023658 | -0.00064917 |  | 700.496 | -0.0017166
6 | YES | 121.315 | 33.905 | 0.00068183 | -0.0022469 | -0.00064738 | 0.0015995 |  | 121.315 | -0.0022469
7 | YES | 158.505 | 33.9109 | 0.0014273 | 0.0019417 | -0.00075772 | -0.0026994 |  | 158.505 | 0.0019417
8 | YES | 128.661 | 33.917 | 0.00024494 | -0.0012054 | -0.00066917 | 0.00053627 |  | 128.661 | -0.0012054
9 | YES | 214.577 | 33.9113 | 0.00021343 | -0.0015984 | -0.00092408 | 0.00067428 |  | 214.577 | -0.0015984
-0.0034422
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal-bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal-bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal-bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.68126 |  | X | CALC Y
m= | 0.0010329 | 0.00020394 |  | Std Dev of Resid |  | 0.0018564 |  | 1 | -0.0059926
b= | -0.0070254 | 0.001005 |  | Resid Sum of Squares |  | 4.1355e-05 |  | 9 | 0.0022703
# of Values Extracted = |  |  | 14
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal-bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 2176.74 | 34.6064 | 0.00045388 | -0.0057831 | -0.0059926 | -0.00020949 |  | 1 | -0.0057831
1 | YES | 2105.04 | 34.6032 | 0.00027414 | -0.0046616 | -0.0059926 | -0.001331 |  | 1 | -0.0046616
2 | YES | 1506.14 | 34.5104 | 0.00028088 | -0.0073586 | -0.0049597 | 0.0023988 |  | 2 | -0.0073586
2 | YES | 1404.07 | 34.4881 | 0.000255 | -0.0026245 | -0.0049597 | -0.0023352 |  | 2 | -0.0026245
3 | YES | 1503.83 | 34.513 | 0.00023473 | -0.0053558 | -0.0039269 | 0.001429 |  | 3 | -0.0053558
3 | YES | 1401.95 | 34.4974 | 0.00025495 | -0.0031357 | -0.0039269 | -0.00079118 |  | 3 | -0.0031357
4 | YES | 1411.97 | 34.4901 | 0.00035645 | -0.0043335 | -0.002894 | 0.0014395 |  | 4 | -0.0043335
4 | YES | 1301.68 | 34.4644 | 0.00037773 | -0.0038033 | -0.002894 | 0.00090925 |  | 4 | -0.0038033
5 | YES | 751.303 | 34.2618 | 0.00027187 | -0.0034485 | -0.0018611 | 0.0015873 |  | 5 | -0.0034485
5 | YES | 700.496 | 34.2281 | 0.00057964 | -0.0024338 | -0.0018611 | 0.00057264 |  | 5 | -0.0024338
6 | YES | 121.315 | 33.9079 | 0.0011107 | 0.0007019 | -0.00082829 | -0.0015302 |  | 6 | 0.0007019
7 | YES | 158.505 | 33.913 | 0.0016682 | 0.0039635 | 0.00020457 | -0.0037589 |  | 7 | 0.0039635
8 | YES | 128.661 | 33.9197 | 0.00023333 | 0.001461 | 0.0012374 | -0.00022361 |  | 8 | 0.001461
9 | YES | 214.577 | 33.9133 | 0.00022573 | 0.00042725 | 0.0022703 | 0.001843 |  | 9 | 0.00042725
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal-bot) (3)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal-bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal-bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.68126 |  | X | CALC Y
m= | 0.0010329 | 0.00020394 |  | Std Dev of Resid |  | 0.0018564 |  | 1 | -0.0059926
b= | -0.0070254 | 0.001005 |  | Resid Sum of Squares |  | 4.1355e-05 |  | 9 | 0.0022703
# of Values Extracted = |  |  | 14
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal-bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 2176.74 | 34.6064 | 0.00045388 | -0.0057831 | -0.0059926 | -0.00020949 |  | 1 | -0.0057831
1 | YES | 2105.04 | 34.6032 | 0.00027414 | -0.0046616 | -0.0059926 | -0.001331 |  | 1 | -0.0046616
2 | YES | 1506.14 | 34.5104 | 0.00028088 | -0.0073586 | -0.0049597 | 0.0023988 |  | 2 | -0.0073586
2 | YES | 1404.07 | 34.4881 | 0.000255 | -0.0026245 | -0.0049597 | -0.0023352 |  | 2 | -0.0026245
3 | YES | 1503.83 | 34.513 | 0.00023473 | -0.0053558 | -0.0039269 | 0.001429 |  | 3 | -0.0053558
3 | YES | 1401.95 | 34.4974 | 0.00025495 | -0.0031357 | -0.0039269 | -0.00079118 |  | 3 | -0.0031357
4 | YES | 1411.97 | 34.4901 | 0.00035645 | -0.0043335 | -0.002894 | 0.0014395 |  | 4 | -0.0043335
4 | YES | 1301.68 | 34.4644 | 0.00037773 | -0.0038033 | -0.002894 | 0.00090925 |  | 4 | -0.0038033
5 | YES | 751.303 | 34.2618 | 0.00027187 | -0.0034485 | -0.0018611 | 0.0015873 |  | 5 | -0.0034485
5 | YES | 700.496 | 34.2281 | 0.00057964 | -0.0024338 | -0.0018611 | 0.00057264 |  | 5 | -0.0024338
6 | YES | 121.315 | 33.9079 | 0.0011107 | 0.0007019 | -0.00082829 | -0.0015302 |  | 6 | 0.0007019
7 | YES | 158.505 | 33.913 | 0.0016682 | 0.0039635 | 0.00020457 | -0.0037589 |  | 7 | 0.0039635
8 | YES | 128.661 | 33.9197 | 0.00023333 | 0.001461 | 0.0012374 | -0.00022361 |  | 8 | 0.001461
9 | YES | 214.577 | 33.9133 | 0.00022573 | 0.00042725 | 0.0022703 | 0.001843 |  | 9 | 0.00042725
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal-bot) (4)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal-bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal-bot), Prop=Sal0
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.81329 |  | X | CALC Y
m= | -0.01019 | 0.0014094 |  | Std Dev of Resid |  | 0.0014208 |  | 33.9079 | 0.0014815
b= | 0.34699 | 0.048355 |  | Resid Sum of Squares |  | 2.4225e-05 |  | 34.6064 | -0.005636
# of Values Extracted = |  |  | 14
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal-bot) |  |  |  | Fit vs. | Sal0
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 2176.74 | 34.6064 | 0.00045388 | -0.0057831 | -0.005636 | 0.00014707 |  | 34.6064 | -0.0057831
1 | YES | 2105.04 | 34.6032 | 0.00027414 | -0.0046616 | -0.0056034 | -0.00094184 |  | 34.6032 | -0.0046616
2 | YES | 1506.14 | 34.5104 | 0.00028088 | -0.0073586 | -0.0046578 | 0.0027008 |  | 34.5104 | -0.0073586
2 | YES | 1404.07 | 34.4881 | 0.000255 | -0.0026245 | -0.0044306 | -0.0018061 |  | 34.4881 | -0.0026245
3 | YES | 1503.83 | 34.513 | 0.00023473 | -0.0053558 | -0.0046843 | 0.00067154 |  | 34.513 | -0.0053558
3 | YES | 1401.95 | 34.4974 | 0.00025495 | -0.0031357 | -0.0045253 | -0.0013897 |  | 34.4974 | -0.0031357
4 | YES | 1411.97 | 34.4901 | 0.00035645 | -0.0043335 | -0.0044509 | -0.00011745 |  | 34.4901 | -0.0043335
4 | YES | 1301.68 | 34.4644 | 0.00037773 | -0.0038033 | -0.0041891 | -0.00038582 |  | 34.4644 | -0.0038033
5 | YES | 751.303 | 34.2618 | 0.00027187 | -0.0034485 | -0.0021246 | 0.0013238 |  | 34.2618 | -0.0034485
5 | YES | 700.496 | 34.2281 | 0.00057964 | -0.0024338 | -0.0017812 | 0.00065253 |  | 34.2281 | -0.0024338
6 | YES | 121.315 | 33.9079 | 0.0011107 | 0.0007019 | 0.0014815 | 0.00077959 |  | 33.9079 | 0.0007019
7 | YES | 158.505 | 33.913 | 0.0016682 | 0.0039635 | 0.0014295 | -0.0025339 |  | 33.913 | 0.0039635
8 | YES | 128.661 | 33.9197 | 0.00023333 | 0.001461 | 0.0013613 | -9.9778e-05 |  | 33.9197 | 0.001461
9 | YES | 214.577 | 33.9133 | 0.00022573 | 0.00042725 | 0.0014265 | 0.00099922 |  | 33.9133 | 0.00042725
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal-bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal-bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal-bot), Prop=Sal1
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.6489 |  | X | CALC Y
m= | -0.0073716 | 0.0015653 |  | Std Dev of Resid |  | 0.0015825 |  | 33.905 | -0.00047508
b= | 0.24946 | 0.053704 |  | Resid Sum of Squares |  | 3.0053e-05 |  | 34.6053 | -0.0056374
# of Values Extracted = |  |  | 14
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal-bot) |  |  |  | Fit vs. | Sal1
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 2176.74 | 34.6053 | 0.00037286 | -0.0069199 | -0.0056374 | 0.0012824 |  | 34.6053 | -0.0069199
1 | YES | 2105.04 | 34.6024 | 0.00025085 | -0.005497 | -0.0056161 | -0.00011908 |  | 34.6024 | -0.005497
2 | YES | 1506.14 | 34.5098 | 0.00032227 | -0.0080414 | -0.0049334 | 0.0031079 |  | 34.5098 | -0.0080414
2 | YES | 1404.07 | 34.4875 | 0.00028895 | -0.0032272 | -0.0047691 | -0.0015418 |  | 34.4875 | -0.0032272
3 | YES | 1503.83 | 34.5127 | 0.00025953 | -0.0057335 | -0.0049548 | 0.00077866 |  | 34.5127 | -0.0057335
3 | YES | 1401.95 | 34.497 | 0.00025847 | -0.0034561 | -0.0048391 | -0.001383 |  | 34.497 | -0.0034561
4 | YES | 1411.97 | 34.4902 | 0.00030345 | -0.0042458 | -0.004789 | -0.0005432 |  | 34.4902 | -0.0042458
4 | YES | 1301.68 | 34.4648 | 0.00045215 | -0.0034256 | -0.0046017 | -0.0011761 |  | 34.4648 | -0.0034256
5 | YES | 751.303 | 34.2624 | 0.00025849 | -0.0028191 | -0.0031097 | -0.00029065 |  | 34.2624 | -0.0028191
5 | YES | 700.496 | 34.2288 | 0.00057443 | -0.0017166 | -0.002862 | -0.0011454 |  | 34.2288 | -0.0017166
6 | YES | 121.315 | 33.905 | 0.00068183 | -0.0022469 | -0.00047508 | 0.0017718 |  | 33.905 | -0.0022469
7 | YES | 158.505 | 33.9109 | 0.0014273 | 0.0019417 | -0.00051858 | -0.0024603 |  | 33.9109 | 0.0019417
8 | YES | 128.661 | 33.917 | 0.00024494 | -0.0012054 | -0.00056354 | 0.0006419 |  | 33.917 | -0.0012054
9 | YES | 214.577 | 33.9113 | 0.00021343 | -0.0015984 | -0.00052152 | 0.0010768 |  | 33.9113 | -0.0015984
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal-bot | Sal0 |  | Sal0 - Sal-bot
Comp 2 | Sal-bot | Sal1 |  | Sal1 - Sal-bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal-bot | Salinity_T0_C0 | Salinity_T0_C0 | (S-P) | Sal-bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2003-26-0001 | 2003-26-0001 | 121 | 2176.74 | 2176.74 | 0.18014 | -0.00024414 | 34.6122 | 34.6064 | 0.00045388 | -0.0057831 | 34.6122 | 34.6053 | 0.00037286 | -0.0069199
2003-26-0001 | 2003-26-0001 | 121 | 2105.04 | 2105.04 | 0.20187 | -0.00048828 | 34.6079 | 34.6032 | 0.00027414 | -0.0046616 | 34.6079 | 34.6024 | 0.00025085 | -0.005497
2003-26-0004 | 2003-26-0004 | 121 | 1506.14 | 1506.14 | 0.35813 | 0.00048828 | 34.5178 | 34.5104 | 0.00028088 | -0.0073586 | 34.5178 | 34.5098 | 0.00032227 | -0.0080414
2003-26-0004 | 2003-26-0004 | 121 | 1404.06 | 1404.07 | 0.27641 | 0.00012207 | 34.4907 | 34.4881 | 0.000255 | -0.0026245 | 34.4907 | 34.4875 | 0.00028895 | -0.0032272
2003-26-0005 | 2003-26-0005 | 121 | 1503.83 | 1503.83 | 0.16001 | 0 | 34.5184 | 34.513 | 0.00023473 | -0.0053558 | 34.5184 | 34.5127 | 0.00025953 | -0.0057335
2003-26-0005 | 2003-26-0005 | 121 | 1401.95 | 1401.95 | 0.28102 | -0.00024414 | 34.5005 | 34.4974 | 0.00025495 | -0.0031357 | 34.5005 | 34.497 | 0.00025847 | -0.0034561
2003-26-0006 | 2003-26-0006 | 121 | 1411.97 | 1411.97 | 0.20641 | 0.00024414 | 34.4944 | 34.4901 | 0.00035645 | -0.0043335 | 34.4944 | 34.4902 | 0.00030345 | -0.0042458
2003-26-0006 | 2003-26-0006 | 121 | 1301.68 | 1301.68 | 0.20006 | -0.00036621 | 34.4682 | 34.4644 | 0.00037773 | -0.0038033 | 34.4682 | 34.4648 | 0.00045215 | -0.0034256
2003-26-0007 | 2003-26-0007 | 121 | 751.303 | 751.303 | 0.070237 | 0.00036621 | 34.2652 | 34.2618 | 0.00027187 | -0.0034485 | 34.2652 | 34.2624 | 0.00025849 | -0.0028191
2003-26-0007 | 2003-26-0007 | 121 | 700.496 | 700.496 | 0.12856 | -0.00024414 | 34.2305 | 34.2281 | 0.00057964 | -0.0024338 | 34.2305 | 34.2288 | 0.00057443 | -0.0017166
2003-26-0045 | 2003-26-0045 | 121 | 121.315 | 121.315 | 0.21308 | 0.00023651 | 33.9072 | 33.9079 | 0.0011107 | 0.0007019 | 33.9072 | 33.905 | 0.00068183 | -0.0022469
2003-26-0046 | 2003-26-0046 | 121 | 158.505 | 158.505 | 0.14793 | -9.1553e-05 | 33.909 | 33.913 | 0.0016682 | 0.0039635 | 33.909 | 33.9109 | 0.0014273 | 0.0019417
2003-26-0055 | 2003-26-0055 | 121 | 128.661 | 128.661 | 0.51107 | 0.00028992 | 33.9182 | 33.9197 | 0.00023333 | 0.001461 | 33.9182 | 33.917 | 0.00024494 | -0.0012054
2003-26-0057 | 2003-26-0057 | 121 | 214.577 | 214.577 | 0.63448 | -0.00039673 | 33.9129 | 33.9133 | 0.00022573 | 0.00042725 | 33.9129 | 33.9113 | 0.00021343 | -0.0015984
Create Fit Sheet