## Final Data
cruise |  |  |  | 2003-27
ship |  |  |  | CCGS John P. Tully
dates |  |  |  | August 30 - September 19, 2003
Chief Scientist |  |  |  | Frank Whitney
Date | Time | Latitude | Longitude | Station | Cast | Niskin | Sample | NomDepth | Pres | Bot S | TIC | TIC | ALK | ALK | Comments
UTC | UTC |  |  |  | # | # | # | m | dbar | (PSU) | umol/kg | FLAG | umol/kg | FLAG
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 20 | 59 | 4 | 4.494 | 32.0265 | 1949.8655 |  | 2161.9467
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 19 | 58 | 10 | 7.423 | 32.0274 | 1953.2598 |  | 2192.5809
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 18 | 57 | 25 | 26.958 | 32.2167 | 2007.5819 |  | 2188.1926
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 17 | 56 | 50 | 49.072 | 32.5212 | 2055.1736 |  | 2219.3905
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 16 | 55 | 75 | 72.258 | 32.5211 | 2115.87 |  | 2222.6892
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 15 | 54 | 100 | 98.893 | 33.1304 | 2132.7591 |  | 2212.739
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 14 | 53 | 125 | 123.46 | 33.7345 | 2185.2043 | 3 | 2274.6041 | 3 | Misfire
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 13 | 52 | 150 | 149.904 | 33.7324 | 2185.0133 |  | 2246.4275
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 12 | 51 | 175 | 176.699 | 33.885 | 2221.2223 |  | 2260.0712
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 11 | 50 | 200 | 196.268 | 33.9386 | 2226.1197 |  | 2276.1086
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 10 | 49 | 250 | 248.289 | 33.981 | 2243.4415 |  | 2265.193
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 8 | 48 | 300 | 297.669 | 33.9954 | 2282.3427 |  | 2278.4795
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 7 | 47 | 400 | 398.879 | 34.0405 | 2327.2978 |  | 2293.6416
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 6 | 46 | 600 | 597.615 | 34.1204 | 2350.1736 |  | 2319.0065
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 5 | 45 | 800 | 802.005 | 34.2888 | 2367.5318 |  | 2361.9811
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 4 | 44 | 1000 | 995.961 | 34.3587 | 2366.7437 |  | 2376.1292
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 3 | 43 | 1000 | 995.944 | 34.3584 | 2367.5769 | 3,6 | 2376.0177 | 6 | TIC: large difference between replicates
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 2 | 42 | 1250 | 1248.346 | 34.4513 | 2377.4326 |  | 2375.9974
2003-08-31 | 23:40 | 48.6502 | -126.6655 | P4 | 8/9 | 1 | 41 | Bot-20 | 1301.72 | 34.4667 | 2378.1547 |  | 2384.1638
2003-09-02 | 6:41 | 48.8937 | -129.6648 | P10 | 17 | 13 |  | 2000 |  | 34.5886 | 2393.3622 | 6 | 2407.2503 | 3,6 | Niskin # assumed; Salinity estimated from CTD data; Alk: large difference between replicates
2003-09-02 | 6:41 | 48.8937 | -129.6648 | P10 | 17 | 11 |  | 2000 |  | 34.5886 | 2394.2138 | 6 | 2406.2934 | 6 | Niskin # assumed; Salinity estimated from CTD data
2003-09-02 | 6:41 | 48.8937 | -129.6648 | P10 | 17 | 10 |  | 2000 |  | 34.5886 | 2394.2416 | 6 | 2408.1073 | 6 | Niskin # assumed; Salinity estimated from CTD data
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 23 | 146 | 4 | 2.3 | 31.883 | 1938.6191 |  | 2163.573
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 22 | 145 | 10 | 10.047 | 31.8816 | 1937.9535 |  | 2168.1653
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 21 | 144 | 25 | 26.141 | 32.0583 | 1945.7646 |  | 2167.6814
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 20 | 143 | 50 | 50.072 | 32.377 | 2029.5052 |  | 2187.2647
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 16 | 139 | 150 | 149.628 | 33.6736 | 2199.6224 |  | 2250.4484
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 15 | 138 | 175 | 175.019 | 33.8317 | 2218.5858 |  | 2268.0616
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 14 | 137 | 200 | 199.207 | 33.9714 | 2236.4304 | 3 | 2270.9572 | 3 | Misfire
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 13 | 136 | 250 | 250.33 | 33.9694 | 2234.6275 |  | 2275.9485
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 12 | 135 | 300 | 300.864 | 33.9861 | 2244.7423 |  | 2288.7421
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 11 | 134 | 400 | 399.795 | 34.0121 | 2313.7507 |  | 2284.0108
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 10 | 133 | 600 | 600.55 | 34.1209 | 2343.1545 |  | 2303.0674
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 9 | 132 | 800 | 800.658 | 34.2526 | 2343.1748 |  | 2348.5886
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 8 | 131 | 1000 | 999.547 | 34.3475 | 2361.7889 |  | 2371.4149
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 7 | 130 | 1250 | 1250.284 | 34.4364 | 2377.7165 |  | 2390.5402
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 6 | 129 | 1500 | 1499.668 | 34.5024 | 2384.5995 |  | 2396.5418
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 5 | 128 | 2000 | 2000.494 | 34.5814 | 2377.8524 |  | 2410.1356
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 4 | 127 | 2000 | 2000.681 | 34.5798 | 2377.8524 | 3,6 | 2412.0511 | 6 | TIC: large difference between replicates
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 3 | 126 | 2500 | 2499.843 | 34.6238 | 2369.2467 |  | 2428.8708
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 2 | 125 | 3000 | 3000.697 | 34.6485 | 2357.4269 |  | 2420.3481
2003-09-02 | 16:53 | 48.9698 | -130.6657 | P12 | 23 | 1 | 124 | Bot-20 | 3272.388 | 34.651 | 2360.7554 |  | 2462.9164
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 24 | 174 | 4 | 4.17 | 32.3535 | 1963.0508 |  | 2189.8319
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 23 | 173 | 10 | 9.943 | 32.3541 | 1963.1055 |  | 2189.8919
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 22 | 172 | 25 | 24.702 | 32.3645 | 1966.177 |  | 2183.7143
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 21 | 171 | 50 | 49.461 | 32.5662 | 2015.0392 |  | 2200.5478
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 20 | 170 | 75 | 75.54 | 32.8825 | 2067.88 |  | 2209.0045
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 19 | 169 | 100 | 100.92 | 33.4221 | 2110.118 |  | 2241.8418
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 18 | 168 | 125 | 124.811 | 33.5545 | 2131.47 |  | 2252.8175
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 17 | 167 | 150 | 150.141 | 33.6096 | 2150.8441 | 6 | 2253.9575 | 6
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 16 | 166 | 175 | 174.512 | 33.7444 | 2185.8667 |  | 2265.9358
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 15 | 165 | 200 | 201.088 | 33.8135 | 2205.3112 |  | 2269.7584
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 14 | 164 | 249 | 248.756 | 33.8239 | 2238.221 |  | 2277.9947
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 13 | 163 | 250 | 247.84 | 33.8235 | 2251.3369 |  | 2271.6049
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 12 | 162 | 300 | 301.389 | 33.8639 | 2261.6887 |  | 2282.6429
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 11 | 161 | 400 | 402.267 | 33.8639 | 2322.3168 |  | 2296.6642
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 10 | 160 | 600 | 601.114 | 34.1539 | 2340.011 |  | 2335.516
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 9 | 159 | 800 | 801.335 | 34.2774 | 2361.0175 |  | 2352.4026
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 8 | 158 | 1000 | 1000.256 | 34.3578 | 2371.5697 |  | 2370.2483
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 7 | 157 | 1250 | 1250.338 | 34.3578 | 2392.2901 |  | 2389.3115
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 6 | 156 | 1500 | 1500.866 | 34.4316 | 2397.0191 |  | 2405.0111
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 5 | 155 | 2000 | 2001.244 | 34.5784 | 2376.8468 |  | 2414.5964
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 4 | 154 | 2500 | 2500.716 | 34.628 | 2365.9639 |  | 2421.2006
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 3 | 153 | 3000 | 3000.682 | 34.6507 | 2361.3889 |  | 2428.6786
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 2 | 152 | 3500 | 3500.229 | 34.6617 | 2355.7047 |  | 2427.4447
2003-09-03 | 22:06 | 49.2822 | -134.6668 | P16 | 35 | 1 | 151 | Bot-20 | 3684.554 | 34.668 | 2356.4989 |  | 2421.2106
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 24 | 201 | 3 | 2.921 |  | 1968.1982 |  |  |  | used ctd salinity for TIC
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 23 | 200 | 10 | 9.725 | 32.3684 | 1967.4505 |  | 2184.0532
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 22 | 199 | 25 | 24.324 | 32.3691 | 1969.5073 |  | 2190.885
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 21 | 198 | 50 | 50.465 | 32.5489 | 2026.4371 |  | 2193.8759
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 20 | 197 | 75 | 74.291 | 32.751 | 2069.2502 |  | 2210.6239
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 19 | 196 | 100 | 100.281 | 33.1873 | 2113.544 |  | 2220.4783
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 18 | 195 | 125 | 124.243 | 33.4452 | 2148.9263 |  | 2243.0895
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 17 | 194 | 150 | 150.397 | 33.6327 | 2174.4357 |  | 2259.2539
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 16 | 193 | 175 | 176.429 | 33.7553 | 2198.3775 |  | 2268.7265
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 15 | 192 | 200 | 200.897 | 33.7892 | 2217.8226 |  | 2271.9274
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 14 | 191 | 250 | 251.265 | 33.871 | 2275.7737 | 3 | 2290.4826 | 3 | Misfire
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 13 | 190 | 300 | 301.639 | 33.8693 | 2275.2764 |  | 2287.1716
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 12 | 189 | 400 | 400.799 | 33.9862 | 2306.0581 |  | 2313.1285
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 11 | 188 | 600 | 600.487 | 34.1741 | 2340.267 |  | 2339.206
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 10 | 187 | 800 | 801.571 | 34.2843 | 2359.9275 |  | 2361.4849
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 9 | 186 | 1000 | 1000.685 | 34.3669 | 2375.7004 |  | 2379.7713
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 8 | 185 | 1250 | 1252.152 | 34.4403 | 2389.7982 |  | 2392.5044
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 7 | 184 | 1500 | 1502.666 | 34.4967 | 2388.8874 |  | 2397.7913
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 6 | 183 | 2000 | 2002.211 | 34.581 | 2388.7652 | 3 | 2430.013 | 3 | TIC&Alk: different from replicate niskin
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 5 | 182 | 2000 | 2002.486 | 34.5792 | 2379.3941 | 6 | 2408.6808 | 6
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 4 | 181 | 2500 | 2501.254 | 34.6249 | 2369.0857 |  | 2423.0781
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 3 | 180 | 3000 | 3003.465 | 34.6522 | 2351.199 |  | 2425.3858
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 2 | 179 | 3500 | 3499.371 | 34.6676 | 2340.9512 |  | 2425.6262
2003-09-04 | 23:01 | 49.5662 | -138.669 | P20 | 44 | 1 | 178 | Bot-20 | 4020.842 | 34.6767 | 2340.3243 |  | 2450.9252
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 24 | 233 | 4 | 2.908 | 32.4183 | 1970.1085 |  | 2197.7752
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 23 | 232 | 10 | 9.634 | 32.4181 | 1978.3058 |  | 2195.8175
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 22 | 231 | 25 | 23.658 | 32.4194 | 1970.4128 |  | 2191.7423
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 21 | 230 | 50 | 49.465 | 32.5421 | 2020.3265 |  | 2213.986
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 20 | 229 | 75 | 74.193 | 32.6984 | 2062.0306 |  | 2200.6396
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 19 | 228 | 100 | 101.022 | 33.29 | 2158.2795 |  | 2235.9699
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 18 | 227 | 125 | 125.13 | 33.5415 | 2200.622 |  | 2248.2154
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 17 | 226 | 150 | 149.858 | 33.678 | 2227.8685 |  | 2269.0766
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 16 | 225 | 175 | 174.994 | 33.736 | 2241.2653 |  | 2273.4555
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 15 | 224 | 200 | 199.646 | 33.7884 | 2254.9332 |  | 2266.7834
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 14 | 223 | 250 | 250.404 | 33.9005 | 2298.8418 | 3 | 2298.3959 | 3 | Misfire?
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 13 | 222 | 300 | 302.248 | 33.8993 | 2296.1486 |  | 2296.3583
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 12 | 221 | 400 | 399.364 | 34.0171 | 2318.2577 |  | 2304.3888
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 11 | 220 | 600 | 599.836 | 34.2014 | 2342.4694 |  | 2332.7952
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 10 | 219 | 800 | 800.262 | 34.3045 | 2363.5119 |  | 2352.1622
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 6 | 215 | 2000 | 1999.039 | 34.5862 | 2379.5082 |  | 2418.3737
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 5 | 214 | 2500 | 2499.092 | 34.6261 | 2365.9176 |  | 2425.4354
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 4 | 213 | 3000 | 2999.762 | 34.6528 | 2352.7073 |  | 2428.252
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 3 | 212 | 3500 | 3500.78 | 34.6706 | 2344.2062 |  | 2422.0893
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 2 | 211 | 4000 | 3999.84 | 34.6805 | 2336.7187 |  | 2432.0717
2003-09-06 | 14:44 | 50.0215 | -144.981 | P26 | 59 | 1 | 210 | Bot-20 | 4276.672 | 34.6844 | 2338.7114 |  | 2425.6851

## MetaData
cruise |  | 2003-27
ship |  | Tully
dates |  | August 30 - September 19, 2003
Chief Scientist |  | Frank Whitney
Reference: | Miller, L.A., M. Davelaar, and J. Linguanti, 2010. Line P Inorganic Carbon Data Set, Cruise 2003-27, August-September, 2003. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
TIC and alkalinity collected in glass bottles with ground glass stoppers sealed with Apiezon M grease, elastic bands, and plastic clips; most likely 500 mL bottles were used, but it is possible that some were 250 mL.
Poisoned w/ 100 microlitres saturated HgCl2
Samples stored at 4 C in the dark and analyzed ashore
Alkalinity and TIC analyses were taken from the same glass bottle.
flags
3 = suspect data
6 = mean of replicate samples
Total dissolved inorganic carbon
Coulometric titration
| Reference: |  | DOE, 1994. Handbook of methods for the analysis of the various parameters of the carbon dioxide system in se water, Version 2, A.G. Dickson and C. Goyet, eds., ORNL/CDIAC-74.
technique for standardization |  |  | Na2CO3
analysis temperature (C) |  |  | 20
Analysts |  |  | S. Wratten & M. Davelaar
Standards used:
Dickson CRM |  |  | 57
certified value |  |  | 2005.98 +/- 0.55
IOS standard |  |  | 11 |  | Calibrated against Dickson CRM batch 48
calibrated value |  |  | 2177.50 +/- 0.49
correction formula
(known standard value/measured standard value) X measured sample value X 1.0002 (HgCl2 correction)
Notes: | 43 | Large difference between replicates
| 53 | Misfire
| 127 | Large difference between replicates
| 137 | Misfire
| 182 | Different from replicate niskin
| 183 | Different from replicate niskin
| 191 | Misfire
| 223 | Misfire?
Replicate Analyses (same niskin)
| A | B | C | Average | Stdev | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | Difference
43 | 2368.3541 | 2366.7997 |  | 2367.5769 |  | 1.5544 | 1.5544
127 | 2378.7403 | 2376.9645 |  | 2377.8524 |  | 1.7758 | 1.7758
167 | 2150.6358 | 2151.0525 |  | 2150.8441 |  | -0.41674 | 0.41674
182 | 2379.1858 | 2379.6024 |  | 2379.3941 |  | -0.41664 | 0.41664
p1010 | 2392.7512 | 2393.6676 | 2393.6676 | 2393.3622 | 0.52913
p1011 | 2394.6952 | 2393.8065 | 2394.1398 | 2394.2138 | 0.44896
p1013 | 2394.6952 | 2393.9176 | 2394.112 | 2394.2416 | 0.40468
average variability: | [5 empty] | 0.62421 |  | 0.79233
standard deviation of variability: | [5 empty] | 1.2053 |  | 0.60106
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
43 | 2367.5769
44 | 2366.7437
|  | 2367.1603 |  | -0.83322 | 0.83322
127 | 2377.8524
128 | 2376.9043
|  | 2377.3783 |  | 0.94811 | 0.94811
182 | 2379.3941
183 | 2388.7652
|  | 2388.7652 |  | -9.3711 |  |  | Both TIC and Alk very different
p1010 | 2393.3622
p1011 | 2394.2138
p1013 | 2394.2416
|  | 2393.9392 | 0.49992
average variability: |  |  |  | -3.0854 |  | 0.76042
standard deviation of variability: |  |  |  | 5.516 |  | 0.23279
Precision estimate: |  | 0.79 | umol/kg
Total Alkalinity
Potentiometric titration
| Reference: |  | DOE, 1994. Handbook of methods for the analysis of the various parameters of the carbon dioxide system in se water, Version 2, A.G. Dickson and C. Goyet, eds., ORNL/CDIAC-74.
Cell type |  |  | Open
Endpoint determination |  |  | Modified Gran plot
Analysts |  |  | S. Wratten & M. Davelaar
Standard used:
Dickson CRM |  |  | 57
certified value |  |  | 2230.33 ± 0.66
Acid batch |  |  | 3
acid concentration |  |  | 0.09967
sample weight |  |  | 70-80 grams
correction formula
(known standard value/measured standard value) X measured sample value X 1.0002 (HgCl2 correction)
Notes: | 53 | Misfire
| P1013 | Large difference between replicates
| 137 | Misfire
| 182 | Different from replicate niskin
| 183 | Different from replicate niskin
| 191 | Misfire
| 223 | Misfire?
Replicate Analyses (same niskin)
| A | B | C | Average | Stdev | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | umol/kg | Difference
43 | 2376.3693 | 2375.6661 |  | 2376.0177 |  | 0.70327 | 0.70327
127 | 2411.566 | 2412.5363 |  | 2412.0511 |  | -0.97027 | 0.97027
167 | 2253.8124 | 2254.1025 |  | 2253.9575 |  | -0.29008 | 0.29008
182 | 2408.9409 | 2408.4207 |  | 2408.6808 |  | 0.52016 | 0.52016
p1010 | 2406.5801 | 2408.3507 | 2409.391 | 2408.1073 | 1.4212
p1011 | 2407.0003 | 2405.4198 | 2406.4601 | 2406.2934 | 0.80332
p1013 | 2408.6508 | 2407.7105 | 2405.3898 | 2407.2503 | 1.6785
average variability: | [5 empty] | -0.0092296 |  | 0.91239
standard deviation of variability: | [5 empty] | 0.77252 |  | 0.49089
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
43 | 2376.0177
44 | 2376.1292
|  | 2376.0735 |  | 0.1115 | 0.1115
127 | 2412.0511
128 | 2410.1356
|  | 2411.0934 |  | -1.9155 | 1.9155
182 | 2408.6808
183 | 2430.013
|  | 2419.3469 |  | 21.3322 |  |  | Both TIC and Alk very different
p1010 | 2408.1073
p1011 | 2406.2934
p1013 | 2407.2503
|  | 2407.217 | 0.90741
average variability: |  |  |  | 6.5094 |  | 0.97814
standard deviation of variability: |  |  |  | 12.8769 |  | 0.90409
Precision estimate: |  | 0.98 | umol/kg
Version control
2010-11-09 | First archived

## TIC raw data
TIC
Analysis | Time | Sample | ugC | Pipette vol. | Bot. S | density | uncorrected | std | std | calibration | corrected
Date |  | ID |  | cm3 | (PSU) | kg/dm3 | umol/kg | ID | umol/kg | factor | umol/kg
20031224 | 510 | ss11 | 782.75 | 29.3808 | 32 | 1.0225 | 2176.9878
20031224 | 946 | 152 | 848.32 | 29.3808 | 34.6617 | 1.0245 | 2354.6796 | ss 11 | 2176.9878 | 1.0002 | 2355.7047
20031224 | 1012 | 153 | 850.36 | 29.3808 | 34.6507 | 1.0245 | 2360.3614 | ss 11 | 2176.9878 | 1.0002 | 2361.3889
20031224 | 1042 | 157 | 861.3 | 29.3808 | 34.3578 | 1.0243 | 2391.2491 | ss 11 | 2176.9878 | 1.0002 | 2392.2901
20031224 | 1108 | 151 | 848.61 | 29.3808 | 34.668 | 1.0245 | 2355.4735 | ss 11 | 2176.9878 | 1.0002 | 2356.4989
20031224 | 1135 | 156 | 863.05 | 29.3808 | 34.4316 | 1.0243 | 2395.976 | ss 11 | 2176.9878 | 1.0002 | 2397.0191
20031224 | 1204 | 162 | 813.98 | 29.3808 | 33.8639 | 1.0239 | 2260.7046 | ss 11 | 2176.9878 | 1.0002 | 2261.6887
20031224 | 1232 | 158 | 853.84 | 29.3808 | 34.3578 | 1.0243 | 2370.5377 | ss 11 | 2176.9878 | 1.0002 | 2371.5697
20031224 | 1303 | 163 | 810.23 | 29.3808 | 33.8235 | 1.0239 | 2250.3572 | ss 11 | 2176.9878 | 1.0002 | 2251.3369
20031224 | 1329 | 161 | 835.8 | 29.3808 | 33.8639 | 1.0239 | 2321.3063 | ss 11 | 2176.9878 | 1.0002 | 2322.3168
20031224 | 1354 | 159 | 849.99 | 29.3808 | 34.2774 | 1.0242 | 2359.9901 | ss 11 | 2176.9878 | 1.0002 | 2361.0175
20031224 | 1523 | 160 | 842.35 | 29.3808 | 34.1539 | 1.0241 | 2338.9928 | ss 11 | 2176.9878 | 1.0002 | 2340.011
20031224 | 1548 | 164 | 805.51 | 29.3808 | 33.8239 | 1.0239 | 2237.2471 | ss 11 | 2176.9878 | 1.0002 | 2238.221
20031224 | 1612 | 165 | 793.66 | 29.3808 | 33.8135 | 1.0239 | 2204.3516 | ss 11 | 2176.9878 | 1.0002 | 2205.3112
20031225 | 755 | ss11 | 783.28 | 29.3808 | 32 | 1.0225 | 2178.4618
20031225 | 820 | 154 | 852.57 | 29.3808 | 34.628 | 1.0245 | 2366.5357 | ss 11 | 2178.4618 | 0.99956 | 2365.9639
20031225 | 912 | 155 | 856.46 | 29.3808 | 34.5784 | 1.0244 | 2377.4212 | ss 11 | 2178.4618 | 0.99956 | 2376.8468
20031225 | 942 | 44 | 852.68 | 29.3808 | 34.3587 | 1.0243 | 2367.3156 | ss 11 | 2178.4618 | 0.99956 | 2366.7437
20031225 | 1018 | 43 | 853.26 | 29.3808 | 34.3584 | 1.0243 | 2368.9264 | ss 11 | 2178.4618 | 0.99956 | 2368.3541
20031225 | 1053 | 43b | 852.7 | 29.3808 | 34.3584 | 1.0243 | 2367.3717 | ss 11 | 2178.4618 | 0.99956 | 2366.7997
20031225 | 1141 | 42 | 856.59 | 29.3808 | 34.4513 | 1.0243 | 2378.0071 | ss 11 | 2178.4618 | 0.99956 | 2377.4326
20031225 | 1218 | 41 | 856.86 | 29.3808 | 34.4667 | 1.0244 | 2378.7294 | ss 11 | 2178.4618 | 0.99956 | 2378.1547
20031225 | 1255 | 49 | 808.03 | 29.3808 | 33.981 | 1.024 | 2243.9837 | ss 11 | 2178.4618 | 0.99956 | 2243.4415
20031225 | 1326 | 48 | 822.05 | 29.3808 | 33.9954 | 1.024 | 2282.8942 | ss 11 | 2178.4618 | 0.99956 | 2282.3427
20031225 | 1401 | 47 | 838.27 | 29.3808 | 34.0405 | 1.024 | 2327.8602 | ss 11 | 2178.4618 | 0.99956 | 2327.2978
20031225 | 1431 | 53 | 786.91 | 29.3808 | 33.7345 | 1.0238 | 2185.7324 | ss 11 | 2178.4618 | 0.99956 | 2185.2043
20031225 | 1501 | 52 | 786.84 | 29.3808 | 33.7324 | 1.0238 | 2185.5414 | ss 11 | 2178.4618 | 0.99956 | 2185.0133
20031225 | 1529 | 59 | 701.27 | 29.3808 | 32.0265 | 1.0225 | 1950.3367 | ss 11 | 2178.4618 | 0.99956 | 1949.8655
20031225 | 1846 | 46 | 846.56 | 29.3808 | 34.1204 | 1.0241 | 2350.7415 | ss 11 | 2178.4618 | 0.99956 | 2350.1736
20031225 | 1912 | 51 | 799.97 | 29.3808 | 33.885 | 1.0239 | 2221.759 | ss 11 | 2178.4618 | 0.99956 | 2221.2223
20031226 | 525 | ss11 | 782.61 | 29.3808 | 32 | 1.0225 | 2176.5984
20031226 | 648 | 45 | 852.19 | 29.3808 | 34.2888 | 1.0242 | 2366.0783 | ss 11 | 2176.5984 | 1.0004 | 2367.5318
20031226 | 724 | 50 | 801.08 | 29.3808 | 33.9386 | 1.024 | 2224.753 | ss 11 | 2176.5984 | 1.0004 | 2226.1197
20031226 | 813 | 124 | 849.98 | 29.3808 | 34.651 | 1.0245 | 2359.3061 | ss 11 | 2176.5984 | 1.0004 | 2360.7554
20031226 | 950 | 125 | 848.78 | 29.3808 | 34.6485 | 1.0245 | 2355.9796 | ss 11 | 2176.5984 | 1.0004 | 2357.4269
20031226 | 1014 | 133 | 843.31 | 29.3808 | 34.1209 | 1.0241 | 2341.716 | ss 11 | 2176.5984 | 1.0004 | 2343.1545
20031226 | 1039 | 129 | 858.47 | 29.3808 | 34.5024 | 1.0244 | 2383.1355 | ss 11 | 2176.5984 | 1.0004 | 2384.5995
20031226 | 1107 | 128 | 855.75 | 29.3808 | 34.5814 | 1.0244 | 2375.445 | ss 11 | 2176.5984 | 1.0004 | 2376.9043
20031226 | 1133 | 134 | 832.66 | 29.3808 | 34.0121 | 1.024 | 2312.3302 | ss 11 | 2176.5984 | 1.0004 | 2313.7507
20031226 | 1210 | 130 | 855.95 | 29.3808 | 34.4364 | 1.0243 | 2376.2567 | ss 11 | 2176.5984 | 1.0004 | 2377.7165
20031226 | 1235 | 135 | 807.81 | 29.3808 | 33.9861 | 1.024 | 2243.3642 | ss 11 | 2176.5984 | 1.0004 | 2244.7423
20031226 | 1300 | 126 | 853.02 | 29.3808 | 34.6238 | 1.0245 | 2367.7922 | ss 11 | 2176.5984 | 1.0004 | 2369.2467
20031226 | 1327 | 127 | 856.41 | 29.3808 | 34.5798 | 1.0244 | 2377.2799 | ss 11 | 2176.5984 | 1.0004 | 2378.7403
20031226 | 1353 | 131 | 850.16 | 29.3808 | 34.3475 | 1.0243 | 2360.3389 | ss 11 | 2176.5984 | 1.0004 | 2361.7889
20031226 | 1416 | 136 | 804.16 | 29.3808 | 33.9694 | 1.024 | 2233.2556 | ss 11 | 2176.5984 | 1.0004 | 2234.6275
20031226 | 1439 | 132 | 843.4 | 29.3808 | 34.2526 | 1.0242 | 2341.7363 | ss 11 | 2176.5984 | 1.0004 | 2343.1748
20031226 | 1502 | 137 | 804.81 | 29.3808 | 33.9714 | 1.024 | 2235.0574 | ss 11 | 2176.5984 | 1.0004 | 2236.4304
20031226 | 1549 | 184 | 860.01 | 29.3808 | 34.4967 | 1.0244 | 2387.4208 | ss 11 | 2176.5984 | 1.0004 | 2388.8874
20031226 | 1612 | 187 | 849.45 | 29.3808 | 34.2843 | 1.0242 | 2358.4787 | ss 11 | 2176.5984 | 1.0004 | 2359.9275
20031226 | 1640 | 182b | 856.72 | 29.3808 | 34.5792 | 1.0244 | 2378.1415 | ss 11 | 2176.5984 | 1.0004 | 2379.6024
20031226 | 1704 | 186 | 855.18 | 29.3808 | 34.3669 | 1.0243 | 2374.2419 | ss 11 | 2176.5984 | 1.0004 | 2375.7004
20031226 | 1728 | 182 | 856.57 | 29.3808 | 34.5792 | 1.0244 | 2377.7251 | ss 11 | 2176.5984 | 1.0004 | 2379.1858
20031226 | 1753 | 183 | 860.02 | 29.3808 | 34.581 | 1.0244 | 2387.2987 | ss 11 | 2176.5984 | 1.0004 | 2388.7652
20031226 | 1816 | 180 | 846.54 | 29.3808 | 34.6522 | 1.0245 | 2349.7555 | ss 11 | 2176.5984 | 1.0004 | 2351.199
20031226 | 1838 | 178 | 842.64 | 29.3808 | 34.6767 | 1.0245 | 2338.8875 | ss 11 | 2176.5984 | 1.0004 | 2340.3243
20031226 | 1904 | 179 | 842.86 | 29.3808 | 34.6676 | 1.0245 | 2339.514 | ss 11 | 2176.5984 | 1.0004 | 2340.9512
20031227 | 554 | ss11 | 780.77 | 29.308 | 32 | 1.0225 | 2176.8722
20031227 | 622 | 181 | 853.07 | 29.3808 | 34.6249 | 1.0245 | 2367.929 | ss 11 | 2176.8722 | 1.0003 | 2369.0857
20031227 | 710 | 229 | 741.44 | 29.3808 | 32.6984 | 1.023 | 2061.0238 | ss 11 | 2176.8722 | 1.0003 | 2062.0306
20031227 | 738 | 231 | 708.35 | 29.3808 | 32.4194 | 1.0228 | 1969.4508 | ss 11 | 2176.8722 | 1.0003 | 1970.4128
20031227 | 802 | 220 | 843.22 | 29.3808 | 34.2014 | 1.0242 | 2341.3258 | ss 11 | 2176.8722 | 1.0003 | 2342.4694
20031227 | 829 | 219 | 850.86 | 29.3808 | 34.3045 | 1.0242 | 2362.358 | ss 11 | 2176.8722 | 1.0003 | 2363.5119
20031227 | 854 | 222 | 826.36 | 29.3808 | 33.8993 | 1.0239 | 2295.0276 | ss 11 | 2176.8722 | 1.0003 | 2296.1486
20031227 | 919 | 221 | 834.39 | 29.3808 | 34.0171 | 1.024 | 2317.1259 | ss 11 | 2176.8722 | 1.0003 | 2318.2577
20031227 | 941 | 233 | 708.24 | 29.3808 | 32.4183 | 1.0228 | 1969.1466 | ss 11 | 2176.8722 | 1.0003 | 1970.1085
20031227 | 1030 | 230 | 726.36 | 29.3808 | 32.5421 | 1.0229 | 2019.3401 | ss 11 | 2176.8722 | 1.0003 | 2020.3265
20031227 | 1058 | 225 | 806.51 | 29.3808 | 33.736 | 1.0238 | 2240.1711 | ss 11 | 2176.8722 | 1.0003 | 2241.2653
20031227 | 1121 | 224 | 811.46 | 29.3808 | 33.7884 | 1.0238 | 2253.8323 | ss 11 | 2176.8722 | 1.0003 | 2254.9332
20031227 | 1147 | 214 | 851.93 | 29.3808 | 34.6261 | 1.0245 | 2364.7626 | ss 11 | 2176.8722 | 1.0003 | 2365.9176
20031227 | 1328 | 212 | 844.14 | 29.3808 | 34.6706 | 1.0245 | 2343.0617 | ss 11 | 2176.8722 | 1.0003 | 2344.2062
20031227 | 1351 | 210 | 842.17 | 29.3808 | 34.6844 | 1.0245 | 2337.5696 | ss 11 | 2176.8722 | 1.0003 | 2338.7114
20031227 | 1433 | 227 | 791.77 | 29.3808 | 33.5415 | 1.0237 | 2199.5476 | ss 11 | 2176.8722 | 1.0003 | 2200.622
20031227 | 1447 | 213 | 847.19 | 29.3808 | 34.6528 | 1.0245 | 2351.5587 | ss 11 | 2176.8722 | 1.0003 | 2352.7073
20031227 | 1511 | 228 | 776.39 | 29.3808 | 33.29 | 1.0235 | 2157.2258 | ss 11 | 2176.8722 | 1.0003 | 2158.2795
20031227 | 1532 | 211 | 841.45 | 29.3808 | 34.6805 | 1.0245 | 2335.5779 | ss 11 | 2176.8722 | 1.0003 | 2336.7187
20031227 | 1556 | 223 | 827.33 | 29.3808 | 33.9005 | 1.0239 | 2297.7195 | ss 11 | 2176.8722 | 1.0003 | 2298.8418
20031227 | 1620 | 190 | 818.83 | 29.3808 | 33.8693 | 1.0239 | 2274.1655 | ss 11 | 2176.8722 | 1.0003 | 2275.2764
20031227 | 1642 | 191 | 819.01 | 29.3808 | 33.871 | 1.0239 | 2274.6626 | ss 11 | 2176.8722 | 1.0003 | 2275.7737
20031227 | 1705 | 189 | 829.98 | 29.3808 | 33.9862 | 1.024 | 2304.9322 | ss 11 | 2176.8722 | 1.0003 | 2306.0581
20031227 | 1727 | 185 | 860.41 | 29.3808 | 34.4403 | 1.0243 | 2388.6315 | ss 11 | 2176.8722 | 1.0003 | 2389.7982
20031229 | 527 | ad | 722.11 | 29.3808 | 33.485 | 1.0236 | 2006.1156 | ad 57
20031229 | 540 | 232 | 711.44 | 29.3808 | 32.4181 | 1.0228 | 1978.044 | ad 57 | 2006.1156 | 0.99993 | 1978.3058
20031229 | 610 | 226 | 801.94 | 29.3808 | 33.678 | 1.0238 | 2227.5736 | ad 57 | 2006.1156 | 0.99993 | 2227.8685
20031229 | 731 | 201 | 707.78 | 29.3808 | 32.3705 | 1.0228 | 1967.9377 | ad 57 | 2006.1156 | 0.99993 | 1968.1982
20031229 | 756 | 199 | 708.25 | 29.3808 | 32.3691 | 1.0228 | 1969.2466 | ad 57 | 2006.1156 | 0.99993 | 1969.5073
20031229 | 822 | 195 | 773.39 | 29.3808 | 33.4452 | 1.0236 | 2148.6418 | ad 57 | 2006.1156 | 0.99993 | 2148.9263
20031229 | 846 | 194 | 782.68 | 29.3808 | 33.6327 | 1.0237 | 2174.1479 | ad 57 | 2006.1156 | 0.99993 | 2174.4357
20031229 | 915 | 193 | 791.37 | 29.3808 | 33.7553 | 1.0238 | 2198.0865 | ad 57 | 2006.1156 | 0.99993 | 2198.3775
20031229 | 936 | 196 | 760.51 | 29.3808 | 33.1873 | 1.0234 | 2113.2643 | ad 57 | 2006.1156 | 0.99993 | 2113.544
20031229 | 958 | 200 | 707.51 | 29.3808 | 32.3684 | 1.0228 | 1967.1901 | ad 57 | 2006.1156 | 0.99993 | 1967.4505
20031229 | 1018 | 192 | 798.39 | 29.3808 | 33.7892 | 1.0238 | 2217.5291 | ad 57 | 2006.1156 | 0.99993 | 2217.8226
20031229 | 1040 | 198 | 728.82 | 29.3808 | 32.5489 | 1.0229 | 2026.1689 | ad 57 | 2006.1156 | 0.99993 | 2026.4371
20031229 | 1102 | 188 | 842.71 | 29.3808 | 34.1741 | 1.0241 | 2339.9572 | ad 57 | 2006.1156 | 0.99993 | 2340.267
20031229 | 1125 | 197 | 744.33 | 29.3808 | 32.751 | 1.023 | 2068.9763 | ad 57 | 2006.1156 | 0.99993 | 2069.2502
20031229 | 1148 | 174 | 705.92 | 29.3808 | 32.3535 | 1.0227 | 1962.791 | ad 57 | 2006.1156 | 0.99993 | 1963.0508
20031229 | 1210 | 173 | 705.94 | 29.3808 | 32.3541 | 1.0227 | 1962.8457 | ad 57 | 2006.1156 | 0.99993 | 1963.1055
20031229 | 1232 | 169 | 759.41 | 29.3808 | 33.4221 | 1.0236 | 2109.8387 | ad 57 | 2006.1156 | 0.99993 | 2110.118
20031229 | 1254 | 172 | 707.05 | 29.3808 | 32.3645 | 1.0228 | 1965.9168 | ad 57 | 2006.1156 | 0.99993 | 1966.177
20031229 | 1317 | 171 | 724.73 | 29.3808 | 32.5662 | 1.0229 | 2014.7724 | ad 57 | 2006.1156 | 0.99993 | 2015.0392
20031229 | 1340 | 170 | 743.91 | 29.3808 | 32.8825 | 1.0231 | 2067.6063 | ad 57 | 2006.1156 | 0.99993 | 2067.88
20031229 | 1403 | 168 | 767.17 | 29.3808 | 33.5545 | 1.0237 | 2131.1879 | ad 57 | 2006.1156 | 0.99993 | 2131.47
20031229 | 1426 | 167 | 774.1 | 29.3808 | 33.6096 | 1.0237 | 2150.3511 | ad 57 | 2006.1156 | 0.99993 | 2150.6358
20031229 | 1455 | 167b | 774.25 | 29.3808 | 33.6096 | 1.0237 | 2150.7678 | ad 57 | 2006.1156 | 0.99993 | 2151.0525
20031229 | 1517 | 166 | 786.86 | 29.3808 | 33.7444 | 1.0238 | 2185.5774 | ad 57 | 2006.1156 | 0.99993 | 2185.8667
20031229 | 1539 | 139 | 791.77 | 29.3808 | 33.6736 | 1.0238 | 2199.3313 | ad 57 | 2006.1156 | 0.99993 | 2199.6224
20031229 | 1602 | 143 | 729.83 | 29.3808 | 32.377 | 1.0228 | 2029.2365 | ad 57 | 2006.1156 | 0.99993 | 2029.5052
20031229 | 1623 | 146 | 696.89 | 29.3808 | 31.883 | 1.0224 | 1938.3625 | ad 57 | 2006.1156 | 0.99993 | 1938.6191
20031229 | 1646 | 144 | 699.55 | 29.3808 | 32.0583 | 1.0225 | 1945.5071 | ad 57 | 2006.1156 | 0.99993 | 1945.7646
20031229 | 1710 | 145 | 696.65 | 29.3808 | 31.8816 | 1.0224 | 1937.697 | ad 57 | 2006.1156 | 0.99993 | 1937.9535
20031229 | 1731 | 138 | 798.69 | 29.3808 | 33.8317 | 1.0239 | 2218.2921 | ad 57 | 2006.1156 | 0.99993 | 2218.5858
20031229 | 1755 | 57 | 721.86 | 29.3808 | 32.2167 | 1.0226 | 2007.3162 | ad 57 | 2006.1156 | 0.99993 | 2007.5819
20031229 | 1817 | 56 | 739.14 | 29.3808 | 32.5212 | 1.0229 | 2054.9016 | ad 57 | 2006.1156 | 0.99993 | 2055.1736
20031230 | 505 | ss11 | 782.71 | 29.3808 | 32 | 1.0225 | 2176.8765
20031230 | 531 | 58 | 701.98 | 29.3808 | 32.0274 | 1.0225 | 1952.31 | ss11 | 2176.8765 | 1.0003 | 1953.2598
20031230 | 554 | 55 | 760.7 | 29.3808 | 32.5211 | 1.0229 | 2114.8412 | ss11 | 2176.8765 | 1.0003 | 2115.87
20031230 | 615 | 54 | 767.12 | 29.3808 | 33.1304 | 1.0233 | 2131.7221 | ss11 | 2176.8765 | 1.0003 | 2132.7591
20031230 | 643 | p1013c | 862.06 | 29.3808 | 34.5886 | 1.0244 | 2392.9479 | ss 11 | 2176.8765 | 1.0003 | 2394.112
20031230 | 717 | p1013b | 861.99 | 29.3808 | 34.5886 | 1.0244 | 2392.7536 | ss 11 | 2176.8765 | 1.0003 | 2393.9176
20031230 | 750 | p1013a | 862.27 | 29.3808 | 34.5886 | 1.0244 | 2393.5308 | ss 11 | 2176.8765 | 1.0003 | 2394.6952
20031230 | 819 | p1011c | 862.07 | 29.3808 | 34.5886 | 1.0244 | 2392.9757 | ss 11 | 2176.8765 | 1.0003 | 2394.1398
20031230 | 850 | p1011b | 861.95 | 29.3808 | 34.5886 | 1.0244 | 2392.6426 | ss 11 | 2176.8765 | 1.0003 | 2393.8065
20031230 | 912 | p1011a | 862.27 | 29.3808 | 34.5886 | 1.0244 | 2393.5308 | ss 11 | 2176.8765 | 1.0003 | 2394.6952
20031230 | 934 | p1010c | 861.9 | 29.3808 | 34.5886 | 1.0244 | 2392.5038 | ss 11 | 2176.8765 | 1.0003 | 2393.6676
20031230 | 955 | p1010b | 861.9 | 29.3808 | 34.5886 | 1.0244 | 2392.5038 | ss 11 | 2176.8765 | 1.0003 | 2393.6676
20031230 | 1017 | p1010a | 861.57 | 29.3808 | 34.5886 | 1.0244 | 2391.5878 | ss 11 | 2176.8765 | 1.0003 | 2392.7512
20031230 | 1047 | 127b | 855.88 | 29.3808 | 34.5798 | 1.0244 | 2375.8087 | ss11 | 2176.8765 | 1.0003 | 2376.9645
20031230 | 1112 | 215 | 856.8 | 29.3808 | 34.5862 | 1.0244 | 2378.3512 | ss11 | 2176.8765 | 1.0003 | 2379.5082

## ALK raw data
Alkalinity
| Date | sample | Sample | Eo | RMS | Uncorrected | Std | Meas std | Calibration | Corrected
| analysis | order | id |  |  | umol/kg | id | umol/kg | factor | umol/kg
1 | 2004-02-03 | 1 | ad | 408.6 | 1.2 | 2227.34
2 | 2004-02-03 | 2 | 229 | 417.6 | 0.4 | 2197.25 | ad 57 | 2227.34 | 1.0013 | 2200.6396
3 | 2004-02-03 | 3 | 180 | 407.6 | 1.1 | 2421.65 | ad 57 | 2227.34 | 1.0013 | 2425.3858
4 | 2004-02-03 | 4 | 183 | 417.2 | 0.9 | 2426.27 | ad 57 | 2227.34 | 1.0013 | 2430.013
5 | 2004-02-03 | 5 | 179 | 409.9 | 0.7 | 2421.89 | ad 57 | 2227.34 | 1.0013 | 2425.6262
6 | 2004-02-03 | 6 | 178 | 417.7 | 1.6 | 2447.15 | ad 57 | 2227.34 | 1.0013 | 2450.9252
7 | 2004-02-03 | 7 | 133 | 409.4 | 1 | 2299.52 | ad 57 | 2227.34 | 1.0013 | 2303.0674
8 | 2004-02-03 | 8 | 125 | 409.4 | 1.3 | 2416.62 | ad 57 | 2227.34 | 1.0013 | 2420.3481
9 | 2004-02-10 | 1 | ad | 422.8 | 0.6 | 2230.09
10 | 2004-02-10 | 30 | 182b | 421.9 | 0.5 | 2407.68 | ad 57 | 2230.09 | 1.0001 | 2408.4207
11 | 2004-02-10 | 31 | 187 | 420.3 | 0.6 | 2359.7 | ad 57 | 2230.09 | 1.0001 | 2360.4259
12 | 2004-02-10 | 32 | 182 | 420.8 | 0.1 | 2408.2 | ad 57 | 2230.09 | 1.0001 | 2408.9409
13 | 2004-02-10 | 33 | 152 | 421.9 | 0.5 | 2425.61 | ad 57 | 2230.09 | 1.0001 | 2426.3562
14 | 2004-02-10 | 34 | p1013b | 424.5 | 0.5 | 2406.97 | ad 57 | 2230.09 | 1.0001 | 2407.7105
15 | 2004-02-10 | 35 | p1013a | 424.1 | 0.8 | 2407.91 | ad 57 | 2230.09 | 1.0001 | 2408.6508
16 | 2004-02-10 | 36 | p1011b | 422.5 | 1.1 | 2404.68 | ad 57 | 2230.09 | 1.0001 | 2405.4198
17 | 2004-02-10 | 37 | p1011a | 424 | 0.8 | 2406.26 | ad 57 | 2230.09 | 1.0001 | 2407.0003
18 | 2004-02-10 | 38 | p1010b | 423.8 | 0.8 | 2407.61 | ad 57 | 2230.09 | 1.0001 | 2408.3507
19 | 2004-02-10 | 39 | p1010a | 424.7 | 0.8 | 2405.84 | ad 57 | 2230.09 | 1.0001 | 2406.5801
20 | 2004-02-10 | 40 | p1010c | 422.8 | 0.6 | 2408.65 | ad 57 | 2230.09 | 1.0001 | 2409.391
21 | 2004-02-10 | 41 | p1011c | 422.9 | 0.1 | 2405.72 | ad 57 | 2230.09 | 1.0001 | 2406.4601
22 | 2004-02-10 | 42 | p1013c | 423.6 | 0.3 | 2404.65 | ad 57 | 2230.09 | 1.0001 | 2405.3898
23 | 2004-02-17 | 1 | ad | 421.9 | 1 | 2229.68
24 | 2004-02-17 | 24 | 155 | 422.6 | 0.6 | 2413.41 | ad 57 | 2229.68 | 1.0003 | 2414.5964
25 | 2004-02-17 | 25 | 146 | 426.7 | 0.5 | 2162.51 | ad 57 | 2229.68 | 1.0003 | 2163.573
26 | 2004-02-17 | 26 | 145 | 423 | 0.5 | 2167.1 | ad 57 | 2229.68 | 1.0003 | 2168.1653
27 | 2004-02-17 | 27 | 49 | 422.8 | 0.7 | 2264.08 | ad 57 | 2229.68 | 1.0003 | 2265.193
28 | 2004-02-17 | 28 | 42 | 423.1 | 1.2 | 2374.83 | ad 57 | 2229.68 | 1.0003 | 2375.9974
29 | 2004-02-17 | 29 | 143 | 426.8 | 0.6 | 2186.19 | ad 57 | 2229.68 | 1.0003 | 2187.2647
30 | 2004-02-19 | 1 | AD | 421 | 0.3 | 2233.42
31 | 2004-02-19 | 2 | 53 | 421.6 | 0.5 | 2277.3 | ad 57 | 2233.42 | 0.99862 | 2274.6041
32 | 2004-02-19 | 3 | 48 | 421.7 | 0.5 | 2281.18 | ad 57 | 2233.42 | 0.99862 | 2278.4795
33 | 2004-02-19 | 4 | 52 | 421.6 | 0.4 | 2249.09 | ad 57 | 2233.42 | 0.99862 | 2246.4275
34 | 2004-02-19 | 5 | 47 | 421.6 | 0.4 | 2296.36 | ad 57 | 2233.42 | 0.99862 | 2293.6416
35 | 2004-02-19 | 6 | 196 | 421.5 | 0.6 | 2223.11 | ad 57 | 2233.42 | 0.99862 | 2220.4783
36 | 2004-02-19 | 7 | 224 | 422 | 0.3 | 2269.47 | ad 57 | 2233.42 | 0.99862 | 2266.7834
37 | 2004-02-19 | 8 | 210 | 421.6 | 0.4 | 2428.56 | ad 57 | 2233.42 | 0.99862 | 2425.6851
38 | 2004-02-19 | 10 | 213 | 421.6 | 0.4 | 2431.13 | ad 57 | 2233.42 | 0.99862 | 2428.252
39 | 2004-02-19 | 11 | 222 | 421.6 | 0.5 | 2299.08 | ad 57 | 2233.42 | 0.99862 | 2296.3583
40 | 2004-02-19 | 12 | 228 | 422 | 0.4 | 2238.62 | ad 57 | 2233.42 | 0.99862 | 2235.9699
41 | 2004-02-19 | 13 | 230 | 422.2 | 0.4 | 2216.61 | ad 57 | 2233.42 | 0.99862 | 2213.986
42 | 2004-02-19 | 14 | 189 | 422 | 0.4 | 2315.87 | ad 57 | 2233.42 | 0.99862 | 2313.1285
43 | 2004-02-19 | 15 | 212 | 421.9 | 0.1 | 2424.96 | ad 57 | 2233.42 | 0.99862 | 2422.0893
44 | 2004-02-19 | 16 | 221 | 422.1 | 0.2 | 2307.12 | ad 57 | 2233.42 | 0.99862 | 2304.3888
45 | 2004-02-19 | 18 | 185 | 422.2 | 0.8 | 2395.34 | ad 57 | 2233.42 | 0.99862 | 2392.5044
46 | 2004-02-19 | 19 | 225 | 422.8 | 0.4 | 2276.15 | ad 57 | 2233.42 | 0.99862 | 2273.4555
47 | 2004-02-19 | 20 | 231 | 422.2 | 0.3 | 2194.34 | ad 57 | 2233.42 | 0.99862 | 2191.7423
48 | 2004-02-19 | 21 | 220 | 421.8 | 0.3 | 2335.56 | ad 57 | 2233.42 | 0.99862 | 2332.7952
49 | 2004-02-19 | 22 | 233 | 422.7 | 0.5 | 2200.38 | ad 57 | 2233.42 | 0.99862 | 2197.7752
50 | 2004-02-19 | 23 | 181 | 422.2 | 0.6 | 2425.95 | ad 57 | 2233.42 | 0.99862 | 2423.0781
51 | 2004-02-19 | 25 | 219 | 422.1 | 0.4 | 2354.95 | ad 57 | 2233.42 | 0.99862 | 2352.1622
52 | 2004-02-19 | 26 | 214 | 422.1 | 0.4 | 2428.31 | ad 57 | 2233.42 | 0.99862 | 2425.4354
53 | 2004-02-19 | 27 | 227 | 422.6 | 0.3 | 2250.88 | ad 57 | 2233.42 | 0.99862 | 2248.2154
54 | 2004-02-19 | 41 | 223 | 422.1 | 0.4 | 2301.12 | ad 57 | 2233.42 | 0.99862 | 2298.3959
55 | 2004-02-19 | 42 | 232 | 422.6 | 0.4 | 2198.42 | ad 57 | 2233.42 | 0.99862 | 2195.8175
56 | 2004-02-19 | 43 | 215 | 422.3 | 0.8 | 2421.24 | ad 57 | 2233.42 | 0.99862 | 2418.3737
57 | 2004-02-23 | 1 | AD | 420.8 | 0.4 | 2229.5
58 | 2004-02-23 | 28 | 186 | 421.5 | 0.4 | 2378.41 | ad 57 | 2229.5 | 1.0004 | 2379.7713
59 | 2004-02-23 | 29 | 165 | 421.7 | 0.5 | 2268.46 | ad 57 | 2229.5 | 1.0004 | 2269.7584
60 | 2004-02-23 | 30 | 160 | 422.2 | 0.3 | 2334.18 | ad 57 | 2229.5 | 1.0004 | 2335.516
61 | 2004-02-23 | 31 | 46 | 421.1 | 0.2 | 2317.68 | ad 57 | 2229.5 | 1.0004 | 2319.0065
62 | 2004-02-23 | 32 | 44 | 421.5 | 0.1 | 2374.77 | ad 57 | 2229.5 | 1.0004 | 2376.1292
63 | 2004-02-23 | 33 | 43 | 422.3 | 0.6 | 2375.01 | ad 57 | 2229.5 | 1.0004 | 2376.3693
64 | 2004-02-23 | 34 | 41 | 422 | 0.2 | 2382.8 | ad 57 | 2229.5 | 1.0004 | 2384.1638
65 | 2004-02-23 | 35 | 45 | 422 | 0.3 | 2360.63 | ad 57 | 2229.5 | 1.0004 | 2361.9811
66 | 2004-02-23 | 36 | 59 | 421.2 | 0.3 | 2160.71 | ad 57 | 2229.5 | 1.0004 | 2161.9467
67 | 2004-02-24 | 1 | ad | 421.8 | 0.5 | 2230.84
68 | 2004-02-24 | 29 | 184 | 422.3 | 0.4 | 2397.86 | ad 57 | 2230.84 | 0.99977 | 2397.7913
69 | 2004-02-24 | 30 | 163 | 422.2 | 0.1 | 2271.67 | ad 57 | 2230.84 | 0.99977 | 2271.6049
70 | 2004-02-24 | 31 | 159 | 421.7 | 0.1 | 2352.47 | ad 57 | 2230.84 | 0.99977 | 2352.4026
71 | 2004-02-24 | 32 | 156 | 422 | 0.6 | 2405.08 | ad 57 | 2230.84 | 0.99977 | 2405.0111
72 | 2004-02-24 | 33 | 157 | 421.2 | 0.5 | 2389.38 | ad 57 | 2230.84 | 0.99977 | 2389.3115
73 | 2004-02-24 | 34 | 154 | 421.6 | 0.6 | 2421.27 | ad 57 | 2230.84 | 0.99977 | 2421.2006
74 | 2004-02-24 | 35 | 151 | 422 | 0.3 | 2421.28 | ad 57 | 2230.84 | 0.99977 | 2421.2106
75 | 2004-02-24 | 36 | 161 | 422.7 | 0.3 | 2296.73 | ad 57 | 2230.84 | 0.99977 | 2296.6642
76 | 2004-02-24 | 37 | 164 | 422.9 | 0.5 | 2278.06 | ad 57 | 2230.84 | 0.99977 | 2277.9947
77 | 2004-02-25 | 1 | ad | 421 | 0.4 | 2229.62
78 | 2004-02-25 | 2 | 162 | 420.5 | 0.1 | 2281.46 | ad 57 | 2229.62 | 1.0003 | 2282.6429
79 | 2004-02-25 | 3 | 158 | 420.7 | 0.4 | 2369.02 | ad 57 | 2229.62 | 1.0003 | 2370.2483
80 | 2004-02-25 | 4 | 153 | 420.8 | 0.6 | 2427.42 | ad 57 | 2229.62 | 1.0003 | 2428.6786
81 | 2004-02-25 | 5 | 124 | 419.1 | 0.6 | 2461.64 | ad 57 | 2229.62 | 1.0003 | 2462.9164
82 | 2004-02-25 | 6 | 51 | 420.8 | 0.7 | 2258.9 | ad 57 | 2229.62 | 1.0003 | 2260.0712
83 | 2004-02-26 | 1 | ad | 423.1 | 0.9 | 2230.16
84 | 2004-02-26 | 4 | 192 | 422 | 0.4 | 2271.3 | ad 57 | 2230.16 | 1.0001 | 2271.9274
85 | 2004-02-26 | 6 | 198 | 422.5 | 0.6 | 2193.27 | ad 57 | 2230.16 | 1.0001 | 2193.8759
86 | 2004-02-26 | 7 | 191 | 422.2 | 0.3 | 2289.85 | ad 57 | 2230.16 | 1.0001 | 2290.4826
87 | 2004-02-26 | 9 | 200 | 422.6 | 0.7 | 2183.45 | ad 57 | 2230.16 | 1.0001 | 2184.0532
88 | 2004-02-26 | 10 | 190 | 422.4 | 0.4 | 2286.54 | ad 57 | 2230.16 | 1.0001 | 2287.1716
89 | 2004-02-26 | 11 | 195 | 422.4 | 0.4 | 2242.47 | ad 57 | 2230.16 | 1.0001 | 2243.0895
90 | 2004-02-26 | 12 | 193 | 422.9 | 0.4 | 2268.1 | ad 57 | 2230.16 | 1.0001 | 2268.7265
91 | 2004-02-26 | 13 | 194 | 423.1 | 0.7 | 2258.63 | ad 57 | 2230.16 | 1.0001 | 2259.2539
92 | 2004-02-26 | 14 | 188 | 422.6 | 0.5 | 2338.56 | ad 57 | 2230.16 | 1.0001 | 2339.206
93 | 2004-02-26 | 15 | 50 | 422.4 | 0.3 | 2275.48 | ad 57 | 2230.16 | 1.0001 | 2276.1086
94 | 2004-02-26 | 16 | 129 | 422.1 | 0.5 | 2395.88 | ad 57 | 2230.16 | 1.0001 | 2396.5418
95 | 2004-02-26 | 17 | 128 | 421.8 | 0.8 | 2409.47 | ad 57 | 2230.16 | 1.0001 | 2410.1356
96 | 2004-02-26 | 18 | 199 | 421.9 | 0.5 | 2190.28 | ad 57 | 2230.16 | 1.0001 | 2190.885
97 | 2004-02-26 | 19 | 135 | 422.6 | 0.5 | 2288.11 | ad 57 | 2230.16 | 1.0001 | 2288.7421
98 | 2004-02-26 | 20 | 134 | 422.4 | 0.5 | 2283.38 | ad 57 | 2230.16 | 1.0001 | 2284.0108
99 | 2004-02-26 | 21 | 130 | 423 | 0.6 | 2389.88 | ad 57 | 2230.16 | 1.0001 | 2390.5402
100 | 2004-02-26 | 22 | 127 | 422.6 | 0.5 | 2410.9 | ad 57 | 2230.16 | 1.0001 | 2411.566
101 | 2004-02-26 | 23 | 126 | 422.8 | 0.6 | 2428.2 | ad 57 | 2230.16 | 1.0001 | 2428.8708
102 | 2004-02-26 | 24 | 131 | 422.4 | 0.2 | 2370.76 | ad 57 | 2230.16 | 1.0001 | 2371.4149
103 | 2004-02-26 | 25 | 211 | 421.7 | 0.4 | 2431.4 | ad 57 | 2230.16 | 1.0001 | 2432.0717
104 | 2004-02-26 | 26 | 136 | 422.8 | 0.3 | 2275.32 | ad 57 | 2230.16 | 1.0001 | 2275.9485
105 | 2004-02-26 | 27 | 137 | 422.7 | 0.6 | 2270.33 | ad 57 | 2230.16 | 1.0001 | 2270.9572
106 | 2004-02-26 | 28 | 132 | 423 | 0.4 | 2347.94 | ad 57 | 2230.16 | 1.0001 | 2348.5886
107 | 2004-02-26 | 29 | 127b | 422.2 | 0.6 | 2411.87 | ad 57 | 2230.16 | 1.0001 | 2412.5363
108 | 2004-02-26 | 29 | 167 | 423.3 | 0.5 | 2253.19 | ad 57 | 2230.16 | 1.0001 | 2253.8124
109 | 2004-02-26 | 30 | 167b | 423.2 | 0.8 | 2253.48 | ad 57 | 2230.16 | 1.0001 | 2254.1025
110 | 2004-02-26 | 30 | 166 | 424.3 | 0.5 | 2265.31 | ad 57 | 2230.16 | 1.0001 | 2265.9358
111 | 2004-02-26 | 31 | 226 | 421.8 | 0.4 | 2268.45 | ad 57 | 2230.16 | 1.0001 | 2269.0766
112 | 2004-02-26 | 32 | 43b | 421.6 | 0.9 | 2375.01 | ad 57 | 2230.16 | 1.0001 | 2375.6661
113 | 2004-02-27 | 1 | ad | 421 | 0.6 | 2231.64
114 | 2004-02-27 | 2 | 197 | 419.6 | 0.7 | 2211.48 | ad 57 | 2231.64 | 0.99941 | 2210.6239
115 | 2004-02-27 | 3 | 174 | 420 | 0.7 | 2190.68 | ad 57 | 2231.64 | 0.99941 | 2189.8319
116 | 2004-02-27 | 4 | 169 | 420 | 0.7 | 2242.71 | ad 57 | 2231.64 | 0.99941 | 2241.8418
117 | 2004-02-27 | 5 | 172 | 420.3 | 0.6 | 2184.56 | ad 57 | 2231.64 | 0.99941 | 2183.7143
118 | 2004-02-27 | 6 | 168 | 420.6 | 0.5 | 2253.69 | ad 57 | 2231.64 | 0.99941 | 2252.8175
119 | 2004-02-27 | 7 | 170 | 421.1 | 0.7 | 2209.86 | ad 57 | 2231.64 | 0.99941 | 2209.0045
120 | 2004-02-27 | 8 | 173 | 421.5 | 0.6 | 2190.74 | ad 57 | 2231.64 | 0.99941 | 2189.8919
121 | 2004-02-27 | 9 | 171 | 421.7 | 0.8 | 2201.4 | ad 57 | 2231.64 | 0.99941 | 2200.5478
122 | 2004-02-27 | 10 | 138 | 421.6 | 0.4 | 2268.94 | ad 57 | 2231.64 | 0.99941 | 2268.0616
123 | 2004-02-27 | 11 | 57 | 422.1 | 0.6 | 2189.04 | ad 57 | 2231.64 | 0.99941 | 2188.1926
124 | 2004-02-27 | 12 | 56 | 422.1 | 0.5 | 2220.25 | ad 57 | 2231.64 | 0.99941 | 2219.3905
125 | 2004-02-27 | 13 | 55 | 422.2 | 0.6 | 2223.55 | ad 57 | 2231.64 | 0.99941 | 2222.6892
126 | 2004-02-27 | 14 | 58 | 422.4 | 0.3 | 2193.43 | ad 57 | 2231.64 | 0.99941 | 2192.5809
127 | 2004-02-27 | 15 | 139 | 424.4 | 0.4 | 2251.32 | ad 57 | 2231.64 | 0.99941 | 2250.4484
128 | 2004-03-19 | 1 | ad | 423.4 | 0.9 | 2227.43
129 | 2004-03-19 | 2 | 144 | 424.1 | 0.3 | 2164.43 | ad 57 | 2227.43 | 1.0013 | 2167.6814
130 | 2004-03-19 | 9 | 54 | 422.7 | 0.4 | 2209.42 | ad 57 | 2227.43 | 1.0013 | 2212.739