## Final Data 2003-27
Iron III Data for Cruise 2003-27 | [29 empty] | For Graphing:
Cruise: | [6 empty] | 2003-27
Ship | [6 empty] | CCGS John P Tully
Dates | [6 empty] | Aug 29-Sept 22, 2003
Chief Scientist | [6 empty] | Frank Whitney
Iron Analyst |  |  |  | IOS: |  |  | Nes Sutherland & Keith Johnson
For Methods and Explanation of Abbreviations please see Metadata Sheet
Flags & Abbreviations
1 | Sample for this measurement was drawn from water bottle but not analyzed - in storage, available for future analysis
3 | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outlyers)
4 | Bad measurement (known problem with sampling or analysis, but not serious enough to completely discard the value)
5 | Not reported (lost sample; unredeemably bad measurement, overrange)
6 | Mean of replicate measurements from one XNiskin (XN) or Goflo (GF)... Replicates are found in "WorkSumFe" sheet, and summary of replicate data in the "Metadata" sheet
Note that >90% of analyses have duplicate runs from within one bottle, average stats for these are in "Metadata" sheet; only separate bottles are flagged as "6"
9 | Sample not drawn for this measurement from this bottle
Salinity was collected from iron sampling bottles.
[9 empty] | GF= goflo |  | Sample_Number | Depth | Iron:Filtered:Buffered 0.22u | Flag FB | Iron:Unfiltered:Buffered | Flag UFB | Iron:Filtered:StrongAcid Micro waved | Flag FA mw | Iron:Unfiltered:StrongAcid Microwaved | Flag UFA mw |  | Salinity | Salinity flag | Nitrate | Nitrate flag | Silicate | Silicate flag | Phosphate | Phosphate flag
Date | Time | Cast or | Latitude |  | Longitude |  | Station | Event | Sampler | Sampler | Smp | Depth | FB 0.22 | FB | UFB | UFB | FAmw | FAmw | UFAmw | UFAmw | Analysis Comments | Sal |  | NO3 |  | Si |  | PO4
UTC | UTC | Profile | [5 empty] | # | Type | ID# | # | m | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | Collection Comments | (PSU) | Flag | uM | Flag | uM | Flag | uM | Flag
2003-08-31 | ~1730 | 8001 | 48 36 | N | 126 00 | W | P02 | 1 | GF10 | ? | 1 | 10 |  |  | 4.2197
2003-08-31 | ~1740 | 8001 | 48 36 | N | 126 00 | W | P02 | 2 | GF12 | #12 | 2 | 20 |  |  | 3.7828 | 4 |  |  |  |  | 4 UFB: possibly a bit low, flow rate dropped in analysis
2003-08-31 | 2100 | 8002 | 48 37.5 | N | 126 20 | W | P03 | 3 | GF10 | ? | 3 | 10 | 0.74224 |  | 1.9512
2003-08-31 | 2110 | 8002 | 48 37.5 | N | 126 20 | W | P03 | 4 | GF12 | #12 | 4 | 20 | 0.40645 |  | 1.0694
2003-09-01 | 0245 | 8003 | 48 39 | N | 126 40 | W | P04 | 5 | Pump | Asti | 8 | 10 | 0.10706 |  | 0.22225
2003-09-01 | 0210 | 8003 | 48 39 | N | 126 40 | W | P04 | 5 | Pump | Asti | 7 | 20 | 0.16352 |  | 0.21162
2003-09-01 | 0140 | 8003 | 48 39 | N | 126 40 | W | P04 | 5 | Pump | Asti | 6 | 30 | 0.19385 |  | 0.27055
2003-09-01 | 0110 | 8003 | 48 39 | N | 126 40 | W | P04 | 5 | Pump | Asti | 5 | 40 |  | 5 | 0.23659 | [5 empty] | 5 FB: insufficient filter rinse (first use)
2003-09-01 | 0300 | 8003 | 48 39 | N | 126 40 | W | P04 | 6 | GF12 | #10 | 9 | 70 | 0.5625 | 4 | 0.58237 | 4 |  |  |  |  | 4:GF12#10 possibly faulty, with insufficient flushing | 32.5862
2003-09-01 | 0320 | 8003 | 48 39 | N | 126 40 | W | P04 | 7 | GF12 | #12 | 10 | 150 | 0.69497 |  | 0.96168 | [6 empty] | 33.2987
2003-09-01 | 0400 | 8003 | 48 39 | N | 126 40 | W | P04 | 8 | GF12 | #12 | 11 | 200 | 1.8843 |  | 3.3735 | [5 empty] | high winds, 100m cast cancelled | 33.918
2003-09-01 | 0400 | 8003 | 48 39 | N | 126 40 | W | P04 | 8 | GF12 | #10 | 12 | 300 | 1.4779 | 4 | 1.9781 | 4 |  |  |  |  | 4:GF12#10 possibly faulty, with insufficient flushing | 33.8865
2003-09-01 | 1525 | 8004 | 48 44.6 | N | 127 40 | W | P06 | 9 | GF12 | #12 | 13 | 10 | 0.11905 |  | 0.26546
2003-09-01 | 1525 | 8004 | 48 44.6 | N | 127 40 | W | P06 | 9 | GF12 | #10 | 14 | 20 | 0.33064 | 4 | 0.51846 | 4 |  |  |  |  | 4:GF12#10 possibly faulty, with insufficient flushing
2003-09-01 | 1915 | 8005 | 49 46.6 | N | 128 10.03 | W | P07 | 10 | GF12 | #12 | 15 | 10 | 0.11245 |  | 0.26054
2003-09-01 | 1915 | 8005 | 49 46.6 | N | 128 10.03 | W | P07 | 10 | GF12 | #10 | 16 | 20 | 0.19279 | 4 | 0.30817 | 4 |  |  |  |  | 4:GF12#10 possibly faulty, with insufficient flushing
2003-09-01 | 2345 | 8006 | 48 49.01 | N | 128 40.01 | W | P08 | 12 | GF12 | #12 | 18 | 10 | 0.13331 |  | 0.21952
2003-09-02 | 0005 | 8006 | 48 49.01 | N | 128 40.01 | W | P08 | 14 | GF30 | BigB | 20 | 10 | 0.1837 |  | 0.26163
2003-09-01 | 2340 | 8006 | 48 49.01 | N | 128 40.01 | W | P08 | 11 | GF12 | #10 | 17 | 20 | 0.20564 | 4 | 0.32383 | 4 |  |  |  |  | 4:GF12#10 possibly faulty, with insufficient flushing
2003-09-02 | 0000 | 8006 | 48 49.01 | N | 128 40.01 | W | P08 | 13 | GF30 | Wilbur | 19 | 20 | 0.54772 |  | 1.0322
2003-09-02 | 0410 | 8007 | 48 51.4 | N | 129 10. | W | P09 | 16 | GF12 | #12 | 22 | 10 | 0.063175 |  | 0.11179
2003-09-02 | 0400 | 8007 | 48 51.4 | N | 129 10. | W | P09 | 15 | GF12 | #10 | 21 | 20 | 0.33403 | 4 | 0.57906 | 4 |  |  |  |  | 4:GF12#10 possibly faulty, with insufficient flushing
2003-09-02 | 0640 | 8008 | 48 53.6 | N | 129 40. | W | P10 | 17 | GF12 | #12 | 24 | 10 | 0.044179 |  | 0.062938
2003-09-02 | 0640 | 8008 | 48 53.6 | N | 129 40. | W | P10 | 17 | GF12 | #10 | 23 | 20 | 0.11492 | 4 | 0.18885 | 4 |  |  |  |  | 4:GF12#10 possibly faulty, with insufficient flushing
2003-09-02 | 1140 | 8009 | 48 55.96 | N | 130 09.99 | W | P11 | 19 | GF12 | #12 | 26 | 10 | 0.056722 |  | 0.70084 |  | 0.28143
2003-09-02 | 1130 | 8009 | 48 55.96 | N | 130 09.99 | W | P11 | 18 | GF12 | #10 | 25 | 20 | 0.05685 | 4 | 0.92759 | 4 | 0.15143 | 4 |  |  | 4:GF12#10 possibly faulty, with insufficient flushing
2003-09-02 | 1715 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 27 | Zodiac | Hand | 37 | 0 | 0.049046 |  | 0.05158
2003-09-02 | 1515 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 20 | Pump | Asti | 30 | 10 | 0.045797 |  | 0.052994 |  | 0.20686
2003-09-02 | 1505 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 20 | Pump | Asti | 29 | 20 | 0.042596 |  | 0.054557 |  | 0.13109
2003-09-02 | 1455 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 20 | Pump | Asti | 28 | 30 | 0.040373 |  | 0.060922
2003-09-02 | 1530 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 21 | GF12 | #10 | 31 | 30 |  |  |  | 5 |  |  |  |  | 5 UF: GF comparison with pump, not analysed
2003-09-02 | 1535 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 22 | GF12 | #12 | 32 | 30 |  |  |  | 5 |  |  |  |  | "
2003-09-02 | 1540 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 23 | GF30 | Wilbur | 33 | 30 |  |  |  | 5 |  |  |  |  | "
2003-09-02 | 1545 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 24 | GF30 | BigB | 34 | 30 |  |  |  | 5 |  |  |  |  | "
2003-09-02 | 1445 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 20 | Pump | Asti | 27 | 40 | 0.051965 |  | 0.078843
2003-09-02 | 1555 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 26 | GF12 | #12 | 36 | 75 | 0.10617 |  | 0.18239 | [6 empty] | 32.5726
2003-09-02 | 1550 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 25 | GF12 | #10 | 35 | 100 | 0.1032 | 4 | 0.22341 | 4 |  |  |  |  | 4:GF12#10 possibly faulty, with insufficient flushing | 32.1421 | 3
2003-09-02 | 1840 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 29 | GF12 | ? | 40 | 150 | 0.15048 |  | 0.27407 | [6 empty] | 32.445 | 3
2003-09-02 | 1822 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 28 | GF12 | #12 | 38 | 200 | 0.60599 |  | 0.93766 | [6 empty] | 33.8878
2003-09-02 | 1822 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 28 | GF12 | #10 | 39 | 250 |  |  |  | 5 |  |  |  |  | 5 UF: sampled, but not analysed as wrong depth
2003-09-02 | 2012 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 30 | GF12 | #10 | 41 | 300 | 0.60574 | 4 | 0.98873 | 4 |  |  |  |  | 4:GF12#10 possibly faulty, with insufficient flushing | 33.5833 | 3
2003-09-02 | 2012 | 8010 | 48 58.2 | N | 130 40. | W | P12 | 30 | GF12 | #12 | 42 | 400 | 1.1868 |  | 1.7487 | [6 empty] | 34.0244
2003-09-03 | 0310 | 8011 | 49 02.6 | N | 131 40 | W | P13 | 31 | GF12 | #12 | 43 | 10 | 0.12182 |  | 0.15865 |  | 0.32998 |  | 1.1142
2003-09-03 | 0315 | 8011 | 49 02.6 | N | 131 40 | W | P13 | 32 | GF12 | #10 | 44 | 20 | 0.16762 | 4 | 0.26159 | 4 | 0.1782 | 4 | 0.80104 | 4 | 4:GF12#10 possibly faulty, with insufficient flushing
2003-09-03 | 0910 | 8012 | 49 07.41 | N | 132 40 | W | P14 | 33 | GF12 | #12 | 45 | 10 | 0.051824 |  | 0.053027 |  | 0.065635 |  | 0.26382
2003-09-03 | 0915 | 8012 | 49 07.41 | N | 132 40 | W | P14 | 34 | GF12 | #10 | 46 | 20 | 0.098367 | 4 | 0.16743 | 4 | 0.096219 | 4 | 0.37933 | 4 | 4:GF12#10 possibly faulty, with insufficient flushing
2003-09-03 | 1505 | 8013 | 49 12 | N | 133 40 | W | P15 | 35 | GF12 | #12 | 47 | 10 | 0.043879 |  | 0.069054 |  | 0.12084
2003-09-03 | 1510 | 8013 | 49 12 | N | 133 40 | W | P15 | 36 | GF12 | #10 | 48 | 20 | 0.12479 | 4 | 0.25383 | 4 | 0.077753 | 4 |  |  | 4:GF12#10 possibly faulty, with insufficient flushing
2003-09-03 | 2215 | 8014 | 49 17 | N | 134 40 | W | P16 | 42 | Zodiac | Hand | 57 | 0 | 0.052351 |  | 0.040955 |  | 0.048006 |  | 0.22897
2003-09-03 | 2025 | 8014 | 49 17 | N | 134 40 | W | P16 | 37 | Pump | Asti | 52 | 10 | 0.04886 |  | 0.041772 |  | 0.098229 |  | 0.16914
2003-09-03 | 2015 | 8014 | 49 17 | N | 134 40 | W | P16 | 37 | Pump | Asti | 51 | 20 | 0.044477 |  | 0.038344 |  | 0.079724 |  | 0.15489
2003-09-03 | 2005 | 8014 | 49 17 | N | 134 40 | W | P16 | 37 | Pump | Asti | 50 | 30 | 0.049099 |  | 0.04058 |  | 0.11942 |  | 0.12781
2003-09-03 | 2035 | 8014 | 49 17 | N | 134 40 | W | P16 | 38 | GF12 | #12 | 53 | 30 |  |  | 0.061102 | [5 empty] | GF comparison with pump-GF12#12 looks good
2003-09-03 | 2040 | 8014 | 49 17 | N | 134 40 | W | P16 | 39 | GF12 | #10 | 54 | 30 |  |  | 0.2668 | 4 |  |  |  |  | 4 UF: compared to pump smp, GF needs more cleaning
2003-09-03 | 2045 | 8014 | 49 17 | N | 134 40 | W | P16 | 40 | GF30 | Wilbur | 55 | 30 |  |  | 0.12522 | 4 |  |  |  |  | 4 UF: compared to pump smp, GF needs more cleaning
2003-09-03 | 2055 | 8014 | 49 17 | N | 134 40 | W | P16 | 41 | GF30 | BigB | 56 | 30 |  |  | 0.1921 | 4 |  |  |  |  | 4 UF: compared to pump smp, GF needs more cleaning
2003-09-03 | 1955 | 8014 | 49 17 | N | 134 40 | W | P16 | 37 | Pump | Asti | 49 | 40 | 0.049715 |  | 0.053072 |  | 0.21596 |  | 0.15444
2003-09-03 | 2340 | 8014 | 49 17 | N | 134 40 | W | P16 | 43 | GF12 | #12 | 58 | 75 | 0.042255 |  | 0.063916 |  | 0.067379 |  | 0.58514 |  |  | 32.6815
2003-09-04 | 0015 | 8014 | 49 17 | N | 134 40 | W | P16 | 44 | GF12 | #12 | 60 | 100 | 0.060299 |  | 0.14898 |  | 0.26221 |  | 0.39986 |  |  | 33.0539
2003-09-03 | 2340 | 8014 | 49 17 | N | 134 40 | W | P16 | 43 | GF12 | #10 | 59 | 150 | 0.065437 | 4 | 0.14846 | 4 |  |  |  |  | 4:GF12#10 possibly faulty, with insufficient flushing | 32.7399 | 3
2003-09-04 | 0015 | 8014 | 49 17 | N | 134 40 | W | P16 | 44 | GF12 | #10 | 61 | 200 | 0.094959 | 4 | 0.161 | 4 |  |  |  |  | 4:GF12#10 possibly faulty, with insufficient flushing | 33.0901 | 3
2003-09-04 | 0055 | 8014 | 49 17 | N | 134 40 | W | P16 | 45 | GF12 | #10 | 62 | 300 | 0.21769 |  | 0.29745 | [6 empty] | 33.8686
2003-09-04 | 0055 | 8014 | 49 17 | N | 134 40 | W | P16 | 45 | GF12 | #10 | 63 | 400 | 0.20227 | 4 | 0.2749 | 4 |  |  |  |  | 4:GF12#10 possibly faulty, with insufficient flushing | 33.6124 | 3
2003-09-04 | 0645 | 8015 | 49 21 | N | 135 40 | W | P17 | 46 | GF12 | #12 | 64 | 10 | 0.06632 |  | 0.18914 |  | 0.20411 |  | >2 | 4 | 4 UFAmw: >high std
2003-09-04 | 0645 | 8015 | 49 21 | N | 135 40 | W | P17 | 47 | GF12 | #10 | 65 | 20 | 0.10729 | 4 | 0.29325 | 4 | 0.24242 |  | >2 | 4 | 4:GF12#10 possibly faulty, with insufficient flushing?pressurized
2003-09-04 | 1215 | 8016 | 49 26 | N | 136 40 | W | P18 | 49 | GF12 | #12 | 67 | 10 | 0.044601 |  | 0.082167 |  | 0.12205 |  | 0.41782
2003-09-04 | 1210 | 8016 | 49 26 | N | 136 40 | W | P18 | 48 | GF12 | #10 | 66 | 20 | 0.1478 | 4 | 0.26352 | 4 | 0.2521 | 4 | 0.64937 | 4 | 4:GF12#10 possibly faulty, with insufficient flushing?not sure if full
2003-09-04 | 1740 | 8017 | 49 30 | N | 137 40 | W | P19 | 50 | GF12 | #12 | 68 | 10 | 0.049881 |  | 0.083888 |  | 0.15919 |  | 0.34019
2003-09-04 | 1750 | 8017 | 49 30 | N | 137 40 | W | P19 | 51 | GF12 | #10 | 69 | 10 |  |  | 0.087149 | [5 empty] | lanyard fixed, taken to check for contamination
2003-09-04 | 2230 | 8018 | 49 34 | N | 138 40 | W | P20 | 52 | Zodiac | Hand | 70 | 0 | 0.034667 |  | 0.063002 |  | 0.17194 |  | 0.36578
2003-09-05 | 0115 | 8018 | 49 34 | N | 138 40 | W | P20 | 53 | Pump | Asti | 74 | 10 | 0.02606 |  | 0.050429 |  | 0.18819 |  | 0.15633
2003-09-05 | 0105 | 8018 | 49 34 | N | 138 40 | W | P20 | 53 | Pump | Asti | 73 | 20 | 0.026084 |  | 0.049064 |  | 0.087929 |  | 0.20274
2003-09-05 | 0055 | 8018 | 49 34 | N | 138 40 | W | P20 | 53 | Pump | Asti | 72 | 30 | 0.025254 |  | 0.061111 |  | 0.4699 | 3 | 0.13267 |  | 3 FAmw: ?contaminated
2003-09-05 | 0130 | 8018 | 49 34 | N | 138 40 | W | P20 | 54 | GF12 | #10 | 75 | 30 |  |  | 0.052136 | [5 empty] | GF comparison with pump - GF now clean enough
2003-09-05 | 0135 | 8018 | 49 34 | N | 138 40 | W | P20 | 55 | GF12 | #12 | 76 | 30 |  |  | 0.056123 | [5 empty] | "
2003-09-05 | 0140 | 8018 | 49 34 | N | 138 40 | W | P20 | 56 | GF30 | BigB | 77 | 30 |  |  | 0.051706 | [5 empty] | "
2003-09-05 | 0145 | 8018 | 49 34 | N | 138 40 | W | P20 | 57 | GF30 | Wilbur | 78 | 30 |  |  | 0.063715 | [5 empty] | "
2003-09-05 | 0040 | 8018 | 49 34 | N | 138 40 | W | P20 | 53 | Pump | Asti | 71 | 40 | 0.025596 |  | 0.046007 |  | 0.26392 |  | 0.19695 |  | "
2003-09-05 | 0205 | 8018 | 49 34 | N | 138 40 | W | P20 | 58 | GF12 | #12 | 79 | 75 | 0.031405 |  | 0.055769 |  | 0.14644 |  | 0.38025 |  |  | 32.7225
2003-09-05 | 0230 | 8018 | 49 34 | N | 138 40 | W | P20 | 60 | GF12 | #12 | 81 | 100 | 0.058548 |  | 0.14396 |  | 0.1502 |  | 0.40193 |  |  | 33.2366
2003-09-05 | 0350 | 8018 | 49 34 | N | 138 40 | W | P20 | 62 | GF12 | #12 | 84 | 150 | 0.19295 |  | 0.20918 | [6 empty] | 33.6586
2003-09-05 | 0220 | 8018 | 49 34 | N | 138 40 | W | P20 | 59 | GF30 | Wilbur | 80 | 200 | 0.23579 |  | 0.29779 | [6 empty] | 33.7937
2003-09-05 | 0305 | 8018 | 49 34 | N | 138 40 | W | P20 | 61 | GF12 | #12 | 82 | 300 | 0.27236 |  | 0.32111 | [5 empty] | possibly vent was open? | 33.8764
2003-09-05 | 0305 | 8018 | 49 34 | N | 138 40 | W | P20 | 61 | GF30 | Wilbur | 83 | 400 | 0.31559 |  | 0.34481 | [6 empty] | 33.9485
2003-09-05 | 0900 | 8019 | 49 38 | N | 139 40 | W | P21 | 63 | GF12 | #12 | 85 | 10 | 0.037107 |  | 0.092585 |  | 0.16285 |  | 0.94415
2003-09-05 | 1415 | 8020 | 49 42 | N | 140 40 | W | P22 | 64 | GF12 | #12 | 86 | 10 | 0.042176 |  | 0.066066 |  | 0.28543 |  | 0.49573
2003-09-05 | 1830 | 8021 | 49 46 | N | 126 40 | W | P23 | 65 | GF12 | #12 | 87 | 10 | 0.036992 |  | 0.098107 |  | 0.43683 | 4 | 0.80517 |  | 4 FAmw: cap popped off in MW, possible contamination
2003-09-05 | 1840 | 8021 | 49 46 | N | 141 40 | W | P23 | 66 | GF12 | #10 | 88 | 10 | 0.031525 |  | 0.09964
2003-09-06 | 0050 | 8022 | 49 50.2 | N | 142 40 | W | P24 | 67 | GF12 | #12 | 89 | 10 | 0.036218 |  | 0.084321 |  | 0.24803 |  | 0.71834
2003-09-06 | 0745 | 8023 | 50 00 | N | 143 36.3 | W | P25 | 68 | GF12 | #12 | 90 | 10 | 0.037406 |  | 0.054283 |  | 0.13037 |  | 0.16963
2003-09-06 | 1030 | 8024 | 50 00 | N | 144 18.2 | W | P35 | 69 | GF12 | #12 | 91 | 10 | 0.031788 |  | 0.065343 |  | 0.13249 |  | 0.44429
2003-09-06 | 2130 | 8025 | 50 00 | N | 145 00 | W | P26 | 71 | Zodiac | Hand | 99 | 0 | 0.034144 |  | 0.048928 |  |  | 5 | 0.078022 |  | 5 FAmw: cap popped off in MW, contaminated
2003-09-06 | 1815 | 8025 | 50 00 | N | 145 00 | W | P26 | 70 | Pump | Asti | 98 | 5 | 0.033079 |  | 0.055535 |  | 0.067561 |  | 0.36191
2003-09-06 | 1805 | 8025 | 50 00 | N | 145 00 | W | P26 | 70 | Pump | Asti | 97 | 10 | 0.030521 | 6 | 0.057256 | 6 | 0.19783 | 6 | 0.15991 | 6 | 6: dup samples collected next day
2003-09-06 | 1755 | 8025 | 50 00 | N | 145 00 | W | P26 | 70 | Pump | Asti | 96 | 15 | 0.032473 |  | 0.048747 |  | 0.26061 |  | 0.10643
2003-09-06 | 1745 | 8025 | 50 00 | N | 145 00 | W | P26 | 70 | Pump | Asti | 95 | 20 | 0.030603 |  | 0.045378 |  | 0.19473 |  | 0.11221
2003-09-06 | 1740 | 8025 | 50 00 | N | 145 00 | W | P26 | 70 | Pump | Asti | 94 | 25 | 0.030036 |  | 0.044126 |  | 0.16962 |  | 0.20805
2003-09-06 | 1730 | 8025 | 50 00 | N | 145 00 | W | P26 | 70 | Pump | Asti | 93 | 30 | 0.028115 |  | 0.045347 |  | 0.38443 | 3 | 0.26704 |  | 3 FAmw: likely contaminated
2003-09-06 | 1715 | 8025 | 50 00 | N | 145 00 | W | P26 | 70 | Pump | Asti | 92 | 40 | 0.029989 | 6 | 0.045982 | 6 | 0.16238 | 6 | 0.086394 | 6
2003-09-06 | 2210 | 8025 | 50 00 | N | 145 00 | W | P26 | 72 | GF12 | #12 | 100 | 50 | 0.027384 |  | 0.046242 |  | 0.090198 |  | 0.093266
2003-09-06 | 2250 | 8025 | 50 00 | N | 145 00 | W | P26 | 74 | GF12 | #12 | 102 | 75 | 0.03292 |  | 0.066132 |  | 0.11712 |  | 0.21164
2003-09-06 | 2220 | 8025 | 50 00 | N | 145 00 | W | P26 | 73 | GF12 | #10 | 101 | 100 | 0.069822 | 6 | 0.12677 | 6 | 0.11834 |  | 0.11279
2003-09-06 | 2250 | 8025 | 50 00 | N | 145 00 | W | P26 | 75 | GF12 | #10 | 103 | 150 | 0.23617 |  | 0.28454 |  | 0.3092 |  | 0.88463
2003-09-06 | 2330 | 8025 | 50 00 | N | 145 00 | W | P26 | 76 | GF12 | #12 | 104 | 200 | 0.26156 | 6 | 0.33406 | 6 |  |  |  |  | vent wide open
2003-09-06 | 2330 | 8025 | 50 00 | N | 145 00 | W | P26 | 76 | GF12 | #10 | 105 | 300 | 0.31198 |  | 0.37477
2003-09-07 | 0010 | 8025 | 50 00 | N | 145 00 | W | P26 | 77 | GF12 | #12 | 106 | 400 | 0.38255 |  | 0.42522
2003-09-07 | 0010 | 8025 | 50 00 | N | 145 00 | W | P26 | 77 | GF30 | Wilbur | 107 | 600 | 0.42215 |  | 0.4998
2003-09-07 | 0010 | 8025 | 50 00 | N | 145 00 | W | P26 | 77 | GF30 | BigB | 108 | 800 | 0.40881 |  | 0.47322
2003-09-07 | 1745 | 8026 | 50 00 | N | 145 00 | W | P26 | 79 | Pump | Asti | 112 | 10 | 0.027958 | 6 | 0.053682 | 6 |  |  |  |  | Stn P repeated next day, primarily for UBC, but IOS smp taken as well
2003-09-07 | 1730 | 8026 | 50 00 | N | 145 00 | W | P26 | 79 | Pump | Asti | 111 | 40 | 0.035737 | 6 | 0.04824 | 6
2003-09-07 | 1535 | 8026 | 50 00 | N | 145 00 | W | P26 | 78 | GF12 | #12 | 109 | 100 | 0.076621 | 6 | 0.11906 | 6
2003-09-07 | 1535 | 8026 | 50 00 | N | 145 00 | W | P26 | 78 | GF12 | #10 | 110 | 200 | 0.24647 | 6 | 0.29115 | 6
2003-09-09 | 1440 | 8027 | 51 06 | N | 139 30.5 | W | R15 | 80 | GF12 | #12 | 113 | 10 | 0.067752 |  | 0.076996
2003-09-09 | 1750 | 8028 | 51 09 | N | 138 47.5 | W | R14 | 81 | GF12 | #12 | 114 | 10 | 0.05177 |  | 0.07428
2003-09-09 | 2320 | 8029 | 51 11 | N | 138 06 | W | R13 | 82 | GF12 | #12 | 115 | 10 | 0.042056 |  | 0.060281
2003-09-10 | 0220 | 8030 | 51 13 | N | 137 23 | W | R12 | 83 | GF12 | #12 | 116 | 10 | 0.039864 |  | 0.11478 | [5 empty] | windy&rough
2003-09-11 | 0730 | 8031 | 52 | N | 133 30 | W | New-2 | 84 | GF12 | #12 | 117 | 10 | 0.094033 |  | 0.18415 | [5 empty] | position approximate
2003-09-11 | 2025 | 8032 | 51 30 | N | 131 40 | W | SS1 | 85 | GF12 | #12 | 118 | 10 | 0.10809 |  | 0.28538
2003-09-11 | 2200 | 8033 | 51 15 | N | 130 40 | W | SS2 | 86 | GF12 | #12 | 119 | 10 | 0.11602 |  | 0.29764
2003-09-12 | 0130 | 8034 | 51 00 | N | 129 42 | W | SS3 | 87 | GF12 | #12 | 120 | 10 | 0.47438 |  | 0.91529
2003-09-12 | 0335 | 8035 | 51 12 | N | 129 21 | W | SS4 | 88 | GF12 | #12 | 121 | 10 | 0.52251 |  | 1.0241
2003-09-12 | 0620 | 8036 | 51 21 | N | 129 00 | W | SS5 | 89 | GF12 | #12 | 122 | 10 | 0.21121 |  | 0.57029

## Metadata Cruise
Iron III MetaData for Cruise 2003-27 | [10 empty] | For Graphing:
Cruise: |  |  | 2003-27
Ship |  |  | CCGS John P Tully
Dates |  |  | Aug 29-Sept 22, 2003
Chief Scientist |  |  | Frank Whitney
Iron Analyst | IOS: |  | Nes Sutherland & Keith Johnson
The cruise was divided into two parts: Leg 1 was Line P, Leg 2 was return on Lines R & SS into the Hecate Strait area, with a cast at the centre of a new eddy off the Charlottes
Leg 1- The objective of the iron team was to sample and analyse Iron(III) at regularly monitored stations along Line P
Leg 2- The obective was to analyse iron(III) from select stations along the more northern return line, providing iron data for UBC trace metal students studying cadmium and other trace metals
As well, any extra time between stations was taken up with analysis of acidifed samples from previous cruises
Sample Collection:
Seawater samples for Iron (III) analyses were collected by hand (bottles only opened and closed while totally submerged, ~0.1m depth) from a zodiac positioned away from the ship; by Teflon compressed air activated Asti pump with Teflon tubing (5-40m);
or by 10L or 12L GoFlos (numbered) or 30L GoFlos(GF named Wilbur and BigB) on a Kevlar line spooled over a Delrin block (50-800m).
GF12#10 seemed to be pressurized and sometimes perhaps incompete fill, leading to screwy data. On Sept 4, discovered that bottom ball valve not opening, as line too long, therefore no flushing. Line shortened and GF functional again in time for P19
LDPE bottles had been previously acid cleaned to Geotraces standards. Filtration was through 0.22u Duropore 47mm flat membrane filters on Teflon apparatus in laminar hood,
or by Opti cartidge type filters ( 0.22u Duropore) direct from the pump or Goflos
Sample Treatment- Current and IOS Historical:
Iron analysis can be performed in several different ways, therefore it is necessary to operationally define the treatments used, if one wishes to compare results with other researchers.
At IOS we have traditionally followed the suggestions of Obata and Nishioka for treatment and analysis.
IOS protocol originally called for treatment of filtered and unfiltered samples with a mildly acidic buffered leach (pH 3.2), measured onboard, as well
as a strongly acidic leach (pH ~1.6 / 2.25 ml of 6N purified HCl to 250ml SW) measured after a storage period of 6 months or longer.
In recent years (post2006), IOS has also added the Geotraces method of acid leach for a minimum of 12 hours before analysis.
The following provides a description of these treatments, their abbreviations and nomenclature:
Buffered Sample Analysis - FB or UFB - traditional analysis performed for IOS Line P cruises - a mild leach where sample is buffered to pH3.2 with Ammonium formate,
then analysed within ~2 hours, unless noted; thought to be immediate bioavailable iron. Buffering for extended periods may result in more iron stripping off particles, therefore an attempt was made to standardize the time from buffereing
| Iron:Filtered:Buffered |  | FB | usually 0.22u filtered, buffered, also called dissolved Fe
|  |  |  | FB0.22u | Duropore Opti type cartridge direct from Goflo or Pump, else Flat Duropore membrane, either 90mm housing to GoFlo or pump, or 47mm housing in CleanRoom
| Iron:Unfiltered:Buffered |  | UFB | unfiltered, buffered, also considered to be labile or bioavailable
|  |  | UFB-FB | this difference is known as labile particulate fraction
Strongly Acidified Sample Analysis - FA or UFA - samples acidified to pH~1.6 with 1:1 HCl for 6 months or more, then brought back up to pH3.2, the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
IOS has traditionally used this strong acidification in the past, utilizing 2mL of 1:1 SeaStar HCl per 250mL sample for acidification, as suggested by Nishioka
(personal communication) for a complete digestion of iron, excepting what would be geologically bound compounds
It is thought that by microwaving the FA or UFA 24 hours after collection, the leaching of particles might be sped up to result in iron conc similar to the long term storage (Nishioka pers com), but this has not been verified by the IOS lab
Because the FA and UFA analyses were new to IOS, duplicate strongly acidified samples were collected - one set for long term storage, the other for long term and additional microwave as a comparison
| Iron:Filtered:StrongAcid |  | FA | 0.22u filtered, acidified to 1.6, into storage for minimum of 6 months - referred to as Total Dissolved fraction
This fraction tends to be similar to FB
|  |  |  | FA mw | Additional microwave procedure
| Iron:Unfiltered:StrongAcid |  | UFA | unfiltered, acidified to 1.6, then into storage for minimum of 6 months - also known as Total Dissolvable
|  |  |  | UFA mw | Additional microwave procedure
|  |  | UFA-FA | the difference provides leachable particulate, a measure of nonlabile particulate iron
|  |  | FA-FB | the difference reflects the nonlabile dissolved fraction
|  |  | UFA-UFB | the difference reflects the nonlabile fraction
For reference only:
Geotraces Acidified Sample - FG or UFG - samples acidified to <pH2 with 1:1 HCl for at least 12 hours, then brought back up to pH3.2, which is the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
The Geo (Geotraces) method is a stronger leach of iron than the Buffered Sample Analysis, especially on particulates in sea water.
It is becoming the norm for iron analyses, and therefore IOS has started to incorporate this treatment in its sampling protocol for Line P cruises
IOS protocol for Geotraces samples has been modified somewhat from when first run in 2009:
In 2009: 24 hour treatment, but with strong acid conc: 2.0mL 1:1 HCl per 250mL smp (->pH~1.6) as opposed to the then Geo suggested 0.5mL (->pH~1.9) Abbreviated to FGA and UFGA to reflect the stronger acid conc
In 2010: IOS followed the suggested addition of 0.5mL SS 1:1 HCl per 250mL sample (->pH~1.9) for 24 hour minimum digestion; called FG2010 and UFG2010
In 2011: it was noted that the Geotraces protocol now calls for addition of 1.0 mL of SeaStar 1:1 HCl per 250mL of sample, achieving a pH ~1.8, (min 12 hour digest), and will simply be abbreviated as FG or UFG
| Iron:Filtered:Geotrace |  | FG | 0.22u filtered, acidified to <2 for >12 hours, then pH3.2 for analysis - see below for 2011 modification. FG also referred to D(Fe), or Dissolved Fe
| Iron:Unfiltered:Geotrace |  | UFG | unfiltered, acidified to <2 for >12hours, then pH3.2 for analysis - see below for 2011 modification. UFG is also referred to TD(Fe), or Total Dissolvable Fe
Rough comparison of Treatments:
It is possible that over a 24 hour digest, the Geo results might be similar between the different acid concentrations (ie pH range1.6-1.9), but this has not been tested in our lab.
We have noted that the long term FA and UFA leaches result in greater iron concentration than the short digest of FG and UFG.
In 2009, FB~FGA, sometimes FB>FGA, but inconclusive, as known problems with contamination and calibration issues, however both FB&FGA < FA; UFB < UFGA < UFA
In 2010, FB and FG2000 were quite similar, no real trend observed; UFG2000 also tended to be similar or somewhat greater than UFB. However, for Stn P4 we used FGA, a stronger acid, and FGA was consistently > FB
In 2011, when comparing FB and FG, FG ~ > than FB, and UFG is also greater than UFB particularly in deeper waters; perhaps this trend shows the effect of increasing the amount of acid in the Geo method this year
In this cruise, filtered and unfiltered buffered samples (FB & UFB), and Strongly Acidified Filtered and Unfiltered (FA & UFA) were collected.
Sample Analysis:
Samples were analysed onboard using a chemiluminescent reaction with preconcentration according to the method of Obata et al (1993), incorporating
modifications made in Obata et al (1997). Details can be found in Johnson et al (2005)
In general, duplicate runs are taken from one sample bottle, although at P26, some duplicates were drawn from separate casts on different days.
References: | Johnson, W.K., Miller, L.A., Sutherland, N.E., Wong, C.S., 2005. Iron transport by mesoscale Haida eddies in the Gulf of Alaska. Deep-Sea Research II 52, 933-953
Obata, H., Karatani, H., and E. Nakayama, 1993. Automated determination of iron in seawater by chlating resin concentration and chemiluminescence detection, Anal. Chem., 65, 1524 – 1528
Obata, H., Karatani, H., Matsui, M. and Nakayama, E., 1997. Fundamental studies for chemical speciation of iron in seawater with an improved analytical method. Mar. Chem., 56: 97-106.
Standards and Blanks:
The primary standard was a VWR FeCl3 in dilute HCl sol'n, certified at 1007ppm. From this a secondary 10ppm was prepared, then further diluted to stock solutions of 100 and 10ppb.
Working standards were prepared fresh from these stock solutions to bracket the expected range of samples, using low iron seawater collected from Stn Papa in previous cruises
Blanks for the standards were from the same low iron seawater. This typically has a small (<0.05nM) amount of Fe.
For more on blanks, see separate section below.
QAQC & Reference Standards, Blanks & Comments
Replication Statistics, or Sample Pooled Data Stats:
Pooled variance (sp) is used to report error associated with analyses, whether it be from duplicate analyses within a sample bottle, or between duplicate samples taken from one depth.
The Average Fe reported with the sp is the average of only the data used in calculating sp, and provided for determining relative standard deviation (%RSD).
Unfiltered duplicate acidified samples tended to be more variable than filtered, likely due to unequal particulate loading. The long digestion period amplifies this effect
See Sheet 0327Summary for more detailed breakdown of sp
|  | Replicate Analysis within a Sample Bottle | [5 empty] | Replicate Analysis of Separate Sample Bottles:
|  | Overall Cruise: | [6 empty] | Buffered | Acidified
|  | AllData: |  | <0.2nmol: |  | >2nmol: |  |  |  | **w/o outlier
Pooled Variance (sp): |  | 0.017089 |  | 0.0051041 |  | 0.090825 |  |  | 0.011809 | 0.18747
Detection Limit: |  |  |  | 0.015312
Average Fe: |  | 0.44375 |  | 0.086537 |  | 2.6294 |  |  | 0.11593 | 0.4507
Sum d^2: |  | 0.20209 |  | 0.0092743 |  | 0.28047 |  |  | 0.0022314 | 1.5463
Rsp% |  | 3.8511 |  | 5.8981 |  | 3.4543 |  |  | 30.4659 | 41.5947
n: |  | 346 |  | 178 |  | 17 |  |  | 8 | 22
Daily Reference Standards (DRS)
DRSs are run frequently to check on instrument performance and drift. Unfortunately in this cruise they were not run.
Intercalibration Standards
Intercalibration standards were not available, and thus not reported
Summary of Buffered Sea Water Blanks Used in Calibration and Determining Zero, and Detection Limits
Blanks:
Calibrations are run using standard additions of Fe to a volume of filtered low iron seawater collected from OSPapa, 050N 145W, or other HNLC area
This seawater source, without the additions, is sometimes referred to as BSW - Buffered SeaWater - and forms the 0 point or blank for the calibration standards
However, because there is invariably some iron in this water, it is necessary to correct samples to a zero iron or instrument blank.
In previous cruises, low iron seawater was run through the resin column and collected for use as zero water, and was referred to as "rc0" or resin-cleaned zero water.
In talking to other iron researchers about their source for "zero iron" water, IOS changed to using a very short preconcentration time of 0-5sload, as compared to the usual 120s- 300s load for samples.
This very short preconc time allows all reagents and a small quantity of seawater to still affect the column, but keeps iron addition negligible.
On our system, even with a 0s load, there is still a small amount of low iron seawater between the valves, that flushes through the column, keeping the chemistry the same as for samples. Note that the name, rc0 has not changed
Changing to the 0 load time circumvents problems with contamination creeping into rc0 bottles when stored over a period of time.
The zero blank for sample correction is actually the concentration of the low iron seawater, and thus varies with the seawater batches used in calibration.
Following is a list of blanks used in calibration, but calculated with the rc0 to determine actual iron of the BSW used this cruise
Please see discussion of Determining Detection Limit in a section below this one
Data Statistics for rc0 and Standard 0. Note that Std 0 has been calculated as a sample to determine the iron content of the low iron seawater used as a basis of standard additions
Low iron seawater used was ~0.04nM
| Date | Standard rc0: |  |  | Standard 0(LowFeSW):
|  | Time | Fe(III) |  | Time | Fe(III)
Average: |  |  | -0.0010005 |  |  | 0.043794
Stdev: |  |  | 0.0027563 |  |  | 0.013201
DL: |  |  | 0.0082689 |  |  | 0.039604
Count: |  |  | 7 |  |  | 37
|  |  | rc0 |  |  | 0
300s: | 2003-08-31 |  |  |  | 1928 | 0.064628
[5 empty] | 1946 | 0.058323
[5 empty] | 2005 | 0.045226
| 2003-09-01 |  |  |  | 1342 | 0.065866
[5 empty] | 1401 | 0.065756
[5 empty] | 1419 | 0.068806
[5 empty] | 1438 | 0.070975
| 2003-09-02 |  |  |  | 801 | 0.064172
[5 empty] | 819 | 0.0622
| 2003-09-03 | 1521 | 0.00075466 |  | 1447 | 0.044813
|  | 1534 | -0.00075774 |  | 1505 | 0.049913
240s: | 2003-09-04 | 1335 | -4.0522e-05 |  | 1301 | 0.038737
|  | 1348 | 4.0506e-05 |  | 1319 | 0.037202
| 2003-09-05 |  |  |  | 2139 | 0.039573 | New seawater stock
[5 empty] | 2156 | 0.041344
| 2003-09-07 |  |  |  | 223 | 0.046294
[5 empty] | 241 | 0.046141
[5 empty] | 2204 | 0.029641
[5 empty] | 2222 | 0.029594
| 2003-09-09 | 1126 | -0.004411 |  | 1036 | 0.04163
|  | 1140 | -0.0050784 |  | 1053 | 0.049438
[5 empty] | 1111 | 0.049363
| 2003-09-12 |  |  |  | 1500 | 0.039618
[5 empty] | 1517 | 0.038086
[5 empty] | 1534 | 0.039933
| 2003-09-13 |  |  |  | 1816 | 0.039104
[5 empty] | 1833 | 0.04073
[5 empty] | 1850 | 0.040554
| 2003-09-16 | 1003 | 0.0024891 |  | 853 | 0.024725
[5 empty] | 910 | 0.022943
[5 empty] | 928 | 0.024779
| 2003-09-18 |  |  |  | 14 | 0.03338
[5 empty] | 31 | 0.035389
[5 empty] | 49 | 0.034445
| 2003-09-19 |  |  |  | 1421 | 0.032502
[5 empty] | 1439 | 0.0323
[5 empty] | 1456 | 0.032245
Determining Detection Limit (D.L.):
The detection limit can be determined as 3 x Stdev of the Average Blank FeIII concentration, depending on whether the stock batches used are the same, and have low iron content(<0.1nM).
The standard deviation of the blanks can be used instead to determine DL : in this case, for rc0 (=<5s load) DL~0.01nM; for Seawater calibration stock, DL~0.04nM
However, as there were numerous very low seawater samples, the DL can also be determined using 3* SP for all samples <0.2nM:
Using the data for this cruise, DL is ~0.02nM
| Avg: | 0.086537
| n: | 178
| sp: | 0.0051041
| DL: | 0.015312
Overall Detection Limit ~0.01-0.04nM

## MetadataPostCruiseAcidSmp
Metadata for Iron III Acidifed Samples Collected on Cruise 2003-27 | [8 empty] | For Graphing:
Cruise: |  |  | 2003-27
Ship |  |  | CCGS John P Tully
Dates |  |  | Aug 29-Sept 22, 2003
Chief Scientist |  |  | Frank Whitney
Iron Analyst | IOS: |  | Nes Sutherland & Keith Johnson
Sample Treatment- See Metadata Cruise Sheet for details
In this cruise, filtered and unfiltered buffered samples (FB & UFB), and Strongly Acidified Filtered and Unfiltered (FA & UFA) were collected.
The FA and UFA were microwaved to ensure complete digestion.
Sample Analysis:
See Metadata Cruise Sheet for details
The acidified microwaved samples, in their LDPE bottles, were brought to near boiling and held for 8 minutes at that temperature, then allowed to cool.
These microwaved acidifieds were brought up to pH3.2 for analysis by addition of ammonium formate buffer, and conc NH4OH and the addition of H2O2 to yield 10uM.
Standards and Blanks:
See Metadata Cruise Sheet for details
QAQC & Reference Standards, Blanks & Comments
2003-27 P11-P15(FAmw 10-20m), P13-P14(UFAmw 10-20m), P16 (FAmw&UFAmw 0-100m), P17-P18 (FAmw&UFAmw 10-20), P19&P21-P25&35 (FAmw&UFAmw 10) samples - microwaved 3-4Feb 2004, analysed 18-24Feb 2004, aged ~5.5 months:
2003-27 P20 (FAmw&UFAmw 0-100m), P26 (FAmw&UFAmw 10-20m) samples - microwaved 17Jan 2001, analysed 18-20January 2001, aged 7 months:
18-24Feb 2004 (Cruise 2004-05) Analysis:
Replication Statistics, or Sample Pooled Data Stats: | [6 empty] | Replicate Analysis of Separate Sample Bottles:
See Metadata Cruise Sheet for details | [6 empty] | Acidified
|  | All Samples: |  | <0.2nmol (for D.L.):
Pooled Variance (sp): |  | 0.012726 |  | 0.0049351 |  |  | 0.078042
Detection Limit: |  |  |  | 0.014805
Average Fe: |  | 0.17706 |  | 0.084456 |  |  | 0.15163
Sum d^2: |  | 0.061222 |  | 0.0064298 |  |  | 0.048725
Rsp% |  | 7.1876 |  | 5.8435 |  |  | 51.4696
n: |  | 189 |  | 132 |  |  | 4
Daily Reference Standards (DRS)
DRSs are run to check on instrument performance and drift. Two DRS's were used in this data set, DRS A & B
DRS A was prepared in the lab by topping up old Std 0.8 with BSW to create a volume of ~1L in a bottle that T's off the sample line. This mix (~0.30nM) was used solely as a rough check on instrument performance, not to be precisely quantified
DRS B was prepared to contain higher iron content than DRS A: used remnants of old buffered, filtered buffered and analysed samples from Haida Eddy 200-800m depths(~20%), mixed with BSW (~80%).
|  |  |  | DRS A |  | DRS B
Average all replicates: |  |  |  | 0.30366 |  | 0.57771
Stdev: |  |  |  | 0.02252 |  | 0.036698
%RSD: |  |  |  | 26.2393 |  | 3.2352
n: |  |  |  | 10 |  | 2
Blanks:
See Metadata Cruise Sheet for details
| Date | Standard rc0: |  |  | Standard 0(LowFeSW): |  |  | Detection Limit:
|  | Fe(III) |  |  | Fe(III)
Average: |  | 0 |  |  | 0.034444 |  |  | ~0.01-0.02nM Fe
Stdev: |  |  |  |  | 0.0071559
DL: |  |  |  |  | 0.021468
Count: |  | 1 |  |  | 18

## 10m Profile
Estimate, likely >2

## 0327Summary
Summary of Cruise 2003-27 Fe Data | [7 empty] | 12L GF#10 |  | all data up to and including P18
is suspect, btm ball likely didn't open
-> no flushing, pressurized PV
After P18, lanyard cut to fit
|  |  | Replicate Analysis within a Sample Bottle | [6 empty] | REP Btl |  |  |  | AllSamples <0.2nmol: | [8 empty] | AllSamples >2.0nmol:
|  |  | FB samples: | UFB samples: | All BuffSamples: |  | Total Cruise B&A: |  |  | Buff | Acidif | Acidw/o outliers |  |  | FB | UFB | Acid |  | AllAcid | FAmw | UFAmw |  | ALL | B | A
Pooled Variance (sp): |  |  | 0.014359 | 0.026083 | 0.021282 |  | 0.017089 |  |  | 0.011809 | 0.34919 | 0.18747 |  | 0.0051041 | 0.0040418 | 0.0077718 | 0.0013635 |  | 0.0090433 | 0.012885 | 0.0013837 |  | 0.090825 | 0.081775 | 0.093433
Detection Limit: |  |  |  |  | 0.063847 |  | 0.051267 | [6 empty] | 0.015312 |  |  |  |  | 0.02713
Average Fe: |  |  | 0.17283 | 0.33563 | 0.25755 |  | 0.44375 |  |  | 0.11593 | 0.51917 | 0.4507 |  | 0.086537 | 0.072325 | 0.080115 | 0.11338 |  | 0.68704 | 0.51601 | 0.84918 |  | 2.6294 | 2.8806 | 2.552
Sum d^2: |  |  | 0.038763 | 0.13879 | 0.17755 |  | 0.20209 |  |  | 0.0022314 | 5.6091 | 1.5463 |  | 0.0092743 | 0.0023197 | 0.006765 | 0.00018962 |  | 0.024534 | 0.024239 | 0.00029487 |  | 0.28047 | 0.053497 | 0.22697
Rsp% |  |  | 8.3083 | 7.7714 | 8.2633 |  | 3.8511 |  |  | 30.4659 | 67.2596 | 41.5947 |  | 5.8981 | 5.5884 | 9.7009 | 1.2026 |  | 1.3163 | 2.497 | 0.16295 |  | 3.4543 | 2.8388 | 3.6611
n: |  |  | 94 | 102 | 196 |  | 346 |  |  | 8 | 23 | 22 |  | 178 | 71 | 56 | 51 |  | 150 | 73 | 77 |  | 17 | 4 | 13
Stn | Depth | Rep | F B | (diff) | (diff)^2 | UF B | (diff) | (diff)^2 | Sampler | Order | Comments |  | Rep | FAmw | (diff) | (diff)^2 | UFAmw | (diff) | (diff)^2
P02 | 10 |  |  |  |  | 4.2197 | 0.1384 | 0.019154 | 10LGF
| 20 |  |  |  |  | 3.7828 |  |  | 12L GF#12 |  | possibly slo flo |  |  |  |  | 10m Summary |  | Station | FB 0.22 | UFB | FAmw | UFAmw
[16 empty] | for charting |  | P02 |  | 4.2197
P03 | 10 |  | 0.74224 |  |  | 1.9512 | 0.063811 | 0.0040718 | 10LGF | [8 empty] | P03 | 0.74224 | 1.9512
| 20 |  | 0.40645 | 0.0026479 | 7.0113e-06 | 1.0694 |  |  | 12L GF#12 | [8 empty] | P04 | 0.10706 | 0.22225
[18 empty] | P06 | 0.11905 | 0.26546
P04 | 10 |  | 0.10706 | 0.0069129 | 4.7788e-05 | 0.22225 | 0.023152 | 0.00053603 | P | 4 | [7 empty] | P07 | 0.11245 | 0.26054
| 20 |  | 0.16352 | 0.013311 | 0.00017718 | 0.21162 | 0.0015149 | 2.2949e-06 | P | 3 | [7 empty] | P08 | 0.13331 | 0.21952
| 30 |  | 0.19385 | 0.0090635 | 8.2148e-05 | 0.27055 | 0.00031791 | 1.0107e-07 | P | 2 | [7 empty] | P09 | 0.063175 | 0.11179
| 40 |  | 0.42049 | 0.011986 | 0.00014367 | 0.23659 | 0.056008 | 0.0031369 | P | 1 | not enough rinsing for new Opti | [6 empty] | P10 | 0.044179 | 0.062938
| 70 |  | 0.5625 | 0.034133 | 0.001165 | 0.58237 | 0.019982 | 0.0003993 | 12L GF#10 | 5A | [7 empty] | P11 | 0.056722 | 0.70084 | 0.28143
| 100 | [7 empty] | GF | [8 empty] | P12 | 0.045797 | 0.052994 | 0.20686
| 150 |  | 0.69497 | 0.085033 | 0.0072305 | 0.96168 |  |  | 12L GF#12 | 5B | [7 empty] | P13 | 0.12182 | 0.15865 | 0.32998 | 1.1142
| 200 |  | 1.8843 | 0.060181 | 0.0036217 | 3.3735 | 0.06299 | 0.0039677 | 12L GF#12 | 6A | [7 empty] | P14 | 0.051824 | 0.053027 | 0.065635 | 0.26382
| 300 |  | 1.4779 |  |  | 1.9781 | 0.16218 | 0.026304 | 12L GF#10 | 6B | [7 empty] | P15 | 0.043879 | 0.069054 | 0.12084
[18 empty] | P16 | 0.04886 | 0.041772 | 0.098229 | 0.16914
P06 | 10 |  | 0.11905 | 0.0031125 | 9.6877e-06 | 0.26546 | 0.0083642 | 6.996e-05 | 12L GF#12 | [8 empty] | P17 | 0.06632 | 0.18914 | 0.20411 | 2
| 20 |  | 0.33064 | 0.0082242 | 6.7638e-05 | 0.51846 | 0.028775 | 0.00082801 | 12L GF#10 | [8 empty] | P18 | 0.044601 | 0.082167 | 0.12205 | 0.41782
[18 empty] | P19 | 0.049881 | 0.083888 | 0.15919 | 0.34019
P07 | 10 |  | 0.11245 | 0.0046278 | 2.1417e-05 | 0.26054 | 0.028395 | 0.00080627 | 12L GF#12 | [8 empty] | P20 | 0.02606 | 0.050429 | 0.18819 | 0.15633
| 20 |  | 0.19279 | 0.0045156 | 2.039e-05 | 0.30817 |  |  | 12L GF#10 | [8 empty] | P21 | 0.037107 | 0.092585 | 0.16285 | 0.94415
[18 empty] | P22 | 0.042176 | 0.066066 | 0.28543 | 0.49573
P08 | 10 |  | 0.13331 | 0.026843 | 0.00072054 | 0.21952 | 0.0089933 | 8.088e-05 | 12L GF#12 | [8 empty] | P23 | 0.036992 | 0.098107 | 0.43683 | 0.80517
| 10 |  | 0.1837 | 9.0163e-05 | 8.1293e-09 | 0.26163 | 0.0093324 | 8.7093e-05 | BB | [8 empty] | P24 | 0.036218 | 0.084321 | 0.24803 | 0.71834
| 20 |  | 0.20564 | 0.0041661 | 1.7357e-05 | 0.32383 | 0.0072449 | 5.2489e-05 | 12L GF#10 | [8 empty] | P25 | 0.037406 | 0.054283 | 0.13037 | 0.16963
| 20 |  | 0.54772 | 0.0040097 | 1.6077e-05 | 1.0322 |  |  | Wilbur | [8 empty] | P35 | 0.031788 | 0.065343 | 0.13249 | 0.44429
[18 empty] | P26 | 0.030521 | 0.057256 | 0.19783 | 0.15991
P09 | 10 |  | 0.063175 | 0.011572 | 0.0001339 | 0.11179 |  |  | 12L GF#12 | [8 empty] | R15 | 0.067752 | 0.076996
| 20 |  | 0.33403 | 0.038814 | 0.0015066 | 0.57906 |  |  | 12L GF#10 | [8 empty] | R14 | 0.05177 | 0.07428
[18 empty] | R13 | 0.042056 | 0.060281
P10 | 10 |  | 0.044179 | 0.0069581 | 4.8415e-05 | 0.062938 | 0.0018522 | 3.4308e-06 | 12L GF#12 | [8 empty] | R12 | 0.039864 | 0.11478
| 20 |  | 0.11492 | 0.0076498 | 5.852e-05 | 0.18885 |  |  | 12L GF#10 | [8 empty] | New-2 | 0.094033 | 0.18415
[18 empty] | SS1 | 0.10809 | 0.28538
P11 | 10 |  | 0.056722 | 3.0121e-05 | 9.0728e-10 | 0.70084 | 0.0094731 | 8.9739e-05 | 12L GF#12 |  | brought back to 0m to check PV released | [6 empty] | SS2 | 0.11602 | 0.29764
| 20 |  | 0.05685 | 0.002392 | 5.7217e-06 | 0.92759 | 0.053352 | 0.0028465 | 12L GF#10 | [8 empty] | SS3 | 0.47438 | 0.91529
[18 empty] | SS4 | 0.52251 | 1.0241
P12 | 0 |  | 0.049046 |  |  | 0.05158 | 0.0017444 | 3.043e-06 | Zod | mid | more variability in P12 results, problems with bubbles caught in lum/HCl lines | [6 empty] | SS5 | 0.21121 | 0.57029
| 10 |  | 0.045797 |  |  | 0.052994 | 0.0063614 | 4.0467e-05 | P | 4
| 20 |  | 0.042596 | 0.0017597 | 3.0966e-06 | 0.054557 | 0.0056973 | 3.2459e-05 | P | 3
| 30 |  | 0.040373 |  |  | 0.060922 | 0.0046457 | 2.1582e-05 | P | 2
12L GF#10
12L GF#12
BB
Wilbur
| 40 |  | 0.051965 | 0.0023163 | 5.3654e-06 | 0.078843 | 0.007274 | 5.2912e-05 | P | 1
| 75 |  | 0.10617 | 0.0014384 | 2.0689e-06 | 0.18239 | 0.025186 | 0.00063434 | 12L GF#12 | 5A
| 100 |  | 0.1032 | 0.0077968 | 6.0791e-05 | 0.22341 | 0.047585 | 0.0022644 | 12L GF#10 | 5B
| 150 |  | 0.15048 | 0.0081242 | 6.6003e-05 | 0.27407 | 0.0069161 | 4.7833e-05 | 12L GF#12? | 7
| 200 |  | 0.60599 | 0.077541 | 0.0060126 | 0.93766 | 0.080567 | 0.006491 | 12L GF#12 | 6 | poss 250m?
| 300 |  | 0.60574 |  |  | 0.98873 | 0.015454 | 0.00023883 | 12L GF#10 | 8A
| 400 |  | 1.1868 | 0.10815 | 0.011696 | 1.7487 | 0.19794 | 0.039182 | 12L GF#12 | 8B
P13 | 10 |  | 0.12182 | 0.0061686 | 3.8052e-05 | 0.15865 | 0.0047138 | 2.2219e-05 | 12L GF#12
| 20 |  | 0.16762 | 0.0027759 | 7.7057e-06 | 0.26159 | 0.035813 | 0.0012826 | 12L GF#10
P14 | 10 |  | 0.051824 | 0.00097477 | 9.5019e-07 | 0.053027 | 0.0079446 | 6.3117e-05 | 12L GF#12
| 20 |  | 0.098367 | 0.0038593 | 1.4894e-05 | 0.16743 | 0.021185 | 0.00044881 | 12L GF#10 |  | PV out
P15 | 10 |  | 0.043879 | 0.0021611 | 4.6705e-06 | 0.069054 | 0.0038866 | 1.5106e-05 | 12L GF#12
| 20 |  | 0.12479 | 0.0065562 | 4.2983e-05 | 0.25383 | 0.037842 | 0.001432 | 12L GF#10 |  | PV out
P16 | 0 |  | 0.052351 | 0.002909 | 8.4621e-06 | 0.040955 | 0.0055859 | 3.1203e-05 | Zod | mid
| 10 |  | 0.04886 | 0.0013291 | 1.7666e-06 | 0.041772 | 0.005142 | 2.644e-05 | P | 4
| 20 |  | 0.044477 | 0.0052527 | 2.7591e-05 | 0.038344 | 0.0092855 | 8.6221e-05 | P | 3
| 30 |  | 0.049099 | 0.010763 | 0.00011584 | 0.04058 | 0.0010481 | 1.0986e-06 | P | 2
[6 empty] | 0.061102 |  |  | 12L GF#12 | 5 | #12
[6 empty] | 0.2668 | 0.0036039 | 1.2988e-05 | 12L GF#10 | 6 | #10
[6 empty] | 0.1921 | 0.02672 | 0.00071396 | BB | 7 | Wilbur
[6 empty] | 0.12522 | 0.0036729 | 1.349e-05 | Wilbur | 8 | BigB
| 40 |  | 0.049715 | 0.0028878 | 8.3392e-06 | 0.053072 | 0.0016564 | 2.7437e-06 | P | 1
| 75 |  | 0.042255 | 0.00090057 | 8.1103e-07 | 0.063916 | 0.00032718 | 1.0704e-07 | 12L GF#12 | 9A
| 100 |  | 0.060299 | 7.2773e-05 | 5.2959e-09 | 0.14898 | 0.020825 | 0.00043369 | 12L GF#12 | 10A
| 150 |  | 0.065437 | 0.0076774 | 5.8942e-05 | 0.14846 | 0.016446 | 0.00027048 | 12L GF#10 | 9B
| 200 |  | 0.094959 | 0.0068908 | 4.7483e-05 | 0.161 | 0.0054089 | 2.9256e-05 | 12L GF#10 | 10B
| 300 |  | 0.21769 | 0.00096404 | 9.2937e-07 | 0.29745 | 0.044843 | 0.0020109 | 12L GF#12 | 11A
| 400 |  | 0.20227 | 0.011225 | 0.00012601 | 0.2749 | 0.0109 | 0.00011881 | 12L GF#10 | 11B
600
800
P17 | 10 |  | 0.06632 | 0.0078549 | 6.1699e-05 | 0.18914 | 0.03678 | 0.0013527 | 12L GF#12
| 20 |  | 0.10729 | 0.0041158 | 1.694e-05 | 0.29325 | 0.029472 | 0.00086859 | 12L GF#10 |  | somewhat pressurized
P18 | 10 |  | 0.044601 | 0.001523 | 2.3195e-06 | 0.082167 | 0.011084 | 0.00012286 | 12L GF#12
| 20 |  | 0.1478 |  |  | 0.26352 | 0.0033493 | 1.1218e-05 | 12L GF#10 |  | ? If full
P19 | 10 |  | 0.049881 |  |  | 0.083888 | 0.0012164 | 1.4797e-06 | 12L GF#12
| 20 |  |  |  |  | 0.087149 |  |  | 12L GF#10
P20 | 0 |  | 0.034667 | 0.00067015 | 4.491e-07 | 0.063002 | 0.0056327 | 3.1728e-05 | Zod | init.
| 10 |  | 0.02606 | 0.0016588 | 2.7517e-06 | 0.050429 | 0.0027778 | 7.716e-06 | P | 4
| 20 |  | 0.026084 | 0.0033627 | 1.1308e-05 | 0.049064 | 0.00093511 | 8.7442e-07 | P | 3
| 30 |  | 0.025254 | 0.0066247 | 4.3886e-05 | 0.061111 | 0.0032724 | 1.0709e-05 | P | 2
[6 empty] | 0.052136 | 0.0022835 | 5.2142e-06 | GF#10 | 5 | sent open | #10
[6 empty] | 0.056123 | 0.0083936 | 7.0452e-05 | GF#12 | 6 | sent open | #12
[6 empty] | 0.051706 |  |  | BB | 7 | sent open | BigB
[6 empty] | 0.063715 | 0.0061243 | 3.7507e-05 | Wilbur | 8 |  | Wilbur
| 40 |  | 0.025596 | 0.00015026 | 2.2577e-08 | 0.046007 | 0.0039929 | 1.5943e-05 | P | 1
| 75 |  | 0.031405 | 0.0052193 | 2.7241e-05 | 0.055769 | 0.0011992 | 1.438e-06 | GF#12
| 100 |  | 0.058548 | 0.0023748 | 5.6395e-06 | 0.14396 | 0.041431 | 0.0017165 | GF#12
| 150 |  | 0.19295 | 0.0077971 | 6.0795e-05 | 0.20918 | 0.009727 | 9.4615e-05 | GF#12
| 200 |  | 0.23579 | 0.02149 | 0.00046182 | 0.29779 | 0.028081 | 0.00078856 | Wilbur
| 300 |  | 0.27236 |  |  | 0.32111 | 0.019895 | 0.00039583 | GF#12 |  | poss vent open
| 400 |  | 0.31559 |  |  | 0.34481 | 0.01231 | 0.00015152 | Wilbur
600
800
P21 | 10 |  | 0.037107 | 0.0035087 | 1.2311e-05 | 0.092585 | 0.01481 | 0.00021934 | GF#12
20
P22 | 10 |  | 0.042176 |  |  | 0.066066 | 0.0050857 | 2.5864e-05 | GF#12
20
P23 | 10 |  | 0.036992 | 0.0011177 | 1.2492e-06 | 0.098107 | 0.016103 | 0.00025932 | GF#12
| 20 |  | 0.031525 | 0.00061762 | 3.8146e-07 | 0.09964 | 0.0040849 | 1.6687e-05 | GF#10
P24 | 10 |  | 0.036218 | 0.0014649 | 2.1461e-06 | 0.084321 | 0.0064114 | 4.1107e-05 | GF#12
20
P25 | 10 |  | 0.037406 | 0.00046024 | 2.1182e-07 | 0.054283 | 0.0015493 | 2.4003e-06 | GF#12
20
P35 | 10 |  | 0.031788 | 0.0024044 | 5.7813e-06 | 0.065343 |  |  | GF#12
20
P26 | 0 |  | 0.034144 | 0.0013864 | 1.922e-06 | 0.048928 |  |  | Zod | mid | Note that dup samples were collected the next day,
| 5 |  | 0.033079 | 0.00063833 | 4.0746e-07 | 0.055535 | 0.009117 | 8.312e-05 | P | 7 | diff goflo btls used, but same results
| 10 | Avg | 0.029239 | 0.0025626 | 6.5668e-06 | 0.055469 | 0.0035737 | 1.2771e-05
| 10 | 1 | 0.030521 | 0.0023871 | 5.6981e-06 | 0.057256 | 0.0034292 | 1.176e-05 | P | 6
|  | 2 | 0.027958 | 0.0011751 | 1.381e-06 | 0.053682 | 0.00254 | 6.4517e-06 |  | 16
| 15 |  | 0.032473 | 0.00037948 | 1.4401e-07 | 0.048747 | 0.0055244 | 3.0519e-05 | P | 5
| 20 |  | 0.030603 | 0.0028975 | 8.3952e-06 | 0.045378 | 0.0026149 | 6.8375e-06 | P | 4
| 25 |  | 0.030036 | 0.0027414 | 7.515e-06 | 0.044126 | 0.0019968 | 3.9873e-06 | P | 3
| 30 |  | 0.028115 | 0.0013549 | 1.8358e-06 | 0.045347 | 0.0028393 | 8.0616e-06 | P | 2
| 40 | Avg | 0.032863 | 0.0057474 | 3.3033e-05 | 0.047111 | 0.0022579 | 5.098e-06
| 40 | 1 | 0.029989 | 0.00055516 | 3.0821e-07 | 0.045982 |  |  | P | 1
|  | 2 | 0.035737 | 0.0014793 | 2.1882e-06 | 0.04824 | 0.0011351 | 1.2884e-06 | P | 15
| 50 |  | 0.027384 | 0.0005888 | 3.4668e-07 | 0.046242 | 0.0012747 | 1.6249e-06 | GF#12 | 8 | sent open
| 75 |  | 0.03292 | 0.00031228 | 9.7519e-08 | 0.066132 | 0.0034958 | 1.2221e-05 | GF#12 | 10A | sent open
| 100 | Avg | 0.073222 | 0.0067991 | 4.6228e-05 | 0.12292 | 0.0077136 | 5.9499e-05
| 100 | 1 | 0.069822 | 0.00055905 | 3.1254e-07 | 0.12677 |  |  | GF#10 | 9 | sent open
|  | 2 | 0.076621 | 0.0018191 | 3.3091e-06 | 0.11906 | 0.0083702 | 7.006e-05 | GF#12 | 13 | sent open
| 150 |  | 0.23617 | 0.0030044 | 9.0264e-06 | 0.28454 | 0.029219 | 0.00085377 | GF#10 | 10B | sent open
| 200 | Avg | 0.25401 | 0.015084 | 0.00022754 | 0.3126 | 0.042903 | 0.0018406
| 200 | 1 | 0.26156 | 0.0069619 | 4.8469e-05 | 0.33406 | 0.0039415 | 1.5536e-05 | GF#12 | 11A | air vent wide open
|  | 2 | 0.24647 | 0.022311 | 0.00049777 | 0.29115 | 0.0010463 | 1.0947e-06 | GF#10 | 14 | sent open
| 300 |  | 0.31198 | 0.012263 | 0.00015038 | 0.37477 | 0.02856 | 0.00081566 | GF#10 | 11B
| 400 |  | 0.38255 | 0.02017 | 0.00040685 | 0.42522 | 0.01208 | 0.00014592 | GF#12 | 12A | sent open
| 600 |  | 0.42215 | 0.010873 | 0.00011821 | 0.4998 | 0.027239 | 0.00074198 | Wilbur | 12B
| 800 |  | 0.40881 | 0.0020805 | 4.3283e-06 | 0.47322 | 0.047979 | 0.002302 | BB | 12C
R15 | 10 |  | 0.067752 |  |  | 0.076996 | 0.016333 | 0.00026676 | GF#12 |  | sent open
R14 | 10 |  | 0.05177 | 0.0052435 | 2.7495e-05 | 0.07428 | 0.0033547 | 1.1254e-05 | GF#12 |  | sent open
R13 | 10 |  | 0.042056 | 0.001329 | 1.7663e-06 | 0.060281 | 0.0016073 | 2.5834e-06 | GF#12 |  | sent open
R12 | 10 |  | 0.039864 | 0.00054648 | 2.9864e-07 | 0.11478 | 0.0084803 | 7.1916e-05 | GF#12 |  | sent open
NEW2 | 10 |  | 0.094033 | 0.0029965 | 8.9792e-06 | 0.18415 | 0.002104 | 4.4268e-06 | GF#12 |  | sent open
SS1 | 10 |  | 0.10809 | 0.00053021 | 2.8112e-07 | 0.28538 | 0.028585 | 0.00081709 | GF#12 |  | sent open
SS2 | 10 |  | 0.11602 | 0.0049352 | 2.4356e-05 | 0.29764 | 0.029831 | 0.00088989 | GF#12 |  | sent open
SS3 | 10 |  | 0.47438 | 0.055796 | 0.0031132 | 0.91529 | 0.053665 | 0.00288 | GF#12 |  | sent open
SS4 | 10 |  | 0.52251 | 0.0041045 | 1.6847e-05 | 1.0241 | 0.063419 | 0.004022 | GF#12 |  | sent open
SS5 | 10 |  | 0.21121 | 0.011414 | 0.00013028 | 0.57029 | 0.0015331 | 2.3504e-06 | GF#12 |  | sent open
Microwaved Samples
2002-16
P12 | 200 | [15 empty] | 2.9143 | 0.0035321 | 1.2476e-05
P16 | 200 | [15 empty] | 1.8895 | 0.0028543 | 8.1469e-06
P20 | 200 | [15 empty] | 0.65519 | 0.0011296 | 1.276e-06
400
600
2002-30
R11 | 200 | [12 empty] | 0.6142 | 0.023602 | 0.00055703 | 1.2649 | 0.02776 | 0.00077064
| 300 | [12 empty] | 0.60206 | 0.009607 | 9.2294e-05 | 0.87459 | 0.015937 | 0.00025399
| 400 | [12 empty] | 0.72169 | 0.025353 | 0.00064278 | 0.68877 | 0.041102 | 0.0016893
| 600 | [12 empty] | 0.77318 | 0.0022886 | 5.2376e-06 | 1.233 | 0.0056052 | 3.1418e-05
| 800 | [12 empty] | 0.85769 | 0.044293 | 0.0019619 | 1.7944 | 0.04947 | 0.0024473
MT3 | 10 | [12 empty] | 0.44629 | 2.6935e-06 | 7.2548e-12 | 2.9294 | 0.0047215 | 2.2293e-05
| 100 | [12 empty] | 0.5753 | 5.5717e-06 | 3.1044e-11 | 2.9392 | 0.022497 | 0.00050612
| 200 | [12 empty] | 0.75864 | 0.0015057 | 2.267e-06 | 4.1856 | 0.0011445 | 1.3099e-06
| 300 | [12 empty] | 0.88448 | 0.0027132 | 7.3616e-06
| B-25 | [12 empty] | 1.5668 | 6.0823e-06 | 3.6994e-11
| B-10 | [12 empty] | 1.6657 | 0.00019833 | 3.9333e-08
J5 | 200 | [12 empty] | 0.29968 | 0.01196 | 0.00014305 | 0.59234 | 0.027087 | 0.00073371
| 300 | [12 empty] | 1.3538 | 0.061237 | 0.00375 | 1.7195 | 0.065374 | 0.0042738
| 400 | [12 empty] | 0.49447 | 0.017993 | 0.00032375 | 0.83181 | 0.017481 | 0.00030559
| 600 | [9 empty] | ? FBswitched with 800m during sampling |  |  | 1.9475 | 0.074508 | 0.0055515 | 0.87385 | 0.023213 | 0.00053885
| 800 | [9 empty] | ?FBswitched with 600m during sampling-chek sals |  |  | 0.93876 | 0.05949 | 0.0035391 | 2.5924 | 0.03251 | 0.0010569
P04
| 200 | [12 empty] | 1.5101 | 0.0010362 | 1.0736e-06
| 300 | [12 empty] | 1.8474 | 0.00078886 | 6.223e-07
| 400 | [12 empty] | 2.1022 | 0.070253 | 0.0049355
| 600 | [12 empty] | 2.8976 | 0.00081528 | 6.6469e-07
| 800 | [12 empty] | 2.0445 | 2.1735e-05 | 4.7242e-10
P12
| 0 | [12 empty] | 0.051241 | 0.00059505 | 3.5409e-07
| 10 | [12 empty] | 0.078705
| 25 | [12 empty] | OR
| 40 | [12 empty] | 0.065396 | 3.0531e-05 | 9.3212e-10
| 75 | [12 empty] | 0.084513 | 2.7662e-06 | 7.6521e-12
| 100 | [12 empty] | 0.15401 | 8.4284e-06 | 7.1037e-11
150
| 200 | [12 empty] | 0.40701
| 300 | [12 empty] | 0.26173 |  |  | 2.38 | 0.0021338 | 4.5531e-06
| 400 | [12 empty] | 0.5134 | 0.0018225 | 3.3216e-06 | 0.77053
| 600 | [12 empty] | 2.0846 | 0.0024451 | 5.9786e-06 | 2.2698 | 0.0095382 | 9.0977e-05
| 800 | [12 empty] | 0.67255 |  |  | 0.84551 | 0.00012945 | 1.6756e-08
P16
| 0 | [12 empty] | 0.02688 | 1.1768e-06 | 1.385e-12
| 10 | [12 empty] | 0.062418 | 1.7515e-07 | 3.0678e-14
| 25 | [12 empty] | 0.073447 | 1.5849e-06 | 2.512e-12
| 40 | [12 empty] | 0.092231 | 2.7642e-05 | 7.6406e-10
| 75 | [12 empty] | 0.12157 | 1.9e-05 | 3.6101e-10
| 100 | [12 empty] | 0.095465 | 0.00036365 | 1.3224e-07
| 150 | [12 empty] | 0.15229 | 1.6485e-05 | 2.7177e-10
| 200 | [15 empty] | 1.5143 | 0.0061992 | 3.843e-05
| 300 | [15 empty] | 0.63821 | 0.0031887 | 1.0168e-05
| 400 | [15 empty] | 0.47112 | 0.0013623 | 1.856e-06
| 600 | [15 empty] | 0.54847 | 0.0009538 | 9.0973e-07
| 800 | [15 empty] | 0.95964 | 0.00067144 | 4.5083e-07
P20
| 0 | [12 empty] | 0.29751 | 5.0626e-06 | 2.563e-11
| 10 | [12 empty] | 0.065666 | 8.3735e-07 | 7.0116e-13
| 25 | [12 empty] | 0.26076 | 0.00072878 | 5.3112e-07
| 40 | [12 empty] | 0.074489 | 2.3826e-05 | 5.6767e-10
| 75 | [12 empty] | 0.074575 | 0.00012623 | 1.5933e-08
| 100 | [12 empty] | 0.172 | 1.0317e-06 | 1.0645e-12
| 150 | [12 empty] | 0.20833 | 7.49e-05 | 5.61e-09
| 200 | [15 empty] | 0.56072 | 4.8535e-06 | 2.3556e-11
| 300 | [15 empty] | 1.3794 | 0.0023694 | 5.614e-06
| 400 | [15 empty] | 0.60952 | 0.0014461 | 2.0913e-06
| 600 | [15 empty] | 1.0317 | 0.0031673 | 1.0032e-05
| 800 | [15 empty] | 0.91619 | 0.00016605 | 2.7572e-08
P26 | 200 | [15 empty] | 0.50113 | 0.007644 | 5.8431e-05
| 200 | [15 empty] | 0.93688 | 0.030205 | 0.00091237
| 300 | [15 empty] | 0.52494 | 0.0039021 | 1.5227e-05
| 300 | [15 empty] | 0.54942 | 0.028189 | 0.00079459
| 400 | [15 empty] | 0.70942 | 0.013375 | 0.00017889
| 400 | [15 empty] | 0.67582 | 0.025568 | 0.00065373
| 600 | [15 empty] | 0.72017 | 0.031703 | 0.0010051
| 600 | [15 empty] | 0.76363 | 0.014095 | 0.00019868
| 800 | [15 empty] | 0.89131 | 0.022188 | 0.00049231
| 800 | [15 empty] | 0.70687 | 0.062581 | 0.0039164
| 200 | Avg | [14 empty] | 0.71901 | 0.43575 | 0.18988
| 300 | [15 empty] | 0.53718 | 0.024487 | 0.00059962
| 400 | [15 empty] | 0.69262 | 0.033596 | 0.0011287
| 600 | [15 empty] | 0.7419 | 0.043463 | 0.0018891
| 800 | [15 empty] | 0.79909 | 0.18443 | 0.034016
2003-01
P12 | 10 | [12 empty] | 0.058743
| 25 | [12 empty] | 0.098765 | 1.4966e-06 | 2.2398e-12
| 40 | [12 empty] | 0.06041 | 2.9355e-08 | 8.6174e-16
| 75 | [12 empty] | 0.10398 | 3.7249e-06 | 1.3875e-11
| 100 | [12 empty] | 0.26268 | 7.3992e-05 | 5.4748e-09
| 150 | [12 empty] | 0.31816 | 0.00015742 | 2.478e-08
P16 | 10 | [12 empty] | 0.030952 | 1.5566e-07 | 2.423e-14 | 0.17439 | 0.00019453 | 3.7842e-08
[17 empty] | 0.1819 | 0.00016896 | 2.8548e-08
| 25 | A | [11 empty] | 0.041298 | 8.3988e-05 | 7.054e-09 | 0.12963 | 4.7002e-05 | 2.2092e-09
| 25 | B | [11 empty] | 0.14029 | 1.8291e-05 | 3.3457e-10 | 0.24373 | 7.4067e-06 | 5.4859e-11
| 40 | [12 empty] | 0.033044 |  |  | 0.45727 | 1.3008e-05 | 1.6921e-10
[17 empty] | 0.1395 | 4.5603e-06 | 2.0796e-11
| 75 | [12 empty] | 0.03577 | 2.3705e-06 | 5.6195e-12 | 0.37001 | 0.00037059 | 1.3734e-07
[17 empty] | 0.47934 | 0.0012137 | 1.4731e-06
| 100 | [12 empty] | 0.059142 | 4.975e-05 | 2.4751e-09 | 0.79247 | 0.0029377 | 8.6303e-06
[17 empty] | 0.2235 | 0.00029212 | 8.5337e-08
| 150 | [12 empty] | 0.42097 | 0.00018973 | 3.5998e-08 | 0.59258 | 0.0012721 | 1.6182e-06
| 10 | Avg | [14 empty] | 0.17814 |  | 5.6505e-05
| 25 | Avg | [11 empty] | 0.090793 |  | 0.0097988 | 0.18668 |  | 0.013017
| 40 | Avg | [14 empty] | 0.29838 |  | 0.10098
| 75 | Avg | [14 empty] | 0.42468 |  | 0.011951
| 100 | Avg | [14 empty] | 0.50799 | 0.56897 | 0.32372
| 150 | Avg
P20 | 10 | A | [11 empty] | 0.047329 | 4.7491e-05 | 2.2554e-09 | 0.10708 | 1.3027e-05 | 1.6971e-10
|  | B | [14 empty] | 0.58909 |  |  | cap fell off in MW
| 25 | A | [11 empty] | 0.076522 | 1.839e-05 | 3.382e-10 | 0.1488 | 0.001002 | 1.0041e-06
|  | B | [14 empty] | 0.13607 | 0.0032921 | 1.0838e-05
| 40 | A | [11 empty] | 0.048242 | 1.6528e-05 | 2.7316e-10 | 0.13731 | 0.012388 | 0.00015346
|  | B | [14 empty] | 0.16003 | 0.0048546 | 2.3567e-05
| 75 | A | [11 empty] | 0.058429 | 2.2383e-06 | 5.0101e-12 | 0.26644 | 0.00072492 | 5.2551e-07
|  | B | [14 empty] | 1.038 | 0.0023697 | 5.6155e-06
| 100 | A | [11 empty] | 0.12075 | 6.5041e-06 | 4.2303e-11 | 0.42335 | 0.00091651 | 8.3998e-07
|  | B | [14 empty] | 0.35343 | 0.0011399 | 1.2993e-06
| 150 | A | [11 empty] | 0.10862 | 5.227e-05 | 2.7321e-09 | 0.38829 | 0.00042551 | 1.8106e-07
B
| 200 | A | [11 empty] | 0.28367 |  |  | 0.6339 | 0.00035088 | 1.2312e-07
|  | B | [14 empty] | 0.52797 | 0.0033035 | 1.0913e-05
| 400 | A | [11 empty] | 0.5248 | 0.0016253 | 2.6414e-06 | 0.68197 | 0.00031848 | 1.0143e-07
|  | B | [14 empty] | 0.72407 | 0.00079062 | 6.2507e-07
| 600 | A | [11 empty] | 0.60809 | 0.0036476 | 1.3305e-05 | 3.0334
|  | B | [14 empty] | 1.0178 | 0.0019277 | 3.7162e-06
| 10 | [12 empty] | 0.047329 |  |  | 0.34809 |  | 0.23233
| 25 | [12 empty] | 0.076522 |  |  | 0.14244 |  | 0.00016226
| 40 | [12 empty] | 0.048242 |  |  | 0.14867 |  | 0.00051644
| 75 | [12 empty] | 0.058429 |  |  | 0.65222 |  | 0.5953
| 100 | [12 empty] | 0.12075 |  |  | 0.38839 |  | 0.0048888
| 150 | [12 empty] | 0.10862 |  |  | 0.38829
| 200 | [12 empty] | 0.28367 |  |  | 0.58093 |  | 0.01122
| 400 | [12 empty] | 0.5248 |  |  | 0.70302 |  | 0.001772
| 600 | [12 empty] | 0.60809 |  |  | 2.0256 |  | 4.0627
P26
| 10 | A | [11 empty] | 0.133 | 2.7319e-05 | 7.4631e-10 | 0.19225 | 2.6082e-05 | 6.8025e-10
| 10 | B
| 25 | A | [11 empty] | 0.12099 | 0.00014492 | 2.1003e-08 | 0.1798 | 4.9135e-05 | 2.4142e-09
| 25 | B | [11 empty] | 0.10252 | 0.00033556 | 1.126e-07 | 0.21196 | 0.00012242 | 1.4985e-08
| 40 | A | [11 empty] | 0.12724 | 3.5025e-05 | 1.2268e-09 | 0.18926 | 2.2053e-06 | 4.8633e-12
| 40 | B
| 75 | A | [11 empty] | 0.11344 | 2.1334e-05 | 4.5516e-10 | 0.19406 | 2.6196e-05 | 6.8621e-10
| 75 | B
| 100 | A | [11 empty] | 0.14509 | 1.6422e-05 | 2.6968e-10 | 0.33489 | 7.4386e-05 | 5.5333e-09
| 100 | B
| 150 | A | [11 empty] | 0.15284 | 3.9507e-05 | 1.5608e-09 | 0.7474 | 9.309e-09 | 8.6658e-17
| 150 | B
| 200 | A | [11 empty] | 0.37618 | 0.03603 | 0.0012982 | 0.60343 | 0.0015337 | 2.3522e-06
| 200 | B
| 300 | A | [11 empty] | 0.81195 | 0.0098838 | 9.769e-05 | 0.66689 | 0.014679 | 0.00021546
| 300 | B
| 400 | A | [11 empty] | 0.65247 | 0.028209 | 0.00079573 | 0.7199 | 0.031648 | 0.0010016
| 400 | B
| 600 | A | [11 empty] | 0.73961 | 0.010549 | 0.00011128 | 0.80456 | 0.0093683 | 8.7764e-05
| 600 | B | [11 empty] | 0.66045 | 0.015201 | 0.00023108 | 0.73056
| 800 | A | [11 empty] | 0.73484 | 0.012836 | 0.00016476 | 0.93082 | 0.011352 | 0.00012887
| 800 | B
| 25 | Avg | [11 empty] | 0.11176 | 0.018469 | 0.00034109 | 0.19588 | 0.032159 | 0.0010342
| 600 | Avg | [11 empty] | 0.70003 | 0.079159 | 0.0062662 | 0.76756 | 0.074006 | 0.0054769
Note on E142: Iron: stdev, n=3
Note on H106: Iron: stdev, n=4
Note on H142: Iron: stdev, n=3
Note on M6: User: outlier where diff btw dups > 2 x 0.35, the sp for all data
Note on O233: User: N=4
Note on O235: User: mw: lid fell off, poss contam
Note on O240: User: mw: boiled over into bag
Note on O256: User: mw: lid fell off, poss contam
Note on O271: User: mw: lid fell off, poss contam
Note on R235: User: mw: lid fell off, poss contam
Note on R241: User: mw: lid fell off, poss contam
Note on R266: User: mw: lid fell off, poss contam
Note on R268: User: mw: lid fell off, poss contam
Note on R320: User: mw: lid fell off, poss contam
Note on R336: User: N=3
Note on W31: User: OR - >2, used 2 for profile as rough minimum