## File List
Number of Files= |  | 44
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2003-31-0001 | 2003-31-0001 | 12 | 13 | 2003-31-0001 & 2003-31-0001
2 | 2003-31-0006 | 2003-31-0006 | 15 | 15 | 2003-31-0006 & 2003-31-0006
3 | 2003-31-0010 | 2003-31-0010 | 17 | 25 | 2003-31-0010 & 2003-31-0010
4 | 2003-31-0015 | 2003-31-0015 | 27 | 35 | 2003-31-0015 & 2003-31-0015
5 | 2003-31-0017 | 2003-31-0017 | 37 | 37 | 2003-31-0017 & 2003-31-0017
6 | 2003-31-0021 | 2003-31-0021 | 39 | 39 | 2003-31-0021 & 2003-31-0021
7 | 2003-31-0022 | 2003-31-0022 | 41 | 41 | 2003-31-0022 & 2003-31-0022
8 | 2003-31-0025 | 2003-31-0025 | 43 | 43 | 2003-31-0025 & 2003-31-0025
9 | 2003-31-0026 | 2003-31-0026 | 45 | 45 | 2003-31-0026 & 2003-31-0026
10 | 2003-31-0029 | 2003-31-0029 | 47 | 62 | 2003-31-0029 & 2003-31-0029
11 | 2003-31-0035 | 2003-31-0035 | 64 | 65 | 2003-31-0035 & 2003-31-0035
12 | 2003-31-0036 | 2003-31-0036 | 67 | 67 | 2003-31-0036 & 2003-31-0036
13 | 2003-31-0037 | 2003-31-0037 | 69 | 69 | 2003-31-0037 & 2003-31-0037
14 | 2003-31-0043 | 2003-31-0043 | 71 | 71 | 2003-31-0043 & 2003-31-0043
15 | 2003-31-0044 | 2003-31-0044 | 73 | 73 | 2003-31-0044 & 2003-31-0044
16 | 2003-31-0046 | 2003-31-0046 | 75 | 75 | 2003-31-0046 & 2003-31-0046
17 | 2003-31-0047 | 2003-31-0047 | 77 | 77 | 2003-31-0047 & 2003-31-0047
18 | 2003-31-0048 | 2003-31-0048 | 79 | 79 | 2003-31-0048 & 2003-31-0048
19 | 2003-31-0050 | 2003-31-0050 | 81 | 81 | 2003-31-0050 & 2003-31-0050
20 | 2003-31-0052 | 2003-31-0052 | 83 | 83 | 2003-31-0052 & 2003-31-0052
21 | 2003-31-0053 | 2003-31-0053 | 85 | 88 | 2003-31-0053 & 2003-31-0053
22 | 2003-31-0056 | 2003-31-0056 | 90 | 90 | 2003-31-0056 & 2003-31-0056
23 | 2003-31-0057 | 2003-31-0057 | 92 | 92 | 2003-31-0057 & 2003-31-0057
24 | 2003-31-0060 | 2003-31-0060 | 94 | 94 | 2003-31-0060 & 2003-31-0060
25 | 2003-31-0061 | 2003-31-0061 | 96 | 96 | 2003-31-0061 & 2003-31-0061
26 | 2003-31-0066 | 2003-31-0066 | 98 | 109 | 2003-31-0066 & 2003-31-0066
27 | 2003-31-0067 | 2003-31-0067 | 111 | 111 | 2003-31-0067 & 2003-31-0067
28 | 2003-31-0072 | 2003-31-0072 | 113 | 113 | 2003-31-0072 & 2003-31-0072
29 | 2003-31-0073 | 2003-31-0073 | 115 | 115 | 2003-31-0073 & 2003-31-0073
30 | 2003-31-0079 | 2003-31-0079 | 117 | 120 | 2003-31-0079 & 2003-31-0079
31 | 2003-31-0082 | 2003-31-0082 | 122 | 122 | 2003-31-0082 & 2003-31-0082
32 | 2003-31-0086 | 2003-31-0086 | 124 | 126 | 2003-31-0086 & 2003-31-0086
33 | 2003-31-0087 | 2003-31-0087 | 128 | 128 | 2003-31-0087 & 2003-31-0087
34 | 2003-31-0090 | 2003-31-0090 | 130 | 130 | 2003-31-0090 & 2003-31-0090
35 | 2003-31-0091 | 2003-31-0091 | 132 | 132 | 2003-31-0091 & 2003-31-0091
36 | 2003-31-0094 | 2003-31-0094 | 134 | 134 | 2003-31-0094 & 2003-31-0094
37 | 2003-31-0095 | 2003-31-0095 | 136 | 136 | 2003-31-0095 & 2003-31-0095
38 | 2003-31-0098 | 2003-31-0098 | 138 | 138 | 2003-31-0098 & 2003-31-0098
39 | 2003-31-0099 | 2003-31-0099 | 140 | 140 | 2003-31-0099 & 2003-31-0099
40 | 2003-31-0104 | 2003-31-0104 | 142 | 142 | 2003-31-0104 & 2003-31-0104
41 | 2003-31-0108 | 2003-31-0108 | 144 | 144 | 2003-31-0108 & 2003-31-0108
42 | 2003-31-0109 | 2003-31-0109 | 146 | 146 | 2003-31-0109 & 2003-31-0109
43 | 2003-31-0110 | 2003-31-0110 | 148 | 148 | 2003-31-0110 & 2003-31-0110
44 | 2003-31-0111 | 2003-31-0111 | 150 | 150 | 2003-31-0111 & 2003-31-0111

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00070383 |  | X | CALC Y
m= | -4.7893e-08 | 4.6595e-07 |  | Std Dev of Resid |  | 0.00073572 |  | 396.504 | 7.0458e-05
b= | 8.9447e-05 | 0.00051568 |  | Resid Sum of Squares |  | 8.1193e-06 |  | 1900.7 | -1.5821e-06
# of Values Extracted = |  |  | 96
# of Values Used in Fit = |  |  | 17
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 212.907 | 31.4291 | 0.00055678 | 0.031702 | 7.9251e-05 | -0.031623 |  | 1201.6 | -0.0012817
1 | NO | 177.247 | 31.3566 | 0.00043393 | -0.001915 | 8.0959e-05 | 0.0019959 |  | 396.504 | -6.485e-05
2 | NO | 3.8657 | 31.8086 | 0.013644 | 0.019043 | 8.9262e-05 | -0.018954 |  | 797.71 | 0.00030899
3 | NO | 138.92 | 33.8693 | 0.00050402 | 0.001133 | 8.2794e-05 | -0.0010502 |  | 601.804 | -0.00040817
3 | NO | 126.103 | 33.8523 | 0.00063513 | 0.0015717 | 8.3408e-05 | -0.0014883 |  | 1502.05 | 0.0011406
3 | NO | 101.046 | 33.8071 | 0.00031473 | -0.0020866 | 8.4608e-05 | 0.0021712 |  | 997.386 | 0.0011177
3 | NO | 74.9034 | 33.7542 | 0.00087037 | -0.0010872 | 8.586e-05 | 0.0011731 |  | 1270.17 | -0.00093079
3 | NO | 50.1442 | 33.4123 | 0.00035421 | -0.0056839 | 8.7046e-05 | 0.0057709 |  | 998.732 | 0.00061035
3 | NO | 29.4086 | 32.9004 | 0.0018168 | -0.053982 | 8.8039e-05 | 0.05407 |  | 797.312 | 0.00027847
3 | NO | 19.8216 | 32.4947 | 0.0023909 | -0.083359 | 8.8498e-05 | 0.083447 |  | 595.941 | -0.00052643
3 | NO | 10.2495 | 32.1841 | 0.014961 | -0.025761 | 8.8957e-05 | 0.02585 |  | 499.888 | 0.00046539
3 | NO | 5.0037 | 31.8358 | 0.0041396 | 0.0047493 | 8.9208e-05 | -0.0046601 |  | 1390.97 | -0.00017166
4 | NO | 108.326 | 33.7819 | 0.0012018 | 0.006752 | 8.4259e-05 | -0.0066678 |  | 1300.72 | -0.00048065
4 | NO | 99.8828 | 33.7747 | 0.00023268 | 0.00072098 | 8.4664e-05 | -0.00063631 |  | 1199.25 | 0.00057983
4 | NO | 74.5925 | 33.5864 | 0.0034507 | 0.0090637 | 8.5875e-05 | -0.0089778 |  | 1001.08 | 0.00079727
4 | NO | 51.0899 | 33.3584 | 0.00042563 | 0.011028 | 8.7001e-05 | -0.010941 |  | 1900.7 | 4.5776e-05
4 | NO | 29.0249 | 33.0025 | 0.002031 | -0.00068283 | 8.8057e-05 | 0.00077089 |  | 1200.3 | -0.0008049
4 | NO | 19.2117 | 32.4061 | 0.01346 | 0.0037575 | 8.8527e-05 | -0.003669
4 | NO | 9.0544 | 32.2223 | 0.0006315 | -0.0093536 | 8.9014e-05 | 0.0094427 |  |  | 3.9718e-05
4 | NO | 4.9389 | 32.203 | 0.00079062 | -0.0098686 | 8.9211e-05 | 0.0099578
4 | NO | 1.4337 | 32.2024 | 0.00044028 | -0.0090599 | 8.9379e-05 | 0.0091493
5 | NO | 3.9296 | 32.2431 | 0.0019389 | -0.0068359 | 8.9259e-05 | 0.0069252
6 | YES | 1201.6 | 34.454 | 0.00025011 | -0.0012817 | 3.19e-05 | 0.0013136
7 | NO | 2003.48 | 34.5991 | 0.00023736 | -0.0021591 | -6.5045e-06 | 0.0021526
8 | NO | 75.0782 | 33.4899 | 0.0015716 | -0.00086212 | 8.5852e-05 | 0.00094797
9 | NO | 3.851 | 32.1993 | 0.0021145 | -0.015007 | 8.9263e-05 | 0.015096
10 | NO | 598.274 | 34.1908 | 0.00087451 | -0.0031624 | 6.0794e-05 | 0.0032232
10 | NO | 598.274 | 34.1908 | 0.00087451 | 0.061638 | 6.0794e-05 | -0.061577
10 | YES | 396.504 | 34.0423 | 0.00054313 | -6.485e-05 | 7.0458e-05 | 0.00013531
10 | NO | 298.492 | 34.0017 | 0.00020405 | -0.040607 | 7.5152e-05 | 0.040683
10 | NO | 250.994 | 33.9867 | 0.00024258 | -0.0007019 | 7.7427e-05 | 0.00077933
10 | NO | 201.495 | 33.9648 | 0.00027033 | 0.00098801 | 7.9797e-05 | -0.00090821
10 | NO | 176.407 | 33.9582 | 0.00025282 | -0.00028229 | 8.0999e-05 | 0.00036329
10 | NO | 151.854 | 33.9179 | 0.00027952 | 0.0022926 | 8.2175e-05 | -0.0022105
10 | NO | 124.606 | 33.8664 | 0.0014903 | 0.005764 | 8.348e-05 | -0.0056805
10 | NO | 100.565 | 33.6838 | 0.0014818 | 0.0038452 | 8.4631e-05 | -0.0037606
10 | NO | 74.5091 | 33.4919 | 0.00046587 | -0.0010567 | 8.5879e-05 | 0.0011425
10 | NO | 50.5536 | 33.1892 | 0.000455 | 0.0035973 | 8.7026e-05 | -0.0035102
10 | NO | 21.2769 | 32.6782 | 0.00047797 | -0.017044 | 8.8428e-05 | 0.017133
10 | NO | 9.529 | 32.1563 | 0.0044385 | -0.023781 | 8.8991e-05 | 0.02387
10 | NO | 4.3046 | 32.0633 | 0.0038788 | -0.011295 | 8.9241e-05 | 0.011385
10 | NO | 0.7101 | 32.0632 | 0.0041261 | -0.0070725 | 8.9413e-05 | 0.0071619
11 | NO | 54.8828 | 33.2456 | 0.00035921 | 0.0064049 | 8.6819e-05 | -0.0063181
11 | NO | 54.8828 | 33.2456 | 0.00035921 | 0.0064049 | 8.6819e-05 | -0.0063181
12 | NO | 3.8938 | 31.9722 | 0.033386 | 0.13243 | 8.9261e-05 | -0.13234
13 | NO | 75.7574 | 33.048 | 0.00049359 | 0.0014458 | 8.5819e-05 | -0.00136
14 | NO | 4.4419 | 31.9293 | 0.00087902 | -0.0064793 | 8.9235e-05 | 0.0065685
15 | NO | 50.2392 | 32.7024 | 0.00023721 | 0.0028686 | 8.7041e-05 | -0.0027816
16 | NO | 93.3971 | 33.5598 | 0.0050111 | 0.0055542 | 8.4974e-05 | -0.0054692
17 | NO | 5.9456 | 31.7362 | 0.0057196 | -0.0013065 | 8.9163e-05 | 0.0013957
18 | NO | 140.959 | 33.8842 | 0.00023457 | 0.0043678 | 8.2696e-05 | -0.0042851
19 | NO | 4.3597 | 31.841 | 0.0033079 | -0.0041943 | 8.9239e-05 | 0.0042835
20 | NO | 5.5702 | 31.6958 | 0.04938 | 0.11838 | 8.9181e-05 | -0.11829
21 | NO | 1727.07 | 34.5505 | 0.00023025 | 0.0047073 | 6.7335e-06 | -0.0047006
21 | NO | 999.802 | 34.3759 | 0.00074182 | 0.0046997 | 4.1564e-05 | -0.0046581
21 | YES | 797.71 | 34.2829 | 0.00026184 | 0.00030899 | 5.1243e-05 | -0.00025775
21 | YES | 601.804 | 34.1529 | 0.00023949 | -0.00040817 | 6.0625e-05 | 0.0004688
22 | NO | 4.5994 | 31.6829 | 0.0021962 | -0.0083122 | 8.9227e-05 | 0.0084015
23 | YES | 1502.05 | 34.507 | 0.00025655 | 0.0011406 | 1.751e-05 | -0.0011231
24 | NO | 3.633 | 31.8492 | 0.002778 | -0.0096855 | 8.9273e-05 | 0.0097748
25 | YES | 997.386 | 34.3733 | 0.00022216 | 0.0011177 | 4.168e-05 | -0.001076
26 | YES | 1270.17 | 34.4609 | 0.00026344 | -0.00093079 | 2.8616e-05 | 0.0009594
26 | YES | 998.732 | 34.3583 | 0.00082786 | 0.00061035 | 4.1615e-05 | -0.00056874
26 | YES | 797.312 | 34.2706 | 0.00041367 | 0.00027847 | 5.1262e-05 | -0.00022721
26 | YES | 595.941 | 34.1568 | 0.00025135 | -0.00052643 | 6.0906e-05 | 0.00058733
26 | YES | 499.888 | 34.078 | 0.0002873 | 0.00046539 | 6.5506e-05 | -0.00039989
26 | NO | 74.0926 | 32.7817 | 0.0033819 | 0.005909 | 8.5899e-05 | -0.0058231
26 | NO | 46.673 | 32.4014 | 0.0014832 | 0.00017166 | 8.7212e-05 | -8.4449e-05
26 | NO | 30.1631 | 31.879 | 0.0064103 | -0.019665 | 8.8003e-05 | 0.019753
26 | NO | 20.5725 | 31.6114 | 0.0009664 | -0.062292 | 8.8462e-05 | 0.062381
26 | NO | 10.915 | 31.4823 | 0.00097071 | -0.013111 | 8.8925e-05 | 0.0132
26 | NO | 5.2792 | 31.4869 | 0.00030684 | -0.0042496 | 8.9195e-05 | 0.0043388
26 | NO | 1.341 | 31.4876 | 0.00029572 | -0.0053463 | 8.9383e-05 | 0.0054357
27 | NO | 3.8987 | 31.5551 | 0.0023809 | -0.012344 | 8.9261e-05 | 0.012434
28 | NO | 5.4709 | 31.5768 | 0.0016756 | -2.2184 | 8.9185e-05 | 2.2185
29 | NO | 4.8192 | 31.6288 | 0.00038715 | 0.047237 | 8.9217e-05 | -0.047148
30 | YES | 1390.97 | 34.4962 | 0.00025476 | -0.00017166 | 2.283e-05 | 0.00019449
30 | YES | 1300.72 | 34.4774 | 0.00026367 | -0.00048065 | 2.7153e-05 | 0.0005078
30 | YES | 1199.25 | 34.4351 | 0.00030154 | 0.00057983 | 3.2012e-05 | -0.00054782
30 | YES | 1001.08 | 34.3765 | 0.00028076 | 0.00079727 | 4.1503e-05 | -0.00075577
31 | NO | 3.8624 | 31.5882 | 0.00054217 | -0.0072498 | 8.9262e-05 | 0.0073391
32 | YES | 1900.7 | 34.5839 | 0.00022963 | 4.5776e-05 | -1.5821e-06 | -4.7359e-05
32 | NO | 1500.07 | 34.4935 | 0.00026329 | -0.0050392 | 1.7605e-05 | 0.0050568
32 | YES | 1200.3 | 34.4217 | 0.0002495 | -0.0008049 | 3.1962e-05 | 0.00083686
33 | NO | 4.6601 | 31.8677 | 0.00022761 | -0.0047646 | 8.9224e-05 | 0.0048538
34 | NO | 72.4674 | 32.6281 | 0.019707 | 0.030956 | 8.5977e-05 | -0.03087
35 | NO | 4.5217 | 31.4873 | 0.00051285 | -0.0072422 | 8.9231e-05 | 0.0073314
36 | NO | 50.594 | 32.4717 | 0.0034777 | 0.025894 | 8.7024e-05 | -0.025807
37 | NO | 3.301 | 31.3687 | 0.00061978 | -0.0042038 | 8.9289e-05 | 0.0042931
38 | NO | 124.509 | 33.5718 | 0.0010518 | 0.011189 | 8.3484e-05 | -0.011105
39 | NO | 4.3886 | 31.3147 | 0.007732 | -0.036408 | 8.9237e-05 | 0.036497
40 | NO | 125.798 | 33.4176 | 0.012129 | 0.0012169 | 8.3423e-05 | -0.0011335
41 | NO | 100.275 | 32.6665 | 0.001637 | -0.017132 | 8.4645e-05 | 0.017216
42 | NO | 4.2721 | 31.198 | 0.0054955 | -0.05895 | 8.9243e-05 | 0.05904
43 | NO | 100.294 | 32.7638 | 0.0005556 | -0.0090179 | 8.4644e-05 | 0.0091026
44 | NO | 4.2047 | 31.4818 | 0.0010263 | -0.0037689 | 8.9246e-05 | 0.0038582
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
YES
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00078621 |  | X | CALC Y
m= | 5.4768e-08 | 5.2182e-07 |  | Std Dev of Resid |  | 0.00074813 |  | 499.888 | 2.7917e-05
b= | 5.3902e-07 | 0.00059303 |  | Resid Sum of Squares |  | 7.8357e-06 |  | 1900.7 | 0.00010464
# of Values Extracted = |  |  | 96
# of Values Used in Fit = |  |  | 16
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 212.907 | 31.428 | 0.00040902 | 0.03063 | 1.2199e-05 | -0.030618 |  | 1201.6 | -0.0009613
1 | NO | 177.247 | 31.3559 | 0.00049125 | -0.0025559 | 1.0246e-05 | 0.0025661 |  | 797.71 | -7.6294e-05
2 | NO | 3.8657 | 31.7816 | 0.0083961 | -0.0080166 | 7.5073e-07 | 0.0080173 |  | 601.804 | -0.00088501
3 | NO | 138.92 | 33.868 | 0.00041072 | -0.00023651 | 8.1473e-06 | 0.00024466 |  | 1502.05 | 0.00088501
3 | NO | 126.103 | 33.8517 | 0.00076278 | 0.0010033 | 7.4454e-06 | -0.00099582 |  | 997.386 | 0.00094986
3 | NO | 101.046 | 33.8069 | 0.00035942 | -0.0023003 | 6.0731e-06 | 0.0023063 |  | 1270.17 | -0.00064087
3 | NO | 74.9034 | 33.7546 | 0.00082756 | -0.00069809 | 4.6413e-06 | 0.00070273 |  | 998.732 | 0.00093079
3 | NO | 50.1442 | 33.4128 | 0.0003764 | -0.0052376 | 3.2853e-06 | 0.0052409 |  | 797.312 | 0.00033569
3 | NO | 29.4086 | 32.9012 | 0.0013033 | -0.053192 | 2.1497e-06 | 0.053194 |  | 595.941 | -0.00056076
3 | NO | 19.8216 | 32.497 | 0.0015114 | -0.081146 | 1.6246e-06 | 0.081148 |  | 499.888 | 0.00028229
3 | NO | 10.2495 | 32.1835 | 0.015863 | -0.026409 | 1.1004e-06 | 0.02641 |  | 1390.97 | -2.6703e-05
3 | NO | 5.0037 | 31.8267 | 0.0047317 | -0.0043774 | 8.1306e-07 | 0.0043782 |  | 1300.72 | -7.6294e-05
4 | NO | 108.326 | 33.7788 | 0.0013373 | 0.0037079 | 6.4718e-06 | -0.0037014 |  | 1199.25 | 0.00094223
4 | NO | 99.8828 | 33.7739 | 0.00024873 | -5.3406e-05 | 6.0094e-06 | 5.9415e-05 |  | 1001.08 | 0.00099945
4 | NO | 74.5925 | 33.5897 | 0.0053481 | 0.012398 | 4.6243e-06 | -0.012393 |  | 1900.7 | -0.00028229
4 | NO | 51.0899 | 33.3589 | 0.00066662 | 0.011452 | 3.3371e-06 | -0.011448 |  | 1200.3 | -0.00086212
4 | NO | 29.0249 | 33.0035 | 0.0026097 | 0.00030518 | 2.1286e-06 | -0.00030305
4 | NO | 19.2117 | 32.407 | 0.012288 | 0.0046501 | 1.5912e-06 | -0.0046485
4 | NO | 9.0544 | 32.2236 | 0.00071839 | -0.0080833 | 1.0349e-06 | 0.0080844
4 | NO | 4.9389 | 32.2047 | 0.0012136 | -0.0082474 | 8.0951e-07 | 0.0082482
4 | NO | 1.4337 | 32.2031 | 0.0008039 | -0.0084038 | 6.1754e-07 | 0.0084044
5 | NO | 3.9296 | 32.2447 | 0.0022944 | -0.0052223 | 7.5423e-07 | 0.0052231
6 | YES | 1201.6 | 34.4543 | 0.00027938 | -0.0009613 | 6.6348e-05 | 0.0010277
7 | NO | 2003.48 | 34.5989 | 0.00026841 | -0.0023727 | 0.00011026 | 0.002483
8 | NO | 75.0782 | 33.4887 | 0.0011579 | -0.0021362 | 4.6509e-06 | 0.0021409
9 | NO | 3.851 | 32.2003 | 0.0017485 | -0.014027 | 7.4993e-07 | 0.014027
10 | NO | 598.274 | 34.1718 | 0.0012298 | -0.02219 | 3.3305e-05 | 0.022223
10 | NO | 598.274 | 34.1718 | 0.0012298 | 0.04261 | 3.3305e-05 | -0.042577
10 | NO | 396.504 | 34.0285 | 0.00054546 | -0.01387 | 2.2255e-05 | 0.013892
10 | NO | 298.492 | 33.9887 | 0.00025784 | -0.053589 | 1.6887e-05 | 0.053606
10 | NO | 250.994 | 33.9745 | 0.00022174 | -0.012939 | 1.4285e-05 | 0.012954
10 | NO | 201.495 | 33.9529 | 0.00025729 | -0.010864 | 1.1574e-05 | 0.010876
10 | NO | 176.407 | 33.9466 | 0.00024086 | -0.011898 | 1.02e-05 | 0.011908
10 | NO | 151.854 | 33.9067 | 0.00028239 | -0.0089493 | 8.8557e-06 | 0.0089581
10 | NO | 124.606 | 33.8565 | 0.0014933 | -0.0040703 | 7.3634e-06 | 0.0040776
10 | NO | 100.565 | 33.6722 | 0.00073189 | -0.0077972 | 6.0467e-06 | 0.0078033
10 | NO | 74.5091 | 33.4807 | 0.00022866 | -0.012318 | 4.6197e-06 | 0.012322
10 | NO | 50.5536 | 33.1795 | 0.00072472 | -0.0060539 | 3.3077e-06 | 0.0060572
10 | NO | 21.2769 | 32.6693 | 0.00065584 | -0.02594 | 1.7043e-06 | 0.025942
10 | NO | 9.529 | 32.1486 | 0.0057949 | -0.031536 | 1.0609e-06 | 0.031537
10 | NO | 4.3046 | 32.055 | 0.0064634 | -0.019573 | 7.7477e-07 | 0.019574
10 | NO | 0.7101 | 32.0558 | 0.0076169 | -0.014545 | 5.7791e-07 | 0.014546
11 | NO | 54.8828 | 33.2424 | 0.00029781 | 0.0031891 | 3.5448e-06 | -0.0031855
11 | NO | 54.8828 | 33.2424 | 0.00029781 | 0.0031891 | 3.5448e-06 | -0.0031855
12 | NO | 3.8938 | 31.9595 | 0.033981 | 0.11968 | 7.5227e-07 | -0.11968
13 | NO | 75.7574 | 33.0466 | 0.0003717 | 4.5776e-05 | 4.6881e-06 | -4.1088e-05
14 | NO | 4.4419 | 31.9292 | 0.0010755 | -0.0065823 | 7.8229e-07 | 0.006583
15 | NO | 50.2392 | 32.6992 | 0.0002535 | -0.00032043 | 3.2905e-06 | 0.00032373
16 | NO | 93.3971 | 33.5624 | 0.0063152 | 0.0081787 | 5.6542e-06 | -0.0081731
17 | NO | 5.9456 | 31.7405 | 0.0056182 | 0.0030155 | 8.6464e-07 | -0.0030147
18 | NO | 140.959 | 33.8813 | 0.00023453 | 0.0014839 | 8.259e-06 | -0.0014757
19 | NO | 4.3597 | 31.8436 | 0.002714 | -0.001646 | 7.7779e-07 | 0.0016468
20 | NO | 5.5702 | 31.7 | 0.052304 | 0.12255 | 8.4409e-07 | -0.12255
21 | NO | 1727.07 | 34.5503 | 0.00024832 | 0.0044975 | 9.5127e-05 | -0.0044024
21 | NO | 999.802 | 34.3756 | 0.00087809 | 0.0043945 | 5.5296e-05 | -0.0043392
21 | YES | 797.71 | 34.2825 | 0.00023606 | -7.6294e-05 | 4.4228e-05 | 0.00012052
21 | YES | 601.804 | 34.1524 | 0.00028399 | -0.00088501 | 3.3498e-05 | 0.00091851
22 | NO | 4.5994 | 31.6843 | 0.0038905 | -0.0069428 | 7.9092e-07 | 0.0069435
23 | YES | 1502.05 | 34.5068 | 0.00026089 | 0.00088501 | 8.2803e-05 | -0.00080221
24 | NO | 3.633 | 31.853 | 0.00276 | -0.0058594 | 7.3799e-07 | 0.0058601
25 | YES | 997.386 | 34.3731 | 0.00023432 | 0.00094986 | 5.5164e-05 | -0.0008947
26 | YES | 1270.17 | 34.4612 | 0.00025738 | -0.00064087 | 7.0103e-05 | 0.00071097
26 | YES | 998.732 | 34.3586 | 0.00049146 | 0.00093079 | 5.5237e-05 | -0.00087555
26 | YES | 797.312 | 34.2706 | 0.0004376 | 0.00033569 | 4.4206e-05 | -0.00029149
26 | YES | 595.941 | 34.1567 | 0.00021786 | -0.00056076 | 3.3177e-05 | 0.00059394
26 | YES | 499.888 | 34.0778 | 0.00025419 | 0.00028229 | 2.7917e-05 | -0.00025437
26 | NO | 74.0926 | 32.7812 | 0.0035757 | 0.0054131 | 4.5969e-06 | -0.0054085
26 | NO | 46.673 | 32.4013 | 0.00062527 | 0.00014114 | 3.0952e-06 | -0.00013805
26 | NO | 30.1631 | 31.88 | 0.0056325 | -0.018721 | 2.191e-06 | 0.018723
26 | NO | 20.5725 | 31.6132 | 0.00099585 | -0.060526 | 1.6657e-06 | 0.060528
26 | NO | 10.915 | 31.4838 | 0.00060056 | -0.01164 | 1.1368e-06 | 0.011642
26 | NO | 5.2792 | 31.4874 | 0.00035599 | -0.0037384 | 8.2815e-07 | 0.0037392
26 | NO | 1.341 | 31.4876 | 0.00044267 | -0.0052834 | 6.1246e-07 | 0.005284
27 | NO | 3.8987 | 31.5592 | 0.0017902 | -0.0082416 | 7.5254e-07 | 0.0082424
28 | NO | 5.4709 | 31.576 | 0.0033691 | -2.2192 | 8.3865e-07 | 2.2192
29 | NO | 4.8192 | 31.6292 | 0.00045467 | 0.047598 | 8.0295e-07 | -0.047597
30 | YES | 1390.97 | 34.4964 | 0.0002247 | -2.6703e-05 | 7.6719e-05 | 0.00010342
30 | YES | 1300.72 | 34.4778 | 0.0002528 | -7.6294e-05 | 7.1776e-05 | 0.00014807
30 | YES | 1199.25 | 34.4354 | 0.00023211 | 0.00094223 | 6.6219e-05 | -0.00087601
30 | YES | 1001.08 | 34.3767 | 0.00027169 | 0.00099945 | 5.5366e-05 | -0.00094409
31 | NO | 3.8624 | 31.5897 | 0.0048884 | -0.0056953 | 7.5055e-07 | 0.0056961
32 | YES | 1900.7 | 34.5836 | 0.00026974 | -0.00028229 | 0.00010464 | 0.00038692
32 | NO | 1500.07 | 34.4934 | 0.00029086 | -0.0050621 | 8.2694e-05 | 0.0051448
32 | YES | 1200.3 | 34.4216 | 0.00024199 | -0.00086212 | 6.6277e-05 | 0.0009284
33 | NO | 4.6601 | 31.8691 | 0.00019923 | -0.0034428 | 7.9424e-07 | 0.0034436
34 | NO | 72.4674 | 32.6289 | 0.021906 | 0.031841 | 4.5079e-06 | -0.031837
35 | NO | 4.5217 | 31.4876 | 0.00066352 | -0.0068645 | 7.8666e-07 | 0.0068653
36 | NO | 50.594 | 32.4691 | 0.003823 | 0.023285 | 3.3099e-06 | -0.023282
37 | NO | 3.301 | 31.3689 | 0.00072073 | -0.0040016 | 7.1981e-07 | 0.0040023
38 | NO | 124.509 | 33.5702 | 0.0007217 | 0.0096016 | 7.3581e-06 | -0.0095942
39 | NO | 4.3886 | 31.3256 | 0.014671 | -0.025461 | 7.7937e-07 | 0.025462
40 | NO | 125.798 | 33.4177 | 0.0022621 | 0.001255 | 7.4287e-06 | -0.0012476
41 | NO | 100.275 | 32.6652 | 0.0013036 | -0.018448 | 6.0308e-06 | 0.018454
42 | NO | 4.2721 | 31.2027 | 0.0085216 | -0.054195 | 7.7299e-07 | 0.054196
43 | NO | 100.294 | 32.7636 | 0.00035557 | -0.0091934 | 6.0319e-06 | 0.0091995
44 | NO | 4.2047 | 31.4797 | 0.0014134 | -0.0058518 | 7.693e-07 | 0.0058525
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
YES
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2003-31-0001 | 2003-31-0001 | 121 | 212.907 | 212.907 | 0.030194 | 0.00012207 | 31.3974 | 31.4291 | 0.00055678 | 0.031702 | 31.3974 | 31.428 | 0.00040902 | 0.03063
2003-31-0001 | 2003-31-0001 | 121 | 177.247 | 177.247 | 0.025712 | 0.00030518 | 31.3585 | 31.3566 | 0.00043393 | -0.001915 | 31.3585 | 31.3559 | 0.00049125 | -0.0025559
2003-31-0006 | 2003-31-0006 | 121 | 3.866 | 3.8657 | 0.060417 | -0.00034714 | 31.7896 | 31.8086 | 0.013644 | 0.019043 | 31.7896 | 31.7816 | 0.0083961 | -0.0080166
2003-31-0010 | 2003-31-0010 | 121 | 138.92 | 138.92 | 0.24405 | -0.00016785 | 33.8682 | 33.8693 | 0.00050402 | 0.001133 | 33.8682 | 33.868 | 0.00041072 | -0.00023651
2003-31-0010 | 2003-31-0010 | 121 | 126.103 | 126.103 | 0.20245 | 0.00027466 | 33.8507 | 33.8523 | 0.00063513 | 0.0015717 | 33.8507 | 33.8517 | 0.00076278 | 0.0010033
2003-31-0010 | 2003-31-0010 | 121 | 101.046 | 101.046 | 0.42287 | 0.00016785 | 33.8092 | 33.8071 | 0.00031473 | -0.0020866 | 33.8092 | 33.8069 | 0.00035942 | -0.0023003
2003-31-0010 | 2003-31-0010 | 121 | 74.903 | 74.9034 | 0.26814 | 0.00041199 | 33.7553 | 33.7542 | 0.00087037 | -0.0010872 | 33.7553 | 33.7546 | 0.00082756 | -0.00069809
2003-31-0010 | 2003-31-0010 | 121 | 50.144 | 50.1442 | 0.28373 | 0.0001564 | 33.418 | 33.4123 | 0.00035421 | -0.0056839 | 33.418 | 33.4128 | 0.0003764 | -0.0052376
2003-31-0010 | 2003-31-0010 | 121 | 29.409 | 29.4086 | 0.30235 | -0.0003891 | 32.9544 | 32.9004 | 0.0018168 | -0.053982 | 32.9544 | 32.9012 | 0.0013033 | -0.053192
2003-31-0010 | 2003-31-0010 | 121 | 19.822 | 19.8216 | 0.12037 | -0.0003891 | 32.5781 | 32.4947 | 0.0023909 | -0.083359 | 32.5781 | 32.497 | 0.0015114 | -0.081146
2003-31-0010 | 2003-31-0010 | 121 | 10.249 | 10.2495 | 0.32989 | 0.0004549 | 32.2099 | 32.1841 | 0.014961 | -0.025761 | 32.2099 | 32.1835 | 0.015863 | -0.026409
2003-31-0010 | 2003-31-0010 | 121 | 5.004 | 5.0037 | 0.1427 | -0.00027275 | 31.8311 | 31.8358 | 0.0041396 | 0.0047493 | 31.8311 | 31.8267 | 0.0047317 | -0.0043774
2003-31-0015 | 2003-31-0015 | 121 | 108.326 | 108.326 | 0.27213 | -0.00036621 | 33.7751 | 33.7819 | 0.0012018 | 0.006752 | 33.7751 | 33.7788 | 0.0013373 | 0.0037079
2003-31-0015 | 2003-31-0015 | 121 | 99.883 | 99.8828 | 0.12297 | -0.00024414 | 33.774 | 33.7747 | 0.00023268 | 0.00072098 | 33.774 | 33.7739 | 0.00024873 | -5.3406e-05
2003-31-0015 | 2003-31-0015 | 121 | 74.593 | 74.5925 | 0.14495 | -0.00045776 | 33.5773 | 33.5864 | 0.0034507 | 0.0090637 | 33.5773 | 33.5897 | 0.0053481 | 0.012398
2003-31-0015 | 2003-31-0015 | 121 | 51.09 | 51.0899 | 0.097283 | -0.00013351 | 33.3474 | 33.3584 | 0.00042563 | 0.011028 | 33.3474 | 33.3589 | 0.00066662 | 0.011452
2003-31-0015 | 2003-31-0015 | 121 | 29.025 | 29.0249 | 0.19802 | -0.00010681 | 33.0032 | 33.0025 | 0.002031 | -0.00068283 | 33.0032 | 33.0035 | 0.0026097 | 0.00030518
2003-31-0015 | 2003-31-0015 | 121 | 19.212 | 19.2117 | 0.24826 | -0.00027275 | 32.4023 | 32.4061 | 0.01346 | 0.0037575 | 32.4023 | 32.407 | 0.012288 | 0.0046501
2003-31-0015 | 2003-31-0015 | 121 | 9.054 | 9.0544 | 0.17807 | 0.00039673 | 32.2317 | 32.2223 | 0.0006315 | -0.0093536 | 32.2317 | 32.2236 | 0.00071839 | -0.0080833
2003-31-0015 | 2003-31-0015 | 121 | 4.939 | 4.9389 | 0.2239 | -0.00014067 | 32.2129 | 32.203 | 0.00079062 | -0.0098686 | 32.2129 | 32.2047 | 0.0012136 | -0.0082474
2003-31-0015 | 2003-31-0015 | 121 | 1.434 | 1.4337 | 0.27336 | -0.00032234 | 32.2115 | 32.2024 | 0.00044028 | -0.0090599 | 32.2115 | 32.2031 | 0.0008039 | -0.0084038
2003-31-0017 | 2003-31-0017 | 121 | 3.93 | 3.9296 | 0.068068 | -0.00043821 | 32.2499 | 32.2431 | 0.0019389 | -0.0068359 | 32.2499 | 32.2447 | 0.0022944 | -0.0052223
2003-31-0021 | 2003-31-0021 | 119 | 1201.58 | 1201.6 | 0.52784 | 0.017334 | 34.4553 | 34.454 | 0.00025011 | -0.0012817 | 34.4553 | 34.4543 | 0.00027938 | -0.0009613
2003-31-0022 | 2003-31-0022 | 121 | 2003.48 | 2003.48 | 0.37048 | -0.00048828 | 34.6013 | 34.5991 | 0.00023736 | -0.0021591 | 34.6013 | 34.5989 | 0.00026841 | -0.0023727
2003-31-0025 | 2003-31-0025 | 121 | 75.078 | 75.0782 | 0.13622 | 0.00016785 | 33.4908 | 33.4899 | 0.0015716 | -0.00086212 | 33.4908 | 33.4887 | 0.0011579 | -0.0021362
2003-31-0026 | 2003-31-0026 | 121 | 3.851 | 3.851 | 0.075754 | -3.314e-05 | 32.2143 | 32.1993 | 0.0021145 | -0.015007 | 32.2143 | 32.2003 | 0.0017485 | -0.014027
2003-31-0029 | 2003-31-0029 | 180 | 598.591 | 598.274 | 0.35565 | -0.3172 | 34.194 | 34.1908 | 0.00087451 | -0.0031624 | 34.194 | 34.1718 | 0.0012298 | -0.02219
2003-31-0029 | 2003-31-0029 | 180 | 598.115 | 598.274 | 0.35565 | 0.15881 | 34.1292 | 34.1908 | 0.00087451 | 0.061638 | 34.1292 | 34.1718 | 0.0012298 | 0.04261
2003-31-0029 | 2003-31-0029 | 121 | 396.504 | 396.504 | 0.37015 | -0.00036621 | 34.0424 | 34.0423 | 0.00054313 | -6.485e-05 | 34.0424 | 34.0285 | 0.00054546 | -0.01387
2003-31-0029 | 2003-31-0029 | 121 | 298.492 | 298.492 | 0.086807 | 0.00015259 | 34.0423 | 34.0017 | 0.00020405 | -0.040607 | 34.0423 | 33.9887 | 0.00025784 | -0.053589
2003-31-0029 | 2003-31-0029 | 121 | 250.994 | 250.994 | 0.20995 | 3.0518e-05 | 33.9874 | 33.9867 | 0.00024258 | -0.0007019 | 33.9874 | 33.9745 | 0.00022174 | -0.012939
2003-31-0029 | 2003-31-0029 | 121 | 201.495 | 201.495 | 0.2105 | 7.6294e-05 | 33.9638 | 33.9648 | 0.00027033 | 0.00098801 | 33.9638 | 33.9529 | 0.00025729 | -0.010864
2003-31-0029 | 2003-31-0029 | 121 | 176.407 | 176.407 | 0.13966 | 0 | 33.9585 | 33.9582 | 0.00025282 | -0.00028229 | 33.9585 | 33.9466 | 0.00024086 | -0.011898
2003-31-0029 | 2003-31-0029 | 121 | 151.854 | 151.854 | 0.17743 | 1.5259e-05 | 33.9156 | 33.9179 | 0.00027952 | 0.0022926 | 33.9156 | 33.9067 | 0.00028239 | -0.0089493
2003-31-0029 | 2003-31-0029 | 121 | 124.606 | 124.606 | 0.27749 | -0.00030518 | 33.8606 | 33.8664 | 0.0014903 | 0.005764 | 33.8606 | 33.8565 | 0.0014933 | -0.0040703
2003-31-0029 | 2003-31-0029 | 121 | 100.565 | 100.565 | 0.086151 | -0.00016022 | 33.68 | 33.6838 | 0.0014818 | 0.0038452 | 33.68 | 33.6722 | 0.00073189 | -0.0077972
2003-31-0029 | 2003-31-0029 | 121 | 74.509 | 74.5091 | 0.1073 | 0.00014496 | 33.493 | 33.4919 | 0.00046587 | -0.0010567 | 33.493 | 33.4807 | 0.00022866 | -0.012318
2003-31-0029 | 2003-31-0029 | 121 | 50.554 | 50.5536 | 0.037961 | -0.00042343 | 33.1856 | 33.1892 | 0.000455 | 0.0035973 | 33.1856 | 33.1795 | 0.00072472 | -0.0060539
2003-31-0029 | 2003-31-0029 | 121 | 21.277 | 21.2769 | 0.1586 | -0.00013351 | 32.6952 | 32.6782 | 0.00047797 | -0.017044 | 32.6952 | 32.6693 | 0.00065584 | -0.02594
2003-31-0029 | 2003-31-0029 | 121 | 9.529 | 9.529 | 0.062802 | -3.3379e-05 | 32.1801 | 32.1563 | 0.0044385 | -0.023781 | 32.1801 | 32.1486 | 0.0057949 | -0.031536
2003-31-0029 | 2003-31-0029 | 121 | 4.305 | 4.3046 | 0.16194 | -0.00037193 | 32.0746 | 32.0633 | 0.0038788 | -0.011295 | 32.0746 | 32.055 | 0.0064634 | -0.019573
2003-31-0029 | 2003-31-0029 | 121 | 0.71 | 0.7101 | 0.051498 | 9.9182e-05 | 32.0703 | 32.0632 | 0.0041261 | -0.0070725 | 32.0703 | 32.0558 | 0.0076169 | -0.014545
2003-31-0035 | 2003-31-0035 | 207 | 54.918 | 54.8828 | 0.11197 | -0.035191 | 33.2392 | 33.2456 | 0.00035921 | 0.0064049 | 33.2392 | 33.2424 | 0.00029781 | 0.0031891
2003-31-0035 | 2003-31-0035 | 207 | 54.857 | 54.8828 | 0.11197 | 0.02581 | 33.2392 | 33.2456 | 0.00035921 | 0.0064049 | 33.2392 | 33.2424 | 0.00029781 | 0.0031891
2003-31-0036 | 2003-31-0036 | 121 | 3.894 | 3.8938 | 0.074121 | -0.00021505 | 31.8398 | 31.9722 | 0.033386 | 0.13243 | 31.8398 | 31.9595 | 0.033981 | 0.11968
2003-31-0037 | 2003-31-0037 | 121 | 75.757 | 75.7574 | 0.32853 | 0.0003891 | 33.0466 | 33.048 | 0.00049359 | 0.0014458 | 33.0466 | 33.0466 | 0.0003717 | 4.5776e-05
2003-31-0043 | 2003-31-0043 | 121 | 4.442 | 4.4419 | 0.38819 | -8.2493e-05 | 31.9358 | 31.9293 | 0.00087902 | -0.0064793 | 31.9358 | 31.9292 | 0.0010755 | -0.0065823
2003-31-0044 | 2003-31-0044 | 121 | 50.239 | 50.2392 | 0.16196 | 0.00018311 | 32.6995 | 32.7024 | 0.00023721 | 0.0028686 | 32.6995 | 32.6992 | 0.0002535 | -0.00032043
2003-31-0046 | 2003-31-0046 | 121 | 93.397 | 93.3971 | 0.35706 | 5.3406e-05 | 33.5542 | 33.5598 | 0.0050111 | 0.0055542 | 33.5542 | 33.5624 | 0.0063152 | 0.0081787
2003-31-0047 | 2003-31-0047 | 121 | 5.946 | 5.9456 | 0.15232 | -0.00043821 | 31.7375 | 31.7362 | 0.0057196 | -0.0013065 | 31.7375 | 31.7405 | 0.0056182 | 0.0030155
2003-31-0048 | 2003-31-0048 | 121 | 140.959 | 140.959 | 0.30544 | 0.00015259 | 33.8798 | 33.8842 | 0.00023457 | 0.0043678 | 33.8798 | 33.8813 | 0.00023453 | 0.0014839
2003-31-0050 | 2003-31-0050 | 121 | 4.36 | 4.3597 | 0.07957 | -0.00031424 | 31.8452 | 31.841 | 0.0033079 | -0.0041943 | 31.8452 | 31.8436 | 0.002714 | -0.001646
2003-31-0052 | 2003-31-0052 | 121 | 5.57 | 5.5702 | 0.4218 | 0.00020647 | 31.5774 | 31.6958 | 0.04938 | 0.11838 | 31.5774 | 31.7 | 0.052304 | 0.12255
2003-31-0053 | 2003-31-0053 | 111 | 1727.17 | 1727.07 | 0.43622 | -0.10217 | 34.5458 | 34.5505 | 0.00023025 | 0.0047073 | 34.5458 | 34.5503 | 0.00024832 | 0.0044975
2003-31-0053 | 2003-31-0053 | 121 | 999.802 | 999.802 | 0.39762 | -0.00042725 | 34.3712 | 34.3759 | 0.00074182 | 0.0046997 | 34.3712 | 34.3756 | 0.00087809 | 0.0043945
2003-31-0053 | 2003-31-0053 | 121 | 797.71 | 797.71 | 0.28221 | 6.1035e-05 | 34.2826 | 34.2829 | 0.00026184 | 0.00030899 | 34.2826 | 34.2825 | 0.00023606 | -7.6294e-05
2003-31-0053 | 2003-31-0053 | 121 | 601.804 | 601.804 | 0.25132 | -0.00024414 | 34.1533 | 34.1529 | 0.00023949 | -0.00040817 | 34.1533 | 34.1524 | 0.00028399 | -0.00088501
2003-31-0056 | 2003-31-0056 | 121 | 4.599 | 4.5994 | 0.20695 | 0.00038004 | 31.6912 | 31.6829 | 0.0021962 | -0.0083122 | 31.6912 | 31.6843 | 0.0038905 | -0.0069428
2003-31-0057 | 2003-31-0057 | 121 | 1502.05 | 1502.05 | 0.67494 | 0.00012207 | 34.5059 | 34.507 | 0.00025655 | 0.0011406 | 34.5059 | 34.5068 | 0.00026089 | 0.00088501
2003-31-0060 | 2003-31-0060 | 583 | 3.341 | 3.633 | 0.29088 | 0.29195 | 31.8589 | 31.8492 | 0.002778 | -0.0096855 | 31.8589 | 31.853 | 0.00276 | -0.0058594
2003-31-0061 | 2003-31-0061 | 105 | 997.592 | 997.386 | 0.44848 | -0.20569 | 34.3722 | 34.3733 | 0.00022216 | 0.0011177 | 34.3722 | 34.3731 | 0.00023432 | 0.00094986
2003-31-0066 | 2003-31-0066 | 121 | 1270.17 | 1270.17 | 0.44889 | -0.00048828 | 34.4618 | 34.4609 | 0.00026344 | -0.00093079 | 34.4618 | 34.4612 | 0.00025738 | -0.00064087
2003-31-0066 | 2003-31-0066 | 121 | 998.732 | 998.732 | 0.37726 | 0.00030518 | 34.3577 | 34.3583 | 0.00082786 | 0.00061035 | 34.3577 | 34.3586 | 0.00049146 | 0.00093079
2003-31-0066 | 2003-31-0066 | 121 | 797.312 | 797.312 | 0.39803 | -0.00024414 | 34.2703 | 34.2706 | 0.00041367 | 0.00027847 | 34.2703 | 34.2706 | 0.0004376 | 0.00033569
2003-31-0066 | 2003-31-0066 | 121 | 595.941 | 595.941 | 0.29768 | -0.00018311 | 34.1573 | 34.1568 | 0.00025135 | -0.00052643 | 34.1573 | 34.1567 | 0.00021786 | -0.00056076
2003-31-0066 | 2003-31-0066 | 121 | 499.888 | 499.888 | 0.48291 | 0.00018311 | 34.0775 | 34.078 | 0.0002873 | 0.00046539 | 34.0775 | 34.0778 | 0.00025419 | 0.00028229
2003-31-0066 | 2003-31-0066 | 121 | 74.093 | 74.0926 | 0.18675 | -0.00036621 | 32.7758 | 32.7817 | 0.0033819 | 0.005909 | 32.7758 | 32.7812 | 0.0035757 | 0.0054131
2003-31-0066 | 2003-31-0066 | 121 | 46.673 | 46.673 | 0.11221 | -4.1962e-05 | 32.4012 | 32.4014 | 0.0014832 | 0.00017166 | 32.4012 | 32.4013 | 0.00062527 | 0.00014114
2003-31-0066 | 2003-31-0066 | 121 | 30.163 | 30.1631 | 0.34772 | 0.00014877 | 31.8987 | 31.879 | 0.0064103 | -0.019665 | 31.8987 | 31.88 | 0.0056325 | -0.018721
2003-31-0066 | 2003-31-0066 | 121 | 20.573 | 20.5725 | 0.20754 | -0.00048828 | 31.6737 | 31.6114 | 0.0009664 | -0.062292 | 31.6737 | 31.6132 | 0.00099585 | -0.060526
2003-31-0066 | 2003-31-0066 | 121 | 10.915 | 10.915 | 0.20933 | 0 | 31.4954 | 31.4823 | 0.00097071 | -0.013111 | 31.4954 | 31.4838 | 0.00060056 | -0.01164
2003-31-0066 | 2003-31-0066 | 121 | 5.279 | 5.2792 | 0.25365 | 0.00020695 | 31.4911 | 31.4869 | 0.00030684 | -0.0042496 | 31.4911 | 31.4874 | 0.00035599 | -0.0037384
2003-31-0066 | 2003-31-0066 | 121 | 1.341 | 1.341 | 0.17934 | -4.9591e-05 | 31.4929 | 31.4876 | 0.00029572 | -0.0053463 | 31.4929 | 31.4876 | 0.00044267 | -0.0052834
2003-31-0067 | 2003-31-0067 | 121 | 3.899 | 3.8987 | 0.11995 | -0.00025606 | 31.5674 | 31.5551 | 0.0023809 | -0.012344 | 31.5674 | 31.5592 | 0.0017902 | -0.0082416
2003-31-0072 | 2003-31-0072 | 121 | 5.471 | 5.4709 | 0.16709 | -7.4387e-05 | 33.7952 | 31.5768 | 0.0016756 | -2.2184 | 33.7952 | 31.576 | 0.0033691 | -2.2192
2003-31-0073 | 2003-31-0073 | 121 | 4.819 | 4.8192 | 0.19162 | 0.00015736 | 31.5816 | 31.6288 | 0.00038715 | 0.047237 | 31.5816 | 31.6292 | 0.00045467 | 0.047598
2003-31-0079 | 2003-31-0079 | 121 | 1390.97 | 1390.97 | 0.099795 | -0.00048828 | 34.4964 | 34.4962 | 0.00025476 | -0.00017166 | 34.4964 | 34.4964 | 0.0002247 | -2.6703e-05
2003-31-0079 | 2003-31-0079 | 121 | 1300.72 | 1300.72 | 0.17113 | 0.00024414 | 34.4779 | 34.4774 | 0.00026367 | -0.00048065 | 34.4779 | 34.4778 | 0.0002528 | -7.6294e-05
2003-31-0079 | 2003-31-0079 | 121 | 1199.25 | 1199.25 | 0.15113 | -0.00012207 | 34.4345 | 34.4351 | 0.00030154 | 0.00057983 | 34.4345 | 34.4354 | 0.00023211 | 0.00094223
2003-31-0079 | 2003-31-0079 | 121 | 1001.08 | 1001.08 | 0.12283 | -0.00048828 | 34.3757 | 34.3765 | 0.00028076 | 0.00079727 | 34.3757 | 34.3767 | 0.00027169 | 0.00099945
2003-31-0082 | 2003-31-0082 | 120 | 3.871 | 3.8624 | 0.44712 | -0.0085916 | 31.5954 | 31.5882 | 0.00054217 | -0.0072498 | 31.5954 | 31.5897 | 0.0048884 | -0.0056953
2003-31-0086 | 2003-31-0086 | 121 | 1900.7 | 1900.7 | 0.30533 | 0.00048828 | 34.5839 | 34.5839 | 0.00022963 | 4.5776e-05 | 34.5839 | 34.5836 | 0.00026974 | -0.00028229
2003-31-0086 | 2003-31-0086 | 121 | 1500.07 | 1500.07 | 0.19208 | 0.00024414 | 34.4985 | 34.4935 | 0.00026329 | -0.0050392 | 34.4985 | 34.4934 | 0.00029086 | -0.0050621
2003-31-0086 | 2003-31-0086 | 121 | 1200.3 | 1200.3 | 0.36647 | 0 | 34.4225 | 34.4217 | 0.0002495 | -0.0008049 | 34.4225 | 34.4216 | 0.00024199 | -0.00086212
2003-31-0087 | 2003-31-0087 | 121 | 4.66 | 4.6601 | 0.16281 | 0.00014067 | 31.8725 | 31.8677 | 0.00022761 | -0.0047646 | 31.8725 | 31.8691 | 0.00019923 | -0.0034428
2003-31-0090 | 2003-31-0090 | 121 | 72.467 | 72.4674 | 0.39044 | 0.0004425 | 32.5971 | 32.6281 | 0.019707 | 0.030956 | 32.5971 | 32.6289 | 0.021906 | 0.031841
2003-31-0091 | 2003-31-0091 | 121 | 4.522 | 4.5217 | 0.28261 | -0.00026417 | 31.4945 | 31.4873 | 0.00051285 | -0.0072422 | 31.4945 | 31.4876 | 0.00066352 | -0.0068645
2003-31-0094 | 2003-31-0094 | 121 | 50.594 | 50.594 | 0.098508 | 2.2888e-05 | 32.4458 | 32.4717 | 0.0034777 | 0.025894 | 32.4458 | 32.4691 | 0.003823 | 0.023285
2003-31-0095 | 2003-31-0095 | 121 | 3.301 | 3.301 | 0.24344 | -8.3446e-06 | 31.3729 | 31.3687 | 0.00061978 | -0.0042038 | 31.3729 | 31.3689 | 0.00072073 | -0.0040016
2003-31-0098 | 2003-31-0098 | 121 | 124.509 | 124.509 | 0.21763 | -9.9182e-05 | 33.5606 | 33.5718 | 0.0010518 | 0.011189 | 33.5606 | 33.5702 | 0.0007217 | 0.0096016
2003-31-0099 | 2003-31-0099 | 121 | 4.389 | 4.3886 | 0.053939 | -0.00038004 | 31.3511 | 31.3147 | 0.007732 | -0.036408 | 31.3511 | 31.3256 | 0.014671 | -0.025461
2003-31-0104 | 2003-31-0104 | 121 | 125.798 | 125.798 | 0.42842 | -0.00022125 | 33.4164 | 33.4176 | 0.012129 | 0.0012169 | 33.4164 | 33.4177 | 0.0022621 | 0.001255
2003-31-0108 | 2003-31-0108 | 121 | 100.275 | 100.275 | 0.054537 | -0.00030518 | 32.6836 | 32.6665 | 0.001637 | -0.017132 | 32.6836 | 32.6652 | 0.0013036 | -0.018448
2003-31-0109 | 2003-31-0109 | 121 | 4.272 | 4.2721 | 0.075418 | 0.00014067 | 31.2569 | 31.198 | 0.0054955 | -0.05895 | 31.2569 | 31.2027 | 0.0085216 | -0.054195
2003-31-0110 | 2003-31-0110 | 121 | 100.294 | 100.294 | 0.051754 | 0.00012207 | 32.7728 | 32.7638 | 0.0005556 | -0.0090179 | 32.7728 | 32.7636 | 0.00035557 | -0.0091934
2003-31-0111 | 2003-31-0111 | 121 | 4.205 | 4.2047 | 0.024619 | -0.00032234 | 31.4856 | 31.4818 | 0.0010263 | -0.0037689 | 31.4856 | 31.4797 | 0.0014134 | -0.0058518
Create Fit Sheet