## File List
Number of Files= |  | 15
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2003-33-0033 | 2003-33-0033 | 11 | 14 | 2003-33-0033 & 2003-33-0033
2 | 2003-33-0034 | 2003-33-0034 | 16 | 21 | 2003-33-0034 & 2003-33-0034
3 | 2003-33-0035 | 2003-33-0035 | 23 | 29 | 2003-33-0035 & 2003-33-0035
4 | 2003-33-0036 | 2003-33-0036 | 31 | 35 | 2003-33-0036 & 2003-33-0036
5 | 2003-33-0037 | 2003-33-0037 | 37 | 47 | 2003-33-0037 & 2003-33-0037
6 | 2003-33-0038 | 2003-33-0038 | 49 | 57 | 2003-33-0038 & 2003-33-0038
7 | 2003-33-0039 | 2003-33-0039 | 59 | 65 | 2003-33-0039 & 2003-33-0039
8 | 2003-33-0040 | 2003-33-0040 | 67 | 73 | 2003-33-0040 & 2003-33-0040
9 | 2003-33-0041 | 2003-33-0041 | 75 | 79 | 2003-33-0041 & 2003-33-0041
10 | 2003-33-0042 | 2003-33-0042 | 81 | 87 | 2003-33-0042 & 2003-33-0042
11 | 2003-33-0043 | 2003-33-0043 | 89 | 94 | 2003-33-0043 & 2003-33-0043
12 | 2003-33-0044 | 2003-33-0044 | 96 | 102 | 2003-33-0044 & 2003-33-0044
13 | 2003-33-0045 | 2003-33-0045 | 104 | 111 | 2003-33-0045 & 2003-33-0045
14 | 2003-33-0048 | 2003-33-0048 | 113 | 125 | 2003-33-0048 & 2003-33-0048
15 | 2003-33-0066 | 2003-33-0066 | 127 | 141 | 2003-33-0066 & 2003-33-0066

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.029503 |  | X | CALC Y
m= | -0.01099 | 0.006272 |  | Std Dev of Resid |  | 0.088046 |  | 0.085273 | 0.048595
b= | 0.049532 | 0.018885 |  | Resid Sum of Squares |  | 0.78296 |  | 5.9265 | -0.015601
# of Values Extracted = |  |  | 117
# of Values Used in Fit = |  |  | 103
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 30.8405 | 1.0342 | 0.0098987 | 0.067182 | 0.038166 | -0.029015 |  | 1.0342 | 0.067182
1 | YES | 21.1031 | 0.82928 | 0.0040067 | 0.025281 | 0.040418 | 0.015137 |  | 0.82928 | 0.025281
1 | NO | 10.0574 | 2.0923 | 0.13647 | 0.4073 | 0.026537 | -0.38076 |  | 4.3866 | 0.22963
1 | YES | 1.5249 | 4.3866 | 0.056806 | 0.22963 | 0.0013225 | -0.22831 |  | 0.69927 | 0.15627
2 | YES | 65.8139 | 0.69927 | 0.010037 | 0.15627 | 0.041847 | -0.11443 |  | 1.885 | 0.084967
2 | NO | 51.2239 | 0.80636 | 0.034438 | 0.35535 | 0.04067 | -0.31468 |  | 2.9028 | -0.033182
2 | YES | 29.9469 | 1.885 | 0.0092718 | 0.084967 | 0.028816 | -0.056151 |  | 0.13333 | 0.13333
2 | NO | 20.2969 | 2.2444 | 0.0071201 | 0.31042 | 0.024866 | -0.28556 |  | 0.085273 | 0.085273
2 | YES | 10.3217 | 2.9028 | 0.0266 | -0.033182 | 0.01763 | 0.050812 |  | 1.349 | 0.017975
2 | NO | 1.5882 | 5.1086 | 0.085236 | 0.5406 | -0.0066119 | -0.54721 |  | 2.1187 | -0.024281
3 | YES | 116.209 | 0.13333 | 0.002461 | 0.13333 | 0.048067 | -0.085264 |  | 2.7011 | 0.18706
3 | YES | 75.3461 | 0.085273 | 0.011988 | 0.085273 | 0.048595 | -0.036678 |  | 3.7185 | 0.10354
3 | YES | 50.3404 | 1.349 | 0.010442 | 0.017975 | 0.034707 | 0.016731 |  | 4.894 | -0.11396
3 | YES | 30.2622 | 2.1187 | 0.0024125 | -0.024281 | 0.026247 | 0.050528 |  | 1.3682 | -0.23777
3 | YES | 20.2431 | 2.7011 | 0.0016294 | 0.18706 | 0.019847 | -0.16721 |  | 2.5838 | 0.27479
3 | YES | 10.2881 | 3.7185 | 0.015858 | 0.10354 | 0.0086649 | -0.094872 |  | 2.856 | 0.16004
3 | YES | 1.2196 | 4.894 | 0.011588 | -0.11396 | -0.004254 | 0.1097 |  | 5.9265 | -0.20145
4 | YES | 60.4821 | 1.3682 | 0.001647 | -0.23777 | 0.034495 | 0.27226 |  | 0.1174 | 0.1174
4 | YES | 30.3966 | 2.5838 | 0.0064294 | 0.27479 | 0.021136 | -0.25365 |  | 0.095397 | -0.0056033
4 | YES | 20.2849 | 2.856 | 0.012651 | 0.16004 | 0.018144 | -0.1419 |  | 0.095149 | 0.017149
4 | NO | 10.3534 | 3.8811 | 0.04712 | 0.41307 | 0.0068787 | -0.40619 |  | 0.90601 | 0.060008
4 | YES | 1.6681 | 5.9265 | 0.046681 | -0.20145 | -0.015601 | 0.18584 |  | 1.0315 | 0.015554
5 | YES | 199.868 | 0.1174 | 0.011805 | 0.1174 | 0.048242 | -0.069163 |  | 1.2265 | 0.042454
5 | YES | 175.33 | 0.095397 | 0.0012006 | -0.0056033 | 0.048484 | 0.054087 |  | 1.5781 | 0.09114
5 | YES | 150.148 | 0.095149 | 0.0095827 | 0.017149 | 0.048486 | 0.031338 |  | 2.4602 | 0.093165
5 | YES | 125.362 | 0.90601 | 0.011285 | 0.060008 | 0.039575 | -0.020433 |  | 2.8595 | -0.026471
5 | YES | 100.221 | 1.0315 | 0.0083835 | 0.015554 | 0.038195 | 0.022642 |  | 3.4677 | 0.056661
5 | YES | 75.2414 | 1.2265 | 0.0083447 | 0.042454 | 0.036053 | -0.0064012 |  | 0.55221 | -0.22579
5 | YES | 50.2427 | 1.5781 | 0.0094695 | 0.09114 | 0.032188 | -0.058952 |  | 1.475 | 0.025017
5 | YES | 30.2387 | 2.4602 | 0.0081162 | 0.093165 | 0.022495 | -0.070671 |  | 1.4047 | 0.0026778
5 | YES | 20.3501 | 2.8595 | 0.013765 | -0.026471 | 0.018106 | 0.044576 |  | 1.1455 | 0.010463
5 | YES | 10.287 | 3.4677 | 0.010358 | 0.056661 | 0.011422 | -0.045239 |  | 1.6929 | 0.13291
5 | NO | 1.5257 | 6.7108 | 0.015993 | 1.6468 | -0.02422 | -1.671 |  | 2.6488 | 0.10679
6 | YES | 147.822 | 0.55221 | 0.0025492 | -0.22579 | 0.043463 | 0.26926 |  | 2.9999 | 0.048942
6 | YES | 125.14 | 1.475 | 0.001522 | 0.025017 | 0.033321 | 0.008305 |  | 3.5167 | 0.012727
6 | YES | 98.8646 | 1.4047 | 0.01612 | 0.0026778 | 0.034094 | 0.031417 |  | 1.5823 | -0.030711
6 | YES | 75.1222 | 1.1455 | 0.0096618 | 0.010463 | 0.036943 | 0.02648 |  | 1.3464 | 0.016438
6 | YES | 50.3266 | 1.6929 | 0.0017127 | 0.13291 | 0.030927 | -0.10198 |  | 1.5676 | 0.033645
6 | YES | 30.3237 | 2.6488 | 0.0046241 | 0.10679 | 0.020422 | -0.086371 |  | 2.6715 | 0.008471
6 | YES | 19.5541 | 2.9999 | 0.0035784 | 0.048942 | 0.016562 | -0.03238 |  | 2.9397 | 0.0037105
6 | YES | 10.1369 | 3.5167 | 0.0068093 | 0.012727 | 0.010883 | -0.0018445 |  | 3.1844 | -0.061645
6 | NO | 1.3208 | 5.8432 | 0.16147 | 0.9492 | -0.014685 | -0.96388 |  | 1.4726 | 0.082628
7 | YES | 110.367 | 1.5823 | 0.0023325 | -0.030711 | 0.032143 | 0.062853 |  | 1.4726 | 0.075628
7 | YES | 75.2017 | 1.3464 | 0.0036988 | 0.016438 | 0.034735 | 0.018297 |  | 1.6237 | 0.027669
7 | YES | 50.5409 | 1.5676 | 0.015003 | 0.033645 | 0.032304 | -0.0013411 |  | 2.7264 | 0.029455
7 | YES | 30.1589 | 2.6715 | 0.015653 | 0.008471 | 0.020172 | 0.011701 |  | 2.9372 | -0.016835
7 | YES | 20.1734 | 2.9397 | 0.0070124 | 0.0037105 | 0.017224 | 0.013514 |  | 3.3909 | -0.002099
7 | YES | 10.044 | 3.1844 | 0.014914 | -0.061645 | 0.014536 | 0.07618 |  | 1.5897 | -0.12026
7 | NO | 1.6051 | 6.3573 | 0.12159 | -0.32569 | -0.020335 | 0.30535 |  | 2.6911 | 0.10911
8 | YES | 75.3505 | 1.4726 | 0.01543 | 0.082628 | 0.033348 | -0.04928 |  | 3.0559 | 0.11393
8 | YES | 75.3505 | 1.4726 | 0.01543 | 0.075628 | 0.033348 | -0.04228 |  | 5.5352 | 0.082207
8 | YES | 50.3931 | 1.6237 | 0.0049622 | 0.027669 | 0.031688 | 0.0040184 |  | 1.7368 | -0.035157
8 | YES | 30.062 | 2.7264 | 0.01755 | 0.029455 | 0.019568 | -0.0098864 |  | 1.8229 | 0.028901
8 | YES | 20.2736 | 2.9372 | 0.0012672 | -0.016835 | 0.017252 | 0.034087 |  | 1.6451 | -0.033851
8 | YES | 10.4524 | 3.3909 | 0.0082314 | -0.002099 | 0.012266 | 0.014365 |  | 2.6523 | 0.036264
8 | NO | 1.5885 | 5.5512 | 0.080235 | 4.4522 | -0.011476 | -4.4637 |  | 2.9964 | 0.087413
9 | YES | 55.0083 | 1.5897 | 0.0031405 | -0.12026 | 0.032061 | 0.15232 |  | 3.2566 | -0.021413
9 | YES | 30.2354 | 2.6911 | 0.0047676 | 0.10911 | 0.019956 | -0.089151 |  | 1.8857 | 0.016719
9 | YES | 20.3217 | 3.0559 | 0.0025025 | 0.11393 | 0.015947 | -0.097987 |  | 1.8894 | 0.14839
9 | NO | 9.7903 | 3.5166 | 0.002093 | -0.32043 | 0.010885 | 0.33131 |  | 2.7138 | 0.01681
9 | YES | 1.5621 | 5.5352 | 0.021656 | 0.082207 | -0.0113 | -0.093507 |  | 3.1448 | 0.096777
10 | YES | 89.9461 | 1.7368 | 0.002029 | -0.035157 | 0.030444 | 0.065601 |  | 3.5795 | 0.13351
10 | YES | 75.0055 | 1.8229 | 0.0024372 | 0.028901 | 0.029498 | 0.00059751 |  | 2.049 | 0.022016
10 | YES | 59.7064 | 1.6451 | 0.0021317 | -0.033851 | 0.031452 | 0.065303 |  | 1.9441 | 0.035116
10 | YES | 30.3561 | 2.6523 | 0.0030761 | 0.036264 | 0.020383 | -0.015881 |  | 2.1948 | 0.02276
10 | YES | 20.1072 | 2.9964 | 0.0073413 | 0.087413 | 0.016601 | -0.070812 |  | 2.6967 | 0.0027189
10 | YES | 10.2078 | 3.2566 | 0.0022791 | -0.021413 | 0.013742 | 0.035155 |  | 3.2019 | -5.7697e-05
10 | NO | 1.5194 | 6.0752 | 0.080069 | 1.6172 | -0.017235 | -1.6344 |  | 3.8687 | 0.0076695
11 | YES | 79.594 | 1.8857 | 0.0085432 | 0.016719 | 0.028808 | 0.012089 |  | 3.1185 | -0.037471
11 | YES | 50.3514 | 1.8894 | 0.010805 | 0.14839 | 0.028767 | -0.11962 |  | 3.5228 | -0.0031984
11 | YES | 30.4602 | 2.7138 | 0.0064657 | 0.01681 | 0.019707 | 0.0028971 |  | 3.7118 | -0.039234
11 | YES | 20.2401 | 3.1448 | 0.009489 | 0.096777 | 0.014971 | -0.081806 |  | 3.7118 | 0.017766
11 | YES | 8.8298 | 3.5795 | 0.0065576 | 0.13351 | 0.010193 | -0.12332 |  | 4.0037 | 0.042678
11 | NO | 1.7706 | 5.4573 | 0.013142 | 0.55827 | -0.010444 | -0.56872 |  | 4.0942 | -0.18078
12 | YES | 84.695 | 2.049 | 0.011108 | 0.022016 | 0.027013 | 0.0049973 |  | 4.0942 | 0.037223
12 | YES | 74.8184 | 1.9441 | 0.0014035 | 0.035116 | 0.028166 | -0.0069497 |  | 4.1038 | 0.054835
12 | YES | 49.6941 | 2.1948 | 0.0033913 | 0.02276 | 0.025411 | 0.002651 |  | 1.1546 | -0.01243
12 | YES | 30.7608 | 2.6967 | 0.00098507 | 0.0027189 | 0.019895 | 0.017176 |  | 1.1546 | 0.18157
12 | YES | 20.2819 | 3.2019 | 0.0052477 | -5.7697e-05 | 0.014342 | 0.0144 |  | 1.157 | -0.11298
12 | YES | 10.2597 | 3.8687 | 0.015468 | 0.0076695 | 0.007015 | -0.00065448 |  | 1.2714 | 0.0063636
12 | NO | 1.9351 | 6.5604 | 0.055721 | 1.0554 | -0.022567 | -1.078 |  | 1.8451 | 0.0011405
13 | YES | 51.1557 | 3.1185 | 0.0041934 | -0.037471 | 0.015259 | 0.05273 |  | 2.6572 | 0.050165
13 | YES | 30.1032 | 3.5228 | 0.025062 | -0.0031984 | 0.010816 | 0.014015 |  | 3.4893 | -0.024661
13 | YES | 19.9449 | 3.7118 | 0.0037172 | -0.039234 | 0.0087393 | 0.047974 |  | 4.2455 | -0.095463
13 | YES | 19.9449 | 3.7118 | 0.0037172 | 0.017766 | 0.0087393 | -0.0090265 |  | 4.2455 | -0.21546
13 | YES | 10.5608 | 4.0037 | 0.0050402 | 0.042678 | 0.0055312 | -0.037147 |  | 5.6105 | 0.0074959
13 | YES | 5.1012 | 4.0942 | 0.0077711 | -0.18078 | 0.0045362 | 0.18531 |  | 5.7224 | -0.014629
13 | YES | 5.1012 | 4.0942 | 0.0077711 | 0.037223 | 0.0045362 | -0.032687 |  | 5.7224 | 0.051371
13 | YES | 1.7164 | 4.1038 | 0.0014568 | 0.054835 | 0.0044305 | -0.050404 |  | 5.7393 | 0.02428
14 | YES | 145.089 | 1.1546 | 0.001344 | -0.01243 | 0.036843 | 0.049273 |  | 2.8518 | 0.00681
14 | YES | 145.089 | 1.1546 | 0.001344 | 0.18157 | 0.036843 | -0.14473 |  | 2.7874 | -0.0076199
14 | YES | 127.72 | 1.157 | 0.0073587 | -0.11298 | 0.036816 | 0.1498 |  | 2.8701 | 0.01514
14 | YES | 100.978 | 1.2714 | 0.002429 | 0.0063636 | 0.03556 | 0.029196 |  | 2.8927 | 0.012669
14 | YES | 75.2062 | 1.8451 | 0.013666 | 0.0011405 | 0.029254 | 0.028113 |  | 2.9252 | 0.020157
14 | YES | 50.5815 | 2.6572 | 0.0043938 | 0.050165 | 0.020329 | -0.029836 |  | 2.9494 | 0.025355
14 | YES | 31.4194 | 3.4893 | 0.01429 | -0.024661 | 0.011184 | 0.035845 |  | 3.0058 | 0.017827
14 | YES | 21.4629 | 4.2455 | 0.02256 | -0.095463 | 0.0028731 | 0.098336 |  | 3.2307 | 0.025728
14 | YES | 21.4629 | 4.2455 | 0.02256 | -0.21546 | 0.0028731 | 0.21834 |  | 3.3914 | 0.018438
14 | YES | 10.0061 | 5.6105 | 0.008448 | 0.0074959 | -0.012128 | -0.019624 |  | 3.3799 | -0.010091
14 | YES | 5.3731 | 5.7224 | 0.0030321 | -0.014629 | -0.013357 | 0.001272 |  | 4.5193 | 0.09133
14 | YES | 5.3731 | 5.7224 | 0.0030321 | 0.051371 | -0.013357 | -0.064728 |  | 4.6666 | -0.23838
14 | YES | 1.9541 | 5.7393 | 0.0025568 | 0.02428 | -0.013543 | -0.037824 |  | 4.8682 | -0.023818
15 | YES | 265.495 | 2.8518 | 0.0012269 | 0.00681 | 0.01819 | 0.01138 |  | 4.9395 | -0.02352
15 | YES | 251.382 | 2.7874 | 0.0019717 | -0.0076199 | 0.018898 | 0.026518
15 | YES | 201.085 | 2.8701 | 0.0014624 | 0.01514 | 0.017989 | 0.0028484
15 | YES | 176.133 | 2.8927 | 0.0012206 | 0.012669 | 0.017741 | 0.0050722
15 | YES | 151.429 | 2.9252 | 0.00098329 | 0.020157 | 0.017384 | -0.0027728
15 | YES | 126.254 | 2.9494 | 0.0025061 | 0.025355 | 0.017118 | -0.008237
15 | YES | 101.017 | 3.0058 | 0.00091903 | 0.017827 | 0.016498 | -0.0013289
15 | YES | 76.2667 | 3.2307 | 0.0015438 | 0.025728 | 0.014026 | -0.011701
15 | YES | 41.3229 | 3.3914 | 0.0024388 | 0.018438 | 0.01226 | -0.0061783
15 | YES | 31.2563 | 3.3799 | 0.0017888 | -0.010091 | 0.012386 | 0.022478
15 | NO | 21.3158 | 4.1675 | 0.0081329 | 0.43652 | 0.0037306 | -0.43279
15 | YES | 16.2293 | 4.5193 | 0.0038326 | 0.09133 | -0.00013586 | -0.091466
15 | YES | 11.3088 | 4.6666 | 0.011531 | -0.23838 | -0.0017546 | 0.23663
15 | YES | 6.143 | 4.8682 | 0.0054018 | -0.023818 | -0.0039698 | 0.019849
15 | YES | 1.5742 | 4.9395 | 0.0020293 | -0.02352 | -0.0047534 | 0.018767
YES
YES
NO
YES
YES
NO
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 5.0422e-05 |  | X | CALC Y
m= | -1.1192e-05 | 0.00015683 |  | Std Dev of Resid |  | 0.089372 |  | 1.2196 | 0.020759
b= | 0.020773 | 0.012497 |  | Resid Sum of Squares |  | 0.80672 |  | 265.495 | 0.017801
# of Values Extracted = |  |  | 117
# of Values Used in Fit = |  |  | 103
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 30.8405 | 1.0342 | 0.0098987 | 0.067182 | 0.020428 | -0.046754 |  | 30.8405 | 0.067182
1 | YES | 21.1031 | 0.82928 | 0.0040067 | 0.025281 | 0.020537 | -0.0047444 |  | 21.1031 | 0.025281
1 | NO | 10.0574 | 2.0923 | 0.13647 | 0.4073 | 0.02066 | -0.38664 |  | 1.5249 | 0.22963
1 | YES | 1.5249 | 4.3866 | 0.056806 | 0.22963 | 0.020756 | -0.20887 |  | 65.8139 | 0.15627
2 | YES | 65.8139 | 0.69927 | 0.010037 | 0.15627 | 0.020036 | -0.13624 |  | 29.9469 | 0.084967
2 | NO | 51.2239 | 0.80636 | 0.034438 | 0.35535 | 0.0202 | -0.33516 |  | 10.3217 | -0.033182
2 | YES | 29.9469 | 1.885 | 0.0092718 | 0.084967 | 0.020438 | -0.064529 |  | 116.209 | 0.13333
2 | NO | 20.2969 | 2.2444 | 0.0071201 | 0.31042 | 0.020546 | -0.28988 |  | 75.3461 | 0.085273
2 | YES | 10.3217 | 2.9028 | 0.0266 | -0.033182 | 0.020657 | 0.053839 |  | 50.3404 | 0.017975
2 | NO | 1.5882 | 5.1086 | 0.085236 | 0.5406 | 0.020755 | -0.51984 |  | 30.2622 | -0.024281
3 | YES | 116.209 | 0.13333 | 0.002461 | 0.13333 | 0.019472 | -0.11386 |  | 20.2431 | 0.18706
3 | YES | 75.3461 | 0.085273 | 0.011988 | 0.085273 | 0.01993 | -0.065343 |  | 10.2881 | 0.10354
3 | YES | 50.3404 | 1.349 | 0.010442 | 0.017975 | 0.020209 | 0.0022342 |  | 1.2196 | -0.11396
3 | YES | 30.2622 | 2.1187 | 0.0024125 | -0.024281 | 0.020434 | 0.044715 |  | 60.4821 | -0.23777
3 | YES | 20.2431 | 2.7011 | 0.0016294 | 0.18706 | 0.020546 | -0.16651 |  | 30.3966 | 0.27479
3 | YES | 10.2881 | 3.7185 | 0.015858 | 0.10354 | 0.020658 | -0.082879 |  | 20.2849 | 0.16004
3 | YES | 1.2196 | 4.894 | 0.011588 | -0.11396 | 0.020759 | 0.13472 |  | 1.6681 | -0.20145
4 | YES | 60.4821 | 1.3682 | 0.001647 | -0.23777 | 0.020096 | 0.25786 |  | 199.868 | 0.1174
4 | YES | 30.3966 | 2.5838 | 0.0064294 | 0.27479 | 0.020433 | -0.25435 |  | 175.33 | -0.0056033
4 | YES | 20.2849 | 2.856 | 0.012651 | 0.16004 | 0.020546 | -0.1395 |  | 150.148 | 0.017149
4 | NO | 10.3534 | 3.8811 | 0.04712 | 0.41307 | 0.020657 | -0.39241 |  | 125.362 | 0.060008
4 | YES | 1.6681 | 5.9265 | 0.046681 | -0.20145 | 0.020754 | 0.2222 |  | 100.221 | 0.015554
5 | YES | 199.868 | 0.1174 | 0.011805 | 0.1174 | 0.018536 | -0.098869 |  | 75.2414 | 0.042454
5 | YES | 175.33 | 0.095397 | 0.0012006 | -0.0056033 | 0.018811 | 0.024414 |  | 50.2427 | 0.09114
5 | YES | 150.148 | 0.095149 | 0.0095827 | 0.017149 | 0.019092 | 0.0019436 |  | 30.2387 | 0.093165
5 | YES | 125.362 | 0.90601 | 0.011285 | 0.060008 | 0.01937 | -0.040638 |  | 20.3501 | -0.026471
5 | YES | 100.221 | 1.0315 | 0.0083835 | 0.015554 | 0.019651 | 0.0040975 |  | 10.287 | 0.056661
5 | YES | 75.2414 | 1.2265 | 0.0083447 | 0.042454 | 0.019931 | -0.022524 |  | 147.822 | -0.22579
5 | YES | 50.2427 | 1.5781 | 0.0094695 | 0.09114 | 0.020211 | -0.07093 |  | 125.14 | 0.025017
5 | YES | 30.2387 | 2.4602 | 0.0081162 | 0.093165 | 0.020434 | -0.072731 |  | 98.8646 | 0.0026778
5 | YES | 20.3501 | 2.8595 | 0.013765 | -0.026471 | 0.020545 | 0.047016 |  | 75.1222 | 0.010463
5 | YES | 10.287 | 3.4677 | 0.010358 | 0.056661 | 0.020658 | -0.036003 |  | 50.3266 | 0.13291
5 | NO | 1.5257 | 6.7108 | 0.015993 | 1.6468 | 0.020756 | -1.626 |  | 30.3237 | 0.10679
6 | YES | 147.822 | 0.55221 | 0.0025492 | -0.22579 | 0.019118 | 0.24491 |  | 19.5541 | 0.048942
6 | YES | 125.14 | 1.475 | 0.001522 | 0.025017 | 0.019372 | -0.0056442 |  | 10.1369 | 0.012727
6 | YES | 98.8646 | 1.4047 | 0.01612 | 0.0026778 | 0.019666 | 0.016989 |  | 110.367 | -0.030711
6 | YES | 75.1222 | 1.1455 | 0.0096618 | 0.010463 | 0.019932 | 0.0094692 |  | 75.2017 | 0.016438
6 | YES | 50.3266 | 1.6929 | 0.0017127 | 0.13291 | 0.02021 | -0.1127 |  | 50.5409 | 0.033645
6 | YES | 30.3237 | 2.6488 | 0.0046241 | 0.10679 | 0.020433 | -0.08636 |  | 30.1589 | 0.008471
6 | YES | 19.5541 | 2.9999 | 0.0035784 | 0.048942 | 0.020554 | -0.028388 |  | 20.1734 | 0.0037105
6 | YES | 10.1369 | 3.5167 | 0.0068093 | 0.012727 | 0.020659 | 0.0079321 |  | 10.044 | -0.061645
6 | NO | 1.3208 | 5.8432 | 0.16147 | 0.9492 | 0.020758 | -0.92844 |  | 75.3505 | 0.082628
7 | YES | 110.367 | 1.5823 | 0.0023325 | -0.030711 | 0.019538 | 0.050248 |  | 75.3505 | 0.075628
7 | YES | 75.2017 | 1.3464 | 0.0036988 | 0.016438 | 0.019931 | 0.0034933 |  | 50.3931 | 0.027669
7 | YES | 50.5409 | 1.5676 | 0.015003 | 0.033645 | 0.020207 | -0.013437 |  | 30.062 | 0.029455
7 | YES | 30.1589 | 2.6715 | 0.015653 | 0.008471 | 0.020435 | 0.011964 |  | 20.2736 | -0.016835
7 | YES | 20.1734 | 2.9397 | 0.0070124 | 0.0037105 | 0.020547 | 0.016837 |  | 10.4524 | -0.002099
7 | YES | 10.044 | 3.1844 | 0.014914 | -0.061645 | 0.02066 | 0.082305 |  | 55.0083 | -0.12026
7 | NO | 1.6051 | 6.3573 | 0.12159 | -0.32569 | 0.020755 | 0.34644 |  | 30.2354 | 0.10911
8 | YES | 75.3505 | 1.4726 | 0.01543 | 0.082628 | 0.01993 | -0.062699 |  | 20.3217 | 0.11393
8 | YES | 75.3505 | 1.4726 | 0.01543 | 0.075628 | 0.01993 | -0.055699 |  | 1.5621 | 0.082207
8 | YES | 50.3931 | 1.6237 | 0.0049622 | 0.027669 | 0.020209 | -0.0074606 |  | 89.9461 | -0.035157
8 | YES | 30.062 | 2.7264 | 0.01755 | 0.029455 | 0.020436 | -0.0090181 |  | 75.0055 | 0.028901
8 | YES | 20.2736 | 2.9372 | 0.0012672 | -0.016835 | 0.020546 | 0.037381 |  | 59.7064 | -0.033851
8 | YES | 10.4524 | 3.3909 | 0.0082314 | -0.002099 | 0.020656 | 0.022755 |  | 30.3561 | 0.036264
8 | NO | 1.5885 | 5.5512 | 0.080235 | 4.4522 | 0.020755 | -4.4315 |  | 20.1072 | 0.087413
9 | YES | 55.0083 | 1.5897 | 0.0031405 | -0.12026 | 0.020157 | 0.14042 |  | 10.2078 | -0.021413
9 | YES | 30.2354 | 2.6911 | 0.0047676 | 0.10911 | 0.020434 | -0.088673 |  | 79.594 | 0.016719
9 | YES | 20.3217 | 3.0559 | 0.0025025 | 0.11393 | 0.020545 | -0.093389 |  | 50.3514 | 0.14839
9 | NO | 9.7903 | 3.5166 | 0.002093 | -0.32043 | 0.020663 | 0.34109 |  | 30.4602 | 0.01681
9 | YES | 1.5621 | 5.5352 | 0.021656 | 0.082207 | 0.020755 | -0.061451 |  | 20.2401 | 0.096777
10 | YES | 89.9461 | 1.7368 | 0.002029 | -0.035157 | 0.019766 | 0.054923 |  | 8.8298 | 0.13351
10 | YES | 75.0055 | 1.8229 | 0.0024372 | 0.028901 | 0.019933 | -0.0089673 |  | 84.695 | 0.022016
10 | YES | 59.7064 | 1.6451 | 0.0021317 | -0.033851 | 0.020105 | 0.053956 |  | 74.8184 | 0.035116
10 | YES | 30.3561 | 2.6523 | 0.0030761 | 0.036264 | 0.020433 | -0.015831 |  | 49.6941 | 0.02276
10 | YES | 20.1072 | 2.9964 | 0.0073413 | 0.087413 | 0.020548 | -0.066866 |  | 30.7608 | 0.0027189
10 | YES | 10.2078 | 3.2566 | 0.0022791 | -0.021413 | 0.020659 | 0.042072 |  | 20.2819 | -5.7697e-05
10 | NO | 1.5194 | 6.0752 | 0.080069 | 1.6172 | 0.020756 | -1.5964 |  | 10.2597 | 0.0076695
11 | YES | 79.594 | 1.8857 | 0.0085432 | 0.016719 | 0.019882 | 0.0031629 |  | 51.1557 | -0.037471
11 | YES | 50.3514 | 1.8894 | 0.010805 | 0.14839 | 0.020209 | -0.12818 |  | 30.1032 | -0.0031984
11 | YES | 30.4602 | 2.7138 | 0.0064657 | 0.01681 | 0.020432 | 0.003622 |  | 19.9449 | -0.039234
11 | YES | 20.2401 | 3.1448 | 0.009489 | 0.096777 | 0.020546 | -0.07623 |  | 19.9449 | 0.017766
11 | YES | 8.8298 | 3.5795 | 0.0065576 | 0.13351 | 0.020674 | -0.11284 |  | 10.5608 | 0.042678
11 | NO | 1.7706 | 5.4573 | 0.013142 | 0.55827 | 0.020753 | -0.53752 |  | 5.1012 | -0.18078
12 | YES | 84.695 | 2.049 | 0.011108 | 0.022016 | 0.019825 | -0.0021909 |  | 5.1012 | 0.037223
12 | YES | 74.8184 | 1.9441 | 0.0014035 | 0.035116 | 0.019935 | -0.01518 |  | 1.7164 | 0.054835
12 | YES | 49.6941 | 2.1948 | 0.0033913 | 0.02276 | 0.020217 | -0.0025438 |  | 145.089 | -0.01243
12 | YES | 30.7608 | 2.6967 | 0.00098507 | 0.0027189 | 0.020429 | 0.01771 |  | 145.089 | 0.18157
12 | YES | 20.2819 | 3.2019 | 0.0052477 | -5.7697e-05 | 0.020546 | 0.020604 |  | 127.72 | -0.11298
12 | YES | 10.2597 | 3.8687 | 0.015468 | 0.0076695 | 0.020658 | 0.012989 |  | 100.978 | 0.0063636
12 | NO | 1.9351 | 6.5604 | 0.055721 | 1.0554 | 0.020751 | -1.0346 |  | 75.2062 | 0.0011405
13 | YES | 51.1557 | 3.1185 | 0.0041934 | -0.037471 | 0.0202 | 0.057671 |  | 50.5815 | 0.050165
13 | YES | 30.1032 | 3.5228 | 0.025062 | -0.0031984 | 0.020436 | 0.023634 |  | 31.4194 | -0.024661
13 | YES | 19.9449 | 3.7118 | 0.0037172 | -0.039234 | 0.02055 | 0.059784 |  | 21.4629 | -0.095463
13 | YES | 19.9449 | 3.7118 | 0.0037172 | 0.017766 | 0.02055 | 0.0027838 |  | 21.4629 | -0.21546
13 | YES | 10.5608 | 4.0037 | 0.0050402 | 0.042678 | 0.020655 | -0.022023 |  | 10.0061 | 0.0074959
13 | YES | 5.1012 | 4.0942 | 0.0077711 | -0.18078 | 0.020716 | 0.20149 |  | 5.3731 | -0.014629
13 | YES | 5.1012 | 4.0942 | 0.0077711 | 0.037223 | 0.020716 | -0.016507 |  | 5.3731 | 0.051371
13 | YES | 1.7164 | 4.1038 | 0.0014568 | 0.054835 | 0.020754 | -0.034081 |  | 1.9541 | 0.02428
14 | YES | 145.089 | 1.1546 | 0.001344 | -0.01243 | 0.019149 | 0.031579 |  | 265.495 | 0.00681
14 | YES | 145.089 | 1.1546 | 0.001344 | 0.18157 | 0.019149 | -0.16242 |  | 251.382 | -0.0076199
14 | YES | 127.72 | 1.157 | 0.0073587 | -0.11298 | 0.019343 | 0.13233 |  | 201.085 | 0.01514
14 | YES | 100.978 | 1.2714 | 0.002429 | 0.0063636 | 0.019643 | 0.013279 |  | 176.133 | 0.012669
14 | YES | 75.2062 | 1.8451 | 0.013666 | 0.0011405 | 0.019931 | 0.018791 |  | 151.429 | 0.020157
14 | YES | 50.5815 | 2.6572 | 0.0043938 | 0.050165 | 0.020207 | -0.029958 |  | 126.254 | 0.025355
14 | YES | 31.4194 | 3.4893 | 0.01429 | -0.024661 | 0.020421 | 0.045082 |  | 101.017 | 0.017827
14 | YES | 21.4629 | 4.2455 | 0.02256 | -0.095463 | 0.020533 | 0.116 |  | 76.2667 | 0.025728
14 | YES | 21.4629 | 4.2455 | 0.02256 | -0.21546 | 0.020533 | 0.236 |  | 41.3229 | 0.018438
14 | YES | 10.0061 | 5.6105 | 0.008448 | 0.0074959 | 0.020661 | 0.013165 |  | 31.2563 | -0.010091
14 | YES | 5.3731 | 5.7224 | 0.0030321 | -0.014629 | 0.020713 | 0.035342 |  | 16.2293 | 0.09133
14 | YES | 5.3731 | 5.7224 | 0.0030321 | 0.051371 | 0.020713 | -0.030658 |  | 11.3088 | -0.23838
14 | YES | 1.9541 | 5.7393 | 0.0025568 | 0.02428 | 0.020751 | -0.0035296 |  | 6.143 | -0.023818
15 | YES | 265.495 | 2.8518 | 0.0012269 | 0.00681 | 0.017801 | 0.010992 |  | 1.5742 | -0.02352
15 | YES | 251.382 | 2.7874 | 0.0019717 | -0.0076199 | 0.017959 | 0.025579
15 | YES | 201.085 | 2.8701 | 0.0014624 | 0.01514 | 0.018522 | 0.0033818
15 | YES | 176.133 | 2.8927 | 0.0012206 | 0.012669 | 0.018802 | 0.0061325
15 | YES | 151.429 | 2.9252 | 0.00098329 | 0.020157 | 0.019078 | -0.001079
15 | YES | 126.254 | 2.9494 | 0.0025061 | 0.025355 | 0.01936 | -0.0059955
15 | YES | 101.017 | 3.0058 | 0.00091903 | 0.017827 | 0.019642 | 0.0018157
15 | YES | 76.2667 | 3.2307 | 0.0015438 | 0.025728 | 0.019919 | -0.0058082
15 | YES | 41.3229 | 3.3914 | 0.0024388 | 0.018438 | 0.02031 | 0.0018722
15 | YES | 31.2563 | 3.3799 | 0.0017888 | -0.010091 | 0.020423 | 0.030514
15 | NO | 21.3158 | 4.1675 | 0.0081329 | 0.43652 | 0.020534 | -0.41598
15 | YES | 16.2293 | 4.5193 | 0.0038326 | 0.09133 | 0.020591 | -0.070739
15 | YES | 11.3088 | 4.6666 | 0.011531 | -0.23838 | 0.020646 | 0.25903
15 | YES | 6.143 | 4.8682 | 0.0054018 | -0.023818 | 0.020704 | 0.044523
15 | YES | 1.5742 | 4.9395 | 0.0020293 | -0.02352 | 0.020755 | 0.044276
YES
YES
NO
YES
YES
NO
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2003-33-0033 | 2003-33-0033 | 121 | 30.841 | 30.8405 | 0.022579 | -0.00048637 | 0.967 | 1.0342 | 0.0098987 | 0.067182
2003-33-0033 | 2003-33-0033 | 121 | 21.103 | 21.1031 | 0.028199 | 0.00014877 | 0.804 | 0.82928 | 0.0040067 | 0.025281
2003-33-0033 | 2003-33-0033 | 121 | 10.057 | 10.0574 | 0.022816 | 0.00040436 | 1.685 | 2.0923 | 0.13647 | 0.4073
2003-33-0033 | 2003-33-0033 | 121 | 1.525 | 1.5249 | 0.023072 | -0.00012398 | 4.157 | 4.3866 | 0.056806 | 0.22963
2003-33-0034 | 2003-33-0034 | 121 | 65.814 | 65.8139 | 0.022767 | -7.6294e-05 | 0.543 | 0.69927 | 0.010037 | 0.15627
2003-33-0034 | 2003-33-0034 | 121 | 51.224 | 51.2239 | 0.026917 | -4.9591e-05 | 0.451 | 0.80636 | 0.034438 | 0.35535
2003-33-0034 | 2003-33-0034 | 121 | 29.947 | 29.9469 | 0.020787 | -5.9128e-05 | 1.8 | 1.885 | 0.0092718 | 0.084967
2003-33-0034 | 2003-33-0034 | 121 | 20.297 | 20.2969 | 0.023683 | -5.1498e-05 | 1.934 | 2.2444 | 0.0071201 | 0.31042
2003-33-0034 | 2003-33-0034 | 121 | 10.322 | 10.3217 | 0.022419 | -0.00029755 | 2.936 | 2.9028 | 0.0266 | -0.033182
2003-33-0034 | 2003-33-0034 | 121 | 1.588 | 1.5882 | 0.024931 | 0.00023127 | 4.568 | 5.1086 | 0.085236 | 0.5406
2003-33-0035 | 2003-33-0035 | 121 | 116.209 | 116.209 | 0.02065 | -0.00030518 | 0 | 0.13333 | 0.002461 | 0.13333
2003-33-0035 | 2003-33-0035 | 121 | 75.346 | 75.3461 | 0.025034 | 9.1553e-05 | 0 | 0.085273 | 0.011988 | 0.085273
2003-33-0035 | 2003-33-0035 | 121 | 50.34 | 50.3404 | 0.028333 | 0.00040436 | 1.331 | 1.349 | 0.010442 | 0.017975
2003-33-0035 | 2003-33-0035 | 121 | 30.262 | 30.2622 | 0.021224 | 0.00024033 | 2.143 | 2.1187 | 0.0024125 | -0.024281
2003-33-0035 | 2003-33-0035 | 121 | 20.243 | 20.2431 | 0.025161 | 0.00010681 | 2.514 | 2.7011 | 0.0016294 | 0.18706
2003-33-0035 | 2003-33-0035 | 121 | 10.288 | 10.2881 | 0.025028 | 0.00014877 | 3.615 | 3.7185 | 0.015858 | 0.10354
2003-33-0035 | 2003-33-0035 | 121 | 1.22 | 1.2196 | 0.024101 | -0.0004133 | 5.008 | 4.894 | 0.011588 | -0.11396
2003-33-0036 | 2003-33-0036 | 121 | 60.482 | 60.4821 | 0.025807 | 0.00014114 | 1.606 | 1.3682 | 0.001647 | -0.23777
2003-33-0036 | 2003-33-0036 | 121 | 30.397 | 30.3966 | 0.022018 | -0.00037956 | 2.309 | 2.5838 | 0.0064294 | 0.27479
2003-33-0036 | 2003-33-0036 | 121 | 20.285 | 20.2849 | 0.020735 | -0.00013924 | 2.696 | 2.856 | 0.012651 | 0.16004
2003-33-0036 | 2003-33-0036 | 121 | 10.353 | 10.3534 | 0.029256 | 0.0003891 | 3.468 | 3.8811 | 0.04712 | 0.41307
2003-33-0036 | 2003-33-0036 | 121 | 1.668 | 1.6681 | 0.01638 | 0.0001322 | 6.128 | 5.9265 | 0.046681 | -0.20145
2003-33-0037 | 2003-33-0037 | 121 | 199.868 | 199.868 | 0.02169 | -7.6294e-05 | 0 | 0.1174 | 0.011805 | 0.1174
2003-33-0037 | 2003-33-0037 | 121 | 175.33 | 175.33 | 0.026604 | -0.00041199 | 0.101 | 0.095397 | 0.0012006 | -0.0056033
2003-33-0037 | 2003-33-0037 | 121 | 150.148 | 150.148 | 0.02191 | 0 | 0.078 | 0.095149 | 0.0095827 | 0.017149
2003-33-0037 | 2003-33-0037 | 121 | 125.362 | 125.362 | 0.023325 | 0 | 0.846 | 0.90601 | 0.011285 | 0.060008
2003-33-0037 | 2003-33-0037 | 121 | 100.221 | 100.221 | 0.021994 | -0.0004425 | 1.016 | 1.0315 | 0.0083835 | 0.015554
2003-33-0037 | 2003-33-0037 | 121 | 75.241 | 75.2414 | 0.02339 | 0.00036621 | 1.184 | 1.2265 | 0.0083447 | 0.042454
2003-33-0037 | 2003-33-0037 | 121 | 50.243 | 50.2427 | 0.021274 | -0.00034714 | 1.487 | 1.5781 | 0.0094695 | 0.09114
2003-33-0037 | 2003-33-0037 | 121 | 30.239 | 30.2387 | 0.022672 | -0.00030518 | 2.367 | 2.4602 | 0.0081162 | 0.093165
2003-33-0037 | 2003-33-0037 | 121 | 20.35 | 20.3501 | 0.022901 | 0.00013924 | 2.886 | 2.8595 | 0.013765 | -0.026471
2003-33-0037 | 2003-33-0037 | 121 | 10.287 | 10.287 | 0.01749 | -3.2425e-05 | 3.411 | 3.4677 | 0.010358 | 0.056661
2003-33-0037 | 2003-33-0037 | 121 | 1.526 | 1.5257 | 0.025604 | -0.00030577 | 5.064 | 6.7108 | 0.015993 | 1.6468
2003-33-0038 | 2003-33-0038 | 121 | 147.822 | 147.822 | 0.028626 | -0.00016785 | 0.778 | 0.55221 | 0.0025492 | -0.22579
2003-33-0038 | 2003-33-0038 | 121 | 125.14 | 125.14 | 0.021208 | 0.00033569 | 1.45 | 1.475 | 0.001522 | 0.025017
2003-33-0038 | 2003-33-0038 | 121 | 98.865 | 98.8646 | 0.030464 | -0.0003891 | 1.402 | 1.4047 | 0.01612 | 0.0026778
2003-33-0038 | 2003-33-0038 | 121 | 75.122 | 75.1222 | 0.027791 | 0.00022125 | 1.135 | 1.1455 | 0.0096618 | 0.010463
2003-33-0038 | 2003-33-0038 | 121 | 50.327 | 50.3266 | 0.027365 | -0.00044632 | 1.56 | 1.6929 | 0.0017127 | 0.13291
2003-33-0038 | 2003-33-0038 | 121 | 30.324 | 30.3237 | 0.021953 | -0.00026512 | 2.542 | 2.6488 | 0.0046241 | 0.10679
2003-33-0038 | 2003-33-0038 | 121 | 19.554 | 19.5541 | 0.024532 | 6.485e-05 | 2.951 | 2.9999 | 0.0035784 | 0.048942
2003-33-0038 | 2003-33-0038 | 121 | 10.137 | 10.1369 | 0.027224 | -7.4387e-05 | 3.504 | 3.5167 | 0.0068093 | 0.012727
2003-33-0038 | 2003-33-0038 | 111 | 1.321 | 1.3208 | 0.022367 | -0.00023425 | 4.894 | 5.8432 | 0.16147 | 0.9492
2003-33-0039 | 2003-33-0039 | 121 | 110.367 | 110.367 | 0.022097 | 0.00033569 | 1.613 | 1.5823 | 0.0023325 | -0.030711
2003-33-0039 | 2003-33-0039 | 121 | 75.202 | 75.2017 | 0.022739 | -0.00034332 | 1.33 | 1.3464 | 0.0036988 | 0.016438
2003-33-0039 | 2003-33-0039 | 121 | 50.541 | 50.5409 | 0.022175 | -6.8665e-05 | 1.534 | 1.5676 | 0.015003 | 0.033645
2003-33-0039 | 2003-33-0039 | 121 | 30.159 | 30.1589 | 0.025121 | -8.3923e-05 | 2.663 | 2.6715 | 0.015653 | 0.008471
2003-33-0039 | 2003-33-0039 | 121 | 20.173 | 20.1734 | 0.024828 | 0.0003891 | 2.936 | 2.9397 | 0.0070124 | 0.0037105
2003-33-0039 | 2003-33-0039 | 121 | 10.044 | 10.044 | 0.024755 | 3.3379e-05 | 3.246 | 3.1844 | 0.014914 | -0.061645
2003-33-0039 | 2003-33-0039 | 121 | 1.605 | 1.6051 | 0.023749 | 9.0838e-05 | 6.683 | 6.3573 | 0.12159 | -0.32569
2003-33-0040 | 2003-33-0040 | 242 | 75.351 | 75.3505 | 0.027513 | -0.00046539 | 1.39 | 1.4726 | 0.01543 | 0.082628
2003-33-0040 | 2003-33-0040 | 242 | 75.35 | 75.3505 | 0.027513 | 0.00053406 | 1.397 | 1.4726 | 0.01543 | 0.075628
2003-33-0040 | 2003-33-0040 | 121 | 50.393 | 50.3931 | 0.027719 | 5.722e-05 | 1.596 | 1.6237 | 0.0049622 | 0.027669
2003-33-0040 | 2003-33-0040 | 121 | 30.062 | 30.062 | 0.023067 | 1.5259e-05 | 2.697 | 2.7264 | 0.01755 | 0.029455
2003-33-0040 | 2003-33-0040 | 121 | 20.274 | 20.2736 | 0.025005 | -0.00039673 | 2.954 | 2.9372 | 0.0012672 | -0.016835
2003-33-0040 | 2003-33-0040 | 121 | 10.452 | 10.4524 | 0.029407 | 0.00042152 | 3.393 | 3.3909 | 0.0082314 | -0.002099
2003-33-0040 | 2003-33-0040 | 121 | 1.588 | 1.5885 | 0.033043 | 0.000471 | 1.099 | 5.5512 | 0.080235 | 4.4522
2003-33-0041 | 2003-33-0041 | 121 | 55.008 | 55.0083 | 0.026213 | 0.00028992 | 1.71 | 1.5897 | 0.0031405 | -0.12026
2003-33-0041 | 2003-33-0041 | 121 | 30.235 | 30.2354 | 0.029529 | 0.00044441 | 2.582 | 2.6911 | 0.0047676 | 0.10911
2003-33-0041 | 2003-33-0041 | 121 | 20.322 | 20.3217 | 0.02683 | -0.00026512 | 2.942 | 3.0559 | 0.0025025 | 0.11393
2003-33-0041 | 2003-33-0041 | 121 | 9.79 | 9.7903 | 0.024003 | 0.00033092 | 3.837 | 3.5166 | 0.002093 | -0.32043
2003-33-0041 | 2003-33-0041 | 121 | 1.562 | 1.5621 | 0.028429 | 9.9182e-05 | 5.453 | 5.5352 | 0.021656 | 0.082207
2003-33-0042 | 2003-33-0042 | 121 | 89.946 | 89.9461 | 0.021424 | 0.00014496 | 1.772 | 1.7368 | 0.002029 | -0.035157
2003-33-0042 | 2003-33-0042 | 121 | 75.006 | 75.0055 | 0.030666 | -0.00049591 | 1.794 | 1.8229 | 0.0024372 | 0.028901
2003-33-0042 | 2003-33-0042 | 121 | 59.706 | 59.7064 | 0.036978 | 0.00040436 | 1.679 | 1.6451 | 0.0021317 | -0.033851
2003-33-0042 | 2003-33-0042 | 121 | 30.356 | 30.3561 | 0.031684 | 5.722e-05 | 2.616 | 2.6523 | 0.0030761 | 0.036264
2003-33-0042 | 2003-33-0042 | 121 | 20.107 | 20.1072 | 0.036385 | 0.00016594 | 2.909 | 2.9964 | 0.0073413 | 0.087413
2003-33-0042 | 2003-33-0042 | 121 | 10.208 | 10.2078 | 0.029424 | -0.00017357 | 3.278 | 3.2566 | 0.0022791 | -0.021413
2003-33-0042 | 2003-33-0042 | 121 | 1.519 | 1.5194 | 0.033008 | 0.00040495 | 4.458 | 6.0752 | 0.080069 | 1.6172
2003-33-0043 | 2003-33-0043 | 121 | 79.594 | 79.594 | 0.042282 | 1.5259e-05 | 1.869 | 1.8857 | 0.0085432 | 0.016719
2003-33-0043 | 2003-33-0043 | 121 | 50.351 | 50.3514 | 0.025716 | 0.00037766 | 1.741 | 1.8894 | 0.010805 | 0.14839
2003-33-0043 | 2003-33-0043 | 121 | 30.46 | 30.4602 | 0.058843 | 0.00016594 | 2.697 | 2.7138 | 0.0064657 | 0.01681
2003-33-0043 | 2003-33-0043 | 121 | 20.24 | 20.2401 | 0.077381 | 9.9182e-05 | 3.048 | 3.1448 | 0.009489 | 0.096777
2003-33-0043 | 2003-33-0043 | 121 | 8.83 | 8.8298 | 1.0472 | -0.00017357 | 3.446 | 3.5795 | 0.0065576 | 0.13351
2003-33-0043 | 2003-33-0043 | 121 | 1.771 | 1.7706 | 0.055512 | -0.00036371 | 4.899 | 5.4573 | 0.013142 | 0.55827
2003-33-0044 | 2003-33-0044 | 318 | 84.887 | 84.695 | 0.63735 | -0.19205 | 2.027 | 2.049 | 0.011108 | 0.022016
2003-33-0044 | 2003-33-0044 | 121 | 74.818 | 74.8184 | 0.22006 | 0.00041199 | 1.909 | 1.9441 | 0.0014035 | 0.035116
2003-33-0044 | 2003-33-0044 | 121 | 49.694 | 49.6941 | 0.10917 | 0.00010681 | 2.172 | 2.1948 | 0.0033913 | 0.02276
2003-33-0044 | 2003-33-0044 | 121 | 30.761 | 30.7608 | 0.035478 | -0.00016403 | 2.694 | 2.6967 | 0.00098507 | 0.0027189
2003-33-0044 | 2003-33-0044 | 121 | 20.282 | 20.2819 | 0.47064 | -7.4387e-05 | 3.202 | 3.2019 | 0.0052477 | -5.7697e-05
2003-33-0044 | 2003-33-0044 | 121 | 10.26 | 10.2597 | 0.22784 | -0.00029755 | 3.861 | 3.8687 | 0.015468 | 0.0076695
2003-33-0044 | 2003-33-0044 | 121 | 1.935 | 1.9351 | 0.16175 | 0.00013232 | 5.505 | 6.5604 | 0.055721 | 1.0554
2003-33-0045 | 2003-33-0045 | 121 | 51.156 | 51.1557 | 0.22697 | -0.00025559 | 3.156 | 3.1185 | 0.0041934 | -0.037471
2003-33-0045 | 2003-33-0045 | 121 | 30.103 | 30.1032 | 1.1325 | 0.0001812 | 3.526 | 3.5228 | 0.025062 | -0.0031984
2003-33-0045 | 2003-33-0045 | 205 | 20.035 | 19.9449 | 0.29457 | -0.090078 | 3.751 | 3.7118 | 0.0037172 | -0.039234
2003-33-0045 | 2003-33-0045 | 205 | 19.881 | 19.9449 | 0.29457 | 0.063921 | 3.694 | 3.7118 | 0.0037172 | 0.017766
2003-33-0045 | 2003-33-0045 | 121 | 10.561 | 10.5608 | 0.3859 | -0.00024796 | 3.961 | 4.0037 | 0.0050402 | 0.042678
2003-33-0045 | 2003-33-0045 | 242 | 5.051 | 5.1012 | 0.57078 | 0.05019 | 4.275 | 4.0942 | 0.0077711 | -0.18078
2003-33-0045 | 2003-33-0045 | 242 | 5.151 | 5.1012 | 0.57078 | -0.04981 | 4.057 | 4.0942 | 0.0077711 | 0.037223
2003-33-0045 | 2003-33-0045 | 121 | 1.716 | 1.7164 | 0.10203 | 0.0003885 | 4.049 | 4.1038 | 0.0014568 | 0.054835
2003-33-0048 | 2003-33-0048 | 242 | 145.064 | 145.089 | 0.42745 | 0.025009 | 1.167 | 1.1546 | 0.001344 | -0.01243
2003-33-0048 | 2003-33-0048 | 242 | 145.114 | 145.089 | 0.42745 | -0.024994 | 0.973 | 1.1546 | 0.001344 | 0.18157
2003-33-0048 | 2003-33-0048 | 121 | 127.72 | 127.72 | 0.5995 | -0.00035858 | 1.27 | 1.157 | 0.0073587 | -0.11298
2003-33-0048 | 2003-33-0048 | 121 | 100.978 | 100.978 | 0.71765 | 1.5259e-05 | 1.265 | 1.2714 | 0.002429 | 0.0063636
2003-33-0048 | 2003-33-0048 | 121 | 75.206 | 75.2062 | 0.68068 | 0.00022888 | 1.844 | 1.8451 | 0.013666 | 0.0011405
2003-33-0048 | 2003-33-0048 | 121 | 50.582 | 50.5815 | 0.15333 | -0.00049591 | 2.607 | 2.6572 | 0.0043938 | 0.050165
2003-33-0048 | 2003-33-0048 | 121 | 31.419 | 31.4194 | 0.56361 | 0.00043678 | 3.514 | 3.4893 | 0.01429 | -0.024661
2003-33-0048 | 2003-33-0048 | 214 | 21.572 | 21.4629 | 0.17792 | -0.10907 | 4.341 | 4.2455 | 0.02256 | -0.095463
2003-33-0048 | 2003-33-0048 | 214 | 21.378 | 21.4629 | 0.17792 | 0.08493 | 4.461 | 4.2455 | 0.02256 | -0.21546
2003-33-0048 | 2003-33-0048 | 121 | 10.006 | 10.0061 | 0.70127 | 8.297e-05 | 5.603 | 5.6105 | 0.008448 | 0.0074959
2003-33-0048 | 2003-33-0048 | 197 | 5.785 | 5.3731 | 0.58974 | -0.41186 | 5.737 | 5.7224 | 0.0030321 | -0.014629
2003-33-0048 | 2003-33-0048 | 197 | 5.109 | 5.3731 | 0.58974 | 0.26414 | 5.671 | 5.7224 | 0.0030321 | 0.051371
2003-33-0048 | 2003-33-0048 | 121 | 1.954 | 1.9541 | 0.26949 | 8.2612e-05 | 5.715 | 5.7393 | 0.0025568 | 0.02428
2003-33-0066 | 2003-33-0066 | 121 | 265.495 | 265.495 | 0.032092 | 0.00039673 | 2.845 | 2.8518 | 0.0012269 | 0.00681
2003-33-0066 | 2003-33-0066 | 121 | 251.382 | 251.382 | 0.027846 | -9.1553e-05 | 2.795 | 2.7874 | 0.0019717 | -0.0076199
2003-33-0066 | 2003-33-0066 | 121 | 201.085 | 201.085 | 0.020785 | -0.0004425 | 2.855 | 2.8701 | 0.0014624 | 0.01514
2003-33-0066 | 2003-33-0066 | 121 | 176.133 | 176.133 | 0.022971 | 6.1035e-05 | 2.88 | 2.8927 | 0.0012206 | 0.012669
2003-33-0066 | 2003-33-0066 | 121 | 151.429 | 151.429 | 0.022025 | 0.00048828 | 2.905 | 2.9252 | 0.00098329 | 0.020157
2003-33-0066 | 2003-33-0066 | 121 | 126.254 | 126.254 | 0.030696 | 0.00029755 | 2.924 | 2.9494 | 0.0025061 | 0.025355
2003-33-0066 | 2003-33-0066 | 121 | 101.017 | 101.017 | 0.023489 | -0.00025177 | 2.988 | 3.0058 | 0.00091903 | 0.017827
2003-33-0066 | 2003-33-0066 | 121 | 76.267 | 76.2667 | 0.028752 | -0.00030518 | 3.205 | 3.2307 | 0.0015438 | 0.025728
2003-33-0066 | 2003-33-0066 | 121 | 41.323 | 41.3229 | 0.026444 | -0.00011063 | 3.373 | 3.3914 | 0.0024388 | 0.018438
2003-33-0066 | 2003-33-0066 | 121 | 31.256 | 31.2563 | 0.027421 | 0.00029564 | 3.39 | 3.3799 | 0.0017888 | -0.010091
2003-33-0066 | 2003-33-0066 | 242 | 21.316 | 21.3158 | 0.030115 | -0.00021172 | 3.731 | 4.1675 | 0.0081329 | 0.43652
2003-33-0066 | 2003-33-0066 | 121 | 16.229 | 16.2293 | 0.02592 | 0.00032043 | 4.428 | 4.5193 | 0.0038326 | 0.09133
2003-33-0066 | 2003-33-0066 | 121 | 11.309 | 11.3088 | 0.025648 | -0.00015736 | 4.905 | 4.6666 | 0.011531 | -0.23838
2003-33-0066 | 2003-33-0066 | 242 | 6.101 | 6.143 | 0.053635 | 0.041984 | 4.892 | 4.8682 | 0.0054018 | -0.023818
2003-33-0066 | 2003-33-0066 | 121 | 1.574 | 1.5742 | 0.044371 | 0.00018179 | 4.963 | 4.9395 | 0.0020293 | -0.02352
Create Fit Sheet