## File List
Number of Files= |  | 15
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2003-33-0033 | 2003-33-0033 | 11 | 14 | 2003-33-0033 & 2003-33-0033
2 | 2003-33-0034 | 2003-33-0034 | 16 | 21 | 2003-33-0034 & 2003-33-0034
3 | 2003-33-0035 | 2003-33-0035 | 23 | 29 | 2003-33-0035 & 2003-33-0035
4 | 2003-33-0036 | 2003-33-0036 | 31 | 35 | 2003-33-0036 & 2003-33-0036
5 | 2003-33-0037 | 2003-33-0037 | 37 | 47 | 2003-33-0037 & 2003-33-0037
6 | 2003-33-0038 | 2003-33-0038 | 49 | 57 | 2003-33-0038 & 2003-33-0038
7 | 2003-33-0039 | 2003-33-0039 | 59 | 65 | 2003-33-0039 & 2003-33-0039
8 | 2003-33-0040 | 2003-33-0040 | 67 | 73 | 2003-33-0040 & 2003-33-0040
9 | 2003-33-0041 | 2003-33-0041 | 75 | 79 | 2003-33-0041 & 2003-33-0041
10 | 2003-33-0042 | 2003-33-0042 | 81 | 87 | 2003-33-0042 & 2003-33-0042
11 | 2003-33-0043 | 2003-33-0043 | 89 | 94 | 2003-33-0043 & 2003-33-0043
12 | 2003-33-0044 | 2003-33-0044 | 96 | 102 | 2003-33-0044 & 2003-33-0044
13 | 2003-33-0045 | 2003-33-0045 | 104 | 111 | 2003-33-0045 & 2003-33-0045
14 | 2003-33-0048 | 2003-33-0048 | 113 | 125 | 2003-33-0048 & 2003-33-0048
15 | 2003-33-0066 | 2003-33-0066 | 127 | 141 | 2003-33-0066 & 2003-33-0066

## (DOX_CTD - Dox_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - Dox_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - Dox_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.053562 |  | X | CALC Y
m= | -0.0008269 | 0.00037266 |  | Std Dev of Resid |  | 0.18292 |  | 5.337 | 0.21394
b= | 0.21836 | 0.027438 |  | Resid Sum of Squares |  | 2.9109 |  | 250.999 | 0.010805
# of Values Extracted = |  |  | 117
# of Values Used in Fit = |  |  | 89
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - Dox_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 29.9043 | 1.2007 | 0.022898 | 0.23367 | 0.19363 | -0.040039 |  | 29.9043 | 0.23367
1 | YES | 20.996 | 1.3245 | 0.043133 | 0.5205 | 0.20099 | -0.31951 |  | 20.996 | 0.5205
1 | YES | 11.0045 | 2.2135 | 0.24395 | 0.5285 | 0.20926 | -0.31924 |  | 11.0045 | 0.5285
1 | NO | 2.6045 | 4.1085 | 0.11384 | -0.0485 | 0.2162 | 0.2647 |  | 50.996 | 0.5765
2 | NO | 0 | 0 | 0 | -0.543 | 0.21836 | 0.76136 |  | 29.499 | 0.3635
2 | YES | 50.996 | 1.0275 | 0.070004 | 0.5765 | 0.17619 | -0.40031 |  | 21.008 | 0.464
2 | YES | 29.499 | 2.1635 | 0.014849 | 0.3635 | 0.19396 | -0.16954 |  | 10.998 | 0.1995
2 | YES | 21.008 | 2.398 | 0.069296 | 0.464 | 0.20098 | -0.26302 |  | 76.009 | 0.349
2 | YES | 10.998 | 3.1355 | 0.14213 | 0.1995 | 0.20926 | 0.0097613 |  | 51.008 | 0.2475
2 | NO | 2.638 | 4.135 | 0.11879 | -0.433 | 0.21617 | 0.64917 |  | 30.333 | 0.339
3 | NO | 0 | 0 | 0 | 0 | 0.21836 | 0.21836 |  | 21.0065 | 0.3795
3 | YES | 76.009 | 0.349 | 0.014142 | 0.349 | 0.1555 | -0.1935 |  | 10.992 | 0.1515
3 | YES | 51.008 | 1.5785 | 0.084146 | 0.2475 | 0.17618 | -0.071323 |  | 30.3213 | 0.35467
3 | YES | 30.333 | 2.482 | 0.021656 | 0.339 | 0.19327 | -0.14573 |  | 21 | 0.35
3 | YES | 21.0065 | 2.8935 | 0.10819 | 0.3795 | 0.20099 | -0.17851 |  | 10.9975 | 0.1065
3 | YES | 10.992 | 3.7665 | 0.17466 | 0.1515 | 0.20927 | 0.057766 |  | 198.879 | 0.1375
3 | NO | 2.509 | 6.2715 | 0.34436 | 1.2635 | 0.21628 | -1.0472 |  | 176.005 | 0.056
4 | NO | 0 | 0 | 0 | -1.606 | 0.21836 | 1.8244 |  | 151.003 | 0.1825
4 | YES | 30.3213 | 2.6637 | 0.06282 | 0.35467 | 0.19328 | -0.16138 |  | 126.002 | 0.0845
4 | YES | 21 | 3.046 | 0.084853 | 0.35 | 0.20099 | -0.14901 |  | 100.996 | 0.0535
4 | YES | 10.9975 | 3.5745 | 0.11526 | 0.1065 | 0.20926 | 0.10276 |  | 76.0045 | 0.178
4 | NO | 1.9955 | 5.3 | 0.19658 | -0.828 | 0.21671 | 1.0447 |  | 51.0115 | 0.3245
5 | YES | 198.879 | 0.1375 | 0.0091924 | 0.1375 | 0.053903 | -0.083597 |  | 30.334 | 0.298
5 | YES | 176.005 | 0.157 | 0.0028284 | 0.056 | 0.072818 | 0.016818 |  | 20.9965 | 0.163
5 | YES | 151.003 | 0.2605 | 0.0021213 | 0.1825 | 0.093492 | -0.089008 |  | 11 | 0.2505
5 | YES | 126.002 | 0.9305 | 0.02192 | 0.0845 | 0.11416 | 0.029665 |  | 147.703 | -0.048
5 | YES | 100.996 | 1.0695 | 0.012021 | 0.0535 | 0.13484 | 0.081342 |  | 125.985 | 0.037
5 | YES | 76.0045 | 1.362 | 0.022627 | 0.178 | 0.15551 | -0.022492 |  | 98.9865 | 0.065
5 | YES | 51.0115 | 1.8115 | 0.037477 | 0.3245 | 0.17617 | -0.14833 |  | 75.999 | 0.207
5 | YES | 30.334 | 2.665 | 0.055326 | 0.298 | 0.19327 | -0.10473 |  | 50.9995 | 0.342
5 | YES | 20.9965 | 3.049 | 0.073539 | 0.163 | 0.20099 | 0.037994 |  | 30.3327 | 0.29367
5 | YES | 11 | 3.6615 | 0.098288 | 0.2505 | 0.20926 | -0.04124 |  | 19.0055 | 0.299
5 | NO | 2.5925 | 5.123 | 0.076368 | 0.059 | 0.21621 | 0.15721 |  | 10.9965 | 0.261
6 | YES | 147.703 | 0.73 | 0 | -0.048 | 0.09622 | 0.14422 |  | 75.99 | 0.131
6 | YES | 125.985 | 1.487 | 0.011314 | 0.037 | 0.11418 | 0.077179 |  | 50.983 | 0.402
6 | YES | 98.9865 | 1.467 | 0.014142 | 0.065 | 0.1365 | 0.071504 |  | 30.335 | 0.32133
6 | YES | 75.999 | 1.342 | 0.011314 | 0.207 | 0.15551 | -0.051488 |  | 20.993 | 0.4525
6 | YES | 50.9995 | 1.902 | 0.05374 | 0.342 | 0.17618 | -0.16582 |  | 11.0135 | 0.7735
6 | YES | 30.3327 | 2.8357 | 0.040154 | 0.29367 | 0.19327 | -0.10039 |  | 74.927 | 0.088
6 | YES | 19.0055 | 3.25 | 0.052326 | 0.299 | 0.20264 | -0.09636 |  | 74.927 | 0.081
6 | YES | 10.9965 | 3.765 | 0.12162 | 0.261 | 0.20926 | -0.051737 |  | 50.9995 | 0.2205
6 | NO | 2.6035 | 4.765 | 0.062225 | -0.129 | 0.2162 | 0.3452 |  | 30.3417 | 0.14167
7 | NO | 0 | 0 | 0 | -1.613 | 0.21836 | 1.8314 |  | 20.98 | 0.2365
7 | YES | 75.99 | 1.461 | 0.011314 | 0.131 | 0.15552 | 0.02452 |  | 10.993 | 0.1975
7 | YES | 50.983 | 1.936 | 0.065054 | 0.402 | 0.1762 | -0.2258 |  | 30.3347 | 0.29867
7 | YES | 30.335 | 2.9843 | 0.055429 | 0.32133 | 0.19327 | -0.12806 |  | 20.9875 | 0.2575
7 | YES | 20.993 | 3.3885 | 0.060104 | 0.4525 | 0.201 | -0.2515 |  | 9.996 | -0.158
7 | YES | 11.0135 | 4.0195 | 0.16051 | 0.7735 | 0.20925 | -0.56425 |  | 75.001 | 0.093667
7 | NO | 2.471 | 6.1575 | 0.10394 | -0.5255 | 0.21631 | 0.74181 |  | 30.331 | 0.31033
8 | YES | 74.927 | 1.478 | 0 | 0.088 | 0.1564 | 0.068399 |  | 20.996 | 0.406
8 | YES | 74.927 | 1.478 | 0 | 0.081 | 0.1564 | 0.075399 |  | 10.997 | 0.6905
8 | YES | 50.9995 | 1.8165 | 0.04879 | 0.2205 | 0.17618 | -0.044316 |  | 51.0105 | 0.3125
8 | YES | 30.3417 | 2.8387 | 0.052918 | 0.14167 | 0.19327 | 0.051599 |  | 30.3227 | 0.18733
8 | YES | 20.98 | 3.1905 | 0.051619 | 0.2365 | 0.20101 | -0.035493 |  | 20.988 | 0.167
8 | YES | 10.993 | 3.5905 | 0.10112 | 0.1975 | 0.20927 | 0.011765 |  | 8.508 | 0.1775
8 | NO | 2.468 | 4.8255 | 0.32032 | 3.7265 | 0.21631 | -3.5102 |  | 73.99 | 0.082
9 | NO | 0 | 0 | 0 | -1.71 | 0.21836 | 1.9284 |  | 48.9975 | 0.1595
9 | YES | 30.3347 | 2.8807 | 0.047353 | 0.29867 | 0.19327 | -0.1054 |  | 30.3193 | 0.273
9 | YES | 20.9875 | 3.1995 | 0.060104 | 0.2575 | 0.201 | -0.056499 |  | 20.9845 | 0.111
9 | YES | 9.996 | 3.679 | 0 | -0.158 | 0.21009 | 0.36809 |  | 11.012 | 0.006
9 | NO | 2.486 | 4.689 | 0.22203 | -0.764 | 0.2163 | 0.9803 |  | 51.1415 | 0.029
10 | NO | 0 | 0 | 0 | -1.772 | 0.21836 | 1.9904 |  | 30.3303 | -0.039667
10 | YES | 75.001 | 1.8877 | 0.022007 | 0.093667 | 0.15634 | 0.062671 |  | 20.9815 | -0.042
10 | NO | 0 | 0 | 0 | -1.679 | 0.21836 | 1.8974 |  | 18.981 | 0.047
10 | YES | 30.331 | 2.9263 | 0.064933 | 0.31033 | 0.19327 | -0.11706 |  | 10.9975 | -0.0495
10 | YES | 20.996 | 3.315 | 0.084853 | 0.406 | 0.20099 | -0.20501 |  | 5.9905 | -0.2415
10 | YES | 10.997 | 3.9685 | 0.12799 | 0.6905 | 0.20926 | -0.48124 |  | 5.9905 | -0.0235
10 | NO | 2.502 | 5.416 | 0.1697 | 0.958 | 0.21629 | -0.74171 |  | 126.974 | -0.051
11 | NO | 0 | 0 | 0 | -1.869 | 0.21836 | 2.0874 |  | 101.006 | 0.144
11 | YES | 51.0105 | 2.0535 | 0.033234 | 0.3125 | 0.17618 | -0.13632 |  | 75.007 | 0.244
11 | YES | 30.3227 | 2.8843 | 0.045523 | 0.18733 | 0.19328 | 0.0059488 |  | 50.9875 | 0.1835
11 | YES | 20.988 | 3.215 | 0.055154 | 0.167 | 0.201 | 0.034001 |  | 31.011 | 0.254
11 | YES | 8.508 | 3.6235 | 0.061518 | 0.1775 | 0.21132 | 0.03382 |  | 20.993 | 0.0085001
11 | NO | 2.606 | 3.991 | 0.073539 | -0.908 | 0.2162 | 1.1242 |  | 20.993 | -0.1115
12 | NO | 0 | 0 | 0 | -2.027 | 0.21836 | 2.2454 |  | 10.003 | 0.108
12 | YES | 73.99 | 1.991 | 0 | 0.082 | 0.15717 | 0.075173 |  | 5.337 | -0.0013332
12 | YES | 48.9975 | 2.3315 | 0.07566 | 0.1595 | 0.17784 | 0.01834 |  | 5.337 | 0.064667
12 | YES | 30.3193 | 2.967 | 0.025239 | 0.273 | 0.19328 | -0.079715 |  | 250.999 | 0.0105
12 | YES | 20.9845 | 3.313 | 0.062225 | 0.111 | 0.201 | 0.090003 |  | 200.996 | 0.0305
12 | YES | 11.012 | 3.867 | 0.08061 | 0.006 | 0.20925 | 0.20325 |  | 175.993 | 0.0305
12 | NO | 3.289 | 4.53 | 0 | -0.975 | 0.21564 | 1.1906 |  | 150.995 | 0.0485
13 | YES | 51.1415 | 3.185 | 0.032527 | 0.029 | 0.17607 | 0.14707 |  | 125.99 | 0.063
13 | YES | 30.3303 | 3.4863 | 0.045369 | -0.039667 | 0.19328 | 0.23294 |  | 100.999 | 0.108
13 | YES | 20.9815 | 3.709 | 0.021213 | -0.042 | 0.20101 | 0.24301 |  | 75.9905 | 0.0605
13 | YES | 18.981 | 3.741 | 0.024042 | 0.047 | 0.20266 | 0.15566 |  | 30.9995 | 0.202
13 | YES | 10.9975 | 3.9115 | 0.044548 | -0.0495 | 0.20926 | 0.25876 |  | 20.9965 | 0.1235
13 | YES | 5.9905 | 4.0335 | 0.013435 | -0.2415 | 0.2134 | 0.4549 |  | 18.01 | -0.279
13 | YES | 5.9905 | 4.0335 | 0.013435 | -0.0235 | 0.2134 | 0.2369 |  | 10.9975 | -0.165
13 | NO | 2.6565 | 4.0535 | 0.0021212 | 0.0045004 | 0.21616 | 0.21166 |  | 5.9845 | 0.075499
14 | NO | 0 | 0 | 0 | -1.167 | 0.21836 | 1.3854
14 | NO | 0 | 0 | 0 | -0.973 | 0.21836 | 1.1914
14 | YES | 126.974 | 1.219 | 0 | -0.051 | 0.11336 | 0.16436
14 | YES | 101.006 | 1.409 | 0.012728 | 0.144 | 0.13483 | -0.009166
14 | YES | 75.007 | 2.088 | 0 | 0.244 | 0.15633 | -0.087667
14 | YES | 50.9875 | 2.7905 | 0.062933 | 0.1835 | 0.17619 | -0.0073059
14 | YES | 31.011 | 3.768 | 0.062225 | 0.254 | 0.19271 | -0.061287
14 | YES | 20.993 | 4.3495 | 0.12657 | 0.0085001 | 0.201 | 0.1925
14 | YES | 20.993 | 4.3495 | 0.12657 | -0.1115 | 0.201 | 0.3125
14 | YES | 10.003 | 5.711 | 0 | 0.108 | 0.21008 | 0.10208
14 | YES | 5.337 | 5.7357 | 0.019655 | -0.0013332 | 0.21394 | 0.21528
14 | YES | 5.337 | 5.7357 | 0.019655 | 0.064667 | 0.21394 | 0.14928
14 | NO | 0 | 0 | 0 | -5.715 | 0.21836 | 5.9334
15 | NO | 0 | 0 | 0 | -2.845 | 0.21836 | 3.0634
15 | YES | 250.999 | 2.8055 | 0.00070706 | 0.0105 | 0.010805 | 0.00030545
15 | YES | 200.996 | 2.8855 | 0.00070706 | 0.0305 | 0.052153 | 0.021653
15 | YES | 175.993 | 2.9105 | 0.0021213 | 0.0305 | 0.072828 | 0.042328
15 | YES | 150.995 | 2.9535 | 0.0021213 | 0.0485 | 0.093498 | 0.044999
15 | YES | 125.99 | 2.987 | 0.0028286 | 0.063 | 0.11417 | 0.051175
15 | YES | 100.999 | 3.096 | 0.0098995 | 0.108 | 0.13484 | 0.02684
15 | YES | 75.9905 | 3.2655 | 0.013435 | 0.0605 | 0.15552 | 0.095019
15 | NO | 0 | 0 | 0 | -3.373 | 0.21836 | 3.5914
15 | YES | 30.9995 | 3.592 | 0.022627 | 0.202 | 0.19272 | -0.0092779
15 | YES | 20.9965 | 3.8545 | 0.10112 | 0.1235 | 0.20099 | 0.077494
15 | YES | 18.01 | 4.149 | 0 | -0.279 | 0.20346 | 0.48246
15 | YES | 10.9975 | 4.74 | 0.073539 | -0.165 | 0.20926 | 0.37426
15 | YES | 5.9845 | 4.9675 | 0.040305 | 0.075499 | 0.21341 | 0.13791
15 | NO | 2.979 | 5.001 | 0 | 0.038 | 0.21589 | 0.17789
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
NO
NO
YES
NO
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - Dox_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - Dox_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - Dox_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.040917 |  | X | CALC Y
m= | -0.030759 | 0.015966 |  | Std Dev of Resid |  | 0.18413 |  | 0.1375 | 0.25657
b= | 0.2608 | 0.048491 |  | Resid Sum of Squares |  | 2.9498 |  | 5.7357 | 0.084372
# of Values Extracted = |  |  | 117
# of Values Used in Fit = |  |  | 89
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - Dox_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 29.9043 | 1.2007 | 0.022898 | 0.23367 | 0.22387 | -0.0098019 |  | 1.2007 | 0.23367
1 | YES | 20.996 | 1.3245 | 0.043133 | 0.5205 | 0.22006 | -0.30044 |  | 1.3245 | 0.5205
1 | YES | 11.0045 | 2.2135 | 0.24395 | 0.5285 | 0.19271 | -0.33579 |  | 2.2135 | 0.5285
1 | NO | 2.6045 | 4.1085 | 0.11384 | -0.0485 | 0.13442 | 0.18292 |  | 1.0275 | 0.5765
2 | NO | 0 | 0 | 0 | -0.543 | 0.2608 | 0.8038 |  | 2.1635 | 0.3635
2 | YES | 50.996 | 1.0275 | 0.070004 | 0.5765 | 0.22919 | -0.34731 |  | 2.398 | 0.464
2 | YES | 29.499 | 2.1635 | 0.014849 | 0.3635 | 0.19425 | -0.16925 |  | 3.1355 | 0.1995
2 | YES | 21.008 | 2.398 | 0.069296 | 0.464 | 0.18704 | -0.27696 |  | 0.349 | 0.349
2 | YES | 10.998 | 3.1355 | 0.14213 | 0.1995 | 0.16435 | -0.035149 |  | 1.5785 | 0.2475
2 | NO | 2.638 | 4.135 | 0.11879 | -0.433 | 0.13361 | 0.56661 |  | 2.482 | 0.339
3 | NO | 0 | 0 | 0 | 0 | 0.2608 | 0.2608 |  | 2.8935 | 0.3795
3 | YES | 76.009 | 0.349 | 0.014142 | 0.349 | 0.25006 | -0.098938 |  | 3.7665 | 0.1515
3 | YES | 51.008 | 1.5785 | 0.084146 | 0.2475 | 0.21224 | -0.035257 |  | 2.6637 | 0.35467
3 | YES | 30.333 | 2.482 | 0.021656 | 0.339 | 0.18445 | -0.15455 |  | 3.046 | 0.35
3 | YES | 21.0065 | 2.8935 | 0.10819 | 0.3795 | 0.17179 | -0.20771 |  | 3.5745 | 0.1065
3 | YES | 10.992 | 3.7665 | 0.17466 | 0.1515 | 0.14494 | -0.006558 |  | 0.1375 | 0.1375
3 | NO | 2.509 | 6.2715 | 0.34436 | 1.2635 | 0.06789 | -1.1956 |  | 0.157 | 0.056
4 | NO | 0 | 0 | 0 | -1.606 | 0.2608 | 1.8668 |  | 0.2605 | 0.1825
4 | YES | 30.3213 | 2.6637 | 0.06282 | 0.35467 | 0.17886 | -0.1758 |  | 0.9305 | 0.0845
4 | YES | 21 | 3.046 | 0.084853 | 0.35 | 0.1671 | -0.1829 |  | 1.0695 | 0.0535
4 | YES | 10.9975 | 3.5745 | 0.11526 | 0.1065 | 0.15085 | 0.044348 |  | 1.362 | 0.178
4 | NO | 1.9955 | 5.3 | 0.19658 | -0.828 | 0.097773 | 0.92577 |  | 1.8115 | 0.3245
5 | YES | 198.879 | 0.1375 | 0.0091924 | 0.1375 | 0.25657 | 0.11907 |  | 2.665 | 0.298
5 | YES | 176.005 | 0.157 | 0.0028284 | 0.056 | 0.25597 | 0.19997 |  | 3.049 | 0.163
5 | YES | 151.003 | 0.2605 | 0.0021213 | 0.1825 | 0.25278 | 0.070284 |  | 3.6615 | 0.2505
5 | YES | 126.002 | 0.9305 | 0.02192 | 0.0845 | 0.23218 | 0.14768 |  | 0.73 | -0.048
5 | YES | 100.996 | 1.0695 | 0.012021 | 0.0535 | 0.2279 | 0.1744 |  | 1.487 | 0.037
5 | YES | 76.0045 | 1.362 | 0.022627 | 0.178 | 0.2189 | 0.040903 |  | 1.467 | 0.065
5 | YES | 51.0115 | 1.8115 | 0.037477 | 0.3245 | 0.20508 | -0.11942 |  | 1.342 | 0.207
5 | YES | 30.334 | 2.665 | 0.055326 | 0.298 | 0.17882 | -0.11918 |  | 1.902 | 0.342
5 | YES | 20.9965 | 3.049 | 0.073539 | 0.163 | 0.16701 | 0.0040118 |  | 2.8357 | 0.29367
5 | YES | 11 | 3.6615 | 0.098288 | 0.2505 | 0.14817 | -0.10233 |  | 3.25 | 0.299
5 | NO | 2.5925 | 5.123 | 0.076368 | 0.059 | 0.10322 | 0.044217 |  | 3.765 | 0.261
6 | YES | 147.703 | 0.73 | 0 | -0.048 | 0.23834 | 0.28634 |  | 1.461 | 0.131
6 | YES | 125.985 | 1.487 | 0.011314 | 0.037 | 0.21506 | 0.17806 |  | 1.936 | 0.402
6 | YES | 98.9865 | 1.467 | 0.014142 | 0.065 | 0.21567 | 0.15067 |  | 2.9843 | 0.32133
6 | YES | 75.999 | 1.342 | 0.011314 | 0.207 | 0.21952 | 0.012518 |  | 3.3885 | 0.4525
6 | YES | 50.9995 | 1.902 | 0.05374 | 0.342 | 0.20229 | -0.13971 |  | 4.0195 | 0.7735
6 | YES | 30.3327 | 2.8357 | 0.040154 | 0.29367 | 0.17357 | -0.12009 |  | 1.478 | 0.088
6 | YES | 19.0055 | 3.25 | 0.052326 | 0.299 | 0.16083 | -0.13817 |  | 1.478 | 0.081
6 | YES | 10.9965 | 3.765 | 0.12162 | 0.261 | 0.14499 | -0.11601 |  | 1.8165 | 0.2205
6 | NO | 2.6035 | 4.765 | 0.062225 | -0.129 | 0.11423 | 0.24323 |  | 2.8387 | 0.14167
7 | NO | 0 | 0 | 0 | -1.613 | 0.2608 | 1.8738 |  | 3.1905 | 0.2365
7 | YES | 75.99 | 1.461 | 0.011314 | 0.131 | 0.21586 | 0.084857 |  | 3.5905 | 0.1975
7 | YES | 50.983 | 1.936 | 0.065054 | 0.402 | 0.20125 | -0.20075 |  | 2.8807 | 0.29867
7 | YES | 30.335 | 2.9843 | 0.055429 | 0.32133 | 0.169 | -0.15233 |  | 3.1995 | 0.2575
7 | YES | 20.993 | 3.3885 | 0.060104 | 0.4525 | 0.15657 | -0.29593 |  | 3.679 | -0.158
7 | YES | 11.0135 | 4.0195 | 0.16051 | 0.7735 | 0.13716 | -0.63634 |  | 1.8877 | 0.093667
7 | NO | 2.471 | 6.1575 | 0.10394 | -0.5255 | 0.071397 | 0.5969 |  | 2.9263 | 0.31033
8 | YES | 74.927 | 1.478 | 0 | 0.088 | 0.21533 | 0.12733 |  | 3.315 | 0.406
8 | YES | 74.927 | 1.478 | 0 | 0.081 | 0.21533 | 0.13433 |  | 3.9685 | 0.6905
8 | YES | 50.9995 | 1.8165 | 0.04879 | 0.2205 | 0.20492 | -0.015577 |  | 2.0535 | 0.3125
8 | YES | 30.3417 | 2.8387 | 0.052918 | 0.14167 | 0.17348 | 0.031814 |  | 2.8843 | 0.18733
8 | YES | 20.98 | 3.1905 | 0.051619 | 0.2365 | 0.16266 | -0.073841 |  | 3.215 | 0.167
8 | YES | 10.993 | 3.5905 | 0.10112 | 0.1975 | 0.15036 | -0.047144 |  | 3.6235 | 0.1775
8 | NO | 2.468 | 4.8255 | 0.32032 | 3.7265 | 0.11237 | -3.6141 |  | 1.991 | 0.082
9 | NO | 0 | 0 | 0 | -1.71 | 0.2608 | 1.9708 |  | 2.3315 | 0.1595
9 | YES | 30.3347 | 2.8807 | 0.047353 | 0.29867 | 0.17219 | -0.12648 |  | 2.967 | 0.273
9 | YES | 20.9875 | 3.1995 | 0.060104 | 0.2575 | 0.16238 | -0.095117 |  | 3.313 | 0.111
9 | YES | 9.996 | 3.679 | 0 | -0.158 | 0.14763 | 0.30563 |  | 3.867 | 0.006
9 | NO | 2.486 | 4.689 | 0.22203 | -0.764 | 0.11657 | 0.88057 |  | 3.185 | 0.029
10 | NO | 0 | 0 | 0 | -1.772 | 0.2608 | 2.0328 |  | 3.4863 | -0.039667
10 | YES | 75.001 | 1.8877 | 0.022007 | 0.093667 | 0.20273 | 0.10907 |  | 3.709 | -0.042
10 | NO | 0 | 0 | 0 | -1.679 | 0.2608 | 1.9398 |  | 3.741 | 0.047
10 | YES | 30.331 | 2.9263 | 0.064933 | 0.31033 | 0.17079 | -0.13955 |  | 3.9115 | -0.0495
10 | YES | 20.996 | 3.315 | 0.084853 | 0.406 | 0.15883 | -0.24717 |  | 4.0335 | -0.2415
10 | YES | 10.997 | 3.9685 | 0.12799 | 0.6905 | 0.13873 | -0.55177 |  | 4.0335 | -0.0235
10 | NO | 2.502 | 5.416 | 0.1697 | 0.958 | 0.094205 | -0.8638 |  | 1.219 | -0.051
11 | NO | 0 | 0 | 0 | -1.869 | 0.2608 | 2.1298 |  | 1.409 | 0.144
11 | YES | 51.0105 | 2.0535 | 0.033234 | 0.3125 | 0.19763 | -0.11487 |  | 2.088 | 0.244
11 | YES | 30.3227 | 2.8843 | 0.045523 | 0.18733 | 0.17208 | -0.015256 |  | 2.7905 | 0.1835
11 | YES | 20.988 | 3.215 | 0.055154 | 0.167 | 0.16191 | -0.0050942 |  | 3.768 | 0.254
11 | YES | 8.508 | 3.6235 | 0.061518 | 0.1775 | 0.14934 | -0.028159 |  | 4.3495 | 0.0085001
11 | NO | 2.606 | 3.991 | 0.073539 | -0.908 | 0.13804 | 1.046 |  | 4.3495 | -0.1115
12 | NO | 0 | 0 | 0 | -2.027 | 0.2608 | 2.2878 |  | 5.711 | 0.108
12 | YES | 73.99 | 1.991 | 0 | 0.082 | 0.19956 | 0.11756 |  | 5.7357 | -0.0013332
12 | YES | 48.9975 | 2.3315 | 0.07566 | 0.1595 | 0.18908 | 0.029582 |  | 5.7357 | 0.064667
12 | YES | 30.3193 | 2.967 | 0.025239 | 0.273 | 0.16953 | -0.10347 |  | 2.8055 | 0.0105
12 | YES | 20.9845 | 3.313 | 0.062225 | 0.111 | 0.15889 | 0.047891 |  | 2.8855 | 0.0305
12 | YES | 11.012 | 3.867 | 0.08061 | 0.006 | 0.14185 | 0.13585 |  | 2.9105 | 0.0305
12 | NO | 3.289 | 4.53 | 0 | -0.975 | 0.12146 | 1.0965 |  | 2.9535 | 0.0485
13 | YES | 51.1415 | 3.185 | 0.032527 | 0.029 | 0.16283 | 0.13383 |  | 2.987 | 0.063
13 | YES | 30.3303 | 3.4863 | 0.045369 | -0.039667 | 0.15356 | 0.19323 |  | 3.096 | 0.108
13 | YES | 20.9815 | 3.709 | 0.021213 | -0.042 | 0.14671 | 0.18871 |  | 3.2655 | 0.0605
13 | YES | 18.981 | 3.741 | 0.024042 | 0.047 | 0.14573 | 0.098726 |  | 3.592 | 0.202
13 | YES | 10.9975 | 3.9115 | 0.044548 | -0.0495 | 0.14048 | 0.18998 |  | 3.8545 | 0.1235
13 | YES | 5.9905 | 4.0335 | 0.013435 | -0.2415 | 0.13673 | 0.37823 |  | 4.149 | -0.279
13 | YES | 5.9905 | 4.0335 | 0.013435 | -0.0235 | 0.13673 | 0.16023 |  | 4.74 | -0.165
13 | NO | 2.6565 | 4.0535 | 0.0021212 | 0.0045004 | 0.13611 | 0.13161 |  | 4.9675 | 0.075499
14 | NO | 0 | 0 | 0 | -1.167 | 0.2608 | 1.4278
14 | NO | 0 | 0 | 0 | -0.973 | 0.2608 | 1.2338
14 | YES | 126.974 | 1.219 | 0 | -0.051 | 0.2233 | 0.2743
14 | YES | 101.006 | 1.409 | 0.012728 | 0.144 | 0.21746 | 0.073457
14 | YES | 75.007 | 2.088 | 0 | 0.244 | 0.19657 | -0.047429
14 | YES | 50.9875 | 2.7905 | 0.062933 | 0.1835 | 0.17496 | -0.0085369
14 | YES | 31.011 | 3.768 | 0.062225 | 0.254 | 0.1449 | -0.1091
14 | YES | 20.993 | 4.3495 | 0.12657 | 0.0085001 | 0.12701 | 0.11851
14 | YES | 20.993 | 4.3495 | 0.12657 | -0.1115 | 0.12701 | 0.23851
14 | YES | 10.003 | 5.711 | 0 | 0.108 | 0.085131 | -0.022869
14 | YES | 5.337 | 5.7357 | 0.019655 | -0.0013332 | 0.084372 | 0.085705
14 | YES | 5.337 | 5.7357 | 0.019655 | 0.064667 | 0.084372 | 0.019705
14 | NO | 0 | 0 | 0 | -5.715 | 0.2608 | 5.9758
15 | NO | 0 | 0 | 0 | -2.845 | 0.2608 | 3.1058
15 | YES | 250.999 | 2.8055 | 0.00070706 | 0.0105 | 0.1745 | 0.164
15 | YES | 200.996 | 2.8855 | 0.00070706 | 0.0305 | 0.17204 | 0.14154
15 | YES | 175.993 | 2.9105 | 0.0021213 | 0.0305 | 0.17127 | 0.14077
15 | YES | 150.995 | 2.9535 | 0.0021213 | 0.0485 | 0.16995 | 0.12145
15 | YES | 125.99 | 2.987 | 0.0028286 | 0.063 | 0.16892 | 0.10592
15 | YES | 100.999 | 3.096 | 0.0098995 | 0.108 | 0.16557 | 0.057566
15 | YES | 75.9905 | 3.2655 | 0.013435 | 0.0605 | 0.16035 | 0.099852
15 | NO | 0 | 0 | 0 | -3.373 | 0.2608 | 3.6338
15 | YES | 30.9995 | 3.592 | 0.022627 | 0.202 | 0.15031 | -0.05169
15 | YES | 20.9965 | 3.8545 | 0.10112 | 0.1235 | 0.14224 | 0.018735
15 | YES | 18.01 | 4.149 | 0 | -0.279 | 0.13318 | 0.41218
15 | YES | 10.9975 | 4.74 | 0.073539 | -0.165 | 0.115 | 0.28
15 | YES | 5.9845 | 4.9675 | 0.040305 | 0.075499 | 0.108 | 0.032501
15 | NO | 2.979 | 5.001 | 0 | 0.038 | 0.10697 | 0.06897
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
NO
NO
YES
NO
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Dox_BOT | DOX_CTD |  | DOX_CTD - Dox_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Dox_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2003-33-0033 | 2003-33-0033 | 3 | 30.841 | 29.9043 | 0.82176 | -0.93667 | 0.967 | 1.2007 | 0.022898 | 0.23367
2003-33-0033 | 2003-33-0033 | 2 | 21.103 | 20.996 | 1.4368 | -0.107 | 0.804 | 1.3245 | 0.043133 | 0.5205
2003-33-0033 | 2003-33-0033 | 2 | 10.057 | 11.0045 | 1.4008 | 0.9475 | 1.685 | 2.2135 | 0.24395 | 0.5285
2003-33-0033 | 2003-33-0033 | 2 | 1.525 | 2.6045 | 0.53387 | 1.0795 | 4.157 | 4.1085 | 0.11384 | -0.0485
2003-33-0034 | 2003-33-0034 | 0 | 65.814 | 0 | 0 | -65.814 | 0.543 | 0 | 0 | -0.543
2003-33-0034 | 2003-33-0034 | 2 | 51.224 | 50.996 | 1.4015 | -0.228 | 0.451 | 1.0275 | 0.070004 | 0.5765
2003-33-0034 | 2003-33-0034 | 2 | 29.947 | 29.499 | 0.70428 | -0.448 | 1.8 | 2.1635 | 0.014849 | 0.3635
2003-33-0034 | 2003-33-0034 | 2 | 20.297 | 21.008 | 1.4071 | 0.711 | 1.934 | 2.398 | 0.069296 | 0.464
2003-33-0034 | 2003-33-0034 | 2 | 10.322 | 10.998 | 1.4086 | 0.676 | 2.936 | 3.1355 | 0.14213 | 0.1995
2003-33-0034 | 2003-33-0034 | 2 | 1.588 | 2.638 | 0.46528 | 1.05 | 4.568 | 4.135 | 0.11879 | -0.433
2003-33-0035 | 2003-33-0035 | 0 | 116.209 | 0 | 0 | -116.209 | 0 | 0 | 0 | 0
2003-33-0035 | 2003-33-0035 | 2 | 75.346 | 76.009 | 1.4029 | 0.663 | 0 | 0.349 | 0.014142 | 0.349
2003-33-0035 | 2003-33-0035 | 2 | 50.34 | 51.008 | 1.4213 | 0.668 | 1.331 | 1.5785 | 0.084146 | 0.2475
2003-33-0035 | 2003-33-0035 | 3 | 30.262 | 30.333 | 1.5162 | 0.071001 | 2.143 | 2.482 | 0.021656 | 0.339
2003-33-0035 | 2003-33-0035 | 2 | 20.243 | 21.0065 | 1.4248 | 0.7635 | 2.514 | 2.8935 | 0.10819 | 0.3795
2003-33-0035 | 2003-33-0035 | 2 | 10.288 | 10.992 | 1.4043 | 0.704 | 3.615 | 3.7665 | 0.17466 | 0.1515
2003-33-0035 | 2003-33-0035 | 2 | 1.22 | 2.509 | 0.69014 | 1.289 | 5.008 | 6.2715 | 0.34436 | 1.2635
2003-33-0036 | 2003-33-0036 | 0 | 60.482 | 0 | 0 | -60.482 | 1.606 | 0 | 0 | -1.606
2003-33-0036 | 2003-33-0036 | 3 | 30.397 | 30.3213 | 1.5249 | -0.075666 | 2.309 | 2.6637 | 0.06282 | 0.35467
2003-33-0036 | 2003-33-0036 | 2 | 20.285 | 21 | 1.4142 | 0.715 | 2.696 | 3.046 | 0.084853 | 0.35
2003-33-0036 | 2003-33-0036 | 2 | 10.353 | 10.9975 | 1.4192 | 0.6445 | 3.468 | 3.5745 | 0.11526 | 0.1065
2003-33-0036 | 2003-33-0036 | 2 | 1.668 | 1.9955 | 1.398 | 0.3275 | 6.128 | 5.3 | 0.19658 | -0.828
2003-33-0037 | 2003-33-0037 | 2 | 199.868 | 198.879 | 1.2431 | -0.989 | 0 | 0.1375 | 0.0091924 | 0.1375
2003-33-0037 | 2003-33-0037 | 2 | 175.33 | 176.005 | 1.4107 | 0.67549 | 0.101 | 0.157 | 0.0028284 | 0.056
2003-33-0037 | 2003-33-0037 | 2 | 150.148 | 151.003 | 1.4085 | 0.855 | 0.078 | 0.2605 | 0.0021213 | 0.1825
2003-33-0037 | 2003-33-0037 | 2 | 125.362 | 126.002 | 1.4071 | 0.64 | 0.846 | 0.9305 | 0.02192 | 0.0845
2003-33-0037 | 2003-33-0037 | 2 | 100.221 | 100.996 | 1.4043 | 0.775 | 1.016 | 1.0695 | 0.012021 | 0.0535
2003-33-0037 | 2003-33-0037 | 2 | 75.241 | 76.0045 | 1.4107 | 0.7635 | 1.184 | 1.362 | 0.022627 | 0.178
2003-33-0037 | 2003-33-0037 | 2 | 50.243 | 51.0115 | 1.4178 | 0.7685 | 1.487 | 1.8115 | 0.037477 | 0.3245
2003-33-0037 | 2003-33-0037 | 3 | 30.239 | 30.334 | 1.5296 | 0.094999 | 2.367 | 2.665 | 0.055326 | 0.298
2003-33-0037 | 2003-33-0037 | 2 | 20.35 | 20.9965 | 1.4319 | 0.6465 | 2.886 | 3.049 | 0.073539 | 0.163
2003-33-0037 | 2003-33-0037 | 2 | 10.287 | 11 | 1.4114 | 0.713 | 3.411 | 3.6615 | 0.098288 | 0.2505
2003-33-0037 | 2003-33-0037 | 2 | 1.526 | 2.5925 | 0.54235 | 1.0665 | 5.064 | 5.123 | 0.076368 | 0.059
2003-33-0038 | 2003-33-0038 | 1 | 147.822 | 147.703 | 0 | -0.119 | 0.778 | 0.73 | 0 | -0.048
2003-33-0038 | 2003-33-0038 | 2 | 125.14 | 125.985 | 1.4142 | 0.845 | 1.45 | 1.487 | 0.011314 | 0.037
2003-33-0038 | 2003-33-0038 | 2 | 98.865 | 98.9865 | 1.4178 | 0.1215 | 1.402 | 1.467 | 0.014142 | 0.065
2003-33-0038 | 2003-33-0038 | 2 | 75.122 | 75.999 | 1.4142 | 0.877 | 1.135 | 1.342 | 0.011314 | 0.207
2003-33-0038 | 2003-33-0038 | 2 | 50.327 | 50.9995 | 1.4064 | 0.6725 | 1.56 | 1.902 | 0.05374 | 0.342
2003-33-0038 | 2003-33-0038 | 3 | 30.324 | 30.3327 | 1.5248 | 0.008667 | 2.542 | 2.8357 | 0.040154 | 0.29367
2003-33-0038 | 2003-33-0038 | 2 | 19.554 | 19.0055 | 1.4022 | -0.5485 | 2.951 | 3.25 | 0.052326 | 0.299
2003-33-0038 | 2003-33-0038 | 2 | 10.137 | 10.9965 | 1.4149 | 0.8595 | 3.504 | 3.765 | 0.12162 | 0.261
2003-33-0038 | 2003-33-0038 | 2 | 1.321 | 2.6035 | 0.54518 | 1.2825 | 4.894 | 4.765 | 0.062225 | -0.129
2003-33-0039 | 2003-33-0039 | 0 | 110.367 | 0 | 0 | -110.367 | 1.613 | 0 | 0 | -1.613
2003-33-0039 | 2003-33-0039 | 2 | 75.202 | 75.99 | 1.4071 | 0.788 | 1.33 | 1.461 | 0.011314 | 0.131
2003-33-0039 | 2003-33-0039 | 2 | 50.541 | 50.983 | 1.4227 | 0.442 | 1.534 | 1.936 | 0.065054 | 0.402
2003-33-0039 | 2003-33-0039 | 3 | 30.159 | 30.335 | 1.5322 | 0.176 | 2.663 | 2.9843 | 0.055429 | 0.32133
2003-33-0039 | 2003-33-0039 | 2 | 20.173 | 20.993 | 1.4001 | 0.82 | 2.936 | 3.3885 | 0.060104 | 0.4525
2003-33-0039 | 2003-33-0039 | 2 | 10.044 | 11.0135 | 1.4206 | 0.9695 | 3.246 | 4.0195 | 0.16051 | 0.7735
2003-33-0039 | 2003-33-0039 | 2 | 1.605 | 2.471 | 0.38042 | 0.866 | 6.683 | 6.1575 | 0.10394 | -0.5255
2003-33-0040 | 2003-33-0040 | 1 | 75.351 | 74.927 | 0 | -0.424 | 1.39 | 1.478 | 0 | 0.088
2003-33-0040 | 2003-33-0040 | 1 | 75.35 | 74.927 | 0 | -0.423 | 1.397 | 1.478 | 0 | 0.081
2003-33-0040 | 2003-33-0040 | 2 | 50.393 | 50.9995 | 1.4093 | 0.6065 | 1.596 | 1.8165 | 0.04879 | 0.2205
2003-33-0040 | 2003-33-0040 | 3 | 30.062 | 30.3417 | 1.5205 | 0.27967 | 2.697 | 2.8387 | 0.052918 | 0.14167
2003-33-0040 | 2003-33-0040 | 2 | 20.274 | 20.98 | 1.4114 | 0.706 | 2.954 | 3.1905 | 0.051619 | 0.2365
2003-33-0040 | 2003-33-0040 | 2 | 10.452 | 10.993 | 1.4029 | 0.541 | 3.393 | 3.5905 | 0.10112 | 0.1975
2003-33-0040 | 2003-33-0040 | 2 | 1.588 | 2.468 | 0.78206 | 0.88 | 1.099 | 4.8255 | 0.32032 | 3.7265
2003-33-0041 | 2003-33-0041 | 0 | 55.008 | 0 | 0 | -55.008 | 1.71 | 0 | 0 | -1.71
2003-33-0041 | 2003-33-0041 | 3 | 30.235 | 30.3347 | 1.512 | 0.099667 | 2.582 | 2.8807 | 0.047353 | 0.29867
2003-33-0041 | 2003-33-0041 | 2 | 20.322 | 20.9875 | 1.4192 | 0.6655 | 2.942 | 3.1995 | 0.060104 | 0.2575
2003-33-0041 | 2003-33-0041 | 1 | 9.79 | 9.996 | 0 | 0.206 | 3.837 | 3.679 | 0 | -0.158
2003-33-0041 | 2003-33-0041 | 2 | 1.562 | 2.486 | 0.70852 | 0.924 | 5.453 | 4.689 | 0.22203 | -0.764
2003-33-0042 | 2003-33-0042 | 0 | 89.946 | 0 | 0 | -89.946 | 1.772 | 0 | 0 | -1.772
2003-33-0042 | 2003-33-0042 | 3 | 75.006 | 75.001 | 1.9935 | -0.0049972 | 1.794 | 1.8877 | 0.022007 | 0.093667
2003-33-0042 | 2003-33-0042 | 0 | 59.706 | 0 | 0 | -59.706 | 1.679 | 0 | 0 | -1.679
2003-33-0042 | 2003-33-0042 | 3 | 30.356 | 30.331 | 1.5447 | -0.025001 | 2.616 | 2.9263 | 0.064933 | 0.31033
2003-33-0042 | 2003-33-0042 | 2 | 20.107 | 20.996 | 1.4354 | 0.889 | 2.909 | 3.315 | 0.084853 | 0.406
2003-33-0042 | 2003-33-0042 | 2 | 10.208 | 10.997 | 1.417 | 0.789 | 3.278 | 3.9685 | 0.12799 | 0.6905
2003-33-0042 | 2003-33-0042 | 2 | 1.519 | 2.502 | 0.71135 | 0.983 | 4.458 | 5.416 | 0.1697 | 0.958
2003-33-0043 | 2003-33-0043 | 0 | 79.594 | 0 | 0 | -79.594 | 1.869 | 0 | 0 | -1.869
2003-33-0043 | 2003-33-0043 | 2 | 50.351 | 51.0105 | 1.4121 | 0.6595 | 1.741 | 2.0535 | 0.033234 | 0.3125
2003-33-0043 | 2003-33-0043 | 3 | 30.46 | 30.3227 | 1.5389 | -0.13733 | 2.697 | 2.8843 | 0.045523 | 0.18733
2003-33-0043 | 2003-33-0043 | 2 | 20.24 | 20.988 | 1.4142 | 0.748 | 3.048 | 3.215 | 0.055154 | 0.167
2003-33-0043 | 2003-33-0043 | 2 | 8.83 | 8.508 | 2.1383 | -0.322 | 3.446 | 3.6235 | 0.061518 | 0.1775
2003-33-0043 | 2003-33-0043 | 2 | 1.771 | 2.606 | 0.54306 | 0.835 | 4.899 | 3.991 | 0.073539 | -0.908
2003-33-0044 | 2003-33-0044 | 0 | 84.887 | 0 | 0 | -84.887 | 2.027 | 0 | 0 | -2.027
2003-33-0044 | 2003-33-0044 | 2 | 74.818 | 73.99 | 1.4269 | -0.828 | 1.909 | 1.991 | 0 | 0.082
2003-33-0044 | 2003-33-0044 | 2 | 49.694 | 48.9975 | 1.4107 | -0.6965 | 2.172 | 2.3315 | 0.07566 | 0.1595
2003-33-0044 | 2003-33-0044 | 3 | 30.761 | 30.3193 | 1.5455 | -0.44167 | 2.694 | 2.967 | 0.025239 | 0.273
2003-33-0044 | 2003-33-0044 | 2 | 20.282 | 20.9845 | 1.4291 | 0.7025 | 3.202 | 3.313 | 0.062225 | 0.111
2003-33-0044 | 2003-33-0044 | 2 | 10.26 | 11.012 | 1.3704 | 0.752 | 3.861 | 3.867 | 0.08061 | 0.006
2003-33-0044 | 2003-33-0044 | 1 | 1.935 | 3.289 | 0 | 1.354 | 5.505 | 4.53 | 0 | -0.975
2003-33-0045 | 2003-33-0045 | 2 | 51.156 | 51.1415 | 1.5507 | -0.0145 | 3.156 | 3.185 | 0.032527 | 0.029
2003-33-0045 | 2003-33-0045 | 3 | 30.103 | 30.3303 | 1.5023 | 0.22733 | 3.526 | 3.4863 | 0.045369 | -0.039667
2003-33-0045 | 2003-33-0045 | 2 | 20.035 | 20.9815 | 1.4192 | 0.9465 | 3.751 | 3.709 | 0.021213 | -0.042
2003-33-0045 | 2003-33-0045 | 2 | 19.881 | 18.981 | 1.41 | -0.9 | 3.694 | 3.741 | 0.024042 | 0.047
2003-33-0045 | 2003-33-0045 | 2 | 10.561 | 10.9975 | 1.4178 | 0.4365 | 3.961 | 3.9115 | 0.044548 | -0.0495
2003-33-0045 | 2003-33-0045 | 2 | 5.051 | 5.9905 | 1.4432 | 0.9395 | 4.275 | 4.0335 | 0.013435 | -0.2415
2003-33-0045 | 2003-33-0045 | 2 | 5.151 | 5.9905 | 1.4432 | 0.8395 | 4.057 | 4.0335 | 0.013435 | -0.0235
2003-33-0045 | 2003-33-0045 | 2 | 1.716 | 2.6565 | 0.4278 | 0.9405 | 4.049 | 4.0535 | 0.0021212 | 0.0045004
2003-33-0048 | 2003-33-0048 | 0 | 145.064 | 0 | 0 | -145.064 | 1.167 | 0 | 0 | -1.167
2003-33-0048 | 2003-33-0048 | 0 | 145.114 | 0 | 0 | -145.114 | 0.973 | 0 | 0 | -0.973
2003-33-0048 | 2003-33-0048 | 1 | 127.72 | 126.974 | 0 | -0.746 | 1.27 | 1.219 | 0 | -0.051
2003-33-0048 | 2003-33-0048 | 2 | 100.978 | 101.006 | 1.4397 | 0.028 | 1.265 | 1.409 | 0.012728 | 0.144
2003-33-0048 | 2003-33-0048 | 1 | 75.206 | 75.007 | 0 | -0.199 | 1.844 | 2.088 | 0 | 0.244
2003-33-0048 | 2003-33-0048 | 2 | 50.582 | 50.9875 | 1.4149 | 0.4055 | 2.607 | 2.7905 | 0.062933 | 0.1835
2003-33-0048 | 2003-33-0048 | 2 | 31.419 | 31.011 | 1.4284 | -0.408 | 3.514 | 3.768 | 0.062225 | 0.254
2003-33-0048 | 2003-33-0048 | 2 | 21.572 | 20.993 | 1.4128 | -0.579 | 4.341 | 4.3495 | 0.12657 | 0.0085001
2003-33-0048 | 2003-33-0048 | 2 | 21.378 | 20.993 | 1.4128 | -0.385 | 4.461 | 4.3495 | 0.12657 | -0.1115
2003-33-0048 | 2003-33-0048 | 1 | 10.006 | 10.003 | 0 | -0.0029993 | 5.603 | 5.711 | 0 | 0.108
2003-33-0048 | 2003-33-0048 | 3 | 5.785 | 5.337 | 1.5362 | -0.448 | 5.737 | 5.7357 | 0.019655 | -0.0013332
2003-33-0048 | 2003-33-0048 | 3 | 5.109 | 5.337 | 1.5362 | 0.228 | 5.671 | 5.7357 | 0.019655 | 0.064667
2003-33-0048 | 2003-33-0048 | 0 | 1.954 | 0 | 0 | -1.954 | 5.715 | 0 | 0 | -5.715
2003-33-0066 | 2003-33-0066 | 0 | 265.495 | 0 | 0 | -265.495 | 2.845 | 0 | 0 | -2.845
2003-33-0066 | 2003-33-0066 | 2 | 251.382 | 250.999 | 1.434 | -0.38301 | 2.795 | 2.8055 | 0.00070706 | 0.0105
2003-33-0066 | 2003-33-0066 | 2 | 201.085 | 200.996 | 1.4227 | -0.089005 | 2.855 | 2.8855 | 0.00070706 | 0.0305
2003-33-0066 | 2003-33-0066 | 2 | 176.133 | 175.993 | 1.3958 | -0.14 | 2.88 | 2.9105 | 0.0021213 | 0.0305
2003-33-0066 | 2003-33-0066 | 2 | 151.429 | 150.995 | 1.4121 | -0.4335 | 2.905 | 2.9535 | 0.0021213 | 0.0485
2003-33-0066 | 2003-33-0066 | 2 | 126.254 | 125.99 | 1.4192 | -0.2645 | 2.924 | 2.987 | 0.0028286 | 0.063
2003-33-0066 | 2003-33-0066 | 2 | 101.017 | 100.999 | 1.4036 | -0.017502 | 2.988 | 3.096 | 0.0098995 | 0.108
2003-33-0066 | 2003-33-0066 | 2 | 76.267 | 75.9905 | 1.405 | -0.2765 | 3.205 | 3.2655 | 0.013435 | 0.0605
2003-33-0066 | 2003-33-0066 | 0 | 41.323 | 0 | 0 | -41.323 | 3.373 | 0 | 0 | -3.373
2003-33-0066 | 2003-33-0066 | 2 | 31.256 | 30.9995 | 1.4234 | -0.2565 | 3.39 | 3.592 | 0.022627 | 0.202
2003-33-0066 | 2003-33-0066 | 2 | 21.316 | 20.9965 | 1.4192 | -0.3195 | 3.731 | 3.8545 | 0.10112 | 0.1235
2003-33-0066 | 2003-33-0066 | 1 | 16.229 | 18.01 | 0 | 1.781 | 4.428 | 4.149 | 0 | -0.279
2003-33-0066 | 2003-33-0066 | 2 | 11.309 | 10.9975 | 1.4064 | -0.3115 | 4.905 | 4.74 | 0.073539 | -0.165
2003-33-0066 | 2003-33-0066 | 2 | 6.101 | 5.9845 | 1.4064 | -0.1165 | 4.892 | 4.9675 | 0.040305 | 0.075499
2003-33-0066 | 2003-33-0066 | 2 | 1.574 | 2.979 | 0 | 1.405 | 4.963 | 5.001 | 0 | 0.038
Create Fit Sheet