## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

## PROCESSING NOTES

Cruise: 2003-34

Agency: OSAP

Location: Knight Inlet / Broughton Archipelago

Project: Acoustic Oceanography

Party Chief: Vagle, S.

Platform: Vector

Date: September 9, 2003 – September 13, 2003

Processed by: Germaine Gatien

Date of Processing: 4 November 2003 – 6 November 2003

Number of original CTD casts: 61 (there are DAT files for 2 other casts, but they are empty)

Number of casts processed: 59

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0585) was mounted with a Chelsea transmissometer (#33DR) and a Seapoint Fluorometer (#2356) with a 10X cable. The deck unit is unknown.

# SUMMARY OF QUALITY AND CONCERNS

# There is no log book so positions and times could not be confirmed.

# There was no record in the log of what equipment was used during the cruise.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension DAT.

##### Preliminary Steps

There was no Log Book kept during the cruise. There is a spreadsheet with information about the casts in the Broughton Archipelago area, with intended positions and bottle sample information.

Salinity bottle calibration data was obtained.

The cruise summary sheet was completed.

The configuration file used at sea during this cruise was the same one that was used during 2003-29, the cruise immediately preceding this one. That con file was found to contain a number of errors (date of transmissivity calibration, date of pressure calibration and two of the co-efficients in the pressure calibration.) During 2003-29 there was a test of the pressure calibration and it was found that an offset of +0.5db should be applied to the pressure, so that was included in 2003-29-CTD.con. A copy of that file, renamed 2003-34-CTD.con, will be used for the processing of this cruise as well.

The sensor history was found.

##### Conversion of Raw Data

The raw data was converted using the configuration file 2003-34-CTD.con.

Files 2003-34-0025.dat and 2003-34-0026.dat exist, but are empty. The time difference between casts 24 and 27 is about a half-hour so it looks like no data was lost.

A few casts were examined and all expected channels are present. The up and downcasts are similar and the pairs of sensors are reasonably close.

Rosette files were converted using a start time of -4s and duration of 5s. This should capture the records from 2s before firing to 3s after. In the past -2/5 was used but on a recent VECTOR cruise there was a problem with the CTD starting up so quickly that upcast data was captured in the rosette file.

##### WILDEDIT

Program WILDEDIT was used to remove spikes from the pressure channels only.  Parameters used were:

Pass 1    Std Dev = 2;	Pass 2    Std Dev = 5;	Points per block = 50

##### ALIGNCTD

It is unknown if the secondary conductivity was aligned by the deck unit, since we don’t know which deck unit was used. During 2003-29 the primary conductivity was found to provide better data than the primary so the secondary is unlikely to be used. If necessary the alignment can be adjusted later. This step was skipped.

##### CELLTM

During several recent uses of these sensors, including 2003-29, no parameters were found for CELLTM that improved the data. This step will be skipped.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity.

on all casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

The casts are fairly shallow but the differences between pairs of sensors were checked for a few of the deeper ones.

The differences between sensors were generally noisy so the figures that follow are rough averages:

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 49 | 295 | -0.0005 | -0.002 | -0.02 | Steady,~0.85m/s |
| 55 | 279 | -0.001 | -0.002 | -0.02 | Steady, ~1m/s |
| 59 | 330 | -0.001 | -0.002 | -0.02 | Steady, ~1m/s |

The differences are slightly less than those observed during 2003-29, but much larger than we usually see, especially in conductivity and salinity. As during 2003-29 there is some indication of pressure dependence in the conductivity and salinity which may be a sign of a problem with the conductivity cell. There have been problems noted with the secondary sensors in the past.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers.

The rosette files were converted to IOS files and then CLEAN was run to add event numbers with the output being named BOT.

All BOT files were plotted and no significant outliers found.

##### Checking Headers

CLEAN was run to add event numbers to IOS files and to replace pad values in the Pressure channel using linear interpolation based on scan number.

The cruise track was plotted and no problems noted.

A header summary and a header check were produced. In the absence of a log, the entries were checked for reasonableness; no obvious errors were found.

The average surface pressure is 2.0db (after applying the offset in the pressure calibration).

All CLN files were examined on-screen for problems in T and S. Casts #18, 24 and 61 had large differences between down and upcasts and cast #24 looked notably different from the adjacent casts. A check of the data files shows that the pump was never turned on during casts 18 and 24, but was on for cast #61. No further processing will be done of casts #18 and 24. Cast #61 will be examined later to decide which sensors to use and whether the upcast is better than the downcast.

Minor spiking in conductivity was noted in other casts.

##### BOTTLE FILE PREPARATION

The BOT files were averaged to enable an addsamp file to be created. This file was edited to add sample numbers. These were presumed to be in order, 1 through 6 as given on the salinity analysis sheet, but it could not be confirmed since there is no log. The cast numbers were also on the analysis sheet except for the last two samples, but for those there was a station name which corresponded to the only rosette file for which we have no sample numbers. All samples have the pressures entered on the analysis sheet. Since all the information is consistent the sample numbers are probably assigned correctly.

“57” was entered in the “Cast” column of the salinity analysis spreadsheet for the two samples from Broughton Inlet. The spreadsheet was converted to individual SAL files. There were no flags for the salinity analysis.

The SAL files were merged with SAMAVG files. (Output: MRG)

##### 11. COMPARE

There are just 6 bottles and only two are deeper than 150m. The average of those 2 bottles gives the primary salinity low by 0.0004psu and the secondary low by 0.022psu. There were no outliers so extreme as to justify adding flags. (See 2003-34-comp1-sal.xls)

##### 12. SHIFT

Conductivity

For 2003-29 the best results were found using an advancement of -0.7 records for the primary conductivity for a net advancement of about 0.044s, since the channel was already advanced by +0.073s by the deck unit. Tests were done on casts #20 and #57 and the same setting improved the data. The secondary was not checked since it is unlikely to be archived.

All casts were put through SHIFT using -0.7 records for the primary sensor.

Fluorescence

To find what shift is needed for the fluorescence, upcast and downcast profiles were examined to determine the vertical offset of the temperature and fluorescence traces. The differences between these two offsets is treated as a measure of how much the fluorescence needs to be shifted. The “excess” offset for the fluorescence was divided by the averaged descent/ascent rate and divided by 2(since the shift will be applied to both up and downcast) to find the shift (in seconds) to remove that offset. The value found was from 1.5 to 3s. A conservative shift of +24 records (1s) was applied since it is downcast data that is of interest and the pumps likely worked more efficiently there than for the upcast.

##### DELETE

Cast #61 was put through REVERSE since the upcast and downcast are so different; the upcast may be chosen later.

The following DELETE parameters were used:

Surface Record Removal: Last Press Min and Low Salt

Maximum Surface Pressure (relative): 10.00

Minimum Surface Salinity: 5.0

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range    10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: There were no warnings.

The reversed cast #61 was also put through REVERSE with output REVDEL. It was decided at this point to use the downcast.

##### DETAILED EDITING

Page plots were produced using (T0,S0). These were used to guide the editing. The descent rate was generally quite smooth.

All casts required a little editing except: # 9, 15, 48, 56.

No casts required heavy editing.

Note was made of the editing details in the headers of the relevant files.

##### Other Comparisons

Previous experience with these sensors – The primary sensors were recalibrated in July 2003 and 2003-29 is the only other mission from which data has been processed with these calibrations. The primary sensors were found to be high by about 0.002psu; there was a lot of scatter in the comparison and looking at only the 4 samples below 300db the salinity was high by only 0.001psu. The secondary sensors were used on 4 missions since they were last recalibrated. Significant pressure dependence was noted and none of the data was selected for the archive. During 2003-29 the secondary sensors were found to be low by 0.024psu.

Historic ranges – There was no local climatology available for this region.

##### RECALIBRATION

The 2 samples below 150m gave results that are consistent with the results of 2003-29, although the primary is closer to the bottles during this cruise. During the earlier cruise the primary salinity was chosen for archiving and was not recalibrated.

No recalibration was done.

##### Special Fluorometer Processing

The EDT files were clipped to 100db and stored in a separate directory for the use of Angelica Peña. They were put through REMOVE and HEADEDIT to produce files FCTD and saved to a CD-ROM.

A median filter, fixed size=11, was applied to the fluorescence channel in the AVG files to reduce spikiness. One cast was examined before and after this step and showed that the filter was effective. (Output: BOX)

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the BOX files (output AVG):

Bin channel = pressure

Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen and no further editing was deemed necessary.

##### Final Plots

THIN and DERIVE were run to obtain values for tables and page plots were prepared using the edited data and displaying T, S, Fluorescence and Transmissivity profiles.

##### FINAL CTD files steps (REMOVE and HEADEDIT)

The Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Status:Pump, Descent_Rate and Flag channels were removed from all casts.

HEADER EDIT was used to add a comment, fix formats and channel names. The Standards Check routine was run and no problems were found.

The final files were named CTD.

##### Final Bottle Files

The MRG files were put through CLEAN to remove the SeaBird headers, REVERSE to put the data in order of  increasing pressure and REMOVE to remove Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Status:Pump, Descent_Rate and Flag.

HEADER EDIT was run to add a standard comment about quality flag definitions and to fix formats. Standards check was run on all files and HEADEDIT adjusted until all format problems were resolved. The final files were named CHE.

##### Producing final files

A cross-reference listing was produced.

The sensor history was updated.

Particulars

2a. This cast, between casts 2 and 3 was renamed 1002.

18 & 24. Pumps not turned on. Not processed.

25 & 26. Empty DAT files.

# Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#: 2003-34

Dates: Start: September 9, 2003 End: September 13, 2003

Location: Knight Inlet / Broughton Archipelago

Vessel: Vector

Party Chief: Vagle S.

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0585 | Yes | Yes |

Institute of Ocean Sciences

# CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/0585

Cruise ID#:		2003-34

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2023 | 16/07/03 | Factory |  |  |
| Conductivity | 1763 | 24/07/03 | “ |  |  |
| Secondary Temp. | 2106 | 23/01/03 | “ |  |  |
| Secondary Cond. | 1764 | 23/01/03 | “ |  |  |
| Transmissometer | 333DR | 18/08/03 | IOS |  |  |
| Fluorometer | 2356 |  | IOS |  |  |
| Pressure Sensor | 77511 | 30/09/99 | Factory |  |  |