File List for SeaBird Data          Cruise Number: _2003-39____

[osapcommon.cruise_data.2003-39]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon.cruise_data.2003-39.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon.cruise_data.2003-39.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, and DERIVE (for S0, S1)

[osapcommon.cruise_data.2003-39.doc]

2003-39_proc.doc - processing notes

2003-39_file.doc - this document

2003-39-header.hdr– header files used to add comments to the headers of the CTD files

2003-39-nut-hdr.txt – header file to enter comments re nutrient analysis in the bottle files

2003-39-press.ccf – calibration control file to adjust pressure

2003-39-recal2.ccf – calibration control file for 1st recalibration of DOX & salinity for cast #26 only	2003-39-recal3.ccf – calibration control file for 2nd recalibration of DOX

[osapcommon.cruise_data.2003-39.hydro]

*.add – oxygen calibration data with flags –with a few corrections to data provided by analyst

*.bot  - files created by converting *.ros files to IOS HEADERS

*.che – final bottle-averaged rosette files merged with chemistry data

*.log – log files for 3 BOT files that were edited

*.mrg – merge of sal, add, nut2 and bottle-averaged rosette files

*.nut2 – nutrient files converted from spreadsheet with flags and comments added

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted by spreadsheet from analyst

*.sam – bottle files with sample numbers added

addsamp.csv – file containing cast #, bottle number and sample number

QF2003-39nuts.csv – spreadsheet adapted from that provided by nutrient analyst

2003-39-sal-comp.csv & .xls - salinity COMPARE files

2003-39-dox-comp1.csv & .xls – dissolved oxygen COMPARE files – before recalibration

2003-39-dox-comp2.csv & .xls – dissolved oxygen COMPARE files – after 1st recalibration

2003-39-dox-comp3.csv & .xls – dissolved oxygen COMPARE files – downcast vs bottles

2003-39-dox-comp4.csv & .xls – dissolved oxygen COMPARE files – after 2nd recalibration

[osapcommon.cruise_data.2003-39.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE ( downcasts for all but cast #70 which is upcast data)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

*.rev – for cast #70, reverse of full shifted data before DELETE

Delete.log - log from routine DELETE

[osapcommon.cruise_data.2003-39.MVP]

?

[osapcommon.cruise_data.2003-39.nuts]

spreadsheets from analyst

[osapcommon.cruise_data.2003-39.oxy data 2003-39]

files from analyst

[osapcommon.cruise_data.2003-39.salinity]

spreadsheet from analyst