File List for SeaBird Data

Cruise Number: 2003-40

[osapcommon.cruise_data.2003-40]

1294-Nov02-FBBP.con – conversion file used early in cruise

1294-Nov02-FP.con – conversion file used late in cruise

[osapcommon.cruise_data.2003-40.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon.cruise_data.2003-40.derive]

*.cnv - data after running FILTER and DERIVE (for salinity)

[osapcommon.cruise_data.2003-40.doc]

2003-40-proc.doc - processing notes

2003-40-file.doc – this document

2003-40-hdr.hdr – comments written into headers for CTD files

2003-40-chl.hdr – comments written into headers for CHL files

2003-40-par-hdr.hdr – comments for FCTD files (for Angelica Peña)

2003-40-file status.xls – the disposition of the original files

Saanich Inlet CTD.doc – document from Melanie Quenneville outlining project

[osapcommon.cruise_data.2003-40.hex-edit]

*.hex – repaired hex files

[osapcommon.cruise_data.2003-40.hex-renamed]

*.hex – hex files with standard names (after repairs if needed)

[osapcommon.cruise_data.2003-40.hydro]

*.chl – files with depth, chl, flag

2003-40-chl.xls – original spreadsheet info from M. Quenneville

2003-40chl.csv – csv version spreadsheet with extracted chlorophyll information

2003-40-chl-comp.csv & *.xls – COMPARE files for extracted CHL vs downcast FL

[osapcommon.cruise_data.2003-40.ios]

*.avg & avgfl - data after ½ metre-averaging and ¼ metre-averaging using BINAVE

*.cln – IOS files after adding event numbers, longitude, latitude and bottom depths

*.ctd - final files (after recalibration with 2003-40rcal.ccf)

*.fctd – 1/4m averaged version of the *.ctd files

*.del and *.delrev – Delete files from SHF and reverse of SHF files

*.ed1 - data after editing has been done

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT

*.shfl – after SHIFT of fluorescence channel

[osapcommon.cruise_data.2003-40.original] – original files provided by M. Quenneville

[osapcommon.cruise_data.2003-40.rawdata] – files selected from above folder for further investigation