2003-40 Saanich Inlet

Water from Saanich Inlet was sampled using a Masterflex Persistatic pump set at low speed using clear Tygon tubing, except at the pump head, where clean silicone tubing was used. The tubing was attached to a weighted wire which had been marked at 1m intervals. The tubing and wire were lowered to the desired depth, the pump was run until the tubing contained water from the desired depth, then samples were taken from the outlet.