## File List
Number of Files= |  | 8
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2004-05-0001 | 2004-05-0001 | 11 | 22 | 2004-05-0001 & 2004-05-0001
2 | 2004-05-0003 | 2004-05-0003 | 24 | 31 | 2004-05-0003 & 2004-05-0003
3 | 2004-05-0007 | 2004-05-0007 | 33 | 51 | 2004-05-0007 & 2004-05-0007
4 | 2004-05-0013 | 2004-05-0013 | 53 | 72 | 2004-05-0013 & 2004-05-0013
5 | 2004-05-0018 | 2004-05-0018 | 74 | 96 | 2004-05-0018 & 2004-05-0018
6 | 2004-05-0025 | 2004-05-0025 | 98 | 121 | 2004-05-0025 & 2004-05-0025
7 | 2004-05-0032 | 2004-05-0032 | 123 | 146 | 2004-05-0032 & 2004-05-0032
8 | 2004-05-0047 | 2004-05-0047 | 148 | 171 | 2004-05-0047 & 2004-05-0047

## (DOX-CTD - DOX-BOT)
Calculation of Linear Least Squares Fit For
(DOX-CTD - DOX-BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX-CTD - DOX-BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.51956 |  | X | CALC Y
m= | 0.00029313 | 2.584e-05 |  | Std Dev of Resid |  | 0.10254 |  | 4.1165 | -0.2995
b= | -0.30071 | 0.012215 |  | Resid Sum of Squares |  | 1.2513 |  | 1324.18 | 0.087441
# of Values Extracted = |  |  | 154
# of Values Used in Fit = |  |  | 121
File | Use | Pressure | DOX-CTD | DOX-CTD | Diff (DOX-CTD - DOX-BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 223.078 | 0.041347 | 0.0014589 | 0.041347 | -0.23532 | -0.27667 |  | 223.078 | 0.041347
1 | YES | 200.755 | 0.039686 | 0.001544 | 0.039686 | -0.24186 | -0.28155 |  | 200.755 | 0.039686
1 | YES | 175.736 | 0.03864 | 0.0014241 | 0.03864 | -0.2492 | -0.28784 |  | 175.736 | 0.03864
1 | YES | 175.736 | 0.03864 | 0.0014241 | 0.03864 | -0.2492 | -0.28784 |  | 175.736 | 0.03864
1 | YES | 150.58 | 0.037777 | 0.0014053 | -0.014223 | -0.25657 | -0.24235 |  | 150.58 | -0.014223
1 | YES | 125.507 | 0.045256 | 0.0013573 | -0.0067438 | -0.26392 | -0.25718 |  | 125.507 | -0.0067438
1 | NO | 100.294 | 1.0421 | 0.0010533 | 0.021124 | -0.27131 | -0.29244 |  | 50.2447 | -0.28687
1 | NO | 75.4472 | 4.3732 | 0.001551 | 0.09719 | -0.2786 | -0.37579 |  | 25.1691 | -0.22755
1 | YES | 50.2447 | 3.9761 | 0.0089666 | -0.28687 | -0.28598 | 0.00088484 |  | 10.5793 | -0.14035
1 | YES | 25.1691 | 4.9535 | 0.0021908 | -0.22755 | -0.29333 | -0.065787 |  | 5.5934 | -0.17916
1 | YES | 10.5793 | 5.2646 | 0.00222 | -0.14035 | -0.29761 | -0.15726 |  | 101.238 | -0.30295
1 | YES | 5.5934 | 5.4998 | 0.00608 | -0.17916 | -0.29907 | -0.11991 |  | 75.6552 | -0.25685
2 | NO | 113.796 | 3.9217 | 0.0014792 | -0.75425 | -0.26735 | 0.48689 |  | 75.6552 | -0.25285
2 | YES | 101.238 | 3.927 | 0.0025653 | -0.30295 | -0.27104 | 0.031914 |  | 51.4082 | -0.29173
2 | YES | 75.6552 | 4.4542 | 0.014993 | -0.25685 | -0.27853 | -0.021688 |  | 26.2553 | -0.28624
2 | YES | 75.6552 | 4.4542 | 0.014993 | -0.25285 | -0.27853 | -0.025688 |  | 10.9283 | -0.28691
2 | YES | 51.4082 | 5.6153 | 0.031662 | -0.29173 | -0.28564 | 0.0060859 |  | 6.1623 | -0.28606
2 | YES | 26.2553 | 6.3078 | 0.0014946 | -0.28624 | -0.29302 | -0.0067751 |  | 1324.18 | -0.028859
2 | YES | 10.9283 | 6.4131 | 0.0024359 | -0.28691 | -0.29751 | -0.010599 |  | 1250.15 | -0.032438
2 | YES | 6.1623 | 6.4839 | 0.0025798 | -0.28606 | -0.2989 | -0.012847 |  | 1001.27 | -0.0093814
3 | YES | 1324.18 | 0.43914 | 0.0019761 | -0.028859 | 0.087441 | 0.1163 |  | 1001.27 | -0.024381
3 | YES | 1250.15 | 0.34756 | 0.0018614 | -0.032438 | 0.065741 | 0.098179 |  | 802.207 | -0.022413
3 | YES | 1001.27 | 0.21762 | 0.0016252 | -0.0093814 | -0.0072124 | 0.0021691 |  | 600.939 | -0.02762
3 | YES | 1001.27 | 0.21762 | 0.0016252 | -0.024381 | -0.0072124 | 0.017169 |  | 402.651 | -0.082603
3 | YES | 802.207 | 0.21859 | 0.0014181 | -0.022413 | -0.065563 | -0.04315 |  | 300.968 | -0.089769
3 | YES | 600.939 | 0.41938 | 0.001392 | -0.02762 | -0.12456 | -0.09694 |  | 250.478 | -0.11267
3 | YES | 402.651 | 1.1904 | 0.0023856 | -0.082603 | -0.18268 | -0.10008 |  | 200.576 | -0.16419
3 | YES | 300.968 | 1.6032 | 0.0015904 | -0.089769 | -0.21249 | -0.12272 |  | 176.465 | -0.18731
3 | YES | 250.478 | 1.9163 | 0.0046929 | -0.11267 | -0.22729 | -0.11462 |  | 149.429 | -0.25548
3 | YES | 200.576 | 2.3758 | 0.0011784 | -0.16419 | -0.24192 | -0.077727 |  | 126.741 | -0.25639
3 | YES | 176.465 | 2.8197 | 0.0025555 | -0.18731 | -0.24898 | -0.061679 |  | 102.079 | -0.2386
3 | YES | 149.429 | 3.2915 | 0.015613 | -0.25548 | -0.25691 | -0.0014306 |  | 75.3486 | -0.31283
3 | YES | 126.741 | 4.1106 | 0.0042473 | -0.25639 | -0.26356 | -0.0071711 |  | 51.234 | -0.28711
3 | YES | 102.079 | 4.5164 | 0.001464 | -0.2386 | -0.27079 | -0.032194 |  | 26.3631 | -0.32514
3 | YES | 75.3486 | 6.2872 | 0.0016601 | -0.31283 | -0.27862 | 0.03421 |  | 10.5238 | -0.27804
3 | YES | 51.234 | 6.3259 | 0.0014307 | -0.28711 | -0.28569 | 0.0014138 |  | 5.7552 | -0.30781
3 | YES | 26.3631 | 6.3509 | 0.0015985 | -0.32514 | -0.29298 | 0.032157 |  | 1249.18 | -0.029636
3 | YES | 10.5238 | 6.365 | 0.0018503 | -0.27804 | -0.29763 | -0.019585 |  | 1249.46 | -0.040665
3 | YES | 5.7552 | 6.3502 | 0.0015828 | -0.30781 | -0.29902 | 0.0087858 |  | 1001.88 | -0.024265
4 | NO | 2001.08 | 1.3199 | 0.002125 | -0.35713 | 0.28586 | 0.64299 |  | 801.144 | -0.034785
4 | NO | 1500.85 | 0.66072 | 0.0022994 | -0.094281 | 0.13923 | 0.23351 |  | 601.429 | -0.029521
4 | YES | 1249.18 | 0.38636 | 0.0015675 | -0.029636 | 0.065457 | 0.095093 |  | 400.882 | -0.095355
4 | YES | 1249.46 | 0.38633 | 0.001632 | -0.040665 | 0.065539 | 0.1062 |  | 301.349 | -0.14778
4 | YES | 1001.88 | 0.23274 | 0.0017596 | -0.024265 | -0.0070336 | 0.017231 |  | 249.591 | -0.16725
4 | YES | 801.144 | 0.21022 | 0.0015557 | -0.034785 | -0.065875 | -0.03109 |  | 201.248 | -0.15355
4 | YES | 601.429 | 0.36448 | 0.0012048 | -0.029521 | -0.12442 | -0.094896 |  | 175.993 | -0.19389
4 | YES | 400.882 | 1.1846 | 0.002689 | -0.095355 | -0.1832 | -0.087847 |  | 150.926 | -0.1374
4 | YES | 301.349 | 2.0862 | 0.0016391 | -0.14778 | -0.21238 | -0.064593 |  | 126.898 | -0.23558
4 | YES | 249.591 | 2.6077 | 0.001997 | -0.16725 | -0.22755 | -0.060301 |  | 101.336 | -0.23771
4 | YES | 201.248 | 3.2064 | 0.011147 | -0.15355 | -0.24172 | -0.088166 |  | 76.2361 | -0.35224
4 | YES | 175.993 | 3.6881 | 0.0024386 | -0.19389 | -0.24912 | -0.055231 |  | 50.6828 | -0.33483
4 | YES | 150.926 | 3.5036 | 0.014901 | -0.1374 | -0.25647 | -0.11907 |  | 24.4999 | -0.31545
4 | YES | 126.898 | 3.6014 | 0.0013023 | -0.23558 | -0.26351 | -0.027936 |  | 11.7625 | -0.31587
4 | YES | 101.336 | 4.0583 | 0.0047879 | -0.23771 | -0.27101 | -0.033296 |  | 5.3231 | -0.32525
4 | YES | 76.2361 | 6.1928 | 0.021222 | -0.35224 | -0.27836 | 0.073876 |  | 1250.62 | -0.025085
4 | YES | 50.6828 | 6.4142 | 0.0027029 | -0.33483 | -0.28585 | 0.04898 |  | 1000.98 | -0.015678
4 | YES | 24.4999 | 6.3995 | 0.0031143 | -0.31545 | -0.29353 | 0.021916 |  | 800.816 | -0.022454
4 | YES | 11.7625 | 6.4031 | 0.0023057 | -0.31587 | -0.29726 | 0.018604 |  | 599.794 | -0.053636
4 | YES | 5.3231 | 6.3998 | 0.0034959 | -0.32525 | -0.29915 | 0.026097 |  | 399.808 | -0.10978
5 | NO | 3200.42 | 2.0914 | 0.0025178 | -0.39261 | 0.63742 | 1.03 |  | 299.57 | -0.17081
5 | NO | 3000.14 | 2.0702 | 0.0028774 | -0.17377 | 0.57871 | 0.75248 |  | 249.991 | -0.2389
5 | NO | 2500.09 | 1.7687 | 0.0023396 | -0.16229 | 0.43213 | 0.59442 |  | 200.278 | -0.25634
5 | NO | 1999.18 | 1.2909 | 0.0019956 | -0.11413 | 0.2853 | 0.39943 |  | 174.298 | -0.28169
5 | NO | 1500.64 | 0.59629 | 0.0020661 | -0.047711 | 0.13917 | 0.18688 |  | 151.632 | -0.27195
5 | NO | 1500.84 | 0.5962 | 0.0020987 | -0.046795 | 0.13922 | 0.18602 |  | 125.804 | -0.24469
5 | YES | 1250.62 | 0.31291 | 0.0020447 | -0.025085 | 0.065879 | 0.090963 |  | 99.1364 | -0.34196
5 | YES | 1000.98 | 0.23832 | 0.0018449 | -0.015678 | -0.0072974 | 0.0083803 |  | 76.393 | -0.33762
5 | YES | 800.816 | 0.30855 | 0.0016279 | -0.022454 | -0.065971 | -0.043516 |  | 49.9324 | -0.32939
5 | YES | 599.794 | 0.60036 | 0.0015969 | -0.053636 | -0.1249 | -0.071259 |  | 24.8294 | -0.34046
5 | YES | 399.808 | 1.4012 | 0.00202 | -0.10978 | -0.18352 | -0.073735 |  | 10.1453 | -0.33034
5 | YES | 299.57 | 2.2172 | 0.0042157 | -0.17081 | -0.2129 | -0.042089 |  | 5.5845 | -0.35682
5 | YES | 249.991 | 2.9031 | 0.01429 | -0.2389 | -0.22743 | 0.011469 |  | 1253.52 | -0.022692
5 | YES | 200.278 | 3.9217 | 0.0017299 | -0.25634 | -0.242 | 0.014335 |  | 1001.28 | -0.0067273
5 | YES | 174.298 | 4.2503 | 0.010815 | -0.28169 | -0.24962 | 0.032074 |  | 801.384 | -0.022157
5 | YES | 151.632 | 4.611 | 0.001825 | -0.27195 | -0.25626 | 0.015686 |  | 600.599 | -0.062562
5 | YES | 125.804 | 4.9273 | 0.011633 | -0.24469 | -0.26383 | -0.019141 |  | 400.794 | -0.11617
5 | YES | 99.1364 | 6.386 | 0.0029732 | -0.34196 | -0.27165 | 0.070307 |  | 299.05 | -0.16498
5 | YES | 76.393 | 6.3984 | 0.0020586 | -0.33762 | -0.27832 | 0.059302 |  | 252.419 | -0.19057
5 | YES | 49.9324 | 6.4206 | 0.0023465 | -0.32939 | -0.28607 | 0.043314 |  | 199.301 | -0.24754
5 | YES | 24.8294 | 6.4366 | 0.0032353 | -0.34046 | -0.29343 | 0.047022 |  | 176.2 | -0.25799
5 | YES | 10.1453 | 6.4457 | 0.0028183 | -0.33034 | -0.29774 | 0.032602 |  | 150.82 | -0.40168
5 | YES | 5.5845 | 6.4322 | 0.010363 | -0.35682 | -0.29907 | 0.057744 |  | 126.37 | -0.34769
6 | NO | 3674.55 | 2.5206 | 0.0027416 | -0.58145 | 0.7764 | 1.3578 |  | 100.426 | -0.44893
6 | NO | 3501.17 | 2.4788 | 0.0029411 | -0.27916 | 0.72557 | 1.0047 |  | 75.9724 | -0.3952
6 | NO | 2999.45 | 2.2096 | 0.0022103 | -0.20937 | 0.57851 | 0.78788 |  | 51.6684 | -0.37608
6 | NO | 2498.94 | 1.7623 | 0.0023365 | -0.20166 | 0.43179 | 0.63346 |  | 26.4694 | -0.36194
6 | NO | 2000.95 | 1.2399 | 0.0023676 | -0.10707 | 0.28582 | 0.39289 |  | 10.6649 | -0.38575
6 | NO | 2000.95 | 1.2399 | 0.0023676 | -0.30807 | 0.28582 | 0.59389 |  | 5.9121 | -0.29514
6 | NO | 1501.6 | 0.50612 | 0.0018894 | -0.035884 | 0.13945 | 0.17533 |  | 1001.33 | -0.029074
6 | YES | 1253.52 | 0.27931 | 0.0019858 | -0.022692 | 0.066729 | 0.089421 |  | 798.273 | -0.01795
6 | YES | 1001.28 | 0.23527 | 0.0019622 | -0.0067273 | -0.0072094 | -0.00048216 |  | 600.711 | -0.042116
6 | YES | 801.384 | 0.30384 | 0.0018212 | -0.022157 | -0.065804 | -0.043647 |  | 399.141 | -0.10862
6 | YES | 600.599 | 0.60844 | 0.0020285 | -0.062562 | -0.12466 | -0.062098 |  | 299.095 | -0.19451
6 | YES | 400.794 | 1.3498 | 0.001716 | -0.11617 | -0.18323 | -0.067054 |  | 249.239 | -0.18135
6 | YES | 299.05 | 1.793 | 0.005111 | -0.16498 | -0.21305 | -0.048069 |  | 199.076 | -0.25891
6 | YES | 252.419 | 2.4054 | 0.0024203 | -0.19057 | -0.22672 | -0.036151 |  | 175.572 | -0.23412
6 | YES | 199.301 | 2.8695 | 0.0047785 | -0.24754 | -0.24229 | 0.0052542 |  | 149.177 | -0.39854
6 | YES | 176.2 | 3.694 | 0.003707 | -0.25799 | -0.24906 | 0.0089297 |  | 124.453 | -0.39636
6 | YES | 150.82 | 4.8903 | 0.0075776 | -0.40168 | -0.2565 | 0.14518 |  | 101.936 | -0.44319
6 | YES | 126.37 | 5.3783 | 0.0020938 | -0.34769 | -0.26367 | 0.084017 |  | 75.8176 | -0.43366
6 | YES | 100.426 | 6.0541 | 0.0045676 | -0.44893 | -0.27127 | 0.17766 |  | 50.0663 | -0.44251
6 | YES | 75.9724 | 6.4388 | 0.0034147 | -0.3952 | -0.27844 | 0.11676 |  | 24.5427 | -0.41083
6 | YES | 51.6684 | 6.4709 | 0.0029285 | -0.37608 | -0.28557 | 0.090517 |  | 9.8972 | -0.40776
6 | YES | 26.4694 | 6.4811 | 0.0013981 | -0.36194 | -0.29295 | 0.06899 |  | 4.1165 | -0.39526
6 | YES | 10.6649 | 6.4653 | 0.0074993 | -0.38575 | -0.29759 | 0.088167 |  | 1250.28 | -0.028702
6 | YES | 5.9121 | 6.4819 | 0.0023921 | -0.29514 | -0.29898 | -0.0038382 |  | 1002.85 | -0.050603
7 | NO | 3999.48 | 2.7485 | 0.0028813 | -0.49852 | 0.87164 | 1.3702 |  | 799.416 | -0.055438
7 | NO | 3501.79 | 2.6149 | 0.0024884 | -0.28305 | 0.72576 | 1.0088 |  | 602.617 | -0.078413
7 | NO | 3501.17 | 2.6149 | 0.0024229 | -0.27313 | 0.72557 | 0.99871 |  | 400.188 | -0.13205
7 | NO | 3000.91 | 2.2808 | 0.0025193 | -0.25317 | 0.57894 | 0.83211 |  | 298.565 | -0.09505
7 | NO | 2500.1 | 1.7601 | 0.0019227 | -0.18489 | 0.43213 | 0.61703 |  | 250.406 | -0.12422
7 | NO | 2000.3 | 1.1561 | 0.002073 | -0.10995 | 0.28563 | 0.39558 |  | 200.921 | -0.17736
7 | NO | 1498.26 | 0.49175 | 0.0014672 | -0.061252 | 0.13847 | 0.19972 |  | 174.735 | -0.23737
7 | NO | 1251.76 | 0.32084 | 0.0019622 | -0.031157 | 0.066213 | 0.09737 |  | 152.107 | -0.25512
7 | YES | 1001.33 | 0.27493 | 0.0017615 | -0.029074 | -0.0071948 | 0.02188 |  | 123.544 | -0.39203
7 | YES | 798.273 | 0.34605 | 0.0012237 | -0.01795 | -0.066716 | -0.048766 |  | 100.287 | -0.47692
7 | YES | 600.711 | 0.56388 | 0.002126 | -0.042116 | -0.12463 | -0.082511 |  | 74.4088 | -0.45765
7 | YES | 399.141 | 1.1554 | 0.0018541 | -0.10862 | -0.18371 | -0.075092 |  | 49.3798 | -0.48655
7 | YES | 299.095 | 1.6645 | 0.0016937 | -0.19451 | -0.21304 | -0.018527 |  | 24.7867 | -0.476
7 | YES | 249.239 | 2.0756 | 0.0021123 | -0.18135 | -0.22765 | -0.046306 |  | 9.1435 | -0.4766
7 | YES | 199.076 | 2.7611 | 0.0091667 | -0.25891 | -0.24236 | 0.01655 |  | 5.3508 | -0.45083
7 | YES | 175.572 | 3.2069 | 0.0021314 | -0.23412 | -0.24925 | -0.015122
7 | YES | 149.177 | 3.9135 | 0.025385 | -0.39854 | -0.25698 | 0.14156
7 | YES | 124.453 | 4.8336 | 0.013838 | -0.39636 | -0.26423 | 0.13212
7 | YES | 101.936 | 5.3148 | 0.0086827 | -0.44319 | -0.27083 | 0.17236
7 | YES | 75.8176 | 6.5183 | 0.0045763 | -0.43366 | -0.27849 | 0.15517
7 | YES | 50.0663 | 6.5235 | 0.0051496 | -0.44251 | -0.28604 | 0.15648
7 | YES | 24.5427 | 6.5462 | 0.0018227 | -0.41083 | -0.29352 | 0.11732
7 | YES | 9.8972 | 6.5432 | 0.0047223 | -0.40776 | -0.29781 | 0.10995
7 | YES | 4.1165 | 6.5407 | 0.0048331 | -0.39526 | -0.2995 | 0.095751
8 | NO | 4000.37 | 2.8965 | 0.0028984 | -0.74754 | 0.8719 | 1.6194
8 | NO | 3501.53 | 2.6641 | 0.0027254 | -0.32585 | 0.72568 | 1.0515
8 | NO | 3001.69 | 2.3152 | 0.0024001 | -0.2628 | 0.57916 | 0.84197
8 | NO | 2501.03 | 1.8225 | 0.0026603 | -0.20253 | 0.43241 | 0.63493
8 | NO | 2501.03 | 1.8225 | 0.0026603 | -0.18953 | 0.43241 | 0.62193
8 | NO | 2000.99 | 1.2438 | 0.0023118 | -0.13715 | 0.28583 | 0.42298
8 | NO | 1501.34 | 0.57912 | 0.0021954 | -0.050884 | 0.13937 | 0.19026
8 | YES | 1250.28 | 0.4003 | 0.0018011 | -0.028702 | 0.065779 | 0.094482
8 | YES | 1002.85 | 0.3784 | 0.0017864 | -0.050603 | -0.0067492 | 0.043854
8 | YES | 799.416 | 0.42356 | 0.0020037 | -0.055438 | -0.066381 | -0.010943
8 | YES | 602.617 | 0.51159 | 0.0018871 | -0.078413 | -0.12407 | -0.045655
8 | YES | 400.188 | 0.70795 | 0.0018967 | -0.13205 | -0.18341 | -0.051355
8 | YES | 298.565 | 1.0259 | 0.0012836 | -0.09505 | -0.21319 | -0.11814
8 | YES | 250.406 | 1.3778 | 0.0014618 | -0.12422 | -0.22731 | -0.1031
8 | YES | 200.921 | 1.9436 | 0.0018166 | -0.17736 | -0.24182 | -0.064452
8 | YES | 174.735 | 2.2576 | 0.0031521 | -0.23737 | -0.24949 | -0.01212
8 | YES | 152.107 | 2.6899 | 0.0054 | -0.25512 | -0.25612 | -0.0010006
8 | YES | 123.544 | 3.969 | 0.022575 | -0.39203 | -0.2645 | 0.12754
8 | YES | 100.287 | 5.4841 | 0.0041456 | -0.47692 | -0.27131 | 0.20561
8 | YES | 74.4088 | 6.5763 | 0.010214 | -0.45765 | -0.2789 | 0.17875
8 | YES | 49.3798 | 6.5755 | 0.010311 | -0.48655 | -0.28624 | 0.20032
8 | YES | 24.7867 | 6.589 | 0.011316 | -0.476 | -0.29345 | 0.18255
8 | YES | 9.1435 | 6.5924 | 0.0078321 | -0.4766 | -0.29803 | 0.17857
8 | YES | 5.3508 | 6.6052 | 0.0031126 | -0.45083 | -0.29914 | 0.15169
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX-CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX-CTD - DOX-BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX-CTD - DOX-BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX-CTD - DOX-BOT), Prop=DOX-CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.84734 |  | X | CALC Y
m= | -0.054624 | 0.0021165 |  | Std Dev of Resid |  | 0.057768 |  | 0.037777 | -0.028199
b= | -0.026135 | 0.0087431 |  | Resid Sum of Squares |  | 0.40046 |  | 6.6052 | -0.38694
# of Values Extracted = |  |  | 154
# of Values Used in Fit = |  |  | 122
File | Use | Pressure | DOX-CTD | DOX-CTD | Diff (DOX-CTD - DOX-BOT) |  |  |  | Fit vs. | DOX-CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 223.078 | 0.041347 | 0.0014589 | 0.041347 | -0.028394 | -0.069741 |  | 0.041347 | 0.041347
1 | YES | 200.755 | 0.039686 | 0.001544 | 0.039686 | -0.028303 | -0.067989 |  | 0.039686 | 0.039686
1 | YES | 175.736 | 0.03864 | 0.0014241 | 0.03864 | -0.028246 | -0.066886 |  | 0.03864 | 0.03864
1 | YES | 175.736 | 0.03864 | 0.0014241 | 0.03864 | -0.028246 | -0.066886 |  | 0.03864 | 0.03864
1 | YES | 150.58 | 0.037777 | 0.0014053 | -0.014223 | -0.028199 | -0.013976 |  | 0.037777 | -0.014223
1 | YES | 125.507 | 0.045256 | 0.0013573 | -0.0067438 | -0.028607 | -0.021863 |  | 0.045256 | -0.0067438
1 | NO | 100.294 | 1.0421 | 0.0010533 | 0.021124 | -0.08306 | -0.10418 |  | 3.9761 | -0.28687
1 | NO | 75.4472 | 4.3732 | 0.001551 | 0.09719 | -0.26502 | -0.36221 |  | 4.9535 | -0.22755
1 | YES | 50.2447 | 3.9761 | 0.0089666 | -0.28687 | -0.24333 | 0.043541 |  | 5.2646 | -0.14035
1 | YES | 25.1691 | 4.9535 | 0.0021908 | -0.22755 | -0.29671 | -0.069166 |  | 5.4998 | -0.17916
1 | YES | 10.5793 | 5.2646 | 0.00222 | -0.14035 | -0.31371 | -0.17336 |  | 3.927 | -0.30295
1 | YES | 5.5934 | 5.4998 | 0.00608 | -0.17916 | -0.32656 | -0.1474 |  | 4.4542 | -0.25685
2 | NO | 113.796 | 3.9217 | 0.0014792 | -0.75425 | -0.24036 | 0.51389 |  | 4.4542 | -0.25285
2 | YES | 101.238 | 3.927 | 0.0025653 | -0.30295 | -0.24065 | 0.062304 |  | 5.6153 | -0.29173
2 | YES | 75.6552 | 4.4542 | 0.014993 | -0.25685 | -0.26944 | -0.012591 |  | 6.3078 | -0.28624
2 | YES | 75.6552 | 4.4542 | 0.014993 | -0.25285 | -0.26944 | -0.016591 |  | 6.4131 | -0.28691
2 | YES | 51.4082 | 5.6153 | 0.031662 | -0.29173 | -0.33286 | -0.041135 |  | 6.4839 | -0.28606
2 | YES | 26.2553 | 6.3078 | 0.0014946 | -0.28624 | -0.37069 | -0.08445 |  | 0.43914 | -0.028859
2 | YES | 10.9283 | 6.4131 | 0.0024359 | -0.28691 | -0.37644 | -0.089534 |  | 0.34756 | -0.032438
2 | YES | 6.1623 | 6.4839 | 0.0025798 | -0.28606 | -0.38031 | -0.094255 |  | 0.21762 | -0.0093814
3 | YES | 1324.18 | 0.43914 | 0.0019761 | -0.028859 | -0.050123 | -0.021263 |  | 0.21762 | -0.024381
3 | YES | 1250.15 | 0.34756 | 0.0018614 | -0.032438 | -0.04512 | -0.012682 |  | 0.21859 | -0.022413
3 | YES | 1001.27 | 0.21762 | 0.0016252 | -0.0093814 | -0.038022 | -0.028641 |  | 0.41938 | -0.02762
3 | YES | 1001.27 | 0.21762 | 0.0016252 | -0.024381 | -0.038022 | -0.013641 |  | 1.1904 | -0.082603
3 | YES | 802.207 | 0.21859 | 0.0014181 | -0.022413 | -0.038075 | -0.015662 |  | 1.6032 | -0.089769
3 | YES | 600.939 | 0.41938 | 0.001392 | -0.02762 | -0.049043 | -0.021424 |  | 1.9163 | -0.11267
3 | YES | 402.651 | 1.1904 | 0.0023856 | -0.082603 | -0.091159 | -0.0085561 |  | 2.3758 | -0.16419
3 | YES | 300.968 | 1.6032 | 0.0015904 | -0.089769 | -0.11371 | -0.023941 |  | 2.8197 | -0.18731
3 | YES | 250.478 | 1.9163 | 0.0046929 | -0.11267 | -0.13081 | -0.018144 |  | 3.2915 | -0.25548
3 | YES | 200.576 | 2.3758 | 0.0011784 | -0.16419 | -0.15591 | 0.0082789 |  | 4.1106 | -0.25639
3 | YES | 176.465 | 2.8197 | 0.0025555 | -0.18731 | -0.18016 | 0.0071484 |  | 4.5164 | -0.2386
3 | YES | 149.429 | 3.2915 | 0.015613 | -0.25548 | -0.20593 | 0.049548 |  | 6.2872 | -0.31283
3 | YES | 126.741 | 4.1106 | 0.0042473 | -0.25639 | -0.25067 | 0.0057163 |  | 6.3259 | -0.28711
3 | YES | 102.079 | 4.5164 | 0.001464 | -0.2386 | -0.27284 | -0.034244 |  | 6.3509 | -0.32514
3 | YES | 75.3486 | 6.2872 | 0.0016601 | -0.31283 | -0.36956 | -0.05673 |  | 6.365 | -0.27804
3 | YES | 51.234 | 6.3259 | 0.0014307 | -0.28711 | -0.37168 | -0.084573 |  | 6.3502 | -0.30781
3 | YES | 26.3631 | 6.3509 | 0.0015985 | -0.32514 | -0.37304 | -0.047904 |  | 0.38636 | -0.029636
3 | YES | 10.5238 | 6.365 | 0.0018503 | -0.27804 | -0.37381 | -0.095773 |  | 0.38633 | -0.040665
3 | YES | 5.7552 | 6.3502 | 0.0015828 | -0.30781 | -0.37301 | -0.065197 |  | 0.23274 | -0.024265
4 | NO | 2001.08 | 1.3199 | 0.002125 | -0.35713 | -0.098232 | 0.2589 |  | 0.21022 | -0.034785
4 | NO | 1500.85 | 0.66072 | 0.0022994 | -0.094281 | -0.062226 | 0.032055 |  | 0.36448 | -0.029521
4 | YES | 1249.18 | 0.38636 | 0.0015675 | -0.029636 | -0.04724 | -0.017604 |  | 1.1846 | -0.095355
4 | YES | 1249.46 | 0.38633 | 0.001632 | -0.040665 | -0.047238 | -0.006573 |  | 2.0862 | -0.14778
4 | YES | 1001.88 | 0.23274 | 0.0017596 | -0.024265 | -0.038848 | -0.014584 |  | 2.6077 | -0.16725
4 | YES | 801.144 | 0.21022 | 0.0015557 | -0.034785 | -0.037618 | -0.0028328 |  | 3.2064 | -0.15355
4 | YES | 601.429 | 0.36448 | 0.0012048 | -0.029521 | -0.046044 | -0.016524 |  | 3.6881 | -0.19389
4 | YES | 400.882 | 1.1846 | 0.002689 | -0.095355 | -0.090845 | 0.0045106 |  | 3.5036 | -0.1374
4 | YES | 301.349 | 2.0862 | 0.0016391 | -0.14778 | -0.14009 | 0.007693 |  | 3.6014 | -0.23558
4 | YES | 249.591 | 2.6077 | 0.001997 | -0.16725 | -0.16858 | -0.0013326 |  | 4.0583 | -0.23771
4 | YES | 201.248 | 3.2064 | 0.011147 | -0.15355 | -0.20128 | -0.04773 |  | 6.1928 | -0.35224
4 | YES | 175.993 | 3.6881 | 0.0024386 | -0.19389 | -0.22759 | -0.033702 |  | 6.4142 | -0.33483
4 | YES | 150.926 | 3.5036 | 0.014901 | -0.1374 | -0.21752 | -0.08011 |  | 6.3995 | -0.31545
4 | YES | 126.898 | 3.6014 | 0.0013023 | -0.23558 | -0.22286 | 0.012719 |  | 6.4031 | -0.31587
4 | YES | 101.336 | 4.0583 | 0.0047879 | -0.23771 | -0.24781 | -0.010104 |  | 6.3998 | -0.32525
4 | YES | 76.2361 | 6.1928 | 0.021222 | -0.35224 | -0.36441 | -0.012168 |  | 0.31291 | -0.025085
4 | YES | 50.6828 | 6.4142 | 0.0027029 | -0.33483 | -0.3765 | -0.041667 |  | 0.23832 | -0.015678
4 | YES | 24.4999 | 6.3995 | 0.0031143 | -0.31545 | -0.3757 | -0.060257 |  | 0.30855 | -0.022454
4 | YES | 11.7625 | 6.4031 | 0.0023057 | -0.31587 | -0.3759 | -0.060032 |  | 0.60036 | -0.053636
4 | YES | 5.3231 | 6.3998 | 0.0034959 | -0.32525 | -0.37571 | -0.050466 |  | 1.4012 | -0.10978
5 | NO | 3200.42 | 2.0914 | 0.0025178 | -0.39261 | -0.14037 | 0.25224 |  | 2.2172 | -0.17081
5 | NO | 3000.14 | 2.0702 | 0.0028774 | -0.17377 | -0.13922 | 0.03455 |  | 2.9031 | -0.2389
5 | NO | 2500.09 | 1.7687 | 0.0023396 | -0.16229 | -0.12275 | 0.03954 |  | 3.9217 | -0.25634
5 | NO | 1999.18 | 1.2909 | 0.0019956 | -0.11413 | -0.096647 | 0.017485 |  | 4.2503 | -0.28169
5 | NO | 1500.64 | 0.59629 | 0.0020661 | -0.047711 | -0.058707 | -0.010995 |  | 4.611 | -0.27195
5 | NO | 1500.84 | 0.5962 | 0.0020987 | -0.046795 | -0.058702 | -0.011907 |  | 4.9273 | -0.24469
5 | YES | 1250.62 | 0.31291 | 0.0020447 | -0.025085 | -0.043228 | -0.018143 |  | 6.386 | -0.34196
5 | YES | 1000.98 | 0.23832 | 0.0018449 | -0.015678 | -0.039153 | -0.023476 |  | 6.3984 | -0.33762
5 | YES | 800.816 | 0.30855 | 0.0016279 | -0.022454 | -0.042989 | -0.020535 |  | 6.4206 | -0.32939
5 | YES | 599.794 | 0.60036 | 0.0015969 | -0.053636 | -0.058929 | -0.005293 |  | 6.4366 | -0.34046
5 | YES | 399.808 | 1.4012 | 0.00202 | -0.10978 | -0.10268 | 0.0071068 |  | 6.4457 | -0.33034
5 | YES | 299.57 | 2.2172 | 0.0042157 | -0.17081 | -0.14725 | 0.023563 |  | 6.4322 | -0.35682
5 | YES | 249.991 | 2.9031 | 0.01429 | -0.2389 | -0.18471 | 0.054187 |  | 0.27931 | -0.022692
5 | YES | 200.278 | 3.9217 | 0.0017299 | -0.25634 | -0.24035 | 0.015988 |  | 0.23527 | -0.0067273
5 | YES | 174.298 | 4.2503 | 0.010815 | -0.28169 | -0.2583 | 0.02339 |  | 0.30384 | -0.022157
5 | YES | 151.632 | 4.611 | 0.001825 | -0.27195 | -0.27801 | -0.0060586 |  | 0.60844 | -0.062562
5 | YES | 125.804 | 4.9273 | 0.011633 | -0.24469 | -0.29528 | -0.05059 |  | 1.3498 | -0.11617
5 | YES | 99.1364 | 6.386 | 0.0029732 | -0.34196 | -0.37497 | -0.033007 |  | 1.793 | -0.16498
5 | YES | 76.393 | 6.3984 | 0.0020586 | -0.33762 | -0.37564 | -0.03802 |  | 2.4054 | -0.19057
5 | YES | 49.9324 | 6.4206 | 0.0023465 | -0.32939 | -0.37685 | -0.047465 |  | 2.8695 | -0.24754
5 | YES | 24.8294 | 6.4366 | 0.0032353 | -0.34046 | -0.37772 | -0.03727 |  | 3.694 | -0.25799
5 | YES | 10.1453 | 6.4457 | 0.0028183 | -0.33034 | -0.37822 | -0.047883 |  | 4.8903 | -0.40168
5 | YES | 5.5845 | 6.4322 | 0.010363 | -0.35682 | -0.37749 | -0.020668 |  | 5.3783 | -0.34769
6 | NO | 3674.55 | 2.5206 | 0.0027416 | -0.58145 | -0.16382 | 0.41763 |  | 6.0541 | -0.44893
6 | NO | 3501.17 | 2.4788 | 0.0029411 | -0.27916 | -0.16154 | 0.11762 |  | 6.4388 | -0.3952
6 | NO | 2999.45 | 2.2096 | 0.0022103 | -0.20937 | -0.14683 | 0.062538 |  | 6.4709 | -0.37608
6 | NO | 2498.94 | 1.7623 | 0.0023365 | -0.20166 | -0.1224 | 0.07926 |  | 6.4811 | -0.36194
6 | NO | 2000.95 | 1.2399 | 0.0023676 | -0.10707 | -0.093865 | 0.013201 |  | 6.4653 | -0.38575
6 | NO | 2000.95 | 1.2399 | 0.0023676 | -0.30807 | -0.093865 | 0.2142 |  | 6.4819 | -0.29514
6 | NO | 1501.6 | 0.50612 | 0.0018894 | -0.035884 | -0.053781 | -0.017897 |  | 0.49175 | -0.061252
6 | YES | 1253.52 | 0.27931 | 0.0019858 | -0.022692 | -0.041392 | -0.0187 |  | 0.32084 | -0.031157
6 | YES | 1001.28 | 0.23527 | 0.0019622 | -0.0067273 | -0.038987 | -0.032259 |  | 0.27493 | -0.029074
6 | YES | 801.384 | 0.30384 | 0.0018212 | -0.022157 | -0.042732 | -0.020575 |  | 0.34605 | -0.01795
6 | YES | 600.599 | 0.60844 | 0.0020285 | -0.062562 | -0.05937 | 0.0031916 |  | 0.56388 | -0.042116
6 | YES | 400.794 | 1.3498 | 0.001716 | -0.11617 | -0.099868 | 0.016306 |  | 1.1554 | -0.10862
6 | YES | 299.05 | 1.793 | 0.005111 | -0.16498 | -0.12408 | 0.040906 |  | 1.6645 | -0.19451
6 | YES | 252.419 | 2.4054 | 0.0024203 | -0.19057 | -0.15753 | 0.033041 |  | 2.0756 | -0.18135
6 | YES | 199.301 | 2.8695 | 0.0047785 | -0.24754 | -0.18288 | 0.064669 |  | 2.7611 | -0.25891
6 | YES | 176.2 | 3.694 | 0.003707 | -0.25799 | -0.22792 | 0.030076 |  | 3.2069 | -0.23412
6 | YES | 150.82 | 4.8903 | 0.0075776 | -0.40168 | -0.29326 | 0.10841 |  | 3.9135 | -0.39854
6 | YES | 126.37 | 5.3783 | 0.0020938 | -0.34769 | -0.31992 | 0.027767 |  | 4.8336 | -0.39636
6 | YES | 100.426 | 6.0541 | 0.0045676 | -0.44893 | -0.35683 | 0.092102 |  | 5.3148 | -0.44319
6 | YES | 75.9724 | 6.4388 | 0.0034147 | -0.3952 | -0.37785 | 0.017351 |  | 6.5183 | -0.43366
6 | YES | 51.6684 | 6.4709 | 0.0029285 | -0.37608 | -0.3796 | -0.003519 |  | 6.5235 | -0.44251
6 | YES | 26.4694 | 6.4811 | 0.0013981 | -0.36194 | -0.38016 | -0.018214 |  | 6.5462 | -0.41083
6 | YES | 10.6649 | 6.4653 | 0.0074993 | -0.38575 | -0.37929 | 0.0064597 |  | 6.5432 | -0.40776
6 | YES | 5.9121 | 6.4819 | 0.0023921 | -0.29514 | -0.3802 | -0.08506 |  | 0.4003 | -0.028702
7 | NO | 3999.48 | 2.7485 | 0.0028813 | -0.49852 | -0.17627 | 0.32225 |  | 0.3784 | -0.050603
7 | NO | 3501.79 | 2.6149 | 0.0024884 | -0.28305 | -0.16897 | 0.11408 |  | 0.42356 | -0.055438
7 | NO | 3501.17 | 2.6149 | 0.0024229 | -0.27313 | -0.16897 | 0.10416 |  | 0.51159 | -0.078413
7 | NO | 3000.91 | 2.2808 | 0.0025193 | -0.25317 | -0.15072 | 0.10245 |  | 0.70795 | -0.13205
7 | NO | 2500.1 | 1.7601 | 0.0019227 | -0.18489 | -0.12228 | 0.062614 |  | 1.0259 | -0.09505
7 | NO | 2000.3 | 1.1561 | 0.002073 | -0.10995 | -0.089283 | 0.020667 |  | 1.3778 | -0.12422
7 | YES | 1498.26 | 0.49175 | 0.0014672 | -0.061252 | -0.052996 | 0.008256 |  | 1.9436 | -0.17736
7 | YES | 1251.76 | 0.32084 | 0.0019622 | -0.031157 | -0.043661 | -0.012504 |  | 2.2576 | -0.23737
7 | YES | 1001.33 | 0.27493 | 0.0017615 | -0.029074 | -0.041153 | -0.012078 |  | 2.6899 | -0.25512
7 | YES | 798.273 | 0.34605 | 0.0012237 | -0.01795 | -0.045038 | -0.027087 |  | 3.969 | -0.39203
7 | YES | 600.711 | 0.56388 | 0.002126 | -0.042116 | -0.056937 | -0.014821 |  | 5.4841 | -0.47692
7 | YES | 399.141 | 1.1554 | 0.0018541 | -0.10862 | -0.089246 | 0.019374 |  | 6.5763 | -0.45765
7 | YES | 299.095 | 1.6645 | 0.0016937 | -0.19451 | -0.11706 | 0.077456 |  | 6.5755 | -0.48655
7 | YES | 249.239 | 2.0756 | 0.0021123 | -0.18135 | -0.13952 | 0.041832 |  | 6.589 | -0.476
7 | YES | 199.076 | 2.7611 | 0.0091667 | -0.25891 | -0.17696 | 0.08195 |  | 6.5924 | -0.4766
7 | YES | 175.572 | 3.2069 | 0.0021314 | -0.23412 | -0.20131 | 0.032817 |  | 6.6052 | -0.45083
7 | YES | 149.177 | 3.9135 | 0.025385 | -0.39854 | -0.2399 | 0.15864
7 | YES | 124.453 | 4.8336 | 0.013838 | -0.39636 | -0.29017 | 0.10619
7 | YES | 101.936 | 5.3148 | 0.0086827 | -0.44319 | -0.31645 | 0.12674
7 | YES | 75.8176 | 6.5183 | 0.0045763 | -0.43366 | -0.38219 | 0.051469
7 | YES | 50.0663 | 6.5235 | 0.0051496 | -0.44251 | -0.38247 | 0.060039
7 | YES | 24.5427 | 6.5462 | 0.0018227 | -0.41083 | -0.38371 | 0.027122
7 | YES | 9.8972 | 6.5432 | 0.0047223 | -0.40776 | -0.38355 | 0.024209
7 | NO | 4.1165 | 6.5407 | 0.0048331 | -0.39526 | -0.38342 | 0.01184
8 | NO | 4000.37 | 2.8965 | 0.0028984 | -0.74754 | -0.18435 | 0.56319
8 | NO | 3501.53 | 2.6641 | 0.0027254 | -0.32585 | -0.17166 | 0.15419
8 | NO | 3001.69 | 2.3152 | 0.0024001 | -0.2628 | -0.1526 | 0.1102
8 | NO | 2501.03 | 1.8225 | 0.0026603 | -0.20253 | -0.12569 | 0.07684
8 | NO | 2501.03 | 1.8225 | 0.0026603 | -0.18953 | -0.12569 | 0.06384
8 | NO | 2000.99 | 1.2438 | 0.0023118 | -0.13715 | -0.094079 | 0.04307
8 | NO | 1501.34 | 0.57912 | 0.0021954 | -0.050884 | -0.057769 | -0.0068844
8 | YES | 1250.28 | 0.4003 | 0.0018011 | -0.028702 | -0.048001 | -0.019298
8 | YES | 1002.85 | 0.3784 | 0.0017864 | -0.050603 | -0.046805 | 0.0037986
8 | YES | 799.416 | 0.42356 | 0.0020037 | -0.055438 | -0.049272 | 0.0061663
8 | YES | 602.617 | 0.51159 | 0.0018871 | -0.078413 | -0.05408 | 0.024333
8 | YES | 400.188 | 0.70795 | 0.0018967 | -0.13205 | -0.064806 | 0.067244
8 | YES | 298.565 | 1.0259 | 0.0012836 | -0.09505 | -0.082177 | 0.012873
8 | YES | 250.406 | 1.3778 | 0.0014618 | -0.12422 | -0.1014 | 0.02282
8 | YES | 200.921 | 1.9436 | 0.0018166 | -0.17736 | -0.1323 | 0.04506
8 | YES | 174.735 | 2.2576 | 0.0031521 | -0.23737 | -0.14946 | 0.087916
8 | YES | 152.107 | 2.6899 | 0.0054 | -0.25512 | -0.17307 | 0.082057
8 | YES | 123.544 | 3.969 | 0.022575 | -0.39203 | -0.24294 | 0.1491
8 | YES | 100.287 | 5.4841 | 0.0041456 | -0.47692 | -0.3257 | 0.15123
8 | YES | 74.4088 | 6.5763 | 0.010214 | -0.45765 | -0.38536 | 0.072292
8 | YES | 49.3798 | 6.5755 | 0.010311 | -0.48655 | -0.38531 | 0.10124
8 | YES | 24.7867 | 6.589 | 0.011316 | -0.476 | -0.38605 | 0.089948
8 | YES | 9.1435 | 6.5924 | 0.0078321 | -0.4766 | -0.38624 | 0.090365
8 | YES | 5.3508 | 6.6052 | 0.0031126 | -0.45083 | -0.38694 | 0.0639
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX-CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX-CTD - DOX-BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX-CTD - DOX-BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX-CTD - DOX-BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.084729 |  | X | CALC Y
m= | -0.020098 | 0.0060051 |  | Std Dev of Resid |  | 0.1418 |  | 1 | -0.13022
b= | -0.11012 | 0.032052 |  | Resid Sum of Squares |  | 2.4331 |  | 8 | -0.2709
# of Values Extracted = |  |  | 154
# of Values Used in Fit = |  |  | 123
File | Use | Pressure | DOX-CTD | DOX-CTD | Diff (DOX-CTD - DOX-BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 223.078 | 0.041347 | 0.0014589 | 0.041347 | -0.13022 | -0.17156 |  | 1 | 0.041347
1 | YES | 200.755 | 0.039686 | 0.001544 | 0.039686 | -0.13022 | -0.1699 |  | 1 | 0.039686
1 | YES | 175.736 | 0.03864 | 0.0014241 | 0.03864 | -0.13022 | -0.16886 |  | 1 | 0.03864
1 | YES | 175.736 | 0.03864 | 0.0014241 | 0.03864 | -0.13022 | -0.16886 |  | 1 | 0.03864
1 | YES | 150.58 | 0.037777 | 0.0014053 | -0.014223 | -0.13022 | -0.11599 |  | 1 | -0.014223
1 | YES | 125.507 | 0.045256 | 0.0013573 | -0.0067438 | -0.13022 | -0.12347 |  | 1 | -0.0067438
1 | NO | 100.294 | 1.0421 | 0.0010533 | 0.021124 | -0.13022 | -0.15134 |  | 1 | -0.28687
1 | NO | 75.4472 | 4.3732 | 0.001551 | 0.09719 | -0.13022 | -0.22741 |  | 1 | -0.22755
1 | YES | 50.2447 | 3.9761 | 0.0089666 | -0.28687 | -0.13022 | 0.15665 |  | 1 | -0.14035
1 | YES | 25.1691 | 4.9535 | 0.0021908 | -0.22755 | -0.13022 | 0.097328 |  | 1 | -0.17916
1 | YES | 10.5793 | 5.2646 | 0.00222 | -0.14035 | -0.13022 | 0.010129 |  | 2 | -0.30295
1 | YES | 5.5934 | 5.4998 | 0.00608 | -0.17916 | -0.13022 | 0.048939 |  | 2 | -0.25685
2 | NO | 113.796 | 3.9217 | 0.0014792 | -0.75425 | -0.15032 | 0.60393 |  | 2 | -0.25285
2 | YES | 101.238 | 3.927 | 0.0025653 | -0.30295 | -0.15032 | 0.15263 |  | 2 | -0.29173
2 | YES | 75.6552 | 4.4542 | 0.014993 | -0.25685 | -0.15032 | 0.10653 |  | 2 | -0.28624
2 | YES | 75.6552 | 4.4542 | 0.014993 | -0.25285 | -0.15032 | 0.10253 |  | 2 | -0.28691
2 | YES | 51.4082 | 5.6153 | 0.031662 | -0.29173 | -0.15032 | 0.14141 |  | 2 | -0.28606
2 | YES | 26.2553 | 6.3078 | 0.0014946 | -0.28624 | -0.15032 | 0.13592 |  | 3 | -0.028859
2 | YES | 10.9283 | 6.4131 | 0.0024359 | -0.28691 | -0.15032 | 0.13659 |  | 3 | -0.032438
2 | YES | 6.1623 | 6.4839 | 0.0025798 | -0.28606 | -0.15032 | 0.13574 |  | 3 | -0.0093814
3 | YES | 1324.18 | 0.43914 | 0.0019761 | -0.028859 | -0.17041 | -0.14155 |  | 3 | -0.024381
3 | YES | 1250.15 | 0.34756 | 0.0018614 | -0.032438 | -0.17041 | -0.13798 |  | 3 | -0.022413
3 | YES | 1001.27 | 0.21762 | 0.0016252 | -0.0093814 | -0.17041 | -0.16103 |  | 3 | -0.02762
3 | YES | 1001.27 | 0.21762 | 0.0016252 | -0.024381 | -0.17041 | -0.14603 |  | 3 | -0.082603
3 | YES | 802.207 | 0.21859 | 0.0014181 | -0.022413 | -0.17041 | -0.148 |  | 3 | -0.089769
3 | YES | 600.939 | 0.41938 | 0.001392 | -0.02762 | -0.17041 | -0.14279 |  | 3 | -0.11267
3 | YES | 402.651 | 1.1904 | 0.0023856 | -0.082603 | -0.17041 | -0.087811 |  | 3 | -0.16419
3 | YES | 300.968 | 1.6032 | 0.0015904 | -0.089769 | -0.17041 | -0.080645 |  | 3 | -0.18731
3 | YES | 250.478 | 1.9163 | 0.0046929 | -0.11267 | -0.17041 | -0.057745 |  | 3 | -0.25548
3 | YES | 200.576 | 2.3758 | 0.0011784 | -0.16419 | -0.17041 | -0.0062239 |  | 3 | -0.25639
3 | YES | 176.465 | 2.8197 | 0.0025555 | -0.18731 | -0.17041 | 0.016892 |  | 3 | -0.2386
3 | YES | 149.429 | 3.2915 | 0.015613 | -0.25548 | -0.17041 | 0.085065 |  | 3 | -0.31283
3 | YES | 126.741 | 4.1106 | 0.0042473 | -0.25639 | -0.17041 | 0.085975 |  | 3 | -0.28711
3 | YES | 102.079 | 4.5164 | 0.001464 | -0.2386 | -0.17041 | 0.068181 |  | 3 | -0.32514
3 | YES | 75.3486 | 6.2872 | 0.0016601 | -0.31283 | -0.17041 | 0.14242 |  | 3 | -0.27804
3 | YES | 51.234 | 6.3259 | 0.0014307 | -0.28711 | -0.17041 | 0.11669 |  | 3 | -0.30781
3 | YES | 26.3631 | 6.3509 | 0.0015985 | -0.32514 | -0.17041 | 0.15473 |  | 4 | -0.029636
3 | YES | 10.5238 | 6.365 | 0.0018503 | -0.27804 | -0.17041 | 0.10763 |  | 4 | -0.040665
3 | YES | 5.7552 | 6.3502 | 0.0015828 | -0.30781 | -0.17041 | 0.1374 |  | 4 | -0.024265
4 | NO | 2001.08 | 1.3199 | 0.002125 | -0.35713 | -0.19051 | 0.16662 |  | 4 | -0.034785
4 | NO | 1500.85 | 0.66072 | 0.0022994 | -0.094281 | -0.19051 | -0.096231 |  | 4 | -0.029521
4 | YES | 1249.18 | 0.38636 | 0.0015675 | -0.029636 | -0.19051 | -0.16088 |  | 4 | -0.095355
4 | YES | 1249.46 | 0.38633 | 0.001632 | -0.040665 | -0.19051 | -0.14985 |  | 4 | -0.14778
4 | YES | 1001.88 | 0.23274 | 0.0017596 | -0.024265 | -0.19051 | -0.16625 |  | 4 | -0.16725
4 | YES | 801.144 | 0.21022 | 0.0015557 | -0.034785 | -0.19051 | -0.15573 |  | 4 | -0.15355
4 | YES | 601.429 | 0.36448 | 0.0012048 | -0.029521 | -0.19051 | -0.16099 |  | 4 | -0.19389
4 | YES | 400.882 | 1.1846 | 0.002689 | -0.095355 | -0.19051 | -0.095156 |  | 4 | -0.1374
4 | YES | 301.349 | 2.0862 | 0.0016391 | -0.14778 | -0.19051 | -0.042727 |  | 4 | -0.23558
4 | YES | 249.591 | 2.6077 | 0.001997 | -0.16725 | -0.19051 | -0.023264 |  | 4 | -0.23771
4 | YES | 201.248 | 3.2064 | 0.011147 | -0.15355 | -0.19051 | -0.036958 |  | 4 | -0.35224
4 | YES | 175.993 | 3.6881 | 0.0024386 | -0.19389 | -0.19051 | 0.0033801 |  | 4 | -0.33483
4 | YES | 150.926 | 3.5036 | 0.014901 | -0.1374 | -0.19051 | -0.053107 |  | 4 | -0.31545
4 | YES | 126.898 | 3.6014 | 0.0013023 | -0.23558 | -0.19051 | 0.045066 |  | 4 | -0.31587
4 | YES | 101.336 | 4.0583 | 0.0047879 | -0.23771 | -0.19051 | 0.047199 |  | 4 | -0.32525
4 | YES | 76.2361 | 6.1928 | 0.021222 | -0.35224 | -0.19051 | 0.16173 |  | 5 | -0.025085
4 | YES | 50.6828 | 6.4142 | 0.0027029 | -0.33483 | -0.19051 | 0.14432 |  | 5 | -0.015678
4 | YES | 24.4999 | 6.3995 | 0.0031143 | -0.31545 | -0.19051 | 0.12493 |  | 5 | -0.022454
4 | YES | 11.7625 | 6.4031 | 0.0023057 | -0.31587 | -0.19051 | 0.12536 |  | 5 | -0.053636
4 | YES | 5.3231 | 6.3998 | 0.0034959 | -0.32525 | -0.19051 | 0.13474 |  | 5 | -0.10978
5 | NO | 3200.42 | 2.0914 | 0.0025178 | -0.39261 | -0.21061 | 0.182 |  | 5 | -0.17081
5 | NO | 3000.14 | 2.0702 | 0.0028774 | -0.17377 | -0.21061 | -0.036841 |  | 5 | -0.2389
5 | NO | 2500.09 | 1.7687 | 0.0023396 | -0.16229 | -0.21061 | -0.048321 |  | 5 | -0.25634
5 | NO | 1999.18 | 1.2909 | 0.0019956 | -0.11413 | -0.21061 | -0.096478 |  | 5 | -0.28169
5 | NO | 1500.64 | 0.59629 | 0.0020661 | -0.047711 | -0.21061 | -0.1629 |  | 5 | -0.27195
5 | NO | 1500.84 | 0.5962 | 0.0020987 | -0.046795 | -0.21061 | -0.16381 |  | 5 | -0.24469
5 | YES | 1250.62 | 0.31291 | 0.0020447 | -0.025085 | -0.21061 | -0.18553 |  | 5 | -0.34196
5 | YES | 1000.98 | 0.23832 | 0.0018449 | -0.015678 | -0.21061 | -0.19493 |  | 5 | -0.33762
5 | YES | 800.816 | 0.30855 | 0.0016279 | -0.022454 | -0.21061 | -0.18816 |  | 5 | -0.32939
5 | YES | 599.794 | 0.60036 | 0.0015969 | -0.053636 | -0.21061 | -0.15697 |  | 5 | -0.34046
5 | YES | 399.808 | 1.4012 | 0.00202 | -0.10978 | -0.21061 | -0.10083 |  | 5 | -0.33034
5 | YES | 299.57 | 2.2172 | 0.0042157 | -0.17081 | -0.21061 | -0.0398 |  | 5 | -0.35682
5 | YES | 249.991 | 2.9031 | 0.01429 | -0.2389 | -0.21061 | 0.028291 |  | 6 | -0.022692
5 | YES | 200.278 | 3.9217 | 0.0017299 | -0.25634 | -0.21061 | 0.045729 |  | 6 | -0.0067273
5 | YES | 174.298 | 4.2503 | 0.010815 | -0.28169 | -0.21061 | 0.071084 |  | 6 | -0.022157
5 | YES | 151.632 | 4.611 | 0.001825 | -0.27195 | -0.21061 | 0.06134 |  | 6 | -0.062562
5 | YES | 125.804 | 4.9273 | 0.011633 | -0.24469 | -0.21061 | 0.034084 |  | 6 | -0.11617
5 | YES | 99.1364 | 6.386 | 0.0029732 | -0.34196 | -0.21061 | 0.13135 |  | 6 | -0.16498
5 | YES | 76.393 | 6.3984 | 0.0020586 | -0.33762 | -0.21061 | 0.12701 |  | 6 | -0.19057
5 | YES | 49.9324 | 6.4206 | 0.0023465 | -0.32939 | -0.21061 | 0.11878 |  | 6 | -0.24754
5 | YES | 24.8294 | 6.4366 | 0.0032353 | -0.34046 | -0.21061 | 0.12985 |  | 6 | -0.25799
5 | YES | 10.1453 | 6.4457 | 0.0028183 | -0.33034 | -0.21061 | 0.11973 |  | 6 | -0.40168
5 | YES | 5.5845 | 6.4322 | 0.010363 | -0.35682 | -0.21061 | 0.14621 |  | 6 | -0.34769
6 | NO | 3674.55 | 2.5206 | 0.0027416 | -0.58145 | -0.23071 | 0.35074 |  | 6 | -0.44893
6 | NO | 3501.17 | 2.4788 | 0.0029411 | -0.27916 | -0.23071 | 0.048449 |  | 6 | -0.3952
6 | NO | 2999.45 | 2.2096 | 0.0022103 | -0.20937 | -0.23071 | -0.021336 |  | 6 | -0.37608
6 | NO | 2498.94 | 1.7623 | 0.0023365 | -0.20166 | -0.23071 | -0.029047 |  | 6 | -0.36194
6 | NO | 2000.95 | 1.2399 | 0.0023676 | -0.10707 | -0.23071 | -0.12364 |  | 6 | -0.38575
6 | NO | 2000.95 | 1.2399 | 0.0023676 | -0.30807 | -0.23071 | 0.077358 |  | 6 | -0.29514
6 | NO | 1501.6 | 0.50612 | 0.0018894 | -0.035884 | -0.23071 | -0.19482 |  | 7 | -0.061252
6 | YES | 1253.52 | 0.27931 | 0.0019858 | -0.022692 | -0.23071 | -0.20802 |  | 7 | -0.031157
6 | YES | 1001.28 | 0.23527 | 0.0019622 | -0.0067273 | -0.23071 | -0.22398 |  | 7 | -0.029074
6 | YES | 801.384 | 0.30384 | 0.0018212 | -0.022157 | -0.23071 | -0.20855 |  | 7 | -0.01795
6 | YES | 600.599 | 0.60844 | 0.0020285 | -0.062562 | -0.23071 | -0.16815 |  | 7 | -0.042116
6 | YES | 400.794 | 1.3498 | 0.001716 | -0.11617 | -0.23071 | -0.11453 |  | 7 | -0.10862
6 | YES | 299.05 | 1.793 | 0.005111 | -0.16498 | -0.23071 | -0.065725 |  | 7 | -0.19451
6 | YES | 252.419 | 2.4054 | 0.0024203 | -0.19057 | -0.23071 | -0.040138 |  | 7 | -0.18135
6 | YES | 199.301 | 2.8695 | 0.0047785 | -0.24754 | -0.23071 | 0.016837 |  | 7 | -0.25891
6 | YES | 176.2 | 3.694 | 0.003707 | -0.25799 | -0.23071 | 0.027284 |  | 7 | -0.23412
6 | YES | 150.82 | 4.8903 | 0.0075776 | -0.40168 | -0.23071 | 0.17097 |  | 7 | -0.39854
6 | YES | 126.37 | 5.3783 | 0.0020938 | -0.34769 | -0.23071 | 0.11698 |  | 7 | -0.39636
6 | YES | 100.426 | 6.0541 | 0.0045676 | -0.44893 | -0.23071 | 0.21823 |  | 7 | -0.44319
6 | YES | 75.9724 | 6.4388 | 0.0034147 | -0.3952 | -0.23071 | 0.16449 |  | 7 | -0.43366
6 | YES | 51.6684 | 6.4709 | 0.0029285 | -0.37608 | -0.23071 | 0.14538 |  | 7 | -0.44251
6 | YES | 26.4694 | 6.4811 | 0.0013981 | -0.36194 | -0.23071 | 0.13123 |  | 7 | -0.41083
6 | YES | 10.6649 | 6.4653 | 0.0074993 | -0.38575 | -0.23071 | 0.15504 |  | 7 | -0.40776
6 | YES | 5.9121 | 6.4819 | 0.0023921 | -0.29514 | -0.23071 | 0.064432 |  | 7 | -0.39526
7 | NO | 3999.48 | 2.7485 | 0.0028813 | -0.49852 | -0.25081 | 0.24772 |  | 8 | -0.028702
7 | NO | 3501.79 | 2.6149 | 0.0024884 | -0.28305 | -0.25081 | 0.032244 |  | 8 | -0.050603
7 | NO | 3501.17 | 2.6149 | 0.0024229 | -0.27313 | -0.25081 | 0.022326 |  | 8 | -0.055438
7 | NO | 3000.91 | 2.2808 | 0.0025193 | -0.25317 | -0.25081 | 0.0023641 |  | 8 | -0.078413
7 | NO | 2500.1 | 1.7601 | 0.0019227 | -0.18489 | -0.25081 | -0.065913 |  | 8 | -0.13205
7 | NO | 2000.3 | 1.1561 | 0.002073 | -0.10995 | -0.25081 | -0.14086 |  | 8 | -0.09505
7 | YES | 1498.26 | 0.49175 | 0.0014672 | -0.061252 | -0.25081 | -0.18955 |  | 8 | -0.12422
7 | YES | 1251.76 | 0.32084 | 0.0019622 | -0.031157 | -0.25081 | -0.21965 |  | 8 | -0.17736
7 | YES | 1001.33 | 0.27493 | 0.0017615 | -0.029074 | -0.25081 | -0.22173 |  | 8 | -0.23737
7 | YES | 798.273 | 0.34605 | 0.0012237 | -0.01795 | -0.25081 | -0.23286 |  | 8 | -0.25512
7 | YES | 600.711 | 0.56388 | 0.002126 | -0.042116 | -0.25081 | -0.20869 |  | 8 | -0.39203
7 | YES | 399.141 | 1.1554 | 0.0018541 | -0.10862 | -0.25081 | -0.14219 |  | 8 | -0.47692
7 | YES | 299.095 | 1.6645 | 0.0016937 | -0.19451 | -0.25081 | -0.056294 |  | 8 | -0.45765
7 | YES | 249.239 | 2.0756 | 0.0021123 | -0.18135 | -0.25081 | -0.069459 |  | 8 | -0.48655
7 | YES | 199.076 | 2.7611 | 0.0091667 | -0.25891 | -0.25081 | 0.0081011 |  | 8 | -0.476
7 | YES | 175.572 | 3.2069 | 0.0021314 | -0.23412 | -0.25081 | -0.016682 |  | 8 | -0.4766
7 | YES | 149.177 | 3.9135 | 0.025385 | -0.39854 | -0.25081 | 0.14774 |  | 8 | -0.45083
7 | YES | 124.453 | 4.8336 | 0.013838 | -0.39636 | -0.25081 | 0.14555
7 | YES | 101.936 | 5.3148 | 0.0086827 | -0.44319 | -0.25081 | 0.19238
7 | YES | 75.8176 | 6.5183 | 0.0045763 | -0.43366 | -0.25081 | 0.18286
7 | YES | 50.0663 | 6.5235 | 0.0051496 | -0.44251 | -0.25081 | 0.19171
7 | YES | 24.5427 | 6.5462 | 0.0018227 | -0.41083 | -0.25081 | 0.16003
7 | YES | 9.8972 | 6.5432 | 0.0047223 | -0.40776 | -0.25081 | 0.15696
7 | YES | 4.1165 | 6.5407 | 0.0048331 | -0.39526 | -0.25081 | 0.14445
8 | NO | 4000.37 | 2.8965 | 0.0028984 | -0.74754 | -0.2709 | 0.47663
8 | NO | 3501.53 | 2.6641 | 0.0027254 | -0.32585 | -0.2709 | 0.054947
8 | NO | 3001.69 | 2.3152 | 0.0024001 | -0.2628 | -0.2709 | -0.0081019
8 | NO | 2501.03 | 1.8225 | 0.0026603 | -0.20253 | -0.2709 | -0.068378
8 | NO | 2501.03 | 1.8225 | 0.0026603 | -0.18953 | -0.2709 | -0.081378
8 | NO | 2000.99 | 1.2438 | 0.0023118 | -0.13715 | -0.2709 | -0.13375
8 | NO | 1501.34 | 0.57912 | 0.0021954 | -0.050884 | -0.2709 | -0.22002
8 | YES | 1250.28 | 0.4003 | 0.0018011 | -0.028702 | -0.2709 | -0.2422
8 | YES | 1002.85 | 0.3784 | 0.0017864 | -0.050603 | -0.2709 | -0.2203
8 | YES | 799.416 | 0.42356 | 0.0020037 | -0.055438 | -0.2709 | -0.21547
8 | YES | 602.617 | 0.51159 | 0.0018871 | -0.078413 | -0.2709 | -0.19249
8 | YES | 400.188 | 0.70795 | 0.0018967 | -0.13205 | -0.2709 | -0.13885
8 | YES | 298.565 | 1.0259 | 0.0012836 | -0.09505 | -0.2709 | -0.17585
8 | YES | 250.406 | 1.3778 | 0.0014618 | -0.12422 | -0.2709 | -0.14669
8 | YES | 200.921 | 1.9436 | 0.0018166 | -0.17736 | -0.2709 | -0.09354
8 | YES | 174.735 | 2.2576 | 0.0031521 | -0.23737 | -0.2709 | -0.033532
8 | YES | 152.107 | 2.6899 | 0.0054 | -0.25512 | -0.2709 | -0.01578
8 | YES | 123.544 | 3.969 | 0.022575 | -0.39203 | -0.2709 | 0.12113
8 | YES | 100.287 | 5.4841 | 0.0041456 | -0.47692 | -0.2709 | 0.20602
8 | YES | 74.4088 | 6.5763 | 0.010214 | -0.45765 | -0.2709 | 0.18675
8 | YES | 49.3798 | 6.5755 | 0.010311 | -0.48655 | -0.2709 | 0.21565
8 | YES | 24.7867 | 6.589 | 0.011316 | -0.476 | -0.2709 | 0.2051
8 | YES | 9.1435 | 6.5924 | 0.0078321 | -0.4766 | -0.2709 | 0.2057
8 | YES | 5.3508 | 6.6052 | 0.0031126 | -0.45083 | -0.2709 | 0.17993
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX-CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX-BOT | DOX-CTD |  | DOX-CTD - DOX-BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX-BOT | DOX-CTD | DOX-CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2004-05-0001 | 2004-05-0001 | 121 | 223.078 | 223.078 | 0.019735 | -0.0004425 | 0 | 0.041347 | 0.0014589 | 0.041347
2004-05-0001 | 2004-05-0001 | 121 | 200.755 | 200.755 | 0.021737 | -0.0002594 | 0 | 0.039686 | 0.001544 | 0.039686
2004-05-0001 | 2004-05-0001 | 178 | 175.734 | 175.736 | 0.02621 | 0.0015259 | 0 | 0.03864 | 0.0014241 | 0.03864
2004-05-0001 | 2004-05-0001 | 178 | 175.736 | 175.736 | 0.02621 | -0.00047302 | 0 | 0.03864 | 0.0014241 | 0.03864
2004-05-0001 | 2004-05-0001 | 121 | 150.58 | 150.58 | 0.02563 | -0.00022888 | 0.052 | 0.037777 | 0.0014053 | -0.014223
2004-05-0001 | 2004-05-0001 | 121 | 125.507 | 125.507 | 0.026454 | 1.5259e-05 | 0.052 | 0.045256 | 0.0013573 | -0.0067438
2004-05-0001 | 2004-05-0001 | 121 | 100.294 | 100.294 | 0.023431 | 9.1553e-05 | 1.021 | 1.0421 | 0.0010533 | 0.021124
2004-05-0001 | 2004-05-0001 | 121 | 75.447 | 75.4472 | 0.024431 | 0.00018311 | 4.276 | 4.3732 | 0.001551 | 0.09719
2004-05-0001 | 2004-05-0001 | 121 | 50.245 | 50.2447 | 0.02274 | -0.00028992 | 4.263 | 3.9761 | 0.0089666 | -0.28687
2004-05-0001 | 2004-05-0001 | 121 | 25.169 | 25.1691 | 0.025301 | 0.00012398 | 5.181 | 4.9535 | 0.0021908 | -0.22755
2004-05-0001 | 2004-05-0001 | 121 | 10.579 | 10.5793 | 0.029201 | 0.00034714 | 5.405 | 5.2646 | 0.00222 | -0.14035
2004-05-0001 | 2004-05-0001 | 121 | 5.593 | 5.5934 | 0.025568 | 0.00042152 | 5.679 | 5.4998 | 0.00608 | -0.17916
2004-05-0003 | 2004-05-0003 | 121 | 113.796 | 113.796 | 0.24515 | -0.00022888 | 4.676 | 3.9217 | 0.0014792 | -0.75425
2004-05-0003 | 2004-05-0003 | 121 | 101.238 | 101.238 | 0.61581 | -0.00019074 | 4.23 | 3.927 | 0.0025653 | -0.30295
2004-05-0003 | 2004-05-0003 | 242 | 76.233 | 75.6552 | 0.70698 | -0.57779 | 4.711 | 4.4542 | 0.014993 | -0.25685
2004-05-0003 | 2004-05-0003 | 242 | 75.077 | 75.6552 | 0.70698 | 0.57821 | 4.707 | 4.4542 | 0.014993 | -0.25285
2004-05-0003 | 2004-05-0003 | 121 | 51.408 | 51.4082 | 0.12235 | 0.00022888 | 5.907 | 5.6153 | 0.031662 | -0.29173
2004-05-0003 | 2004-05-0003 | 121 | 26.255 | 26.2553 | 0.27168 | 0.00033188 | 6.594 | 6.3078 | 0.0014946 | -0.28624
2004-05-0003 | 2004-05-0003 | 121 | 10.928 | 10.9283 | 0.37523 | 0.00025559 | 6.7 | 6.4131 | 0.0024359 | -0.28691
2004-05-0003 | 2004-05-0003 | 121 | 6.162 | 6.1623 | 0.18733 | 0.00033855 | 6.77 | 6.4839 | 0.0025798 | -0.28606
2004-05-0007 | 2004-05-0007 | 121 | 1324.18 | 1324.18 | 0.7468 | 0 | 0.468 | 0.43914 | 0.0019761 | -0.028859
2004-05-0007 | 2004-05-0007 | 121 | 1250.16 | 1250.15 | 0.48046 | -0.00036621 | 0.38 | 0.34756 | 0.0018614 | -0.032438
2004-05-0007 | 2004-05-0007 | 194 | 1000.92 | 1001.27 | 0.3762 | 0.35461 | 0.227 | 0.21762 | 0.0016252 | -0.0093814
2004-05-0007 | 2004-05-0007 | 194 | 1001.49 | 1001.27 | 0.3762 | -0.21838 | 0.242 | 0.21762 | 0.0016252 | -0.024381
2004-05-0007 | 2004-05-0007 | 121 | 802.207 | 802.207 | 0.86638 | 0.00048828 | 0.241 | 0.21859 | 0.0014181 | -0.022413
2004-05-0007 | 2004-05-0007 | 121 | 600.939 | 600.939 | 0.21084 | -6.1035e-05 | 0.447 | 0.41938 | 0.001392 | -0.02762
2004-05-0007 | 2004-05-0007 | 121 | 402.651 | 402.651 | 0.40668 | 0.00039673 | 1.273 | 1.1904 | 0.0023856 | -0.082603
2004-05-0007 | 2004-05-0007 | 121 | 300.968 | 300.968 | 0.89724 | 6.1035e-05 | 1.693 | 1.6032 | 0.0015904 | -0.089769
2004-05-0007 | 2004-05-0007 | 121 | 250.478 | 250.478 | 0.48777 | -0.00041199 | 2.029 | 1.9163 | 0.0046929 | -0.11267
2004-05-0007 | 2004-05-0007 | 121 | 200.576 | 200.576 | 1.0395 | 0.00010681 | 2.54 | 2.3758 | 0.0011784 | -0.16419
2004-05-0007 | 2004-05-0007 | 121 | 176.465 | 176.465 | 0.72469 | 0.00022888 | 3.007 | 2.8197 | 0.0025555 | -0.18731
2004-05-0007 | 2004-05-0007 | 121 | 149.429 | 149.429 | 0.50033 | 3.0518e-05 | 3.547 | 3.2915 | 0.015613 | -0.25548
2004-05-0007 | 2004-05-0007 | 121 | 126.741 | 126.741 | 0.25901 | -9.1553e-05 | 4.367 | 4.1106 | 0.0042473 | -0.25639
2004-05-0007 | 2004-05-0007 | 121 | 102.079 | 102.079 | 0.56027 | 0.00013733 | 4.755 | 4.5164 | 0.001464 | -0.2386
2004-05-0007 | 2004-05-0007 | 121 | 75.349 | 75.3486 | 0.47579 | -0.00040436 | 6.6 | 6.2872 | 0.0016601 | -0.31283
2004-05-0007 | 2004-05-0007 | 121 | 51.234 | 51.234 | 0.14825 | -2.6703e-05 | 6.613 | 6.3259 | 0.0014307 | -0.28711
2004-05-0007 | 2004-05-0007 | 121 | 26.363 | 26.3631 | 0.66353 | 5.722e-05 | 6.676 | 6.3509 | 0.0015985 | -0.32514
2004-05-0007 | 2004-05-0007 | 121 | 10.524 | 10.5238 | 0.30835 | -0.00023174 | 6.643 | 6.365 | 0.0018503 | -0.27804
2004-05-0007 | 2004-05-0007 | 121 | 5.755 | 5.7552 | 0.21906 | 0.00018168 | 6.658 | 6.3502 | 0.0015828 | -0.30781
2004-05-0013 | 2004-05-0013 | 121 | 2001.07 | 2001.08 | 0.39973 | 0.00036621 | 1.677 | 1.3199 | 0.002125 | -0.35713
2004-05-0013 | 2004-05-0013 | 121 | 1500.85 | 1500.85 | 0.54482 | 0.00036621 | 0.755 | 0.66072 | 0.0022994 | -0.094281
2004-05-0013 | 2004-05-0013 | 206 | 1248.64 | 1249.18 | 0.69182 | 0.54627 | 0.416 | 0.38636 | 0.0015675 | -0.029636
2004-05-0013 | 2004-05-0013 | 242 | 1250.28 | 1249.46 | 0.92016 | -0.82141 | 0.427 | 0.38633 | 0.001632 | -0.040665
2004-05-0013 | 2004-05-0013 | 121 | 1001.88 | 1001.88 | 0.46949 | 0 | 0.257 | 0.23274 | 0.0017596 | -0.024265
2004-05-0013 | 2004-05-0013 | 121 | 801.144 | 801.144 | 0.62503 | 0.00042725 | 0.245 | 0.21022 | 0.0015557 | -0.034785
2004-05-0013 | 2004-05-0013 | 121 | 601.429 | 601.429 | 0.68146 | 0.00030518 | 0.394 | 0.36448 | 0.0012048 | -0.029521
2004-05-0013 | 2004-05-0013 | 121 | 400.882 | 400.882 | 0.4696 | 0.00018311 | 1.28 | 1.1846 | 0.002689 | -0.095355
2004-05-0013 | 2004-05-0013 | 121 | 301.349 | 301.349 | 0.2305 | 9.1553e-05 | 2.234 | 2.0862 | 0.0016391 | -0.14778
2004-05-0013 | 2004-05-0013 | 121 | 249.591 | 249.591 | 0.17928 | 1.5259e-05 | 2.775 | 2.6077 | 0.001997 | -0.16725
2004-05-0013 | 2004-05-0013 | 121 | 201.248 | 201.248 | 0.52673 | -0.00019836 | 3.36 | 3.2064 | 0.011147 | -0.15355
2004-05-0013 | 2004-05-0013 | 121 | 175.993 | 175.993 | 0.41444 | -0.00038147 | 3.882 | 3.6881 | 0.0024386 | -0.19389
2004-05-0013 | 2004-05-0013 | 121 | 150.926 | 150.926 | 0.1482 | 0.00013733 | 3.641 | 3.5036 | 0.014901 | -0.1374
2004-05-0013 | 2004-05-0013 | 121 | 126.898 | 126.898 | 0.38277 | 1.5259e-05 | 3.837 | 3.6014 | 0.0013023 | -0.23558
2004-05-0013 | 2004-05-0013 | 121 | 101.336 | 101.336 | 0.27071 | -0.00012207 | 4.296 | 4.0583 | 0.0047879 | -0.23771
2004-05-0013 | 2004-05-0013 | 121 | 76.236 | 76.2361 | 0.6002 | 0.00010681 | 6.545 | 6.1928 | 0.021222 | -0.35224
2004-05-0013 | 2004-05-0013 | 121 | 50.683 | 50.6828 | 0.4054 | -0.00017166 | 6.749 | 6.4142 | 0.0027029 | -0.33483
2004-05-0013 | 2004-05-0013 | 121 | 24.5 | 24.4999 | 0.13989 | -8.2016e-05 | 6.715 | 6.3995 | 0.0031143 | -0.31545
2004-05-0013 | 2004-05-0013 | 121 | 11.763 | 11.7625 | 0.41544 | -0.00049496 | 6.719 | 6.4031 | 0.0023057 | -0.31587
2004-05-0013 | 2004-05-0013 | 121 | 5.323 | 5.3231 | 0.27457 | 0.00014067 | 6.725 | 6.3998 | 0.0034959 | -0.32525
2004-05-0018 | 2004-05-0018 | 121 | 3200.43 | 3200.42 | 0.34436 | -0.00048828 | 2.484 | 2.0914 | 0.0025178 | -0.39261
2004-05-0018 | 2004-05-0018 | 121 | 3000.14 | 3000.14 | 0.89526 | -0.00024414 | 2.244 | 2.0702 | 0.0028774 | -0.17377
2004-05-0018 | 2004-05-0018 | 121 | 2500.09 | 2500.09 | 0.27906 | -0.00048828 | 1.931 | 1.7687 | 0.0023396 | -0.16229
2004-05-0018 | 2004-05-0018 | 121 | 1999.18 | 1999.18 | 0.32465 | -0.00012207 | 1.405 | 1.2909 | 0.0019956 | -0.11413
2004-05-0018 | 2004-05-0018 | 194 | 1499.98 | 1500.64 | 0.80093 | 0.66626 | 0.644 | 0.59629 | 0.0020661 | -0.047711
2004-05-0018 | 2004-05-0018 | 225 | 1501.59 | 1500.84 | 0.88619 | -0.75134 | 0.643 | 0.5962 | 0.0020987 | -0.046795
2004-05-0018 | 2004-05-0018 | 118 | 1250.68 | 1250.62 | 0.84348 | -0.051025 | 0.338 | 0.31291 | 0.0020447 | -0.025085
2004-05-0018 | 2004-05-0018 | 121 | 1000.97 | 1000.98 | 0.66911 | 0.00048828 | 0.254 | 0.23832 | 0.0018449 | -0.015678
2004-05-0018 | 2004-05-0018 | 121 | 800.816 | 800.816 | 0.18169 | -0.00018311 | 0.331 | 0.30855 | 0.0016279 | -0.022454
2004-05-0018 | 2004-05-0018 | 121 | 599.794 | 599.794 | 0.58214 | 0.00042725 | 0.654 | 0.60036 | 0.0015969 | -0.053636
2004-05-0018 | 2004-05-0018 | 110 | 399.56 | 399.808 | 0.82783 | 0.24808 | 1.511 | 1.4012 | 0.00202 | -0.10978
2004-05-0018 | 2004-05-0018 | 121 | 299.57 | 299.57 | 0.63407 | 0.00012207 | 2.388 | 2.2172 | 0.0042157 | -0.17081
2004-05-0018 | 2004-05-0018 | 121 | 249.991 | 249.991 | 0.47115 | -0.00035095 | 3.142 | 2.9031 | 0.01429 | -0.2389
2004-05-0018 | 2004-05-0018 | 121 | 200.278 | 200.278 | 0.37141 | 0.00022888 | 4.178 | 3.9217 | 0.0017299 | -0.25634
2004-05-0018 | 2004-05-0018 | 121 | 174.298 | 174.298 | 0.12515 | -0.00042725 | 4.532 | 4.2503 | 0.010815 | -0.28169
2004-05-0018 | 2004-05-0018 | 121 | 151.632 | 151.632 | 0.53579 | 0.00048828 | 4.883 | 4.611 | 0.001825 | -0.27195
2004-05-0018 | 2004-05-0018 | 121 | 125.804 | 125.804 | 0.36397 | -0.00026703 | 5.172 | 4.9273 | 0.011633 | -0.24469
2004-05-0018 | 2004-05-0018 | 121 | 99.136 | 99.1364 | 0.5549 | 0.00036621 | 6.728 | 6.386 | 0.0029732 | -0.34196
2004-05-0018 | 2004-05-0018 | 121 | 76.393 | 76.393 | 0.49935 | 3.8147e-05 | 6.736 | 6.3984 | 0.0020586 | -0.33762
2004-05-0018 | 2004-05-0018 | 121 | 49.932 | 49.9324 | 0.51392 | 0.00038147 | 6.75 | 6.4206 | 0.0023465 | -0.32939
2004-05-0018 | 2004-05-0018 | 121 | 24.829 | 24.8294 | 0.7557 | 0.00042152 | 6.777 | 6.4366 | 0.0032353 | -0.34046
2004-05-0018 | 2004-05-0018 | 121 | 10.145 | 10.1453 | 0.12618 | 0.00027275 | 6.776 | 6.4457 | 0.0028183 | -0.33034
2004-05-0018 | 2004-05-0018 | 121 | 5.585 | 5.5845 | 0.39389 | -0.0004878 | 6.789 | 6.4322 | 0.010363 | -0.35682
2004-05-0025 | 2004-05-0025 | 121 | 3674.55 | 3674.55 | 1.0568 | -0.00024414 | 3.102 | 2.5206 | 0.0027416 | -0.58145
2004-05-0025 | 2004-05-0025 | 121 | 3501.17 | 3501.17 | 0.33903 | 0.00024414 | 2.758 | 2.4788 | 0.0029411 | -0.27916
2004-05-0025 | 2004-05-0025 | 121 | 2999.45 | 2999.45 | 0.72407 | -0.00048828 | 2.419 | 2.2096 | 0.0022103 | -0.20937
2004-05-0025 | 2004-05-0025 | 121 | 2498.94 | 2498.94 | 0.7989 | 0.00024414 | 1.964 | 1.7623 | 0.0023365 | -0.20166
2004-05-0025 | 2004-05-0025 | 242 | 2000.87 | 2000.95 | 0.74085 | 0.077759 | 1.347 | 1.2399 | 0.0023676 | -0.10707
2004-05-0025 | 2004-05-0025 | 242 | 2001.03 | 2000.95 | 0.74085 | -0.077271 | 1.548 | 1.2399 | 0.0023676 | -0.30807
2004-05-0025 | 2004-05-0025 | 121 | 1501.6 | 1501.6 | 0.81365 | -0.00036621 | 0.542 | 0.50612 | 0.0018894 | -0.035884
2004-05-0025 | 2004-05-0025 | 104 | 1253.11 | 1253.52 | 1.0651 | 0.40747 | 0.302 | 0.27931 | 0.0019858 | -0.022692
2004-05-0025 | 2004-05-0025 | 121 | 1001.28 | 1001.28 | 1.1811 | 6.1035e-05 | 0.242 | 0.23527 | 0.0019622 | -0.0067273
2004-05-0025 | 2004-05-0025 | 121 | 801.384 | 801.384 | 0.60544 | -6.1035e-05 | 0.326 | 0.30384 | 0.0018212 | -0.022157
2004-05-0025 | 2004-05-0025 | 121 | 600.599 | 600.599 | 0.62215 | -0.00036621 | 0.671 | 0.60844 | 0.0020285 | -0.062562
2004-05-0025 | 2004-05-0025 | 121 | 400.794 | 400.794 | 0.56411 | -0.00036621 | 1.466 | 1.3498 | 0.001716 | -0.11617
2004-05-0025 | 2004-05-0025 | 115 | 299.167 | 299.05 | 0.76922 | -0.11676 | 1.958 | 1.793 | 0.005111 | -0.16498
2004-05-0025 | 2004-05-0025 | 114 | 252.285 | 252.419 | 0.93576 | 0.13443 | 2.596 | 2.4054 | 0.0024203 | -0.19057
2004-05-0025 | 2004-05-0025 | 121 | 199.301 | 199.301 | 0.19005 | -0.00027466 | 3.117 | 2.8695 | 0.0047785 | -0.24754
2004-05-0025 | 2004-05-0025 | 121 | 176.2 | 176.2 | 0.87274 | 0.00048828 | 3.952 | 3.694 | 0.003707 | -0.25799
2004-05-0025 | 2004-05-0025 | 121 | 150.82 | 150.82 | 0.33828 | -6.1035e-05 | 5.292 | 4.8903 | 0.0075776 | -0.40168
2004-05-0025 | 2004-05-0025 | 121 | 126.37 | 126.37 | 0.15917 | -0.00034332 | 5.726 | 5.3783 | 0.0020938 | -0.34769
2004-05-0025 | 2004-05-0025 | 121 | 100.426 | 100.426 | 0.7444 | -0.00034332 | 6.503 | 6.0541 | 0.0045676 | -0.44893
2004-05-0025 | 2004-05-0025 | 121 | 75.972 | 75.9724 | 0.46566 | 0.00035095 | 6.834 | 6.4388 | 0.0034147 | -0.3952
2004-05-0025 | 2004-05-0025 | 121 | 51.668 | 51.6684 | 0.35164 | 0.00040436 | 6.847 | 6.4709 | 0.0029285 | -0.37608
2004-05-0025 | 2004-05-0025 | 121 | 26.469 | 26.4694 | 0.58431 | 0.00039673 | 6.843 | 6.4811 | 0.0013981 | -0.36194
2004-05-0025 | 2004-05-0025 | 121 | 10.665 | 10.6649 | 0.75672 | -7.4387e-05 | 6.851 | 6.4653 | 0.0074993 | -0.38575
2004-05-0025 | 2004-05-0025 | 121 | 5.912 | 5.9121 | 0.28426 | 0.00014877 | 6.777 | 6.4819 | 0.0023921 | -0.29514
2004-05-0032 | 2004-05-0032 | 121 | 3999.48 | 3999.48 | 0.74465 | 0.00024414 | 3.247 | 2.7485 | 0.0028813 | -0.49852
2004-05-0032 | 2004-05-0032 | 222 | 3502.3 | 3501.79 | 1.2037 | -0.51782 | 2.898 | 2.6149 | 0.0024884 | -0.28305
2004-05-0032 | 2004-05-0032 | 197 | 3501.01 | 3501.17 | 0.72747 | 0.1543 | 2.888 | 2.6149 | 0.0024229 | -0.27313
2004-05-0032 | 2004-05-0032 | 118 | 3000.97 | 3000.91 | 0.78617 | -0.053223 | 2.534 | 2.2808 | 0.0025193 | -0.25317
2004-05-0032 | 2004-05-0032 | 121 | 2500.1 | 2500.1 | 0.65552 | -0.00024414 | 1.945 | 1.7601 | 0.0019227 | -0.18489
2004-05-0032 | 2004-05-0032 | 121 | 2000.3 | 2000.3 | 0.45167 | -0.00036621 | 1.266 | 1.1561 | 0.002073 | -0.10995
2004-05-0032 | 2004-05-0032 | 107 | 1498.56 | 1498.26 | 1.1363 | -0.30164 | 0.553 | 0.49175 | 0.0014672 | -0.061252
2004-05-0032 | 2004-05-0032 | 121 | 1251.76 | 1251.76 | 0.51174 | 0.00024414 | 0.352 | 0.32084 | 0.0019622 | -0.031157
2004-05-0032 | 2004-05-0032 | 121 | 1001.33 | 1001.33 | 0.45293 | 0.00024414 | 0.304 | 0.27493 | 0.0017615 | -0.029074
2004-05-0032 | 2004-05-0032 | 121 | 798.273 | 798.273 | 0.42487 | 0.00048828 | 0.364 | 0.34605 | 0.0012237 | -0.01795
2004-05-0032 | 2004-05-0032 | 121 | 600.711 | 600.711 | 0.9001 | 0.00030518 | 0.606 | 0.56388 | 0.002126 | -0.042116
2004-05-0032 | 2004-05-0032 | 121 | 399.141 | 399.141 | 1.0496 | -9.1553e-05 | 1.264 | 1.1554 | 0.0018541 | -0.10862
2004-05-0032 | 2004-05-0032 | 121 | 299.095 | 299.095 | 0.31 | 0.00033569 | 1.859 | 1.6645 | 0.0016937 | -0.19451
2004-05-0032 | 2004-05-0032 | 121 | 249.239 | 249.239 | 1.0752 | -6.1035e-05 | 2.257 | 2.0756 | 0.0021123 | -0.18135
2004-05-0032 | 2004-05-0032 | 108 | 199.341 | 199.076 | 1.1147 | -0.26486 | 3.02 | 2.7611 | 0.0091667 | -0.25891
2004-05-0032 | 2004-05-0032 | 121 | 175.572 | 175.572 | 0.33943 | -0.00024414 | 3.441 | 3.2069 | 0.0021314 | -0.23412
2004-05-0032 | 2004-05-0032 | 121 | 149.177 | 149.177 | 0.92505 | 0.00013733 | 4.312 | 3.9135 | 0.025385 | -0.39854
2004-05-0032 | 2004-05-0032 | 121 | 124.453 | 124.453 | 1.1401 | 0.00041199 | 5.23 | 4.8336 | 0.013838 | -0.39636
2004-05-0032 | 2004-05-0032 | 121 | 101.936 | 101.936 | 0.7217 | 0.00032043 | 5.758 | 5.3148 | 0.0086827 | -0.44319
2004-05-0032 | 2004-05-0032 | 121 | 75.818 | 75.8176 | 0.33791 | -0.00042725 | 6.952 | 6.5183 | 0.0045763 | -0.43366
2004-05-0032 | 2004-05-0032 | 121 | 50.066 | 50.0663 | 0.36893 | 0.00027084 | 6.966 | 6.5235 | 0.0051496 | -0.44251
2004-05-0032 | 2004-05-0032 | 121 | 24.543 | 24.5427 | 0.61124 | -0.00025559 | 6.957 | 6.5462 | 0.0018227 | -0.41083
2004-05-0032 | 2004-05-0032 | 121 | 9.897 | 9.8972 | 0.68507 | 0.00023079 | 6.951 | 6.5432 | 0.0047223 | -0.40776
2004-05-0032 | 2004-05-0032 | 121 | 4.116 | 4.1165 | 0.6084 | 0.00045443 | 6.936 | 6.5407 | 0.0048331 | -0.39526
2004-05-0047 | 2004-05-0047 | 121 | 4000.37 | 4000.37 | 0.3501 | -0.00024414 | 3.644 | 2.8965 | 0.0028984 | -0.74754
2004-05-0047 | 2004-05-0047 | 121 | 3501.53 | 3501.53 | 0.28841 | -0.00024414 | 2.99 | 2.6641 | 0.0027254 | -0.32585
2004-05-0047 | 2004-05-0047 | 121 | 3001.69 | 3001.69 | 0.32901 | 0.00024414 | 2.578 | 2.3152 | 0.0024001 | -0.2628
2004-05-0047 | 2004-05-0047 | 209 | 2500.83 | 2501.03 | 0.39339 | 0.19922 | 2.025 | 1.8225 | 0.0026603 | -0.20253
2004-05-0047 | 2004-05-0047 | 209 | 2501.18 | 2501.03 | 0.39339 | -0.14771 | 2.012 | 1.8225 | 0.0026603 | -0.18953
2004-05-0047 | 2004-05-0047 | 121 | 2000.99 | 2000.99 | 0.33602 | -0.00036621 | 1.381 | 1.2438 | 0.0023118 | -0.13715
2004-05-0047 | 2004-05-0047 | 121 | 1501.34 | 1501.34 | 0.19268 | 0 | 0.63 | 0.57912 | 0.0021954 | -0.050884
2004-05-0047 | 2004-05-0047 | 121 | 1250.28 | 1250.28 | 0.34202 | 0.00036621 | 0.429 | 0.4003 | 0.0018011 | -0.028702
2004-05-0047 | 2004-05-0047 | 121 | 1002.85 | 1002.85 | 1.0881 | 0.00036621 | 0.429 | 0.3784 | 0.0017864 | -0.050603
2004-05-0047 | 2004-05-0047 | 121 | 799.416 | 799.416 | 0.49391 | -0.00036621 | 0.479 | 0.42356 | 0.0020037 | -0.055438
2004-05-0047 | 2004-05-0047 | 121 | 602.617 | 602.617 | 1.1036 | 0.00048828 | 0.59 | 0.51159 | 0.0018871 | -0.078413
2004-05-0047 | 2004-05-0047 | 121 | 400.188 | 400.188 | 0.15772 | 0 | 0.84 | 0.70795 | 0.0018967 | -0.13205
2004-05-0047 | 2004-05-0047 | 121 | 298.565 | 298.565 | 0.5735 | 0.00015259 | 1.121 | 1.0259 | 0.0012836 | -0.09505
2004-05-0047 | 2004-05-0047 | 121 | 250.406 | 250.406 | 0.53139 | 0.00018311 | 1.502 | 1.3778 | 0.0014618 | -0.12422
2004-05-0047 | 2004-05-0047 | 121 | 200.921 | 200.921 | 0.21634 | 0.00015259 | 2.121 | 1.9436 | 0.0018166 | -0.17736
2004-05-0047 | 2004-05-0047 | 121 | 174.735 | 174.735 | 0.57625 | -0.00041199 | 2.495 | 2.2576 | 0.0031521 | -0.23737
2004-05-0047 | 2004-05-0047 | 121 | 152.107 | 152.107 | 0.35387 | -0.00045776 | 2.945 | 2.6899 | 0.0054 | -0.25512
2004-05-0047 | 2004-05-0047 | 121 | 123.544 | 123.544 | 1.3265 | -0.0003128 | 4.361 | 3.969 | 0.022575 | -0.39203
2004-05-0047 | 2004-05-0047 | 121 | 100.287 | 100.287 | 0.23446 | 0.00034332 | 5.961 | 5.4841 | 0.0041456 | -0.47692
2004-05-0047 | 2004-05-0047 | 121 | 74.409 | 74.4088 | 0.31172 | -0.00022125 | 7.034 | 6.5763 | 0.010214 | -0.45765
2004-05-0047 | 2004-05-0047 | 121 | 49.38 | 49.3798 | 0.83767 | -0.00024033 | 7.062 | 6.5755 | 0.010311 | -0.48655
2004-05-0047 | 2004-05-0047 | 121 | 24.787 | 24.7867 | 0.25013 | -0.00028229 | 7.065 | 6.589 | 0.011316 | -0.476
2004-05-0047 | 2004-05-0047 | 121 | 9.144 | 9.1435 | 0.16298 | -0.00044632 | 7.069 | 6.5924 | 0.0078321 | -0.4766
2004-05-0047 | 2004-05-0047 | 121 | 5.351 | 5.3508 | 0.28951 | -0.00015688 | 7.056 | 6.6052 | 0.0031126 | -0.45083
Create Fit Sheet