## File List
Number of Files= |  | 8
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2004-05-0001 | 2004-05-0001 | 11 | 22 | 2004-05-0001 & 2004-05-0001
2 | 2004-05-0003 | 2004-05-0003 | 24 | 31 | 2004-05-0003 & 2004-05-0003
3 | 2004-05-0007 | 2004-05-0007 | 33 | 51 | 2004-05-0007 & 2004-05-0007
4 | 2004-05-0013 | 2004-05-0013 | 53 | 72 | 2004-05-0013 & 2004-05-0013
5 | 2004-05-0018 | 2004-05-0018 | 74 | 96 | 2004-05-0018 & 2004-05-0018
6 | 2004-05-0025 | 2004-05-0025 | 98 | 121 | 2004-05-0025 & 2004-05-0025
7 | 2004-05-0032 | 2004-05-0032 | 123 | 146 | 2004-05-0032 & 2004-05-0032
8 | 2004-05-0047 | 2004-05-0047 | 148 | 171 | 2004-05-0047 & 2004-05-0047

## (DOX-CTD - DOX-BOT)
Calculation of Linear Least Squares Fit For
(DOX-CTD - DOX-BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX-CTD - DOX-BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.013026 |  | X | CALC Y
m= | 1.7121e-05 | 1.3605e-05 |  | Std Dev of Resid |  | 0.057603 |  | 5.3231 | -0.0092182
b= | -0.0093094 | 0.0068415 |  | Resid Sum of Squares |  | 0.39817 |  | 1498.26 | 0.016343
# of Values Extracted = |  |  | 154
# of Values Used in Fit = |  |  | 122
File | Use | Pressure | DOX-CTD | DOX-CTD | Diff (DOX-CTD - DOX-BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 223.078 | 0.072347 | 0.0014589 | 0.072347 | -0.00549 | -0.077837 |  | 223.078 | 0.072347
1 | YES | 200.755 | 0.070686 | 0.001544 | 0.070686 | -0.0058722 | -0.076558 |  | 200.755 | 0.070686
1 | YES | 175.736 | 0.06964 | 0.0014241 | 0.06964 | -0.0063005 | -0.075941 |  | 175.736 | 0.06964
1 | YES | 175.736 | 0.06964 | 0.0014241 | 0.06964 | -0.0063005 | -0.075941 |  | 175.736 | 0.06964
1 | YES | 150.58 | 0.068777 | 0.0014053 | 0.016777 | -0.0067312 | -0.023508 |  | 150.58 | 0.016777
1 | YES | 125.507 | 0.077 | 0.0017889 | 0.025 | -0.0071605 | -0.032161 |  | 125.507 | 0.025
1 | NO | 100.294 | 1.1261 | 0.0010533 | 0.10512 | -0.0075922 | -0.11272 |  | 50.2447 | -0.048545
1 | NO | 75.4472 | 4.6322 | 0.0015508 | 0.35619 | -0.0080176 | -0.36421 |  | 25.1691 | 0.062413
1 | YES | 50.2447 | 4.2145 | 0.0093729 | -0.048545 | -0.0084491 | 0.040096 |  | 10.5793 | 0.16565
1 | YES | 25.1691 | 5.2434 | 0.002301 | 0.062413 | -0.0088784 | -0.071292 |  | 5.5934 | 0.13921
1 | YES | 10.5793 | 5.5706 | 0.0022201 | 0.16565 | -0.0091282 | -0.17478 |  | 101.238 | -0.066967
1 | YES | 5.5934 | 5.8182 | 0.0064986 | 0.13921 | -0.0092136 | -0.14842 |  | 75.6552 | 0.0064545
2 | NO | 113.796 | 4.1568 | 0.0015806 | -0.51921 | -0.007361 | 0.51185 |  | 75.6552 | 0.010455
2 | YES | 101.238 | 4.163 | 0.0026011 | -0.066967 | -0.007576 | 0.059391 |  | 51.4082 | 0.032777
2 | YES | 75.6552 | 4.7175 | 0.015741 | 0.0064545 | -0.008014 | -0.014469 |  | 26.2553 | 0.07476
2 | YES | 75.6552 | 4.7175 | 0.015741 | 0.010455 | -0.008014 | -0.018469 |  | 10.9283 | 0.079298
2 | YES | 51.4082 | 5.9398 | 0.03331 | 0.032777 | -0.0084292 | -0.041206 |  | 6.1623 | 0.083959
2 | YES | 26.2553 | 6.6688 | 0.0014946 | 0.07476 | -0.0088598 | -0.08362 |  | 1324.18 | 0.023141
2 | YES | 10.9283 | 6.7793 | 0.0027069 | 0.079298 | -0.0091222 | -0.08842 |  | 1250.15 | 0.014645
2 | YES | 6.1623 | 6.854 | 0.0026279 | 0.083959 | -0.0092038 | -0.093162 |  | 1001.27 | 0.031412
3 | YES | 1324.18 | 0.49114 | 0.0019761 | 0.023141 | 0.013362 | -0.0097781 |  | 1001.27 | 0.016412
3 | YES | 1250.15 | 0.39465 | 0.0020691 | 0.014645 | 0.012095 | -0.0025498 |  | 802.207 | 0.018405
3 | YES | 1001.27 | 0.25841 | 0.0019726 | 0.031412 | 0.0078337 | -0.023579 |  | 600.939 | 0.02338
3 | YES | 1001.27 | 0.25841 | 0.0019726 | 0.016412 | 0.0078337 | -0.0085787 |  | 402.651 | 0.0093967
3 | YES | 802.207 | 0.2594 | 0.0017634 | 0.018405 | 0.0044255 | -0.01398 |  | 300.968 | 0.023422
3 | YES | 600.939 | 0.47038 | 0.001392 | 0.02338 | 0.00097952 | -0.022401 |  | 250.478 | 0.01733
3 | YES | 402.651 | 1.2824 | 0.0023856 | 0.0093967 | -0.0024154 | -0.011812 |  | 200.576 | -0.01019
3 | YES | 300.968 | 1.7164 | 0.0018608 | 0.023422 | -0.0041564 | -0.027578 |  | 176.465 | -0.010099
3 | YES | 250.478 | 2.0463 | 0.0046929 | 0.01733 | -0.0050208 | -0.022351 |  | 149.429 | -0.053264
3 | YES | 200.576 | 2.5298 | 0.0011783 | -0.01019 | -0.0058752 | 0.0043148 |  | 126.741 | -0.011223
3 | YES | 176.465 | 2.9969 | 0.0028851 | -0.010099 | -0.006288 | 0.0038112 |  | 102.079 | 0.028397
3 | YES | 149.429 | 3.4937 | 0.016495 | -0.053264 | -0.0067509 | 0.046513 |  | 75.3486 | 0.047165
3 | YES | 126.741 | 4.3558 | 0.0045102 | -0.011223 | -0.0071394 | 0.0040839 |  | 51.234 | 0.074893
3 | YES | 102.079 | 4.7834 | 0.0014858 | 0.028397 | -0.0075616 | -0.035958 |  | 26.3631 | 0.037859
3 | YES | 75.3486 | 6.6472 | 0.0016601 | 0.047165 | -0.0080193 | -0.055185 |  | 10.5238 | 0.085958
3 | YES | 51.234 | 6.6879 | 0.0014307 | 0.074893 | -0.0084322 | -0.083325 |  | 5.7552 | 0.05519
3 | YES | 26.3631 | 6.7139 | 0.0015985 | 0.037859 | -0.008858 | -0.046717 |  | 1249.18 | 0.019456
3 | YES | 10.5238 | 6.729 | 0.0018501 | 0.085958 | -0.0091292 | -0.095088 |  | 1249.46 | 0.0084215
3 | YES | 5.7552 | 6.7132 | 0.0015829 | 0.05519 | -0.0092108 | -0.064401 |  | 1001.88 | 0.016835
4 | NO | 2001.08 | 1.4187 | 0.0024236 | -0.25829 | 0.024952 | 0.28324 |  | 801.144 | 0.0052149
4 | NO | 1500.85 | 0.72472 | 0.0022994 | -0.030281 | 0.016387 | 0.046668 |  | 601.429 | 0.018479
4 | YES | 1249.18 | 0.43546 | 0.0017931 | 0.019456 | 0.012078 | -0.007378 |  | 400.882 | -0.0040909
4 | YES | 1249.46 | 0.43542 | 0.001839 | 0.0084215 | 0.012083 | 0.0036615 |  | 301.349 | -0.008785
4 | YES | 1001.88 | 0.27383 | 0.0019594 | 0.016835 | 0.0078442 | -0.0089905 |  | 249.591 | -0.0012481
4 | YES | 801.144 | 0.25022 | 0.0015557 | 0.0052149 | 0.0044073 | -0.00080758 |  | 201.248 | 0.044108
4 | YES | 601.429 | 0.41248 | 0.0012048 | 0.018479 | 0.00098791 | -0.017491 |  | 175.993 | 0.029107
4 | YES | 400.882 | 1.2759 | 0.0030687 | -0.0040909 | -0.0024457 | 0.0016452 |  | 150.926 | 0.075884
4 | YES | 301.349 | 2.2252 | 0.0016391 | -0.008785 | -0.0041499 | 0.0046352 |  | 126.898 | -0.016727
4 | YES | 249.591 | 2.7738 | 0.001997 | -0.0012481 | -0.005036 | -0.0037879 |  | 101.336 | 0.0047107
4 | YES | 201.248 | 3.4041 | 0.011841 | 0.044108 | -0.0058637 | -0.049971 |  | 76.2361 | 0.0025535
4 | YES | 175.993 | 3.9111 | 0.0024386 | 0.029107 | -0.0062961 | -0.035403 |  | 50.6828 | 0.031611
4 | YES | 150.926 | 3.7169 | 0.015647 | 0.075884 | -0.0067253 | -0.08261 |  | 24.4999 | 0.050528
4 | YES | 126.898 | 3.8203 | 0.0015969 | -0.016727 | -0.0071367 | 0.0095905 |  | 11.7625 | 0.050124
4 | YES | 101.336 | 4.3007 | 0.0052416 | 0.0047107 | -0.0075743 | -0.012285 |  | 5.3231 | 0.040661
4 | YES | 76.2361 | 6.5476 | 0.022309 | 0.0025535 | -0.0080041 | -0.010558 |  | 1250.62 | 0.02061
4 | YES | 50.6828 | 6.7806 | 0.00315 | 0.031611 | -0.0084416 | -0.040053 |  | 1000.98 | 0.026281
4 | YES | 24.4999 | 6.7655 | 0.0031651 | 0.050528 | -0.0088899 | -0.059418 |  | 800.816 | 0.022554
4 | YES | 11.7625 | 6.7691 | 0.0023365 | 0.050124 | -0.009108 | -0.059232 |  | 599.794 | 0.0073471
4 | YES | 5.3231 | 6.7657 | 0.003655 | 0.040661 | -0.0092182 | -0.04988 |  | 399.808 | -0.0068001
5 | NO | 3200.42 | 2.2304 | 0.0025179 | -0.25361 | 0.045486 | 0.2991 |  | 299.57 | -0.024975
5 | NO | 3000.14 | 2.2082 | 0.0028774 | -0.035769 | 0.042057 | 0.077826 |  | 249.991 | -0.05705
5 | NO | 2500.09 | 1.8907 | 0.0023707 | -0.040281 | 0.033495 | 0.073777 |  | 200.278 | -0.021314
5 | NO | 1999.18 | 1.3879 | 0.0019956 | -0.017132 | 0.024919 | 0.042051 |  | 174.298 | -0.029124
5 | NO | 1500.64 | 0.65686 | 0.0025543 | 0.012861 | 0.016384 | 0.0035228 |  | 151.632 | -1.6689e-05
5 | NO | 1500.84 | 0.65676 | 0.0025869 | 0.01376 | 0.016387 | 0.002627 |  | 125.804 | 0.043653
5 | YES | 1250.62 | 0.35861 | 0.0024877 | 0.02061 | 0.012103 | -0.0085073 |  | 99.1364 | 0.023041
5 | YES | 1000.98 | 0.28028 | 0.0019716 | 0.026281 | 0.0078288 | -0.018452 |  | 76.393 | 0.02824
5 | YES | 800.816 | 0.35355 | 0.0016581 | 0.022554 | 0.0044017 | -0.018152 |  | 49.9324 | 0.037611
5 | YES | 599.794 | 0.66135 | 0.0016467 | 0.0073471 | 0.00095991 | -0.0063872 |  | 24.8294 | 0.027281
5 | YES | 399.808 | 1.5042 | 0.0020801 | -0.0068001 | -0.0024641 | 0.0043359 |  | 10.1453 | 0.037703
5 | YES | 299.57 | 2.363 | 0.0044374 | -0.024975 | -0.0041803 | 0.020795 |  | 5.5845 | 0.010611
5 | YES | 249.991 | 3.085 | 0.015076 | -0.05705 | -0.0050292 | 0.05202 |  | 1253.52 | 0.021308
5 | YES | 200.278 | 4.1567 | 0.0017982 | -0.021314 | -0.0058803 | 0.015434 |  | 1001.28 | 0.034603
5 | YES | 174.298 | 4.5029 | 0.011288 | -0.029124 | -0.0063251 | 0.022799 |  | 801.384 | 0.022843
5 | YES | 151.632 | 4.883 | 0.0019832 | -1.6689e-05 | -0.0067132 | -0.0066965 |  | 600.599 | -0.001562
5 | YES | 125.804 | 5.2157 | 0.012207 | 0.043653 | -0.0071554 | -0.050808 |  | 400.794 | -0.016174
5 | YES | 99.1364 | 6.751 | 0.0029732 | 0.023041 | -0.007612 | -0.030653 |  | 299.05 | -0.041669
5 | YES | 76.393 | 6.7642 | 0.0023417 | 0.02824 | -0.0080014 | -0.036241 |  | 252.419 | -0.034772
5 | YES | 49.9324 | 6.7876 | 0.0023466 | 0.037611 | -0.0084544 | -0.046066 |  | 199.301 | -0.067554
5 | YES | 24.8294 | 6.8043 | 0.0036084 | 0.027281 | -0.0088842 | -0.036166 |  | 176.2 | -0.034521
5 | YES | 10.1453 | 6.8137 | 0.0029316 | 0.037703 | -0.0091357 | -0.046838 |  | 150.82 | -0.11548
5 | YES | 5.5845 | 6.7996 | 0.010826 | 0.010611 | -0.0092137 | -0.019825 |  | 126.37 | -0.035686
6 | NO | 3674.55 | 2.6824 | 0.0029734 | -0.4196 | 0.053604 | 0.47321 |  | 100.426 | -0.1014
6 | NO | 3501.17 | 2.6385 | 0.0033617 | -0.11947 | 0.050635 | 0.17011 |  | 75.9724 | -0.02733
6 | NO | 2999.45 | 2.3546 | 0.0022103 | -0.064372 | 0.042045 | 0.10642 |  | 51.6684 | -0.0067024
6 | NO | 2498.94 | 1.8843 | 0.0023917 | -0.079678 | 0.033476 | 0.11315 |  | 26.4694 | 0.0080581
6 | NO | 2000.95 | 1.3339 | 0.0023905 | -0.013058 | 0.02495 | 0.038007 |  | 10.6649 | -0.016545
6 | NO | 2000.95 | 1.3339 | 0.0023905 | -0.21406 | 0.02495 | 0.23901 |  | 5.9121 | 0.07486
6 | NO | 1501.6 | 0.56212 | 0.0018894 | 0.020116 | 0.0164 | -0.0037157 |  | 1498.26 | -0.0062524
6 | YES | 1253.52 | 0.32331 | 0.0019858 | 0.021308 | 0.012153 | -0.0091551 |  | 1251.76 | 0.014843
6 | YES | 1001.28 | 0.2766 | 0.0024272 | 0.034603 | 0.0078339 | -0.026769 |  | 1001.33 | 0.014884
6 | YES | 801.384 | 0.34884 | 0.0018212 | 0.022843 | 0.0044114 | -0.018432 |  | 798.273 | 0.02905
6 | YES | 600.599 | 0.66944 | 0.0020285 | -0.001562 | 0.0009737 | 0.0025357 |  | 600.711 | 0.016884
6 | YES | 400.794 | 1.4498 | 0.001716 | -0.016174 | -0.0024472 | 0.013726 |  | 399.141 | -0.01862
6 | YES | 299.05 | 1.9163 | 0.0054912 | -0.041669 | -0.0041892 | 0.03748 |  | 299.095 | -0.077521
6 | YES | 252.419 | 2.5612 | 0.0027363 | -0.034772 | -0.0049876 | 0.029784 |  | 249.239 | -0.043264
6 | YES | 199.301 | 3.0495 | 0.004801 | -0.067554 | -0.0058971 | 0.061657 |  | 199.076 | -0.084593
6 | YES | 176.2 | 3.9175 | 0.0041233 | -0.034521 | -0.0062926 | 0.028228 |  | 175.572 | -0.036124
6 | YES | 150.82 | 5.1765 | 0.0079573 | -0.11548 | -0.0067271 | 0.10875 |  | 149.177 | -0.16351
6 | YES | 126.37 | 5.6903 | 0.0020938 | -0.035686 | -0.0071457 | 0.02854 |  | 124.453 | -0.11311
6 | YES | 100.426 | 6.4016 | 0.0050158 | -0.1014 | -0.0075899 | 0.093807 |  | 101.936 | -0.13461
6 | YES | 75.9724 | 6.8067 | 0.00365 | -0.02733 | -0.0080086 | 0.019322 |  | 75.8176 | -0.061661
6 | YES | 51.6684 | 6.8403 | 0.0033257 | -0.0067024 | -0.0084247 | -0.0017223 |  | 50.0663 | -0.070422
6 | YES | 26.4694 | 6.8511 | 0.0013983 | 0.0080581 | -0.0088562 | -0.016914 |  | 24.5427 | -0.037496
6 | YES | 10.6649 | 6.8345 | 0.0079288 | -0.016545 | -0.0091268 | 0.0074185 |  | 9.8972 | -0.034554
6 | YES | 5.9121 | 6.8519 | 0.002392 | 0.07486 | -0.0092081 | -0.084068 |  | 1250.28 | 0.021298
7 | NO | 3999.48 | 2.9224 | 0.0029636 | -0.32455 | 0.059167 | 0.38372 |  | 1002.85 | -0.0016033
7 | NO | 3501.79 | 2.7818 | 0.0027987 | -0.11621 | 0.050646 | 0.16686 |  | 799.416 | -0.0040413
7 | NO | 3501.17 | 2.7817 | 0.0027135 | -0.10627 | 0.050635 | 0.15691 |  | 602.617 | -0.022413
7 | NO | 3000.91 | 2.4298 | 0.0025194 | -0.10417 | 0.04207 | 0.14624 |  | 400.188 | -0.066017
7 | NO | 2500.1 | 1.882 | 0.0021291 | -0.062983 | 0.033496 | 0.096479 |  | 298.565 | -0.01205
7 | NO | 2000.3 | 1.2461 | 0.0020731 | -0.01995 | 0.024938 | 0.044889 |  | 250.406 | -0.022232
7 | YES | 1498.26 | 0.54675 | 0.0014672 | -0.0062524 | 0.016343 | 0.022595 |  | 200.921 | -0.046356
7 | YES | 1251.76 | 0.36684 | 0.0019622 | 0.014843 | 0.012122 | -0.0027206 |  | 174.735 | -0.089413
7 | YES | 1001.33 | 0.31888 | 0.001885 | 0.014884 | 0.0078347 | -0.0070496 |  | 152.107 | -0.084487
7 | YES | 798.273 | 0.39305 | 0.0012237 | 0.02905 | 0.0043581 | -0.024691 |  | 123.544 | -0.15403
7 | YES | 600.711 | 0.62288 | 0.002126 | 0.016884 | 0.00097562 | -0.015909 |  | 100.287 | -0.15933
7 | YES | 399.141 | 1.2454 | 0.0018541 | -0.01862 | -0.0024755 | 0.016144 |  | 74.4088 | -0.08262
7 | YES | 299.095 | 1.7815 | 0.0017181 | -0.077521 | -0.0041884 | 0.073332 |  | 49.3798 | -0.11163
7 | YES | 249.239 | 2.2137 | 0.0022941 | -0.043264 | -0.0050421 | 0.038222 |  | 24.7867 | -0.10031
7 | YES | 199.076 | 2.9354 | 0.0095858 | -0.084593 | -0.0059009 | 0.078692 |  | 9.1435 | -0.10085
7 | YES | 175.572 | 3.4049 | 0.0021313 | -0.036124 | -0.0063033 | 0.029821 |  | 5.3508 | -0.074273
7 | YES | 149.177 | 4.1485 | 0.026771 | -0.16351 | -0.0067552 | 0.15676
7 | YES | 124.453 | 5.1169 | 0.014618 | -0.11311 | -0.0071786 | 0.10593
7 | YES | 101.936 | 5.6234 | 0.0091108 | -0.13461 | -0.0075641 | 0.12705
7 | YES | 75.8176 | 6.8903 | 0.0045762 | -0.061661 | -0.0080113 | 0.05365
7 | YES | 50.0663 | 6.8956 | 0.0052895 | -0.070422 | -0.0084522 | 0.06197
7 | YES | 24.5427 | 6.9195 | 0.0022291 | -0.037496 | -0.0088891 | 0.028606
7 | YES | 9.8972 | 6.9165 | 0.0049799 | -0.034554 | -0.0091399 | 0.025414
7 | NO | 4.1165 | 6.9138 | 0.0049677 | -0.022173 | -0.0092389 | 0.012935
8 | NO | 4000.37 | 3.0776 | 0.0031063 | -0.56645 | 0.059182 | 0.62563
8 | NO | 3501.53 | 2.8332 | 0.0027759 | -0.15684 | 0.050641 | 0.20748
8 | NO | 3001.69 | 2.4662 | 0.0024001 | -0.1118 | 0.042084 | 0.15389
8 | NO | 2501.03 | 1.9475 | 0.0026603 | -0.077526 | 0.033512 | 0.11104
8 | NO | 2501.03 | 1.9475 | 0.0026603 | -0.064526 | 0.033512 | 0.098038
8 | NO | 2000.99 | 1.3384 | 0.0027894 | -0.042645 | 0.02495 | 0.067595
8 | NO | 1501.34 | 0.63865 | 0.0026793 | 0.0086529 | 0.016396 | 0.0077427
8 | YES | 1250.28 | 0.4503 | 0.0018011 | 0.021298 | 0.012097 | -0.0092004
8 | YES | 1002.85 | 0.4274 | 0.0017864 | -0.0016033 | 0.0078608 | 0.0094641
8 | YES | 799.416 | 0.47496 | 0.0024913 | -0.0040413 | 0.0043777 | 0.008419
8 | YES | 602.617 | 0.56759 | 0.0018871 | -0.022413 | 0.0010082 | 0.023421
8 | YES | 400.188 | 0.77398 | 0.0019747 | -0.066017 | -0.0024576 | 0.063559
8 | YES | 298.565 | 1.109 | 0.0012836 | -0.01205 | -0.0041975 | 0.0078522
8 | YES | 250.406 | 1.4798 | 0.0015153 | -0.022232 | -0.0050221 | 0.017209
8 | YES | 200.921 | 2.0746 | 0.0018388 | -0.046356 | -0.0058693 | 0.040486
8 | YES | 174.735 | 2.4056 | 0.003283 | -0.089413 | -0.0063177 | 0.083096
8 | YES | 152.107 | 2.8605 | 0.0058354 | -0.084487 | -0.0067051 | 0.077782
8 | YES | 123.544 | 4.207 | 0.023679 | -0.15403 | -0.0071941 | 0.14684
8 | YES | 100.287 | 5.8017 | 0.0045541 | -0.15933 | -0.0075923 | 0.15174
8 | YES | 74.4088 | 6.9514 | 0.010801 | -0.08262 | -0.0080354 | 0.074584
8 | YES | 49.3798 | 6.9504 | 0.010949 | -0.11163 | -0.0084639 | 0.10316
8 | YES | 24.7867 | 6.9647 | 0.011756 | -0.10031 | -0.008885 | 0.091429
8 | YES | 9.1435 | 6.9681 | 0.0082013 | -0.10085 | -0.0091528 | 0.091698
8 | YES | 5.3508 | 6.9817 | 0.0035355 | -0.074273 | -0.0092177 | 0.065055
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX-CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX-CTD - DOX-BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX-CTD - DOX-BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX-CTD - DOX-BOT), Prop=DOX-CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0075122 |  | X | CALC Y
m= | -0.0019162 | 0.0020106 |  | Std Dev of Resid |  | 0.057764 |  | 0.068777 | 0.002864
b= | 0.0029958 | 0.0087894 |  | Resid Sum of Squares |  | 0.4004 |  | 6.9817 | -0.010383
# of Values Extracted = |  |  | 154
# of Values Used in Fit = |  |  | 122
File | Use | Pressure | DOX-CTD | DOX-CTD | Diff (DOX-CTD - DOX-BOT) |  |  |  | Fit vs. | DOX-CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 223.078 | 0.072347 | 0.0014589 | 0.072347 | 0.0028572 | -0.06949 |  | 0.072347 | 0.072347
1 | YES | 200.755 | 0.070686 | 0.001544 | 0.070686 | 0.0028603 | -0.067826 |  | 0.070686 | 0.070686
1 | YES | 175.736 | 0.06964 | 0.0014241 | 0.06964 | 0.0028623 | -0.066778 |  | 0.06964 | 0.06964
1 | YES | 175.736 | 0.06964 | 0.0014241 | 0.06964 | 0.0028623 | -0.066778 |  | 0.06964 | 0.06964
1 | YES | 150.58 | 0.068777 | 0.0014053 | 0.016777 | 0.002864 | -0.013913 |  | 0.068777 | 0.016777
1 | YES | 125.507 | 0.077 | 0.0017889 | 0.025 | 0.0028482 | -0.022152 |  | 0.077 | 0.025
1 | NO | 100.294 | 1.1261 | 0.0010533 | 0.10512 | 0.00083793 | -0.10429 |  | 4.2145 | -0.048545
1 | NO | 75.4472 | 4.6322 | 0.0015508 | 0.35619 | -0.0058804 | -0.36207 |  | 5.2434 | 0.062413
1 | YES | 50.2447 | 4.2145 | 0.0093729 | -0.048545 | -0.0050799 | 0.043466 |  | 5.5706 | 0.16565
1 | YES | 25.1691 | 5.2434 | 0.002301 | 0.062413 | -0.0070516 | -0.069465 |  | 5.8182 | 0.13921
1 | YES | 10.5793 | 5.5706 | 0.0022201 | 0.16565 | -0.0076786 | -0.17333 |  | 4.163 | -0.066967
1 | YES | 5.5934 | 5.8182 | 0.0064986 | 0.13921 | -0.008153 | -0.14736 |  | 4.7175 | 0.0064545
2 | NO | 113.796 | 4.1568 | 0.0015806 | -0.51921 | -0.0049694 | 0.51424 |  | 4.7175 | 0.010455
2 | YES | 101.238 | 4.163 | 0.0026011 | -0.066967 | -0.0049814 | 0.061986 |  | 5.9398 | 0.032777
2 | YES | 75.6552 | 4.7175 | 0.015741 | 0.0064545 | -0.0060437 | -0.012498 |  | 6.6688 | 0.07476
2 | YES | 75.6552 | 4.7175 | 0.015741 | 0.010455 | -0.0060437 | -0.016498 |  | 6.7793 | 0.079298
2 | YES | 51.4082 | 5.9398 | 0.03331 | 0.032777 | -0.008386 | -0.041163 |  | 6.854 | 0.083959
2 | YES | 26.2553 | 6.6688 | 0.0014946 | 0.07476 | -0.0097828 | -0.084543 |  | 0.49114 | 0.023141
2 | YES | 10.9283 | 6.7793 | 0.0027069 | 0.079298 | -0.0099946 | -0.089292 |  | 0.39465 | 0.014645
2 | YES | 6.1623 | 6.854 | 0.0026279 | 0.083959 | -0.010138 | -0.094096 |  | 0.25841 | 0.031412
3 | YES | 1324.18 | 0.49114 | 0.0019761 | 0.023141 | 0.0020547 | -0.021086 |  | 0.25841 | 0.016412
3 | YES | 1250.15 | 0.39465 | 0.0020691 | 0.014645 | 0.0022396 | -0.012405 |  | 0.2594 | 0.018405
3 | YES | 1001.27 | 0.25841 | 0.0019726 | 0.031412 | 0.0025006 | -0.028912 |  | 0.47038 | 0.02338
3 | YES | 1001.27 | 0.25841 | 0.0019726 | 0.016412 | 0.0025006 | -0.013912 |  | 1.2824 | 0.0093967
3 | YES | 802.207 | 0.2594 | 0.0017634 | 0.018405 | 0.0024987 | -0.015906 |  | 1.7164 | 0.023422
3 | YES | 600.939 | 0.47038 | 0.001392 | 0.02338 | 0.0020945 | -0.021286 |  | 2.0463 | 0.01733
3 | YES | 402.651 | 1.2824 | 0.0023856 | 0.0093967 | 0.00053847 | -0.0088582 |  | 2.5298 | -0.01019
3 | YES | 300.968 | 1.7164 | 0.0018608 | 0.023422 | -0.00029319 | -0.023715 |  | 2.9969 | -0.010099
3 | YES | 250.478 | 2.0463 | 0.0046929 | 0.01733 | -0.00092536 | -0.018256 |  | 3.4937 | -0.053264
3 | YES | 200.576 | 2.5298 | 0.0011783 | -0.01019 | -0.0018518 | 0.0083382 |  | 4.3558 | -0.011223
3 | YES | 176.465 | 2.9969 | 0.0028851 | -0.010099 | -0.0027468 | 0.0073524 |  | 4.7834 | 0.028397
3 | YES | 149.429 | 3.4937 | 0.016495 | -0.053264 | -0.0036989 | 0.049566 |  | 6.6472 | 0.047165
3 | YES | 126.741 | 4.3558 | 0.0045102 | -0.011223 | -0.0053507 | 0.0058726 |  | 6.6879 | 0.074893
3 | YES | 102.079 | 4.7834 | 0.0014858 | 0.028397 | -0.0061701 | -0.034567 |  | 6.7139 | 0.037859
3 | YES | 75.3486 | 6.6472 | 0.0016601 | 0.047165 | -0.0097414 | -0.056907 |  | 6.729 | 0.085958
3 | YES | 51.234 | 6.6879 | 0.0014307 | 0.074893 | -0.0098195 | -0.084712 |  | 6.7132 | 0.05519
3 | YES | 26.3631 | 6.7139 | 0.0015985 | 0.037859 | -0.0098692 | -0.047729 |  | 0.43546 | 0.019456
3 | YES | 10.5238 | 6.729 | 0.0018501 | 0.085958 | -0.0098982 | -0.095857 |  | 0.43542 | 0.0084215
3 | YES | 5.7552 | 6.7132 | 0.0015829 | 0.05519 | -0.009868 | -0.065058 |  | 0.27383 | 0.016835
4 | NO | 2001.08 | 1.4187 | 0.0024236 | -0.25829 | 0.00027728 | 0.25857 |  | 0.25022 | 0.0052149
4 | NO | 1500.85 | 0.72472 | 0.0022994 | -0.030281 | 0.0016071 | 0.031888 |  | 0.41248 | 0.018479
4 | YES | 1249.18 | 0.43546 | 0.0017931 | 0.019456 | 0.0021614 | -0.017295 |  | 1.2759 | -0.0040909
4 | YES | 1249.46 | 0.43542 | 0.001839 | 0.0084215 | 0.0021614 | -0.0062601 |  | 2.2252 | -0.008785
4 | YES | 1001.88 | 0.27383 | 0.0019594 | 0.016835 | 0.0024711 | -0.014364 |  | 2.7738 | -0.0012481
4 | YES | 801.144 | 0.25022 | 0.0015557 | 0.0052149 | 0.0025163 | -0.0026985 |  | 3.4041 | 0.044108
4 | YES | 601.429 | 0.41248 | 0.0012048 | 0.018479 | 0.0022054 | -0.016274 |  | 3.9111 | 0.029107
4 | YES | 400.882 | 1.2759 | 0.0030687 | -0.0040909 | 0.00055091 | 0.0046418 |  | 3.7169 | 0.075884
4 | YES | 301.349 | 2.2252 | 0.0016391 | -0.008785 | -0.0012681 | 0.0075169 |  | 3.8203 | -0.016727
4 | YES | 249.591 | 2.7738 | 0.001997 | -0.0012481 | -0.0023192 | -0.0010711 |  | 4.3007 | 0.0047107
4 | YES | 201.248 | 3.4041 | 0.011841 | 0.044108 | -0.0035271 | -0.047635 |  | 6.5476 | 0.0025535
4 | YES | 175.993 | 3.9111 | 0.0024386 | 0.029107 | -0.0044986 | -0.033606 |  | 6.7806 | 0.031611
4 | YES | 150.926 | 3.7169 | 0.015647 | 0.075884 | -0.0041265 | -0.080011 |  | 6.7655 | 0.050528
4 | YES | 126.898 | 3.8203 | 0.0015969 | -0.016727 | -0.0043246 | 0.012403 |  | 6.7691 | 0.050124
4 | YES | 101.336 | 4.3007 | 0.0052416 | 0.0047107 | -0.0052452 | -0.0099559 |  | 6.7657 | 0.040661
4 | YES | 76.2361 | 6.5476 | 0.022309 | 0.0025535 | -0.0095506 | -0.012104 |  | 0.35861 | 0.02061
4 | YES | 50.6828 | 6.7806 | 0.00315 | 0.031611 | -0.0099971 | -0.041609 |  | 0.28028 | 0.026281
4 | YES | 24.4999 | 6.7655 | 0.0031651 | 0.050528 | -0.0099682 | -0.060497 |  | 0.35355 | 0.022554
4 | YES | 11.7625 | 6.7691 | 0.0023365 | 0.050124 | -0.0099751 | -0.060099 |  | 0.66135 | 0.0073471
4 | YES | 5.3231 | 6.7657 | 0.003655 | 0.040661 | -0.0099685 | -0.05063 |  | 1.5042 | -0.0068001
5 | NO | 3200.42 | 2.2304 | 0.0025179 | -0.25361 | -0.0012781 | 0.25233 |  | 2.363 | -0.024975
5 | NO | 3000.14 | 2.2082 | 0.0028774 | -0.035769 | -0.0012356 | 0.034533 |  | 3.085 | -0.05705
5 | NO | 2500.09 | 1.8907 | 0.0023707 | -0.040281 | -0.00062718 | 0.039654 |  | 4.1567 | -0.021314
5 | NO | 1999.18 | 1.3879 | 0.0019956 | -0.017132 | 0.00033637 | 0.017469 |  | 4.5029 | -0.029124
5 | NO | 1500.64 | 0.65686 | 0.0025543 | 0.012861 | 0.0017371 | -0.011124 |  | 4.883 | -1.6689e-05
5 | NO | 1500.84 | 0.65676 | 0.0025869 | 0.01376 | 0.0017373 | -0.012023 |  | 5.2157 | 0.043653
5 | YES | 1250.62 | 0.35861 | 0.0024877 | 0.02061 | 0.0023086 | -0.018302 |  | 6.751 | 0.023041
5 | YES | 1000.98 | 0.28028 | 0.0019716 | 0.026281 | 0.0024587 | -0.023822 |  | 6.7642 | 0.02824
5 | YES | 800.816 | 0.35355 | 0.0016581 | 0.022554 | 0.0023183 | -0.020235 |  | 6.7876 | 0.037611
5 | YES | 599.794 | 0.66135 | 0.0016467 | 0.0073471 | 0.0017285 | -0.0056186 |  | 6.8043 | 0.027281
5 | YES | 399.808 | 1.5042 | 0.0020801 | -0.0068001 | 0.00011346 | 0.0069135 |  | 6.8137 | 0.037703
5 | YES | 299.57 | 2.363 | 0.0044374 | -0.024975 | -0.0015322 | 0.023443 |  | 6.7996 | 0.010611
5 | YES | 249.991 | 3.085 | 0.015076 | -0.05705 | -0.0029156 | 0.054134 |  | 0.32331 | 0.021308
5 | YES | 200.278 | 4.1567 | 0.0017982 | -0.021314 | -0.0049692 | 0.016345 |  | 0.2766 | 0.034603
5 | YES | 174.298 | 4.5029 | 0.011288 | -0.029124 | -0.0056326 | 0.023491 |  | 0.34884 | 0.022843
5 | YES | 151.632 | 4.883 | 0.0019832 | -1.6689e-05 | -0.0063609 | -0.0063442 |  | 0.66944 | -0.001562
5 | YES | 125.804 | 5.2157 | 0.012207 | 0.043653 | -0.0069984 | -0.050651 |  | 1.4498 | -0.016174
5 | YES | 99.1364 | 6.751 | 0.0029732 | 0.023041 | -0.0099405 | -0.032982 |  | 1.9163 | -0.041669
5 | YES | 76.393 | 6.7642 | 0.0023417 | 0.02824 | -0.0099658 | -0.038205 |  | 2.5612 | -0.034772
5 | YES | 49.9324 | 6.7876 | 0.0023466 | 0.037611 | -0.010011 | -0.047622 |  | 3.0495 | -0.067554
5 | YES | 24.8294 | 6.8043 | 0.0036084 | 0.027281 | -0.010042 | -0.037324 |  | 3.9175 | -0.034521
5 | YES | 10.1453 | 6.8137 | 0.0029316 | 0.037703 | -0.010061 | -0.047763 |  | 5.1765 | -0.11548
5 | YES | 5.5845 | 6.7996 | 0.010826 | 0.010611 | -0.010034 | -0.020645 |  | 5.6903 | -0.035686
6 | NO | 3674.55 | 2.6824 | 0.0029734 | -0.4196 | -0.0021442 | 0.41746 |  | 6.4016 | -0.1014
6 | NO | 3501.17 | 2.6385 | 0.0033617 | -0.11947 | -0.0020601 | 0.11741 |  | 6.8067 | -0.02733
6 | NO | 2999.45 | 2.3546 | 0.0022103 | -0.064372 | -0.0015161 | 0.062856 |  | 6.8403 | -0.0067024
6 | NO | 2498.94 | 1.8843 | 0.0023917 | -0.079678 | -0.00061492 | 0.079063 |  | 6.8511 | 0.0080581
6 | NO | 2000.95 | 1.3339 | 0.0023905 | -0.013058 | 0.00043971 | 0.013498 |  | 6.8345 | -0.016545
6 | NO | 2000.95 | 1.3339 | 0.0023905 | -0.21406 | 0.00043971 | 0.2145 |  | 6.8519 | 0.07486
6 | NO | 1501.6 | 0.56212 | 0.0018894 | 0.020116 | 0.0019187 | -0.018197 |  | 0.54675 | -0.0062524
6 | YES | 1253.52 | 0.32331 | 0.0019858 | 0.021308 | 0.0023763 | -0.018931 |  | 0.36684 | 0.014843
6 | YES | 1001.28 | 0.2766 | 0.0024272 | 0.034603 | 0.0024658 | -0.032138 |  | 0.31888 | 0.014884
6 | YES | 801.384 | 0.34884 | 0.0018212 | 0.022843 | 0.0023273 | -0.020516 |  | 0.39305 | 0.02905
6 | YES | 600.599 | 0.66944 | 0.0020285 | -0.001562 | 0.001713 | 0.003275 |  | 0.62288 | 0.016884
6 | YES | 400.794 | 1.4498 | 0.001716 | -0.016174 | 0.00021764 | 0.016391 |  | 1.2454 | -0.01862
6 | YES | 299.05 | 1.9163 | 0.0054912 | -0.041669 | -0.00067626 | 0.040993 |  | 1.7815 | -0.077521
6 | YES | 252.419 | 2.5612 | 0.0027363 | -0.034772 | -0.001912 | 0.03286 |  | 2.2137 | -0.043264
6 | YES | 199.301 | 3.0495 | 0.004801 | -0.067554 | -0.0028475 | 0.064706 |  | 2.9354 | -0.084593
6 | YES | 176.2 | 3.9175 | 0.0041233 | -0.034521 | -0.0045108 | 0.03001 |  | 3.4049 | -0.036124
6 | YES | 150.82 | 5.1765 | 0.0079573 | -0.11548 | -0.0069234 | 0.10856 |  | 4.1485 | -0.16351
6 | YES | 126.37 | 5.6903 | 0.0020938 | -0.035686 | -0.0079079 | 0.027778 |  | 5.1169 | -0.11311
6 | YES | 100.426 | 6.4016 | 0.0050158 | -0.1014 | -0.0092709 | 0.092126 |  | 5.6234 | -0.13461
6 | YES | 75.9724 | 6.8067 | 0.00365 | -0.02733 | -0.010047 | 0.017283 |  | 6.8903 | -0.061661
6 | YES | 51.6684 | 6.8403 | 0.0033257 | -0.0067024 | -0.010112 | -0.0034091 |  | 6.8956 | -0.070422
6 | YES | 26.4694 | 6.8511 | 0.0013983 | 0.0080581 | -0.010132 | -0.01819 |  | 6.9195 | -0.037496
6 | YES | 10.6649 | 6.8345 | 0.0079288 | -0.016545 | -0.0101 | 0.006445 |  | 6.9165 | -0.034554
6 | YES | 5.9121 | 6.8519 | 0.002392 | 0.07486 | -0.010134 | -0.084993 |  | 0.4503 | 0.021298
7 | NO | 3999.48 | 2.9224 | 0.0029636 | -0.32455 | -0.0026042 | 0.32195 |  | 0.4274 | -0.0016033
7 | NO | 3501.79 | 2.7818 | 0.0027987 | -0.11621 | -0.0023346 | 0.11388 |  | 0.47496 | -0.0040413
7 | NO | 3501.17 | 2.7817 | 0.0027135 | -0.10627 | -0.0023345 | 0.10394 |  | 0.56759 | -0.022413
7 | NO | 3000.91 | 2.4298 | 0.0025194 | -0.10417 | -0.0016602 | 0.10251 |  | 0.77398 | -0.066017
7 | NO | 2500.1 | 1.882 | 0.0021291 | -0.062983 | -0.00061051 | 0.062373 |  | 1.109 | -0.01205
7 | NO | 2000.3 | 1.2461 | 0.0020731 | -0.01995 | 0.00060813 | 0.020559 |  | 1.4798 | -0.022232
7 | YES | 1498.26 | 0.54675 | 0.0014672 | -0.0062524 | 0.0019481 | 0.0082005 |  | 2.0746 | -0.046356
7 | YES | 1251.76 | 0.36684 | 0.0019622 | 0.014843 | 0.0022929 | -0.01255 |  | 2.4056 | -0.089413
7 | YES | 1001.33 | 0.31888 | 0.001885 | 0.014884 | 0.0023848 | -0.0125 |  | 2.8605 | -0.084487
7 | YES | 798.273 | 0.39305 | 0.0012237 | 0.02905 | 0.0022426 | -0.026807 |  | 4.207 | -0.15403
7 | YES | 600.711 | 0.62288 | 0.002126 | 0.016884 | 0.0018022 | -0.015082 |  | 5.8017 | -0.15933
7 | YES | 399.141 | 1.2454 | 0.0018541 | -0.01862 | 0.00060941 | 0.019229 |  | 6.9514 | -0.08262
7 | YES | 299.095 | 1.7815 | 0.0017181 | -0.077521 | -0.00041786 | 0.077103 |  | 6.9504 | -0.11163
7 | YES | 249.239 | 2.2137 | 0.0022941 | -0.043264 | -0.0012462 | 0.042018 |  | 6.9647 | -0.10031
7 | YES | 199.076 | 2.9354 | 0.0095858 | -0.084593 | -0.002629 | 0.081964 |  | 6.9681 | -0.10085
7 | YES | 175.572 | 3.4049 | 0.0021313 | -0.036124 | -0.0035286 | 0.032595 |  | 6.9817 | -0.074273
7 | YES | 149.177 | 4.1485 | 0.026771 | -0.16351 | -0.0049535 | 0.15856
7 | YES | 124.453 | 5.1169 | 0.014618 | -0.11311 | -0.0068091 | 0.1063
7 | YES | 101.936 | 5.6234 | 0.0091108 | -0.13461 | -0.0077797 | 0.12683
7 | YES | 75.8176 | 6.8903 | 0.0045762 | -0.061661 | -0.010207 | 0.051454
7 | YES | 50.0663 | 6.8956 | 0.0052895 | -0.070422 | -0.010217 | 0.060204
7 | YES | 24.5427 | 6.9195 | 0.0022291 | -0.037496 | -0.010263 | 0.027232
7 | YES | 9.8972 | 6.9165 | 0.0049799 | -0.034554 | -0.010257 | 0.024297
7 | NO | 4.1165 | 6.9138 | 0.0049677 | -0.022173 | -0.010252 | 0.011921
8 | NO | 4000.37 | 3.0776 | 0.0031063 | -0.56645 | -0.0029014 | 0.56354
8 | NO | 3501.53 | 2.8332 | 0.0027759 | -0.15684 | -0.0024331 | 0.1544
8 | NO | 3001.69 | 2.4662 | 0.0024001 | -0.1118 | -0.0017299 | 0.11007
8 | NO | 2501.03 | 1.9475 | 0.0026603 | -0.077526 | -0.00073593 | 0.076791
8 | NO | 2501.03 | 1.9475 | 0.0026603 | -0.064526 | -0.00073593 | 0.06379
8 | NO | 2000.99 | 1.3384 | 0.0027894 | -0.042645 | 0.00043124 | 0.043076
8 | NO | 1501.34 | 0.63865 | 0.0026793 | 0.0086529 | 0.001772 | -0.0068809
8 | YES | 1250.28 | 0.4503 | 0.0018011 | 0.021298 | 0.0021329 | -0.019165
8 | YES | 1002.85 | 0.4274 | 0.0017864 | -0.0016033 | 0.0021768 | 0.0037801
8 | YES | 799.416 | 0.47496 | 0.0024913 | -0.0040413 | 0.0020857 | 0.006127
8 | YES | 602.617 | 0.56759 | 0.0018871 | -0.022413 | 0.0019082 | 0.024321
8 | YES | 400.188 | 0.77398 | 0.0019747 | -0.066017 | 0.0015127 | 0.067529
8 | YES | 298.565 | 1.109 | 0.0012836 | -0.01205 | 0.00087084 | 0.012921
8 | YES | 250.406 | 1.4798 | 0.0015153 | -0.022232 | 0.00016027 | 0.022392
8 | YES | 200.921 | 2.0746 | 0.0018388 | -0.046356 | -0.00097961 | 0.045376
8 | YES | 174.735 | 2.4056 | 0.003283 | -0.089413 | -0.0016138 | 0.087799
8 | YES | 152.107 | 2.8605 | 0.0058354 | -0.084487 | -0.0024855 | 0.082002
8 | YES | 123.544 | 4.207 | 0.023679 | -0.15403 | -0.0050656 | 0.14897
8 | YES | 100.287 | 5.8017 | 0.0045541 | -0.15933 | -0.0081213 | 0.15121
8 | YES | 74.4088 | 6.9514 | 0.010801 | -0.08262 | -0.010324 | 0.072295
8 | YES | 49.3798 | 6.9504 | 0.010949 | -0.11163 | -0.010322 | 0.10131
8 | YES | 24.7867 | 6.9647 | 0.011756 | -0.10031 | -0.01035 | 0.089964
8 | YES | 9.1435 | 6.9681 | 0.0082013 | -0.10085 | -0.010357 | 0.090494
8 | YES | 5.3508 | 6.9817 | 0.0035355 | -0.074273 | -0.010383 | 0.063891
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX-CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX-CTD - DOX-BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX-CTD - DOX-BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX-CTD - DOX-BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.42877 |  | X | CALC Y
m= | -0.017684 | 0.0018633 |  | Std Dev of Resid |  | 0.043823 |  | 1 | 0.064824
b= | 0.082507 | 0.0099156 |  | Resid Sum of Squares |  | 0.23045 |  | 8 | -0.058962
# of Values Extracted = |  |  | 154
# of Values Used in Fit = |  |  | 122
File | Use | Pressure | DOX-CTD | DOX-CTD | Diff (DOX-CTD - DOX-BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 223.078 | 0.072347 | 0.0014589 | 0.072347 | 0.064824 | -0.0075235 |  | 1 | 0.072347
1 | YES | 200.755 | 0.070686 | 0.001544 | 0.070686 | 0.064824 | -0.0058623 |  | 1 | 0.070686
1 | YES | 175.736 | 0.06964 | 0.0014241 | 0.06964 | 0.064824 | -0.0048169 |  | 1 | 0.06964
1 | YES | 175.736 | 0.06964 | 0.0014241 | 0.06964 | 0.064824 | -0.0048169 |  | 1 | 0.06964
1 | YES | 150.58 | 0.068777 | 0.0014053 | 0.016777 | 0.064824 | 0.048047 |  | 1 | 0.016777
1 | YES | 125.507 | 0.077 | 0.0017889 | 0.025 | 0.064824 | 0.039824 |  | 1 | 0.025
1 | NO | 100.294 | 1.1261 | 0.0010533 | 0.10512 | 0.064824 | -0.0403 |  | 1 | -0.048545
1 | NO | 75.4472 | 4.6322 | 0.0015508 | 0.35619 | 0.064824 | -0.29137 |  | 1 | 0.062413
1 | YES | 50.2447 | 4.2145 | 0.0093729 | -0.048545 | 0.064824 | 0.11337 |  | 1 | 0.16565
1 | YES | 25.1691 | 5.2434 | 0.002301 | 0.062413 | 0.064824 | 0.0024104 |  | 1 | 0.13921
1 | YES | 10.5793 | 5.5706 | 0.0022201 | 0.16565 | 0.064824 | -0.10083 |  | 2 | -0.066967
1 | YES | 5.5934 | 5.8182 | 0.0064986 | 0.13921 | 0.064824 | -0.074383 |  | 2 | 0.0064545
2 | NO | 113.796 | 4.1568 | 0.0015806 | -0.51921 | 0.04714 | 0.56635 |  | 2 | 0.010455
2 | YES | 101.238 | 4.163 | 0.0026011 | -0.066967 | 0.04714 | 0.11411 |  | 2 | 0.032777
2 | YES | 75.6552 | 4.7175 | 0.015741 | 0.0064545 | 0.04714 | 0.040685 |  | 2 | 0.07476
2 | YES | 75.6552 | 4.7175 | 0.015741 | 0.010455 | 0.04714 | 0.036685 |  | 2 | 0.079298
2 | YES | 51.4082 | 5.9398 | 0.03331 | 0.032777 | 0.04714 | 0.014363 |  | 2 | 0.083959
2 | YES | 26.2553 | 6.6688 | 0.0014946 | 0.07476 | 0.04714 | -0.02762 |  | 3 | 0.023141
2 | YES | 10.9283 | 6.7793 | 0.0027069 | 0.079298 | 0.04714 | -0.032158 |  | 3 | 0.014645
2 | YES | 6.1623 | 6.854 | 0.0026279 | 0.083959 | 0.04714 | -0.036819 |  | 3 | 0.031412
3 | YES | 1324.18 | 0.49114 | 0.0019761 | 0.023141 | 0.029456 | 0.0063158 |  | 3 | 0.016412
3 | YES | 1250.15 | 0.39465 | 0.0020691 | 0.014645 | 0.029456 | 0.014812 |  | 3 | 0.018405
3 | YES | 1001.27 | 0.25841 | 0.0019726 | 0.031412 | 0.029456 | -0.0019561 |  | 3 | 0.02338
3 | YES | 1001.27 | 0.25841 | 0.0019726 | 0.016412 | 0.029456 | 0.013044 |  | 3 | 0.0093967
3 | YES | 802.207 | 0.2594 | 0.0017634 | 0.018405 | 0.029456 | 0.011051 |  | 3 | 0.023422
3 | YES | 600.939 | 0.47038 | 0.001392 | 0.02338 | 0.029456 | 0.0060761 |  | 3 | 0.01733
3 | YES | 402.651 | 1.2824 | 0.0023856 | 0.0093967 | 0.029456 | 0.02006 |  | 3 | -0.01019
3 | YES | 300.968 | 1.7164 | 0.0018608 | 0.023422 | 0.029456 | 0.0060348 |  | 3 | -0.010099
3 | YES | 250.478 | 2.0463 | 0.0046929 | 0.01733 | 0.029456 | 0.012126 |  | 3 | -0.053264
3 | YES | 200.576 | 2.5298 | 0.0011783 | -0.01019 | 0.029456 | 0.039646 |  | 3 | -0.011223
3 | YES | 176.465 | 2.9969 | 0.0028851 | -0.010099 | 0.029456 | 0.039556 |  | 3 | 0.028397
3 | YES | 149.429 | 3.4937 | 0.016495 | -0.053264 | 0.029456 | 0.082721 |  | 3 | 0.047165
3 | YES | 126.741 | 4.3558 | 0.0045102 | -0.011223 | 0.029456 | 0.04068 |  | 3 | 0.074893
3 | YES | 102.079 | 4.7834 | 0.0014858 | 0.028397 | 0.029456 | 0.0010597 |  | 3 | 0.037859
3 | YES | 75.3486 | 6.6472 | 0.0016601 | 0.047165 | 0.029456 | -0.017709 |  | 3 | 0.085958
3 | YES | 51.234 | 6.6879 | 0.0014307 | 0.074893 | 0.029456 | -0.045436 |  | 3 | 0.05519
3 | YES | 26.3631 | 6.7139 | 0.0015985 | 0.037859 | 0.029456 | -0.0084031 |  | 4 | 0.019456
3 | YES | 10.5238 | 6.729 | 0.0018501 | 0.085958 | 0.029456 | -0.056502 |  | 4 | 0.0084215
3 | YES | 5.7552 | 6.7132 | 0.0015829 | 0.05519 | 0.029456 | -0.025734 |  | 4 | 0.016835
4 | NO | 2001.08 | 1.4187 | 0.0024236 | -0.25829 | 0.011773 | 0.27006 |  | 4 | 0.0052149
4 | NO | 1500.85 | 0.72472 | 0.0022994 | -0.030281 | 0.011773 | 0.042054 |  | 4 | 0.018479
4 | YES | 1249.18 | 0.43546 | 0.0017931 | 0.019456 | 0.011773 | -0.0076836 |  | 4 | -0.0040909
4 | YES | 1249.46 | 0.43542 | 0.001839 | 0.0084215 | 0.011773 | 0.0033512 |  | 4 | -0.008785
4 | YES | 1001.88 | 0.27383 | 0.0019594 | 0.016835 | 0.011773 | -0.005062 |  | 4 | -0.0012481
4 | YES | 801.144 | 0.25022 | 0.0015557 | 0.0052149 | 0.011773 | 0.0065578 |  | 4 | 0.044108
4 | YES | 601.429 | 0.41248 | 0.0012048 | 0.018479 | 0.011773 | -0.0067066 |  | 4 | 0.029107
4 | YES | 400.882 | 1.2759 | 0.0030687 | -0.0040909 | 0.011773 | 0.015864 |  | 4 | 0.075884
4 | YES | 301.349 | 2.2252 | 0.0016391 | -0.008785 | 0.011773 | 0.020558 |  | 4 | -0.016727
4 | YES | 249.591 | 2.7738 | 0.001997 | -0.0012481 | 0.011773 | 0.013021 |  | 4 | 0.0047107
4 | YES | 201.248 | 3.4041 | 0.011841 | 0.044108 | 0.011773 | -0.032335 |  | 4 | 0.0025535
4 | YES | 175.993 | 3.9111 | 0.0024386 | 0.029107 | 0.011773 | -0.017335 |  | 4 | 0.031611
4 | YES | 150.926 | 3.7169 | 0.015647 | 0.075884 | 0.011773 | -0.064112 |  | 4 | 0.050528
4 | YES | 126.898 | 3.8203 | 0.0015969 | -0.016727 | 0.011773 | 0.0285 |  | 4 | 0.050124
4 | YES | 101.336 | 4.3007 | 0.0052416 | 0.0047107 | 0.011773 | 0.007062 |  | 4 | 0.040661
4 | YES | 76.2361 | 6.5476 | 0.022309 | 0.0025535 | 0.011773 | 0.0092192 |  | 5 | 0.02061
4 | YES | 50.6828 | 6.7806 | 0.00315 | 0.031611 | 0.011773 | -0.019839 |  | 5 | 0.026281
4 | YES | 24.4999 | 6.7655 | 0.0031651 | 0.050528 | 0.011773 | -0.038756 |  | 5 | 0.022554
4 | YES | 11.7625 | 6.7691 | 0.0023365 | 0.050124 | 0.011773 | -0.038352 |  | 5 | 0.0073471
4 | YES | 5.3231 | 6.7657 | 0.003655 | 0.040661 | 0.011773 | -0.028889 |  | 5 | -0.0068001
5 | NO | 3200.42 | 2.2304 | 0.0025179 | -0.25361 | -0.0059109 | 0.2477 |  | 5 | -0.024975
5 | NO | 3000.14 | 2.2082 | 0.0028774 | -0.035769 | -0.0059109 | 0.029858 |  | 5 | -0.05705
5 | NO | 2500.09 | 1.8907 | 0.0023707 | -0.040281 | -0.0059109 | 0.03437 |  | 5 | -0.021314
5 | NO | 1999.18 | 1.3879 | 0.0019956 | -0.017132 | -0.0059109 | 0.011221 |  | 5 | -0.029124
5 | NO | 1500.64 | 0.65686 | 0.0025543 | 0.012861 | -0.0059109 | -0.018772 |  | 5 | -1.6689e-05
5 | NO | 1500.84 | 0.65676 | 0.0025869 | 0.01376 | -0.0059109 | -0.019671 |  | 5 | 0.043653
5 | YES | 1250.62 | 0.35861 | 0.0024877 | 0.02061 | -0.0059109 | -0.026521 |  | 5 | 0.023041
5 | YES | 1000.98 | 0.28028 | 0.0019716 | 0.026281 | -0.0059109 | -0.032192 |  | 5 | 0.02824
5 | YES | 800.816 | 0.35355 | 0.0016581 | 0.022554 | -0.0059109 | -0.028465 |  | 5 | 0.037611
5 | YES | 599.794 | 0.66135 | 0.0016467 | 0.0073471 | -0.0059109 | -0.013258 |  | 5 | 0.027281
5 | YES | 399.808 | 1.5042 | 0.0020801 | -0.0068001 | -0.0059109 | 0.00088914 |  | 5 | 0.037703
5 | YES | 299.57 | 2.363 | 0.0044374 | -0.024975 | -0.0059109 | 0.019064 |  | 5 | 0.010611
5 | YES | 249.991 | 3.085 | 0.015076 | -0.05705 | -0.0059109 | 0.051139 |  | 6 | 0.021308
5 | YES | 200.278 | 4.1567 | 0.0017982 | -0.021314 | -0.0059109 | 0.015403 |  | 6 | 0.034603
5 | YES | 174.298 | 4.5029 | 0.011288 | -0.029124 | -0.0059109 | 0.023213 |  | 6 | 0.022843
5 | YES | 151.632 | 4.883 | 0.0019832 | -1.6689e-05 | -0.0059109 | -0.0058942 |  | 6 | -0.001562
5 | YES | 125.804 | 5.2157 | 0.012207 | 0.043653 | -0.0059109 | -0.049564 |  | 6 | -0.016174
5 | YES | 99.1364 | 6.751 | 0.0029732 | 0.023041 | -0.0059109 | -0.028952 |  | 6 | -0.041669
5 | YES | 76.393 | 6.7642 | 0.0023417 | 0.02824 | -0.0059109 | -0.034151 |  | 6 | -0.034772
5 | YES | 49.9324 | 6.7876 | 0.0023466 | 0.037611 | -0.0059109 | -0.043522 |  | 6 | -0.067554
5 | YES | 24.8294 | 6.8043 | 0.0036084 | 0.027281 | -0.0059109 | -0.033192 |  | 6 | -0.034521
5 | YES | 10.1453 | 6.8137 | 0.0029316 | 0.037703 | -0.0059109 | -0.043614 |  | 6 | -0.11548
5 | YES | 5.5845 | 6.7996 | 0.010826 | 0.010611 | -0.0059109 | -0.016522 |  | 6 | -0.035686
6 | NO | 3674.55 | 2.6824 | 0.0029734 | -0.4196 | -0.023595 | 0.39601 |  | 6 | -0.1014
6 | NO | 3501.17 | 2.6385 | 0.0033617 | -0.11947 | -0.023595 | 0.095876 |  | 6 | -0.02733
6 | NO | 2999.45 | 2.3546 | 0.0022103 | -0.064372 | -0.023595 | 0.040777 |  | 6 | -0.0067024
6 | NO | 2498.94 | 1.8843 | 0.0023917 | -0.079678 | -0.023595 | 0.056083 |  | 6 | 0.0080581
6 | NO | 2000.95 | 1.3339 | 0.0023905 | -0.013058 | -0.023595 | -0.010537 |  | 6 | -0.016545
6 | NO | 2000.95 | 1.3339 | 0.0023905 | -0.21406 | -0.023595 | 0.19046 |  | 6 | 0.07486
6 | NO | 1501.6 | 0.56212 | 0.0018894 | 0.020116 | -0.023595 | -0.04371 |  | 7 | -0.0062524
6 | YES | 1253.52 | 0.32331 | 0.0019858 | 0.021308 | -0.023595 | -0.044902 |  | 7 | 0.014843
6 | YES | 1001.28 | 0.2766 | 0.0024272 | 0.034603 | -0.023595 | -0.058198 |  | 7 | 0.014884
6 | YES | 801.384 | 0.34884 | 0.0018212 | 0.022843 | -0.023595 | -0.046438 |  | 7 | 0.02905
6 | YES | 600.599 | 0.66944 | 0.0020285 | -0.001562 | -0.023595 | -0.022033 |  | 7 | 0.016884
6 | YES | 400.794 | 1.4498 | 0.001716 | -0.016174 | -0.023595 | -0.007421 |  | 7 | -0.01862
6 | YES | 299.05 | 1.9163 | 0.0054912 | -0.041669 | -0.023595 | 0.018075 |  | 7 | -0.077521
6 | YES | 252.419 | 2.5612 | 0.0027363 | -0.034772 | -0.023595 | 0.011177 |  | 7 | -0.043264
6 | YES | 199.301 | 3.0495 | 0.004801 | -0.067554 | -0.023595 | 0.043959 |  | 7 | -0.084593
6 | YES | 176.2 | 3.9175 | 0.0041233 | -0.034521 | -0.023595 | 0.010926 |  | 7 | -0.036124
6 | YES | 150.82 | 5.1765 | 0.0079573 | -0.11548 | -0.023595 | 0.091884 |  | 7 | -0.16351
6 | YES | 126.37 | 5.6903 | 0.0020938 | -0.035686 | -0.023595 | 0.012091 |  | 7 | -0.11311
6 | YES | 100.426 | 6.4016 | 0.0050158 | -0.1014 | -0.023595 | 0.077802 |  | 7 | -0.13461
6 | YES | 75.9724 | 6.8067 | 0.00365 | -0.02733 | -0.023595 | 0.0037359 |  | 7 | -0.061661
6 | YES | 51.6684 | 6.8403 | 0.0033257 | -0.0067024 | -0.023595 | -0.016892 |  | 7 | -0.070422
6 | YES | 26.4694 | 6.8511 | 0.0013983 | 0.0080581 | -0.023595 | -0.031653 |  | 7 | -0.037496
6 | YES | 10.6649 | 6.8345 | 0.0079288 | -0.016545 | -0.023595 | -0.0070492 |  | 7 | -0.034554
6 | YES | 5.9121 | 6.8519 | 0.002392 | 0.07486 | -0.023595 | -0.098454 |  | 8 | 0.021298
7 | NO | 3999.48 | 2.9224 | 0.0029636 | -0.32455 | -0.041278 | 0.28328 |  | 8 | -0.0016033
7 | NO | 3501.79 | 2.7818 | 0.0027987 | -0.11621 | -0.041278 | 0.074934 |  | 8 | -0.0040413
7 | NO | 3501.17 | 2.7817 | 0.0027135 | -0.10627 | -0.041278 | 0.064996 |  | 8 | -0.022413
7 | NO | 3000.91 | 2.4298 | 0.0025194 | -0.10417 | -0.041278 | 0.062891 |  | 8 | -0.066017
7 | NO | 2500.1 | 1.882 | 0.0021291 | -0.062983 | -0.041278 | 0.021705 |  | 8 | -0.01205
7 | NO | 2000.3 | 1.2461 | 0.0020731 | -0.01995 | -0.041278 | -0.021328 |  | 8 | -0.022232
7 | YES | 1498.26 | 0.54675 | 0.0014672 | -0.0062524 | -0.041278 | -0.035026 |  | 8 | -0.046356
7 | YES | 1251.76 | 0.36684 | 0.0019622 | 0.014843 | -0.041278 | -0.056121 |  | 8 | -0.089413
7 | YES | 1001.33 | 0.31888 | 0.001885 | 0.014884 | -0.041278 | -0.056162 |  | 8 | -0.084487
7 | YES | 798.273 | 0.39305 | 0.0012237 | 0.02905 | -0.041278 | -0.070328 |  | 8 | -0.15403
7 | YES | 600.711 | 0.62288 | 0.002126 | 0.016884 | -0.041278 | -0.058162 |  | 8 | -0.15933
7 | YES | 399.141 | 1.2454 | 0.0018541 | -0.01862 | -0.041278 | -0.022658 |  | 8 | -0.08262
7 | YES | 299.095 | 1.7815 | 0.0017181 | -0.077521 | -0.041278 | 0.036242 |  | 8 | -0.11163
7 | YES | 249.239 | 2.2137 | 0.0022941 | -0.043264 | -0.041278 | 0.0019862 |  | 8 | -0.10031
7 | YES | 199.076 | 2.9354 | 0.0095858 | -0.084593 | -0.041278 | 0.043314 |  | 8 | -0.10085
7 | YES | 175.572 | 3.4049 | 0.0021313 | -0.036124 | -0.041278 | -0.0051542 |  | 8 | -0.074273
7 | YES | 149.177 | 4.1485 | 0.026771 | -0.16351 | -0.041278 | 0.12223
7 | YES | 124.453 | 5.1169 | 0.014618 | -0.11311 | -0.041278 | 0.07183
7 | YES | 101.936 | 5.6234 | 0.0091108 | -0.13461 | -0.041278 | 0.093334
7 | YES | 75.8176 | 6.8903 | 0.0045762 | -0.061661 | -0.041278 | 0.020383
7 | YES | 50.0663 | 6.8956 | 0.0052895 | -0.070422 | -0.041278 | 0.029144
7 | YES | 24.5427 | 6.9195 | 0.0022291 | -0.037496 | -0.041278 | -0.0037826
7 | YES | 9.8972 | 6.9165 | 0.0049799 | -0.034554 | -0.041278 | -0.0067242
7 | NO | 4.1165 | 6.9138 | 0.0049677 | -0.022173 | -0.041278 | -0.019105
8 | NO | 4000.37 | 3.0776 | 0.0031063 | -0.56645 | -0.058962 | 0.50748
8 | NO | 3501.53 | 2.8332 | 0.0027759 | -0.15684 | -0.058962 | 0.097873
8 | NO | 3001.69 | 2.4662 | 0.0024001 | -0.1118 | -0.058962 | 0.05284
8 | NO | 2501.03 | 1.9475 | 0.0026603 | -0.077526 | -0.058962 | 0.018565
8 | NO | 2501.03 | 1.9475 | 0.0026603 | -0.064526 | -0.058962 | 0.0055646
8 | NO | 2000.99 | 1.3384 | 0.0027894 | -0.042645 | -0.058962 | -0.016317
8 | NO | 1501.34 | 0.63865 | 0.0026793 | 0.0086529 | -0.058962 | -0.067615
8 | YES | 1250.28 | 0.4503 | 0.0018011 | 0.021298 | -0.058962 | -0.080259
8 | YES | 1002.85 | 0.4274 | 0.0017864 | -0.0016033 | -0.058962 | -0.057358
8 | YES | 799.416 | 0.47496 | 0.0024913 | -0.0040413 | -0.058962 | -0.05492
8 | YES | 602.617 | 0.56759 | 0.0018871 | -0.022413 | -0.058962 | -0.036549
8 | YES | 400.188 | 0.77398 | 0.0019747 | -0.066017 | -0.058962 | 0.0070547
8 | YES | 298.565 | 1.109 | 0.0012836 | -0.01205 | -0.058962 | -0.046912
8 | YES | 250.406 | 1.4798 | 0.0015153 | -0.022232 | -0.058962 | -0.03673
8 | YES | 200.921 | 2.0746 | 0.0018388 | -0.046356 | -0.058962 | -0.012606
8 | YES | 174.735 | 2.4056 | 0.003283 | -0.089413 | -0.058962 | 0.030451
8 | YES | 152.107 | 2.8605 | 0.0058354 | -0.084487 | -0.058962 | 0.025526
8 | YES | 123.544 | 4.207 | 0.023679 | -0.15403 | -0.058962 | 0.095071
8 | YES | 100.287 | 5.8017 | 0.0045541 | -0.15933 | -0.058962 | 0.10037
8 | YES | 74.4088 | 6.9514 | 0.010801 | -0.08262 | -0.058962 | 0.023658
8 | YES | 49.3798 | 6.9504 | 0.010949 | -0.11163 | -0.058962 | 0.052666
8 | YES | 24.7867 | 6.9647 | 0.011756 | -0.10031 | -0.058962 | 0.041352
8 | YES | 9.1435 | 6.9681 | 0.0082013 | -0.10085 | -0.058962 | 0.041889
8 | YES | 5.3508 | 6.9817 | 0.0035355 | -0.074273 | -0.058962 | 0.015311
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX-CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX-BOT | DOX-CTD |  | DOX-CTD - DOX-BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX-BOT | DOX-CTD | DOX-CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2004-05-0001 | 2004-05-0001 | 121 | 223.078 | 223.078 | 0.019735 | -0.0004425 | 0 | 0.072347 | 0.0014589 | 0.072347
2004-05-0001 | 2004-05-0001 | 121 | 200.755 | 200.755 | 0.021737 | -0.0002594 | 0 | 0.070686 | 0.001544 | 0.070686
2004-05-0001 | 2004-05-0001 | 178 | 175.734 | 175.736 | 0.02621 | 0.0015259 | 0 | 0.06964 | 0.0014241 | 0.06964
2004-05-0001 | 2004-05-0001 | 178 | 175.736 | 175.736 | 0.02621 | -0.00047302 | 0 | 0.06964 | 0.0014241 | 0.06964
2004-05-0001 | 2004-05-0001 | 121 | 150.58 | 150.58 | 0.02563 | -0.00022888 | 0.052 | 0.068777 | 0.0014053 | 0.016777
2004-05-0001 | 2004-05-0001 | 121 | 125.507 | 125.507 | 0.026454 | 1.5259e-05 | 0.052 | 0.077 | 0.0017889 | 0.025
2004-05-0001 | 2004-05-0001 | 121 | 100.294 | 100.294 | 0.023431 | 9.1553e-05 | 1.021 | 1.1261 | 0.0010533 | 0.10512
2004-05-0001 | 2004-05-0001 | 121 | 75.447 | 75.4472 | 0.024431 | 0.00018311 | 4.276 | 4.6322 | 0.0015508 | 0.35619
2004-05-0001 | 2004-05-0001 | 121 | 50.245 | 50.2447 | 0.02274 | -0.00028992 | 4.263 | 4.2145 | 0.0093729 | -0.048545
2004-05-0001 | 2004-05-0001 | 121 | 25.169 | 25.1691 | 0.025301 | 0.00012398 | 5.181 | 5.2434 | 0.002301 | 0.062413
2004-05-0001 | 2004-05-0001 | 121 | 10.579 | 10.5793 | 0.029201 | 0.00034714 | 5.405 | 5.5706 | 0.0022201 | 0.16565
2004-05-0001 | 2004-05-0001 | 121 | 5.593 | 5.5934 | 0.025568 | 0.00042152 | 5.679 | 5.8182 | 0.0064986 | 0.13921
2004-05-0003 | 2004-05-0003 | 121 | 113.796 | 113.796 | 0.24515 | -0.00022888 | 4.676 | 4.1568 | 0.0015806 | -0.51921
2004-05-0003 | 2004-05-0003 | 121 | 101.238 | 101.238 | 0.61581 | -0.00019074 | 4.23 | 4.163 | 0.0026011 | -0.066967
2004-05-0003 | 2004-05-0003 | 242 | 76.233 | 75.6552 | 0.70698 | -0.57779 | 4.711 | 4.7175 | 0.015741 | 0.0064545
2004-05-0003 | 2004-05-0003 | 242 | 75.077 | 75.6552 | 0.70698 | 0.57821 | 4.707 | 4.7175 | 0.015741 | 0.010455
2004-05-0003 | 2004-05-0003 | 121 | 51.408 | 51.4082 | 0.12235 | 0.00022888 | 5.907 | 5.9398 | 0.03331 | 0.032777
2004-05-0003 | 2004-05-0003 | 121 | 26.255 | 26.2553 | 0.27168 | 0.00033188 | 6.594 | 6.6688 | 0.0014946 | 0.07476
2004-05-0003 | 2004-05-0003 | 121 | 10.928 | 10.9283 | 0.37523 | 0.00025559 | 6.7 | 6.7793 | 0.0027069 | 0.079298
2004-05-0003 | 2004-05-0003 | 121 | 6.162 | 6.1623 | 0.18733 | 0.00033855 | 6.77 | 6.854 | 0.0026279 | 0.083959
2004-05-0007 | 2004-05-0007 | 121 | 1324.18 | 1324.18 | 0.7468 | 0 | 0.468 | 0.49114 | 0.0019761 | 0.023141
2004-05-0007 | 2004-05-0007 | 121 | 1250.16 | 1250.15 | 0.48046 | -0.00036621 | 0.38 | 0.39465 | 0.0020691 | 0.014645
2004-05-0007 | 2004-05-0007 | 194 | 1000.92 | 1001.27 | 0.3762 | 0.35461 | 0.227 | 0.25841 | 0.0019726 | 0.031412
2004-05-0007 | 2004-05-0007 | 194 | 1001.49 | 1001.27 | 0.3762 | -0.21838 | 0.242 | 0.25841 | 0.0019726 | 0.016412
2004-05-0007 | 2004-05-0007 | 121 | 802.207 | 802.207 | 0.86638 | 0.00048828 | 0.241 | 0.2594 | 0.0017634 | 0.018405
2004-05-0007 | 2004-05-0007 | 121 | 600.939 | 600.939 | 0.21084 | -6.1035e-05 | 0.447 | 0.47038 | 0.001392 | 0.02338
2004-05-0007 | 2004-05-0007 | 121 | 402.651 | 402.651 | 0.40668 | 0.00039673 | 1.273 | 1.2824 | 0.0023856 | 0.0093967
2004-05-0007 | 2004-05-0007 | 121 | 300.968 | 300.968 | 0.89724 | 6.1035e-05 | 1.693 | 1.7164 | 0.0018608 | 0.023422
2004-05-0007 | 2004-05-0007 | 121 | 250.478 | 250.478 | 0.48777 | -0.00041199 | 2.029 | 2.0463 | 0.0046929 | 0.01733
2004-05-0007 | 2004-05-0007 | 121 | 200.576 | 200.576 | 1.0395 | 0.00010681 | 2.54 | 2.5298 | 0.0011783 | -0.01019
2004-05-0007 | 2004-05-0007 | 121 | 176.465 | 176.465 | 0.72469 | 0.00022888 | 3.007 | 2.9969 | 0.0028851 | -0.010099
2004-05-0007 | 2004-05-0007 | 121 | 149.429 | 149.429 | 0.50033 | 3.0518e-05 | 3.547 | 3.4937 | 0.016495 | -0.053264
2004-05-0007 | 2004-05-0007 | 121 | 126.741 | 126.741 | 0.25901 | -9.1553e-05 | 4.367 | 4.3558 | 0.0045102 | -0.011223
2004-05-0007 | 2004-05-0007 | 121 | 102.079 | 102.079 | 0.56027 | 0.00013733 | 4.755 | 4.7834 | 0.0014858 | 0.028397
2004-05-0007 | 2004-05-0007 | 121 | 75.349 | 75.3486 | 0.47579 | -0.00040436 | 6.6 | 6.6472 | 0.0016601 | 0.047165
2004-05-0007 | 2004-05-0007 | 121 | 51.234 | 51.234 | 0.14825 | -2.6703e-05 | 6.613 | 6.6879 | 0.0014307 | 0.074893
2004-05-0007 | 2004-05-0007 | 121 | 26.363 | 26.3631 | 0.66353 | 5.722e-05 | 6.676 | 6.7139 | 0.0015985 | 0.037859
2004-05-0007 | 2004-05-0007 | 121 | 10.524 | 10.5238 | 0.30835 | -0.00023174 | 6.643 | 6.729 | 0.0018501 | 0.085958
2004-05-0007 | 2004-05-0007 | 121 | 5.755 | 5.7552 | 0.21906 | 0.00018168 | 6.658 | 6.7132 | 0.0015829 | 0.05519
2004-05-0013 | 2004-05-0013 | 121 | 2001.07 | 2001.08 | 0.39973 | 0.00036621 | 1.677 | 1.4187 | 0.0024236 | -0.25829
2004-05-0013 | 2004-05-0013 | 121 | 1500.85 | 1500.85 | 0.54482 | 0.00036621 | 0.755 | 0.72472 | 0.0022994 | -0.030281
2004-05-0013 | 2004-05-0013 | 206 | 1248.64 | 1249.18 | 0.69182 | 0.54627 | 0.416 | 0.43546 | 0.0017931 | 0.019456
2004-05-0013 | 2004-05-0013 | 242 | 1250.28 | 1249.46 | 0.92016 | -0.82141 | 0.427 | 0.43542 | 0.001839 | 0.0084215
2004-05-0013 | 2004-05-0013 | 121 | 1001.88 | 1001.88 | 0.46949 | 0 | 0.257 | 0.27383 | 0.0019594 | 0.016835
2004-05-0013 | 2004-05-0013 | 121 | 801.144 | 801.144 | 0.62503 | 0.00042725 | 0.245 | 0.25022 | 0.0015557 | 0.0052149
2004-05-0013 | 2004-05-0013 | 121 | 601.429 | 601.429 | 0.68146 | 0.00030518 | 0.394 | 0.41248 | 0.0012048 | 0.018479
2004-05-0013 | 2004-05-0013 | 121 | 400.882 | 400.882 | 0.4696 | 0.00018311 | 1.28 | 1.2759 | 0.0030687 | -0.0040909
2004-05-0013 | 2004-05-0013 | 121 | 301.349 | 301.349 | 0.2305 | 9.1553e-05 | 2.234 | 2.2252 | 0.0016391 | -0.008785
2004-05-0013 | 2004-05-0013 | 121 | 249.591 | 249.591 | 0.17928 | 1.5259e-05 | 2.775 | 2.7738 | 0.001997 | -0.0012481
2004-05-0013 | 2004-05-0013 | 121 | 201.248 | 201.248 | 0.52673 | -0.00019836 | 3.36 | 3.4041 | 0.011841 | 0.044108
2004-05-0013 | 2004-05-0013 | 121 | 175.993 | 175.993 | 0.41444 | -0.00038147 | 3.882 | 3.9111 | 0.0024386 | 0.029107
2004-05-0013 | 2004-05-0013 | 121 | 150.926 | 150.926 | 0.1482 | 0.00013733 | 3.641 | 3.7169 | 0.015647 | 0.075884
2004-05-0013 | 2004-05-0013 | 121 | 126.898 | 126.898 | 0.38277 | 1.5259e-05 | 3.837 | 3.8203 | 0.0015969 | -0.016727
2004-05-0013 | 2004-05-0013 | 121 | 101.336 | 101.336 | 0.27071 | -0.00012207 | 4.296 | 4.3007 | 0.0052416 | 0.0047107
2004-05-0013 | 2004-05-0013 | 121 | 76.236 | 76.2361 | 0.6002 | 0.00010681 | 6.545 | 6.5476 | 0.022309 | 0.0025535
2004-05-0013 | 2004-05-0013 | 121 | 50.683 | 50.6828 | 0.4054 | -0.00017166 | 6.749 | 6.7806 | 0.00315 | 0.031611
2004-05-0013 | 2004-05-0013 | 121 | 24.5 | 24.4999 | 0.13989 | -8.2016e-05 | 6.715 | 6.7655 | 0.0031651 | 0.050528
2004-05-0013 | 2004-05-0013 | 121 | 11.763 | 11.7625 | 0.41544 | -0.00049496 | 6.719 | 6.7691 | 0.0023365 | 0.050124
2004-05-0013 | 2004-05-0013 | 121 | 5.323 | 5.3231 | 0.27457 | 0.00014067 | 6.725 | 6.7657 | 0.003655 | 0.040661
2004-05-0018 | 2004-05-0018 | 121 | 3200.43 | 3200.42 | 0.34436 | -0.00048828 | 2.484 | 2.2304 | 0.0025179 | -0.25361
2004-05-0018 | 2004-05-0018 | 121 | 3000.14 | 3000.14 | 0.89526 | -0.00024414 | 2.244 | 2.2082 | 0.0028774 | -0.035769
2004-05-0018 | 2004-05-0018 | 121 | 2500.09 | 2500.09 | 0.27906 | -0.00048828 | 1.931 | 1.8907 | 0.0023707 | -0.040281
2004-05-0018 | 2004-05-0018 | 121 | 1999.18 | 1999.18 | 0.32465 | -0.00012207 | 1.405 | 1.3879 | 0.0019956 | -0.017132
2004-05-0018 | 2004-05-0018 | 194 | 1499.98 | 1500.64 | 0.80093 | 0.66626 | 0.644 | 0.65686 | 0.0025543 | 0.012861
2004-05-0018 | 2004-05-0018 | 225 | 1501.59 | 1500.84 | 0.88619 | -0.75134 | 0.643 | 0.65676 | 0.0025869 | 0.01376
2004-05-0018 | 2004-05-0018 | 118 | 1250.68 | 1250.62 | 0.84348 | -0.051025 | 0.338 | 0.35861 | 0.0024877 | 0.02061
2004-05-0018 | 2004-05-0018 | 121 | 1000.97 | 1000.98 | 0.66911 | 0.00048828 | 0.254 | 0.28028 | 0.0019716 | 0.026281
2004-05-0018 | 2004-05-0018 | 121 | 800.816 | 800.816 | 0.18169 | -0.00018311 | 0.331 | 0.35355 | 0.0016581 | 0.022554
2004-05-0018 | 2004-05-0018 | 121 | 599.794 | 599.794 | 0.58214 | 0.00042725 | 0.654 | 0.66135 | 0.0016467 | 0.0073471
2004-05-0018 | 2004-05-0018 | 110 | 399.56 | 399.808 | 0.82783 | 0.24808 | 1.511 | 1.5042 | 0.0020801 | -0.0068001
2004-05-0018 | 2004-05-0018 | 121 | 299.57 | 299.57 | 0.63407 | 0.00012207 | 2.388 | 2.363 | 0.0044374 | -0.024975
2004-05-0018 | 2004-05-0018 | 121 | 249.991 | 249.991 | 0.47115 | -0.00035095 | 3.142 | 3.085 | 0.015076 | -0.05705
2004-05-0018 | 2004-05-0018 | 121 | 200.278 | 200.278 | 0.37141 | 0.00022888 | 4.178 | 4.1567 | 0.0017982 | -0.021314
2004-05-0018 | 2004-05-0018 | 121 | 174.298 | 174.298 | 0.12515 | -0.00042725 | 4.532 | 4.5029 | 0.011288 | -0.029124
2004-05-0018 | 2004-05-0018 | 121 | 151.632 | 151.632 | 0.53579 | 0.00048828 | 4.883 | 4.883 | 0.0019832 | -1.6689e-05
2004-05-0018 | 2004-05-0018 | 121 | 125.804 | 125.804 | 0.36397 | -0.00026703 | 5.172 | 5.2157 | 0.012207 | 0.043653
2004-05-0018 | 2004-05-0018 | 121 | 99.136 | 99.1364 | 0.5549 | 0.00036621 | 6.728 | 6.751 | 0.0029732 | 0.023041
2004-05-0018 | 2004-05-0018 | 121 | 76.393 | 76.393 | 0.49935 | 3.8147e-05 | 6.736 | 6.7642 | 0.0023417 | 0.02824
2004-05-0018 | 2004-05-0018 | 121 | 49.932 | 49.9324 | 0.51392 | 0.00038147 | 6.75 | 6.7876 | 0.0023466 | 0.037611
2004-05-0018 | 2004-05-0018 | 121 | 24.829 | 24.8294 | 0.7557 | 0.00042152 | 6.777 | 6.8043 | 0.0036084 | 0.027281
2004-05-0018 | 2004-05-0018 | 121 | 10.145 | 10.1453 | 0.12618 | 0.00027275 | 6.776 | 6.8137 | 0.0029316 | 0.037703
2004-05-0018 | 2004-05-0018 | 121 | 5.585 | 5.5845 | 0.39389 | -0.0004878 | 6.789 | 6.7996 | 0.010826 | 0.010611
2004-05-0025 | 2004-05-0025 | 121 | 3674.55 | 3674.55 | 1.0568 | -0.00024414 | 3.102 | 2.6824 | 0.0029734 | -0.4196
2004-05-0025 | 2004-05-0025 | 121 | 3501.17 | 3501.17 | 0.33903 | 0.00024414 | 2.758 | 2.6385 | 0.0033617 | -0.11947
2004-05-0025 | 2004-05-0025 | 121 | 2999.45 | 2999.45 | 0.72407 | -0.00048828 | 2.419 | 2.3546 | 0.0022103 | -0.064372
2004-05-0025 | 2004-05-0025 | 121 | 2498.94 | 2498.94 | 0.7989 | 0.00024414 | 1.964 | 1.8843 | 0.0023917 | -0.079678
2004-05-0025 | 2004-05-0025 | 242 | 2000.87 | 2000.95 | 0.74085 | 0.077759 | 1.347 | 1.3339 | 0.0023905 | -0.013058
2004-05-0025 | 2004-05-0025 | 242 | 2001.03 | 2000.95 | 0.74085 | -0.077271 | 1.548 | 1.3339 | 0.0023905 | -0.21406
2004-05-0025 | 2004-05-0025 | 121 | 1501.6 | 1501.6 | 0.81365 | -0.00036621 | 0.542 | 0.56212 | 0.0018894 | 0.020116
2004-05-0025 | 2004-05-0025 | 104 | 1253.11 | 1253.52 | 1.0651 | 0.40747 | 0.302 | 0.32331 | 0.0019858 | 0.021308
2004-05-0025 | 2004-05-0025 | 121 | 1001.28 | 1001.28 | 1.1811 | 6.1035e-05 | 0.242 | 0.2766 | 0.0024272 | 0.034603
2004-05-0025 | 2004-05-0025 | 121 | 801.384 | 801.384 | 0.60544 | -6.1035e-05 | 0.326 | 0.34884 | 0.0018212 | 0.022843
2004-05-0025 | 2004-05-0025 | 121 | 600.599 | 600.599 | 0.62215 | -0.00036621 | 0.671 | 0.66944 | 0.0020285 | -0.001562
2004-05-0025 | 2004-05-0025 | 121 | 400.794 | 400.794 | 0.56411 | -0.00036621 | 1.466 | 1.4498 | 0.001716 | -0.016174
2004-05-0025 | 2004-05-0025 | 115 | 299.167 | 299.05 | 0.76922 | -0.11676 | 1.958 | 1.9163 | 0.0054912 | -0.041669
2004-05-0025 | 2004-05-0025 | 114 | 252.285 | 252.419 | 0.93576 | 0.13443 | 2.596 | 2.5612 | 0.0027363 | -0.034772
2004-05-0025 | 2004-05-0025 | 121 | 199.301 | 199.301 | 0.19005 | -0.00027466 | 3.117 | 3.0495 | 0.004801 | -0.067554
2004-05-0025 | 2004-05-0025 | 121 | 176.2 | 176.2 | 0.87274 | 0.00048828 | 3.952 | 3.9175 | 0.0041233 | -0.034521
2004-05-0025 | 2004-05-0025 | 121 | 150.82 | 150.82 | 0.33828 | -6.1035e-05 | 5.292 | 5.1765 | 0.0079573 | -0.11548
2004-05-0025 | 2004-05-0025 | 121 | 126.37 | 126.37 | 0.15917 | -0.00034332 | 5.726 | 5.6903 | 0.0020938 | -0.035686
2004-05-0025 | 2004-05-0025 | 121 | 100.426 | 100.426 | 0.7444 | -0.00034332 | 6.503 | 6.4016 | 0.0050158 | -0.1014
2004-05-0025 | 2004-05-0025 | 121 | 75.972 | 75.9724 | 0.46566 | 0.00035095 | 6.834 | 6.8067 | 0.00365 | -0.02733
2004-05-0025 | 2004-05-0025 | 121 | 51.668 | 51.6684 | 0.35164 | 0.00040436 | 6.847 | 6.8403 | 0.0033257 | -0.0067024
2004-05-0025 | 2004-05-0025 | 121 | 26.469 | 26.4694 | 0.58431 | 0.00039673 | 6.843 | 6.8511 | 0.0013983 | 0.0080581
2004-05-0025 | 2004-05-0025 | 121 | 10.665 | 10.6649 | 0.75672 | -7.4387e-05 | 6.851 | 6.8345 | 0.0079288 | -0.016545
2004-05-0025 | 2004-05-0025 | 121 | 5.912 | 5.9121 | 0.28426 | 0.00014877 | 6.777 | 6.8519 | 0.002392 | 0.07486
2004-05-0032 | 2004-05-0032 | 121 | 3999.48 | 3999.48 | 0.74465 | 0.00024414 | 3.247 | 2.9224 | 0.0029636 | -0.32455
2004-05-0032 | 2004-05-0032 | 222 | 3502.3 | 3501.79 | 1.2037 | -0.51782 | 2.898 | 2.7818 | 0.0027987 | -0.11621
2004-05-0032 | 2004-05-0032 | 197 | 3501.01 | 3501.17 | 0.72747 | 0.1543 | 2.888 | 2.7817 | 0.0027135 | -0.10627
2004-05-0032 | 2004-05-0032 | 118 | 3000.97 | 3000.91 | 0.78617 | -0.053223 | 2.534 | 2.4298 | 0.0025194 | -0.10417
2004-05-0032 | 2004-05-0032 | 121 | 2500.1 | 2500.1 | 0.65552 | -0.00024414 | 1.945 | 1.882 | 0.0021291 | -0.062983
2004-05-0032 | 2004-05-0032 | 121 | 2000.3 | 2000.3 | 0.45167 | -0.00036621 | 1.266 | 1.2461 | 0.0020731 | -0.01995
2004-05-0032 | 2004-05-0032 | 107 | 1498.56 | 1498.26 | 1.1363 | -0.30164 | 0.553 | 0.54675 | 0.0014672 | -0.0062524
2004-05-0032 | 2004-05-0032 | 121 | 1251.76 | 1251.76 | 0.51174 | 0.00024414 | 0.352 | 0.36684 | 0.0019622 | 0.014843
2004-05-0032 | 2004-05-0032 | 121 | 1001.33 | 1001.33 | 0.45293 | 0.00024414 | 0.304 | 0.31888 | 0.001885 | 0.014884
2004-05-0032 | 2004-05-0032 | 121 | 798.273 | 798.273 | 0.42487 | 0.00048828 | 0.364 | 0.39305 | 0.0012237 | 0.02905
2004-05-0032 | 2004-05-0032 | 121 | 600.711 | 600.711 | 0.9001 | 0.00030518 | 0.606 | 0.62288 | 0.002126 | 0.016884
2004-05-0032 | 2004-05-0032 | 121 | 399.141 | 399.141 | 1.0496 | -9.1553e-05 | 1.264 | 1.2454 | 0.0018541 | -0.01862
2004-05-0032 | 2004-05-0032 | 121 | 299.095 | 299.095 | 0.31 | 0.00033569 | 1.859 | 1.7815 | 0.0017181 | -0.077521
2004-05-0032 | 2004-05-0032 | 121 | 249.239 | 249.239 | 1.0752 | -6.1035e-05 | 2.257 | 2.2137 | 0.0022941 | -0.043264
2004-05-0032 | 2004-05-0032 | 108 | 199.341 | 199.076 | 1.1147 | -0.26486 | 3.02 | 2.9354 | 0.0095858 | -0.084593
2004-05-0032 | 2004-05-0032 | 121 | 175.572 | 175.572 | 0.33943 | -0.00024414 | 3.441 | 3.4049 | 0.0021313 | -0.036124
2004-05-0032 | 2004-05-0032 | 121 | 149.177 | 149.177 | 0.92505 | 0.00013733 | 4.312 | 4.1485 | 0.026771 | -0.16351
2004-05-0032 | 2004-05-0032 | 121 | 124.453 | 124.453 | 1.1401 | 0.00041199 | 5.23 | 5.1169 | 0.014618 | -0.11311
2004-05-0032 | 2004-05-0032 | 121 | 101.936 | 101.936 | 0.7217 | 0.00032043 | 5.758 | 5.6234 | 0.0091108 | -0.13461
2004-05-0032 | 2004-05-0032 | 121 | 75.818 | 75.8176 | 0.33791 | -0.00042725 | 6.952 | 6.8903 | 0.0045762 | -0.061661
2004-05-0032 | 2004-05-0032 | 121 | 50.066 | 50.0663 | 0.36893 | 0.00027084 | 6.966 | 6.8956 | 0.0052895 | -0.070422
2004-05-0032 | 2004-05-0032 | 121 | 24.543 | 24.5427 | 0.61124 | -0.00025559 | 6.957 | 6.9195 | 0.0022291 | -0.037496
2004-05-0032 | 2004-05-0032 | 121 | 9.897 | 9.8972 | 0.68507 | 0.00023079 | 6.951 | 6.9165 | 0.0049799 | -0.034554
2004-05-0032 | 2004-05-0032 | 121 | 4.116 | 4.1165 | 0.6084 | 0.00045443 | 6.936 | 6.9138 | 0.0049677 | -0.022173
2004-05-0047 | 2004-05-0047 | 121 | 4000.37 | 4000.37 | 0.3501 | -0.00024414 | 3.644 | 3.0776 | 0.0031063 | -0.56645
2004-05-0047 | 2004-05-0047 | 121 | 3501.53 | 3501.53 | 0.28841 | -0.00024414 | 2.99 | 2.8332 | 0.0027759 | -0.15684
2004-05-0047 | 2004-05-0047 | 121 | 3001.69 | 3001.69 | 0.32901 | 0.00024414 | 2.578 | 2.4662 | 0.0024001 | -0.1118
2004-05-0047 | 2004-05-0047 | 209 | 2500.83 | 2501.03 | 0.39339 | 0.19922 | 2.025 | 1.9475 | 0.0026603 | -0.077526
2004-05-0047 | 2004-05-0047 | 209 | 2501.18 | 2501.03 | 0.39339 | -0.14771 | 2.012 | 1.9475 | 0.0026603 | -0.064526
2004-05-0047 | 2004-05-0047 | 121 | 2000.99 | 2000.99 | 0.33602 | -0.00036621 | 1.381 | 1.3384 | 0.0027894 | -0.042645
2004-05-0047 | 2004-05-0047 | 121 | 1501.34 | 1501.34 | 0.19268 | 0 | 0.63 | 0.63865 | 0.0026793 | 0.0086529
2004-05-0047 | 2004-05-0047 | 121 | 1250.28 | 1250.28 | 0.34202 | 0.00036621 | 0.429 | 0.4503 | 0.0018011 | 0.021298
2004-05-0047 | 2004-05-0047 | 121 | 1002.85 | 1002.85 | 1.0881 | 0.00036621 | 0.429 | 0.4274 | 0.0017864 | -0.0016033
2004-05-0047 | 2004-05-0047 | 121 | 799.416 | 799.416 | 0.49391 | -0.00036621 | 0.479 | 0.47496 | 0.0024913 | -0.0040413
2004-05-0047 | 2004-05-0047 | 121 | 602.617 | 602.617 | 1.1036 | 0.00048828 | 0.59 | 0.56759 | 0.0018871 | -0.022413
2004-05-0047 | 2004-05-0047 | 121 | 400.188 | 400.188 | 0.15772 | 0 | 0.84 | 0.77398 | 0.0019747 | -0.066017
2004-05-0047 | 2004-05-0047 | 121 | 298.565 | 298.565 | 0.5735 | 0.00015259 | 1.121 | 1.109 | 0.0012836 | -0.01205
2004-05-0047 | 2004-05-0047 | 121 | 250.406 | 250.406 | 0.53139 | 0.00018311 | 1.502 | 1.4798 | 0.0015153 | -0.022232
2004-05-0047 | 2004-05-0047 | 121 | 200.921 | 200.921 | 0.21634 | 0.00015259 | 2.121 | 2.0746 | 0.0018388 | -0.046356
2004-05-0047 | 2004-05-0047 | 121 | 174.735 | 174.735 | 0.57625 | -0.00041199 | 2.495 | 2.4056 | 0.003283 | -0.089413
2004-05-0047 | 2004-05-0047 | 121 | 152.107 | 152.107 | 0.35387 | -0.00045776 | 2.945 | 2.8605 | 0.0058354 | -0.084487
2004-05-0047 | 2004-05-0047 | 121 | 123.544 | 123.544 | 1.3265 | -0.0003128 | 4.361 | 4.207 | 0.023679 | -0.15403
2004-05-0047 | 2004-05-0047 | 121 | 100.287 | 100.287 | 0.23446 | 0.00034332 | 5.961 | 5.8017 | 0.0045541 | -0.15933
2004-05-0047 | 2004-05-0047 | 121 | 74.409 | 74.4088 | 0.31172 | -0.00022125 | 7.034 | 6.9514 | 0.010801 | -0.08262
2004-05-0047 | 2004-05-0047 | 121 | 49.38 | 49.3798 | 0.83767 | -0.00024033 | 7.062 | 6.9504 | 0.010949 | -0.11163
2004-05-0047 | 2004-05-0047 | 121 | 24.787 | 24.7867 | 0.25013 | -0.00028229 | 7.065 | 6.9647 | 0.011756 | -0.10031
2004-05-0047 | 2004-05-0047 | 121 | 9.144 | 9.1435 | 0.16298 | -0.00044632 | 7.069 | 6.9681 | 0.0082013 | -0.10085
2004-05-0047 | 2004-05-0047 | 121 | 5.351 | 5.3508 | 0.28951 | -0.00015688 | 7.056 | 6.9817 | 0.0035355 | -0.074273
Create Fit Sheet