## File List
Number of Files= |  | 8
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2004-05-0001 | 2004-05-0001 | 11 | 22 | 2004-05-0001 & 2004-05-0001
2 | 2004-05-0003 | 2004-05-0003 | 24 | 31 | 2004-05-0003 & 2004-05-0003
3 | 2004-05-0007 | 2004-05-0007 | 33 | 51 | 2004-05-0007 & 2004-05-0007
4 | 2004-05-0013 | 2004-05-0013 | 53 | 72 | 2004-05-0013 & 2004-05-0013
5 | 2004-05-0018 | 2004-05-0018 | 74 | 96 | 2004-05-0018 & 2004-05-0018
6 | 2004-05-0025 | 2004-05-0025 | 98 | 121 | 2004-05-0025 & 2004-05-0025
7 | 2004-05-0032 | 2004-05-0032 | 123 | 146 | 2004-05-0032 & 2004-05-0032
8 | 2004-05-0047 | 2004-05-0047 | 148 | 171 | 2004-05-0047 & 2004-05-0047

## (DOX-CTD - DOX-BOT)
Calculation of Linear Least Squares Fit For
(DOX-CTD - DOX-BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX-CTD - DOX-BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00029763 |  | X | CALC Y
m= | 8.9174e-06 | 5.1424e-05 |  | Std Dev of Resid |  | 0.15188 |  | 6.014 | 0.025336
b= | 0.025282 | 0.02005 |  | Resid Sum of Squares |  | 2.3297 |  | 1001 | 0.034209
# of Values Extracted = |  |  | 154
# of Values Used in Fit = |  |  | 103
File | Use | Pressure | DOX-CTD | DOX-CTD | Diff (DOX-CTD - DOX-BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 222.763 | 0.073 | 0 | 0.073 | 0.027269 | -0.045731 |  | 222.763 | 0.073
1 | YES | 201.006 | 0.076333 | 0.00057735 | 0.076333 | 0.027075 | -0.049259 |  | 201.006 | 0.076333
1 | NO | 0 | 0 | 0 | 0 | 0.025282 | 0.025282 |  | 150.999 | 0.029
1 | NO | 0 | 0 | 0 | 0 | 0.025282 | 0.025282 |  | 126.004 | 0.0525
1 | YES | 150.999 | 0.081 | 0 | 0.029 | 0.026629 | -0.0023712 |  | 50.4632 | 0.19675
1 | YES | 126.004 | 0.1045 | 0.006364 | 0.0525 | 0.026406 | -0.026094 |  | 23.993 | 0.192
1 | NO | 100.75 | 1.1747 | 0.10993 | 0.15375 | 0.026181 | -0.12757 |  | 9.993 | 0.1088
1 | NO | 75.3313 | 4.53 | 0.13512 | 0.254 | 0.025954 | -0.22805 |  | 8.002 | 0.078
1 | YES | 50.4632 | 4.4597 | 0.070154 | 0.19675 | 0.025732 | -0.17102 |  | 100.749 | -0.0535
1 | YES | 23.993 | 5.373 | 0 | 0.192 | 0.025496 | -0.1665 |  | 76.2523 | -0.07725
1 | YES | 9.993 | 5.5138 | 0.18587 | 0.1088 | 0.025371 | -0.083429 |  | 75.3263 | -0.055333
1 | YES | 8.002 | 5.757 | 0 | 0.078 | 0.025354 | -0.052646 |  | 50.503 | -0.27825
2 | NO | 115.993 | 4.159 | 0 | -0.517 | 0.026317 | 0.54332 |  | 24.027 | 0.072
2 | YES | 100.749 | 4.1765 | 0.0059721 | -0.0535 | 0.026181 | 0.07968 |  | 10.3832 | 0.0462
2 | YES | 76.2523 | 4.6338 | 0.056865 | -0.07725 | 0.025962 | 0.10321 |  | 999.992 | 0.034667
2 | YES | 75.3263 | 4.6517 | 0.054077 | -0.055333 | 0.025954 | 0.081287 |  | 1000.99 | 0.02
2 | YES | 50.503 | 5.6288 | 0.077418 | -0.27825 | 0.025733 | 0.30398 |  | 801.033 | 0.0255
2 | YES | 24.027 | 6.666 | 0 | 0.072 | 0.025497 | -0.046503 |  | 601.667 | 0.028
2 | YES | 10.3832 | 6.7462 | 0.0054037 | 0.0462 | 0.025375 | -0.020825 |  | 401.992 | 0.029
2 | NO | 4.267 | 6.798 | 0 | 0.028 | 0.02532 | -0.0026795 |  | 300.996 | 0.069
3 | NO | 1325.78 | 0.492 | 0 | 0.024 | 0.037105 | 0.013105 |  | 250.996 | 0.091
3 | NO | 0 | 0 | 0 | -0.38 | 0.025282 | 0.40528 |  | 201.016 | 0.011667
3 | YES | 999.992 | 0.26167 | 0.00057734 | 0.034667 | 0.0342 | -0.00046709 |  | 151.009 | 0.1475
3 | YES | 1000.99 | 0.262 | 0 | 0.02 | 0.034209 | 0.014209 |  | 127.087 | 0.048333
3 | YES | 801.033 | 0.2665 | 0.0007071 | 0.0255 | 0.032425 | 0.0069254 |  | 101.352 | 0.17133
3 | YES | 601.667 | 0.475 | 0.001 | 0.028 | 0.030648 | 0.0026476 |  | 75.347 | 0.060333
3 | YES | 401.992 | 1.302 | 0.0017321 | 0.029 | 0.028867 | -0.00013297 |  | 50.4948 | 0.08125
3 | YES | 300.996 | 1.762 | 0 | 0.069 | 0.027966 | -0.041034 |  | 24 | 0.033
3 | YES | 250.996 | 2.12 | 0.0056569 | 0.091 | 0.027521 | -0.063479 |  | 10.0066 | 0.0744
3 | YES | 201.016 | 2.5517 | 0.18047 | 0.011667 | 0.027075 | 0.015408 |  | 1000.98 | 0.0195
3 | NO | 0 | 0 | 0 | -3.007 | 0.025282 | 3.0323 |  | 800.987 | 0.0115
3 | YES | 151.009 | 3.6945 | 0.03182 | 0.1475 | 0.026629 | -0.12087 |  | 602.004 | 0.033667
3 | YES | 127.087 | 4.4153 | 0.055582 | 0.048333 | 0.026416 | -0.021918 |  | 401.013 | 0.144
3 | YES | 101.352 | 4.9263 | 0.044434 | 0.17133 | 0.026186 | -0.14515 |  | 301.988 | 0.26133
3 | YES | 75.347 | 6.6603 | 0.036937 | 0.060333 | 0.025954 | -0.034379 |  | 250.997 | 0.2285
3 | YES | 50.4948 | 6.6943 | 0.0012584 | 0.08125 | 0.025733 | -0.055518 |  | 200.929 | -0.441
3 | YES | 24 | 6.709 | 0 | 0.033 | 0.025496 | -0.0075037 |  | 150.991 | -0.2855
3 | YES | 10.0066 | 6.7174 | 0.0080188 | 0.0744 | 0.025372 | -0.049028 |  | 126.993 | -0.166
3 | NO | 4.9027 | 6.7173 | 0.0011546 | 0.059333 | 0.025326 | -0.034007 |  | 100.738 | 0.0815
4 | NO | 0 | 0 | 0 | -1.677 | 0.025282 | 1.7023 |  | 76.2598 | 0.14475
4 | NO | 0 | 0 | 0 | -0.755 | 0.025282 | 0.78028 |  | 50.513 | 0.04125
4 | NO | 0 | 0 | 0 | -0.416 | 0.025282 | 0.44128 |  | 23.015 | 0.0435
4 | NO | 0 | 0 | 0 | -0.427 | 0.025282 | 0.45228 |  | 10.497 | 0.047751
4 | YES | 1000.98 | 0.2765 | 0.00070712 | 0.0195 | 0.034208 | 0.014708 |  | 8.018 | 0.047
4 | YES | 800.987 | 0.2565 | 0.0007071 | 0.0115 | 0.032425 | 0.020925 |  | 1000 | 0.031667
4 | YES | 602.004 | 0.42767 | 0.0040415 | 0.033667 | 0.030651 | -0.0030161 |  | 799.994 | 0.046333
4 | YES | 401.013 | 1.424 | 0.0028284 | 0.144 | 0.028858 | -0.11514 |  | 600.985 | -0.0135
4 | YES | 301.988 | 2.4953 | 0.027006 | 0.26133 | 0.027975 | -0.23336 |  | 400.978 | 0.0024999
4 | YES | 250.997 | 3.0035 | 0.03182 | 0.2285 | 0.027521 | -0.20098 |  | 301.052 | 0.078
4 | YES | 200.929 | 2.919 | 0.091831 | -0.441 | 0.027074 | 0.46807 |  | 251.003 | 0.0915
4 | NO | 0 | 0 | 0 | -3.882 | 0.025282 | 3.9073 |  | 200.999 | 0.25733
4 | YES | 150.991 | 3.3555 | 0.017678 | -0.2855 | 0.026629 | 0.31213 |  | 151.992 | 0.2
4 | YES | 126.993 | 3.671 | 0.066776 | -0.166 | 0.026415 | 0.19241 |  | 126.002 | 0.167
4 | YES | 100.738 | 4.3775 | 0.043147 | 0.0815 | 0.026181 | -0.055319 |  | 99.9843 | 0.049333
4 | YES | 76.2598 | 6.6898 | 0.13928 | 0.14475 | 0.025962 | -0.11879 |  | 76.2458 | 0.051
4 | YES | 50.513 | 6.7903 | 0.0042721 | 0.04125 | 0.025733 | -0.015517 |  | 50.4888 | 0.04425
4 | YES | 23.015 | 6.7585 | 0.0049497 | 0.0435 | 0.025488 | -0.018012 |  | 22.9965 | 0.0225
4 | YES | 10.497 | 6.7668 | 0.0045734 | 0.047751 | 0.025376 | -0.022375 |  | 9.9746 | 0.0434
4 | YES | 8.018 | 6.772 | 0 | 0.047 | 0.025354 | -0.021646 |  | 7.941 | 0.031
5 | NO | 3202.87 | 2.232 | 0 | -0.252 | 0.053843 | 0.30584 |  | 1001 | 0.0445
5 | NO | 0 | 0 | 0 | -2.244 | 0.025282 | 2.2693 |  | 800.999 | 0.0815
5 | NO | 0 | 0 | 0 | -1.931 | 0.025282 | 1.9563 |  | 601.003 | 0.0405
5 | NO | 0 | 0 | 0 | -1.405 | 0.025282 | 1.4303 |  | 401.01 | 0.06
5 | NO | 0 | 0 | 0 | -0.644 | 0.025282 | 0.66928 |  | 301.011 | -0.014
5 | NO | 0 | 0 | 0 | -0.643 | 0.025282 | 0.66828 |  | 252.001 | 0.048333
5 | NO | 0 | 0 | 0 | -0.338 | 0.025282 | 0.36328 |  | 199.987 | 0.571
5 | YES | 1000 | 0.28567 | 0.00057736 | 0.031667 | 0.0342 | 0.002533 |  | 150.959 | -0.057
5 | YES | 799.994 | 0.37733 | 0.0020817 | 0.046333 | 0.032416 | -0.013917 |  | 126.988 | 0.0006671
5 | YES | 600.985 | 0.6405 | 0.0021213 | -0.0135 | 0.030642 | 0.044142 |  | 100.765 | -0.3625
5 | YES | 400.978 | 1.5135 | 0.013435 | 0.0024999 | 0.028858 | 0.026358 |  | 75.3357 | -0.018333
5 | YES | 301.052 | 2.466 | 0.0084852 | 0.078 | 0.027967 | -0.050033 |  | 50.4733 | 0.022
5 | YES | 251.003 | 3.2335 | 0.0091924 | 0.0915 | 0.027521 | -0.063979 |  | 24.032 | 0.041
5 | YES | 200.999 | 4.4353 | 0.038018 | 0.25733 | 0.027075 | -0.23026 |  | 9.9982 | 0.0016003
5 | NO | 0 | 0 | 0 | -4.532 | 0.025282 | 4.5573 |  | 6.2075 | 0.0905
5 | YES | 151.992 | 5.083 | 0.019 | 0.2 | 0.026638 | -0.17336 |  | 1000.86 | 0.0205
5 | YES | 126.002 | 5.339 | 0.024042 | 0.167 | 0.026406 | -0.14059 |  | 798.99 | 0.042
5 | YES | 99.9843 | 6.7773 | 0.0025167 | 0.049333 | 0.026174 | -0.023159 |  | 600.904 | 0.015
5 | YES | 76.2458 | 6.787 | 0.0016331 | 0.051 | 0.025962 | -0.025038 |  | 401.012 | -0.0165
5 | YES | 50.4888 | 6.7942 | 0.0037749 | 0.04425 | 0.025733 | -0.018517 |  | 300.998 | -0.164
5 | YES | 22.9965 | 6.7995 | 0.014849 | 0.0225 | 0.025487 | 0.0029874 |  | 250.995 | -0.0505
5 | YES | 9.9746 | 6.8194 | 0.0011403 | 0.0434 | 0.025371 | -0.018029 |  | 199.979 | -0.126
5 | YES | 7.941 | 6.82 | 0 | 0.031 | 0.025353 | -0.005647 |  | 151.028 | -0.27
6 | NO | 3676.61 | 2.679 | 0 | -0.423 | 0.058068 | 0.48107 |  | 125.978 | -0.3755
6 | NO | 0 | 0 | 0 | -2.758 | 0.025282 | 2.7833 |  | 100.764 | -0.1315
6 | NO | 0 | 0 | 0 | -2.419 | 0.025282 | 2.4443 |  | 75.2943 | -0.21667
6 | NO | 0 | 0 | 0 | -1.964 | 0.025282 | 1.9893 |  | 50.5208 | -0.05725
6 | NO | 0 | 0 | 0 | -1.347 | 0.025282 | 1.3723 |  | 22.998 | -0.054
6 | NO | 0 | 0 | 0 | -1.548 | 0.025282 | 1.5733 |  | 9.9782 | -0.0478
6 | NO | 0 | 0 | 0 | -0.542 | 0.025282 | 0.56728 |  | 1001 | -0.002
6 | NO | 0 | 0 | 0 | -0.302 | 0.025282 | 0.32728 |  | 799.988 | -0.00033334
6 | YES | 1001 | 0.2865 | 0.0007071 | 0.0445 | 0.034209 | -0.010291 |  | 601.992 | -0.0046666
6 | YES | 800.999 | 0.4075 | 0.0021213 | 0.0815 | 0.032425 | -0.049075 |  | 401.005 | -0.015
6 | YES | 601.003 | 0.7115 | 0.0007071 | 0.0405 | 0.030642 | -0.0098583 |  | 300.001 | 0.044
6 | YES | 401.01 | 1.526 | 0.0070711 | 0.06 | 0.028858 | -0.031142 |  | 251.027 | 0.0465
6 | YES | 301.011 | 1.944 | 0.014142 | -0.014 | 0.027967 | 0.041966 |  | 200.991 | -0.007
6 | YES | 252.001 | 2.6443 | 0.0090186 | 0.048333 | 0.02753 | -0.020804 |  | 151.991 | 0.26833
6 | YES | 199.987 | 3.688 | 0.066468 | 0.571 | 0.027066 | -0.54393 |  | 125.016 | 0.492
6 | NO | 0 | 0 | 0 | -3.952 | 0.025282 | 3.9773 |  | 100.746 | 0.551
6 | YES | 150.959 | 5.235 | 0.04384 | -0.057 | 0.026628 | 0.083629 |  | 75.3123 | -0.055333
6 | YES | 126.988 | 5.7267 | 0.01106 | 0.0006671 | 0.026415 | 0.025748 |  | 50.4938 | -0.10625
6 | YES | 100.765 | 6.1405 | 0.11897 | -0.3625 | 0.026181 | 0.38868 |  | 22.989 | -0.095
6 | YES | 75.3357 | 6.8157 | 0.0040416 | -0.018333 | 0.025954 | 0.044288 |  | 9.979 | -0.0572
6 | YES | 50.4733 | 6.869 | 0.0014141 | 0.022 | 0.025732 | 0.0037326 |  | 6.014 | -0.0335
6 | YES | 24.032 | 6.884 | 0 | 0.041 | 0.025497 | -0.015503
6 | YES | 9.9982 | 6.8526 | 0.014605 | 0.0016003 | 0.025371 | 0.023771 |  |  | 0.027596
6 | YES | 6.2075 | 6.8675 | 0.0021212 | 0.0905 | 0.025338 | -0.065163
7 | NO | 4001.9 | 2.922 | 0 | -0.325 | 0.060969 | 0.38597
7 | NO | 0 | 0 | 0 | -2.898 | 0.025282 | 2.9233
7 | NO | 0 | 0 | 0 | -2.888 | 0.025282 | 2.9133
7 | NO | 0 | 0 | 0 | -2.534 | 0.025282 | 2.5593
7 | NO | 0 | 0 | 0 | -1.945 | 0.025282 | 1.9703
7 | NO | 0 | 0 | 0 | -1.266 | 0.025282 | 1.2913
7 | NO | 0 | 0 | 0 | -0.553 | 0.025282 | 0.57828
7 | NO | 0 | 0 | 0 | -0.352 | 0.025282 | 0.37728
7 | YES | 1000.86 | 0.3245 | 0.0007071 | 0.0205 | 0.034207 | 0.013707
7 | YES | 798.99 | 0.406 | 0.0014142 | 0.042 | 0.032407 | -0.0095928
7 | YES | 600.904 | 0.621 | 0.0014142 | 0.015 | 0.030641 | 0.015641
7 | YES | 401.012 | 1.2475 | 0.016264 | -0.0165 | 0.028858 | 0.045358
7 | YES | 300.998 | 1.695 | 0.0084853 | -0.164 | 0.027966 | 0.19197
7 | YES | 250.995 | 2.2065 | 0.012021 | -0.0505 | 0.027521 | 0.07802
7 | YES | 199.979 | 2.894 | 0.028284 | -0.126 | 0.027066 | 0.15307
7 | NO | 0 | 0 | 0 | -3.441 | 0.025282 | 3.4663
7 | YES | 151.028 | 4.042 | 0.0028286 | -0.27 | 0.026629 | 0.29663
7 | YES | 125.978 | 4.8545 | 0.05869 | -0.3755 | 0.026406 | 0.40191
7 | YES | 100.764 | 5.6265 | 0.045822 | -0.1315 | 0.026181 | 0.15768
7 | YES | 75.2943 | 6.7353 | 0.024007 | -0.21667 | 0.025954 | 0.24262
7 | YES | 50.5208 | 6.9088 | 0.0012582 | -0.05725 | 0.025733 | 0.082983
7 | YES | 22.998 | 6.903 | 0.0070712 | -0.054 | 0.025487 | 0.079487
7 | YES | 9.9782 | 6.9032 | 0.00502 | -0.0478 | 0.025371 | 0.073171
7 | NO | 3.181 | 6.899 | 0 | -0.037 | 0.025311 | 0.06231
8 | NO | 0 | 0 | 0 | -3.644 | 0.025282 | 3.6693
8 | NO | 0 | 0 | 0 | -2.99 | 0.025282 | 3.0153
8 | NO | 0 | 0 | 0 | -2.578 | 0.025282 | 2.6033
8 | NO | 0 | 0 | 0 | -2.025 | 0.025282 | 2.0503
8 | NO | 0 | 0 | 0 | -2.012 | 0.025282 | 2.0373
8 | NO | 0 | 0 | 0 | -1.381 | 0.025282 | 1.4063
8 | NO | 0 | 0 | 0 | -0.63 | 0.025282 | 0.65528
8 | NO | 0 | 0 | 0 | -0.429 | 0.025282 | 0.45428
8 | YES | 1001 | 0.427 | 0 | -0.002 | 0.034209 | 0.036209
8 | YES | 799.988 | 0.47867 | 0.00057736 | -0.00033334 | 0.032416 | 0.032749
8 | YES | 601.992 | 0.58533 | 0.00057738 | -0.0046666 | 0.03065 | 0.035317
8 | YES | 401.005 | 0.825 | 0.0014142 | -0.015 | 0.028858 | 0.043858
8 | YES | 300.001 | 1.165 | 0 | 0.044 | 0.027958 | -0.016042
8 | YES | 251.027 | 1.5485 | 0.0035355 | 0.0465 | 0.027521 | -0.018979
8 | YES | 200.991 | 2.114 | 0.040509 | -0.007 | 0.027075 | 0.034075
8 | NO | 0 | 0 | 0 | -2.495 | 0.025282 | 2.5203
8 | YES | 151.991 | 3.2133 | 0.071059 | 0.26833 | 0.026638 | -0.2417
8 | YES | 125.016 | 4.853 | 0 | 0.492 | 0.026397 | -0.4656
8 | YES | 100.746 | 6.512 | 0.15584 | 0.551 | 0.026181 | -0.52482
8 | YES | 75.3123 | 6.9787 | 0.0025167 | -0.055333 | 0.025954 | 0.081287
8 | YES | 50.4938 | 6.9558 | 0.0022174 | -0.10625 | 0.025733 | 0.13198
8 | YES | 22.989 | 6.97 | 0.0070709 | -0.095 | 0.025487 | 0.12049
8 | YES | 9.979 | 7.0118 | 0.0037683 | -0.0572 | 0.025371 | 0.082571
8 | YES | 6.014 | 7.0225 | 0.0063638 | -0.0335 | 0.025336 | 0.058836
YES
YES
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX-CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX-CTD - DOX-BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX-CTD - DOX-BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX-CTD - DOX-BOT), Prop=DOX-CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0006435 |  | X | CALC Y
m= | -0.0014831 | 0.0058155 |  | Std Dev of Resid |  | 0.15185 |  | 0.073 | 0.033154
b= | 0.033263 | 0.026788 |  | Resid Sum of Squares |  | 2.3289 |  | 7.0225 | 0.022848
# of Values Extracted = |  |  | 154
# of Values Used in Fit = |  |  | 103
File | Use | Pressure | DOX-CTD | DOX-CTD | Diff (DOX-CTD - DOX-BOT) |  |  |  | Fit vs. | DOX-CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 222.763 | 0.073 | 0 | 0.073 | 0.033154 | -0.039846 |  | 0.073 | 0.073
1 | YES | 201.006 | 0.076333 | 0.00057735 | 0.076333 | 0.033149 | -0.043184 |  | 0.076333 | 0.076333
1 | NO | 0 | 0 | 0 | 0 | 0.033263 | 0.033263 |  | 0.081 | 0.029
1 | NO | 0 | 0 | 0 | 0 | 0.033263 | 0.033263 |  | 0.1045 | 0.0525
1 | YES | 150.999 | 0.081 | 0 | 0.029 | 0.033142 | 0.0041425 |  | 4.4597 | 0.19675
1 | YES | 126.004 | 0.1045 | 0.006364 | 0.0525 | 0.033108 | -0.019392 |  | 5.373 | 0.192
1 | NO | 100.75 | 1.1747 | 0.10993 | 0.15375 | 0.03152 | -0.12223 |  | 5.5138 | 0.1088
1 | NO | 75.3313 | 4.53 | 0.13512 | 0.254 | 0.026544 | -0.22746 |  | 5.757 | 0.078
1 | YES | 50.4632 | 4.4597 | 0.070154 | 0.19675 | 0.026649 | -0.1701 |  | 4.1765 | -0.0535
1 | YES | 23.993 | 5.373 | 0 | 0.192 | 0.025294 | -0.16671 |  | 4.6338 | -0.07725
1 | YES | 9.993 | 5.5138 | 0.18587 | 0.1088 | 0.025085 | -0.083715 |  | 4.6517 | -0.055333
1 | YES | 8.002 | 5.757 | 0 | 0.078 | 0.024725 | -0.053275 |  | 5.6288 | -0.27825
2 | NO | 115.993 | 4.159 | 0 | -0.517 | 0.027095 | 0.54409 |  | 6.666 | 0.072
2 | YES | 100.749 | 4.1765 | 0.0059721 | -0.0535 | 0.027069 | 0.080568 |  | 6.7462 | 0.0462
2 | YES | 76.2523 | 4.6338 | 0.056865 | -0.07725 | 0.02639 | 0.10364 |  | 0.26167 | 0.034667
2 | YES | 75.3263 | 4.6517 | 0.054077 | -0.055333 | 0.026364 | 0.081697 |  | 0.262 | 0.02
2 | YES | 50.503 | 5.6288 | 0.077418 | -0.27825 | 0.024915 | 0.30316 |  | 0.2665 | 0.0255
2 | YES | 24.027 | 6.666 | 0 | 0.072 | 0.023377 | -0.048623 |  | 0.475 | 0.028
2 | YES | 10.3832 | 6.7462 | 0.0054037 | 0.0462 | 0.023258 | -0.022943 |  | 1.302 | 0.029
2 | NO | 4.267 | 6.798 | 0 | 0.028 | 0.023181 | -0.0048192 |  | 1.762 | 0.069
3 | NO | 1325.78 | 0.492 | 0 | 0.024 | 0.032533 | 0.0085329 |  | 2.12 | 0.091
3 | NO | 0 | 0 | 0 | -0.38 | 0.033263 | 0.41326 |  | 2.5517 | 0.011667
3 | YES | 999.992 | 0.26167 | 0.00057734 | 0.034667 | 0.032875 | -0.0017922 |  | 3.6945 | 0.1475
3 | YES | 1000.99 | 0.262 | 0 | 0.02 | 0.032874 | 0.012874 |  | 4.4153 | 0.048333
3 | YES | 801.033 | 0.2665 | 0.0007071 | 0.0255 | 0.032867 | 0.0073673 |  | 4.9263 | 0.17133
3 | YES | 601.667 | 0.475 | 0.001 | 0.028 | 0.032558 | 0.0045581 |  | 6.6603 | 0.060333
3 | YES | 401.992 | 1.302 | 0.0017321 | 0.029 | 0.031332 | 0.0023316 |  | 6.6943 | 0.08125
3 | YES | 300.996 | 1.762 | 0 | 0.069 | 0.030649 | -0.038351 |  | 6.709 | 0.033
3 | YES | 250.996 | 2.12 | 0.0056569 | 0.091 | 0.030118 | -0.060881 |  | 6.7174 | 0.0744
3 | YES | 201.016 | 2.5517 | 0.18047 | 0.011667 | 0.029478 | 0.017812 |  | 0.2765 | 0.0195
3 | NO | 0 | 0 | 0 | -3.007 | 0.033263 | 3.0403 |  | 0.2565 | 0.0115
3 | YES | 151.009 | 3.6945 | 0.03182 | 0.1475 | 0.027783 | -0.11972 |  | 0.42767 | 0.033667
3 | YES | 127.087 | 4.4153 | 0.055582 | 0.048333 | 0.026714 | -0.021619 |  | 1.424 | 0.144
3 | YES | 101.352 | 4.9263 | 0.044434 | 0.17133 | 0.025957 | -0.14538 |  | 2.4953 | 0.26133
3 | YES | 75.347 | 6.6603 | 0.036937 | 0.060333 | 0.023385 | -0.036948 |  | 3.0035 | 0.2285
3 | YES | 50.4948 | 6.6943 | 0.0012584 | 0.08125 | 0.023335 | -0.057916 |  | 2.919 | -0.441
3 | YES | 24 | 6.709 | 0 | 0.033 | 0.023313 | -0.0096873 |  | 3.3555 | -0.2855
3 | YES | 10.0066 | 6.7174 | 0.0080188 | 0.0744 | 0.0233 | -0.0511 |  | 3.671 | -0.166
3 | NO | 4.9027 | 6.7173 | 0.0011546 | 0.059333 | 0.0233 | -0.036033 |  | 4.3775 | 0.0815
4 | NO | 0 | 0 | 0 | -1.677 | 0.033263 | 1.7103 |  | 6.6898 | 0.14475
4 | NO | 0 | 0 | 0 | -0.755 | 0.033263 | 0.78826 |  | 6.7903 | 0.04125
4 | NO | 0 | 0 | 0 | -0.416 | 0.033263 | 0.44926 |  | 6.7585 | 0.0435
4 | NO | 0 | 0 | 0 | -0.427 | 0.033263 | 0.46026 |  | 6.7668 | 0.047751
4 | YES | 1000.98 | 0.2765 | 0.00070712 | 0.0195 | 0.032853 | 0.013353 |  | 6.772 | 0.047
4 | YES | 800.987 | 0.2565 | 0.0007071 | 0.0115 | 0.032882 | 0.021382 |  | 0.28567 | 0.031667
4 | YES | 602.004 | 0.42767 | 0.0040415 | 0.033667 | 0.032628 | -0.0010384 |  | 0.37733 | 0.046333
4 | YES | 401.013 | 1.424 | 0.0028284 | 0.144 | 0.031151 | -0.11285 |  | 0.6405 | -0.0135
4 | YES | 301.988 | 2.4953 | 0.027006 | 0.26133 | 0.029562 | -0.23177 |  | 1.5135 | 0.0024999
4 | YES | 250.997 | 3.0035 | 0.03182 | 0.2285 | 0.028808 | -0.19969 |  | 2.466 | 0.078
4 | YES | 200.929 | 2.919 | 0.091831 | -0.441 | 0.028934 | 0.46993 |  | 3.2335 | 0.0915
4 | NO | 0 | 0 | 0 | -3.882 | 0.033263 | 3.9153 |  | 4.4353 | 0.25733
4 | YES | 150.991 | 3.3555 | 0.017678 | -0.2855 | 0.028286 | 0.31379 |  | 5.083 | 0.2
4 | YES | 126.993 | 3.671 | 0.066776 | -0.166 | 0.027818 | 0.19382 |  | 5.339 | 0.167
4 | YES | 100.738 | 4.3775 | 0.043147 | 0.0815 | 0.02677 | -0.05473 |  | 6.7773 | 0.049333
4 | YES | 76.2598 | 6.6898 | 0.13928 | 0.14475 | 0.023341 | -0.12141 |  | 6.787 | 0.051
4 | YES | 50.513 | 6.7903 | 0.0042721 | 0.04125 | 0.023192 | -0.018058 |  | 6.7942 | 0.04425
4 | YES | 23.015 | 6.7585 | 0.0049497 | 0.0435 | 0.023239 | -0.020261 |  | 6.7995 | 0.0225
4 | YES | 10.497 | 6.7668 | 0.0045734 | 0.047751 | 0.023227 | -0.024523 |  | 6.8194 | 0.0434
4 | YES | 8.018 | 6.772 | 0 | 0.047 | 0.023219 | -0.023781 |  | 6.82 | 0.031
5 | NO | 3202.87 | 2.232 | 0 | -0.252 | 0.029952 | 0.28195 |  | 0.2865 | 0.0445
5 | NO | 0 | 0 | 0 | -2.244 | 0.033263 | 2.2773 |  | 0.4075 | 0.0815
5 | NO | 0 | 0 | 0 | -1.931 | 0.033263 | 1.9643 |  | 0.7115 | 0.0405
5 | NO | 0 | 0 | 0 | -1.405 | 0.033263 | 1.4383 |  | 1.526 | 0.06
5 | NO | 0 | 0 | 0 | -0.644 | 0.033263 | 0.67726 |  | 1.944 | -0.014
5 | NO | 0 | 0 | 0 | -0.643 | 0.033263 | 0.67626 |  | 2.6443 | 0.048333
5 | NO | 0 | 0 | 0 | -0.338 | 0.033263 | 0.37126 |  | 3.688 | 0.571
5 | YES | 1000 | 0.28567 | 0.00057736 | 0.031667 | 0.032839 | 0.0011722 |  | 5.235 | -0.057
5 | YES | 799.994 | 0.37733 | 0.0020817 | 0.046333 | 0.032703 | -0.01363 |  | 5.7267 | 0.0006671
5 | YES | 600.985 | 0.6405 | 0.0021213 | -0.0135 | 0.032313 | 0.045813 |  | 6.1405 | -0.3625
5 | YES | 400.978 | 1.5135 | 0.013435 | 0.0024999 | 0.031018 | 0.028518 |  | 6.8157 | -0.018333
5 | YES | 301.052 | 2.466 | 0.0084852 | 0.078 | 0.029605 | -0.048395 |  | 6.869 | 0.022
5 | YES | 251.003 | 3.2335 | 0.0091924 | 0.0915 | 0.028467 | -0.063033 |  | 6.884 | 0.041
5 | YES | 200.999 | 4.4353 | 0.038018 | 0.25733 | 0.026685 | -0.23065 |  | 6.8526 | 0.0016003
5 | NO | 0 | 0 | 0 | -4.532 | 0.033263 | 4.5653 |  | 6.8675 | 0.0905
5 | YES | 151.992 | 5.083 | 0.019 | 0.2 | 0.025724 | -0.17428 |  | 0.3245 | 0.0205
5 | YES | 126.002 | 5.339 | 0.024042 | 0.167 | 0.025345 | -0.14166 |  | 0.406 | 0.042
5 | YES | 99.9843 | 6.7773 | 0.0025167 | 0.049333 | 0.023211 | -0.026122 |  | 0.621 | 0.015
5 | YES | 76.2458 | 6.787 | 0.0016331 | 0.051 | 0.023197 | -0.027803 |  | 1.2475 | -0.0165
5 | YES | 50.4888 | 6.7942 | 0.0037749 | 0.04425 | 0.023186 | -0.021064 |  | 1.695 | -0.164
5 | YES | 22.9965 | 6.7995 | 0.014849 | 0.0225 | 0.023179 | 0.00067852 |  | 2.2065 | -0.0505
5 | YES | 9.9746 | 6.8194 | 0.0011403 | 0.0434 | 0.023149 | -0.020251 |  | 2.894 | -0.126
5 | YES | 7.941 | 6.82 | 0 | 0.031 | 0.023148 | -0.007852 |  | 4.042 | -0.27
6 | NO | 3676.61 | 2.679 | 0 | -0.423 | 0.029289 | 0.45229 |  | 4.8545 | -0.3755
6 | NO | 0 | 0 | 0 | -2.758 | 0.033263 | 2.7913 |  | 5.6265 | -0.1315
6 | NO | 0 | 0 | 0 | -2.419 | 0.033263 | 2.4523 |  | 6.7353 | -0.21667
6 | NO | 0 | 0 | 0 | -1.964 | 0.033263 | 1.9973 |  | 6.9088 | -0.05725
6 | NO | 0 | 0 | 0 | -1.347 | 0.033263 | 1.3803 |  | 6.903 | -0.054
6 | NO | 0 | 0 | 0 | -1.548 | 0.033263 | 1.5813 |  | 6.9032 | -0.0478
6 | NO | 0 | 0 | 0 | -0.542 | 0.033263 | 0.57526 |  | 0.427 | -0.002
6 | NO | 0 | 0 | 0 | -0.302 | 0.033263 | 0.33526 |  | 0.47867 | -0.00033334
6 | YES | 1001 | 0.2865 | 0.0007071 | 0.0445 | 0.032838 | -0.011662 |  | 0.58533 | -0.0046666
6 | YES | 800.999 | 0.4075 | 0.0021213 | 0.0815 | 0.032658 | -0.048842 |  | 0.825 | -0.015
6 | YES | 601.003 | 0.7115 | 0.0007071 | 0.0405 | 0.032207 | -0.0082926 |  | 1.165 | 0.044
6 | YES | 401.01 | 1.526 | 0.0070711 | 0.06 | 0.030999 | -0.029001 |  | 1.5485 | 0.0465
6 | YES | 301.011 | 1.944 | 0.014142 | -0.014 | 0.03038 | 0.044379 |  | 2.114 | -0.007
6 | YES | 252.001 | 2.6443 | 0.0090186 | 0.048333 | 0.029341 | -0.018993 |  | 3.2133 | 0.26833
6 | YES | 199.987 | 3.688 | 0.066468 | 0.571 | 0.027793 | -0.54321 |  | 4.853 | 0.492
6 | NO | 0 | 0 | 0 | -3.952 | 0.033263 | 3.9853 |  | 6.512 | 0.551
6 | YES | 150.959 | 5.235 | 0.04384 | -0.057 | 0.025499 | 0.082499 |  | 6.9787 | -0.055333
6 | YES | 126.988 | 5.7267 | 0.01106 | 0.0006671 | 0.02477 | 0.024102 |  | 6.9558 | -0.10625
6 | YES | 100.765 | 6.1405 | 0.11897 | -0.3625 | 0.024156 | 0.38666 |  | 6.97 | -0.095
6 | YES | 75.3357 | 6.8157 | 0.0040416 | -0.018333 | 0.023155 | 0.041488 |  | 7.0118 | -0.0572
6 | YES | 50.4733 | 6.869 | 0.0014141 | 0.022 | 0.023075 | 0.0010756 |  | 7.0225 | -0.0335
6 | YES | 24.032 | 6.884 | 0 | 0.041 | 0.023053 | -0.017947
6 | YES | 9.9982 | 6.8526 | 0.014605 | 0.0016003 | 0.0231 | 0.0215
6 | YES | 6.2075 | 6.8675 | 0.0021212 | 0.0905 | 0.023078 | -0.067423
7 | NO | 4001.9 | 2.922 | 0 | -0.325 | 0.028929 | 0.35393
7 | NO | 0 | 0 | 0 | -2.898 | 0.033263 | 2.9313
7 | NO | 0 | 0 | 0 | -2.888 | 0.033263 | 2.9213
7 | NO | 0 | 0 | 0 | -2.534 | 0.033263 | 2.5673
7 | NO | 0 | 0 | 0 | -1.945 | 0.033263 | 1.9783
7 | NO | 0 | 0 | 0 | -1.266 | 0.033263 | 1.2993
7 | NO | 0 | 0 | 0 | -0.553 | 0.033263 | 0.58626
7 | NO | 0 | 0 | 0 | -0.352 | 0.033263 | 0.38526
7 | YES | 1000.86 | 0.3245 | 0.0007071 | 0.0205 | 0.032781 | 0.012281
7 | YES | 798.99 | 0.406 | 0.0014142 | 0.042 | 0.03266 | -0.0093395
7 | YES | 600.904 | 0.621 | 0.0014142 | 0.015 | 0.032342 | 0.017342
7 | YES | 401.012 | 1.2475 | 0.016264 | -0.0165 | 0.031412 | 0.047913
7 | YES | 300.998 | 1.695 | 0.0084853 | -0.164 | 0.030749 | 0.19475
7 | YES | 250.995 | 2.2065 | 0.012021 | -0.0505 | 0.02999 | 0.08049
7 | YES | 199.979 | 2.894 | 0.028284 | -0.126 | 0.028971 | 0.15497
7 | NO | 0 | 0 | 0 | -3.441 | 0.033263 | 3.4743
7 | YES | 151.028 | 4.042 | 0.0028286 | -0.27 | 0.027268 | 0.29727
7 | YES | 125.978 | 4.8545 | 0.05869 | -0.3755 | 0.026063 | 0.40156
7 | YES | 100.764 | 5.6265 | 0.045822 | -0.1315 | 0.024918 | 0.15642
7 | YES | 75.2943 | 6.7353 | 0.024007 | -0.21667 | 0.023274 | 0.23994
7 | YES | 50.5208 | 6.9088 | 0.0012582 | -0.05725 | 0.023016 | 0.080266
7 | YES | 22.998 | 6.903 | 0.0070712 | -0.054 | 0.023025 | 0.077025
7 | YES | 9.9782 | 6.9032 | 0.00502 | -0.0478 | 0.023025 | 0.070825
7 | NO | 3.181 | 6.899 | 0 | -0.037 | 0.023031 | 0.060031
8 | NO | 0 | 0 | 0 | -3.644 | 0.033263 | 3.6773
8 | NO | 0 | 0 | 0 | -2.99 | 0.033263 | 3.0233
8 | NO | 0 | 0 | 0 | -2.578 | 0.033263 | 2.6113
8 | NO | 0 | 0 | 0 | -2.025 | 0.033263 | 2.0583
8 | NO | 0 | 0 | 0 | -2.012 | 0.033263 | 2.0453
8 | NO | 0 | 0 | 0 | -1.381 | 0.033263 | 1.4143
8 | NO | 0 | 0 | 0 | -0.63 | 0.033263 | 0.66326
8 | NO | 0 | 0 | 0 | -0.429 | 0.033263 | 0.46226
8 | YES | 1001 | 0.427 | 0 | -0.002 | 0.032629 | 0.034629
8 | YES | 799.988 | 0.47867 | 0.00057736 | -0.00033334 | 0.032553 | 0.032886
8 | YES | 601.992 | 0.58533 | 0.00057738 | -0.0046666 | 0.032394 | 0.037061
8 | YES | 401.005 | 0.825 | 0.0014142 | -0.015 | 0.032039 | 0.047039
8 | YES | 300.001 | 1.165 | 0 | 0.044 | 0.031535 | -0.012465
8 | YES | 251.027 | 1.5485 | 0.0035355 | 0.0465 | 0.030966 | -0.015534
8 | YES | 200.991 | 2.114 | 0.040509 | -0.007 | 0.030127 | 0.037127
8 | NO | 0 | 0 | 0 | -2.495 | 0.033263 | 2.5283
8 | YES | 151.991 | 3.2133 | 0.071059 | 0.26833 | 0.028497 | -0.23984
8 | YES | 125.016 | 4.853 | 0 | 0.492 | 0.026065 | -0.46593
8 | YES | 100.746 | 6.512 | 0.15584 | 0.551 | 0.023605 | -0.5274
8 | YES | 75.3123 | 6.9787 | 0.0025167 | -0.055333 | 0.022913 | 0.078246
8 | YES | 50.4938 | 6.9558 | 0.0022174 | -0.10625 | 0.022947 | 0.1292
8 | YES | 22.989 | 6.97 | 0.0070709 | -0.095 | 0.022926 | 0.11793
8 | YES | 9.979 | 7.0118 | 0.0037683 | -0.0572 | 0.022864 | 0.080063
8 | YES | 6.014 | 7.0225 | 0.0063638 | -0.0335 | 0.022848 | 0.056348
YES
YES
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX-CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX-CTD - DOX-BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX-CTD - DOX-BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX-CTD - DOX-BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.010065 |  | X | CALC Y
m= | -0.0071211 | 0.0070274 |  | Std Dev of Resid |  | 0.15113 |  | 1 | 0.055597
b= | 0.062718 | 0.037723 |  | Resid Sum of Squares |  | 2.307 |  | 8 | 0.0057488
# of Values Extracted = |  |  | 154
# of Values Used in Fit = |  |  | 103
File | Use | Pressure | DOX-CTD | DOX-CTD | Diff (DOX-CTD - DOX-BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 222.763 | 0.073 | 0 | 0.073 | 0.055597 | -0.017403 |  | 1 | 0.073
1 | YES | 201.006 | 0.076333 | 0.00057735 | 0.076333 | 0.055597 | -0.020737 |  | 1 | 0.076333
1 | NO | 0 | 0 | 0 | 0 | 0.055597 | 0.055597 |  | 1 | 0.029
1 | NO | 0 | 0 | 0 | 0 | 0.055597 | 0.055597 |  | 1 | 0.0525
1 | YES | 150.999 | 0.081 | 0 | 0.029 | 0.055597 | 0.026597 |  | 1 | 0.19675
1 | YES | 126.004 | 0.1045 | 0.006364 | 0.0525 | 0.055597 | 0.0030967 |  | 1 | 0.192
1 | NO | 100.75 | 1.1747 | 0.10993 | 0.15375 | 0.055597 | -0.098153 |  | 1 | 0.1088
1 | NO | 75.3313 | 4.53 | 0.13512 | 0.254 | 0.055597 | -0.1984 |  | 1 | 0.078
1 | YES | 50.4632 | 4.4597 | 0.070154 | 0.19675 | 0.055597 | -0.14115 |  | 2 | -0.0535
1 | YES | 23.993 | 5.373 | 0 | 0.192 | 0.055597 | -0.1364 |  | 2 | -0.07725
1 | YES | 9.993 | 5.5138 | 0.18587 | 0.1088 | 0.055597 | -0.053203 |  | 2 | -0.055333
1 | YES | 8.002 | 5.757 | 0 | 0.078 | 0.055597 | -0.022403 |  | 2 | -0.27825
2 | NO | 115.993 | 4.159 | 0 | -0.517 | 0.048476 | 0.56548 |  | 2 | 0.072
2 | YES | 100.749 | 4.1765 | 0.0059721 | -0.0535 | 0.048476 | 0.10198 |  | 2 | 0.0462
2 | YES | 76.2523 | 4.6338 | 0.056865 | -0.07725 | 0.048476 | 0.12573 |  | 3 | 0.034667
2 | YES | 75.3263 | 4.6517 | 0.054077 | -0.055333 | 0.048476 | 0.10381 |  | 3 | 0.02
2 | YES | 50.503 | 5.6288 | 0.077418 | -0.27825 | 0.048476 | 0.32673 |  | 3 | 0.0255
2 | YES | 24.027 | 6.666 | 0 | 0.072 | 0.048476 | -0.023524 |  | 3 | 0.028
2 | YES | 10.3832 | 6.7462 | 0.0054037 | 0.0462 | 0.048476 | 0.0022752 |  | 3 | 0.029
2 | NO | 4.267 | 6.798 | 0 | 0.028 | 0.048476 | 0.020476 |  | 3 | 0.069
3 | NO | 1325.78 | 0.492 | 0 | 0.024 | 0.041354 | 0.017354 |  | 3 | 0.091
3 | NO | 0 | 0 | 0 | -0.38 | 0.041354 | 0.42135 |  | 3 | 0.011667
3 | YES | 999.992 | 0.26167 | 0.00057734 | 0.034667 | 0.041354 | 0.0066877 |  | 3 | 0.1475
3 | YES | 1000.99 | 0.262 | 0 | 0.02 | 0.041354 | 0.021354 |  | 3 | 0.048333
3 | YES | 801.033 | 0.2665 | 0.0007071 | 0.0255 | 0.041354 | 0.015854 |  | 3 | 0.17133
3 | YES | 601.667 | 0.475 | 0.001 | 0.028 | 0.041354 | 0.013354 |  | 3 | 0.060333
3 | YES | 401.992 | 1.302 | 0.0017321 | 0.029 | 0.041354 | 0.012354 |  | 3 | 0.08125
3 | YES | 300.996 | 1.762 | 0 | 0.069 | 0.041354 | -0.027646 |  | 3 | 0.033
3 | YES | 250.996 | 2.12 | 0.0056569 | 0.091 | 0.041354 | -0.049645 |  | 3 | 0.0744
3 | YES | 201.016 | 2.5517 | 0.18047 | 0.011667 | 0.041354 | 0.029688 |  | 4 | 0.0195
3 | NO | 0 | 0 | 0 | -3.007 | 0.041354 | 3.0484 |  | 4 | 0.0115
3 | YES | 151.009 | 3.6945 | 0.03182 | 0.1475 | 0.041354 | -0.10615 |  | 4 | 0.033667
3 | YES | 127.087 | 4.4153 | 0.055582 | 0.048333 | 0.041354 | -0.0069788 |  | 4 | 0.144
3 | YES | 101.352 | 4.9263 | 0.044434 | 0.17133 | 0.041354 | -0.12998 |  | 4 | 0.26133
3 | YES | 75.347 | 6.6603 | 0.036937 | 0.060333 | 0.041354 | -0.018979 |  | 4 | 0.2285
3 | YES | 50.4948 | 6.6943 | 0.0012584 | 0.08125 | 0.041354 | -0.039896 |  | 4 | -0.441
3 | YES | 24 | 6.709 | 0 | 0.033 | 0.041354 | 0.0083544 |  | 4 | -0.2855
3 | YES | 10.0066 | 6.7174 | 0.0080188 | 0.0744 | 0.041354 | -0.033045 |  | 4 | -0.166
3 | NO | 4.9027 | 6.7173 | 0.0011546 | 0.059333 | 0.041354 | -0.017979 |  | 4 | 0.0815
4 | NO | 0 | 0 | 0 | -1.677 | 0.034233 | 1.7112 |  | 4 | 0.14475
4 | NO | 0 | 0 | 0 | -0.755 | 0.034233 | 0.78923 |  | 4 | 0.04125
4 | NO | 0 | 0 | 0 | -0.416 | 0.034233 | 0.45023 |  | 4 | 0.0435
4 | NO | 0 | 0 | 0 | -0.427 | 0.034233 | 0.46123 |  | 4 | 0.047751
4 | YES | 1000.98 | 0.2765 | 0.00070712 | 0.0195 | 0.034233 | 0.014733 |  | 4 | 0.047
4 | YES | 800.987 | 0.2565 | 0.0007071 | 0.0115 | 0.034233 | 0.022733 |  | 5 | 0.031667
4 | YES | 602.004 | 0.42767 | 0.0040415 | 0.033667 | 0.034233 | 0.00056659 |  | 5 | 0.046333
4 | YES | 401.013 | 1.424 | 0.0028284 | 0.144 | 0.034233 | -0.10977 |  | 5 | -0.0135
4 | YES | 301.988 | 2.4953 | 0.027006 | 0.26133 | 0.034233 | -0.2271 |  | 5 | 0.0024999
4 | YES | 250.997 | 3.0035 | 0.03182 | 0.2285 | 0.034233 | -0.19427 |  | 5 | 0.078
4 | YES | 200.929 | 2.919 | 0.091831 | -0.441 | 0.034233 | 0.47523 |  | 5 | 0.0915
4 | NO | 0 | 0 | 0 | -3.882 | 0.034233 | 3.9162 |  | 5 | 0.25733
4 | YES | 150.991 | 3.3555 | 0.017678 | -0.2855 | 0.034233 | 0.31973 |  | 5 | 0.2
4 | YES | 126.993 | 3.671 | 0.066776 | -0.166 | 0.034233 | 0.20023 |  | 5 | 0.167
4 | YES | 100.738 | 4.3775 | 0.043147 | 0.0815 | 0.034233 | -0.047267 |  | 5 | 0.049333
4 | YES | 76.2598 | 6.6898 | 0.13928 | 0.14475 | 0.034233 | -0.11052 |  | 5 | 0.051
4 | YES | 50.513 | 6.7903 | 0.0042721 | 0.04125 | 0.034233 | -0.0070165 |  | 5 | 0.04425
4 | YES | 23.015 | 6.7585 | 0.0049497 | 0.0435 | 0.034233 | -0.0092666 |  | 5 | 0.0225
4 | YES | 10.497 | 6.7668 | 0.0045734 | 0.047751 | 0.034233 | -0.013517 |  | 5 | 0.0434
4 | YES | 8.018 | 6.772 | 0 | 0.047 | 0.034233 | -0.012767 |  | 5 | 0.031
5 | NO | 3202.87 | 2.232 | 0 | -0.252 | 0.027112 | 0.27911 |  | 6 | 0.0445
5 | NO | 0 | 0 | 0 | -2.244 | 0.027112 | 2.2711 |  | 6 | 0.0815
5 | NO | 0 | 0 | 0 | -1.931 | 0.027112 | 1.9581 |  | 6 | 0.0405
5 | NO | 0 | 0 | 0 | -1.405 | 0.027112 | 1.4321 |  | 6 | 0.06
5 | NO | 0 | 0 | 0 | -0.644 | 0.027112 | 0.67111 |  | 6 | -0.014
5 | NO | 0 | 0 | 0 | -0.643 | 0.027112 | 0.67011 |  | 6 | 0.048333
5 | NO | 0 | 0 | 0 | -0.338 | 0.027112 | 0.36511 |  | 6 | 0.571
5 | YES | 1000 | 0.28567 | 0.00057736 | 0.031667 | 0.027112 | -0.0045545 |  | 6 | -0.057
5 | YES | 799.994 | 0.37733 | 0.0020817 | 0.046333 | 0.027112 | -0.019221 |  | 6 | 0.0006671
5 | YES | 600.985 | 0.6405 | 0.0021213 | -0.0135 | 0.027112 | 0.040612 |  | 6 | -0.3625
5 | YES | 400.978 | 1.5135 | 0.013435 | 0.0024999 | 0.027112 | 0.024612 |  | 6 | -0.018333
5 | YES | 301.052 | 2.466 | 0.0084852 | 0.078 | 0.027112 | -0.050888 |  | 6 | 0.022
5 | YES | 251.003 | 3.2335 | 0.0091924 | 0.0915 | 0.027112 | -0.064388 |  | 6 | 0.041
5 | YES | 200.999 | 4.4353 | 0.038018 | 0.25733 | 0.027112 | -0.23022 |  | 6 | 0.0016003
5 | NO | 0 | 0 | 0 | -4.532 | 0.027112 | 4.5591 |  | 6 | 0.0905
5 | YES | 151.992 | 5.083 | 0.019 | 0.2 | 0.027112 | -0.17289 |  | 7 | 0.0205
5 | YES | 126.002 | 5.339 | 0.024042 | 0.167 | 0.027112 | -0.13989 |  | 7 | 0.042
5 | YES | 99.9843 | 6.7773 | 0.0025167 | 0.049333 | 0.027112 | -0.022221 |  | 7 | 0.015
5 | YES | 76.2458 | 6.787 | 0.0016331 | 0.051 | 0.027112 | -0.023888 |  | 7 | -0.0165
5 | YES | 50.4888 | 6.7942 | 0.0037749 | 0.04425 | 0.027112 | -0.017138 |  | 7 | -0.164
5 | YES | 22.9965 | 6.7995 | 0.014849 | 0.0225 | 0.027112 | 0.0046122 |  | 7 | -0.0505
5 | YES | 9.9746 | 6.8194 | 0.0011403 | 0.0434 | 0.027112 | -0.016288 |  | 7 | -0.126
5 | YES | 7.941 | 6.82 | 0 | 0.031 | 0.027112 | -0.0038879 |  | 7 | -0.27
6 | NO | 3676.61 | 2.679 | 0 | -0.423 | 0.019991 | 0.44299 |  | 7 | -0.3755
6 | NO | 0 | 0 | 0 | -2.758 | 0.019991 | 2.778 |  | 7 | -0.1315
6 | NO | 0 | 0 | 0 | -2.419 | 0.019991 | 2.439 |  | 7 | -0.21667
6 | NO | 0 | 0 | 0 | -1.964 | 0.019991 | 1.984 |  | 7 | -0.05725
6 | NO | 0 | 0 | 0 | -1.347 | 0.019991 | 1.367 |  | 7 | -0.054
6 | NO | 0 | 0 | 0 | -1.548 | 0.019991 | 1.568 |  | 7 | -0.0478
6 | NO | 0 | 0 | 0 | -0.542 | 0.019991 | 0.56199 |  | 8 | -0.002
6 | NO | 0 | 0 | 0 | -0.302 | 0.019991 | 0.32199 |  | 8 | -0.00033334
6 | YES | 1001 | 0.2865 | 0.0007071 | 0.0445 | 0.019991 | -0.024509 |  | 8 | -0.0046666
6 | YES | 800.999 | 0.4075 | 0.0021213 | 0.0815 | 0.019991 | -0.061509 |  | 8 | -0.015
6 | YES | 601.003 | 0.7115 | 0.0007071 | 0.0405 | 0.019991 | -0.020509 |  | 8 | 0.044
6 | YES | 401.01 | 1.526 | 0.0070711 | 0.06 | 0.019991 | -0.040009 |  | 8 | 0.0465
6 | YES | 301.011 | 1.944 | 0.014142 | -0.014 | 0.019991 | 0.033991 |  | 8 | -0.007
6 | YES | 252.001 | 2.6443 | 0.0090186 | 0.048333 | 0.019991 | -0.028342 |  | 8 | 0.26833
6 | YES | 199.987 | 3.688 | 0.066468 | 0.571 | 0.019991 | -0.55101 |  | 8 | 0.492
6 | NO | 0 | 0 | 0 | -3.952 | 0.019991 | 3.972 |  | 8 | 0.551
6 | YES | 150.959 | 5.235 | 0.04384 | -0.057 | 0.019991 | 0.076991 |  | 8 | -0.055333
6 | YES | 126.988 | 5.7267 | 0.01106 | 0.0006671 | 0.019991 | 0.019324 |  | 8 | -0.10625
6 | YES | 100.765 | 6.1405 | 0.11897 | -0.3625 | 0.019991 | 0.38249 |  | 8 | -0.095
6 | YES | 75.3357 | 6.8157 | 0.0040416 | -0.018333 | 0.019991 | 0.038324 |  | 8 | -0.0572
6 | YES | 50.4733 | 6.869 | 0.0014141 | 0.022 | 0.019991 | -0.0020088 |  | 8 | -0.0335
6 | YES | 24.032 | 6.884 | 0 | 0.041 | 0.019991 | -0.021009
6 | YES | 9.9982 | 6.8526 | 0.014605 | 0.0016003 | 0.019991 | 0.018391
6 | YES | 6.2075 | 6.8675 | 0.0021212 | 0.0905 | 0.019991 | -0.070509
7 | NO | 4001.9 | 2.922 | 0 | -0.325 | 0.01287 | 0.33787
7 | NO | 0 | 0 | 0 | -2.898 | 0.01287 | 2.9109
7 | NO | 0 | 0 | 0 | -2.888 | 0.01287 | 2.9009
7 | NO | 0 | 0 | 0 | -2.534 | 0.01287 | 2.5469
7 | NO | 0 | 0 | 0 | -1.945 | 0.01287 | 1.9579
7 | NO | 0 | 0 | 0 | -1.266 | 0.01287 | 1.2789
7 | NO | 0 | 0 | 0 | -0.553 | 0.01287 | 0.56587
7 | NO | 0 | 0 | 0 | -0.352 | 0.01287 | 0.36487
7 | YES | 1000.86 | 0.3245 | 0.0007071 | 0.0205 | 0.01287 | -0.0076301
7 | YES | 798.99 | 0.406 | 0.0014142 | 0.042 | 0.01287 | -0.02913
7 | YES | 600.904 | 0.621 | 0.0014142 | 0.015 | 0.01287 | -0.0021301
7 | YES | 401.012 | 1.2475 | 0.016264 | -0.0165 | 0.01287 | 0.02937
7 | YES | 300.998 | 1.695 | 0.0084853 | -0.164 | 0.01287 | 0.17687
7 | YES | 250.995 | 2.2065 | 0.012021 | -0.0505 | 0.01287 | 0.06337
7 | YES | 199.979 | 2.894 | 0.028284 | -0.126 | 0.01287 | 0.13887
7 | NO | 0 | 0 | 0 | -3.441 | 0.01287 | 3.4539
7 | YES | 151.028 | 4.042 | 0.0028286 | -0.27 | 0.01287 | 0.28287
7 | YES | 125.978 | 4.8545 | 0.05869 | -0.3755 | 0.01287 | 0.38837
7 | YES | 100.764 | 5.6265 | 0.045822 | -0.1315 | 0.01287 | 0.14437
7 | YES | 75.2943 | 6.7353 | 0.024007 | -0.21667 | 0.01287 | 0.22954
7 | YES | 50.5208 | 6.9088 | 0.0012582 | -0.05725 | 0.01287 | 0.07012
7 | YES | 22.998 | 6.903 | 0.0070712 | -0.054 | 0.01287 | 0.06687
7 | YES | 9.9782 | 6.9032 | 0.00502 | -0.0478 | 0.01287 | 0.06067
7 | NO | 3.181 | 6.899 | 0 | -0.037 | 0.01287 | 0.04987
8 | NO | 0 | 0 | 0 | -3.644 | 0.0057488 | 3.6497
8 | NO | 0 | 0 | 0 | -2.99 | 0.0057488 | 2.9957
8 | NO | 0 | 0 | 0 | -2.578 | 0.0057488 | 2.5837
8 | NO | 0 | 0 | 0 | -2.025 | 0.0057488 | 2.0307
8 | NO | 0 | 0 | 0 | -2.012 | 0.0057488 | 2.0177
8 | NO | 0 | 0 | 0 | -1.381 | 0.0057488 | 1.3867
8 | NO | 0 | 0 | 0 | -0.63 | 0.0057488 | 0.63575
8 | NO | 0 | 0 | 0 | -0.429 | 0.0057488 | 0.43475
8 | YES | 1001 | 0.427 | 0 | -0.002 | 0.0057488 | 0.0077488
8 | YES | 799.988 | 0.47867 | 0.00057736 | -0.00033334 | 0.0057488 | 0.0060821
8 | YES | 601.992 | 0.58533 | 0.00057738 | -0.0046666 | 0.0057488 | 0.010415
8 | YES | 401.005 | 0.825 | 0.0014142 | -0.015 | 0.0057488 | 0.020749
8 | YES | 300.001 | 1.165 | 0 | 0.044 | 0.0057488 | -0.038251
8 | YES | 251.027 | 1.5485 | 0.0035355 | 0.0465 | 0.0057488 | -0.040751
8 | YES | 200.991 | 2.114 | 0.040509 | -0.007 | 0.0057488 | 0.012749
8 | NO | 0 | 0 | 0 | -2.495 | 0.0057488 | 2.5007
8 | YES | 151.991 | 3.2133 | 0.071059 | 0.26833 | 0.0057488 | -0.26258
8 | YES | 125.016 | 4.853 | 0 | 0.492 | 0.0057488 | -0.48625
8 | YES | 100.746 | 6.512 | 0.15584 | 0.551 | 0.0057488 | -0.54525
8 | YES | 75.3123 | 6.9787 | 0.0025167 | -0.055333 | 0.0057488 | 0.061082
8 | YES | 50.4938 | 6.9558 | 0.0022174 | -0.10625 | 0.0057488 | 0.112
8 | YES | 22.989 | 6.97 | 0.0070709 | -0.095 | 0.0057488 | 0.10075
8 | YES | 9.979 | 7.0118 | 0.0037683 | -0.0572 | 0.0057488 | 0.062948
8 | YES | 6.014 | 7.0225 | 0.0063638 | -0.0335 | 0.0057488 | 0.039249
YES
YES
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX-CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX-CTD - DOX-BOT) (4)
Calculation of Linear Least Squares Fit For
(DOX-CTD - DOX-BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX-CTD - DOX-BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00085723 |  | X | CALC Y
m= | -0.0024272 | 0.0085925 |  | Std Dev of Resid |  | 0.15572 |  | 2 | 0.029352
b= | 0.034206 | 0.047963 |  | Resid Sum of Squares |  | 2.255 |  | 8 | 0.014789
# of Values Extracted = |  |  | 142
# of Values Used in Fit = |  |  | 95
File | Use | Pressure | DOX-CTD | DOX-CTD | Diff (DOX-CTD - DOX-BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
2 | NO | 115.993 | 4.159 | 0 | -0.517 | 0.029352 | 0.54635 |  | 2 | -0.0535
2 | YES | 100.749 | 4.1765 | 0.0059721 | -0.0535 | 0.029352 | 0.082852 |  | 2 | -0.07725
2 | YES | 76.2523 | 4.6338 | 0.056865 | -0.07725 | 0.029352 | 0.1066 |  | 2 | -0.055333
2 | YES | 75.3263 | 4.6517 | 0.054077 | -0.055333 | 0.029352 | 0.084685 |  | 2 | -0.27825
2 | YES | 50.503 | 5.6288 | 0.077418 | -0.27825 | 0.029352 | 0.3076 |  | 2 | 0.072
2 | YES | 24.027 | 6.666 | 0 | 0.072 | 0.029352 | -0.042648 |  | 2 | 0.0462
2 | YES | 10.3832 | 6.7462 | 0.0054037 | 0.0462 | 0.029352 | -0.016848 |  | 3 | 0.034667
2 | NO | 4.267 | 6.798 | 0 | 0.028 | 0.029352 | 0.001352 |  | 3 | 0.02
3 | NO | 1325.78 | 0.492 | 0 | 0.024 | 0.026925 | 0.0029248 |  | 3 | 0.0255
3 | NO | 0 | 0 | 0 | -0.38 | 0.026925 | 0.40692 |  | 3 | 0.028
3 | YES | 999.992 | 0.26167 | 0.00057734 | 0.034667 | 0.026925 | -0.0077419 |  | 3 | 0.029
3 | YES | 1000.99 | 0.262 | 0 | 0.02 | 0.026925 | 0.0069248 |  | 3 | 0.069
3 | YES | 801.033 | 0.2665 | 0.0007071 | 0.0255 | 0.026925 | 0.0014248 |  | 3 | 0.091
3 | YES | 601.667 | 0.475 | 0.001 | 0.028 | 0.026925 | -0.0010752 |  | 3 | 0.011667
3 | YES | 401.992 | 1.302 | 0.0017321 | 0.029 | 0.026925 | -0.0020752 |  | 3 | 0.1475
3 | YES | 300.996 | 1.762 | 0 | 0.069 | 0.026925 | -0.042075 |  | 3 | 0.048333
3 | YES | 250.996 | 2.12 | 0.0056569 | 0.091 | 0.026925 | -0.064075 |  | 3 | 0.17133
3 | YES | 201.016 | 2.5517 | 0.18047 | 0.011667 | 0.026925 | 0.015258 |  | 3 | 0.060333
3 | NO | 0 | 0 | 0 | -3.007 | 0.026925 | 3.0339 |  | 3 | 0.08125
3 | YES | 151.009 | 3.6945 | 0.03182 | 0.1475 | 0.026925 | -0.12058 |  | 3 | 0.033
3 | YES | 127.087 | 4.4153 | 0.055582 | 0.048333 | 0.026925 | -0.021408 |  | 3 | 0.0744
3 | YES | 101.352 | 4.9263 | 0.044434 | 0.17133 | 0.026925 | -0.14441 |  | 4 | 0.0195
3 | YES | 75.347 | 6.6603 | 0.036937 | 0.060333 | 0.026925 | -0.033409 |  | 4 | 0.0115
3 | YES | 50.4948 | 6.6943 | 0.0012584 | 0.08125 | 0.026925 | -0.054325 |  | 4 | 0.033667
3 | YES | 24 | 6.709 | 0 | 0.033 | 0.026925 | -0.0060752 |  | 4 | 0.144
3 | YES | 10.0066 | 6.7174 | 0.0080188 | 0.0744 | 0.026925 | -0.047475 |  | 4 | 0.26133
3 | NO | 4.9027 | 6.7173 | 0.0011546 | 0.059333 | 0.026925 | -0.032409 |  | 4 | 0.2285
4 | NO | 0 | 0 | 0 | -1.677 | 0.024498 | 1.7015 |  | 4 | -0.441
4 | NO | 0 | 0 | 0 | -0.755 | 0.024498 | 0.7795 |  | 4 | -0.2855
4 | NO | 0 | 0 | 0 | -0.416 | 0.024498 | 0.4405 |  | 4 | -0.166
4 | NO | 0 | 0 | 0 | -0.427 | 0.024498 | 0.4515 |  | 4 | 0.0815
4 | YES | 1000.98 | 0.2765 | 0.00070712 | 0.0195 | 0.024498 | 0.0049976 |  | 4 | 0.14475
4 | YES | 800.987 | 0.2565 | 0.0007071 | 0.0115 | 0.024498 | 0.012998 |  | 4 | 0.04125
4 | YES | 602.004 | 0.42767 | 0.0040415 | 0.033667 | 0.024498 | -0.0091691 |  | 4 | 0.0435
4 | YES | 401.013 | 1.424 | 0.0028284 | 0.144 | 0.024498 | -0.1195 |  | 4 | 0.047751
4 | YES | 301.988 | 2.4953 | 0.027006 | 0.26133 | 0.024498 | -0.23684 |  | 4 | 0.047
4 | YES | 250.997 | 3.0035 | 0.03182 | 0.2285 | 0.024498 | -0.204 |  | 5 | 0.031667
4 | YES | 200.929 | 2.919 | 0.091831 | -0.441 | 0.024498 | 0.4655 |  | 5 | 0.046333
4 | NO | 0 | 0 | 0 | -3.882 | 0.024498 | 3.9065 |  | 5 | -0.0135
4 | YES | 150.991 | 3.3555 | 0.017678 | -0.2855 | 0.024498 | 0.31 |  | 5 | 0.0024999
4 | YES | 126.993 | 3.671 | 0.066776 | -0.166 | 0.024498 | 0.1905 |  | 5 | 0.078
4 | YES | 100.738 | 4.3775 | 0.043147 | 0.0815 | 0.024498 | -0.057002 |  | 5 | 0.0915
4 | YES | 76.2598 | 6.6898 | 0.13928 | 0.14475 | 0.024498 | -0.12025 |  | 5 | 0.25733
4 | YES | 50.513 | 6.7903 | 0.0042721 | 0.04125 | 0.024498 | -0.016752 |  | 5 | 0.2
4 | YES | 23.015 | 6.7585 | 0.0049497 | 0.0435 | 0.024498 | -0.019002 |  | 5 | 0.167
4 | YES | 10.497 | 6.7668 | 0.0045734 | 0.047751 | 0.024498 | -0.023253 |  | 5 | 0.049333
4 | YES | 8.018 | 6.772 | 0 | 0.047 | 0.024498 | -0.022502 |  | 5 | 0.051
5 | NO | 3202.87 | 2.232 | 0 | -0.252 | 0.02207 | 0.27407 |  | 5 | 0.04425
5 | NO | 0 | 0 | 0 | -2.244 | 0.02207 | 2.2661 |  | 5 | 0.0225
5 | NO | 0 | 0 | 0 | -1.931 | 0.02207 | 1.9531 |  | 5 | 0.0434
5 | NO | 0 | 0 | 0 | -1.405 | 0.02207 | 1.4271 |  | 5 | 0.031
5 | NO | 0 | 0 | 0 | -0.644 | 0.02207 | 0.66607 |  | 6 | 0.0445
5 | NO | 0 | 0 | 0 | -0.643 | 0.02207 | 0.66507 |  | 6 | 0.0815
5 | NO | 0 | 0 | 0 | -0.338 | 0.02207 | 0.36007 |  | 6 | 0.0405
5 | YES | 1000 | 0.28567 | 0.00057736 | 0.031667 | 0.02207 | -0.0095962 |  | 6 | 0.06
5 | YES | 799.994 | 0.37733 | 0.0020817 | 0.046333 | 0.02207 | -0.024263 |  | 6 | -0.014
5 | YES | 600.985 | 0.6405 | 0.0021213 | -0.0135 | 0.02207 | 0.03557 |  | 6 | 0.048333
5 | YES | 400.978 | 1.5135 | 0.013435 | 0.0024999 | 0.02207 | 0.019571 |  | 6 | 0.571
5 | YES | 301.052 | 2.466 | 0.0084852 | 0.078 | 0.02207 | -0.05593 |  | 6 | -0.057
5 | YES | 251.003 | 3.2335 | 0.0091924 | 0.0915 | 0.02207 | -0.06943 |  | 6 | 0.0006671
5 | YES | 200.999 | 4.4353 | 0.038018 | 0.25733 | 0.02207 | -0.23526 |  | 6 | -0.3625
5 | NO | 0 | 0 | 0 | -4.532 | 0.02207 | 4.5541 |  | 6 | -0.018333
5 | YES | 151.992 | 5.083 | 0.019 | 0.2 | 0.02207 | -0.17793 |  | 6 | 0.022
5 | YES | 126.002 | 5.339 | 0.024042 | 0.167 | 0.02207 | -0.14493 |  | 6 | 0.041
5 | YES | 99.9843 | 6.7773 | 0.0025167 | 0.049333 | 0.02207 | -0.027263 |  | 6 | 0.0016003
5 | YES | 76.2458 | 6.787 | 0.0016331 | 0.051 | 0.02207 | -0.02893 |  | 6 | 0.0905
5 | YES | 50.4888 | 6.7942 | 0.0037749 | 0.04425 | 0.02207 | -0.02218 |  | 7 | 0.0205
5 | YES | 22.9965 | 6.7995 | 0.014849 | 0.0225 | 0.02207 | -0.00042951 |  | 7 | 0.042
5 | YES | 9.9746 | 6.8194 | 0.0011403 | 0.0434 | 0.02207 | -0.021329 |  | 7 | 0.015
5 | YES | 7.941 | 6.82 | 0 | 0.031 | 0.02207 | -0.0089296 |  | 7 | -0.0165
6 | NO | 3676.61 | 2.679 | 0 | -0.423 | 0.019643 | 0.44264 |  | 7 | -0.164
6 | NO | 0 | 0 | 0 | -2.758 | 0.019643 | 2.7776 |  | 7 | -0.0505
6 | NO | 0 | 0 | 0 | -2.419 | 0.019643 | 2.4386 |  | 7 | -0.126
6 | NO | 0 | 0 | 0 | -1.964 | 0.019643 | 1.9836 |  | 7 | -0.27
6 | NO | 0 | 0 | 0 | -1.347 | 0.019643 | 1.3666 |  | 7 | -0.3755
6 | NO | 0 | 0 | 0 | -1.548 | 0.019643 | 1.5676 |  | 7 | -0.1315
6 | NO | 0 | 0 | 0 | -0.542 | 0.019643 | 0.56164 |  | 7 | -0.21667
6 | NO | 0 | 0 | 0 | -0.302 | 0.019643 | 0.32164 |  | 7 | -0.05725
6 | YES | 1001 | 0.2865 | 0.0007071 | 0.0445 | 0.019643 | -0.024857 |  | 7 | -0.054
6 | YES | 800.999 | 0.4075 | 0.0021213 | 0.0815 | 0.019643 | -0.061857 |  | 7 | -0.0478
6 | YES | 601.003 | 0.7115 | 0.0007071 | 0.0405 | 0.019643 | -0.020857 |  | 8 | -0.002
6 | YES | 401.01 | 1.526 | 0.0070711 | 0.06 | 0.019643 | -0.040357 |  | 8 | -0.00033334
6 | YES | 301.011 | 1.944 | 0.014142 | -0.014 | 0.019643 | 0.033643 |  | 8 | -0.0046666
6 | YES | 252.001 | 2.6443 | 0.0090186 | 0.048333 | 0.019643 | -0.02869 |  | 8 | -0.015
6 | YES | 199.987 | 3.688 | 0.066468 | 0.571 | 0.019643 | -0.55136 |  | 8 | 0.044
6 | NO | 0 | 0 | 0 | -3.952 | 0.019643 | 3.9716 |  | 8 | 0.0465
6 | YES | 150.959 | 5.235 | 0.04384 | -0.057 | 0.019643 | 0.076644 |  | 8 | -0.007
6 | YES | 126.988 | 5.7267 | 0.01106 | 0.0006671 | 0.019643 | 0.018976 |  | 8 | 0.26833
6 | YES | 100.765 | 6.1405 | 0.11897 | -0.3625 | 0.019643 | 0.38214 |  | 8 | 0.492
6 | YES | 75.3357 | 6.8157 | 0.0040416 | -0.018333 | 0.019643 | 0.037977 |  | 8 | 0.551
6 | YES | 50.4733 | 6.869 | 0.0014141 | 0.022 | 0.019643 | -0.0023565 |  | 8 | -0.055333
6 | YES | 24.032 | 6.884 | 0 | 0.041 | 0.019643 | -0.021357 |  | 8 | -0.10625
6 | YES | 9.9982 | 6.8526 | 0.014605 | 0.0016003 | 0.019643 | 0.018043 |  | 8 | -0.095
6 | YES | 6.2075 | 6.8675 | 0.0021212 | 0.0905 | 0.019643 | -0.070857 |  | 8 | -0.0572
7 | NO | 4001.9 | 2.922 | 0 | -0.325 | 0.017216 | 0.34222 |  | 8 | -0.0335
7 | NO | 0 | 0 | 0 | -2.898 | 0.017216 | 2.9152
7 | NO | 0 | 0 | 0 | -2.888 | 0.017216 | 2.9052
7 | NO | 0 | 0 | 0 | -2.534 | 0.017216 | 2.5512
7 | NO | 0 | 0 | 0 | -1.945 | 0.017216 | 1.9622
7 | NO | 0 | 0 | 0 | -1.266 | 0.017216 | 1.2832
7 | NO | 0 | 0 | 0 | -0.553 | 0.017216 | 0.57022
7 | NO | 0 | 0 | 0 | -0.352 | 0.017216 | 0.36922
7 | YES | 1000.86 | 0.3245 | 0.0007071 | 0.0205 | 0.017216 | -0.0032838
7 | YES | 798.99 | 0.406 | 0.0014142 | 0.042 | 0.017216 | -0.024784
7 | YES | 600.904 | 0.621 | 0.0014142 | 0.015 | 0.017216 | 0.0022162
7 | YES | 401.012 | 1.2475 | 0.016264 | -0.0165 | 0.017216 | 0.033716
7 | YES | 300.998 | 1.695 | 0.0084853 | -0.164 | 0.017216 | 0.18122
7 | YES | 250.995 | 2.2065 | 0.012021 | -0.0505 | 0.017216 | 0.067716
7 | YES | 199.979 | 2.894 | 0.028284 | -0.126 | 0.017216 | 0.14322
7 | NO | 0 | 0 | 0 | -3.441 | 0.017216 | 3.4582
7 | YES | 151.028 | 4.042 | 0.0028286 | -0.27 | 0.017216 | 0.28722
7 | YES | 125.978 | 4.8545 | 0.05869 | -0.3755 | 0.017216 | 0.39272
7 | YES | 100.764 | 5.6265 | 0.045822 | -0.1315 | 0.017216 | 0.14872
7 | YES | 75.2943 | 6.7353 | 0.024007 | -0.21667 | 0.017216 | 0.23388
7 | YES | 50.5208 | 6.9088 | 0.0012582 | -0.05725 | 0.017216 | 0.074466
7 | YES | 22.998 | 6.903 | 0.0070712 | -0.054 | 0.017216 | 0.071216
7 | YES | 9.9782 | 6.9032 | 0.00502 | -0.0478 | 0.017216 | 0.065016
7 | NO | 3.181 | 6.899 | 0 | -0.037 | 0.017216 | 0.054216
8 | NO | 0 | 0 | 0 | -3.644 | 0.014789 | 3.6588
8 | NO | 0 | 0 | 0 | -2.99 | 0.014789 | 3.0048
8 | NO | 0 | 0 | 0 | -2.578 | 0.014789 | 2.5928
8 | NO | 0 | 0 | 0 | -2.025 | 0.014789 | 2.0398
8 | NO | 0 | 0 | 0 | -2.012 | 0.014789 | 2.0268
8 | NO | 0 | 0 | 0 | -1.381 | 0.014789 | 1.3958
8 | NO | 0 | 0 | 0 | -0.63 | 0.014789 | 0.64479
8 | NO | 0 | 0 | 0 | -0.429 | 0.014789 | 0.44379
8 | YES | 1001 | 0.427 | 0 | -0.002 | 0.014789 | 0.016789
8 | YES | 799.988 | 0.47867 | 0.00057736 | -0.00033334 | 0.014789 | 0.015122
8 | YES | 601.992 | 0.58533 | 0.00057738 | -0.0046666 | 0.014789 | 0.019456
8 | YES | 401.005 | 0.825 | 0.0014142 | -0.015 | 0.014789 | 0.029789
8 | YES | 300.001 | 1.165 | 0 | 0.044 | 0.014789 | -0.029211
8 | YES | 251.027 | 1.5485 | 0.0035355 | 0.0465 | 0.014789 | -0.031711
8 | YES | 200.991 | 2.114 | 0.040509 | -0.007 | 0.014789 | 0.021789
8 | NO | 0 | 0 | 0 | -2.495 | 0.014789 | 2.5098
8 | YES | 151.991 | 3.2133 | 0.071059 | 0.26833 | 0.014789 | -0.25354
8 | YES | 125.016 | 4.853 | 0 | 0.492 | 0.014789 | -0.47721
8 | YES | 100.746 | 6.512 | 0.15584 | 0.551 | 0.014789 | -0.53621
8 | YES | 75.3123 | 6.9787 | 0.0025167 | -0.055333 | 0.014789 | 0.070122
8 | YES | 50.4938 | 6.9558 | 0.0022174 | -0.10625 | 0.014789 | 0.12104
8 | YES | 22.989 | 6.97 | 0.0070709 | -0.095 | 0.014789 | 0.10979
8 | YES | 9.979 | 7.0118 | 0.0037683 | -0.0572 | 0.014789 | 0.071989
8 | YES | 6.014 | 7.0225 | 0.0063638 | -0.0335 | 0.014789 | 0.048289
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX-CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX-BOT | DOX-CTD |  | DOX-CTD - DOX-BOT
Average Size: | 3
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX-BOT | DOX-CTD | DOX-CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2004-05-0001 | 2004-05-0001 | 1 | 223.078 | 222.763 | 0 | -0.315 | 0 | 0.073 | 0 | 0.073
2004-05-0001 | 2004-05-0001 | 3 | 200.755 | 201.006 | 1.999 | 0.25067 | 0 | 0.076333 | 0.00057735 | 0.076333
2004-05-0001 | 2004-05-0001 | 0 | 175.734 | 0 | 0 | -175.734 | 0 | 0 | 0 | 0
2004-05-0001 | 2004-05-0001 | 0 | 175.736 | 0 | 0 | -175.736 | 0 | 0 | 0 | 0
2004-05-0001 | 2004-05-0001 | 2 | 150.58 | 150.999 | 1.41 | 0.41899 | 0.052 | 0.081 | 0 | 0.029
2004-05-0001 | 2004-05-0001 | 2 | 125.507 | 126.004 | 1.4036 | 0.4965 | 0.052 | 0.1045 | 0.006364 | 0.0525
2004-05-0001 | 2004-05-0001 | 4 | 100.294 | 100.75 | 1.7009 | 0.45625 | 1.021 | 1.1747 | 0.10993 | 0.15375
2004-05-0001 | 2004-05-0001 | 3 | 75.447 | 75.3313 | 1.5167 | -0.11566 | 4.276 | 4.53 | 0.13512 | 0.254
2004-05-0001 | 2004-05-0001 | 4 | 50.245 | 50.4632 | 1.3243 | 0.21825 | 4.263 | 4.4597 | 0.070154 | 0.19675
2004-05-0001 | 2004-05-0001 | 1 | 25.169 | 23.993 | 0 | -1.176 | 5.181 | 5.373 | 0 | 0.192
2004-05-0001 | 2004-05-0001 | 5 | 10.579 | 9.993 | 1.5805 | -0.586 | 5.405 | 5.5138 | 0.18587 | 0.1088
2004-05-0001 | 2004-05-0001 | 1 | 5.593 | 8.002 | 0 | 2.409 | 5.679 | 5.757 | 0 | 0.078
2004-05-0003 | 2004-05-0003 | 1 | 113.796 | 115.993 | 0 | 2.197 | 4.676 | 4.159 | 0 | -0.517
2004-05-0003 | 2004-05-0003 | 4 | 101.238 | 100.749 | 1.6997 | -0.48875 | 4.23 | 4.1765 | 0.0059721 | -0.0535
2004-05-0003 | 2004-05-0003 | 4 | 76.233 | 76.2523 | 2.2237 | 0.019249 | 4.711 | 4.6338 | 0.056865 | -0.07725
2004-05-0003 | 2004-05-0003 | 3 | 75.077 | 75.3263 | 1.5079 | 0.24933 | 4.707 | 4.6517 | 0.054077 | -0.055333
2004-05-0003 | 2004-05-0003 | 4 | 51.408 | 50.503 | 1.3086 | -0.905 | 5.907 | 5.6288 | 0.077418 | -0.27825
2004-05-0003 | 2004-05-0003 | 1 | 26.255 | 24.027 | 0 | -2.228 | 6.594 | 6.666 | 0 | 0.072
2004-05-0003 | 2004-05-0003 | 5 | 10.928 | 10.3832 | 1.107 | -0.5448 | 6.7 | 6.7462 | 0.0054037 | 0.0462
2004-05-0003 | 2004-05-0003 | 1 | 6.162 | 4.267 | 0 | -1.895 | 6.77 | 6.798 | 0 | 0.028
2004-05-0007 | 2004-05-0007 | 1 | 1324.18 | 1325.78 | 0 | 1.595 | 0.468 | 0.492 | 0 | 0.024
2004-05-0007 | 2004-05-0007 | 0 | 1250.16 | 0 | 0 | -1250.16 | 0.38 | 0 | 0 | -0.38
2004-05-0007 | 2004-05-0007 | 3 | 1000.92 | 999.992 | 1.9783 | -0.92499 | 0.227 | 0.26167 | 0.00057734 | 0.034667
2004-05-0007 | 2004-05-0007 | 2 | 1001.49 | 1000.99 | 1.3583 | -0.49951 | 0.242 | 0.262 | 0 | 0.02
2004-05-0007 | 2004-05-0007 | 2 | 802.207 | 801.033 | 1.4213 | -1.174 | 0.241 | 0.2665 | 0.0007071 | 0.0255
2004-05-0007 | 2004-05-0007 | 3 | 600.939 | 601.667 | 1.5498 | 0.72766 | 0.447 | 0.475 | 0.001 | 0.028
2004-05-0007 | 2004-05-0007 | 3 | 402.651 | 401.992 | 2.004 | -0.65933 | 1.273 | 1.302 | 0.0017321 | 0.029
2004-05-0007 | 2004-05-0007 | 2 | 300.968 | 300.996 | 1.4163 | 0.028503 | 1.693 | 1.762 | 0 | 0.069
2004-05-0007 | 2004-05-0007 | 2 | 250.478 | 250.996 | 1.4376 | 0.51849 | 2.029 | 2.12 | 0.0056569 | 0.091
2004-05-0007 | 2004-05-0007 | 3 | 200.576 | 201.016 | 1.9706 | 0.43967 | 2.54 | 2.5517 | 0.18047 | 0.011667
2004-05-0007 | 2004-05-0007 | 0 | 176.465 | 0 | 0 | -176.465 | 3.007 | 0 | 0 | -3.007
2004-05-0007 | 2004-05-0007 | 2 | 149.429 | 151.009 | 1.4064 | 1.5805 | 3.547 | 3.6945 | 0.03182 | 0.1475
2004-05-0007 | 2004-05-0007 | 3 | 126.741 | 127.087 | 1.9766 | 0.346 | 4.367 | 4.4153 | 0.055582 | 0.048333
2004-05-0007 | 2004-05-0007 | 3 | 102.079 | 101.352 | 1.5564 | -0.72701 | 4.755 | 4.9263 | 0.044434 | 0.17133
2004-05-0007 | 2004-05-0007 | 3 | 75.349 | 75.347 | 1.5113 | -0.0019989 | 6.6 | 6.6603 | 0.036937 | 0.060333
2004-05-0007 | 2004-05-0007 | 4 | 51.234 | 50.4948 | 1.3009 | -0.73925 | 6.613 | 6.6943 | 0.0012584 | 0.08125
2004-05-0007 | 2004-05-0007 | 1 | 26.363 | 24 | 0 | -2.363 | 6.676 | 6.709 | 0 | 0.033
2004-05-0007 | 2004-05-0007 | 5 | 10.524 | 10.0066 | 1.6153 | -0.5174 | 6.643 | 6.7174 | 0.0080188 | 0.0744
2004-05-0007 | 2004-05-0007 | 3 | 5.755 | 4.9027 | 2.6685 | -0.85233 | 6.658 | 6.7173 | 0.0011546 | 0.059333
2004-05-0013 | 2004-05-0013 | 0 | 2001.07 | 0 | 0 | -2001.07 | 1.677 | 0 | 0 | -1.677
2004-05-0013 | 2004-05-0013 | 0 | 1500.85 | 0 | 0 | -1500.85 | 0.755 | 0 | 0 | -0.755
2004-05-0013 | 2004-05-0013 | 0 | 1248.64 | 0 | 0 | -1248.64 | 0.416 | 0 | 0 | -0.416
2004-05-0013 | 2004-05-0013 | 0 | 1250.28 | 0 | 0 | -1250.28 | 0.427 | 0 | 0 | -0.427
2004-05-0013 | 2004-05-0013 | 2 | 1001.88 | 1000.98 | 1.4319 | -0.89648 | 0.257 | 0.2765 | 0.00070712 | 0.0195
2004-05-0013 | 2004-05-0013 | 2 | 801.144 | 800.987 | 1.4107 | -0.15747 | 0.245 | 0.2565 | 0.0007071 | 0.0115
2004-05-0013 | 2004-05-0013 | 3 | 601.429 | 602.004 | 2.0115 | 0.57465 | 0.394 | 0.42767 | 0.0040415 | 0.033667
2004-05-0013 | 2004-05-0013 | 2 | 400.882 | 401.013 | 1.463 | 0.1315 | 1.28 | 1.424 | 0.0028284 | 0.144
2004-05-0013 | 2004-05-0013 | 3 | 301.349 | 301.988 | 2.0125 | 0.63901 | 2.234 | 2.4953 | 0.027006 | 0.26133
2004-05-0013 | 2004-05-0013 | 2 | 249.591 | 250.997 | 1.3838 | 1.4055 | 2.775 | 3.0035 | 0.03182 | 0.2285
2004-05-0013 | 2004-05-0013 | 3 | 201.248 | 200.929 | 1.8916 | -0.31866 | 3.36 | 2.919 | 0.091831 | -0.441
2004-05-0013 | 2004-05-0013 | 0 | 175.993 | 0 | 0 | -175.993 | 3.882 | 0 | 0 | -3.882
2004-05-0013 | 2004-05-0013 | 2 | 150.926 | 150.991 | 1.4248 | 0.065491 | 3.641 | 3.3555 | 0.017678 | -0.2855
2004-05-0013 | 2004-05-0013 | 3 | 126.898 | 126.993 | 1.9856 | 0.094665 | 3.837 | 3.671 | 0.066776 | -0.166
2004-05-0013 | 2004-05-0013 | 4 | 101.336 | 100.738 | 1.7312 | -0.598 | 4.296 | 4.3775 | 0.043147 | 0.0815
2004-05-0013 | 2004-05-0013 | 4 | 76.236 | 76.2598 | 2.2259 | 0.02375 | 6.545 | 6.6898 | 0.13928 | 0.14475
2004-05-0013 | 2004-05-0013 | 4 | 50.683 | 50.513 | 1.3013 | -0.17 | 6.749 | 6.7903 | 0.0042721 | 0.04125
2004-05-0013 | 2004-05-0013 | 2 | 24.5 | 23.015 | 1.4213 | -1.485 | 6.715 | 6.7585 | 0.0049497 | 0.0435
2004-05-0013 | 2004-05-0013 | 4 | 11.763 | 10.497 | 1.2862 | -1.266 | 6.719 | 6.7668 | 0.0045734 | 0.047751
2004-05-0013 | 2004-05-0013 | 1 | 5.323 | 8.018 | 0 | 2.695 | 6.725 | 6.772 | 0 | 0.047
2004-05-0018 | 2004-05-0018 | 1 | 3200.43 | 3202.87 | 0 | 2.447 | 2.484 | 2.232 | 0 | -0.252
2004-05-0018 | 2004-05-0018 | 0 | 3000.14 | 0 | 0 | -3000.14 | 2.244 | 0 | 0 | -2.244
2004-05-0018 | 2004-05-0018 | 0 | 2500.09 | 0 | 0 | -2500.09 | 1.931 | 0 | 0 | -1.931
2004-05-0018 | 2004-05-0018 | 0 | 1999.18 | 0 | 0 | -1999.18 | 1.405 | 0 | 0 | -1.405
2004-05-0018 | 2004-05-0018 | 0 | 1499.98 | 0 | 0 | -1499.98 | 0.644 | 0 | 0 | -0.644
2004-05-0018 | 2004-05-0018 | 0 | 1501.59 | 0 | 0 | -1501.59 | 0.643 | 0 | 0 | -0.643
2004-05-0018 | 2004-05-0018 | 0 | 1250.68 | 0 | 0 | -1250.68 | 0.338 | 0 | 0 | -0.338
2004-05-0018 | 2004-05-0018 | 3 | 1000.97 | 1000 | 1.9805 | -0.9743 | 0.254 | 0.28567 | 0.00057736 | 0.031667
2004-05-0018 | 2004-05-0018 | 3 | 800.816 | 799.994 | 1.986 | -0.82196 | 0.331 | 0.37733 | 0.0020817 | 0.046333
2004-05-0018 | 2004-05-0018 | 2 | 599.794 | 600.985 | 1.4114 | 1.191 | 0.654 | 0.6405 | 0.0021213 | -0.0135
2004-05-0018 | 2004-05-0018 | 2 | 399.56 | 400.978 | 1.4411 | 1.418 | 1.511 | 1.5135 | 0.013435 | 0.0024999
2004-05-0018 | 2004-05-0018 | 2 | 299.57 | 301.052 | 1.4779 | 1.482 | 2.388 | 2.466 | 0.0084852 | 0.078
2004-05-0018 | 2004-05-0018 | 2 | 249.991 | 251.003 | 1.4298 | 1.012 | 3.142 | 3.2335 | 0.0091924 | 0.0915
2004-05-0018 | 2004-05-0018 | 3 | 200.278 | 200.999 | 1.995 | 0.72066 | 4.178 | 4.4353 | 0.038018 | 0.25733
2004-05-0018 | 2004-05-0018 | 0 | 174.298 | 0 | 0 | -174.298 | 4.532 | 0 | 0 | -4.532
2004-05-0018 | 2004-05-0018 | 3 | 151.632 | 151.992 | 2.0466 | 0.36 | 4.883 | 5.083 | 0.019 | 0.2
2004-05-0018 | 2004-05-0018 | 2 | 125.804 | 126.002 | 1.4383 | 0.198 | 5.172 | 5.339 | 0.024042 | 0.167
2004-05-0018 | 2004-05-0018 | 3 | 99.136 | 99.9843 | 1.0085 | 0.84833 | 6.728 | 6.7773 | 0.0025167 | 0.049333
2004-05-0018 | 2004-05-0018 | 4 | 76.393 | 76.2458 | 2.229 | -0.14725 | 6.736 | 6.787 | 0.0016331 | 0.051
2004-05-0018 | 2004-05-0018 | 4 | 49.932 | 50.4888 | 1.2996 | 0.55675 | 6.75 | 6.7942 | 0.0037749 | 0.04425
2004-05-0018 | 2004-05-0018 | 2 | 24.829 | 22.9965 | 1.4319 | -1.8325 | 6.777 | 6.7995 | 0.014849 | 0.0225
2004-05-0018 | 2004-05-0018 | 5 | 10.145 | 9.9746 | 1.5973 | -0.1704 | 6.776 | 6.8194 | 0.0011403 | 0.0434
2004-05-0018 | 2004-05-0018 | 1 | 5.585 | 7.941 | 0 | 2.356 | 6.789 | 6.82 | 0 | 0.031
2004-05-0025 | 2004-05-0025 | 1 | 3674.55 | 3676.61 | 0 | 2.0671 | 3.102 | 2.679 | 0 | -0.423
2004-05-0025 | 2004-05-0025 | 0 | 3501.17 | 0 | 0 | -3501.17 | 2.758 | 0 | 0 | -2.758
2004-05-0025 | 2004-05-0025 | 0 | 2999.45 | 0 | 0 | -2999.45 | 2.419 | 0 | 0 | -2.419
2004-05-0025 | 2004-05-0025 | 0 | 2498.94 | 0 | 0 | -2498.94 | 1.964 | 0 | 0 | -1.964
2004-05-0025 | 2004-05-0025 | 0 | 2000.87 | 0 | 0 | -2000.87 | 1.347 | 0 | 0 | -1.347
2004-05-0025 | 2004-05-0025 | 0 | 2001.03 | 0 | 0 | -2001.03 | 1.548 | 0 | 0 | -1.548
2004-05-0025 | 2004-05-0025 | 0 | 1501.6 | 0 | 0 | -1501.6 | 0.542 | 0 | 0 | -0.542
2004-05-0025 | 2004-05-0025 | 0 | 1253.11 | 0 | 0 | -1253.11 | 0.302 | 0 | 0 | -0.302
2004-05-0025 | 2004-05-0025 | 2 | 1001.28 | 1001 | 1.4389 | -0.2785 | 0.242 | 0.2865 | 0.0007071 | 0.0445
2004-05-0025 | 2004-05-0025 | 2 | 801.384 | 800.999 | 1.4389 | -0.38544 | 0.326 | 0.4075 | 0.0021213 | 0.0815
2004-05-0025 | 2004-05-0025 | 2 | 600.599 | 601.003 | 1.434 | 0.40405 | 0.671 | 0.7115 | 0.0007071 | 0.0405
2004-05-0025 | 2004-05-0025 | 2 | 400.794 | 401.01 | 1.4213 | 0.216 | 1.466 | 1.526 | 0.0070711 | 0.06
2004-05-0025 | 2004-05-0025 | 2 | 299.167 | 301.011 | 1.4333 | 1.8445 | 1.958 | 1.944 | 0.014142 | -0.014
2004-05-0025 | 2004-05-0025 | 3 | 252.285 | 252.001 | 2.014 | -0.28433 | 2.596 | 2.6443 | 0.0090186 | 0.048333
2004-05-0025 | 2004-05-0025 | 2 | 199.301 | 199.987 | 1.422 | 0.68649 | 3.117 | 3.688 | 0.066468 | 0.571
2004-05-0025 | 2004-05-0025 | 0 | 176.2 | 0 | 0 | -176.2 | 3.952 | 0 | 0 | -3.952
2004-05-0025 | 2004-05-0025 | 2 | 150.82 | 150.959 | 1.4821 | 0.13899 | 5.292 | 5.235 | 0.04384 | -0.057
2004-05-0025 | 2004-05-0025 | 3 | 126.37 | 126.988 | 2.0122 | 0.61833 | 5.726 | 5.7267 | 0.01106 | 0.0006671
2004-05-0025 | 2004-05-0025 | 4 | 100.426 | 100.765 | 1.677 | 0.33925 | 6.503 | 6.1405 | 0.11897 | -0.3625
2004-05-0025 | 2004-05-0025 | 3 | 75.972 | 75.3357 | 1.4911 | -0.63633 | 6.834 | 6.8157 | 0.0040416 | -0.018333
2004-05-0025 | 2004-05-0025 | 4 | 51.668 | 50.4733 | 1.2753 | -1.1947 | 6.847 | 6.869 | 0.0014141 | 0.022
2004-05-0025 | 2004-05-0025 | 1 | 26.469 | 24.032 | 0 | -2.437 | 6.843 | 6.884 | 0 | 0.041
2004-05-0025 | 2004-05-0025 | 5 | 10.665 | 9.9982 | 1.5827 | -0.6668 | 6.851 | 6.8526 | 0.014605 | 0.0016003
2004-05-0025 | 2004-05-0025 | 2 | 5.912 | 6.2075 | 2.5972 | 0.2955 | 6.777 | 6.8675 | 0.0021212 | 0.0905
2004-05-0032 | 2004-05-0032 | 1 | 3999.48 | 4001.9 | 0 | 2.417 | 3.247 | 2.922 | 0 | -0.325
2004-05-0032 | 2004-05-0032 | 0 | 3502.3 | 0 | 0 | -3502.3 | 2.898 | 0 | 0 | -2.898
2004-05-0032 | 2004-05-0032 | 0 | 3501.01 | 0 | 0 | -3501.01 | 2.888 | 0 | 0 | -2.888
2004-05-0032 | 2004-05-0032 | 0 | 3000.97 | 0 | 0 | -3000.97 | 2.534 | 0 | 0 | -2.534
2004-05-0032 | 2004-05-0032 | 0 | 2500.1 | 0 | 0 | -2500.1 | 1.945 | 0 | 0 | -1.945
2004-05-0032 | 2004-05-0032 | 0 | 2000.3 | 0 | 0 | -2000.3 | 1.266 | 0 | 0 | -1.266
2004-05-0032 | 2004-05-0032 | 0 | 1498.56 | 0 | 0 | -1498.56 | 0.553 | 0 | 0 | -0.553
2004-05-0032 | 2004-05-0032 | 0 | 1251.76 | 0 | 0 | -1251.76 | 0.352 | 0 | 0 | -0.352
2004-05-0032 | 2004-05-0032 | 2 | 1001.33 | 1000.86 | 1.6193 | -0.47504 | 0.304 | 0.3245 | 0.0007071 | 0.0205
2004-05-0032 | 2004-05-0032 | 2 | 798.273 | 798.99 | 1.4093 | 0.71649 | 0.364 | 0.406 | 0.0014142 | 0.042
2004-05-0032 | 2004-05-0032 | 2 | 600.711 | 600.904 | 1.5097 | 0.19348 | 0.606 | 0.621 | 0.0014142 | 0.015
2004-05-0032 | 2004-05-0032 | 2 | 399.141 | 401.012 | 1.3555 | 1.8705 | 1.264 | 1.2475 | 0.016264 | -0.0165
2004-05-0032 | 2004-05-0032 | 2 | 299.095 | 300.998 | 1.4079 | 1.9035 | 1.859 | 1.695 | 0.0084853 | -0.164
2004-05-0032 | 2004-05-0032 | 2 | 249.239 | 250.995 | 1.4029 | 1.756 | 2.257 | 2.2065 | 0.012021 | -0.0505
2004-05-0032 | 2004-05-0032 | 2 | 199.341 | 199.979 | 1.4142 | 0.638 | 3.02 | 2.894 | 0.028284 | -0.126
2004-05-0032 | 2004-05-0032 | 0 | 175.572 | 0 | 0 | -175.572 | 3.441 | 0 | 0 | -3.441
2004-05-0032 | 2004-05-0032 | 2 | 149.177 | 151.028 | 1.4397 | 1.851 | 4.312 | 4.042 | 0.0028286 | -0.27
2004-05-0032 | 2004-05-0032 | 2 | 124.453 | 125.978 | 1.4142 | 1.525 | 5.23 | 4.8545 | 0.05869 | -0.3755
2004-05-0032 | 2004-05-0032 | 4 | 101.936 | 100.764 | 1.6866 | -1.1725 | 5.758 | 5.6265 | 0.045822 | -0.1315
2004-05-0032 | 2004-05-0032 | 3 | 75.818 | 75.2943 | 1.5295 | -0.52367 | 6.952 | 6.7353 | 0.024007 | -0.21667
2004-05-0032 | 2004-05-0032 | 4 | 50.066 | 50.5208 | 1.295 | 0.45475 | 6.966 | 6.9088 | 0.0012582 | -0.05725
2004-05-0032 | 2004-05-0032 | 2 | 24.543 | 22.998 | 1.3746 | -1.545 | 6.957 | 6.903 | 0.0070712 | -0.054
2004-05-0032 | 2004-05-0032 | 5 | 9.897 | 9.9782 | 1.6042 | 0.0812 | 6.951 | 6.9032 | 0.00502 | -0.0478
2004-05-0032 | 2004-05-0032 | 2 | 4.116 | 3.181 | 0 | -0.935 | 6.936 | 6.899 | 0 | -0.037
2004-05-0047 | 2004-05-0047 | 0 | 4000.37 | 0 | 0 | -4000.37 | 3.644 | 0 | 0 | -3.644
2004-05-0047 | 2004-05-0047 | 0 | 3501.53 | 0 | 0 | -3501.53 | 2.99 | 0 | 0 | -2.99
2004-05-0047 | 2004-05-0047 | 0 | 3001.69 | 0 | 0 | -3001.69 | 2.578 | 0 | 0 | -2.578
2004-05-0047 | 2004-05-0047 | 0 | 2500.83 | 0 | 0 | -2500.83 | 2.025 | 0 | 0 | -2.025
2004-05-0047 | 2004-05-0047 | 0 | 2501.18 | 0 | 0 | -2501.18 | 2.012 | 0 | 0 | -2.012
2004-05-0047 | 2004-05-0047 | 0 | 2000.99 | 0 | 0 | -2000.99 | 1.381 | 0 | 0 | -1.381
2004-05-0047 | 2004-05-0047 | 0 | 1501.34 | 0 | 0 | -1501.34 | 0.63 | 0 | 0 | -0.63
2004-05-0047 | 2004-05-0047 | 0 | 1250.28 | 0 | 0 | -1250.28 | 0.429 | 0 | 0 | -0.429
2004-05-0047 | 2004-05-0047 | 2 | 1002.85 | 1001 | 1.4241 | -1.855 | 0.429 | 0.427 | 0 | -0.002
2004-05-0047 | 2004-05-0047 | 3 | 799.416 | 799.988 | 2.003 | 0.57166 | 0.479 | 0.47867 | 0.00057736 | -0.00033334
2004-05-0047 | 2004-05-0047 | 3 | 602.617 | 601.992 | 1.9731 | -0.625 | 0.59 | 0.58533 | 0.00057738 | -0.0046666
2004-05-0047 | 2004-05-0047 | 2 | 400.188 | 401.005 | 1.4163 | 0.81653 | 0.84 | 0.825 | 0.0014142 | -0.015
2004-05-0047 | 2004-05-0047 | 1 | 298.565 | 300.001 | 0 | 1.436 | 1.121 | 1.165 | 0 | 0.044
2004-05-0047 | 2004-05-0047 | 2 | 250.406 | 251.027 | 1.4397 | 0.621 | 1.502 | 1.5485 | 0.0035355 | 0.0465
2004-05-0047 | 2004-05-0047 | 3 | 200.921 | 200.991 | 2.004 | 0.070328 | 2.121 | 2.114 | 0.040509 | -0.007
2004-05-0047 | 2004-05-0047 | 0 | 174.735 | 0 | 0 | -174.735 | 2.495 | 0 | 0 | -2.495
2004-05-0047 | 2004-05-0047 | 3 | 152.107 | 151.991 | 1.986 | -0.11566 | 2.945 | 3.2133 | 0.071059 | 0.26833
2004-05-0047 | 2004-05-0047 | 1 | 123.544 | 125.016 | 0 | 1.472 | 4.361 | 4.853 | 0 | 0.492
2004-05-0047 | 2004-05-0047 | 4 | 100.287 | 100.746 | 1.6993 | 0.4595 | 5.961 | 6.512 | 0.15584 | 0.551
2004-05-0047 | 2004-05-0047 | 3 | 74.409 | 75.3123 | 1.5086 | 0.90334 | 7.034 | 6.9787 | 0.0025167 | -0.055333
2004-05-0047 | 2004-05-0047 | 4 | 49.38 | 50.4938 | 1.2904 | 1.1138 | 7.062 | 6.9558 | 0.0022174 | -0.10625
2004-05-0047 | 2004-05-0047 | 2 | 24.787 | 22.989 | 1.4086 | -1.798 | 7.065 | 6.97 | 0.0070709 | -0.095
2004-05-0047 | 2004-05-0047 | 5 | 9.144 | 9.979 | 1.6195 | 0.835 | 7.069 | 7.0118 | 0.0037683 | -0.0572
2004-05-0047 | 2004-05-0047 | 2 | 5.351 | 6.014 | 2.6658 | 0.663 | 7.056 | 7.0225 | 0.0063638 | -0.0335
Create Fit Sheet