File List for SeaBird Data

Cruise Number: _2004-06____

[osapcommon.cruise_data.2004-06.ctd]

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon.cruise_data.2004-06.ctd.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon.cruise_data.2004-06.ctd.derive]

*.cnv - data after running WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon.cruise_data.2004-06.ctd.doc]

2004-06_proc.doc - processing notes

2004-06_file.doc - this document

2004-06-recal.ccf – calibration control file to recalibrate salinity

2004-06_sal.csv – salinity bottle values from analyst

2004-06-sal-comp.xls – CTD and bottle salinity comparison

2004-06-cruise-plan.doc

2004-06 LOG.txt – times and positions from ship log

[osapcommon.cruise_data.2004-06.ctd.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon.cruise_data.2004-06.salinities]

spreadsheet of salinity data from analyst