Cruise 2004-10:  Line P June 2004

CTD/Rosette:

86 casts done, 0002 to 0109

32 ‘real rosette casts’ – 28 IOS casts and 4 UBC casts

27 CTD casts (with 5m Niskin)

27 stand-alone CTD casts.

All the casts were done with CTD 0585 and deck unit 0508; Mid-ship winch.

Casts 0001 to 0034 done with transmissometer S/N: 333DR

Casts 0035 to 0109 done with transmissometer S/N: 498DR

Casts 0007 – 0017 – 0040 – 0056 to 0082 – 0103 to 0109:  PAR on

NOTES:

Transmissometer 333DR spiky in casts prior to change (0035)

Cast 0024: down to 200m, up to 175m, back to 200 to close bottle.

Cast 0026: check .CON file, used 2004-10-0012.CON ??

Cast 0042: forgot to turn pump on, down to 42m, back to surface, then down.

File 0055: no cast, no data, problem with computer.

Cast 0079: forgot to turn pump on, down to 33m, back to surface, then down.

Cast 0090: long time at surface at start, problems with heave comp operator

Cast 0096: 7 bottles closed to test Niskin 5, but only Niskin 1 sampled.

Cast 0102: first and second temp sensors are drifting more and more (±0.04)

Cast 0104: “calibration cast without pump” …

Cast 0109: bottom bottles tripped quickly to get off bottom (steep sides of inlet)

Thermosalinograph files:

0140 4 June UTC: thermosal time is 0124. Start new file 2004-10-0002.hex

0040 8 June UTC: thermosal time is 0027. Start new file 2004-10-0003.hex

1110 13 June UTC: thermosal time is 1100. Start new file 2004-10-0004.hex