File List for SeaBird Data          Cruise Number: _2004-10___  Revised Sept. 29,2004_

[osapcommon\cruise_data\2004-10\adcp]

[osapcommon\cruise_data\2004-10\ctd\convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon\cruise_data\2004-10\ctd files]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon\cruise_data\2004-10\ctd files\derive]

*.cnv - data after ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon\cruise_data\ctd\2004-10\ctdfiles\doc]

2004-10_proc.doc - processing notes

2004-10_file.doc - this document

2004-10-headercomments.txt– header files used to add comments to the headers of the CTD files

2004-10-recal1.ccf – calibration control file for 1st recalibration of DOX & SAL

2004-10-recal2.ccf – calibration control file for 2nd recalibration of DOX

2004-10-recal3.ccf – calibration control file for final recalibration of SAL (Sept. 29,2004)

[osapcommon\cruise_data\2004-10\ctd files\hydro]

*.add – bottle DOX files from analyst, with flags

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.log – log file for 1 BOT file that was edited

*.mrg – merge of sal, add and bottle-averaged rosette files

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted by spreadsheet from analyst

*.sam – bottle files with sample numbers added

addsampl.csv – file containing cast #, bottle number and sample number

2004-10sal.csv – salinity bottle data from analyst

2004-10-dox-comp1.csv & .xls – dissolved oxygen COMPARE files – before recalibration

2004-10-dox-comp2.csv & .xls – dissolved oxygen COMPARE files – after 1st recalibration

2004-10-dox-comp3.csv & .xls – dissolved oxygen COMPARE files – downcast vs bottles

2004-10-dox-comp4.csv & .xls – dissolved oxygen COMPARE files – after 2nd recalibration

2004-10-sal-comp1.csv & .xls - salinity COMPARE files

2004-10-sal-comp2.csv & .xls - salinity COMPARE files after recalibration

2004-10-comp1-sal-FULL.csv & .xls - salinity COMPARE files after finding more sal data

2004-10-comp2-sal-FULL.csv & .xls - salinity COMPARE files after final recalibration of sal

[osapcommon\cruise_data\2004-10\ctdfiles\ios]

*.avg - data after metre-averaging using BINAVE

*.cln – *.ios files with pad values in pressure replaced by interpolation

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2004-10\files]

[osapcommon\cruise_data\2004-10\oxy data] Oxygen bottle files from analyst

[osapcommon\cruise_data\2004-10\sal data] bottle salinity files from analyst

[osapcommon\cruise_data\2004-10\SCS]

[osapcommon\cruise_data\2004-10\TSG Data]