File List for SeaBird Data          Cruise Number: _2004-11____

[osapcommon.cruise_data.2004-11.CTD]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon.cruise_data.2004-11.CTD.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon.cruise_data.2004-11.CTD.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, and DERIVE (for S0, S1)

[osapcommon.cruise_data.2004-11.CTD.doc]

2004-11_proc.doc - processing notes

2004-11_file.doc - this document

2004-11-hdr.txt– header files used to add comments to the headers of the CTD files

2004-11-hdr-bot.txt – header file to enter comments to the bottle files

2004-11-recal1.ccf – calibration control file for recalibration of DOX

[osapcommon.cruise_data.2004-11.CTD.hydro]

*.add – oxygen calibration data with flags –with a few corrections to data provided by analyst

*.bot  - files created by converting *.ros files to IOS HEADERS

*.che – final bottle-averaged rosette files merged with chemistry data

*.mrg3 – merge of sal, add and bottle-averaged rosette files

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted by spreadsheet from analyst

*.sam – bottle files with sample numbers added

addsamp.csv – file containing cast #, bottle number and sample number

2004-11sal-ed.csv – edited spreadsheet with comments, event #s and flags

2004-11-sal-comp1.csv & .xls - salinity COMPARE files

2004-11-dox-comp1.csv & .xls – dissolved oxygen COMPARE files – before recalibration

2004-11-dox-comp2.csv & .xls – dissolved oxygen COMPARE files – after 1st recalibration

2004-11-dox-comp3.csv & .xls – dissolved oxygen COMPARE files – downcast vs bottles

[osapcommon.cruise_data.2004-11.CTD.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE ( downcasts for all but cast #70 which is upcast data)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon.cruise_data.2004-11Nav Data]

[osapcommon.cruise_data.2004-11 OXYGEN DATA]	files from analyst

[osapcommon.cruise_data.2004-11.Salinity]	spreadsheet from analyst