File List for SeaBird Data

Cruise Number: _2004-18____

[osapcommon\cruise_data\2004-18\]

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon\cruise_data\2004-18\convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon\cruise_data\2004-18\derive]

*.cnv - data after running WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon\cruise_data\2004-18\doc]

2004-18_proc.doc - processing notes

2004-18_file.doc - this document

2004-18-header.txt– header files used to add comments to the headers of the CTD files

2004-18-recal.ccf – calibration control file to recalibrate primary temperature and salinity

[osapcommon\cruise_data\2004-18\hydro]

*.sal – bottle files converted from spreadsheet from analyst

2004-18-sal-comp.xls – comparison between bottle files and CTD data

[osapcommon\cruise_data\2004-18\ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2004-18\salinities]  files from analyst