File List for SeaBird Data          Cruise Number: _2004-20____

[osapcommon\cruise_data\2004-20\ctd files]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon\cruise_data\2004-20\ctd\convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon\cruise_data\2004-20\ctd\derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon\cruise_data\ctd\2004-20\ctd\doc]

2004-20-recal1.ccf – calibration control file for recalibration of SAL

2004-20-SBE25-recal.ccf – calibration control file for recalibration of T and S in SBE25 data

2004-20-0008CAL_STUDY.xls – comparison of pre-cruise and post-cruise calibration

2004-20 joe.xls – loop data from F. Whitney

SBE25 loop.xls – comparison of loop samples with SBE25 salinity

SBE25 loop_calibrations.xls – comparison of SBE25 salinity with loop bottles, rosette bottles,

and SBE911+ salinity

Deep bottle study.xls – study of multiple bottles fired at one level, cast #43

SBE25-rosette bot.xls – comparison of rosette samples with SBE25 salinity

2004-20_proc.doc - processing notes

2004-20_file.doc - this document

2004-20-bot-hdr.txt & 2004-20-bot-hdr-sec.txt– header file comments used for CHE files

2004-20-hdr.txt and 1004-20-hdr-sec.txt – header file comments used for CTD downcast files

2004-20-therm-hdr.txt – header file comments for SBE25 file

[osapcommon\cruise_data\2004-20\ctd\hydro]

*.addnew – bottle from analyst, converted, edited, with flags

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.mrg2 – merge of sal, add and bottle-averaged rosette files

*.nuts – nutrient data converted by spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal1 – salinity files converted by spreadsheet

*.sam – bottle files with sample numbers added

addsamp.csv – file containing cast #, bottle number and sample number

sal*.csv – edited files from analyst

2004-20-sal-comp1.xls – initial salinity COMPARE file

2004-20-sal-comp2.csv & .xls - salinity COMPARE files after recalibration of T and S

2004-20 ch-fl-comp.xls – comparison of fluorescence and titrated chlorophyll

2004-20-sal-pri-sec-comp.xls – comparison of two CTD salinity channels

[osapcommon\cruise_data\2004-20\ctd\ios]

*.avg - data after metre-averaging using BINAVE

*.cln – *.ios files with pad values in pressure replaced by interpolation

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2004-20\Nutrients] Files from analyst and edited versions from processor

[osapcommon\cruise_data\2004-20\other files] ??

[osapcommon\cruise_data\2004-20\oxygen files] Original oxygen bottle files from analyst

[osapcommon\cruise_data\2004-20\salinity files] Original bottle salinity files from analyst

[osapcommon\cruise_data\2004-20\SCS]

[osapcommon\cruise_data\2004-20\TSG Data] files from sea?

[osapcommon\cruise_data\2004-20\TSG Data\processed by Marie] – data from SBE25 with time & position added

[osapcommon\cruise_data\2004-20\TSG Data\Therm]

*.cor1 –atc file after CLEAN and CALIBRATE

*.csv – Marie’s files converted to csv format

*.edt – files after conversion ,cleaning, time channels added and edited, as needed

*.ios – files after conversion from CSV to IOS headers

*.jn1 – one file from joining the individual EDT files

*.log – editing file

*.tob – final data file after REMOVE and HEAD EDIT