## File List
Number of Files= |  | 19
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2004-22-0007 | 2004-22-0007 | 12 | 15 | 2004-22-0007 & 2004-22-0007
2 | 2004-22-0012 | 2004-22-0012 | 17 | 19 | 2004-22-0012 & 2004-22-0012
3 | 2004-22-0014 | 2004-22-0014 | 21 | 22 | 2004-22-0014 & 2004-22-0014
4 | 2004-22-0017 | 2004-22-0017 | 24 | 26 | 2004-22-0017 & 2004-22-0017
5 | 2004-22-0019 | 2004-22-0019 | 28 | 30 | 2004-22-0019 & 2004-22-0019
6 | 2004-22-0021 | 2004-22-0021 | 32 | 34 | 2004-22-0021 & 2004-22-0021
7 | 2004-22-0022 | 2004-22-0022 | 36 | 37 | 2004-22-0022 & 2004-22-0022
8 | 2004-22-0024 | 2004-22-0024 | 39 | 41 | 2004-22-0024 & 2004-22-0024
9 | 2004-22-0033 | 2004-22-0033 | 43 | 43 | 2004-22-0033 & 2004-22-0033
10 | 2004-22-0038 | 2004-22-0038 | 45 | 45 | 2004-22-0038 & 2004-22-0038
11 | 2004-22-0047 | 2004-22-0047 | 47 | 48 | 2004-22-0047 & 2004-22-0047
12 | 2004-22-0062 | 2004-22-0062 | 50 | 50 | 2004-22-0062 & 2004-22-0062
13 | 2004-22-0065 | 2004-22-0065 | 52 | 52 | 2004-22-0065 & 2004-22-0065
14 | 2004-22-0068 | 2004-22-0068 | 54 | 55 | 2004-22-0068 & 2004-22-0068
15 | 2004-22-0070 | 2004-22-0070 | 57 | 58 | 2004-22-0070 & 2004-22-0070
16 | 2004-22-0073 | 2004-22-0073 | 60 | 62 | 2004-22-0073 & 2004-22-0073
17 | 2004-22-0074 | 2004-22-0074 | 64 | 65 | 2004-22-0074 & 2004-22-0074
18 | 2004-22-0078 | 2004-22-0078 | 67 | 68 | 2004-22-0078 & 2004-22-0078
19 | 2004-22-0080 | 2004-22-0080 | 70 | 70 | 2004-22-0080 & 2004-22-0080

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00018487 |  | X | CALC Y
m= | -3.4345e-08 | 4.8608e-07 |  | Std Dev of Resid |  | 0.0017322 |  | 500.988 | -0.00044559
b= | -0.00042839 | 0.00087543 |  | Resid Sum of Squares |  | 8.101e-05 |  | 2605.76 | -0.00051788
# of Values Extracted = |  |  | 41
# of Values Used in Fit = |  |  | 29
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 1997.92 | 34.5852 | 0.00027849 | -0.0036392 | -0.000497 | 0.0031422 |  | 1997.92 | -0.0036392
1 | YES | 1751.95 | 34.5516 | 0.00031365 | -0.00070572 | -0.00048856 | 0.00021716 |  | 1751.95 | -0.00070572
1 | YES | 1501.3 | 34.5027 | 0.00027242 | 0.0002327 | -0.00047995 | -0.00071264 |  | 1501.3 | 0.0002327
1 | NO | 12.5733 | 32.3049 | 0.0019712 | 0.0085373 | -0.00042882 | -0.0089661 |  | 1999.41 | -0.0038338
2 | YES | 1999.41 | 34.588 | 0.0002924 | -0.0038338 | -0.00049705 | 0.0033367 |  | 1753.19 | -0.00012589
2 | YES | 1753.19 | 34.552 | 0.00024051 | -0.00012589 | -0.0004886 | -0.00036271 |  | 1501.61 | -0.0025406
2 | YES | 1501.61 | 34.5022 | 0.00025976 | -0.0025406 | -0.00047996 | 0.0020606 |  | 2003.16 | -0.0020332
3 | YES | 2003.16 | 34.5847 | 0.0002947 | -0.0020332 | -0.00049718 | 0.001536 |  | 1753.52 | 0.00046539
3 | YES | 1753.52 | 34.5542 | 0.00027214 | 0.00046539 | -0.00048861 | -0.000954 |  | 2605.76 | -0.0014267
4 | YES | 2605.76 | 34.6343 | 0.00030474 | -0.0014267 | -0.00051788 | 0.00090882 |  | 2551.44 | -0.00041962
4 | YES | 2551.44 | 34.6339 | 0.00025802 | -0.00041962 | -0.00051601 | -9.6397e-05 |  | 2450.23 | -0.001358
4 | YES | 2450.23 | 34.6311 | 0.00025527 | -0.001358 | -0.00051254 | 0.00084549 |  | 2500.07 | -0.0019646
5 | YES | 2500.07 | 34.6334 | 0.00026858 | -0.0019646 | -0.00051425 | 0.0014503 |  | 2251.57 | 0.0026512
5 | YES | 2251.57 | 34.6188 | 0.00030233 | 0.0026512 | -0.00050571 | -0.0031569 |  | 2001.84 | -0.00049591
5 | YES | 2001.84 | 34.5925 | 0.00024261 | -0.00049591 | -0.00049714 | -1.2269e-06 |  | 2552.01 | -0.0005188
6 | YES | 2552.01 | 34.6354 | 0.00028678 | -0.0005188 | -0.00051603 | 2.7658e-06 |  | 2531.91 | 0.0030403
6 | YES | 2531.91 | 34.6351 | 0.00032094 | 0.0030403 | -0.00051534 | -0.0035557 |  | 2511.69 | -0.00017548
6 | YES | 2511.69 | 34.6351 | 0.0002677 | -0.00017548 | -0.00051465 | -0.00033917 |  | 1483.86 | -0.00069046
7 | YES | 1483.86 | 34.498 | 0.00029832 | -0.00069046 | -0.00047935 | 0.00021111 |  | 1001.47 | 0.0010643
7 | YES | 1001.47 | 34.3823 | 0.00027283 | 0.0010643 | -0.00046278 | -0.0015271 |  | 595.509 | -0.00038528
8 | YES | 595.509 | 34.1473 | 0.00025361 | -0.00038528 | -0.00044884 | -6.3554e-05 |  | 500.988 | 2.6703e-05
8 | YES | 500.988 | 34.0823 | 0.00028526 | 2.6703e-05 | -0.00044559 | -0.00047229 |  | 510.659 | -0.002224
8 | NO | 401.067 | 34.0557 | 0.00025375 | 0.00052643 | -0.00044216 | -0.00096859 |  | 1179.82 | 0.0034752
9 | NO | 105.062 | 33.0112 | 0.00037142 | 0.0048904 | -0.00043199 | -0.0053224 |  | 999.822 | -0.00057983
10 | NO | 228.969 | 32.9343 | 0.00028598 | -0.0044594 | -0.00043625 | 0.0040231 |  | 1676.26 | 0.00067139
11 | NO | 185.023 | 32.8843 | 0.00065706 | -0.013084 | -0.00043474 | 0.01265 |  | 1498.89 | 0.00072098
11 | NO | 149.88 | 32.8324 | 0.0006213 | -0.0086441 | -0.00043353 | 0.0082106 |  | 1251.27 | -0.0011673
12 | NO | 100.091 | 33.775 | 0.00034125 | -0.0034981 | -0.00043182 | 0.0030663 |  | 910.297 | -0.00091934
13 | NO | 148.264 | 33.9185 | 0.00024118 | -0.0029717 | -0.00043348 | 0.0025382 |  | 748.508 | -0.001236
14 | YES | 510.659 | 34.0814 | 0.00043074 | -0.002224 | -0.00044592 | 0.001778
14 | NO | 401.082 | 34.0431 | 0.00025693 | -0.0012207 | -0.00044216 | 0.00077854
15 | YES | 1179.82 | 34.4186 | 0.0005908 | 0.0034752 | -0.00046891 | -0.0039441
15 | YES | 999.822 | 34.3729 | 0.00025229 | -0.00057983 | -0.00046272 | 0.00011711
16 | YES | 1676.26 | 34.5439 | 0.0002583 | 0.00067139 | -0.00048596 | -0.0011573
16 | YES | 1498.89 | 34.5134 | 0.00025724 | 0.00072098 | -0.00047986 | -0.0012008
16 | YES | 1251.27 | 34.4616 | 0.00027169 | -0.0011673 | -0.00047136 | 0.00069594
17 | YES | 910.297 | 34.3375 | 0.00065187 | -0.00091934 | -0.00045965 | 0.00045969
17 | YES | 748.508 | 34.2518 | 0.00025146 | -0.001236 | -0.00045409 | 0.00078187
18 | NO | 110.046 | 33.8097 | 0.00066185 | -3.0518e-05 | -0.00043216 | -0.00040165
18 | NO | 100.116 | 33.7927 | 0.00075409 | -0.0063057 | -0.00043182 | 0.0058739
19 | NO | 149.68 | 33.8504 | 0.00040505 | 0.00093842 | -0.00043353 | -0.0013719
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.055546 |  | X | CALC Y
m= | -9.0466e-07 | 7.1791e-07 |  | Std Dev of Resid |  | 0.0025583 |  | 500.988 | 0.0012206
b= | 0.0016738 | 0.001293 |  | Resid Sum of Squares |  | 0.00017671 |  | 2605.76 | -0.00068348
# of Values Extracted = |  |  | 41
# of Values Used in Fit = |  |  | 29
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 1997.92 | 34.5836 | 0.0015029 | -0.0051651 | -0.0001336 | 0.0050315 |  | 1997.92 | -0.0051651
1 | YES | 1751.95 | 34.5494 | 0.001231 | -0.0028534 | 8.8923e-05 | 0.0029423 |  | 1751.95 | -0.0028534
1 | YES | 1501.3 | 34.5003 | 0.0015032 | -0.002224 | 0.00031568 | 0.0025396 |  | 1501.3 | -0.002224
1 | NO | 12.5733 | 32.2927 | 0.0033685 | -0.0037079 | 0.0016625 | 0.0053704 |  | 1999.41 | -0.0046806
2 | YES | 1999.41 | 34.5871 | 0.0013211 | -0.0046806 | -0.00013494 | 0.0045457 |  | 1753.19 | -0.0014801
2 | YES | 1753.19 | 34.5506 | 0.0013778 | -0.0014801 | 8.7801e-05 | 0.0015679 |  | 1501.61 | -0.003933
2 | YES | 1501.61 | 34.5008 | 0.001483 | -0.003933 | 0.0003154 | 0.0042483 |  | 2003.16 | -0.0029602
3 | YES | 2003.16 | 34.5837 | 0.0015189 | -0.0029602 | -0.00013834 | 0.0028219 |  | 1753.52 | -0.0008316
3 | YES | 1753.52 | 34.5529 | 0.0014176 | -0.0008316 | 8.7503e-05 | 0.00091911 |  | 2605.76 | -0.00037766
4 | YES | 2605.76 | 34.6353 | 0.0015126 | -0.00037766 | -0.00068348 | -0.00030583 |  | 2551.44 | 0.00047684
4 | YES | 2551.44 | 34.6348 | 0.0013874 | 0.00047684 | -0.00063434 | -0.0011112 |  | 2450.23 | -0.00057983
4 | YES | 2450.23 | 34.6319 | 0.00096471 | -0.00057983 | -0.00054278 | 3.7052e-05 |  | 2500.07 | -0.00092697
5 | YES | 2500.07 | 34.6345 | 0.0010684 | -0.00092697 | -0.00058787 | 0.0003391 |  | 2251.57 | 0.0034523
5 | YES | 2251.57 | 34.6196 | 0.00097907 | 0.0034523 | -0.00036306 | -0.0038154 |  | 2001.84 | 0.00021362
5 | YES | 2001.84 | 34.5932 | 0.0011211 | 0.00021362 | -0.00013714 | -0.00035077 |  | 2552.01 | 0.00027084
6 | YES | 2552.01 | 34.6362 | 0.0014852 | 0.00027084 | -0.00063486 | -0.0009057 |  | 2531.91 | 0.0039902
6 | YES | 2531.91 | 34.6361 | 0.0013113 | 0.0039902 | -0.00061667 | -0.0046068 |  | 2511.69 | 0.00063705
6 | YES | 2511.69 | 34.6359 | 0.0012831 | 0.00063705 | -0.00059838 | -0.0012354 |  | 1483.86 | 0.00025559
7 | YES | 1483.86 | 34.499 | 0.0014876 | 0.00025559 | 0.00033145 | 7.5868e-05 |  | 1001.47 | 0.0010338
7 | YES | 1001.47 | 34.3822 | 0.0012788 | 0.0010338 | 0.00076785 | -0.00026593 |  | 595.509 | 0.0023041
8 | YES | 595.509 | 34.15 | 0.0012039 | 0.0023041 | 0.0011351 | -0.001169 |  | 500.988 | 0.0016327
8 | YES | 500.988 | 34.0839 | 0.00081025 | 0.0016327 | 0.0012206 | -0.00041207 |  | 510.659 | 0.00085449
8 | NO | 401.067 | 34.0567 | 0.0014439 | 0.0014915 | 0.001311 | -0.00018054 |  | 1179.82 | 0.0060615
9 | NO | 105.062 | 33.0156 | 0.0014684 | 0.009346 | 0.0015788 | -0.0077672 |  | 999.822 | 0.00081253
10 | NO | 228.969 | 32.9376 | 0.00096983 | -0.0011635 | 0.0014667 | 0.0026302 |  | 1676.26 | 0.0028725
11 | NO | 185.023 | 32.8903 | 0.0020203 | -0.0070877 | 0.0015065 | 0.0085942 |  | 1498.89 | 0.0021439
11 | NO | 149.88 | 32.8344 | 0.0013684 | -0.0066109 | 0.0015382 | 0.0081491 |  | 1251.27 | -0.00029373
12 | NO | 100.091 | 33.777 | 0.0014868 | -0.0015068 | 0.0015833 | 0.0030901 |  | 910.297 | 0.0027733
13 | NO | 148.264 | 33.9228 | 0.0010384 | 0.0013428 | 0.0015397 | 0.00019694 |  | 748.508 | 0.0011177
14 | YES | 510.659 | 34.0845 | 0.0013106 | 0.00085449 | 0.0012119 | 0.00035738
14 | NO | 401.082 | 34.045 | 0.0013754 | 0.00070572 | 0.001311 | 0.00060528
15 | YES | 1179.82 | 34.4212 | 0.0015986 | 0.0060615 | 0.00060651 | -0.005455
15 | YES | 999.822 | 34.3743 | 0.0015039 | 0.00081253 | 0.00076934 | -4.3189e-05
16 | YES | 1676.26 | 34.5461 | 0.0014669 | 0.0028725 | 0.0001574 | -0.0027151
16 | YES | 1498.89 | 34.5148 | 0.0013672 | 0.0021439 | 0.00031786 | -0.001826
16 | YES | 1251.27 | 34.4625 | 0.0015063 | -0.00029373 | 0.00054187 | 0.0008356
17 | YES | 910.297 | 34.3412 | 0.0013928 | 0.0027733 | 0.00085033 | -0.0019229
17 | YES | 748.508 | 34.2541 | 0.0014134 | 0.0011177 | 0.0009967 | -0.00012101
18 | NO | 110.046 | 33.8155 | 0.00092473 | 0.0057602 | 0.0015743 | -0.0041859
18 | NO | 100.116 | 33.7973 | 0.0016471 | -0.0017052 | 0.0015833 | 0.0032884
19 | NO | 149.68 | 33.8538 | 0.0014645 | 0.0043221 | 0.0015384 | -0.0027836
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2004-22-0007 | 2004-22-0007 | 50 | 1997.88 | 1997.92 | 0.6138 | 0.03833 | 34.5888 | 34.5852 | 0.00027849 | -0.0036392 | 34.5888 | 34.5836 | 0.0015029 | -0.0051651
2004-22-0007 | 2004-22-0007 | 121 | 1751.94 | 1751.95 | 0.20571 | 0.00012207 | 34.5523 | 34.5516 | 0.00031365 | -0.00070572 | 34.5523 | 34.5494 | 0.001231 | -0.0028534
2004-22-0007 | 2004-22-0007 | 121 | 1501.3 | 1501.3 | 0.19671 | 0.00036621 | 34.5025 | 34.5027 | 0.00027242 | 0.0002327 | 34.5025 | 34.5003 | 0.0015032 | -0.002224
2004-22-0007 | 2004-22-0007 | 103 | 12.776 | 12.5733 | 0.53169 | -0.2027 | 32.2964 | 32.3049 | 0.0019712 | 0.0085373 | 32.2964 | 32.2927 | 0.0033685 | -0.0037079
2004-22-0012 | 2004-22-0012 | 98 | 1999.7 | 1999.41 | 0.56129 | -0.28638 | 34.5918 | 34.588 | 0.0002924 | -0.0038338 | 34.5918 | 34.5871 | 0.0013211 | -0.0046806
2004-22-0012 | 2004-22-0012 | 117 | 1753.23 | 1753.19 | 0.50769 | -0.0354 | 34.5521 | 34.552 | 0.00024051 | -0.00012589 | 34.5521 | 34.5506 | 0.0013778 | -0.0014801
2004-22-0012 | 2004-22-0012 | 121 | 1501.61 | 1501.61 | 0.30949 | 0 | 34.5047 | 34.5022 | 0.00025976 | -0.0025406 | 34.5047 | 34.5008 | 0.001483 | -0.003933
2004-22-0014 | 2004-22-0014 | 99 | 2002.92 | 2003.16 | 0.57381 | 0.24524 | 34.5867 | 34.5847 | 0.0002947 | -0.0020332 | 34.5867 | 34.5837 | 0.0015189 | -0.0029602
2004-22-0014 | 2004-22-0014 | 121 | 1753.52 | 1753.52 | 0.15379 | 0.00048828 | 34.5537 | 34.5542 | 0.00027214 | 0.00046539 | 34.5537 | 34.5529 | 0.0014176 | -0.0008316
2004-22-0017 | 2004-22-0017 | 121 | 2605.76 | 2605.76 | 0.29894 | 0.00024414 | 34.6357 | 34.6343 | 0.00030474 | -0.0014267 | 34.6357 | 34.6353 | 0.0015126 | -0.00037766
2004-22-0017 | 2004-22-0017 | 121 | 2551.44 | 2551.44 | 0.12634 | -0.00024414 | 34.6343 | 34.6339 | 0.00025802 | -0.00041962 | 34.6343 | 34.6348 | 0.0013874 | 0.00047684
2004-22-0017 | 2004-22-0017 | 121 | 2450.23 | 2450.23 | 0.065153 | 0 | 34.6325 | 34.6311 | 0.00025527 | -0.001358 | 34.6325 | 34.6319 | 0.00096471 | -0.00057983
2004-22-0019 | 2004-22-0019 | 121 | 2500.07 | 2500.07 | 0.37826 | 0 | 34.6354 | 34.6334 | 0.00026858 | -0.0019646 | 34.6354 | 34.6345 | 0.0010684 | -0.00092697
2004-22-0019 | 2004-22-0019 | 121 | 2251.57 | 2251.57 | 0.13685 | 0.00048828 | 34.6161 | 34.6188 | 0.00030233 | 0.0026512 | 34.6161 | 34.6196 | 0.00097907 | 0.0034523
2004-22-0019 | 2004-22-0019 | 121 | 2001.84 | 2001.84 | 0.066028 | -0.00024414 | 34.593 | 34.5925 | 0.00024261 | -0.00049591 | 34.593 | 34.5932 | 0.0011211 | 0.00021362
2004-22-0021 | 2004-22-0021 | 121 | 2552.01 | 2552.01 | 0.2227 | -0.00024414 | 34.6359 | 34.6354 | 0.00028678 | -0.0005188 | 34.6359 | 34.6362 | 0.0014852 | 0.00027084
2004-22-0021 | 2004-22-0021 | 121 | 2531.91 | 2531.91 | 0.18443 | 0.00048828 | 34.6321 | 34.6351 | 0.00032094 | 0.0030403 | 34.6321 | 34.6361 | 0.0013113 | 0.0039902
2004-22-0021 | 2004-22-0021 | 121 | 2511.69 | 2511.69 | 0.18606 | 0 | 34.6353 | 34.6351 | 0.0002677 | -0.00017548 | 34.6353 | 34.6359 | 0.0012831 | 0.00063705
2004-22-0022 | 2004-22-0022 | 121 | 1483.86 | 1483.86 | 0.08392 | -0.00036621 | 34.4987 | 34.498 | 0.00029832 | -0.00069046 | 34.4987 | 34.499 | 0.0014876 | 0.00025559
2004-22-0022 | 2004-22-0022 | 121 | 1001.47 | 1001.47 | 0.25823 | -0.00012207 | 34.3812 | 34.3823 | 0.00027283 | 0.0010643 | 34.3812 | 34.3822 | 0.0012788 | 0.0010338
2004-22-0024 | 2004-22-0024 | 121 | 595.509 | 595.509 | 0.11211 | -6.1035e-05 | 34.1477 | 34.1473 | 0.00025361 | -0.00038528 | 34.1477 | 34.15 | 0.0012039 | 0.0023041
2004-22-0024 | 2004-22-0024 | 121 | 500.988 | 500.988 | 0.13655 | -0.00045776 | 34.0823 | 34.0823 | 0.00028526 | 2.6703e-05 | 34.0823 | 34.0839 | 0.00081025 | 0.0016327
2004-22-0024 | 2004-22-0024 | 121 | 401.067 | 401.067 | 0.077327 | -0.00042725 | 34.0552 | 34.0557 | 0.00025375 | 0.00052643 | 34.0552 | 34.0567 | 0.0014439 | 0.0014915
2004-22-0033 | 2004-22-0033 | 121 | 105.062 | 105.062 | 0.25417 | -0.00027466 | 33.0063 | 33.0112 | 0.00037142 | 0.0048904 | 33.0063 | 33.0156 | 0.0014684 | 0.009346
2004-22-0038 | 2004-22-0038 | 121 | 228.969 | 228.969 | 0.025514 | 1.5259e-05 | 32.9388 | 32.9343 | 0.00028598 | -0.0044594 | 32.9388 | 32.9376 | 0.00096983 | -0.0011635
2004-22-0047 | 2004-22-0047 | 121 | 185.023 | 185.023 | 0.021237 | 0.00022888 | 32.8974 | 32.8843 | 0.00065706 | -0.013084 | 32.8974 | 32.8903 | 0.0020203 | -0.0070877
2004-22-0047 | 2004-22-0047 | 121 | 149.88 | 149.88 | 0.024129 | -3.0518e-05 | 32.841 | 32.8324 | 0.0006213 | -0.0086441 | 32.841 | 32.8344 | 0.0013684 | -0.0066109
2004-22-0062 | 2004-22-0062 | 121 | 100.091 | 100.091 | 0.3844 | 0.00025177 | 33.7785 | 33.775 | 0.00034125 | -0.0034981 | 33.7785 | 33.777 | 0.0014868 | -0.0015068
2004-22-0065 | 2004-22-0065 | 121 | 148.264 | 148.264 | 0.10624 | 0.00041199 | 33.9215 | 33.9185 | 0.00024118 | -0.0029717 | 33.9215 | 33.9228 | 0.0010384 | 0.0013428
2004-22-0068 | 2004-22-0068 | 121 | 510.659 | 510.659 | 0.088037 | 0.00030518 | 34.0836 | 34.0814 | 0.00043074 | -0.002224 | 34.0836 | 34.0845 | 0.0013106 | 0.00085449
2004-22-0068 | 2004-22-0068 | 121 | 401.082 | 401.082 | 0.079506 | -0.00039673 | 34.0443 | 34.0431 | 0.00025693 | -0.0012207 | 34.0443 | 34.045 | 0.0013754 | 0.00070572
2004-22-0070 | 2004-22-0070 | 121 | 1179.82 | 1179.82 | 0.20717 | -0.00024414 | 34.4151 | 34.4186 | 0.0005908 | 0.0034752 | 34.4151 | 34.4212 | 0.0015986 | 0.0060615
2004-22-0070 | 2004-22-0070 | 121 | 999.822 | 999.822 | 0.11202 | 0.00036621 | 34.3735 | 34.3729 | 0.00025229 | -0.00057983 | 34.3735 | 34.3743 | 0.0015039 | 0.00081253
2004-22-0073 | 2004-22-0073 | 121 | 1676.26 | 1676.26 | 0.203 | -0.00012207 | 34.5432 | 34.5439 | 0.0002583 | 0.00067139 | 34.5432 | 34.5461 | 0.0014669 | 0.0028725
2004-22-0073 | 2004-22-0073 | 121 | 1498.89 | 1498.89 | 0.16891 | -0.00036621 | 34.5127 | 34.5134 | 0.00025724 | 0.00072098 | 34.5127 | 34.5148 | 0.0013672 | 0.0021439
2004-22-0073 | 2004-22-0073 | 121 | 1251.27 | 1251.27 | 0.14696 | -0.00024414 | 34.4628 | 34.4616 | 0.00027169 | -0.0011673 | 34.4628 | 34.4625 | 0.0015063 | -0.00029373
2004-22-0074 | 2004-22-0074 | 121 | 910.297 | 910.297 | 0.078904 | 6.1035e-05 | 34.3384 | 34.3375 | 0.00065187 | -0.00091934 | 34.3384 | 34.3412 | 0.0013928 | 0.0027733
2004-22-0074 | 2004-22-0074 | 121 | 748.508 | 748.508 | 0.21089 | -0.00024414 | 34.253 | 34.2518 | 0.00025146 | -0.001236 | 34.253 | 34.2541 | 0.0014134 | 0.0011177
2004-22-0078 | 2004-22-0078 | 121 | 110.046 | 110.046 | 0.057727 | 8.3923e-05 | 33.8097 | 33.8097 | 0.00066185 | -3.0518e-05 | 33.8097 | 33.8155 | 0.00092473 | 0.0057602
2004-22-0078 | 2004-22-0078 | 121 | 100.116 | 100.116 | 0.042067 | -0.00016022 | 33.799 | 33.7927 | 0.00075409 | -0.0063057 | 33.799 | 33.7973 | 0.0016471 | -0.0017052
2004-22-0080 | 2004-22-0080 | 121 | 149.68 | 149.68 | 0.29456 | -1.5259e-05 | 33.8495 | 33.8504 | 0.00040505 | 0.00093842 | 33.8495 | 33.8538 | 0.0014645 | 0.0043221
Create Fit Sheet