## File List
Number of Files= |  | 22
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2004-24-0002 | 2004-24-0002 | 11 | 15 | 2004-24-0002 & 2004-24-0002
2 | 2004-24-0003 | 2004-24-0003 | 17 | 25 | 2004-24-0003 & 2004-24-0003
3 | 2004-24-0006 | 2004-24-0006 | 27 | 34 | 2004-24-0006 & 2004-24-0006
4 | 2004-24-0008 | 2004-24-0008 | 36 | 41 | 2004-24-0008 & 2004-24-0008
5 | 2004-24-0010 | 2004-24-0010 | 43 | 54 | 2004-24-0010 & 2004-24-0010
6 | 2004-24-0012 | 2004-24-0012 | 56 | 65 | 2004-24-0012 & 2004-24-0012
7 | 2004-24-0014 | 2004-24-0014 | 67 | 74 | 2004-24-0014 & 2004-24-0014
8 | 2004-24-0019 | 2004-24-0019 | 76 | 81 | 2004-24-0019 & 2004-24-0019
9 | 2004-24-0020 | 2004-24-0020 | 83 | 91 | 2004-24-0020 & 2004-24-0020
10 | 2004-24-0022 | 2004-24-0022 | 93 | 100 | 2004-24-0022 & 2004-24-0022
11 | 2004-24-0026 | 2004-24-0026 | 102 | 107 | 2004-24-0026 & 2004-24-0026
12 | 2004-24-0027 | 2004-24-0027 | 109 | 117 | 2004-24-0027 & 2004-24-0027
13 | 2004-24-0029 | 2004-24-0029 | 119 | 129 | 2004-24-0029 & 2004-24-0029
14 | 2004-24-0031 | 2004-24-0031 | 131 | 138 | 2004-24-0031 & 2004-24-0031
15 | 2004-24-0032 | 2004-24-0032 | 140 | 148 | 2004-24-0032 & 2004-24-0032
16 | 2004-24-0034 | 2004-24-0034 | 150 | 157 | 2004-24-0034 & 2004-24-0034
17 | 2004-24-0037 | 2004-24-0037 | 159 | 167 | 2004-24-0037 & 2004-24-0037
18 | 2004-24-0038 | 2004-24-0038 | 169 | 177 | 2004-24-0038 & 2004-24-0038
19 | 2004-24-0039 | 2004-24-0039 | 179 | 189 | 2004-24-0039 & 2004-24-0039
20 | 2004-24-0041 | 2004-24-0041 | 191 | 200 | 2004-24-0041 & 2004-24-0041
21 | 2004-24-0044 | 2004-24-0044 | 202 | 208 | 2004-24-0044 & 2004-24-0044
22 | 2004-24-0045 | 2004-24-0045 | 210 | 220 | 2004-24-0045 & 2004-24-0045

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.06571 |  | X | CALC Y
m= | -0.00018847 | 7.8006e-05 |  | Std Dev of Resid |  | 0.067819 |  | 3.013 | 0.081422
b= | 0.08199 | 0.010495 |  | Resid Sum of Squares |  | 0.38175 |  | 499.993 | -0.012243
# of Values Extracted = |  |  | 189
# of Values Used in Fit = |  |  | 85
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 49.997 | 5.096 | 0 | -0.088 | 0.072567 | 0.16057 |  | 9.5005 | 0.0079999
1 | NO | 28.994 | 5.595 | 0 | 0.335 | 0.076526 | -0.25847 |  | 29.002 | 0.146
1 | NO | 18.994 | 6.206 | 0 | 0.358 | 0.07841 | -0.27959 |  | 18.98 | 0.116
1 | YES | 9.5005 | 6.16 | 0.10889 | 0.0079999 | 0.0802 | 0.0722 |  | 10.501 | 0.1845
1 | NO | 0 | 0 | 0 | -5.945 | 0.08199 | 6.027 |  | 99.961 | -0.035
2 | NO | 0 | 0 | 0 | -2.338 | 0.08199 | 2.42 |  | 63.996 | 0.099
2 | NO | 0 | 0 | 0 | -1.978 | 0.08199 | 2.06 |  | 18.992 | 0.0030003
2 | NO | 149.991 | 2.347 | 0 | 0.244 | 0.053721 | -0.19028 |  | 10.4915 | 0.157
2 | NO | 100 | 3.604 | 0 | 0.254 | 0.063143 | -0.19086 |  | 200.002 | 0.075
2 | NO | 49.991 | 5.365 | 0 | 0.746 | 0.072568 | -0.67343 |  | 200.002 | 0.083
2 | YES | 29.002 | 6.358 | 0 | 0.146 | 0.076524 | -0.069476 |  | 100 | 0.055
2 | YES | 18.98 | 6.425 | 0 | 0.116 | 0.078413 | -0.037587 |  | 50.011 | 0.05
2 | YES | 10.501 | 6.5925 | 0.027577 | 0.1845 | 0.080011 | -0.10449 |  | 9.494 | 0.048
2 | NO | 0 | 0 | 0 | -6.216 | 0.08199 | 6.298 |  | 201.997 | 0.119
3 | NO | 0 | 0 | 0 | -1.33 | 0.08199 | 1.412 |  | 101.994 | 0.078
3 | NO | 1500.01 | 0.205 | 0 | -0.378 | -0.20072 | 0.17728 |  | 50.01 | 0.018
3 | NO | 0 | 0 | 0 | -0.588 | 0.08199 | 0.66999 |  | 21.001 | -0.013
3 | NO | 1003 | 0.107 | 0 | -0.16 | -0.10704 | 0.052955 |  | 10.5075 | -0.037
3 | NO | 0 | 0 | 0 | -0.889 | 0.08199 | 0.97099 |  | 31.249 | -0.027
3 | NO | 0 | 0 | 0 | -2.205 | 0.08199 | 2.287 |  | 198.006 | 0.022
3 | NO | 202.1 | 2.932 | 0 | -0.098 | 0.0439 | 0.1419 |  | 150.003 | 0.132
3 | YES | 99.961 | 3.535 | 0 | -0.035 | 0.06315 | 0.09815 |  | 99.972 | 0.078
4 | YES | 63.996 | 4.696 | 0 | 0.099 | 0.069929 | -0.029071 |  | 30.991 | 0.101
4 | NO | 27.011 | 5.929 | 0 | 0.256 | 0.076899 | -0.1791 |  | 5.005 | -0.011
4 | YES | 18.992 | 6.157 | 0 | 0.0030003 | 0.078411 | 0.07541 |  | 175.256 | 0.09
4 | YES | 10.4915 | 6.491 | 0.022627 | 0.157 | 0.080013 | -0.076987 |  | 150.011 | 0.107
4 | NO | 5.003 | 5.882 | 0 | -0.09 | 0.081047 | 0.17105 |  | 101.994 | 0.03
4 | NO | 0 | 0 | 0 | -5.833 | 0.08199 | 5.915 |  | 10.496 | -0.0275
5 | NO | 1999.75 | 1.431 | 0 | -0.084 | -0.2949 | -0.2109 |  | 51.987 | 0.048
5 | NO | 1500 | 0.229 | 0 | -0.459 | -0.20071 | 0.25829 |  | 31.006 | 0.063
5 | NO | 1000.01 | 0.107 | 0 | -0.14 | -0.10648 | 0.033519 |  | 9.51 | 0.199
5 | NO | 502.014 | 0.295 | 0 | -0.488 | -0.012624 | 0.47538 |  | 4.981 | 0.065
5 | NO | 297.991 | 0.54 | 0 | -0.878 | 0.025828 | 0.90383 |  | 300.017 | 0.042
5 | YES | 200.002 | 2.618 | 0 | 0.075 | 0.044296 | -0.030704 |  | 200.008 | 0.073
5 | YES | 200.002 | 2.618 | 0 | 0.083 | 0.044296 | -0.038704 |  | 100.01 | -0.061
5 | YES | 100 | 3.697 | 0 | 0.055 | 0.063143 | 0.008143 |  | 499.993 | 0.032
5 | YES | 50.011 | 4.606 | 0 | 0.05 | 0.072565 | 0.022565 |  | 299.986 | -0.02
5 | NO | 0 | 0 | 0 | -5.349 | 0.08199 | 5.431 |  | 200.009 | -0.035
5 | YES | 9.494 | 6.269 | 0.082025 | 0.048 | 0.080201 | 0.032201 |  | 100 | -0.0080004
5 | NO | 0 | 0 | 0 | -5.945 | 0.08199 | 6.027 |  | 49.997 | -0.0050001
6 | NO | 946.997 | 0.148 | 0 | -0.231 | -0.09649 | 0.13451 |  | 30.978 | 0.108
6 | NO | 500.005 | 0.356 | 0 | -0.602 | -0.012246 | 0.58975 |  | 199.992 | 0.07
6 | NO | 299.978 | 0.634 | 0 | -1.078 | 0.025453 | 1.1035 |  | 31.007 | 0.028
6 | YES | 201.997 | 2.517 | 0 | 0.119 | 0.04392 | -0.07508 |  | 10.502 | 0.0795
6 | YES | 101.994 | 4.095 | 0 | 0.078 | 0.062767 | -0.015232 |  | 152.007 | 0.089
6 | YES | 50.01 | 5.106 | 0 | 0.018 | 0.072565 | 0.054565 |  | 101.99 | 0.112
6 | NO | 30.991 | 5.308 | 0 | 0.243 | 0.076149 | -0.16685 |  | 76.996 | 0.06
6 | YES | 21.001 | 5.719 | 0 | -0.013 | 0.078032 | 0.091032 |  | 141.012 | 0.011
6 | YES | 10.5075 | 6.105 | 0.0014141 | -0.037 | 0.08001 | 0.11701 |  | 100 | -0.007
6 | NO | 0 | 0 | 0 | -6.202 | 0.08199 | 6.284 |  | 35.986 | 0.186
7 | NO | 0 | 0 | 0 | -2.068 | 0.08199 | 2.15 |  | 20.997 | 0.065
7 | NO | 150.001 | 0.738 | 0 | -1.208 | 0.053719 | 1.2617 |  | 15.016 | -0.0049996
7 | NO | 101.167 | 1.176 | 0.014142 | -1.972 | 0.062923 | 2.0349 |  | 10.4965 | 0.0095
7 | NO | 0 | 0 | 0 | -4.828 | 0.08199 | 4.91 |  | 4.993 | 0.145
7 | NO | 0 | 0 | 0 | -5.333 | 0.08199 | 5.415 |  | 200.004 | -0.0090001
7 | NO | 0 | 0 | 0 | -5.927 | 0.08199 | 6.009 |  | 99.994 | 0.165
7 | NO | 0 | 0 | 0 | -6.399 | 0.08199 | 6.481 |  | 50.005 | 0.073
7 | NO | 0 | 0 | 0 | -6.074 | 0.08199 | 6.156 |  | 6.994 | 0.078
8 | NO | 0 | 0 | 0 | -2.25 | 0.08199 | 2.332 |  | 3.013 | 0.074
8 | NO | 49.988 | 3.617 | 0 | -0.145 | 0.072569 | 0.21757 |  | 362.155 | -0.036
8 | YES | 31.249 | 4.206 | 0 | -0.027 | 0.076101 | 0.1031 |  | 200 | -0.033
8 | NO | 19.001 | 4.64 | 0 | 0.397 | 0.078409 | -0.31859 |  | 100.003 | -0.0059998
8 | NO | 9.5015 | 6.6545 | 0.12374 | -0.1465 | 0.080199 | 0.2267 |  | 50.011 | 0.167
8 | NO | 0 | 0 | 0 | -6.578 | 0.08199 | 6.66 |  | 19.028 | 0.121
9 | YES | 198.006 | 1.867 | 0 | 0.022 | 0.044672 | 0.022672 |  | 7.968 | 0.11467
9 | YES | 150.003 | 2.952 | 0 | 0.132 | 0.053719 | -0.078281 |  | 300.014 | 0.026
9 | YES | 99.972 | 4.432 | 0 | 0.078 | 0.063148 | -0.014852 |  | 200.009 | 0.125
9 | YES | 30.991 | 4.696 | 0 | 0.101 | 0.076149 | -0.024851 |  | 99.993 | 0.06
9 | NO | 15.005 | 6.136 | 0 | 0.547 | 0.079162 | -0.46784 |  | 50 | 0.163
9 | NO | 8.505 | 6.5805 | 0.02192 | -0.1255 | 0.080387 | 0.20589 |  | 28.998 | 0.18
9 | YES | 5.005 | 6.379 | 0 | -0.011 | 0.081047 | 0.092046 |  | 19.005 | 0.073
9 | NO | 2.996 | 6.251 | 0 | -0.074 | 0.081425 | 0.15543 |  | 140.986 | -0.087
9 | NO | 0 | 0 | 0 | -6.38 | 0.08199 | 6.462 |  | 125.001 | 0.085
10 | YES | 175.256 | 2.383 | 0.019799 | 0.09 | 0.04896 | -0.04104 |  | 99.998 | 0.137
10 | YES | 150.011 | 2.772 | 0 | 0.107 | 0.053718 | -0.053282 |  | 14.988 | 0.227
10 | YES | 101.994 | 4.002 | 0 | 0.03 | 0.062767 | 0.032767 |  | 9.5005 | 0.1495
10 | NO | 48.013 | 4.654 | 0 | -0.179 | 0.072941 | 0.25194 |  | 76.988 | 0.122
10 | NO | 30.986 | 5.32 | 0 | 0.247 | 0.07615 | -0.17085 |  | 49.992 | 0.119
10 | NO | 18.993 | 6.288 | 0 | 0.253 | 0.07841 | -0.17459 |  | 8.322 | -0.0063333
10 | YES | 10.496 | 6.8095 | 0.089803 | -0.0275 | 0.080012 | 0.10751 |  | 220.002 | 0.031
10 | NO | 0 | 0 | 0 | -6.41 | 0.08199 | 6.492 |  | 200.013 | 0.037
11 | YES | 51.987 | 5.027 | 0 | 0.048 | 0.072192 | 0.024192 |  | 174.996 | 0.044
11 | YES | 31.006 | 5.453 | 0 | 0.063 | 0.076146 | 0.013146 |  | 149.997 | 0.09
11 | NO | 0 | 0 | 0 | -6.102 | 0.08199 | 6.184 |  | 100.001 | -0.052
11 | YES | 9.51 | 6.173 | 0.070711 | 0.199 | 0.080198 | -0.1188 |  | 49.994 | 0.207
11 | YES | 4.981 | 5.98 | 0 | 0.065 | 0.081051 | 0.016051
11 | NO | 0 | 0 | 0 | -5.857 | 0.08199 | 5.939 |  |  | 0.063904
12 | NO | 2500 | 2.056 | 0 | -0.2 | -0.38918 | -0.18918
12 | NO | 2500 | 2.056 | 0 | -0.07 | -0.38918 | -0.31918
12 | NO | 0 | 0 | 0 | -1.343 | 0.08199 | 1.425
12 | NO | 0 | 0 | 0 | -0.628 | 0.08199 | 0.70999
12 | NO | 999.987 | 0.281 | 0 | -0.005 | -0.10648 | -0.10148
12 | NO | 499.993 | 0.83 | 0 | 0.061 | -0.012243 | -0.073243
12 | YES | 300.017 | 1.888 | 0 | 0.042 | 0.025446 | -0.016554
12 | YES | 200.008 | 3.317 | 0 | 0.073 | 0.044295 | -0.028705
12 | YES | 100.01 | 4.191 | 0 | -0.061 | 0.063141 | 0.12414
13 | NO | 1420.5 | 0.642 | 0 | -0.091 | -0.18573 | -0.094731
13 | NO | 999.982 | 0.32 | 0 | 0.002 | -0.10648 | -0.10848
13 | YES | 499.993 | 0.828 | 0 | 0.032 | -0.012243 | -0.044243
13 | YES | 299.986 | 1.616 | 0 | -0.02 | 0.025452 | 0.045452
13 | YES | 200.009 | 2.131 | 0 | -0.035 | 0.044294 | 0.079294
13 | YES | 100 | 4.99 | 0 | -0.0080004 | 0.063143 | 0.071143
13 | YES | 49.997 | 5.976 | 0 | -0.0050001 | 0.072567 | 0.077567
13 | YES | 30.978 | 5.22 | 0 | 0.108 | 0.076152 | -0.031848
13 | NO | 21.015 | 5.972 | 0 | 0.389 | 0.078029 | -0.31097
13 | NO | 10.4885 | 6.342 | 0.014143 | 0.278 | 0.080013 | -0.19799
13 | NO | 0 | 0 | 0 | -5.923 | 0.08199 | 6.005
14 | NO | 0 | 0 | 0 | -1.68 | 0.08199 | 1.762
14 | YES | 199.992 | 2.151 | 0 | 0.07 | 0.044298 | -0.025702
14 | NO | 99.999 | 4.443 | 0 | -0.118 | 0.063143 | 0.18114
14 | NO | 50.008 | 5.13 | 0 | -0.758 | 0.072565 | 0.83057
14 | YES | 31.007 | 5.029 | 0 | 0.028 | 0.076146 | 0.048146
14 | NO | 21.007 | 5.561 | 0 | -0.226 | 0.078031 | 0.30403
14 | YES | 10.502 | 6.2195 | 0.030406 | 0.0795 | 0.080011 | 0.00051055
14 | NO | 0 | 0 | 0 | -6.199 | 0.08199 | 6.281
15 | NO | 0 | 0 | 0 | -1.744 | 0.08199 | 1.826
15 | YES | 152.007 | 1.899 | 0 | 0.089 | 0.053341 | -0.035659
15 | YES | 101.99 | 2.767 | 0 | 0.112 | 0.062768 | -0.049232
15 | YES | 76.996 | 3.621 | 0 | 0.06 | 0.067479 | 0.0074788
15 | NO | 50.029 | 4.512 | 0 | 0.319 | 0.072561 | -0.24644
15 | NO | 31.009 | 5.452 | 0 | 0.463 | 0.076146 | -0.38685
15 | NO | 21.011 | 6.332 | 0 | 0.486 | 0.07803 | -0.40797
15 | NO | 9.5005 | 6.6085 | 0.13789 | -0.2725 | 0.0802 | 0.3527
15 | NO | 0 | 0 | 0 | -6.075 | 0.08199 | 6.157
16 | YES | 141.012 | 2.012 | 0 | 0.011 | 0.055414 | 0.044413
16 | YES | 100 | 2.366 | 0 | -0.007 | 0.063143 | 0.070143
16 | YES | 35.986 | 4.113 | 0 | 0.186 | 0.075208 | -0.11079
16 | YES | 20.997 | 4.472 | 0 | 0.065 | 0.078033 | 0.013033
16 | YES | 15.016 | 4.702 | 0 | -0.0049996 | 0.07916 | 0.08416
16 | YES | 10.4965 | 4.8085 | 0.023335 | 0.0095 | 0.080012 | 0.070512
16 | YES | 4.993 | 5.03 | 0 | 0.145 | 0.081049 | -0.063951
16 | NO | 0 | 0 | 0 | -4.971 | 0.08199 | 5.053
17 | NO | 0 | 0 | 0 | -2.167 | 0.08199 | 2.249
17 | YES | 200.004 | 2.408 | 0 | -0.0090001 | 0.044295 | 0.053295
17 | YES | 99.994 | 4.188 | 0 | 0.165 | 0.063144 | -0.10186
17 | YES | 50.005 | 5.095 | 0 | 0.073 | 0.072566 | -0.00043435
17 | NO | 19 | 6.416 | 0 | 0.358 | 0.078409 | -0.27959
17 | NO | 10.504 | 6.573 | 0.049497 | -0.158 | 0.08001 | 0.23801
17 | YES | 6.994 | 6.386 | 0 | 0.078 | 0.080672 | 0.0026718
17 | YES | 3.013 | 6.33 | 0 | 0.074 | 0.081422 | 0.0074223
17 | NO | 0 | 0 | 0 | -6.271 | 0.08199 | 6.353
18 | YES | 362.155 | 1.394 | 0 | -0.036 | 0.013735 | 0.049735
18 | YES | 200 | 2.261 | 0 | -0.033 | 0.044296 | 0.077296
18 | YES | 100.003 | 3.607 | 0 | -0.0059998 | 0.063143 | 0.069142
18 | YES | 50.011 | 4.58 | 0 | 0.167 | 0.072565 | -0.094435
18 | NO | 29.012 | 4.792 | 0 | 0.359 | 0.076522 | -0.28248
18 | YES | 19.028 | 5.75 | 0 | 0.121 | 0.078404 | -0.042596
18 | YES | 7.968 | 6.1827 | 0.17036 | 0.11467 | 0.080488 | -0.034179
18 | NO | 4.7945 | 6.4835 | 0.037477 | 0.4465 | 0.081086 | -0.36541
18 | NO | 0 | 0 | 0 | -6.23 | 0.08199 | 6.312
19 | NO | 0 | 0 | 0 | -0.231 | 0.08199 | 0.31299
19 | NO | 0 | 0 | 0 | -0.31 | 0.08199 | 0.39199
19 | NO | 499.994 | 0.721 | 0 | -0.055 | -0.012243 | 0.042757
19 | YES | 300.014 | 1.48 | 0 | 0.026 | 0.025447 | -0.00055338
19 | YES | 200.009 | 2.857 | 0 | 0.125 | 0.044294 | -0.080706
19 | YES | 99.993 | 4.305 | 0 | 0.06 | 0.063144 | 0.0031445
19 | YES | 50 | 5.488 | 0 | 0.163 | 0.072567 | -0.090433
19 | YES | 28.998 | 6.874 | 0 | 0.18 | 0.076525 | -0.10348
19 | YES | 19.005 | 6.83 | 0 | 0.073 | 0.078408 | 0.0054082
19 | NO | 10.5 | 6.1595 | 0.014849 | -0.3255 | 0.080011 | 0.40551
19 | NO | 0 | 0 | 0 | -6.078 | 0.08199 | 6.16
20 | YES | 140.986 | 1.84 | 0 | -0.087 | 0.055419 | 0.14242
20 | YES | 125.001 | 1.844 | 0 | 0.085 | 0.058431 | -0.026569
20 | YES | 99.998 | 2.83 | 0 | 0.137 | 0.063144 | -0.073856
20 | NO | 72.994 | 3.335 | 0 | 0.25 | 0.068233 | -0.18177
20 | NO | 28.999 | 5.197 | 0 | -0.168 | 0.076525 | 0.24452
20 | YES | 14.988 | 5.767 | 0 | 0.227 | 0.079165 | -0.14783
20 | YES | 9.5005 | 6.5935 | 0.041719 | 0.1495 | 0.0802 | -0.0693
20 | NO | 0 | 0 | 0 | -6.887 | 0.08199 | 6.969
20 | NO | 0 | 0 | 0 | -6.941 | 0.08199 | 7.023
20 | NO | 0 | 0 | 0 | -7.05 | 0.08199 | 7.132
21 | NO | 0 | 0 | 0 | -1.485 | 0.08199 | 1.567
21 | YES | 76.988 | 2.763 | 0 | 0.122 | 0.06748 | -0.05452
21 | YES | 49.992 | 4.751 | 0 | 0.119 | 0.072568 | -0.046432
21 | NO | 28.988 | 5.19 | 0 | 0.239 | 0.076527 | -0.16247
21 | NO | 21.004 | 5.898 | 0 | 0.473 | 0.078031 | -0.39497
21 | YES | 8.322 | 7.0537 | 0.023671 | -0.0063333 | 0.080422 | 0.086755
21 | NO | 0 | 0 | 0 | -6.854 | 0.08199 | 6.936
22 | YES | 220.002 | 0.065 | 0 | 0.031 | 0.040526 | 0.0095264
22 | YES | 200.013 | 0.071 | 0 | 0.037 | 0.044294 | 0.0072937
22 | YES | 174.996 | 0.077 | 0 | 0.044 | 0.049009 | 0.0050087
22 | YES | 149.997 | 0.125 | 0 | 0.09 | 0.05372 | -0.03628
22 | NO | 140.994 | 0.443 | 0 | 0.29 | 0.055417 | -0.23458
22 | YES | 100.001 | 1.295 | 0 | -0.052 | 0.063143 | 0.11514
22 | NO | 74.992 | 1.599 | 0 | 0.224 | 0.067856 | -0.15614
22 | YES | 49.994 | 2.975 | 0 | 0.207 | 0.072568 | -0.13443
22 | NO | 24.989 | 3.428 | 0 | -0.083 | 0.07728 | 0.16028
22 | NO | 10.5045 | 4.141 | 0.069296 | 0.241 | 0.08001 | -0.16099
22 | NO | 5 | 5.558 | 0 | 0.314 | 0.081048 | -0.23295
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
YES
NO
NO
NO
NO
YES
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
NO
NO
YES
YES
YES
NO
NO
NO
YES
NO
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
NO
NO
YES
NO
YES
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
NO
NO
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
NO
NO
YES
YES
NO
NO
NO
NO
YES
YES
NO
NO
YES
NO
YES
YES
YES
YES
NO
YES
NO
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.078297 |  | X | CALC Y
m= | 0.010057 | 0.0037428 |  | Std Dev of Resid |  | 0.067638 |  | 0.065 | 0.019559
b= | 0.018905 | 0.016647 |  | Resid Sum of Squares |  | 0.38887 |  | 7.0537 | 0.089846
# of Values Extracted = |  |  | 189
# of Values Used in Fit = |  |  | 87
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 49.997 | 5.096 | 0 | -0.088 | 0.070157 | 0.15816 |  | 6.16 | 0.0079999
1 | NO | 28.994 | 5.595 | 0 | 0.335 | 0.075176 | -0.25982 |  | 6.358 | 0.146
1 | NO | 18.994 | 6.206 | 0 | 0.358 | 0.081321 | -0.27668 |  | 6.425 | 0.116
1 | YES | 9.5005 | 6.16 | 0.10889 | 0.0079999 | 0.080858 | 0.072858 |  | 6.5925 | 0.1845
1 | NO | 0 | 0 | 0 | -5.945 | 0.018905 | 5.9639 |  | 3.535 | -0.035
2 | NO | 0 | 0 | 0 | -2.338 | 0.018905 | 2.3569 |  | 4.696 | 0.099
2 | NO | 0 | 0 | 0 | -1.978 | 0.018905 | 1.9969 |  | 6.157 | 0.0030003
2 | NO | 149.991 | 2.347 | 0 | 0.244 | 0.042509 | -0.20149 |  | 6.491 | 0.157
2 | NO | 100 | 3.604 | 0 | 0.254 | 0.055152 | -0.19885 |  | 2.618 | 0.075
2 | NO | 49.991 | 5.365 | 0 | 0.746 | 0.072863 | -0.67314 |  | 2.618 | 0.083
2 | YES | 29.002 | 6.358 | 0 | 0.146 | 0.08285 | -0.06315 |  | 3.697 | 0.055
2 | YES | 18.98 | 6.425 | 0 | 0.116 | 0.083523 | -0.032477 |  | 4.606 | 0.05
2 | YES | 10.501 | 6.5925 | 0.027577 | 0.1845 | 0.085208 | -0.099292 |  | 6.269 | 0.048
2 | NO | 0 | 0 | 0 | -6.216 | 0.018905 | 6.2349 |  | 2.517 | 0.119
3 | NO | 0 | 0 | 0 | -1.33 | 0.018905 | 1.3489 |  | 4.095 | 0.078
3 | NO | 1500.01 | 0.205 | 0 | -0.378 | 0.020967 | 0.39897 |  | 5.106 | 0.018
3 | NO | 0 | 0 | 0 | -0.588 | 0.018905 | 0.6069 |  | 5.719 | -0.013
3 | NO | 1003 | 0.107 | 0 | -0.16 | 0.019981 | 0.17998 |  | 6.105 | -0.037
3 | NO | 0 | 0 | 0 | -0.889 | 0.018905 | 0.9079 |  | 4.206 | -0.027
3 | NO | 0 | 0 | 0 | -2.205 | 0.018905 | 2.2239 |  | 1.867 | 0.022
3 | NO | 202.1 | 2.932 | 0 | -0.098 | 0.048393 | 0.14639 |  | 2.952 | 0.132
3 | YES | 99.961 | 3.535 | 0 | -0.035 | 0.054458 | 0.089457 |  | 4.432 | 0.078
4 | YES | 63.996 | 4.696 | 0 | 0.099 | 0.066134 | -0.032866 |  | 4.696 | 0.101
4 | NO | 27.011 | 5.929 | 0 | 0.256 | 0.078535 | -0.17746 |  | 6.379 | -0.011
4 | YES | 18.992 | 6.157 | 0 | 0.0030003 | 0.080828 | 0.077828 |  | 2.383 | 0.09
4 | YES | 10.4915 | 6.491 | 0.022627 | 0.157 | 0.084187 | -0.072813 |  | 2.772 | 0.107
4 | NO | 5.003 | 5.882 | 0 | -0.09 | 0.078062 | 0.16806 |  | 4.002 | 0.03
4 | NO | 0 | 0 | 0 | -5.833 | 0.018905 | 5.8519 |  | 6.8095 | -0.0275
5 | NO | 1999.75 | 1.431 | 0 | -0.084 | 0.033297 | 0.1173 |  | 5.027 | 0.048
5 | NO | 1500 | 0.229 | 0 | -0.459 | 0.021208 | 0.48021 |  | 5.453 | 0.063
5 | NO | 1000.01 | 0.107 | 0 | -0.14 | 0.019981 | 0.15998 |  | 6.173 | 0.199
5 | NO | 502.014 | 0.295 | 0 | -0.488 | 0.021872 | 0.50987 |  | 5.98 | 0.065
5 | NO | 297.991 | 0.54 | 0 | -0.878 | 0.024336 | 0.90234 |  | 0.83 | 0.061
5 | YES | 200.002 | 2.618 | 0 | 0.075 | 0.045235 | -0.029765 |  | 1.888 | 0.042
5 | YES | 200.002 | 2.618 | 0 | 0.083 | 0.045235 | -0.037765 |  | 3.317 | 0.073
5 | YES | 100 | 3.697 | 0 | 0.055 | 0.056087 | 0.0010869 |  | 4.191 | -0.061
5 | YES | 50.011 | 4.606 | 0 | 0.05 | 0.065229 | 0.015229 |  | 0.828 | 0.032
5 | NO | 0 | 0 | 0 | -5.349 | 0.018905 | 5.3679 |  | 1.616 | -0.02
5 | YES | 9.494 | 6.269 | 0.082025 | 0.048 | 0.081955 | 0.033955 |  | 2.131 | -0.035
5 | NO | 0 | 0 | 0 | -5.945 | 0.018905 | 5.9639 |  | 4.99 | -0.0080004
6 | NO | 946.997 | 0.148 | 0 | -0.231 | 0.020393 | 0.25139 |  | 5.976 | -0.0050001
6 | NO | 500.005 | 0.356 | 0 | -0.602 | 0.022485 | 0.62449 |  | 5.22 | 0.108
6 | NO | 299.978 | 0.634 | 0 | -1.078 | 0.025281 | 1.1033 |  | 2.151 | 0.07
6 | YES | 201.997 | 2.517 | 0 | 0.119 | 0.044219 | -0.074781 |  | 5.029 | 0.028
6 | YES | 101.994 | 4.095 | 0 | 0.078 | 0.06009 | -0.01791 |  | 6.2195 | 0.0795
6 | YES | 50.01 | 5.106 | 0 | 0.018 | 0.070258 | 0.052258 |  | 1.899 | 0.089
6 | NO | 30.991 | 5.308 | 0 | 0.243 | 0.072289 | -0.17071 |  | 2.767 | 0.112
6 | YES | 21.001 | 5.719 | 0 | -0.013 | 0.076423 | 0.089423 |  | 3.621 | 0.06
6 | YES | 10.5075 | 6.105 | 0.0014141 | -0.037 | 0.080305 | 0.11731 |  | 2.012 | 0.011
6 | NO | 0 | 0 | 0 | -6.202 | 0.018905 | 6.2209 |  | 2.366 | -0.007
7 | NO | 0 | 0 | 0 | -2.068 | 0.018905 | 2.0869 |  | 4.113 | 0.186
7 | NO | 150.001 | 0.738 | 0 | -1.208 | 0.026327 | 1.2343 |  | 4.472 | 0.065
7 | NO | 101.167 | 1.176 | 0.014142 | -1.972 | 0.030732 | 2.0027 |  | 4.702 | -0.0049996
7 | NO | 0 | 0 | 0 | -4.828 | 0.018905 | 4.8469 |  | 4.8085 | 0.0095
7 | NO | 0 | 0 | 0 | -5.333 | 0.018905 | 5.3519 |  | 5.03 | 0.145
7 | NO | 0 | 0 | 0 | -5.927 | 0.018905 | 5.9459 |  | 2.408 | -0.0090001
7 | NO | 0 | 0 | 0 | -6.399 | 0.018905 | 6.4179 |  | 4.188 | 0.165
7 | NO | 0 | 0 | 0 | -6.074 | 0.018905 | 6.0929 |  | 5.095 | 0.073
8 | NO | 0 | 0 | 0 | -2.25 | 0.018905 | 2.2689 |  | 6.386 | 0.078
8 | NO | 49.988 | 3.617 | 0 | -0.145 | 0.055282 | 0.20028 |  | 6.33 | 0.074
8 | YES | 31.249 | 4.206 | 0 | -0.027 | 0.061206 | 0.088206 |  | 1.394 | -0.036
8 | NO | 19.001 | 4.64 | 0 | 0.397 | 0.065571 | -0.33143 |  | 2.261 | -0.033
8 | NO | 9.5015 | 6.6545 | 0.12374 | -0.1465 | 0.085832 | 0.23233 |  | 3.607 | -0.0059998
8 | NO | 0 | 0 | 0 | -6.578 | 0.018905 | 6.5969 |  | 4.58 | 0.167
9 | YES | 198.006 | 1.867 | 0 | 0.022 | 0.037682 | 0.015682 |  | 5.75 | 0.121
9 | YES | 150.003 | 2.952 | 0 | 0.132 | 0.048594 | -0.083406 |  | 6.1827 | 0.11467
9 | YES | 99.972 | 4.432 | 0 | 0.078 | 0.063479 | -0.014521 |  | 0.721 | -0.055
9 | YES | 30.991 | 4.696 | 0 | 0.101 | 0.066134 | -0.034866 |  | 1.48 | 0.026
9 | NO | 15.005 | 6.136 | 0 | 0.547 | 0.080617 | -0.46638 |  | 2.857 | 0.125
9 | NO | 8.505 | 6.5805 | 0.02192 | -0.1255 | 0.085087 | 0.21059 |  | 4.305 | 0.06
9 | YES | 5.005 | 6.379 | 0 | -0.011 | 0.083061 | 0.094061 |  | 5.488 | 0.163
9 | NO | 2.996 | 6.251 | 0 | -0.074 | 0.081774 | 0.15577 |  | 6.874 | 0.18
9 | NO | 0 | 0 | 0 | -6.38 | 0.018905 | 6.3989 |  | 6.83 | 0.073
10 | YES | 175.256 | 2.383 | 0.019799 | 0.09 | 0.042872 | -0.047128 |  | 1.84 | -0.087
10 | YES | 150.011 | 2.772 | 0 | 0.107 | 0.046784 | -0.060216 |  | 1.844 | 0.085
10 | YES | 101.994 | 4.002 | 0 | 0.03 | 0.059154 | 0.029154 |  | 2.83 | 0.137
10 | NO | 48.013 | 4.654 | 0 | -0.179 | 0.065712 | 0.24471 |  | 5.767 | 0.227
10 | NO | 30.986 | 5.32 | 0 | 0.247 | 0.07241 | -0.17459 |  | 6.5935 | 0.1495
10 | NO | 18.993 | 6.288 | 0 | 0.253 | 0.082146 | -0.17085 |  | 2.763 | 0.122
10 | YES | 10.496 | 6.8095 | 0.089803 | -0.0275 | 0.087391 | 0.11489 |  | 4.751 | 0.119
10 | NO | 0 | 0 | 0 | -6.41 | 0.018905 | 6.4289 |  | 7.0537 | -0.0063333
11 | YES | 51.987 | 5.027 | 0 | 0.048 | 0.069463 | 0.021463 |  | 0.065 | 0.031
11 | YES | 31.006 | 5.453 | 0 | 0.063 | 0.073748 | 0.010748 |  | 0.071 | 0.037
11 | NO | 0 | 0 | 0 | -6.102 | 0.018905 | 6.1209 |  | 0.077 | 0.044
11 | YES | 9.51 | 6.173 | 0.070711 | 0.199 | 0.080989 | -0.11801 |  | 0.125 | 0.09
11 | YES | 4.981 | 5.98 | 0 | 0.065 | 0.079048 | 0.014048 |  | 1.295 | -0.052
11 | NO | 0 | 0 | 0 | -5.857 | 0.018905 | 5.8759 |  | 3.428 | -0.083
12 | NO | 2500 | 2.056 | 0 | -0.2 | 0.039583 | 0.23958
12 | NO | 2500 | 2.056 | 0 | -0.07 | 0.039583 | 0.10958 |  |  | 0.059171
12 | NO | 0 | 0 | 0 | -1.343 | 0.018905 | 1.3619
12 | NO | 0 | 0 | 0 | -0.628 | 0.018905 | 0.6469
12 | NO | 999.987 | 0.281 | 0 | -0.005 | 0.021731 | 0.026731
12 | YES | 499.993 | 0.83 | 0 | 0.061 | 0.027252 | -0.033748
12 | YES | 300.017 | 1.888 | 0 | 0.042 | 0.037893 | -0.0041069
12 | YES | 200.008 | 3.317 | 0 | 0.073 | 0.052265 | -0.020735
12 | YES | 100.01 | 4.191 | 0 | -0.061 | 0.061055 | 0.12206
13 | NO | 1420.5 | 0.642 | 0 | -0.091 | 0.025362 | 0.11636
13 | NO | 999.982 | 0.32 | 0 | 0.002 | 0.022123 | 0.020123
13 | YES | 499.993 | 0.828 | 0 | 0.032 | 0.027232 | -0.0047677
13 | YES | 299.986 | 1.616 | 0 | -0.02 | 0.035158 | 0.055158
13 | YES | 200.009 | 2.131 | 0 | -0.035 | 0.040337 | 0.075337
13 | YES | 100 | 4.99 | 0 | -0.0080004 | 0.069091 | 0.077092
13 | YES | 49.997 | 5.976 | 0 | -0.0050001 | 0.079008 | 0.084008
13 | YES | 30.978 | 5.22 | 0 | 0.108 | 0.071404 | -0.036596
13 | NO | 21.015 | 5.972 | 0 | 0.389 | 0.078968 | -0.31003
13 | NO | 10.4885 | 6.342 | 0.014143 | 0.278 | 0.082689 | -0.19531
13 | NO | 0 | 0 | 0 | -5.923 | 0.018905 | 5.9419
14 | NO | 0 | 0 | 0 | -1.68 | 0.018905 | 1.6989
14 | YES | 199.992 | 2.151 | 0 | 0.07 | 0.040538 | -0.029462
14 | NO | 99.999 | 4.443 | 0 | -0.118 | 0.06359 | 0.18159
14 | NO | 50.008 | 5.13 | 0 | -0.758 | 0.070499 | 0.8285
14 | YES | 31.007 | 5.029 | 0 | 0.028 | 0.069483 | 0.041483
14 | NO | 21.007 | 5.561 | 0 | -0.226 | 0.074834 | 0.30083
14 | YES | 10.502 | 6.2195 | 0.030406 | 0.0795 | 0.081457 | 0.0019565
14 | NO | 0 | 0 | 0 | -6.199 | 0.018905 | 6.2179
15 | NO | 0 | 0 | 0 | -1.744 | 0.018905 | 1.7629
15 | YES | 152.007 | 1.899 | 0 | 0.089 | 0.038004 | -0.050996
15 | YES | 101.99 | 2.767 | 0 | 0.112 | 0.046734 | -0.065266
15 | YES | 76.996 | 3.621 | 0 | 0.06 | 0.055323 | -0.0046773
15 | NO | 50.029 | 4.512 | 0 | 0.319 | 0.064284 | -0.25472
15 | NO | 31.009 | 5.452 | 0 | 0.463 | 0.073738 | -0.38926
15 | NO | 21.011 | 6.332 | 0 | 0.486 | 0.082588 | -0.40341
15 | NO | 9.5005 | 6.6085 | 0.13789 | -0.2725 | 0.085369 | 0.35787
15 | NO | 0 | 0 | 0 | -6.075 | 0.018905 | 6.0939
16 | YES | 141.012 | 2.012 | 0 | 0.011 | 0.03914 | 0.02814
16 | YES | 100 | 2.366 | 0 | -0.007 | 0.042701 | 0.049701
16 | YES | 35.986 | 4.113 | 0 | 0.186 | 0.060271 | -0.12573
16 | YES | 20.997 | 4.472 | 0 | 0.065 | 0.063881 | -0.0011187
16 | YES | 15.016 | 4.702 | 0 | -0.0049996 | 0.066195 | 0.071194
16 | YES | 10.4965 | 4.8085 | 0.023335 | 0.0095 | 0.067266 | 0.057766
16 | YES | 4.993 | 5.03 | 0 | 0.145 | 0.069493 | -0.075507
16 | NO | 0 | 0 | 0 | -4.971 | 0.018905 | 4.9899
17 | NO | 0 | 0 | 0 | -2.167 | 0.018905 | 2.1859
17 | YES | 200.004 | 2.408 | 0 | -0.0090001 | 0.043123 | 0.052123
17 | YES | 99.994 | 4.188 | 0 | 0.165 | 0.061025 | -0.10397
17 | YES | 50.005 | 5.095 | 0 | 0.073 | 0.070147 | -0.0028528
17 | NO | 19 | 6.416 | 0 | 0.358 | 0.083433 | -0.27457
17 | NO | 10.504 | 6.573 | 0.049497 | -0.158 | 0.085012 | 0.24301
17 | YES | 6.994 | 6.386 | 0 | 0.078 | 0.083131 | 0.0051312
17 | YES | 3.013 | 6.33 | 0 | 0.074 | 0.082568 | 0.0085681
17 | NO | 0 | 0 | 0 | -6.271 | 0.018905 | 6.2899
18 | YES | 362.155 | 1.394 | 0 | -0.036 | 0.032925 | 0.068925
18 | YES | 200 | 2.261 | 0 | -0.033 | 0.041645 | 0.074645
18 | YES | 100.003 | 3.607 | 0 | -0.0059998 | 0.055182 | 0.061182
18 | YES | 50.011 | 4.58 | 0 | 0.167 | 0.064968 | -0.10203
18 | NO | 29.012 | 4.792 | 0 | 0.359 | 0.0671 | -0.2919
18 | YES | 19.028 | 5.75 | 0 | 0.121 | 0.076735 | -0.044265
18 | YES | 7.968 | 6.1827 | 0.17036 | 0.11467 | 0.081086 | -0.033581
18 | NO | 4.7945 | 6.4835 | 0.037477 | 0.4465 | 0.084112 | -0.36239
18 | NO | 0 | 0 | 0 | -6.23 | 0.018905 | 6.2489
19 | NO | 0 | 0 | 0 | -0.231 | 0.018905 | 0.2499
19 | NO | 0 | 0 | 0 | -0.31 | 0.018905 | 0.3289
19 | YES | 499.994 | 0.721 | 0 | -0.055 | 0.026156 | 0.081156
19 | YES | 300.014 | 1.48 | 0 | 0.026 | 0.03379 | 0.0077897
19 | YES | 200.009 | 2.857 | 0 | 0.125 | 0.047639 | -0.077361
19 | YES | 99.993 | 4.305 | 0 | 0.06 | 0.062202 | 0.0022019
19 | YES | 50 | 5.488 | 0 | 0.163 | 0.0741 | -0.0889
19 | YES | 28.998 | 6.874 | 0 | 0.18 | 0.088039 | -0.091961
19 | YES | 19.005 | 6.83 | 0 | 0.073 | 0.087597 | 0.014597
19 | NO | 10.5 | 6.1595 | 0.014849 | -0.3255 | 0.080853 | 0.40635
19 | NO | 0 | 0 | 0 | -6.078 | 0.018905 | 6.0969
20 | YES | 140.986 | 1.84 | 0 | -0.087 | 0.03741 | 0.12441
20 | YES | 125.001 | 1.844 | 0 | 0.085 | 0.037451 | -0.047549
20 | YES | 99.998 | 2.83 | 0 | 0.137 | 0.047367 | -0.089633
20 | NO | 72.994 | 3.335 | 0 | 0.25 | 0.052446 | -0.19755
20 | NO | 28.999 | 5.197 | 0 | -0.168 | 0.071173 | 0.23917
20 | YES | 14.988 | 5.767 | 0 | 0.227 | 0.076906 | -0.15009
20 | YES | 9.5005 | 6.5935 | 0.041719 | 0.1495 | 0.085218 | -0.064282
20 | NO | 0 | 0 | 0 | -6.887 | 0.018905 | 6.9059
20 | NO | 0 | 0 | 0 | -6.941 | 0.018905 | 6.9599
20 | NO | 0 | 0 | 0 | -7.05 | 0.018905 | 7.0689
21 | NO | 0 | 0 | 0 | -1.485 | 0.018905 | 1.5039
21 | YES | 76.988 | 2.763 | 0 | 0.122 | 0.046693 | -0.075307
21 | YES | 49.992 | 4.751 | 0 | 0.119 | 0.066687 | -0.052313
21 | NO | 28.988 | 5.19 | 0 | 0.239 | 0.071103 | -0.1679
21 | NO | 21.004 | 5.898 | 0 | 0.473 | 0.078223 | -0.39478
21 | YES | 8.322 | 7.0537 | 0.023671 | -0.0063333 | 0.089846 | 0.09618
21 | NO | 0 | 0 | 0 | -6.854 | 0.018905 | 6.8729
22 | YES | 220.002 | 0.065 | 0 | 0.031 | 0.019559 | -0.011441
22 | YES | 200.013 | 0.071 | 0 | 0.037 | 0.019619 | -0.017381
22 | YES | 174.996 | 0.077 | 0 | 0.044 | 0.019679 | -0.024321
22 | YES | 149.997 | 0.125 | 0 | 0.09 | 0.020162 | -0.069838
22 | NO | 140.994 | 0.443 | 0 | 0.29 | 0.02336 | -0.26664
22 | YES | 100.001 | 1.295 | 0 | -0.052 | 0.031929 | 0.083929
22 | NO | 74.992 | 1.599 | 0 | 0.224 | 0.034987 | -0.18901
22 | NO | 49.994 | 2.975 | 0 | 0.207 | 0.048826 | -0.15817
22 | YES | 24.989 | 3.428 | 0 | -0.083 | 0.053382 | 0.13638
22 | NO | 10.5045 | 4.141 | 0.069296 | 0.241 | 0.060552 | -0.18045
22 | NO | 5 | 5.558 | 0 | 0.314 | 0.074804 | -0.2392
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
YES
NO
NO
NO
NO
YES
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
NO
NO
YES
YES
YES
NO
NO
NO
YES
NO
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
NO
NO
YES
NO
YES
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
NO
NO
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
NO
NO
YES
YES
NO
NO
NO
NO
YES
YES
NO
NO
YES
NO
YES
YES
YES
YES
NO
YES
NO
NO
YES
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.12631 |  | X | CALC Y
m= | 0.0045451 | 0.0012671 |  | Std Dev of Resid |  | 0.073585 |  | 1 | 0.0078561
b= | 0.003311 | 0.018378 |  | Resid Sum of Squares |  | 0.48192 |  | 22 | 0.1033
# of Values Extracted = |  |  | 189
# of Values Used in Fit = |  |  | 91
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 49.997 | 5.096 | 0 | -0.088 | 0.0078561 | 0.095856 |  | 1 | -0.088
1 | NO | 28.994 | 5.595 | 0 | 0.335 | 0.0078561 | -0.32714 |  | 1 | 0.0079999
1 | NO | 18.994 | 6.206 | 0 | 0.358 | 0.0078561 | -0.35014 |  | 2 | 0.146
1 | YES | 9.5005 | 6.16 | 0.10889 | 0.0079999 | 0.0078561 | -0.00014376 |  | 2 | 0.116
1 | NO | 0 | 0 | 0 | -5.945 | 0.0078561 | 5.9529 |  | 3 | -0.098
2 | NO | 0 | 0 | 0 | -2.338 | 0.012401 | 2.3504 |  | 3 | -0.035
2 | NO | 0 | 0 | 0 | -1.978 | 0.012401 | 1.9904 |  | 4 | 0.099
2 | NO | 149.991 | 2.347 | 0 | 0.244 | 0.012401 | -0.2316 |  | 4 | 0.0030003
2 | NO | 100 | 3.604 | 0 | 0.254 | 0.012401 | -0.2416 |  | 4 | 0.157
2 | NO | 49.991 | 5.365 | 0 | 0.746 | 0.012401 | -0.7336 |  | 4 | -0.09
2 | YES | 29.002 | 6.358 | 0 | 0.146 | 0.012401 | -0.1336 |  | 5 | 0.075
2 | YES | 18.98 | 6.425 | 0 | 0.116 | 0.012401 | -0.1036 |  | 5 | 0.083
2 | NO | 10.501 | 6.5925 | 0.027577 | 0.1845 | 0.012401 | -0.1721 |  | 5 | 0.055
2 | NO | 0 | 0 | 0 | -6.216 | 0.012401 | 6.2284 |  | 5 | 0.05
3 | NO | 0 | 0 | 0 | -1.33 | 0.016946 | 1.3469 |  | 5 | 0.048
3 | NO | 1500.01 | 0.205 | 0 | -0.378 | 0.016946 | 0.39495 |  | 6 | 0.119
3 | NO | 0 | 0 | 0 | -0.588 | 0.016946 | 0.60495 |  | 6 | 0.078
3 | NO | 1003 | 0.107 | 0 | -0.16 | 0.016946 | 0.17695 |  | 6 | 0.018
3 | NO | 0 | 0 | 0 | -0.889 | 0.016946 | 0.90595 |  | 6 | -0.013
3 | NO | 0 | 0 | 0 | -2.205 | 0.016946 | 2.2219 |  | 6 | -0.037
3 | YES | 202.1 | 2.932 | 0 | -0.098 | 0.016946 | 0.11495 |  | 8 | -0.027
3 | YES | 99.961 | 3.535 | 0 | -0.035 | 0.016946 | 0.051946 |  | 9 | 0.022
4 | YES | 63.996 | 4.696 | 0 | 0.099 | 0.021491 | -0.077509 |  | 9 | 0.132
4 | NO | 27.011 | 5.929 | 0 | 0.256 | 0.021491 | -0.23451 |  | 9 | 0.078
4 | YES | 18.992 | 6.157 | 0 | 0.0030003 | 0.021491 | 0.018491 |  | 9 | 0.101
4 | YES | 10.4915 | 6.491 | 0.022627 | 0.157 | 0.021491 | -0.13551 |  | 9 | -0.011
4 | YES | 5.003 | 5.882 | 0 | -0.09 | 0.021491 | 0.11149 |  | 9 | -0.074
4 | NO | 0 | 0 | 0 | -5.833 | 0.021491 | 5.8545 |  | 10 | 0.09
5 | NO | 1999.75 | 1.431 | 0 | -0.084 | 0.026037 | 0.11004 |  | 10 | 0.107
5 | NO | 1500 | 0.229 | 0 | -0.459 | 0.026037 | 0.48504 |  | 10 | 0.03
5 | NO | 1000.01 | 0.107 | 0 | -0.14 | 0.026037 | 0.16604 |  | 10 | -0.0275
5 | NO | 502.014 | 0.295 | 0 | -0.488 | 0.026037 | 0.51404 |  | 11 | 0.048
5 | NO | 297.991 | 0.54 | 0 | -0.878 | 0.026037 | 0.90404 |  | 11 | 0.063
5 | YES | 200.002 | 2.618 | 0 | 0.075 | 0.026037 | -0.048963 |  | 11 | 0.199
5 | YES | 200.002 | 2.618 | 0 | 0.083 | 0.026037 | -0.056963 |  | 11 | 0.065
5 | YES | 100 | 3.697 | 0 | 0.055 | 0.026037 | -0.028964 |  | 12 | 0.061
5 | YES | 50.011 | 4.606 | 0 | 0.05 | 0.026037 | -0.023963 |  | 12 | 0.042
5 | NO | 0 | 0 | 0 | -5.349 | 0.026037 | 5.375 |  | 12 | 0.073
5 | YES | 9.494 | 6.269 | 0.082025 | 0.048 | 0.026037 | -0.021963 |  | 12 | -0.061
5 | NO | 0 | 0 | 0 | -5.945 | 0.026037 | 5.971 |  | 13 | 0.032
6 | NO | 946.997 | 0.148 | 0 | -0.231 | 0.030582 | 0.26158 |  | 13 | -0.02
6 | NO | 500.005 | 0.356 | 0 | -0.602 | 0.030582 | 0.63258 |  | 13 | -0.035
6 | NO | 299.978 | 0.634 | 0 | -1.078 | 0.030582 | 1.1086 |  | 13 | -0.0080004
6 | YES | 201.997 | 2.517 | 0 | 0.119 | 0.030582 | -0.088418 |  | 13 | -0.0050001
6 | YES | 101.994 | 4.095 | 0 | 0.078 | 0.030582 | -0.047418 |  | 13 | 0.108
6 | YES | 50.01 | 5.106 | 0 | 0.018 | 0.030582 | 0.012582 |  | 14 | 0.07
6 | NO | 30.991 | 5.308 | 0 | 0.243 | 0.030582 | -0.21242 |  | 14 | 0.028
6 | YES | 21.001 | 5.719 | 0 | -0.013 | 0.030582 | 0.043582 |  | 14 | 0.0795
6 | YES | 10.5075 | 6.105 | 0.0014141 | -0.037 | 0.030582 | 0.067582 |  | 15 | 0.089
6 | NO | 0 | 0 | 0 | -6.202 | 0.030582 | 6.2326 |  | 15 | 0.112
7 | NO | 0 | 0 | 0 | -2.068 | 0.035127 | 2.1031 |  | 15 | 0.06
7 | NO | 150.001 | 0.738 | 0 | -1.208 | 0.035127 | 1.2431 |  | 16 | 0.011
7 | NO | 101.167 | 1.176 | 0.014142 | -1.972 | 0.035127 | 2.0071 |  | 16 | -0.007
7 | NO | 0 | 0 | 0 | -4.828 | 0.035127 | 4.8631 |  | 16 | 0.186
7 | NO | 0 | 0 | 0 | -5.333 | 0.035127 | 5.3681 |  | 16 | 0.065
7 | NO | 0 | 0 | 0 | -5.927 | 0.035127 | 5.9621 |  | 16 | -0.0049996
7 | NO | 0 | 0 | 0 | -6.399 | 0.035127 | 6.4341 |  | 16 | 0.0095
7 | NO | 0 | 0 | 0 | -6.074 | 0.035127 | 6.1091 |  | 16 | 0.145
8 | NO | 0 | 0 | 0 | -2.25 | 0.039672 | 2.2897 |  | 17 | -0.0090001
8 | NO | 49.988 | 3.617 | 0 | -0.145 | 0.039672 | 0.18467 |  | 17 | 0.165
8 | YES | 31.249 | 4.206 | 0 | -0.027 | 0.039672 | 0.066672 |  | 17 | 0.073
8 | NO | 19.001 | 4.64 | 0 | 0.397 | 0.039672 | -0.35733 |  | 17 | 0.078
8 | NO | 9.5015 | 6.6545 | 0.12374 | -0.1465 | 0.039672 | 0.18617 |  | 17 | 0.074
8 | NO | 0 | 0 | 0 | -6.578 | 0.039672 | 6.6177 |  | 18 | -0.036
9 | YES | 198.006 | 1.867 | 0 | 0.022 | 0.044217 | 0.022217 |  | 18 | -0.033
9 | YES | 150.003 | 2.952 | 0 | 0.132 | 0.044217 | -0.087783 |  | 18 | -0.0059998
9 | YES | 99.972 | 4.432 | 0 | 0.078 | 0.044217 | -0.033783 |  | 18 | 0.167
9 | YES | 30.991 | 4.696 | 0 | 0.101 | 0.044217 | -0.056783 |  | 18 | 0.121
9 | NO | 15.005 | 6.136 | 0 | 0.547 | 0.044217 | -0.50278 |  | 18 | 0.11467
9 | NO | 8.505 | 6.5805 | 0.02192 | -0.1255 | 0.044217 | 0.16972 |  | 19 | -0.055
9 | YES | 5.005 | 6.379 | 0 | -0.011 | 0.044217 | 0.055217 |  | 19 | 0.026
9 | YES | 2.996 | 6.251 | 0 | -0.074 | 0.044217 | 0.11822 |  | 19 | 0.125
9 | NO | 0 | 0 | 0 | -6.38 | 0.044217 | 6.4242 |  | 19 | 0.06
10 | YES | 175.256 | 2.383 | 0.019799 | 0.09 | 0.048762 | -0.041238 |  | 19 | 0.163
10 | YES | 150.011 | 2.772 | 0 | 0.107 | 0.048762 | -0.058238 |  | 19 | 0.18
10 | YES | 101.994 | 4.002 | 0 | 0.03 | 0.048762 | 0.018762 |  | 19 | 0.073
10 | NO | 48.013 | 4.654 | 0 | -0.179 | 0.048762 | 0.22776 |  | 20 | 0.085
10 | NO | 30.986 | 5.32 | 0 | 0.247 | 0.048762 | -0.19824 |  | 20 | 0.137
10 | NO | 18.993 | 6.288 | 0 | 0.253 | 0.048762 | -0.20424 |  | 20 | 0.227
10 | YES | 10.496 | 6.8095 | 0.089803 | -0.0275 | 0.048762 | 0.076262 |  | 20 | 0.1495
10 | NO | 0 | 0 | 0 | -6.41 | 0.048762 | 6.4588 |  | 21 | 0.122
11 | YES | 51.987 | 5.027 | 0 | 0.048 | 0.053307 | 0.0053072 |  | 21 | 0.119
11 | YES | 31.006 | 5.453 | 0 | 0.063 | 0.053307 | -0.0096931 |  | 21 | 0.239
11 | NO | 0 | 0 | 0 | -6.102 | 0.053307 | 6.1553 |  | 21 | -0.0063333
11 | YES | 9.51 | 6.173 | 0.070711 | 0.199 | 0.053307 | -0.14569 |  | 22 | 0.031
11 | YES | 4.981 | 5.98 | 0 | 0.065 | 0.053307 | -0.011693 |  | 22 | 0.037
11 | NO | 0 | 0 | 0 | -5.857 | 0.053307 | 5.9103 |  | 22 | 0.044
12 | NO | 2500 | 2.056 | 0 | -0.2 | 0.057852 | 0.25785 |  | 22 | 0.09
12 | NO | 2500 | 2.056 | 0 | -0.07 | 0.057852 | 0.12785 |  | 22 | 0.224
12 | NO | 0 | 0 | 0 | -1.343 | 0.057852 | 1.4009 |  | 22 | 0.207
12 | NO | 0 | 0 | 0 | -0.628 | 0.057852 | 0.68585 |  | 22 | 0.241
12 | NO | 999.987 | 0.281 | 0 | -0.005 | 0.057852 | 0.062852
12 | YES | 499.993 | 0.83 | 0 | 0.061 | 0.057852 | -0.0031478
12 | YES | 300.017 | 1.888 | 0 | 0.042 | 0.057852 | 0.015852
12 | YES | 200.008 | 3.317 | 0 | 0.073 | 0.057852 | -0.015148
12 | YES | 100.01 | 4.191 | 0 | -0.061 | 0.057852 | 0.11885
13 | NO | 1420.5 | 0.642 | 0 | -0.091 | 0.062397 | 0.1534
13 | NO | 999.982 | 0.32 | 0 | 0.002 | 0.062397 | 0.060397
13 | YES | 499.993 | 0.828 | 0 | 0.032 | 0.062397 | 0.030397
13 | YES | 299.986 | 1.616 | 0 | -0.02 | 0.062397 | 0.082397
13 | YES | 200.009 | 2.131 | 0 | -0.035 | 0.062397 | 0.097397
13 | YES | 100 | 4.99 | 0 | -0.0080004 | 0.062397 | 0.070398
13 | YES | 49.997 | 5.976 | 0 | -0.0050001 | 0.062397 | 0.067397
13 | YES | 30.978 | 5.22 | 0 | 0.108 | 0.062397 | -0.045603
13 | NO | 21.015 | 5.972 | 0 | 0.389 | 0.062397 | -0.3266
13 | NO | 10.4885 | 6.342 | 0.014143 | 0.278 | 0.062397 | -0.2156
13 | NO | 0 | 0 | 0 | -5.923 | 0.062397 | 5.9854
14 | NO | 0 | 0 | 0 | -1.68 | 0.066942 | 1.7469
14 | YES | 199.992 | 2.151 | 0 | 0.07 | 0.066942 | -0.0030575
14 | NO | 99.999 | 4.443 | 0 | -0.118 | 0.066942 | 0.18494
14 | NO | 50.008 | 5.13 | 0 | -0.758 | 0.066942 | 0.82494
14 | YES | 31.007 | 5.029 | 0 | 0.028 | 0.066942 | 0.038943
14 | NO | 21.007 | 5.561 | 0 | -0.226 | 0.066942 | 0.29294
14 | YES | 10.502 | 6.2195 | 0.030406 | 0.0795 | 0.066942 | -0.012558
14 | NO | 0 | 0 | 0 | -6.199 | 0.066942 | 6.2659
15 | NO | 0 | 0 | 0 | -1.744 | 0.071488 | 1.8155
15 | YES | 152.007 | 1.899 | 0 | 0.089 | 0.071488 | -0.017513
15 | YES | 101.99 | 2.767 | 0 | 0.112 | 0.071488 | -0.040512
15 | YES | 76.996 | 3.621 | 0 | 0.06 | 0.071488 | 0.011488
15 | NO | 50.029 | 4.512 | 0 | 0.319 | 0.071488 | -0.24751
15 | NO | 31.009 | 5.452 | 0 | 0.463 | 0.071488 | -0.39151
15 | NO | 21.011 | 6.332 | 0 | 0.486 | 0.071488 | -0.41451
15 | NO | 9.5005 | 6.6085 | 0.13789 | -0.2725 | 0.071488 | 0.34399
15 | NO | 0 | 0 | 0 | -6.075 | 0.071488 | 6.1465
16 | YES | 141.012 | 2.012 | 0 | 0.011 | 0.076033 | 0.065032
16 | YES | 100 | 2.366 | 0 | -0.007 | 0.076033 | 0.083033
16 | YES | 35.986 | 4.113 | 0 | 0.186 | 0.076033 | -0.10997
16 | YES | 20.997 | 4.472 | 0 | 0.065 | 0.076033 | 0.011033
16 | YES | 15.016 | 4.702 | 0 | -0.0049996 | 0.076033 | 0.081032
16 | YES | 10.4965 | 4.8085 | 0.023335 | 0.0095 | 0.076033 | 0.066533
16 | YES | 4.993 | 5.03 | 0 | 0.145 | 0.076033 | -0.068967
16 | NO | 0 | 0 | 0 | -4.971 | 0.076033 | 5.047
17 | NO | 0 | 0 | 0 | -2.167 | 0.080578 | 2.2476
17 | YES | 200.004 | 2.408 | 0 | -0.0090001 | 0.080578 | 0.089578
17 | YES | 99.994 | 4.188 | 0 | 0.165 | 0.080578 | -0.084422
17 | YES | 50.005 | 5.095 | 0 | 0.073 | 0.080578 | 0.0075777
17 | NO | 19 | 6.416 | 0 | 0.358 | 0.080578 | -0.27742
17 | NO | 10.504 | 6.573 | 0.049497 | -0.158 | 0.080578 | 0.23858
17 | YES | 6.994 | 6.386 | 0 | 0.078 | 0.080578 | 0.0025776
17 | YES | 3.013 | 6.33 | 0 | 0.074 | 0.080578 | 0.0065778
17 | NO | 0 | 0 | 0 | -6.271 | 0.080578 | 6.3516
18 | YES | 362.155 | 1.394 | 0 | -0.036 | 0.085123 | 0.12112
18 | YES | 200 | 2.261 | 0 | -0.033 | 0.085123 | 0.11812
18 | YES | 100.003 | 3.607 | 0 | -0.0059998 | 0.085123 | 0.091123
18 | YES | 50.011 | 4.58 | 0 | 0.167 | 0.085123 | -0.081877
18 | NO | 29.012 | 4.792 | 0 | 0.359 | 0.085123 | -0.27388
18 | YES | 19.028 | 5.75 | 0 | 0.121 | 0.085123 | -0.035877
18 | YES | 7.968 | 6.1827 | 0.17036 | 0.11467 | 0.085123 | -0.029544
18 | NO | 4.7945 | 6.4835 | 0.037477 | 0.4465 | 0.085123 | -0.36138
18 | NO | 0 | 0 | 0 | -6.23 | 0.085123 | 6.3151
19 | NO | 0 | 0 | 0 | -0.231 | 0.089668 | 0.32067
19 | NO | 0 | 0 | 0 | -0.31 | 0.089668 | 0.39967
19 | YES | 499.994 | 0.721 | 0 | -0.055 | 0.089668 | 0.14467
19 | YES | 300.014 | 1.48 | 0 | 0.026 | 0.089668 | 0.063668
19 | YES | 200.009 | 2.857 | 0 | 0.125 | 0.089668 | -0.035332
19 | YES | 99.993 | 4.305 | 0 | 0.06 | 0.089668 | 0.029668
19 | YES | 50 | 5.488 | 0 | 0.163 | 0.089668 | -0.073332
19 | YES | 28.998 | 6.874 | 0 | 0.18 | 0.089668 | -0.090332
19 | YES | 19.005 | 6.83 | 0 | 0.073 | 0.089668 | 0.016668
19 | NO | 10.5 | 6.1595 | 0.014849 | -0.3255 | 0.089668 | 0.41517
19 | NO | 0 | 0 | 0 | -6.078 | 0.089668 | 6.1677
20 | NO | 140.986 | 1.84 | 0 | -0.087 | 0.094213 | 0.18121
20 | YES | 125.001 | 1.844 | 0 | 0.085 | 0.094213 | 0.009213
20 | YES | 99.998 | 2.83 | 0 | 0.137 | 0.094213 | -0.042787
20 | NO | 72.994 | 3.335 | 0 | 0.25 | 0.094213 | -0.15579
20 | NO | 28.999 | 5.197 | 0 | -0.168 | 0.094213 | 0.26221
20 | YES | 14.988 | 5.767 | 0 | 0.227 | 0.094213 | -0.13279
20 | YES | 9.5005 | 6.5935 | 0.041719 | 0.1495 | 0.094213 | -0.055287
20 | NO | 0 | 0 | 0 | -6.887 | 0.094213 | 6.9812
20 | NO | 0 | 0 | 0 | -6.941 | 0.094213 | 7.0352
20 | NO | 0 | 0 | 0 | -7.05 | 0.094213 | 7.1442
21 | NO | 0 | 0 | 0 | -1.485 | 0.098758 | 1.5838
21 | YES | 76.988 | 2.763 | 0 | 0.122 | 0.098758 | -0.023242
21 | YES | 49.992 | 4.751 | 0 | 0.119 | 0.098758 | -0.020242
21 | YES | 28.988 | 5.19 | 0 | 0.239 | 0.098758 | -0.14024
21 | NO | 21.004 | 5.898 | 0 | 0.473 | 0.098758 | -0.37424
21 | YES | 8.322 | 7.0537 | 0.023671 | -0.0063333 | 0.098758 | 0.10509
21 | NO | 0 | 0 | 0 | -6.854 | 0.098758 | 6.9528
22 | YES | 220.002 | 0.065 | 0 | 0.031 | 0.1033 | 0.072303
22 | YES | 200.013 | 0.071 | 0 | 0.037 | 0.1033 | 0.066303
22 | YES | 174.996 | 0.077 | 0 | 0.044 | 0.1033 | 0.059303
22 | YES | 149.997 | 0.125 | 0 | 0.09 | 0.1033 | 0.013303
22 | NO | 140.994 | 0.443 | 0 | 0.29 | 0.1033 | -0.1867
22 | NO | 100.001 | 1.295 | 0 | -0.052 | 0.1033 | 0.1553
22 | YES | 74.992 | 1.599 | 0 | 0.224 | 0.1033 | -0.1207
22 | YES | 49.994 | 2.975 | 0 | 0.207 | 0.1033 | -0.1037
22 | NO | 24.989 | 3.428 | 0 | -0.083 | 0.1033 | 0.1863
22 | YES | 10.5045 | 4.141 | 0.069296 | 0.241 | 0.1033 | -0.1377
22 | NO | 5 | 5.558 | 0 | 0.314 | 0.1033 | -0.2107
YES
NO
NO
YES
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
YES
NO
NO
NO
NO
YES
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
NO
YES
YES
YES
NO
NO
NO
YES
NO
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
NO
NO
YES
NO
YES
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
NO
NO
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
NO
NO
YES
YES
NO
NO
NO
NO
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
NO
NO
YES
YES
NO
YES
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2004-24-0002 | 2004-24-0002 | 1 | 50.595 | 49.997 | 0 | -0.598 | 5.184 | 5.096 | 0 | -0.088
2004-24-0002 | 2004-24-0002 | 1 | 29.007 | 28.994 | 0 | -0.013 | 5.26 | 5.595 | 0 | 0.335
2004-24-0002 | 2004-24-0002 | 1 | 19.743 | 18.994 | 0 | -0.749 | 5.848 | 6.206 | 0 | 0.358
2004-24-0002 | 2004-24-0002 | 2 | 9.347 | 9.5005 | 0.6965 | 0.1535 | 6.152 | 6.16 | 0.10889 | 0.0079999
2004-24-0002 | 2004-24-0002 | 0 | 1.539 | 0 | 0 | -1.539 | 5.945 | 0 | 0 | -5.945
2004-24-0003 | 2004-24-0003 | 0 | 178.583 | 0 | 0 | -178.583 | 2.338 | 0 | 0 | -2.338
2004-24-0003 | 2004-24-0003 | 0 | 178.694 | 0 | 0 | -178.694 | 1.978 | 0 | 0 | -1.978
2004-24-0003 | 2004-24-0003 | 1 | 150.549 | 149.991 | 0 | -0.558 | 2.103 | 2.347 | 0 | 0.244
2004-24-0003 | 2004-24-0003 | 1 | 99.945 | 100 | 0 | 0.055 | 3.35 | 3.604 | 0 | 0.254
2004-24-0003 | 2004-24-0003 | 1 | 50.419 | 49.991 | 0 | -0.428 | 4.619 | 5.365 | 0 | 0.746
2004-24-0003 | 2004-24-0003 | 1 | 29.249 | 29.002 | 0 | -0.247 | 6.212 | 6.358 | 0 | 0.146
2004-24-0003 | 2004-24-0003 | 1 | 19.834 | 18.98 | 0 | -0.854 | 6.309 | 6.425 | 0 | 0.116
2004-24-0003 | 2004-24-0003 | 2 | 10.326 | 10.501 | 0.69155 | 0.175 | 6.408 | 6.5925 | 0.027577 | 0.1845
2004-24-0003 | 2004-24-0003 | 0 | 1.232 | 0 | 0 | -1.232 | 6.216 | 0 | 0 | -6.216
2004-24-0006 | 2004-24-0006 | 0 | 2001.31 | 0 | 0 | -2001.31 | 1.33 | 0 | 0 | -1.33
2004-24-0006 | 2004-24-0006 | 1 | 1500.26 | 1500.01 | 0 | -0.24805 | 0.583 | 0.205 | 0 | -0.378
2004-24-0006 | 2004-24-0006 | 0 | 1501.03 | 0 | 0 | -1501.03 | 0.588 | 0 | 0 | -0.588
2004-24-0006 | 2004-24-0006 | 1 | 1003.13 | 1003 | 0 | -0.13196 | 0.267 | 0.107 | 0 | -0.16
2004-24-0006 | 2004-24-0006 | 0 | 503.19 | 0 | 0 | -503.19 | 0.889 | 0 | 0 | -0.889
2004-24-0006 | 2004-24-0006 | 0 | 303.381 | 0 | 0 | -303.381 | 2.205 | 0 | 0 | -2.205
2004-24-0006 | 2004-24-0006 | 1 | 201.591 | 202.1 | 0 | 0.509 | 3.03 | 2.932 | 0 | -0.098
2004-24-0006 | 2004-24-0006 | 1 | 100.935 | 99.961 | 0 | -0.974 | 3.57 | 3.535 | 0 | -0.035
2004-24-0008 | 2004-24-0008 | 1 | 64.111 | 63.996 | 0 | -0.115 | 4.597 | 4.696 | 0 | 0.099
2004-24-0008 | 2004-24-0008 | 1 | 27.557 | 27.011 | 0 | -0.546 | 5.673 | 5.929 | 0 | 0.256
2004-24-0008 | 2004-24-0008 | 1 | 19.513 | 18.992 | 0 | -0.521 | 6.154 | 6.157 | 0 | 0.0030003
2004-24-0008 | 2004-24-0008 | 2 | 10.098 | 10.4915 | 0.70074 | 0.3935 | 6.334 | 6.491 | 0.022627 | 0.157
2004-24-0008 | 2004-24-0008 | 1 | 5.004 | 5.003 | 0 | -0.0010004 | 5.972 | 5.882 | 0 | -0.09
2004-24-0008 | 2004-24-0008 | 0 | 1.339 | 0 | 0 | -1.339 | 5.833 | 0 | 0 | -5.833
2004-24-0010 | 2004-24-0010 | 1 | 2000.26 | 1999.75 | 0 | -0.50708 | 1.515 | 1.431 | 0 | -0.084
2004-24-0010 | 2004-24-0010 | 1 | 1500.8 | 1500 | 0 | -0.79907 | 0.688 | 0.229 | 0 | -0.459
2004-24-0010 | 2004-24-0010 | 1 | 999.698 | 1000.01 | 0 | 0.30701 | 0.247 | 0.107 | 0 | -0.14
2004-24-0010 | 2004-24-0010 | 1 | 502.993 | 502.014 | 0 | -0.979 | 0.783 | 0.295 | 0 | -0.488
2004-24-0010 | 2004-24-0010 | 1 | 297.552 | 297.991 | 0 | 0.439 | 1.418 | 0.54 | 0 | -0.878
2004-24-0010 | 2004-24-0010 | 1 | 199.257 | 200.002 | 0 | 0.74499 | 2.543 | 2.618 | 0 | 0.075
2004-24-0010 | 2004-24-0010 | 1 | 199.66 | 200.002 | 0 | 0.34199 | 2.535 | 2.618 | 0 | 0.083
2004-24-0010 | 2004-24-0010 | 1 | 100.81 | 100 | 0 | -0.81 | 3.642 | 3.697 | 0 | 0.055
2004-24-0010 | 2004-24-0010 | 1 | 49.132 | 50.011 | 0 | 0.879 | 4.556 | 4.606 | 0 | 0.05
2004-24-0010 | 2004-24-0010 | 0 | 29.984 | 0 | 0 | -29.984 | 5.349 | 0 | 0 | -5.349
2004-24-0010 | 2004-24-0010 | 2 | 9.906 | 9.494 | 0.69862 | -0.412 | 6.221 | 6.269 | 0.082025 | 0.048
2004-24-0010 | 2004-24-0010 | 0 | 0.698 | 0 | 0 | -0.698 | 5.945 | 0 | 0 | -5.945
2004-24-0012 | 2004-24-0012 | 1 | 947.909 | 946.997 | 0 | -0.91199 | 0.379 | 0.148 | 0 | -0.231
2004-24-0012 | 2004-24-0012 | 1 | 500.322 | 500.005 | 0 | -0.31699 | 0.958 | 0.356 | 0 | -0.602
2004-24-0012 | 2004-24-0012 | 1 | 300.184 | 299.978 | 0 | -0.20599 | 1.712 | 0.634 | 0 | -1.078
2004-24-0012 | 2004-24-0012 | 1 | 201.561 | 201.997 | 0 | 0.43599 | 2.398 | 2.517 | 0 | 0.119
2004-24-0012 | 2004-24-0012 | 1 | 101.826 | 101.994 | 0 | 0.16801 | 4.017 | 4.095 | 0 | 0.078
2004-24-0012 | 2004-24-0012 | 1 | 50.335 | 50.01 | 0 | -0.325 | 5.088 | 5.106 | 0 | 0.018
2004-24-0012 | 2004-24-0012 | 1 | 30.422 | 30.991 | 0 | 0.569 | 5.065 | 5.308 | 0 | 0.243
2004-24-0012 | 2004-24-0012 | 1 | 20.234 | 21.001 | 0 | 0.767 | 5.732 | 5.719 | 0 | -0.013
2004-24-0012 | 2004-24-0012 | 2 | 10.345 | 10.5075 | 0.70074 | 0.1625 | 6.142 | 6.105 | 0.0014141 | -0.037
2004-24-0012 | 2004-24-0012 | 0 | 0.901 | 0 | 0 | -0.901 | 6.202 | 0 | 0 | -6.202
2004-24-0014 | 2004-24-0014 | 0 | 194.876 | 0 | 0 | -194.876 | 2.068 | 0 | 0 | -2.068
2004-24-0014 | 2004-24-0014 | 1 | 150.345 | 150.001 | 0 | -0.34399 | 1.946 | 0.738 | 0 | -1.208
2004-24-0014 | 2004-24-0014 | 2 | 101.17 | 101.167 | 1.1915 | -0.0034943 | 3.148 | 1.176 | 0.014142 | -1.972
2004-24-0014 | 2004-24-0014 | 0 | 49.986 | 0 | 0 | -49.986 | 4.828 | 0 | 0 | -4.828
2004-24-0014 | 2004-24-0014 | 0 | 29.979 | 0 | 0 | -29.979 | 5.333 | 0 | 0 | -5.333
2004-24-0014 | 2004-24-0014 | 0 | 19.928 | 0 | 0 | -19.928 | 5.927 | 0 | 0 | -5.927
2004-24-0014 | 2004-24-0014 | 0 | 10.506 | 0 | 0 | -10.506 | 6.399 | 0 | 0 | -6.399
2004-24-0014 | 2004-24-0014 | 0 | 0.516 | 0 | 0 | -0.516 | 6.074 | 0 | 0 | -6.074
2004-24-0019 | 2004-24-0019 | 0 | 163.794 | 0 | 0 | -163.794 | 2.25 | 0 | 0 | -2.25
2004-24-0019 | 2004-24-0019 | 1 | 49.821 | 49.988 | 0 | 0.167 | 3.762 | 3.617 | 0 | -0.145
2004-24-0019 | 2004-24-0019 | 1 | 30.547 | 31.249 | 0 | 0.702 | 4.233 | 4.206 | 0 | -0.027
2004-24-0019 | 2004-24-0019 | 1 | 19.632 | 19.001 | 0 | -0.631 | 4.243 | 4.64 | 0 | 0.397
2004-24-0019 | 2004-24-0019 | 2 | 9.561 | 9.5015 | 0.71206 | -0.0595 | 6.801 | 6.6545 | 0.12374 | -0.1465
2004-24-0019 | 2004-24-0019 | 0 | 0.532 | 0 | 0 | -0.532 | 6.578 | 0 | 0 | -6.578
2004-24-0020 | 2004-24-0020 | 1 | 197.266 | 198.006 | 0 | 0.73999 | 1.845 | 1.867 | 0 | 0.022
2004-24-0020 | 2004-24-0020 | 1 | 150.264 | 150.003 | 0 | -0.261 | 2.82 | 2.952 | 0 | 0.132
2004-24-0020 | 2004-24-0020 | 1 | 100.498 | 99.972 | 0 | -0.526 | 4.354 | 4.432 | 0 | 0.078
2004-24-0020 | 2004-24-0020 | 1 | 31.919 | 30.991 | 0 | -0.928 | 4.595 | 4.696 | 0 | 0.101
2004-24-0020 | 2004-24-0020 | 1 | 14.851 | 15.005 | 0 | 0.154 | 5.589 | 6.136 | 0 | 0.547
2004-24-0020 | 2004-24-0020 | 2 | 8.677 | 8.505 | 0.69862 | -0.172 | 6.706 | 6.5805 | 0.02192 | -0.1255
2004-24-0020 | 2004-24-0020 | 1 | 5.199 | 5.005 | 0 | -0.194 | 6.39 | 6.379 | 0 | -0.011
2004-24-0020 | 2004-24-0020 | 1 | 3.151 | 2.996 | 0 | -0.155 | 6.325 | 6.251 | 0 | -0.074
2004-24-0020 | 2004-24-0020 | 0 | 0.014 | 0 | 0 | -0.014 | 6.38 | 0 | 0 | -6.38
2004-24-0022 | 2004-24-0022 | 2 | 174.635 | 175.256 | 0.35214 | 0.62102 | 2.293 | 2.383 | 0.019799 | 0.09
2004-24-0022 | 2004-24-0022 | 1 | 150.77 | 150.011 | 0 | -0.759 | 2.665 | 2.772 | 0 | 0.107
2004-24-0022 | 2004-24-0022 | 1 | 101.641 | 101.994 | 0 | 0.353 | 3.972 | 4.002 | 0 | 0.03
2004-24-0022 | 2004-24-0022 | 1 | 48.709 | 48.013 | 0 | -0.696 | 4.833 | 4.654 | 0 | -0.179
2004-24-0022 | 2004-24-0022 | 1 | 30.227 | 30.986 | 0 | 0.759 | 5.073 | 5.32 | 0 | 0.247
2004-24-0022 | 2004-24-0022 | 1 | 19.869 | 18.993 | 0 | -0.876 | 6.035 | 6.288 | 0 | 0.253
2004-24-0022 | 2004-24-0022 | 2 | 10.131 | 10.496 | 0.69297 | 0.365 | 6.837 | 6.8095 | 0.089803 | -0.0275
2004-24-0022 | 2004-24-0022 | 0 | 0.528 | 0 | 0 | -0.528 | 6.41 | 0 | 0 | -6.41
2004-24-0026 | 2004-24-0026 | 1 | 51.917 | 51.987 | 0 | 0.07 | 4.979 | 5.027 | 0 | 0.048
2004-24-0026 | 2004-24-0026 | 1 | 30.216 | 31.006 | 0 | 0.79 | 5.39 | 5.453 | 0 | 0.063
2004-24-0026 | 2004-24-0026 | 0 | 17.735 | 0 | 0 | -17.735 | 6.102 | 0 | 0 | -6.102
2004-24-0026 | 2004-24-0026 | 2 | 9.834 | 9.51 | 0.69296 | -0.324 | 5.974 | 6.173 | 0.070711 | 0.199
2004-24-0026 | 2004-24-0026 | 1 | 5.353 | 4.981 | 0 | -0.372 | 5.915 | 5.98 | 0 | 0.065
2004-24-0026 | 2004-24-0026 | 0 | 0.488 | 0 | 0 | -0.488 | 5.857 | 0 | 0 | -5.857
2004-24-0027 | 2004-24-0027 | 1 | 2499.55 | 2500 | 0 | 0.44507 | 2.256 | 2.056 | 0 | -0.2
2004-24-0027 | 2004-24-0027 | 1 | 2499.65 | 2500 | 0 | 0.34814 | 2.126 | 2.056 | 0 | -0.07
2004-24-0027 | 2004-24-0027 | 0 | 2001.52 | 0 | 0 | -2001.52 | 1.343 | 0 | 0 | -1.343
2004-24-0027 | 2004-24-0027 | 0 | 1501.65 | 0 | 0 | -1501.65 | 0.628 | 0 | 0 | -0.628
2004-24-0027 | 2004-24-0027 | 1 | 1000.35 | 999.987 | 0 | -0.36401 | 0.286 | 0.281 | 0 | -0.005
2004-24-0027 | 2004-24-0027 | 1 | 500.966 | 499.993 | 0 | -0.97299 | 0.769 | 0.83 | 0 | 0.061
2004-24-0027 | 2004-24-0027 | 1 | 299.067 | 300.017 | 0 | 0.95001 | 1.846 | 1.888 | 0 | 0.042
2004-24-0027 | 2004-24-0027 | 1 | 199.661 | 200.008 | 0 | 0.347 | 3.244 | 3.317 | 0 | 0.073
2004-24-0027 | 2004-24-0027 | 1 | 99.921 | 100.01 | 0 | 0.089005 | 4.252 | 4.191 | 0 | -0.061
2004-24-0029 | 2004-24-0029 | 2 | 1420.77 | 1420.5 | 0.71418 | -0.27002 | 0.733 | 0.642 | 0 | -0.091
2004-24-0029 | 2004-24-0029 | 1 | 999.859 | 999.982 | 0 | 0.12299 | 0.318 | 0.32 | 0 | 0.002
2004-24-0029 | 2004-24-0029 | 1 | 500.761 | 499.993 | 0 | -0.76797 | 0.796 | 0.828 | 0 | 0.032
2004-24-0029 | 2004-24-0029 | 1 | 300.463 | 299.986 | 0 | -0.47702 | 1.636 | 1.616 | 0 | -0.02
2004-24-0029 | 2004-24-0029 | 1 | 200.035 | 200.009 | 0 | -0.026001 | 2.166 | 2.131 | 0 | -0.035
2004-24-0029 | 2004-24-0029 | 1 | 100.319 | 100 | 0 | -0.319 | 4.998 | 4.99 | 0 | -0.0080004
2004-24-0029 | 2004-24-0029 | 1 | 50.076 | 49.997 | 0 | -0.078999 | 5.981 | 5.976 | 0 | -0.0050001
2004-24-0029 | 2004-24-0029 | 1 | 30.436 | 30.978 | 0 | 0.542 | 5.112 | 5.22 | 0 | 0.108
2004-24-0029 | 2004-24-0029 | 1 | 20.311 | 21.015 | 0 | 0.704 | 5.583 | 5.972 | 0 | 0.389
2004-24-0029 | 2004-24-0029 | 2 | 10.053 | 10.4885 | 0.69933 | 0.4355 | 6.064 | 6.342 | 0.014143 | 0.278
2004-24-0029 | 2004-24-0029 | 0 | 0.298 | 0 | 0 | -0.298 | 5.923 | 0 | 0 | -5.923
2004-24-0031 | 2004-24-0031 | 0 | 277.8 | 0 | 0 | -277.8 | 1.68 | 0 | 0 | -1.68
2004-24-0031 | 2004-24-0031 | 1 | 200.939 | 199.992 | 0 | -0.94699 | 2.081 | 2.151 | 0 | 0.07
2004-24-0031 | 2004-24-0031 | 1 | 99.861 | 99.999 | 0 | 0.138 | 4.561 | 4.443 | 0 | -0.118
2004-24-0031 | 2004-24-0031 | 1 | 50.203 | 50.008 | 0 | -0.195 | 5.888 | 5.13 | 0 | -0.758
2004-24-0031 | 2004-24-0031 | 1 | 30.557 | 31.007 | 0 | 0.45 | 5.001 | 5.029 | 0 | 0.028
2004-24-0031 | 2004-24-0031 | 1 | 20.224 | 21.007 | 0 | 0.783 | 5.787 | 5.561 | 0 | -0.226
2004-24-0031 | 2004-24-0031 | 2 | 10.277 | 10.502 | 0.71701 | 0.225 | 6.14 | 6.2195 | 0.030406 | 0.0795
2004-24-0031 | 2004-24-0031 | 0 | 0.673 | 0 | 0 | -0.673 | 6.199 | 0 | 0 | -6.199
2004-24-0032 | 2004-24-0032 | 0 | 184.642 | 0 | 0 | -184.642 | 1.744 | 0 | 0 | -1.744
2004-24-0032 | 2004-24-0032 | 1 | 152.278 | 152.007 | 0 | -0.271 | 1.81 | 1.899 | 0 | 0.089
2004-24-0032 | 2004-24-0032 | 1 | 101.351 | 101.99 | 0 | 0.639 | 2.655 | 2.767 | 0 | 0.112
2004-24-0032 | 2004-24-0032 | 1 | 77.001 | 76.996 | 0 | -0.0049972 | 3.561 | 3.621 | 0 | 0.06
2004-24-0032 | 2004-24-0032 | 1 | 50.056 | 50.029 | 0 | -0.027 | 4.193 | 4.512 | 0 | 0.319
2004-24-0032 | 2004-24-0032 | 1 | 30.241 | 31.009 | 0 | 0.768 | 4.989 | 5.452 | 0 | 0.463
2004-24-0032 | 2004-24-0032 | 1 | 20.453 | 21.011 | 0 | 0.558 | 5.846 | 6.332 | 0 | 0.486
2004-24-0032 | 2004-24-0032 | 2 | 9.556 | 9.5005 | 0.71771 | -0.0555 | 6.881 | 6.6085 | 0.13789 | -0.2725
2004-24-0032 | 2004-24-0032 | 0 | 0.542 | 0 | 0 | -0.542 | 6.075 | 0 | 0 | -6.075
2004-24-0034 | 2004-24-0034 | 1 | 140.596 | 141.012 | 0 | 0.416 | 2.001 | 2.012 | 0 | 0.011
2004-24-0034 | 2004-24-0034 | 1 | 100.26 | 100 | 0 | -0.26 | 2.373 | 2.366 | 0 | -0.007
2004-24-0034 | 2004-24-0034 | 1 | 35.7 | 35.986 | 0 | 0.286 | 3.927 | 4.113 | 0 | 0.186
2004-24-0034 | 2004-24-0034 | 1 | 20.192 | 20.997 | 0 | 0.805 | 4.407 | 4.472 | 0 | 0.065
2004-24-0034 | 2004-24-0034 | 1 | 14.96 | 15.016 | 0 | 0.056 | 4.707 | 4.702 | 0 | -0.0049996
2004-24-0034 | 2004-24-0034 | 2 | 10.467 | 10.4965 | 0.68802 | 0.0295 | 4.799 | 4.8085 | 0.023335 | 0.0095
2004-24-0034 | 2004-24-0034 | 1 | 5.175 | 4.993 | 0 | -0.182 | 4.885 | 5.03 | 0 | 0.145
2004-24-0034 | 2004-24-0034 | 0 | 0.752 | 0 | 0 | -0.752 | 4.971 | 0 | 0 | -4.971
2004-24-0037 | 2004-24-0037 | 0 | 230.423 | 0 | 0 | -230.423 | 2.167 | 0 | 0 | -2.167
2004-24-0037 | 2004-24-0037 | 1 | 199.261 | 200.004 | 0 | 0.743 | 2.417 | 2.408 | 0 | -0.0090001
2004-24-0037 | 2004-24-0037 | 1 | 99.618 | 99.994 | 0 | 0.37601 | 4.023 | 4.188 | 0 | 0.165
2004-24-0037 | 2004-24-0037 | 1 | 49.869 | 50.005 | 0 | 0.136 | 5.022 | 5.095 | 0 | 0.073
2004-24-0037 | 2004-24-0037 | 1 | 19.093 | 19 | 0 | -0.093 | 6.058 | 6.416 | 0 | 0.358
2004-24-0037 | 2004-24-0037 | 2 | 10.532 | 10.504 | 0.71701 | -0.028 | 6.731 | 6.573 | 0.049497 | -0.158
2004-24-0037 | 2004-24-0037 | 1 | 6.117 | 6.994 | 0 | 0.877 | 6.308 | 6.386 | 0 | 0.078
2004-24-0037 | 2004-24-0037 | 1 | 3.267 | 3.013 | 0 | -0.254 | 6.256 | 6.33 | 0 | 0.074
2004-24-0037 | 2004-24-0037 | 0 | 0.369 | 0 | 0 | -0.369 | 6.271 | 0 | 0 | -6.271
2004-24-0038 | 2004-24-0038 | 1 | 361.268 | 362.155 | 0 | 0.88699 | 1.43 | 1.394 | 0 | -0.036
2004-24-0038 | 2004-24-0038 | 1 | 200.004 | 200 | 0 | -0.0039978 | 2.294 | 2.261 | 0 | -0.033
2004-24-0038 | 2004-24-0038 | 1 | 99.654 | 100.003 | 0 | 0.349 | 3.613 | 3.607 | 0 | -0.0059998
2004-24-0038 | 2004-24-0038 | 1 | 49.585 | 50.011 | 0 | 0.426 | 4.413 | 4.58 | 0 | 0.167
2004-24-0038 | 2004-24-0038 | 1 | 28.561 | 29.012 | 0 | 0.451 | 4.433 | 4.792 | 0 | 0.359
2004-24-0038 | 2004-24-0038 | 1 | 19.098 | 19.028 | 0 | -0.07 | 5.629 | 5.75 | 0 | 0.121
2004-24-0038 | 2004-24-0038 | 3 | 7.947 | 7.968 | 0.94258 | 0.021 | 6.068 | 6.1827 | 0.17036 | 0.11467
2004-24-0038 | 2004-24-0038 | 2 | 4.65 | 4.7945 | 0.28779 | 0.1445 | 6.037 | 6.4835 | 0.037477 | 0.4465
2004-24-0038 | 2004-24-0038 | 0 | 0.594 | 0 | 0 | -0.594 | 6.23 | 0 | 0 | -6.23
2004-24-0039 | 2004-24-0039 | 0 | 818.545 | 0 | 0 | -818.545 | 0.231 | 0 | 0 | -0.231
2004-24-0039 | 2004-24-0039 | 0 | 699.651 | 0 | 0 | -699.651 | 0.31 | 0 | 0 | -0.31
2004-24-0039 | 2004-24-0039 | 1 | 500.713 | 499.994 | 0 | -0.71903 | 0.776 | 0.721 | 0 | -0.055
2004-24-0039 | 2004-24-0039 | 1 | 300.195 | 300.014 | 0 | -0.181 | 1.454 | 1.48 | 0 | 0.026
2004-24-0039 | 2004-24-0039 | 1 | 199.314 | 200.009 | 0 | 0.69501 | 2.732 | 2.857 | 0 | 0.125
2004-24-0039 | 2004-24-0039 | 1 | 99.966 | 99.993 | 0 | 0.026993 | 4.245 | 4.305 | 0 | 0.06
2004-24-0039 | 2004-24-0039 | 1 | 49.807 | 50 | 0 | 0.193 | 5.325 | 5.488 | 0 | 0.163
2004-24-0039 | 2004-24-0039 | 1 | 29.627 | 28.998 | 0 | -0.629 | 6.694 | 6.874 | 0 | 0.18
2004-24-0039 | 2004-24-0039 | 1 | 19.643 | 19.005 | 0 | -0.638 | 6.757 | 6.83 | 0 | 0.073
2004-24-0039 | 2004-24-0039 | 2 | 10.073 | 10.5 | 0.70993 | 0.427 | 6.485 | 6.1595 | 0.014849 | -0.3255
2004-24-0039 | 2004-24-0039 | 0 | 0.553 | 0 | 0 | -0.553 | 6.078 | 0 | 0 | -6.078
2004-24-0041 | 2004-24-0041 | 1 | 140.518 | 140.986 | 0 | 0.46799 | 1.927 | 1.84 | 0 | -0.087
2004-24-0041 | 2004-24-0041 | 1 | 124.292 | 125.001 | 0 | 0.709 | 1.759 | 1.844 | 0 | 0.085
2004-24-0041 | 2004-24-0041 | 1 | 100.85 | 99.998 | 0 | -0.852 | 2.693 | 2.83 | 0 | 0.137
2004-24-0041 | 2004-24-0041 | 1 | 73.863 | 72.994 | 0 | -0.869 | 3.085 | 3.335 | 0 | 0.25
2004-24-0041 | 2004-24-0041 | 1 | 28.648 | 28.999 | 0 | 0.351 | 5.365 | 5.197 | 0 | -0.168
2004-24-0041 | 2004-24-0041 | 1 | 14.413 | 14.988 | 0 | 0.575 | 5.54 | 5.767 | 0 | 0.227
2004-24-0041 | 2004-24-0041 | 2 | 9.208 | 9.5005 | 0.71347 | 0.2925 | 6.444 | 6.5935 | 0.041719 | 0.1495
2004-24-0041 | 2004-24-0041 | 0 | 3.723 | 0 | 0 | -3.723 | 6.887 | 0 | 0 | -6.887
2004-24-0041 | 2004-24-0041 | 0 | 2.911 | 0 | 0 | -2.911 | 6.941 | 0 | 0 | -6.941
2004-24-0041 | 2004-24-0041 | 0 | 0.864 | 0 | 0 | -0.864 | 7.05 | 0 | 0 | -7.05
2004-24-0044 | 2004-24-0044 | 0 | 104.967 | 0 | 0 | -104.967 | 1.485 | 0 | 0 | -1.485
2004-24-0044 | 2004-24-0044 | 1 | 76.03 | 76.988 | 0 | 0.958 | 2.641 | 2.763 | 0 | 0.122
2004-24-0044 | 2004-24-0044 | 1 | 50.479 | 49.992 | 0 | -0.487 | 4.632 | 4.751 | 0 | 0.119
2004-24-0044 | 2004-24-0044 | 1 | 29.139 | 28.988 | 0 | -0.151 | 4.951 | 5.19 | 0 | 0.239
2004-24-0044 | 2004-24-0044 | 1 | 21.027 | 21.004 | 0 | -0.023001 | 5.425 | 5.898 | 0 | 0.473
2004-24-0044 | 2004-24-0044 | 3 | 8.763 | 8.322 | 0.29098 | -0.441 | 7.06 | 7.0537 | 0.023671 | -0.0063333
2004-24-0044 | 2004-24-0044 | 0 | 1.023 | 0 | 0 | -1.023 | 6.854 | 0 | 0 | -6.854
2004-24-0045 | 2004-24-0045 | 1 | 219.688 | 220.002 | 0 | 0.314 | 0.034 | 0.065 | 0 | 0.031
2004-24-0045 | 2004-24-0045 | 1 | 200.2 | 200.013 | 0 | -0.187 | 0.034 | 0.071 | 0 | 0.037
2004-24-0045 | 2004-24-0045 | 1 | 174.571 | 174.996 | 0 | 0.425 | 0.033 | 0.077 | 0 | 0.044
2004-24-0045 | 2004-24-0045 | 1 | 150.144 | 149.997 | 0 | -0.147 | 0.035 | 0.125 | 0 | 0.09
2004-24-0045 | 2004-24-0045 | 1 | 140.343 | 140.994 | 0 | 0.651 | 0.153 | 0.443 | 0 | 0.29
2004-24-0045 | 2004-24-0045 | 1 | 100.249 | 100.001 | 0 | -0.248 | 1.347 | 1.295 | 0 | -0.052
2004-24-0045 | 2004-24-0045 | 1 | 75.263 | 74.992 | 0 | -0.271 | 1.375 | 1.599 | 0 | 0.224
2004-24-0045 | 2004-24-0045 | 1 | 50.416 | 49.994 | 0 | -0.422 | 2.768 | 2.975 | 0 | 0.207
2004-24-0045 | 2004-24-0045 | 1 | 25.494 | 24.989 | 0 | -0.505 | 3.511 | 3.428 | 0 | -0.083
2004-24-0045 | 2004-24-0045 | 2 | 10.131 | 10.5045 | 0.69367 | 0.3735 | 3.9 | 4.141 | 0.069296 | 0.241
2004-24-0045 | 2004-24-0045 | 1 | 4.882 | 5 | 0 | 0.118 | 5.244 | 5.558 | 0 | 0.314
Create Fit Sheet