## File List
Number of Files= |  | 22
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2004-24-0002 | 2004-24-0002 | 11 | 15 | 2004-24-0002 & 2004-24-0002
2 | 2004-24-0003 | 2004-24-0003 | 17 | 25 | 2004-24-0003 & 2004-24-0003
3 | 2004-24-0006 | 2004-24-0006 | 27 | 34 | 2004-24-0006 & 2004-24-0006
4 | 2004-24-0008 | 2004-24-0008 | 36 | 41 | 2004-24-0008 & 2004-24-0008
5 | 2004-24-0010 | 2004-24-0010 | 43 | 54 | 2004-24-0010 & 2004-24-0010
6 | 2004-24-0012 | 2004-24-0012 | 56 | 65 | 2004-24-0012 & 2004-24-0012
7 | 2004-24-0014 | 2004-24-0014 | 67 | 74 | 2004-24-0014 & 2004-24-0014
8 | 2004-24-0019 | 2004-24-0019 | 76 | 81 | 2004-24-0019 & 2004-24-0019
9 | 2004-24-0020 | 2004-24-0020 | 83 | 91 | 2004-24-0020 & 2004-24-0020
10 | 2004-24-0022 | 2004-24-0022 | 93 | 100 | 2004-24-0022 & 2004-24-0022
11 | 2004-24-0026 | 2004-24-0026 | 102 | 107 | 2004-24-0026 & 2004-24-0026
12 | 2004-24-0027 | 2004-24-0027 | 109 | 117 | 2004-24-0027 & 2004-24-0027
13 | 2004-24-0029 | 2004-24-0029 | 119 | 129 | 2004-24-0029 & 2004-24-0029
14 | 2004-24-0031 | 2004-24-0031 | 131 | 138 | 2004-24-0031 & 2004-24-0031
15 | 2004-24-0032 | 2004-24-0032 | 140 | 148 | 2004-24-0032 & 2004-24-0032
16 | 2004-24-0034 | 2004-24-0034 | 150 | 157 | 2004-24-0034 & 2004-24-0034
17 | 2004-24-0037 | 2004-24-0037 | 159 | 167 | 2004-24-0037 & 2004-24-0037
18 | 2004-24-0038 | 2004-24-0038 | 169 | 177 | 2004-24-0038 & 2004-24-0038
19 | 2004-24-0039 | 2004-24-0039 | 179 | 189 | 2004-24-0039 & 2004-24-0039
20 | 2004-24-0041 | 2004-24-0041 | 191 | 200 | 2004-24-0041 & 2004-24-0041
21 | 2004-24-0044 | 2004-24-0044 | 202 | 208 | 2004-24-0044 & 2004-24-0044
22 | 2004-24-0045 | 2004-24-0045 | 210 | 220 | 2004-24-0045 & 2004-24-0045

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.011829 |  | X | CALC Y
m= | -0.00012148 | 0.00010887 |  | Std Dev of Resid |  | 0.10862 |  | 5.003 | 0.023088
b= | 0.023695 | 0.014637 |  | Resid Sum of Squares |  | 1.227 |  | 499.993 | -0.037044
# of Values Extracted = |  |  | 189
# of Values Used in Fit = |  |  | 106
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 49.997 | 5.045 | 0 | -0.139 | 0.017622 | 0.15662 |  | 49.997 | -0.139
1 | NO | 28.994 | 5.543 | 0 | 0.283 | 0.020173 | -0.26283 |  | 9.5005 | -0.043
1 | NO | 18.994 | 6.155 | 0 | 0.307 | 0.021388 | -0.28561 |  | 149.991 | 0.191
1 | YES | 9.5005 | 6.109 | 0.10889 | -0.043 | 0.022541 | 0.065541 |  | 100 | 0.202
1 | NO | 0 | 0 | 0 | -5.945 | 0.023695 | 5.9687 |  | 29.002 | 0.095
2 | NO | 0 | 0 | 0 | -2.338 | 0.023695 | 2.3617 |  | 18.98 | 0.065
2 | NO | 0 | 0 | 0 | -1.978 | 0.023695 | 2.0017 |  | 10.501 | 0.1335
2 | YES | 149.991 | 2.294 | 0 | 0.191 | 0.0054743 | -0.18553 |  | 202.1 | -0.151
2 | YES | 100 | 3.552 | 0 | 0.202 | 0.011547 | -0.19045 |  | 99.961 | -0.088
2 | NO | 49.991 | 5.313 | 0 | 0.694 | 0.017622 | -0.67638 |  | 63.996 | 0.048
2 | YES | 29.002 | 6.307 | 0 | 0.095 | 0.020172 | -0.074828 |  | 27.011 | 0.205
2 | YES | 18.98 | 6.374 | 0 | 0.065 | 0.02139 | -0.04361 |  | 18.992 | -0.048
2 | YES | 10.501 | 6.5415 | 0.027577 | 0.1335 | 0.02242 | -0.11108 |  | 10.4915 | 0.106
2 | NO | 0 | 0 | 0 | -6.216 | 0.023695 | 6.2397 |  | 5.003 | -0.141
3 | NO | 0 | 0 | 0 | -1.33 | 0.023695 | 1.3537 |  | 200.002 | 0.022
3 | NO | 1500.01 | 0.151 | 0 | -0.432 | -0.15853 | 0.27347 |  | 200.002 | 0.03
3 | NO | 0 | 0 | 0 | -0.588 | 0.023695 | 0.6117 |  | 100 | 0.004
3 | NO | 1003 | 0.053 | 0 | -0.214 | -0.09815 | 0.11585 |  | 50.011 | -0.0010004
3 | NO | 0 | 0 | 0 | -0.889 | 0.023695 | 0.9127 |  | 9.494 | -0.0030003
3 | NO | 0 | 0 | 0 | -2.205 | 0.023695 | 2.2287 |  | 201.997 | 0.067
3 | YES | 202.1 | 2.879 | 0 | -0.151 | -0.00085591 | 0.15014 |  | 101.994 | 0.026
3 | YES | 99.961 | 3.482 | 0 | -0.088 | 0.011552 | 0.099552 |  | 50.01 | -0.034
4 | YES | 63.996 | 4.645 | 0 | 0.048 | 0.015921 | -0.032079 |  | 30.991 | 0.191
4 | YES | 27.011 | 5.878 | 0 | 0.205 | 0.020414 | -0.18459 |  | 21.001 | -0.064
4 | YES | 18.992 | 6.106 | 0 | -0.048 | 0.021388 | 0.069388 |  | 10.5075 | -0.088
4 | YES | 10.4915 | 6.44 | 0.022627 | 0.106 | 0.022421 | -0.083578 |  | 49.988 | -0.197
4 | YES | 5.003 | 5.831 | 0 | -0.141 | 0.023088 | 0.16409 |  | 31.249 | -0.079
4 | NO | 0 | 0 | 0 | -5.833 | 0.023695 | 5.8567 |  | 9.5015 | -0.1975
5 | NO | 1999.75 | 1.378 | 0 | -0.137 | -0.21924 | -0.082235 |  | 198.006 | -0.031
5 | NO | 1500 | 0.175 | 0 | -0.513 | -0.15853 | 0.35447 |  | 150.003 | 0.079
5 | NO | 1000.01 | 0.053 | 0 | -0.194 | -0.097786 | 0.096214 |  | 99.972 | 0.026
5 | NO | 502.014 | 0.241 | 0 | -0.542 | -0.03729 | 0.50471 |  | 30.991 | 0.05
5 | NO | 297.991 | 0.487 | 0 | -0.931 | -0.012505 | 0.9185 |  | 8.505 | -0.1765
5 | YES | 200.002 | 2.565 | 0 | 0.022 | -0.00060104 | -0.022601 |  | 5.005 | -0.062
5 | YES | 200.002 | 2.565 | 0 | 0.03 | -0.00060104 | -0.030601 |  | 175.256 | 0.037
5 | YES | 100 | 3.646 | 0 | 0.004 | 0.011547 | 0.0075473 |  | 150.011 | 0.054
5 | YES | 50.011 | 4.555 | 0 | -0.0010004 | 0.01762 | 0.01862 |  | 101.994 | -0.022
5 | NO | 0 | 0 | 0 | -5.349 | 0.023695 | 5.3727 |  | 48.013 | -0.231
5 | YES | 9.494 | 6.218 | 0.082025 | -0.0030003 | 0.022542 | 0.025542 |  | 30.986 | 0.195
5 | NO | 0 | 0 | 0 | -5.945 | 0.023695 | 5.9687 |  | 18.993 | 0.202
6 | NO | 946.997 | 0.094 | 0 | -0.285 | -0.091346 | 0.19365 |  | 10.496 | -0.0785
6 | NO | 500.005 | 0.302 | 0 | -0.656 | -0.037046 | 0.61895 |  | 51.987 | -0.0040002
6 | NO | 299.978 | 0.581 | 0 | -1.131 | -0.012746 | 1.1183 |  | 31.006 | 0.011
6 | YES | 201.997 | 2.465 | 0 | 0.067 | -0.00084339 | -0.067843 |  | 9.51 | 0.148
6 | YES | 101.994 | 4.043 | 0 | 0.026 | 0.011305 | -0.014695 |  | 499.993 | 0.008
6 | YES | 50.01 | 5.054 | 0 | -0.034 | 0.01762 | 0.05162 |  | 300.017 | -0.011
6 | YES | 30.991 | 5.256 | 0 | 0.191 | 0.019931 | -0.17107 |  | 200.008 | 0.021
6 | YES | 21.001 | 5.668 | 0 | -0.064 | 0.021144 | 0.085144 |  | 100.01 | -0.113
6 | YES | 10.5075 | 6.054 | 0.0014141 | -0.088 | 0.022419 | 0.11042 |  | 499.993 | -0.021
6 | NO | 0 | 0 | 0 | -6.202 | 0.023695 | 6.2257 |  | 299.986 | -0.073
7 | NO | 0 | 0 | 0 | -2.068 | 0.023695 | 2.0917 |  | 200.009 | -0.088
7 | NO | 150.001 | 0.684 | 0 | -1.262 | 0.0054731 | 1.2675 |  | 100 | -0.06
7 | NO | 101.167 | 1.1225 | 0.014849 | -2.0255 | 0.011405 | 2.0369 |  | 49.997 | -0.057
7 | NO | 0 | 0 | 0 | -4.828 | 0.023695 | 4.8517 |  | 30.978 | 0.056
7 | NO | 0 | 0 | 0 | -5.333 | 0.023695 | 5.3567 |  | 10.4885 | 0.227
7 | NO | 0 | 0 | 0 | -5.927 | 0.023695 | 5.9507 |  | 199.992 | 0.017
7 | NO | 0 | 0 | 0 | -6.399 | 0.023695 | 6.4227 |  | 99.999 | -0.17
7 | NO | 0 | 0 | 0 | -6.074 | 0.023695 | 6.0977 |  | 31.007 | -0.024
8 | NO | 0 | 0 | 0 | -2.25 | 0.023695 | 2.2737 |  | 10.502 | 0.0285
8 | YES | 49.988 | 3.565 | 0 | -0.197 | 0.017623 | 0.21462 |  | 152.007 | 0.036
8 | YES | 31.249 | 4.154 | 0 | -0.079 | 0.019899 | 0.098899 |  | 101.99 | 0.059
8 | NO | 19.001 | 4.588 | 0 | 0.345 | 0.021387 | -0.32361 |  | 76.996 | 0.0079999
8 | YES | 9.5015 | 6.6035 | 0.12374 | -0.1975 | 0.022541 | 0.22004 |  | 141.012 | -0.042
8 | NO | 0 | 0 | 0 | -6.578 | 0.023695 | 6.6017 |  | 100 | -0.059
9 | YES | 198.006 | 1.814 | 0 | -0.031 | -0.00035856 | 0.030641 |  | 35.986 | 0.134
9 | YES | 150.003 | 2.899 | 0 | 0.079 | 0.0054729 | -0.073527 |  | 20.997 | 0.013
9 | YES | 99.972 | 4.38 | 0 | 0.026 | 0.011551 | -0.014449 |  | 15.016 | -0.057
9 | YES | 30.991 | 4.645 | 0 | 0.05 | 0.019931 | -0.03007 |  | 10.4965 | -0.042
9 | NO | 15.005 | 6.085 | 0 | 0.496 | 0.021873 | -0.47413 |  | 200.004 | -0.062
9 | YES | 8.505 | 6.5295 | 0.02192 | -0.1765 | 0.022662 | 0.19916 |  | 99.994 | 0.113
9 | YES | 5.005 | 6.328 | 0 | -0.062 | 0.023087 | 0.085087 |  | 50.005 | 0.021
9 | NO | 2.996 | 6.2 | 0 | -0.125 | 0.023331 | 0.14833 |  | 10.504 | -0.209
9 | NO | 0 | 0 | 0 | -6.38 | 0.023695 | 6.4037 |  | 6.994 | 0.027
10 | YES | 175.256 | 2.33 | 0.019799 | 0.037 | 0.0024051 | -0.034595 |  | 362.155 | -0.089
10 | YES | 150.011 | 2.719 | 0 | 0.054 | 0.0054719 | -0.048528 |  | 200 | -0.086
10 | YES | 101.994 | 3.95 | 0 | -0.022 | 0.011305 | 0.033305 |  | 100.003 | -0.058
10 | YES | 48.013 | 4.602 | 0 | -0.231 | 0.017863 | 0.24886 |  | 50.011 | 0.115
10 | YES | 30.986 | 5.268 | 0 | 0.195 | 0.019931 | -0.17507 |  | 19.028 | 0.069
10 | YES | 18.993 | 6.237 | 0 | 0.202 | 0.021388 | -0.18061 |  | 7.968 | 0.063667
10 | YES | 10.496 | 6.7585 | 0.089802 | -0.0785 | 0.02242 | 0.10092 |  | 300.014 | -0.028
10 | NO | 0 | 0 | 0 | -6.41 | 0.023695 | 6.4337 |  | 200.009 | 0.073
11 | YES | 51.987 | 4.975 | 0 | -0.0040002 | 0.01738 | 0.02138 |  | 99.993 | 0.0079999
11 | YES | 31.006 | 5.401 | 0 | 0.011 | 0.019929 | 0.0089285 |  | 50 | 0.111
11 | NO | 0 | 0 | 0 | -6.102 | 0.023695 | 6.1257 |  | 28.998 | 0.129
11 | YES | 9.51 | 6.122 | 0.070711 | 0.148 | 0.02254 | -0.12546 |  | 19.005 | 0.023
11 | NO | 4.981 | 5.929 | 0 | 0.014 | 0.02309 | 0.0090903 |  | 140.986 | -0.14
11 | NO | 0 | 0 | 0 | -5.857 | 0.023695 | 5.8807 |  | 125.001 | 0.032
12 | NO | 2500 | 2.003 | 0 | -0.253 | -0.28001 | -0.027006 |  | 99.998 | 0.085
12 | NO | 2500 | 2.003 | 0 | -0.123 | -0.28001 | -0.15701 |  | 72.994 | 0.197
12 | NO | 0 | 0 | 0 | -1.343 | 0.023695 | 1.3667 |  | 28.999 | -0.219
12 | NO | 0 | 0 | 0 | -0.628 | 0.023695 | 0.6517 |  | 14.988 | 0.176
12 | NO | 999.987 | 0.227 | 0 | -0.059 | -0.097784 | -0.038784 |  | 9.5005 | 0.0985
12 | YES | 499.993 | 0.777 | 0 | 0.008 | -0.037044 | -0.045044 |  | 76.988 | 0.069
12 | YES | 300.017 | 1.835 | 0 | -0.011 | -0.012751 | -0.001751 |  | 49.992 | 0.067
12 | YES | 200.008 | 3.265 | 0 | 0.021 | -0.00060177 | -0.021602 |  | 28.988 | 0.187
12 | YES | 100.01 | 4.139 | 0 | -0.113 | 0.011546 | 0.12455 |  | 8.322 | -0.057
13 | NO | 1420.5 | 0.588 | 0 | -0.145 | -0.14887 | -0.0038679 |  | 220.002 | -0.023
13 | NO | 999.982 | 0.266 | 0 | -0.052 | -0.097783 | -0.045783 |  | 200.013 | -0.017
13 | YES | 499.993 | 0.775 | 0 | -0.021 | -0.037044 | -0.016044 |  | 174.996 | -0.01
13 | YES | 299.986 | 1.563 | 0 | -0.073 | -0.012747 | 0.060253 |  | 149.997 | 0.036
13 | YES | 200.009 | 2.078 | 0 | -0.088 | -0.00060189 | 0.087398 |  | 140.994 | 0.237
13 | YES | 100 | 4.938 | 0 | -0.06 | 0.011547 | 0.071547 |  | 100.001 | -0.105
13 | YES | 49.997 | 5.924 | 0 | -0.057 | 0.017622 | 0.074622 |  | 74.992 | 0.171
13 | YES | 30.978 | 5.168 | 0 | 0.056 | 0.019932 | -0.036068 |  | 49.994 | 0.154
13 | NO | 21.015 | 5.921 | 0 | 0.338 | 0.021142 | -0.31686 |  | 24.989 | -0.136
13 | YES | 10.4885 | 6.291 | 0.014142 | 0.227 | 0.022421 | -0.20458 |  | 10.5045 | 0.189
13 | NO | 0 | 0 | 0 | -5.923 | 0.023695 | 5.9467
14 | NO | 0 | 0 | 0 | -1.68 | 0.023695 | 1.7037 |  |  | 0.012374
14 | YES | 199.992 | 2.098 | 0 | 0.017 | -0.00059982 | -0.0176
14 | YES | 99.999 | 4.391 | 0 | -0.17 | 0.011547 | 0.18155
14 | NO | 50.008 | 5.078 | 0 | -0.81 | 0.01762 | 0.82762
14 | YES | 31.007 | 4.977 | 0 | -0.024 | 0.019929 | 0.043928
14 | NO | 21.007 | 5.51 | 0 | -0.277 | 0.021143 | 0.29814
14 | YES | 10.502 | 6.1685 | 0.030406 | 0.0285 | 0.02242 | -0.0060806
14 | NO | 0 | 0 | 0 | -6.199 | 0.023695 | 6.2227
15 | NO | 0 | 0 | 0 | -1.744 | 0.023695 | 1.7677
15 | YES | 152.007 | 1.846 | 0 | 0.036 | 0.0052294 | -0.030771
15 | YES | 101.99 | 2.714 | 0 | 0.059 | 0.011306 | -0.047694
15 | YES | 76.996 | 3.569 | 0 | 0.0079999 | 0.014342 | 0.0063419
15 | NO | 50.029 | 4.46 | 0 | 0.267 | 0.017618 | -0.24938
15 | NO | 31.009 | 5.4 | 0 | 0.411 | 0.019928 | -0.39107
15 | NO | 21.011 | 6.281 | 0 | 0.435 | 0.021143 | -0.41386
15 | NO | 9.5005 | 6.5575 | 0.13789 | -0.3235 | 0.022541 | 0.34604
15 | NO | 0 | 0 | 0 | -6.075 | 0.023695 | 6.0987
16 | YES | 141.012 | 1.959 | 0 | -0.042 | 0.0065651 | 0.048565
16 | YES | 100 | 2.314 | 0 | -0.059 | 0.011547 | 0.070547
16 | YES | 35.986 | 4.061 | 0 | 0.134 | 0.019324 | -0.11468
16 | YES | 20.997 | 4.42 | 0 | 0.013 | 0.021145 | 0.0081446
16 | YES | 15.016 | 4.65 | 0 | -0.057 | 0.021871 | 0.078871
16 | YES | 10.4965 | 4.757 | 0.024042 | -0.042 | 0.02242 | 0.06442
16 | NO | 4.993 | 4.978 | 0 | 0.093 | 0.023089 | -0.069911
16 | NO | 0 | 0 | 0 | -4.971 | 0.023695 | 4.9947
17 | NO | 0 | 0 | 0 | -2.167 | 0.023695 | 2.1907
17 | YES | 200.004 | 2.355 | 0 | -0.062 | -0.00060128 | 0.061399
17 | YES | 99.994 | 4.136 | 0 | 0.113 | 0.011548 | -0.10145
17 | YES | 50.005 | 5.043 | 0 | 0.021 | 0.017621 | -0.0033797
17 | NO | 19 | 6.365 | 0 | 0.307 | 0.021387 | -0.28561
17 | YES | 10.504 | 6.522 | 0.049498 | -0.209 | 0.022419 | 0.23142
17 | YES | 6.994 | 6.335 | 0 | 0.027 | 0.022846 | -0.0041543
17 | NO | 3.013 | 6.279 | 0 | 0.023 | 0.023329 | 0.0003295
17 | NO | 0 | 0 | 0 | -6.271 | 0.023695 | 6.2947
18 | YES | 362.155 | 1.341 | 0 | -0.089 | -0.020299 | 0.068701
18 | YES | 200 | 2.208 | 0 | -0.086 | -0.0006008 | 0.085399
18 | YES | 100.003 | 3.555 | 0 | -0.058 | 0.011547 | 0.069547
18 | YES | 50.011 | 4.528 | 0 | 0.115 | 0.01762 | -0.09738
18 | NO | 29.012 | 4.74 | 0 | 0.307 | 0.020171 | -0.28683
18 | YES | 19.028 | 5.698 | 0 | 0.069 | 0.021384 | -0.047616
18 | YES | 7.968 | 6.1317 | 0.17036 | 0.063667 | 0.022727 | -0.040939
18 | NO | 4.7945 | 6.4325 | 0.037477 | 0.3955 | 0.023113 | -0.37239
18 | NO | 0 | 0 | 0 | -6.23 | 0.023695 | 6.2537
19 | NO | 0 | 0 | 0 | -0.231 | 0.023695 | 0.2547
19 | NO | 0 | 0 | 0 | -0.31 | 0.023695 | 0.3337
19 | NO | 499.994 | 0.667 | 0 | -0.109 | -0.037044 | 0.071956
19 | YES | 300.014 | 1.426 | 0 | -0.028 | -0.012751 | 0.015249
19 | YES | 200.009 | 2.805 | 0 | 0.073 | -0.00060189 | -0.073602
19 | YES | 99.993 | 4.253 | 0 | 0.0079999 | 0.011548 | 0.0035482
19 | YES | 50 | 5.436 | 0 | 0.111 | 0.017621 | -0.093379
19 | YES | 28.998 | 6.823 | 0 | 0.129 | 0.020173 | -0.10883
19 | YES | 19.005 | 6.78 | 0 | 0.023 | 0.021387 | -0.0016136
19 | NO | 10.5 | 6.1085 | 0.014849 | -0.3765 | 0.02242 | 0.39892
19 | NO | 0 | 0 | 0 | -6.078 | 0.023695 | 6.1017
20 | YES | 140.986 | 1.787 | 0 | -0.14 | 0.0065683 | 0.14657
20 | YES | 125.001 | 1.791 | 0 | 0.032 | 0.0085101 | -0.02349
20 | YES | 99.998 | 2.778 | 0 | 0.085 | 0.011548 | -0.073452
20 | YES | 72.994 | 3.282 | 0 | 0.197 | 0.014828 | -0.18217
20 | YES | 28.999 | 5.146 | 0 | -0.219 | 0.020173 | 0.23917
20 | YES | 14.988 | 5.716 | 0 | 0.176 | 0.021875 | -0.15413
20 | YES | 9.5005 | 6.5425 | 0.041719 | 0.0985 | 0.022541 | -0.075959
20 | NO | 0 | 0 | 0 | -6.887 | 0.023695 | 6.9107
20 | NO | 0 | 0 | 0 | -6.941 | 0.023695 | 6.9647
20 | NO | 0 | 0 | 0 | -7.05 | 0.023695 | 7.0737
21 | NO | 0 | 0 | 0 | -1.485 | 0.023695 | 1.5087
21 | YES | 76.988 | 2.71 | 0 | 0.069 | 0.014343 | -0.054657
21 | YES | 49.992 | 4.699 | 0 | 0.067 | 0.017622 | -0.049378
21 | YES | 28.988 | 5.138 | 0 | 0.187 | 0.020174 | -0.16683
21 | NO | 21.004 | 5.847 | 0 | 0.422 | 0.021144 | -0.40086
21 | YES | 8.322 | 7.003 | 0.024249 | -0.057 | 0.022684 | 0.079685
21 | NO | 0 | 0 | 0 | -6.854 | 0.023695 | 6.8777
22 | YES | 220.002 | 0.011 | 0 | -0.023 | -0.0030307 | 0.019969
22 | YES | 200.013 | 0.017 | 0 | -0.017 | -0.00060238 | 0.016398
22 | YES | 174.996 | 0.023 | 0 | -0.01 | 0.0024367 | 0.012437
22 | YES | 149.997 | 0.071 | 0 | 0.036 | 0.0054736 | -0.030526
22 | YES | 140.994 | 0.39 | 0 | 0.237 | 0.0065673 | -0.23043
22 | YES | 100.001 | 1.242 | 0 | -0.105 | 0.011547 | 0.11655
22 | YES | 74.992 | 1.546 | 0 | 0.171 | 0.014585 | -0.15641
22 | YES | 49.994 | 2.922 | 0 | 0.154 | 0.017622 | -0.13638
22 | YES | 24.989 | 3.375 | 0 | -0.136 | 0.02066 | 0.15666
22 | YES | 10.5045 | 4.089 | 0.069296 | 0.189 | 0.022419 | -0.16658
22 | NO | 5 | 5.507 | 0 | 0.263 | 0.023088 | -0.23991
YES
NO
NO
YES
NO
NO
NO
YES
YES
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
NO
YES
YES
YES
YES
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
YES
NO
NO
YES
YES
NO
YES
NO
YES
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
NO
YES
YES
NO
NO
YES
YES
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.02399 |  | X | CALC Y
m= | 0.012449 | 0.0071892 |  | Std Dev of Resid |  | 0.15412 |  | 0.011 | -0.016967
b= | -0.017104 | 0.032932 |  | Resid Sum of Squares |  | 2.8979 |  | 7.003 | 0.070079
# of Values Extracted = |  |  | 189
# of Values Used in Fit = |  |  | 124
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 49.997 | 5.045 | 0 | -0.139 | 0.045703 | 0.1847 |  | 5.045 | -0.139
1 | YES | 28.994 | 5.543 | 0 | 0.283 | 0.051903 | -0.2311 |  | 5.543 | 0.283
1 | YES | 18.994 | 6.155 | 0 | 0.307 | 0.059522 | -0.24748 |  | 6.155 | 0.307
1 | YES | 9.5005 | 6.109 | 0.10889 | -0.043 | 0.058949 | 0.10195 |  | 6.109 | -0.043
1 | NO | 0 | 0 | 0 | -5.945 | -0.017104 | 5.9279 |  | 2.294 | 0.191
2 | NO | 0 | 0 | 0 | -2.338 | -0.017104 | 2.3209 |  | 3.552 | 0.202
2 | NO | 0 | 0 | 0 | -1.978 | -0.017104 | 1.9609 |  | 6.307 | 0.095
2 | YES | 149.991 | 2.294 | 0 | 0.191 | 0.011455 | -0.17954 |  | 6.374 | 0.065
2 | YES | 100 | 3.552 | 0 | 0.202 | 0.027116 | -0.17488 |  | 6.5415 | 0.1335
2 | NO | 49.991 | 5.313 | 0 | 0.694 | 0.049039 | -0.64496 |  | 2.879 | -0.151
2 | YES | 29.002 | 6.307 | 0 | 0.095 | 0.061414 | -0.033586 |  | 3.482 | -0.088
2 | YES | 18.98 | 6.374 | 0 | 0.065 | 0.062248 | -0.002752 |  | 4.645 | 0.048
2 | YES | 10.501 | 6.5415 | 0.027577 | 0.1335 | 0.064333 | -0.069167 |  | 5.878 | 0.205
2 | NO | 0 | 0 | 0 | -6.216 | -0.017104 | 6.1989 |  | 6.106 | -0.048
3 | NO | 0 | 0 | 0 | -1.33 | -0.017104 | 1.3129 |  | 6.44 | 0.106
3 | NO | 1500.01 | 0.151 | 0 | -0.432 | -0.015224 | 0.41678 |  | 5.831 | -0.141
3 | NO | 0 | 0 | 0 | -0.588 | -0.017104 | 0.5709 |  | 2.565 | 0.022
3 | NO | 1003 | 0.053 | 0 | -0.214 | -0.016444 | 0.19756 |  | 2.565 | 0.03
3 | NO | 0 | 0 | 0 | -0.889 | -0.017104 | 0.8719 |  | 3.646 | 0.004
3 | NO | 0 | 0 | 0 | -2.205 | -0.017104 | 2.1879 |  | 4.555 | -0.0010004
3 | YES | 202.1 | 2.879 | 0 | -0.151 | 0.018738 | 0.16974 |  | 6.218 | -0.0030003
3 | YES | 99.961 | 3.482 | 0 | -0.088 | 0.026245 | 0.11424 |  | 2.465 | 0.067
4 | YES | 63.996 | 4.645 | 0 | 0.048 | 0.040723 | -0.0072766 |  | 4.043 | 0.026
4 | YES | 27.011 | 5.878 | 0 | 0.205 | 0.056073 | -0.14893 |  | 5.054 | -0.034
4 | YES | 18.992 | 6.106 | 0 | -0.048 | 0.058912 | 0.10691 |  | 5.256 | 0.191
4 | YES | 10.4915 | 6.44 | 0.022627 | 0.106 | 0.06307 | -0.042929 |  | 5.668 | -0.064
4 | YES | 5.003 | 5.831 | 0 | -0.141 | 0.055488 | 0.19649 |  | 6.054 | -0.088
4 | NO | 0 | 0 | 0 | -5.833 | -0.017104 | 5.8159 |  | 3.565 | -0.197
5 | NO | 1999.75 | 1.378 | 0 | -0.137 | 5.1523e-05 | 0.13705 |  | 4.154 | -0.079
5 | NO | 1500 | 0.175 | 0 | -0.513 | -0.014925 | 0.49808 |  | 4.588 | 0.345
5 | NO | 1000.01 | 0.053 | 0 | -0.194 | -0.016444 | 0.17756 |  | 6.6035 | -0.1975
5 | NO | 502.014 | 0.241 | 0 | -0.542 | -0.014103 | 0.5279 |  | 1.814 | -0.031
5 | NO | 297.991 | 0.487 | 0 | -0.931 | -0.011041 | 0.91996 |  | 2.899 | 0.079
5 | YES | 200.002 | 2.565 | 0 | 0.022 | 0.014829 | -0.0071713 |  | 4.38 | 0.026
5 | YES | 200.002 | 2.565 | 0 | 0.03 | 0.014829 | -0.015171 |  | 4.645 | 0.05
5 | YES | 100 | 3.646 | 0 | 0.004 | 0.028286 | 0.024287 |  | 6.085 | 0.496
5 | YES | 50.011 | 4.555 | 0 | -0.0010004 | 0.039603 | 0.040603 |  | 6.5295 | -0.1765
5 | NO | 0 | 0 | 0 | -5.349 | -0.017104 | 5.3319 |  | 6.328 | -0.062
5 | YES | 9.494 | 6.218 | 0.082025 | -0.0030003 | 0.060306 | 0.063306 |  | 2.33 | 0.037
5 | NO | 0 | 0 | 0 | -5.945 | -0.017104 | 5.9279 |  | 2.719 | 0.054
6 | NO | 946.997 | 0.094 | 0 | -0.285 | -0.015933 | 0.26907 |  | 3.95 | -0.022
6 | NO | 500.005 | 0.302 | 0 | -0.656 | -0.013344 | 0.64266 |  | 4.602 | -0.231
6 | NO | 299.978 | 0.581 | 0 | -1.131 | -0.0098705 | 1.1211 |  | 5.268 | 0.195
6 | YES | 201.997 | 2.465 | 0 | 0.067 | 0.013584 | -0.053416 |  | 6.237 | 0.202
6 | YES | 101.994 | 4.043 | 0 | 0.026 | 0.033229 | 0.0072288 |  | 6.7585 | -0.0785
6 | YES | 50.01 | 5.054 | 0 | -0.034 | 0.045815 | 0.079815 |  | 4.975 | -0.0040002
6 | YES | 30.991 | 5.256 | 0 | 0.191 | 0.04833 | -0.14267 |  | 5.401 | 0.011
6 | YES | 21.001 | 5.668 | 0 | -0.064 | 0.053459 | 0.11746 |  | 6.122 | 0.148
6 | YES | 10.5075 | 6.054 | 0.0014141 | -0.088 | 0.058264 | 0.14626 |  | 0.227 | -0.059
6 | NO | 0 | 0 | 0 | -6.202 | -0.017104 | 6.1849 |  | 0.777 | 0.008
7 | NO | 0 | 0 | 0 | -2.068 | -0.017104 | 2.0509 |  | 1.835 | -0.011
7 | NO | 150.001 | 0.684 | 0 | -1.262 | -0.0085883 | 1.2534 |  | 3.265 | 0.021
7 | NO | 101.167 | 1.1225 | 0.014849 | -2.0255 | -0.0031293 | 2.0224 |  | 4.139 | -0.113
7 | NO | 0 | 0 | 0 | -4.828 | -0.017104 | 4.8109 |  | 0.266 | -0.052
7 | NO | 0 | 0 | 0 | -5.333 | -0.017104 | 5.3159 |  | 0.775 | -0.021
7 | NO | 0 | 0 | 0 | -5.927 | -0.017104 | 5.9099 |  | 1.563 | -0.073
7 | NO | 0 | 0 | 0 | -6.399 | -0.017104 | 6.3819 |  | 2.078 | -0.088
7 | NO | 0 | 0 | 0 | -6.074 | -0.017104 | 6.0569 |  | 4.938 | -0.06
8 | NO | 0 | 0 | 0 | -2.25 | -0.017104 | 2.2329 |  | 5.924 | -0.057
8 | YES | 49.988 | 3.565 | 0 | -0.197 | 0.027278 | 0.22428 |  | 5.168 | 0.056
8 | YES | 31.249 | 4.154 | 0 | -0.079 | 0.034611 | 0.11361 |  | 5.921 | 0.338
8 | YES | 19.001 | 4.588 | 0 | 0.345 | 0.040014 | -0.30499 |  | 6.291 | 0.227
8 | YES | 9.5015 | 6.6035 | 0.12374 | -0.1975 | 0.065105 | 0.26261 |  | 2.098 | 0.017
8 | NO | 0 | 0 | 0 | -6.578 | -0.017104 | 6.5609 |  | 4.391 | -0.17
9 | YES | 198.006 | 1.814 | 0 | -0.031 | 0.0054794 | 0.036479 |  | 4.977 | -0.024
9 | YES | 150.003 | 2.899 | 0 | 0.079 | 0.018987 | -0.060013 |  | 5.51 | -0.277
9 | YES | 99.972 | 4.38 | 0 | 0.026 | 0.037424 | 0.011424 |  | 6.1685 | 0.0285
9 | YES | 30.991 | 4.645 | 0 | 0.05 | 0.040723 | -0.0092769 |  | 1.846 | 0.036
9 | YES | 15.005 | 6.085 | 0 | 0.496 | 0.05865 | -0.43735 |  | 2.714 | 0.059
9 | YES | 8.505 | 6.5295 | 0.02192 | -0.1765 | 0.064184 | 0.24068 |  | 3.569 | 0.0079999
9 | YES | 5.005 | 6.328 | 0 | -0.062 | 0.061675 | 0.12368 |  | 4.46 | 0.267
9 | NO | 2.996 | 6.2 | 0 | -0.125 | 0.060082 | 0.18508 |  | 5.4 | 0.411
9 | NO | 0 | 0 | 0 | -6.38 | -0.017104 | 6.3629 |  | 6.281 | 0.435
10 | YES | 175.256 | 2.33 | 0.019799 | 0.037 | 0.011903 | -0.025097 |  | 6.5575 | -0.3235
10 | YES | 150.011 | 2.719 | 0 | 0.054 | 0.016746 | -0.037254 |  | 1.959 | -0.042
10 | YES | 101.994 | 3.95 | 0 | -0.022 | 0.032071 | 0.054071 |  | 2.314 | -0.059
10 | YES | 48.013 | 4.602 | 0 | -0.231 | 0.040188 | 0.27119 |  | 4.061 | 0.134
10 | YES | 30.986 | 5.268 | 0 | 0.195 | 0.048479 | -0.14652 |  | 4.42 | 0.013
10 | YES | 18.993 | 6.237 | 0 | 0.202 | 0.060543 | -0.14146 |  | 4.65 | -0.057
10 | YES | 10.496 | 6.7585 | 0.089802 | -0.0785 | 0.067035 | 0.14553 |  | 4.757 | -0.042
10 | NO | 0 | 0 | 0 | -6.41 | -0.017104 | 6.3929 |  | 2.355 | -0.062
11 | YES | 51.987 | 4.975 | 0 | -0.0040002 | 0.044832 | 0.048832 |  | 4.136 | 0.113
11 | YES | 31.006 | 5.401 | 0 | 0.011 | 0.050135 | 0.039135 |  | 5.043 | 0.021
11 | NO | 0 | 0 | 0 | -6.102 | -0.017104 | 6.0849 |  | 6.365 | 0.307
11 | YES | 9.51 | 6.122 | 0.070711 | 0.148 | 0.059111 | -0.088889 |  | 6.522 | -0.209
11 | NO | 4.981 | 5.929 | 0 | 0.014 | 0.056708 | 0.042708 |  | 6.335 | 0.027
11 | NO | 0 | 0 | 0 | -5.857 | -0.017104 | 5.8399 |  | 1.341 | -0.089
12 | NO | 2500 | 2.003 | 0 | -0.253 | 0.0078323 | 0.26083 |  | 2.208 | -0.086
12 | NO | 2500 | 2.003 | 0 | -0.123 | 0.0078323 | 0.13083 |  | 3.555 | -0.058
12 | NO | 0 | 0 | 0 | -1.343 | -0.017104 | 1.3259 |  | 4.528 | 0.115
12 | NO | 0 | 0 | 0 | -0.628 | -0.017104 | 0.6109 |  | 4.74 | 0.307
12 | YES | 999.987 | 0.227 | 0 | -0.059 | -0.014278 | 0.044722 |  | 5.698 | 0.069
12 | YES | 499.993 | 0.777 | 0 | 0.008 | -0.0074305 | -0.015431 |  | 6.1317 | 0.063667
12 | YES | 300.017 | 1.835 | 0 | -0.011 | 0.0057408 | 0.016741 |  | 0.667 | -0.109
12 | YES | 200.008 | 3.265 | 0 | 0.021 | 0.023543 | 0.0025432 |  | 1.426 | -0.028
12 | YES | 100.01 | 4.139 | 0 | -0.113 | 0.034424 | 0.14742 |  | 2.805 | 0.073
13 | NO | 1420.5 | 0.588 | 0 | -0.145 | -0.0097834 | 0.13522 |  | 4.253 | 0.0079999
13 | YES | 999.982 | 0.266 | 0 | -0.052 | -0.013792 | 0.038208 |  | 5.436 | 0.111
13 | YES | 499.993 | 0.775 | 0 | -0.021 | -0.0074554 | 0.013545 |  | 6.823 | 0.129
13 | YES | 299.986 | 1.563 | 0 | -0.073 | 0.0023546 | 0.075355 |  | 6.78 | 0.023
13 | YES | 200.009 | 2.078 | 0 | -0.088 | 0.008766 | 0.096766 |  | 6.1085 | -0.3765
13 | YES | 100 | 4.938 | 0 | -0.06 | 0.044371 | 0.10437 |  | 1.787 | -0.14
13 | YES | 49.997 | 5.924 | 0 | -0.057 | 0.056646 | 0.11365 |  | 1.791 | 0.032
13 | YES | 30.978 | 5.168 | 0 | 0.056 | 0.047234 | -0.0087659 |  | 2.778 | 0.085
13 | YES | 21.015 | 5.921 | 0 | 0.338 | 0.056609 | -0.28139 |  | 3.282 | 0.197
13 | YES | 10.4885 | 6.291 | 0.014142 | 0.227 | 0.061215 | -0.16579 |  | 5.146 | -0.219
13 | NO | 0 | 0 | 0 | -5.923 | -0.017104 | 5.9059 |  | 5.716 | 0.176
14 | NO | 0 | 0 | 0 | -1.68 | -0.017104 | 1.6629 |  | 6.5425 | 0.0985
14 | YES | 199.992 | 2.098 | 0 | 0.017 | 0.009015 | -0.007985 |  | 2.71 | 0.069
14 | YES | 99.999 | 4.391 | 0 | -0.17 | 0.037561 | 0.20756 |  | 4.699 | 0.067
14 | NO | 50.008 | 5.078 | 0 | -0.81 | 0.046114 | 0.85611 |  | 5.138 | 0.187
14 | YES | 31.007 | 4.977 | 0 | -0.024 | 0.044856 | 0.068856 |  | 5.847 | 0.422
14 | YES | 21.007 | 5.51 | 0 | -0.277 | 0.051492 | 0.32849 |  | 7.003 | -0.057
14 | YES | 10.502 | 6.1685 | 0.030406 | 0.0285 | 0.05969 | 0.03119 |  | 0.011 | -0.023
14 | NO | 0 | 0 | 0 | -6.199 | -0.017104 | 6.1819 |  | 0.017 | -0.017
15 | NO | 0 | 0 | 0 | -1.744 | -0.017104 | 1.7269 |  | 0.023 | -0.01
15 | YES | 152.007 | 1.846 | 0 | 0.036 | 0.0058778 | -0.030122 |  | 0.071 | 0.036
15 | YES | 101.99 | 2.714 | 0 | 0.059 | 0.016684 | -0.042316 |  | 0.39 | 0.237
15 | YES | 76.996 | 3.569 | 0 | 0.0079999 | 0.027328 | 0.019328 |  | 1.242 | -0.105
15 | YES | 50.029 | 4.46 | 0 | 0.267 | 0.03842 | -0.22858 |  | 1.546 | 0.171
15 | YES | 31.009 | 5.4 | 0 | 0.411 | 0.050122 | -0.36088 |  | 2.922 | 0.154
15 | YES | 21.011 | 6.281 | 0 | 0.435 | 0.06109 | -0.37391 |  | 3.375 | -0.136
15 | YES | 9.5005 | 6.5575 | 0.13789 | -0.3235 | 0.064533 | 0.38803 |  | 4.089 | 0.189
15 | NO | 0 | 0 | 0 | -6.075 | -0.017104 | 6.0579 |  | 5.507 | 0.263
16 | YES | 141.012 | 1.959 | 0 | -0.042 | 0.0072845 | 0.049284
16 | YES | 100 | 2.314 | 0 | -0.059 | 0.011704 | 0.070704
16 | YES | 35.986 | 4.061 | 0 | 0.134 | 0.033453 | -0.10055
16 | YES | 20.997 | 4.42 | 0 | 0.013 | 0.037922 | 0.024922
16 | YES | 15.016 | 4.65 | 0 | -0.057 | 0.040786 | 0.097785
16 | YES | 10.4965 | 4.757 | 0.024042 | -0.042 | 0.042118 | 0.084117
16 | NO | 4.993 | 4.978 | 0 | 0.093 | 0.044869 | -0.048131
16 | NO | 0 | 0 | 0 | -4.971 | -0.017104 | 4.9539
17 | NO | 0 | 0 | 0 | -2.167 | -0.017104 | 2.1499
17 | YES | 200.004 | 2.355 | 0 | -0.062 | 0.012214 | 0.074214
17 | YES | 99.994 | 4.136 | 0 | 0.113 | 0.034387 | -0.078613
17 | YES | 50.005 | 5.043 | 0 | 0.021 | 0.045678 | 0.024678
17 | YES | 19 | 6.365 | 0 | 0.307 | 0.062136 | -0.24486
17 | YES | 10.504 | 6.522 | 0.049498 | -0.209 | 0.064091 | 0.27309
17 | YES | 6.994 | 6.335 | 0 | 0.027 | 0.061763 | 0.034763
17 | NO | 3.013 | 6.279 | 0 | 0.023 | 0.061065 | 0.038066
17 | NO | 0 | 0 | 0 | -6.271 | -0.017104 | 6.2539
18 | YES | 362.155 | 1.341 | 0 | -0.089 | -0.0004091 | 0.088591
18 | YES | 200 | 2.208 | 0 | -0.086 | 0.010384 | 0.096384
18 | YES | 100.003 | 3.555 | 0 | -0.058 | 0.027154 | 0.085153
18 | YES | 50.011 | 4.528 | 0 | 0.115 | 0.039267 | -0.075733
18 | YES | 29.012 | 4.74 | 0 | 0.307 | 0.041906 | -0.26509
18 | YES | 19.028 | 5.698 | 0 | 0.069 | 0.053832 | -0.015167
18 | YES | 7.968 | 6.1317 | 0.17036 | 0.063667 | 0.059231 | -0.0044356
18 | NO | 4.7945 | 6.4325 | 0.037477 | 0.3955 | 0.062976 | -0.33252
18 | NO | 0 | 0 | 0 | -6.23 | -0.017104 | 6.2129
19 | NO | 0 | 0 | 0 | -0.231 | -0.017104 | 0.2139
19 | NO | 0 | 0 | 0 | -0.31 | -0.017104 | 0.2929
19 | YES | 499.994 | 0.667 | 0 | -0.109 | -0.0087999 | 0.1002
19 | YES | 300.014 | 1.426 | 0 | -0.028 | 0.00064909 | 0.028649
19 | YES | 200.009 | 2.805 | 0 | 0.073 | 0.017817 | -0.055183
19 | YES | 99.993 | 4.253 | 0 | 0.0079999 | 0.035843 | 0.027843
19 | YES | 50 | 5.436 | 0 | 0.111 | 0.050571 | -0.060429
19 | YES | 28.998 | 6.823 | 0 | 0.129 | 0.067838 | -0.061162
19 | YES | 19.005 | 6.78 | 0 | 0.023 | 0.067302 | 0.044302
19 | YES | 10.5 | 6.1085 | 0.014849 | -0.3765 | 0.058943 | 0.43544
19 | NO | 0 | 0 | 0 | -6.078 | -0.017104 | 6.0609
20 | YES | 140.986 | 1.787 | 0 | -0.14 | 0.0051433 | 0.14514
20 | YES | 125.001 | 1.791 | 0 | 0.032 | 0.0051931 | -0.026807
20 | YES | 99.998 | 2.778 | 0 | 0.085 | 0.017481 | -0.067519
20 | YES | 72.994 | 3.282 | 0 | 0.197 | 0.023755 | -0.17325
20 | YES | 28.999 | 5.146 | 0 | -0.219 | 0.04696 | 0.26596
20 | YES | 14.988 | 5.716 | 0 | 0.176 | 0.054056 | -0.12194
20 | YES | 9.5005 | 6.5425 | 0.041719 | 0.0985 | 0.064346 | -0.034155
20 | NO | 0 | 0 | 0 | -6.887 | -0.017104 | 6.8699
20 | NO | 0 | 0 | 0 | -6.941 | -0.017104 | 6.9239
20 | NO | 0 | 0 | 0 | -7.05 | -0.017104 | 7.0329
21 | NO | 0 | 0 | 0 | -1.485 | -0.017104 | 1.4679
21 | YES | 76.988 | 2.71 | 0 | 0.069 | 0.016634 | -0.052366
21 | YES | 49.992 | 4.699 | 0 | 0.067 | 0.041396 | -0.025604
21 | YES | 28.988 | 5.138 | 0 | 0.187 | 0.046861 | -0.14014
21 | YES | 21.004 | 5.847 | 0 | 0.422 | 0.055687 | -0.36631
21 | YES | 8.322 | 7.003 | 0.024249 | -0.057 | 0.070079 | 0.12708
21 | NO | 0 | 0 | 0 | -6.854 | -0.017104 | 6.8369
22 | YES | 220.002 | 0.011 | 0 | -0.023 | -0.016967 | 0.0060334
22 | YES | 200.013 | 0.017 | 0 | -0.017 | -0.016892 | 0.00010807
22 | YES | 174.996 | 0.023 | 0 | -0.01 | -0.016817 | -0.0068172
22 | YES | 149.997 | 0.071 | 0 | 0.036 | -0.01622 | -0.05222
22 | YES | 140.994 | 0.39 | 0 | 0.237 | -0.012248 | -0.24925
22 | YES | 100.001 | 1.242 | 0 | -0.105 | -0.0016416 | 0.10336
22 | YES | 74.992 | 1.546 | 0 | 0.171 | 0.002143 | -0.16886
22 | YES | 49.994 | 2.922 | 0 | 0.154 | 0.019273 | -0.13473
22 | YES | 24.989 | 3.375 | 0 | -0.136 | 0.024913 | 0.16091
22 | YES | 10.5045 | 4.089 | 0.069296 | 0.189 | 0.033801 | -0.1552
22 | YES | 5 | 5.507 | 0 | 0.263 | 0.051455 | -0.21155
YES
YES
YES
YES
NO
NO
NO
YES
YES
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
NO
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2004-24-0002 | 2004-24-0002 | 1 | 50.595 | 49.997 | 0 | -0.598 | 5.184 | 5.045 | 0 | -0.139
2004-24-0002 | 2004-24-0002 | 1 | 29.007 | 28.994 | 0 | -0.013 | 5.26 | 5.543 | 0 | 0.283
2004-24-0002 | 2004-24-0002 | 1 | 19.743 | 18.994 | 0 | -0.749 | 5.848 | 6.155 | 0 | 0.307
2004-24-0002 | 2004-24-0002 | 2 | 9.347 | 9.5005 | 0.6965 | 0.1535 | 6.152 | 6.109 | 0.10889 | -0.043
2004-24-0002 | 2004-24-0002 | 0 | 1.539 | 0 | 0 | -1.539 | 5.945 | 0 | 0 | -5.945
2004-24-0003 | 2004-24-0003 | 0 | 178.583 | 0 | 0 | -178.583 | 2.338 | 0 | 0 | -2.338
2004-24-0003 | 2004-24-0003 | 0 | 178.694 | 0 | 0 | -178.694 | 1.978 | 0 | 0 | -1.978
2004-24-0003 | 2004-24-0003 | 1 | 150.549 | 149.991 | 0 | -0.558 | 2.103 | 2.294 | 0 | 0.191
2004-24-0003 | 2004-24-0003 | 1 | 99.945 | 100 | 0 | 0.055 | 3.35 | 3.552 | 0 | 0.202
2004-24-0003 | 2004-24-0003 | 1 | 50.419 | 49.991 | 0 | -0.428 | 4.619 | 5.313 | 0 | 0.694
2004-24-0003 | 2004-24-0003 | 1 | 29.249 | 29.002 | 0 | -0.247 | 6.212 | 6.307 | 0 | 0.095
2004-24-0003 | 2004-24-0003 | 1 | 19.834 | 18.98 | 0 | -0.854 | 6.309 | 6.374 | 0 | 0.065
2004-24-0003 | 2004-24-0003 | 2 | 10.326 | 10.501 | 0.69155 | 0.175 | 6.408 | 6.5415 | 0.027577 | 0.1335
2004-24-0003 | 2004-24-0003 | 0 | 1.232 | 0 | 0 | -1.232 | 6.216 | 0 | 0 | -6.216
2004-24-0006 | 2004-24-0006 | 0 | 2001.31 | 0 | 0 | -2001.31 | 1.33 | 0 | 0 | -1.33
2004-24-0006 | 2004-24-0006 | 1 | 1500.26 | 1500.01 | 0 | -0.24805 | 0.583 | 0.151 | 0 | -0.432
2004-24-0006 | 2004-24-0006 | 0 | 1501.03 | 0 | 0 | -1501.03 | 0.588 | 0 | 0 | -0.588
2004-24-0006 | 2004-24-0006 | 1 | 1003.13 | 1003 | 0 | -0.13196 | 0.267 | 0.053 | 0 | -0.214
2004-24-0006 | 2004-24-0006 | 0 | 503.19 | 0 | 0 | -503.19 | 0.889 | 0 | 0 | -0.889
2004-24-0006 | 2004-24-0006 | 0 | 303.381 | 0 | 0 | -303.381 | 2.205 | 0 | 0 | -2.205
2004-24-0006 | 2004-24-0006 | 1 | 201.591 | 202.1 | 0 | 0.509 | 3.03 | 2.879 | 0 | -0.151
2004-24-0006 | 2004-24-0006 | 1 | 100.935 | 99.961 | 0 | -0.974 | 3.57 | 3.482 | 0 | -0.088
2004-24-0008 | 2004-24-0008 | 1 | 64.111 | 63.996 | 0 | -0.115 | 4.597 | 4.645 | 0 | 0.048
2004-24-0008 | 2004-24-0008 | 1 | 27.557 | 27.011 | 0 | -0.546 | 5.673 | 5.878 | 0 | 0.205
2004-24-0008 | 2004-24-0008 | 1 | 19.513 | 18.992 | 0 | -0.521 | 6.154 | 6.106 | 0 | -0.048
2004-24-0008 | 2004-24-0008 | 2 | 10.098 | 10.4915 | 0.70074 | 0.3935 | 6.334 | 6.44 | 0.022627 | 0.106
2004-24-0008 | 2004-24-0008 | 1 | 5.004 | 5.003 | 0 | -0.0010004 | 5.972 | 5.831 | 0 | -0.141
2004-24-0008 | 2004-24-0008 | 0 | 1.339 | 0 | 0 | -1.339 | 5.833 | 0 | 0 | -5.833
2004-24-0010 | 2004-24-0010 | 1 | 2000.26 | 1999.75 | 0 | -0.50708 | 1.515 | 1.378 | 0 | -0.137
2004-24-0010 | 2004-24-0010 | 1 | 1500.8 | 1500 | 0 | -0.79907 | 0.688 | 0.175 | 0 | -0.513
2004-24-0010 | 2004-24-0010 | 1 | 999.698 | 1000.01 | 0 | 0.30701 | 0.247 | 0.053 | 0 | -0.194
2004-24-0010 | 2004-24-0010 | 1 | 502.993 | 502.014 | 0 | -0.979 | 0.783 | 0.241 | 0 | -0.542
2004-24-0010 | 2004-24-0010 | 1 | 297.552 | 297.991 | 0 | 0.439 | 1.418 | 0.487 | 0 | -0.931
2004-24-0010 | 2004-24-0010 | 1 | 199.257 | 200.002 | 0 | 0.74499 | 2.543 | 2.565 | 0 | 0.022
2004-24-0010 | 2004-24-0010 | 1 | 199.66 | 200.002 | 0 | 0.34199 | 2.535 | 2.565 | 0 | 0.03
2004-24-0010 | 2004-24-0010 | 1 | 100.81 | 100 | 0 | -0.81 | 3.642 | 3.646 | 0 | 0.004
2004-24-0010 | 2004-24-0010 | 1 | 49.132 | 50.011 | 0 | 0.879 | 4.556 | 4.555 | 0 | -0.0010004
2004-24-0010 | 2004-24-0010 | 0 | 29.984 | 0 | 0 | -29.984 | 5.349 | 0 | 0 | -5.349
2004-24-0010 | 2004-24-0010 | 2 | 9.906 | 9.494 | 0.69862 | -0.412 | 6.221 | 6.218 | 0.082025 | -0.0030003
2004-24-0010 | 2004-24-0010 | 0 | 0.698 | 0 | 0 | -0.698 | 5.945 | 0 | 0 | -5.945
2004-24-0012 | 2004-24-0012 | 1 | 947.909 | 946.997 | 0 | -0.91199 | 0.379 | 0.094 | 0 | -0.285
2004-24-0012 | 2004-24-0012 | 1 | 500.322 | 500.005 | 0 | -0.31699 | 0.958 | 0.302 | 0 | -0.656
2004-24-0012 | 2004-24-0012 | 1 | 300.184 | 299.978 | 0 | -0.20599 | 1.712 | 0.581 | 0 | -1.131
2004-24-0012 | 2004-24-0012 | 1 | 201.561 | 201.997 | 0 | 0.43599 | 2.398 | 2.465 | 0 | 0.067
2004-24-0012 | 2004-24-0012 | 1 | 101.826 | 101.994 | 0 | 0.16801 | 4.017 | 4.043 | 0 | 0.026
2004-24-0012 | 2004-24-0012 | 1 | 50.335 | 50.01 | 0 | -0.325 | 5.088 | 5.054 | 0 | -0.034
2004-24-0012 | 2004-24-0012 | 1 | 30.422 | 30.991 | 0 | 0.569 | 5.065 | 5.256 | 0 | 0.191
2004-24-0012 | 2004-24-0012 | 1 | 20.234 | 21.001 | 0 | 0.767 | 5.732 | 5.668 | 0 | -0.064
2004-24-0012 | 2004-24-0012 | 2 | 10.345 | 10.5075 | 0.70074 | 0.1625 | 6.142 | 6.054 | 0.0014141 | -0.088
2004-24-0012 | 2004-24-0012 | 0 | 0.901 | 0 | 0 | -0.901 | 6.202 | 0 | 0 | -6.202
2004-24-0014 | 2004-24-0014 | 0 | 194.876 | 0 | 0 | -194.876 | 2.068 | 0 | 0 | -2.068
2004-24-0014 | 2004-24-0014 | 1 | 150.345 | 150.001 | 0 | -0.34399 | 1.946 | 0.684 | 0 | -1.262
2004-24-0014 | 2004-24-0014 | 2 | 101.17 | 101.167 | 1.1915 | -0.0034943 | 3.148 | 1.1225 | 0.014849 | -2.0255
2004-24-0014 | 2004-24-0014 | 0 | 49.986 | 0 | 0 | -49.986 | 4.828 | 0 | 0 | -4.828
2004-24-0014 | 2004-24-0014 | 0 | 29.979 | 0 | 0 | -29.979 | 5.333 | 0 | 0 | -5.333
2004-24-0014 | 2004-24-0014 | 0 | 19.928 | 0 | 0 | -19.928 | 5.927 | 0 | 0 | -5.927
2004-24-0014 | 2004-24-0014 | 0 | 10.506 | 0 | 0 | -10.506 | 6.399 | 0 | 0 | -6.399
2004-24-0014 | 2004-24-0014 | 0 | 0.516 | 0 | 0 | -0.516 | 6.074 | 0 | 0 | -6.074
2004-24-0019 | 2004-24-0019 | 0 | 163.794 | 0 | 0 | -163.794 | 2.25 | 0 | 0 | -2.25
2004-24-0019 | 2004-24-0019 | 1 | 49.821 | 49.988 | 0 | 0.167 | 3.762 | 3.565 | 0 | -0.197
2004-24-0019 | 2004-24-0019 | 1 | 30.547 | 31.249 | 0 | 0.702 | 4.233 | 4.154 | 0 | -0.079
2004-24-0019 | 2004-24-0019 | 1 | 19.632 | 19.001 | 0 | -0.631 | 4.243 | 4.588 | 0 | 0.345
2004-24-0019 | 2004-24-0019 | 2 | 9.561 | 9.5015 | 0.71206 | -0.0595 | 6.801 | 6.6035 | 0.12374 | -0.1975
2004-24-0019 | 2004-24-0019 | 0 | 0.532 | 0 | 0 | -0.532 | 6.578 | 0 | 0 | -6.578
2004-24-0020 | 2004-24-0020 | 1 | 197.266 | 198.006 | 0 | 0.73999 | 1.845 | 1.814 | 0 | -0.031
2004-24-0020 | 2004-24-0020 | 1 | 150.264 | 150.003 | 0 | -0.261 | 2.82 | 2.899 | 0 | 0.079
2004-24-0020 | 2004-24-0020 | 1 | 100.498 | 99.972 | 0 | -0.526 | 4.354 | 4.38 | 0 | 0.026
2004-24-0020 | 2004-24-0020 | 1 | 31.919 | 30.991 | 0 | -0.928 | 4.595 | 4.645 | 0 | 0.05
2004-24-0020 | 2004-24-0020 | 1 | 14.851 | 15.005 | 0 | 0.154 | 5.589 | 6.085 | 0 | 0.496
2004-24-0020 | 2004-24-0020 | 2 | 8.677 | 8.505 | 0.69862 | -0.172 | 6.706 | 6.5295 | 0.02192 | -0.1765
2004-24-0020 | 2004-24-0020 | 1 | 5.199 | 5.005 | 0 | -0.194 | 6.39 | 6.328 | 0 | -0.062
2004-24-0020 | 2004-24-0020 | 1 | 3.151 | 2.996 | 0 | -0.155 | 6.325 | 6.2 | 0 | -0.125
2004-24-0020 | 2004-24-0020 | 0 | 0.014 | 0 | 0 | -0.014 | 6.38 | 0 | 0 | -6.38
2004-24-0022 | 2004-24-0022 | 2 | 174.635 | 175.256 | 0.35214 | 0.62102 | 2.293 | 2.33 | 0.019799 | 0.037
2004-24-0022 | 2004-24-0022 | 1 | 150.77 | 150.011 | 0 | -0.759 | 2.665 | 2.719 | 0 | 0.054
2004-24-0022 | 2004-24-0022 | 1 | 101.641 | 101.994 | 0 | 0.353 | 3.972 | 3.95 | 0 | -0.022
2004-24-0022 | 2004-24-0022 | 1 | 48.709 | 48.013 | 0 | -0.696 | 4.833 | 4.602 | 0 | -0.231
2004-24-0022 | 2004-24-0022 | 1 | 30.227 | 30.986 | 0 | 0.759 | 5.073 | 5.268 | 0 | 0.195
2004-24-0022 | 2004-24-0022 | 1 | 19.869 | 18.993 | 0 | -0.876 | 6.035 | 6.237 | 0 | 0.202
2004-24-0022 | 2004-24-0022 | 2 | 10.131 | 10.496 | 0.69297 | 0.365 | 6.837 | 6.7585 | 0.089802 | -0.0785
2004-24-0022 | 2004-24-0022 | 0 | 0.528 | 0 | 0 | -0.528 | 6.41 | 0 | 0 | -6.41
2004-24-0026 | 2004-24-0026 | 1 | 51.917 | 51.987 | 0 | 0.07 | 4.979 | 4.975 | 0 | -0.0040002
2004-24-0026 | 2004-24-0026 | 1 | 30.216 | 31.006 | 0 | 0.79 | 5.39 | 5.401 | 0 | 0.011
2004-24-0026 | 2004-24-0026 | 0 | 17.735 | 0 | 0 | -17.735 | 6.102 | 0 | 0 | -6.102
2004-24-0026 | 2004-24-0026 | 2 | 9.834 | 9.51 | 0.69296 | -0.324 | 5.974 | 6.122 | 0.070711 | 0.148
2004-24-0026 | 2004-24-0026 | 1 | 5.353 | 4.981 | 0 | -0.372 | 5.915 | 5.929 | 0 | 0.014
2004-24-0026 | 2004-24-0026 | 0 | 0.488 | 0 | 0 | -0.488 | 5.857 | 0 | 0 | -5.857
2004-24-0027 | 2004-24-0027 | 1 | 2499.55 | 2500 | 0 | 0.44507 | 2.256 | 2.003 | 0 | -0.253
2004-24-0027 | 2004-24-0027 | 1 | 2499.65 | 2500 | 0 | 0.34814 | 2.126 | 2.003 | 0 | -0.123
2004-24-0027 | 2004-24-0027 | 0 | 2001.52 | 0 | 0 | -2001.52 | 1.343 | 0 | 0 | -1.343
2004-24-0027 | 2004-24-0027 | 0 | 1501.65 | 0 | 0 | -1501.65 | 0.628 | 0 | 0 | -0.628
2004-24-0027 | 2004-24-0027 | 1 | 1000.35 | 999.987 | 0 | -0.36401 | 0.286 | 0.227 | 0 | -0.059
2004-24-0027 | 2004-24-0027 | 1 | 500.966 | 499.993 | 0 | -0.97299 | 0.769 | 0.777 | 0 | 0.008
2004-24-0027 | 2004-24-0027 | 1 | 299.067 | 300.017 | 0 | 0.95001 | 1.846 | 1.835 | 0 | -0.011
2004-24-0027 | 2004-24-0027 | 1 | 199.661 | 200.008 | 0 | 0.347 | 3.244 | 3.265 | 0 | 0.021
2004-24-0027 | 2004-24-0027 | 1 | 99.921 | 100.01 | 0 | 0.089005 | 4.252 | 4.139 | 0 | -0.113
2004-24-0029 | 2004-24-0029 | 2 | 1420.77 | 1420.5 | 0.71418 | -0.27002 | 0.733 | 0.588 | 0 | -0.145
2004-24-0029 | 2004-24-0029 | 1 | 999.859 | 999.982 | 0 | 0.12299 | 0.318 | 0.266 | 0 | -0.052
2004-24-0029 | 2004-24-0029 | 1 | 500.761 | 499.993 | 0 | -0.76797 | 0.796 | 0.775 | 0 | -0.021
2004-24-0029 | 2004-24-0029 | 1 | 300.463 | 299.986 | 0 | -0.47702 | 1.636 | 1.563 | 0 | -0.073
2004-24-0029 | 2004-24-0029 | 1 | 200.035 | 200.009 | 0 | -0.026001 | 2.166 | 2.078 | 0 | -0.088
2004-24-0029 | 2004-24-0029 | 1 | 100.319 | 100 | 0 | -0.319 | 4.998 | 4.938 | 0 | -0.06
2004-24-0029 | 2004-24-0029 | 1 | 50.076 | 49.997 | 0 | -0.078999 | 5.981 | 5.924 | 0 | -0.057
2004-24-0029 | 2004-24-0029 | 1 | 30.436 | 30.978 | 0 | 0.542 | 5.112 | 5.168 | 0 | 0.056
2004-24-0029 | 2004-24-0029 | 1 | 20.311 | 21.015 | 0 | 0.704 | 5.583 | 5.921 | 0 | 0.338
2004-24-0029 | 2004-24-0029 | 2 | 10.053 | 10.4885 | 0.69933 | 0.4355 | 6.064 | 6.291 | 0.014142 | 0.227
2004-24-0029 | 2004-24-0029 | 0 | 0.298 | 0 | 0 | -0.298 | 5.923 | 0 | 0 | -5.923
2004-24-0031 | 2004-24-0031 | 0 | 277.8 | 0 | 0 | -277.8 | 1.68 | 0 | 0 | -1.68
2004-24-0031 | 2004-24-0031 | 1 | 200.939 | 199.992 | 0 | -0.94699 | 2.081 | 2.098 | 0 | 0.017
2004-24-0031 | 2004-24-0031 | 1 | 99.861 | 99.999 | 0 | 0.138 | 4.561 | 4.391 | 0 | -0.17
2004-24-0031 | 2004-24-0031 | 1 | 50.203 | 50.008 | 0 | -0.195 | 5.888 | 5.078 | 0 | -0.81
2004-24-0031 | 2004-24-0031 | 1 | 30.557 | 31.007 | 0 | 0.45 | 5.001 | 4.977 | 0 | -0.024
2004-24-0031 | 2004-24-0031 | 1 | 20.224 | 21.007 | 0 | 0.783 | 5.787 | 5.51 | 0 | -0.277
2004-24-0031 | 2004-24-0031 | 2 | 10.277 | 10.502 | 0.71701 | 0.225 | 6.14 | 6.1685 | 0.030406 | 0.0285
2004-24-0031 | 2004-24-0031 | 0 | 0.673 | 0 | 0 | -0.673 | 6.199 | 0 | 0 | -6.199
2004-24-0032 | 2004-24-0032 | 0 | 184.642 | 0 | 0 | -184.642 | 1.744 | 0 | 0 | -1.744
2004-24-0032 | 2004-24-0032 | 1 | 152.278 | 152.007 | 0 | -0.271 | 1.81 | 1.846 | 0 | 0.036
2004-24-0032 | 2004-24-0032 | 1 | 101.351 | 101.99 | 0 | 0.639 | 2.655 | 2.714 | 0 | 0.059
2004-24-0032 | 2004-24-0032 | 1 | 77.001 | 76.996 | 0 | -0.0049972 | 3.561 | 3.569 | 0 | 0.0079999
2004-24-0032 | 2004-24-0032 | 1 | 50.056 | 50.029 | 0 | -0.027 | 4.193 | 4.46 | 0 | 0.267
2004-24-0032 | 2004-24-0032 | 1 | 30.241 | 31.009 | 0 | 0.768 | 4.989 | 5.4 | 0 | 0.411
2004-24-0032 | 2004-24-0032 | 1 | 20.453 | 21.011 | 0 | 0.558 | 5.846 | 6.281 | 0 | 0.435
2004-24-0032 | 2004-24-0032 | 2 | 9.556 | 9.5005 | 0.71771 | -0.0555 | 6.881 | 6.5575 | 0.13789 | -0.3235
2004-24-0032 | 2004-24-0032 | 0 | 0.542 | 0 | 0 | -0.542 | 6.075 | 0 | 0 | -6.075
2004-24-0034 | 2004-24-0034 | 1 | 140.596 | 141.012 | 0 | 0.416 | 2.001 | 1.959 | 0 | -0.042
2004-24-0034 | 2004-24-0034 | 1 | 100.26 | 100 | 0 | -0.26 | 2.373 | 2.314 | 0 | -0.059
2004-24-0034 | 2004-24-0034 | 1 | 35.7 | 35.986 | 0 | 0.286 | 3.927 | 4.061 | 0 | 0.134
2004-24-0034 | 2004-24-0034 | 1 | 20.192 | 20.997 | 0 | 0.805 | 4.407 | 4.42 | 0 | 0.013
2004-24-0034 | 2004-24-0034 | 1 | 14.96 | 15.016 | 0 | 0.056 | 4.707 | 4.65 | 0 | -0.057
2004-24-0034 | 2004-24-0034 | 2 | 10.467 | 10.4965 | 0.68802 | 0.0295 | 4.799 | 4.757 | 0.024042 | -0.042
2004-24-0034 | 2004-24-0034 | 1 | 5.175 | 4.993 | 0 | -0.182 | 4.885 | 4.978 | 0 | 0.093
2004-24-0034 | 2004-24-0034 | 0 | 0.752 | 0 | 0 | -0.752 | 4.971 | 0 | 0 | -4.971
2004-24-0037 | 2004-24-0037 | 0 | 230.423 | 0 | 0 | -230.423 | 2.167 | 0 | 0 | -2.167
2004-24-0037 | 2004-24-0037 | 1 | 199.261 | 200.004 | 0 | 0.743 | 2.417 | 2.355 | 0 | -0.062
2004-24-0037 | 2004-24-0037 | 1 | 99.618 | 99.994 | 0 | 0.37601 | 4.023 | 4.136 | 0 | 0.113
2004-24-0037 | 2004-24-0037 | 1 | 49.869 | 50.005 | 0 | 0.136 | 5.022 | 5.043 | 0 | 0.021
2004-24-0037 | 2004-24-0037 | 1 | 19.093 | 19 | 0 | -0.093 | 6.058 | 6.365 | 0 | 0.307
2004-24-0037 | 2004-24-0037 | 2 | 10.532 | 10.504 | 0.71701 | -0.028 | 6.731 | 6.522 | 0.049498 | -0.209
2004-24-0037 | 2004-24-0037 | 1 | 6.117 | 6.994 | 0 | 0.877 | 6.308 | 6.335 | 0 | 0.027
2004-24-0037 | 2004-24-0037 | 1 | 3.267 | 3.013 | 0 | -0.254 | 6.256 | 6.279 | 0 | 0.023
2004-24-0037 | 2004-24-0037 | 0 | 0.369 | 0 | 0 | -0.369 | 6.271 | 0 | 0 | -6.271
2004-24-0038 | 2004-24-0038 | 1 | 361.268 | 362.155 | 0 | 0.88699 | 1.43 | 1.341 | 0 | -0.089
2004-24-0038 | 2004-24-0038 | 1 | 200.004 | 200 | 0 | -0.0039978 | 2.294 | 2.208 | 0 | -0.086
2004-24-0038 | 2004-24-0038 | 1 | 99.654 | 100.003 | 0 | 0.349 | 3.613 | 3.555 | 0 | -0.058
2004-24-0038 | 2004-24-0038 | 1 | 49.585 | 50.011 | 0 | 0.426 | 4.413 | 4.528 | 0 | 0.115
2004-24-0038 | 2004-24-0038 | 1 | 28.561 | 29.012 | 0 | 0.451 | 4.433 | 4.74 | 0 | 0.307
2004-24-0038 | 2004-24-0038 | 1 | 19.098 | 19.028 | 0 | -0.07 | 5.629 | 5.698 | 0 | 0.069
2004-24-0038 | 2004-24-0038 | 3 | 7.947 | 7.968 | 0.94258 | 0.021 | 6.068 | 6.1317 | 0.17036 | 0.063667
2004-24-0038 | 2004-24-0038 | 2 | 4.65 | 4.7945 | 0.28779 | 0.1445 | 6.037 | 6.4325 | 0.037477 | 0.3955
2004-24-0038 | 2004-24-0038 | 0 | 0.594 | 0 | 0 | -0.594 | 6.23 | 0 | 0 | -6.23
2004-24-0039 | 2004-24-0039 | 0 | 818.545 | 0 | 0 | -818.545 | 0.231 | 0 | 0 | -0.231
2004-24-0039 | 2004-24-0039 | 0 | 699.651 | 0 | 0 | -699.651 | 0.31 | 0 | 0 | -0.31
2004-24-0039 | 2004-24-0039 | 1 | 500.713 | 499.994 | 0 | -0.71903 | 0.776 | 0.667 | 0 | -0.109
2004-24-0039 | 2004-24-0039 | 1 | 300.195 | 300.014 | 0 | -0.181 | 1.454 | 1.426 | 0 | -0.028
2004-24-0039 | 2004-24-0039 | 1 | 199.314 | 200.009 | 0 | 0.69501 | 2.732 | 2.805 | 0 | 0.073
2004-24-0039 | 2004-24-0039 | 1 | 99.966 | 99.993 | 0 | 0.026993 | 4.245 | 4.253 | 0 | 0.0079999
2004-24-0039 | 2004-24-0039 | 1 | 49.807 | 50 | 0 | 0.193 | 5.325 | 5.436 | 0 | 0.111
2004-24-0039 | 2004-24-0039 | 1 | 29.627 | 28.998 | 0 | -0.629 | 6.694 | 6.823 | 0 | 0.129
2004-24-0039 | 2004-24-0039 | 1 | 19.643 | 19.005 | 0 | -0.638 | 6.757 | 6.78 | 0 | 0.023
2004-24-0039 | 2004-24-0039 | 2 | 10.073 | 10.5 | 0.70993 | 0.427 | 6.485 | 6.1085 | 0.014849 | -0.3765
2004-24-0039 | 2004-24-0039 | 0 | 0.553 | 0 | 0 | -0.553 | 6.078 | 0 | 0 | -6.078
2004-24-0041 | 2004-24-0041 | 1 | 140.518 | 140.986 | 0 | 0.46799 | 1.927 | 1.787 | 0 | -0.14
2004-24-0041 | 2004-24-0041 | 1 | 124.292 | 125.001 | 0 | 0.709 | 1.759 | 1.791 | 0 | 0.032
2004-24-0041 | 2004-24-0041 | 1 | 100.85 | 99.998 | 0 | -0.852 | 2.693 | 2.778 | 0 | 0.085
2004-24-0041 | 2004-24-0041 | 1 | 73.863 | 72.994 | 0 | -0.869 | 3.085 | 3.282 | 0 | 0.197
2004-24-0041 | 2004-24-0041 | 1 | 28.648 | 28.999 | 0 | 0.351 | 5.365 | 5.146 | 0 | -0.219
2004-24-0041 | 2004-24-0041 | 1 | 14.413 | 14.988 | 0 | 0.575 | 5.54 | 5.716 | 0 | 0.176
2004-24-0041 | 2004-24-0041 | 2 | 9.208 | 9.5005 | 0.71347 | 0.2925 | 6.444 | 6.5425 | 0.041719 | 0.0985
2004-24-0041 | 2004-24-0041 | 0 | 3.723 | 0 | 0 | -3.723 | 6.887 | 0 | 0 | -6.887
2004-24-0041 | 2004-24-0041 | 0 | 2.911 | 0 | 0 | -2.911 | 6.941 | 0 | 0 | -6.941
2004-24-0041 | 2004-24-0041 | 0 | 0.864 | 0 | 0 | -0.864 | 7.05 | 0 | 0 | -7.05
2004-24-0044 | 2004-24-0044 | 0 | 104.967 | 0 | 0 | -104.967 | 1.485 | 0 | 0 | -1.485
2004-24-0044 | 2004-24-0044 | 1 | 76.03 | 76.988 | 0 | 0.958 | 2.641 | 2.71 | 0 | 0.069
2004-24-0044 | 2004-24-0044 | 1 | 50.479 | 49.992 | 0 | -0.487 | 4.632 | 4.699 | 0 | 0.067
2004-24-0044 | 2004-24-0044 | 1 | 29.139 | 28.988 | 0 | -0.151 | 4.951 | 5.138 | 0 | 0.187
2004-24-0044 | 2004-24-0044 | 1 | 21.027 | 21.004 | 0 | -0.023001 | 5.425 | 5.847 | 0 | 0.422
2004-24-0044 | 2004-24-0044 | 3 | 8.763 | 8.322 | 0.29098 | -0.441 | 7.06 | 7.003 | 0.024249 | -0.057
2004-24-0044 | 2004-24-0044 | 0 | 1.023 | 0 | 0 | -1.023 | 6.854 | 0 | 0 | -6.854
2004-24-0045 | 2004-24-0045 | 1 | 219.688 | 220.002 | 0 | 0.314 | 0.034 | 0.011 | 0 | -0.023
2004-24-0045 | 2004-24-0045 | 1 | 200.2 | 200.013 | 0 | -0.187 | 0.034 | 0.017 | 0 | -0.017
2004-24-0045 | 2004-24-0045 | 1 | 174.571 | 174.996 | 0 | 0.425 | 0.033 | 0.023 | 0 | -0.01
2004-24-0045 | 2004-24-0045 | 1 | 150.144 | 149.997 | 0 | -0.147 | 0.035 | 0.071 | 0 | 0.036
2004-24-0045 | 2004-24-0045 | 1 | 140.343 | 140.994 | 0 | 0.651 | 0.153 | 0.39 | 0 | 0.237
2004-24-0045 | 2004-24-0045 | 1 | 100.249 | 100.001 | 0 | -0.248 | 1.347 | 1.242 | 0 | -0.105
2004-24-0045 | 2004-24-0045 | 1 | 75.263 | 74.992 | 0 | -0.271 | 1.375 | 1.546 | 0 | 0.171
2004-24-0045 | 2004-24-0045 | 1 | 50.416 | 49.994 | 0 | -0.422 | 2.768 | 2.922 | 0 | 0.154
2004-24-0045 | 2004-24-0045 | 1 | 25.494 | 24.989 | 0 | -0.505 | 3.511 | 3.375 | 0 | -0.136
2004-24-0045 | 2004-24-0045 | 2 | 10.131 | 10.5045 | 0.69367 | 0.3735 | 3.9 | 4.089 | 0.069296 | 0.189
2004-24-0045 | 2004-24-0045 | 1 | 4.882 | 5 | 0 | 0.118 | 5.244 | 5.507 | 0 | 0.263
Create Fit Sheet