Cruise 2004-25:  La Perouse September 2004

CTD/Rosette:

85 casts done, 0001 to 0138

34 ‘real rosette casts’

51 CTD casts (no samples)

No stand-alone CTD casts.

All the casts were done with CTD 0585 and deck unit 0508; Mid-ship winch.

Casts 0001 and 0004 done with sensors T1:2023, C1:1763, T2:2106, C2:2102

All other casts done with sensors: T1:2106, C1:1763, T2:2449, C2:1766

Casts 0001 and 0004: done with transmissometer 723DR

Casts 0010 to 0060: done with transmissometer 333DR

Casts 0061 to 0138: done with transmissometer 723DR

Casts 0001, 0004:big T and S difference between sensors. Same problem with

transmissometer as with cruise 2004-20

Same T and S difference between sensors after new sensors were used, as well as with transmissometer.

Cast 0001: no station name in header, should be CPE1

Casts 0027 and 0028: pump OFF.

Cast 0036: Niskin 11 spigot snapped off, replaced with Niskin 23 for the rest of

the cruise.

Cast 0045: transmissometer 333DR starts acting up. Gets replaced at cast 0061.

Cast 0092: computer gets rebooted during cast. I cannot convert the file, but the data is there. Last 20 dbar of rosette upcast is in file 0093. File 0093 has 14 entries of bottles tripped at 20 dbar; only the last one (14) is good (just moving the carousel to the right bottle number).

Cast 0114: wrong station name in header. Is LB7, should be LB9

CHEMISTRY NOTES:

We had problems with the oxygen chemicals; they were not mixing properly and were leaving large flakes in the samples. So at rosette casts 0053 and 0055 we took 3 duplicates/cast, one sample with the old chemicals, one sample with the new chemicals. I left both values in the .add files, but only the value done with the new chemicals should go in the final archives (although the other value should be kept to decide if the previous casts (some on this cruise and some no the previous cruise 2004-20 Line P) are good or not.