## File List
Number of Files= |  | 22
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2004-26-0001 | 2004-26-0001 | 11 | 11 | 2004-26-0001 & 2004-26-0001
2 | 2004-26-0003 | 2004-26-0003 | 13 | 18 | 2004-26-0003 & 2004-26-0003
3 | 2004-26-0004 | 2004-26-0004 | 20 | 25 | 2004-26-0004 & 2004-26-0004
4 | 2004-26-0007 | 2004-26-0007 | 27 | 32 | 2004-26-0007 & 2004-26-0007
5 | 2004-26-0012 | 2004-26-0012 | 34 | 39 | 2004-26-0012 & 2004-26-0012
6 | 2004-26-0015 | 2004-26-0015 | 41 | 46 | 2004-26-0015 & 2004-26-0015
7 | 2004-26-0020 | 2004-26-0020 | 48 | 53 | 2004-26-0020 & 2004-26-0020
8 | 2004-26-0029 | 2004-26-0029 | 55 | 60 | 2004-26-0029 & 2004-26-0029
9 | 2004-26-0030 | 2004-26-0030 | 62 | 67 | 2004-26-0030 & 2004-26-0030
10 | 2004-26-0031 | 2004-26-0031 | 69 | 74 | 2004-26-0031 & 2004-26-0031
11 | 2004-26-0036 | 2004-26-0036 | 76 | 81 | 2004-26-0036 & 2004-26-0036
12 | 2004-26-0039 | 2004-26-0039 | 83 | 88 | 2004-26-0039 & 2004-26-0039
13 | 2004-26-0046 | 2004-26-0046 | 90 | 95 | 2004-26-0046 & 2004-26-0046
14 | 2004-26-0049 | 2004-26-0049 | 97 | 102 | 2004-26-0049 & 2004-26-0049
15 | 2004-26-0052 | 2004-26-0052 | 104 | 109 | 2004-26-0052 & 2004-26-0052
16 | 2004-26-0055 | 2004-26-0055 | 111 | 116 | 2004-26-0055 & 2004-26-0055
17 | 2004-26-0058 | 2004-26-0058 | 118 | 123 | 2004-26-0058 & 2004-26-0058
18 | 2004-26-0062 | 2004-26-0062 | 125 | 131 | 2004-26-0062 & 2004-26-0062
19 | 2004-26-0065 | 2004-26-0065 | 133 | 138 | 2004-26-0065 & 2004-26-0065
20 | 2004-26-0068 | 2004-26-0068 | 140 | 145 | 2004-26-0068 & 2004-26-0068
21 | 2004-26-0071 | 2004-26-0071 | 147 | 152 | 2004-26-0071 & 2004-26-0071
22 | 2004-26-0074 | 2004-26-0074 | 154 | 159 | 2004-26-0074 & 2004-26-0074

## (FL - CHL)
Calculation of Linear Least Squares Fit For
(FL - CHL)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FL - CHL), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0006186 |  | X | CALC Y
m= | 0.00056015 | 0.0020058 |  | Std Dev of Resid |  | 0.32201 |  | 1.7436 | 0.012468
b= | 0.011491 | 0.047475 |  | Resid Sum of Squares |  | 13.0652 |  | 54.1784 | 0.041839
# of Values Extracted = |  |  | 128
# of Values Used in Fit = |  |  | 128
File | Use | Pressure | FL | FL | Diff (FL - CHL) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 2.1103 | 0.83862 | 0.024139 | 0.38862 | 0.012673 | -0.37595 |  | 2.1103 | 0.38862
2 | YES | 41.035 | 0.57502 | 0.01982 | 0.095017 | 0.034477 | -0.06054 |  | 41.035 | 0.095017
2 | YES | 30.7288 | 0.69957 | 0.023124 | -0.01043 | 0.028704 | 0.039133 |  | 30.7288 | -0.01043
2 | YES | 20.5372 | 0.77225 | 0.025396 | -0.087752 | 0.022995 | 0.11075 |  | 20.5372 | -0.087752
2 | YES | 10.5615 | 1.6266 | 0.0387 | 0.076612 | 0.017407 | -0.059205 |  | 10.5615 | 0.076612
2 | YES | 6.301 | 1.3484 | 0.047256 | -0.24156 | 0.015021 | 0.25658 |  | 6.301 | -0.24156
2 | YES | 2.2235 | 0.9589 | 0.026931 | -0.6311 | 0.012737 | 0.64384 |  | 2.2235 | -0.6311
3 | YES | 40.8675 | 0.4949 | 0.024354 | 0.0049008 | 0.034383 | 0.029482 |  | 40.8675 | 0.0049008
3 | YES | 30.9102 | 0.48264 | 0.015222 | 0.012645 | 0.028805 | 0.016161 |  | 30.9102 | 0.012645
3 | YES | 20.9181 | 0.49418 | 0.03338 | 0.014182 | 0.023208 | 0.0090265 |  | 20.9181 | 0.014182
3 | YES | 10.7859 | 0.46371 | 0.014865 | 0.013711 | 0.017533 | 0.0038219 |  | 10.7859 | 0.013711
3 | YES | 5.9789 | 0.46179 | 0.029235 | 0.0017851 | 0.01484 | 0.013055 |  | 5.9789 | 0.0017851
3 | YES | 1.9556 | 0.4466 | 0.016279 | -0.013397 | 0.012586 | 0.025983 |  | 1.9556 | -0.013397
4 | YES | 41.1574 | 0.38917 | 0.014664 | 0.12917 | 0.034545 | -0.094629 |  | 41.1574 | 0.12917
4 | YES | 31.2168 | 0.48587 | 0.018746 | 0.13587 | 0.028977 | -0.10689 |  | 31.2168 | 0.13587
4 | YES | 21.104 | 0.66244 | 0.018192 | 0.17244 | 0.023312 | -0.14913 |  | 21.104 | 0.17244
4 | YES | 11.1311 | 0.90111 | 0.038767 | 0.17111 | 0.017726 | -0.15338 |  | 11.1311 | 0.17111
4 | YES | 6.0453 | 1.4872 | 0.035541 | 0.087207 | 0.014877 | -0.072329 |  | 6.0453 | 0.087207
4 | YES | 1.8355 | 1.4755 | 0.05031 | -0.15454 | 0.012519 | 0.16706 |  | 1.8355 | -0.15454
5 | YES | 40.979 | 0.19891 | 0.0089981 | 0.13891 | 0.034445 | -0.10446 |  | 40.979 | 0.13891
5 | YES | 31.211 | 0.23005 | 0.0080207 | 0.14005 | 0.028974 | -0.11108 |  | 31.211 | 0.14005
5 | YES | 20.8525 | 0.8067 | 0.04896 | 0.3367 | 0.023172 | -0.31353 |  | 20.8525 | 0.3367
5 | YES | 11.1913 | 2.0137 | 0.082745 | 0.61368 | 0.01776 | -0.59592 |  | 11.1913 | 0.61368
5 | YES | 6.13 | 2.1696 | 0.025546 | 0.76965 | 0.014925 | -0.75473 |  | 6.13 | 0.76965
5 | YES | 2.8734 | 2.1706 | 0.040341 | 0.68059 | 0.013101 | -0.66749 |  | 2.8734 | 0.68059
6 | YES | 41.2361 | 0.24049 | 0.011485 | 0.13049 | 0.034589 | -0.095899 |  | 41.2361 | 0.13049
6 | YES | 30.8697 | 0.31269 | 0.023494 | 0.14269 | 0.028783 | -0.1139 |  | 30.8697 | 0.14269
6 | YES | 20.8518 | 0.3916 | 0.024748 | 0.1916 | 0.023171 | -0.16843 |  | 20.8518 | 0.1916
6 | YES | 10.7291 | 1.7907 | 0.0357 | 0.59066 | 0.017501 | -0.57316 |  | 10.7291 | 0.59066
6 | YES | 5.3844 | 1.9088 | 0.033427 | 0.76882 | 0.014507 | -0.75431 |  | 5.3844 | 0.76882
6 | YES | 3.121 | 1.8907 | 0.023817 | 0.59072 | 0.013239 | -0.57748 |  | 3.121 | 0.59072
7 | YES | 41.2783 | 0.24635 | 0.011016 | 0.086347 | 0.034613 | -0.051734 |  | 41.2783 | 0.086347
7 | YES | 30.9682 | 0.49698 | 0.015387 | 0.11697 | 0.028838 | -0.088137 |  | 30.9682 | 0.11697
7 | YES | 21.065 | 0.87091 | 0.014954 | 0.19091 | 0.023291 | -0.16762 |  | 21.065 | 0.19091
7 | YES | 11.2677 | 1.7985 | 0.042098 | 0.15849 | 0.017803 | -0.14069 |  | 11.2677 | 0.15849
7 | YES | 6.0947 | 1.7241 | 0.083639 | -0.17591 | 0.014905 | 0.19081 |  | 6.0947 | -0.17591
7 | YES | 1.9466 | 1.4728 | 0.16859 | -0.39716 | 0.012581 | 0.40975 |  | 1.9466 | -0.39716
8 | YES | 42.1289 | 0.24066 | 0.0070976 | 0.15066 | 0.03509 | -0.11557 |  | 42.1289 | 0.15066
8 | YES | 32.1999 | 0.3267 | 0.0085476 | 0.1267 | 0.029528 | -0.097174 |  | 32.1999 | 0.1267
8 | YES | 21.4763 | 0.55228 | 0.01757 | 0.18228 | 0.023521 | -0.15876 |  | 21.4763 | 0.18228
8 | YES | 10.9973 | 1.9003 | 0.02752 | 0.77031 | 0.017651 | -0.75265 |  | 10.9973 | 0.77031
8 | YES | 6.4268 | 1.7346 | 0.088556 | 0.59464 | 0.015091 | -0.57955 |  | 6.4268 | 0.59464
8 | YES | 2.1956 | 1.5348 | 0.028799 | 0.5048 | 0.012721 | -0.49208 |  | 2.1956 | 0.5048
9 | YES | 40.9497 | 0.20718 | 0.0071682 | 0.14718 | 0.034429 | -0.11275 |  | 40.9497 | 0.14718
9 | YES | 31.1735 | 0.43822 | 0.01189 | 0.25822 | 0.028953 | -0.22927 |  | 31.1735 | 0.25822
9 | YES | 21.1214 | 1.7464 | 0.028301 | 0.71635 | 0.023322 | -0.69302 |  | 21.1214 | 0.71635
9 | YES | 11.1849 | 1.6461 | 0.032244 | 0.64609 | 0.017756 | -0.62833 |  | 11.1849 | 0.64609
9 | YES | 6.2373 | 1.5222 | 0.024062 | 0.48221 | 0.014985 | -0.46722 |  | 6.2373 | 0.48221
9 | YES | 2.1865 | 1.0688 | 0.025492 | 0.39875 | 0.012716 | -0.38604 |  | 2.1865 | 0.39875
10 | YES | 41.1641 | 0.22603 | 0.0084043 | 0.15603 | 0.034549 | -0.12148 |  | 41.1641 | 0.15603
10 | YES | 31.1269 | 0.28688 | 0.0082201 | 0.17688 | 0.028927 | -0.14796 |  | 31.1269 | 0.17688
10 | YES | 20.2686 | 0.89504 | 0.036073 | 0.43504 | 0.022844 | -0.4122 |  | 20.2686 | 0.43504
10 | YES | 11.0906 | 1.3447 | 0.062839 | 0.48473 | 0.017703 | -0.46702 |  | 11.0906 | 0.48473
10 | YES | 6.4653 | 1.4457 | 0.020322 | 0.63573 | 0.015113 | -0.62061 |  | 6.4653 | 0.63573
10 | YES | 2.1758 | 1.4675 | 0.021056 | 0.50749 | 0.01271 | -0.49478 |  | 2.1758 | 0.50749
11 | YES | 41.1016 | 0.21158 | 0.010088 | 0.14158 | 0.034514 | -0.10706 |  | 41.1016 | 0.14158
11 | YES | 31.5238 | 0.22102 | 0.0063021 | 0.13102 | 0.029149 | -0.10187 |  | 31.5238 | 0.13102
11 | YES | 21.3879 | 0.47927 | 0.020859 | 0.15927 | 0.023471 | -0.1358 |  | 21.3879 | 0.15927
11 | YES | 11.4246 | 0.67706 | 0.012834 | 0.10706 | 0.017891 | -0.089167 |  | 11.4246 | 0.10706
11 | YES | 6.1587 | 1.1761 | 0.018493 | 0.12605 | 0.014941 | -0.11111 |  | 6.1587 | 0.12605
11 | YES | 2.1739 | 1.4818 | 0.10565 | -0.66816 | 0.012709 | 0.68087 |  | 2.1739 | -0.66816
12 | YES | 41.1716 | 0.20529 | 0.0069203 | 0.13529 | 0.034553 | -0.10074 |  | 41.1716 | 0.13529
12 | YES | 31.2333 | 0.22096 | 0.021997 | 0.15096 | 0.028986 | -0.12197 |  | 31.2333 | 0.15096
12 | YES | 21.1517 | 0.324 | 0.019321 | 0.144 | 0.023339 | -0.12066 |  | 21.1517 | 0.144
12 | YES | 11.1669 | 0.44688 | 0.013297 | 0.15688 | 0.017746 | -0.13914 |  | 11.1669 | 0.15688
12 | YES | 6.1132 | 0.87824 | 0.019235 | 0.15824 | 0.014915 | -0.14332 |  | 6.1132 | 0.15824
12 | YES | 1.8172 | 0.84584 | 0.017559 | -0.24416 | 0.012509 | 0.25667 |  | 1.8172 | -0.24416
13 | YES | 41.1691 | 0.35746 | 0.024695 | 0.087455 | 0.034552 | -0.052903 |  | 41.1691 | 0.087455
13 | YES | 31.2443 | 0.39002 | 0.034117 | 0.080017 | 0.028993 | -0.051024 |  | 31.2443 | 0.080017
13 | YES | 21.1042 | 0.41859 | 0.024319 | 0.11859 | 0.023313 | -0.095274 |  | 21.1042 | 0.11859
13 | YES | 11.2594 | 0.48506 | 0.10918 | 0.15506 | 0.017798 | -0.13726 |  | 11.2594 | 0.15506
13 | YES | 6.1238 | 0.50775 | 0.029072 | 0.13775 | 0.014921 | -0.12283 |  | 6.1238 | 0.13775
13 | YES | 1.9268 | 0.59128 | 0.020096 | 0.17128 | 0.01257 | -0.15871 |  | 1.9268 | 0.17128
14 | YES | 41.675 | 0.64649 | 0.058875 | -0.23351 | 0.034835 | 0.26835 |  | 41.675 | -0.23351
14 | YES | 31.3249 | 0.72621 | 0.13764 | -0.053793 | 0.029038 | 0.082831 |  | 31.3249 | -0.053793
14 | YES | 21.355 | 0.67577 | 0.11025 | -0.20423 | 0.023453 | 0.22768 |  | 21.355 | -0.20423
14 | YES | 11.1567 | 0.74429 | 0.090262 | -0.19571 | 0.01774 | 0.21345 |  | 11.1567 | -0.19571
14 | YES | 6.42 | 0.82667 | 0.12808 | -0.14333 | 0.015087 | 0.15842 |  | 6.42 | -0.14333
14 | YES | 2.2314 | 0.78296 | 0.099197 | -0.32704 | 0.012741 | 0.33978 |  | 2.2314 | -0.32704
15 | YES | 41.4647 | 0.45679 | 0.090825 | -0.18321 | 0.034718 | 0.21792 |  | 41.4647 | -0.18321
15 | YES | 31.2846 | 0.41694 | 0.076207 | -0.10306 | 0.029015 | 0.13207 |  | 31.2846 | -0.10306
15 | YES | 21.3756 | 0.39273 | 0.050658 | -0.19727 | 0.023465 | 0.22074 |  | 21.3756 | -0.19727
15 | YES | 11.396 | 0.68317 | 0.51442 | -0.36683 | 0.017874 | 0.3847 |  | 11.396 | -0.36683
15 | YES | 6.4676 | 0.48626 | 0.080514 | -0.35374 | 0.015114 | 0.36885 |  | 6.4676 | -0.35374
15 | YES | 2.259 | 0.4684 | 0.066678 | -0.4116 | 0.012756 | 0.42436 |  | 2.259 | -0.4116
16 | YES | 41.1799 | 0.40331 | 0.064523 | -0.11669 | 0.034558 | 0.15124 |  | 41.1799 | -0.11669
16 | YES | 31.132 | 0.39024 | 0.046868 | -0.11976 | 0.02893 | 0.14869 |  | 31.132 | -0.11976
16 | YES | 20.9989 | 0.46659 | 0.057075 | -0.25341 | 0.023254 | 0.27667 |  | 20.9989 | -0.25341
16 | YES | 11.0122 | 0.90571 | 1.5138 | -0.10429 | 0.017659 | 0.12195 |  | 11.0122 | -0.10429
16 | YES | 6.1484 | 0.54046 | 0.076652 | -0.38954 | 0.014935 | 0.40447 |  | 6.1484 | -0.38954
16 | YES | 2.3186 | 0.63522 | 0.5059 | -0.47478 | 0.01279 | 0.48757 |  | 2.3186 | -0.47478
17 | YES | 40.9018 | 0.36124 | 0.050468 | -0.25876 | 0.034402 | 0.29316 |  | 40.9018 | -0.25876
17 | YES | 31.2483 | 0.47095 | 0.18845 | -0.21905 | 0.028995 | 0.24804 |  | 31.2483 | -0.21905
17 | YES | 21.1708 | 0.49333 | 0.31255 | -0.25667 | 0.02335 | 0.28002 |  | 21.1708 | -0.25667
17 | YES | 11.5254 | 0.56859 | 0.26324 | -0.41141 | 0.017947 | 0.42935 |  | 11.5254 | -0.41141
17 | YES | 6.3228 | 0.48108 | 0.086285 | -0.54892 | 0.015033 | 0.56395 |  | 6.3228 | -0.54892
17 | YES | 2.7152 | 0.36141 | 0.079861 | -0.73859 | 0.013012 | 0.7516 |  | 2.7152 | -0.73859
18 | YES | 54.1784 | 0.36942 | 0.025601 | -0.39058 | 0.041839 | 0.43242 |  | 54.1784 | -0.39058
18 | YES | 41.461 | 0.41457 | 0.043951 | -0.44543 | 0.034715 | 0.48015 |  | 41.461 | -0.44543
18 | YES | 31.0957 | 0.6775 | 0.59757 | -0.1625 | 0.028909 | 0.19141 |  | 31.0957 | -0.1625
18 | YES | 21.0347 | 0.58807 | 0.59057 | -0.091934 | 0.023274 | 0.11521 |  | 21.0347 | -0.091934
18 | YES | 11.051 | 0.5475 | 0.39278 | -0.3825 | 0.017681 | 0.40019 |  | 11.051 | -0.3825
18 | YES | 5.9396 | 0.40582 | 0.16709 | -0.48418 | 0.014818 | 0.499 |  | 5.9396 | -0.48418
18 | YES | 2.0994 | 0.30576 | 0.070944 | -0.82424 | 0.012667 | 0.83691 |  | 2.0994 | -0.82424
19 | YES | 41.5646 | 0.43377 | 0.043151 | -0.016231 | 0.034773 | 0.051005 |  | 41.5646 | -0.016231
19 | YES | 30.8044 | 0.71444 | 0.036327 | -0.17556 | 0.028746 | 0.20431 |  | 30.8044 | -0.17556
19 | YES | 20.4534 | 0.84171 | 0.058614 | -0.13829 | 0.022948 | 0.16124 |  | 20.4534 | -0.13829
19 | YES | 10.8898 | 2.9063 | 0.11523 | -0.17368 | 0.017591 | 0.19127 |  | 10.8898 | -0.17368
19 | YES | 5.9855 | 2.859 | 0.11989 | -0.37104 | 0.014844 | 0.38588 |  | 5.9855 | -0.37104
19 | YES | 2.4288 | 2.4481 | 0.13575 | -0.091942 | 0.012851 | 0.10479 |  | 2.4288 | -0.091942
20 | YES | 41.6987 | 0.48504 | 0.020127 | 0.11504 | 0.034849 | -0.080195 |  | 41.6987 | 0.11504
20 | YES | 30.077 | 0.45549 | 0.010929 | 0.085491 | 0.028339 | -0.057152 |  | 30.077 | 0.085491
20 | YES | 20.3832 | 0.56038 | 0.02819 | 0.10038 | 0.022909 | -0.077471 |  | 20.3832 | 0.10038
20 | YES | 10.1693 | 1.0071 | 0.046293 | 0.047075 | 0.017187 | -0.029888 |  | 10.1693 | 0.047075
20 | YES | 6.08 | 1.0134 | 0.037618 | 0.0033884 | 0.014897 | 0.011508 |  | 6.08 | 0.0033884
20 | YES | 2.5464 | 1.04 | 0.035271 | 0.089983 | 0.012917 | -0.077066 |  | 2.5464 | 0.089983
21 | YES | 40.8782 | 0.36758 | 0.019571 | 0.067578 | 0.034389 | -0.03319 |  | 40.8782 | 0.067578
21 | YES | 31.4327 | 0.39855 | 0.023093 | 0.028554 | 0.029098 | 0.00054438 |  | 31.4327 | 0.028554
21 | YES | 21.0009 | 0.43673 | 0.034709 | 0.046727 | 0.023255 | -0.023473 |  | 21.0009 | 0.046727
21 | YES | 11.1781 | 0.49566 | 0.017113 | -0.014339 | 0.017752 | 0.032091 |  | 11.1781 | -0.014339
21 | YES | 6.0229 | 0.53188 | 0.032403 | -0.038116 | 0.014865 | 0.05298 |  | 6.0229 | -0.038116
21 | YES | 1.7436 | 0.49749 | 0.028793 | -0.082512 | 0.012468 | 0.09498 |  | 1.7436 | -0.082512
22 | YES | 40.7657 | 0.30277 | 0.03748 | 0.022769 | 0.034326 | 0.011557 |  | 40.7657 | 0.022769
22 | YES | 30.8083 | 0.33026 | 0.021272 | -0.10974 | 0.028748 | 0.13848 |  | 30.8083 | -0.10974
22 | YES | 21.1501 | 0.41876 | 0.17256 | -0.11124 | 0.023338 | 0.13458 |  | 21.1501 | -0.11124
22 | YES | 10.9578 | 0.39054 | 0.019381 | -0.15946 | 0.017629 | 0.17709 |  | 10.9578 | -0.15946
22 | YES | 6.3243 | 0.39689 | 0.044265 | -0.21311 | 0.015034 | 0.22814 |  | 6.3243 | -0.21311
22 | YES | 2.2949 | 0.37298 | 0.02981 | -0.49702 | 0.012777 | 0.50979 |  | 2.2949 | -0.49702
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. FL
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (FL - CHL) (2)
Calculation of Linear Least Squares Fit For
(FL - CHL)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FL - CHL), Prop=FL
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.12889 |  | X | CALC Y
m= | 0.19755 | 0.045753 |  | Std Dev of Resid |  | 0.30064 |  | 0.19891 | -0.094015
b= | -0.13331 | 0.04474 |  | Resid Sum of Squares |  | 11.3883 |  | 2.9063 | 0.44082
# of Values Extracted = |  |  | 128
# of Values Used in Fit = |  |  | 128
File | Use | Pressure | FL | FL | Diff (FL - CHL) |  |  |  | Fit vs. | FL
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 2.1103 | 0.83862 | 0.024139 | 0.38862 | 0.032357 | -0.35626 |  | 0.83862 | 0.38862
2 | YES | 41.035 | 0.57502 | 0.01982 | 0.095017 | -0.019717 | -0.11473 |  | 0.57502 | 0.095017
2 | YES | 30.7288 | 0.69957 | 0.023124 | -0.01043 | 0.0048881 | 0.015318 |  | 0.69957 | -0.01043
2 | YES | 20.5372 | 0.77225 | 0.025396 | -0.087752 | 0.019245 | 0.107 |  | 0.77225 | -0.087752
2 | YES | 10.5615 | 1.6266 | 0.0387 | 0.076612 | 0.18802 | 0.11141 |  | 1.6266 | 0.076612
2 | YES | 6.301 | 1.3484 | 0.047256 | -0.24156 | 0.13307 | 0.37463 |  | 1.3484 | -0.24156
2 | YES | 2.2235 | 0.9589 | 0.026931 | -0.6311 | 0.056118 | 0.68722 |  | 0.9589 | -0.6311
3 | YES | 40.8675 | 0.4949 | 0.024354 | 0.0049008 | -0.035543 | -0.040444 |  | 0.4949 | 0.0049008
3 | YES | 30.9102 | 0.48264 | 0.015222 | 0.012645 | -0.037965 | -0.050609 |  | 0.48264 | 0.012645
3 | YES | 20.9181 | 0.49418 | 0.03338 | 0.014182 | -0.035685 | -0.049867 |  | 0.49418 | 0.014182
3 | YES | 10.7859 | 0.46371 | 0.014865 | 0.013711 | -0.041705 | -0.055416 |  | 0.46371 | 0.013711
3 | YES | 5.9789 | 0.46179 | 0.029235 | 0.0017851 | -0.042085 | -0.043871 |  | 0.46179 | 0.0017851
3 | YES | 1.9556 | 0.4466 | 0.016279 | -0.013397 | -0.045085 | -0.031688 |  | 0.4466 | -0.013397
4 | YES | 41.1574 | 0.38917 | 0.014664 | 0.12917 | -0.056429 | -0.1856 |  | 0.38917 | 0.12917
4 | YES | 31.2168 | 0.48587 | 0.018746 | 0.13587 | -0.037328 | -0.1732 |  | 0.48587 | 0.13587
4 | YES | 21.104 | 0.66244 | 0.018192 | 0.17244 | -0.0024472 | -0.17489 |  | 0.66244 | 0.17244
4 | YES | 11.1311 | 0.90111 | 0.038767 | 0.17111 | 0.044701 | -0.12641 |  | 0.90111 | 0.17111
4 | YES | 6.0453 | 1.4872 | 0.035541 | 0.087207 | 0.16048 | 0.073276 |  | 1.4872 | 0.087207
4 | YES | 1.8355 | 1.4755 | 0.05031 | -0.15454 | 0.15816 | 0.3127 |  | 1.4755 | -0.15454
5 | YES | 40.979 | 0.19891 | 0.0089981 | 0.13891 | -0.094015 | -0.23292 |  | 0.19891 | 0.13891
5 | YES | 31.211 | 0.23005 | 0.0080207 | 0.14005 | -0.087864 | -0.22791 |  | 0.23005 | 0.14005
5 | YES | 20.8525 | 0.8067 | 0.04896 | 0.3367 | 0.026052 | -0.31065 |  | 0.8067 | 0.3367
5 | YES | 11.1913 | 2.0137 | 0.082745 | 0.61368 | 0.26449 | -0.34919 |  | 2.0137 | 0.61368
5 | YES | 6.13 | 2.1696 | 0.025546 | 0.76965 | 0.2953 | -0.47436 |  | 2.1696 | 0.76965
5 | YES | 2.8734 | 2.1706 | 0.040341 | 0.68059 | 0.29548 | -0.38511 |  | 2.1706 | 0.68059
6 | YES | 41.2361 | 0.24049 | 0.011485 | 0.13049 | -0.085802 | -0.21629 |  | 0.24049 | 0.13049
6 | YES | 30.8697 | 0.31269 | 0.023494 | 0.14269 | -0.071539 | -0.21423 |  | 0.31269 | 0.14269
6 | YES | 20.8518 | 0.3916 | 0.024748 | 0.1916 | -0.05595 | -0.24755 |  | 0.3916 | 0.1916
6 | YES | 10.7291 | 1.7907 | 0.0357 | 0.59066 | 0.22043 | -0.37023 |  | 1.7907 | 0.59066
6 | YES | 5.3844 | 1.9088 | 0.033427 | 0.76882 | 0.24377 | -0.52505 |  | 1.9088 | 0.76882
6 | YES | 3.121 | 1.8907 | 0.023817 | 0.59072 | 0.24019 | -0.35052 |  | 1.8907 | 0.59072
7 | YES | 41.2783 | 0.24635 | 0.011016 | 0.086347 | -0.084644 | -0.17099 |  | 0.24635 | 0.086347
7 | YES | 30.9682 | 0.49698 | 0.015387 | 0.11697 | -0.035134 | -0.15211 |  | 0.49698 | 0.11697
7 | YES | 21.065 | 0.87091 | 0.014954 | 0.19091 | 0.038735 | -0.15217 |  | 0.87091 | 0.19091
7 | YES | 11.2677 | 1.7985 | 0.042098 | 0.15849 | 0.22198 | 0.063487 |  | 1.7985 | 0.15849
7 | YES | 6.0947 | 1.7241 | 0.083639 | -0.17591 | 0.20728 | 0.38319 |  | 1.7241 | -0.17591
7 | YES | 1.9466 | 1.4728 | 0.16859 | -0.39716 | 0.15764 | 0.55481 |  | 1.4728 | -0.39716
8 | YES | 42.1289 | 0.24066 | 0.0070976 | 0.15066 | -0.085767 | -0.23643 |  | 0.24066 | 0.15066
8 | YES | 32.1999 | 0.3267 | 0.0085476 | 0.1267 | -0.06877 | -0.19547 |  | 0.3267 | 0.1267
8 | YES | 21.4763 | 0.55228 | 0.01757 | 0.18228 | -0.024208 | -0.20649 |  | 0.55228 | 0.18228
8 | YES | 10.9973 | 1.9003 | 0.02752 | 0.77031 | 0.24209 | -0.52822 |  | 1.9003 | 0.77031
8 | YES | 6.4268 | 1.7346 | 0.088556 | 0.59464 | 0.20936 | -0.38528 |  | 1.7346 | 0.59464
8 | YES | 2.1956 | 1.5348 | 0.028799 | 0.5048 | 0.16988 | -0.33492 |  | 1.5348 | 0.5048
9 | YES | 40.9497 | 0.20718 | 0.0071682 | 0.14718 | -0.092381 | -0.23956 |  | 0.20718 | 0.14718
9 | YES | 31.1735 | 0.43822 | 0.01189 | 0.25822 | -0.04674 | -0.30496 |  | 0.43822 | 0.25822
9 | YES | 21.1214 | 1.7464 | 0.028301 | 0.71635 | 0.21168 | -0.50467 |  | 1.7464 | 0.71635
9 | YES | 11.1849 | 1.6461 | 0.032244 | 0.64609 | 0.19187 | -0.45422 |  | 1.6461 | 0.64609
9 | YES | 6.2373 | 1.5222 | 0.024062 | 0.48221 | 0.1674 | -0.31481 |  | 1.5222 | 0.48221
9 | YES | 2.1865 | 1.0688 | 0.025492 | 0.39875 | 0.077818 | -0.32093 |  | 1.0688 | 0.39875
10 | YES | 41.1641 | 0.22603 | 0.0084043 | 0.15603 | -0.088657 | -0.24469 |  | 0.22603 | 0.15603
10 | YES | 31.1269 | 0.28688 | 0.0082201 | 0.17688 | -0.076636 | -0.25352 |  | 0.28688 | 0.17688
10 | YES | 20.2686 | 0.89504 | 0.036073 | 0.43504 | 0.043503 | -0.39154 |  | 0.89504 | 0.43504
10 | YES | 11.0906 | 1.3447 | 0.062839 | 0.48473 | 0.13234 | -0.35239 |  | 1.3447 | 0.48473
10 | YES | 6.4653 | 1.4457 | 0.020322 | 0.63573 | 0.15229 | -0.48344 |  | 1.4457 | 0.63573
10 | YES | 2.1758 | 1.4675 | 0.021056 | 0.50749 | 0.15659 | -0.3509 |  | 1.4675 | 0.50749
11 | YES | 41.1016 | 0.21158 | 0.010088 | 0.14158 | -0.091513 | -0.23309 |  | 0.21158 | 0.14158
11 | YES | 31.5238 | 0.22102 | 0.0063021 | 0.13102 | -0.089648 | -0.22067 |  | 0.22102 | 0.13102
11 | YES | 21.3879 | 0.47927 | 0.020859 | 0.15927 | -0.038631 | -0.1979 |  | 0.47927 | 0.15927
11 | YES | 11.4246 | 0.67706 | 0.012834 | 0.10706 | 0.00044091 | -0.10662 |  | 0.67706 | 0.10706
11 | YES | 6.1587 | 1.1761 | 0.018493 | 0.12605 | 0.099015 | -0.027035 |  | 1.1761 | 0.12605
11 | YES | 2.1739 | 1.4818 | 0.10565 | -0.66816 | 0.15942 | 0.82758 |  | 1.4818 | -0.66816
12 | YES | 41.1716 | 0.20529 | 0.0069203 | 0.13529 | -0.092755 | -0.22804 |  | 0.20529 | 0.13529
12 | YES | 31.2333 | 0.22096 | 0.021997 | 0.15096 | -0.08966 | -0.24062 |  | 0.22096 | 0.15096
12 | YES | 21.1517 | 0.324 | 0.019321 | 0.144 | -0.069304 | -0.2133 |  | 0.324 | 0.144
12 | YES | 11.1669 | 0.44688 | 0.013297 | 0.15688 | -0.045029 | -0.20191 |  | 0.44688 | 0.15688
12 | YES | 6.1132 | 0.87824 | 0.019235 | 0.15824 | 0.040184 | -0.11806 |  | 0.87824 | 0.15824
12 | YES | 1.8172 | 0.84584 | 0.017559 | -0.24416 | 0.033782 | 0.27795 |  | 0.84584 | -0.24416
13 | YES | 41.1691 | 0.35746 | 0.024695 | 0.087455 | -0.062695 | -0.15015 |  | 0.35746 | 0.087455
13 | YES | 31.2443 | 0.39002 | 0.034117 | 0.080017 | -0.056263 | -0.13628 |  | 0.39002 | 0.080017
13 | YES | 21.1042 | 0.41859 | 0.024319 | 0.11859 | -0.050619 | -0.16921 |  | 0.41859 | 0.11859
13 | YES | 11.2594 | 0.48506 | 0.10918 | 0.15506 | -0.037488 | -0.19255 |  | 0.48506 | 0.15506
13 | YES | 6.1238 | 0.50775 | 0.029072 | 0.13775 | -0.033005 | -0.17076 |  | 0.50775 | 0.13775
13 | YES | 1.9268 | 0.59128 | 0.020096 | 0.17128 | -0.016504 | -0.18778 |  | 0.59128 | 0.17128
14 | YES | 41.675 | 0.64649 | 0.058875 | -0.23351 | -0.0055981 | 0.22791 |  | 0.64649 | -0.23351
14 | YES | 31.3249 | 0.72621 | 0.13764 | -0.053793 | 0.01015 | 0.063943 |  | 0.72621 | -0.053793
14 | YES | 21.355 | 0.67577 | 0.11025 | -0.20423 | 0.00018628 | 0.20442 |  | 0.67577 | -0.20423
14 | YES | 11.1567 | 0.74429 | 0.090262 | -0.19571 | 0.013722 | 0.20943 |  | 0.74429 | -0.19571
14 | YES | 6.42 | 0.82667 | 0.12808 | -0.14333 | 0.029996 | 0.17333 |  | 0.82667 | -0.14333
14 | YES | 2.2314 | 0.78296 | 0.099197 | -0.32704 | 0.021361 | 0.3484 |  | 0.78296 | -0.32704
15 | YES | 41.4647 | 0.45679 | 0.090825 | -0.18321 | -0.043072 | 0.14014 |  | 0.45679 | -0.18321
15 | YES | 31.2846 | 0.41694 | 0.076207 | -0.10306 | -0.050944 | 0.052114 |  | 0.41694 | -0.10306
15 | YES | 21.3756 | 0.39273 | 0.050658 | -0.19727 | -0.055727 | 0.14155 |  | 0.39273 | -0.19727
15 | YES | 11.396 | 0.68317 | 0.51442 | -0.36683 | 0.0016491 | 0.36848 |  | 0.68317 | -0.36683
15 | YES | 6.4676 | 0.48626 | 0.080514 | -0.35374 | -0.03725 | 0.31649 |  | 0.48626 | -0.35374
15 | YES | 2.259 | 0.4684 | 0.066678 | -0.4116 | -0.040779 | 0.37082 |  | 0.4684 | -0.4116
16 | YES | 41.1799 | 0.40331 | 0.064523 | -0.11669 | -0.053636 | 0.06305 |  | 0.40331 | -0.11669
16 | YES | 31.132 | 0.39024 | 0.046868 | -0.11976 | -0.056219 | 0.063541 |  | 0.39024 | -0.11976
16 | YES | 20.9989 | 0.46659 | 0.057075 | -0.25341 | -0.041137 | 0.21228 |  | 0.46659 | -0.25341
16 | YES | 11.0122 | 0.90571 | 1.5138 | -0.10429 | 0.04561 | 0.1499 |  | 0.90571 | -0.10429
16 | YES | 6.1484 | 0.54046 | 0.076652 | -0.38954 | -0.026543 | 0.36299 |  | 0.54046 | -0.38954
16 | YES | 2.3186 | 0.63522 | 0.5059 | -0.47478 | -0.0078234 | 0.46695 |  | 0.63522 | -0.47478
17 | YES | 40.9018 | 0.36124 | 0.050468 | -0.25876 | -0.061948 | 0.19681 |  | 0.36124 | -0.25876
17 | YES | 31.2483 | 0.47095 | 0.18845 | -0.21905 | -0.040275 | 0.17878 |  | 0.47095 | -0.21905
17 | YES | 21.1708 | 0.49333 | 0.31255 | -0.25667 | -0.035854 | 0.22082 |  | 0.49333 | -0.25667
17 | YES | 11.5254 | 0.56859 | 0.26324 | -0.41141 | -0.020985 | 0.39042 |  | 0.56859 | -0.41141
17 | YES | 6.3228 | 0.48108 | 0.086285 | -0.54892 | -0.038273 | 0.51064 |  | 0.48108 | -0.54892
17 | YES | 2.7152 | 0.36141 | 0.079861 | -0.73859 | -0.061913 | 0.67667 |  | 0.36141 | -0.73859
18 | YES | 54.1784 | 0.36942 | 0.025601 | -0.39058 | -0.060331 | 0.33025 |  | 0.36942 | -0.39058
18 | YES | 41.461 | 0.41457 | 0.043951 | -0.44543 | -0.051412 | 0.39402 |  | 0.41457 | -0.44543
18 | YES | 31.0957 | 0.6775 | 0.59757 | -0.1625 | 0.00052744 | 0.16303 |  | 0.6775 | -0.1625
18 | YES | 21.0347 | 0.58807 | 0.59057 | -0.091934 | -0.017139 | 0.074795 |  | 0.58807 | -0.091934
18 | YES | 11.051 | 0.5475 | 0.39278 | -0.3825 | -0.025154 | 0.35735 |  | 0.5475 | -0.3825
18 | YES | 5.9396 | 0.40582 | 0.16709 | -0.48418 | -0.053141 | 0.43104 |  | 0.40582 | -0.48418
18 | YES | 2.0994 | 0.30576 | 0.070944 | -0.82424 | -0.072907 | 0.75133 |  | 0.30576 | -0.82424
19 | YES | 41.5646 | 0.43377 | 0.043151 | -0.016231 | -0.04762 | -0.031388 |  | 0.43377 | -0.016231
19 | YES | 30.8044 | 0.71444 | 0.036327 | -0.17556 | 0.0078256 | 0.18339 |  | 0.71444 | -0.17556
19 | YES | 20.4534 | 0.84171 | 0.058614 | -0.13829 | 0.032967 | 0.17126 |  | 0.84171 | -0.13829
19 | YES | 10.8898 | 2.9063 | 0.11523 | -0.17368 | 0.44082 | 0.6145 |  | 2.9063 | -0.17368
19 | YES | 5.9855 | 2.859 | 0.11989 | -0.37104 | 0.43147 | 0.80251 |  | 2.859 | -0.37104
19 | YES | 2.4288 | 2.4481 | 0.13575 | -0.091942 | 0.35029 | 0.44224 |  | 2.4481 | -0.091942
20 | YES | 41.6987 | 0.48504 | 0.020127 | 0.11504 | -0.037491 | -0.15253 |  | 0.48504 | 0.11504
20 | YES | 30.077 | 0.45549 | 0.010929 | 0.085491 | -0.043329 | -0.12882 |  | 0.45549 | 0.085491
20 | YES | 20.3832 | 0.56038 | 0.02819 | 0.10038 | -0.022608 | -0.12299 |  | 0.56038 | 0.10038
20 | YES | 10.1693 | 1.0071 | 0.046293 | 0.047075 | 0.065635 | 0.01856 |  | 1.0071 | 0.047075
20 | YES | 6.08 | 1.0134 | 0.037618 | 0.0033884 | 0.066882 | 0.063494 |  | 1.0134 | 0.0033884
20 | YES | 2.5464 | 1.04 | 0.035271 | 0.089983 | 0.072135 | -0.017849 |  | 1.04 | 0.089983
21 | YES | 40.8782 | 0.36758 | 0.019571 | 0.067578 | -0.060695 | -0.12827 |  | 0.36758 | 0.067578
21 | YES | 31.4327 | 0.39855 | 0.023093 | 0.028554 | -0.054576 | -0.08313 |  | 0.39855 | 0.028554
21 | YES | 21.0009 | 0.43673 | 0.034709 | 0.046727 | -0.047035 | -0.093763 |  | 0.43673 | 0.046727
21 | YES | 11.1781 | 0.49566 | 0.017113 | -0.014339 | -0.035393 | -0.021055 |  | 0.49566 | -0.014339
21 | YES | 6.0229 | 0.53188 | 0.032403 | -0.038116 | -0.028238 | 0.0098781 |  | 0.53188 | -0.038116
21 | YES | 1.7436 | 0.49749 | 0.028793 | -0.082512 | -0.035032 | 0.04748 |  | 0.49749 | -0.082512
22 | YES | 40.7657 | 0.30277 | 0.03748 | 0.022769 | -0.073498 | -0.096267 |  | 0.30277 | 0.022769
22 | YES | 30.8083 | 0.33026 | 0.021272 | -0.10974 | -0.068067 | 0.041669 |  | 0.33026 | -0.10974
22 | YES | 21.1501 | 0.41876 | 0.17256 | -0.11124 | -0.050585 | 0.060655 |  | 0.41876 | -0.11124
22 | YES | 10.9578 | 0.39054 | 0.019381 | -0.15946 | -0.05616 | 0.1033 |  | 0.39054 | -0.15946
22 | YES | 6.3243 | 0.39689 | 0.044265 | -0.21311 | -0.054905 | 0.1582 |  | 0.39689 | -0.21311
22 | YES | 2.2949 | 0.37298 | 0.02981 | -0.49702 | -0.059628 | 0.43739 |  | 0.37298 | -0.49702
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. FL
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (FL - CHL) (3)
Calculation of Linear Least Squares Fit For | [12 empty] | CHL | FL-0.07 | CHL
(FL - CHL) | [12 empty] | 0.06 | 0.12891 | 0.06
[8 empty] | 2 |  |  |  |  | 0.07 | 0.13529 | 0.07
Fit Equation: Diff = m * Prop + b | [12 empty] | 0.06 | 0.13718 | 0.06
where: Diff =Diff (FL - CHL), Prop=FL | [12 empty] | 0.07 | 0.14158 | 0.07
[13 empty] | 0.07 | 0.15096 | 0.07
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits |  |  |  |  | 0.09 | 0.15102 | 0.09
| Value | Std Err. |  | Coeff of Determination |  | 0.12889 |  | X | CALC Y |  |  |  | 0.07 | 0.15603 | 0.07
m= | 0.19755 | 0.045753 |  | Std Dev of Resid |  | 0.30064 |  | 0.19891 | -0.094015 |  |  |  | 0.09 | 0.16005 | 0.09
b= | -0.13331 | 0.04474 |  | Resid Sum of Squares |  | 11.3883 |  | 2.9063 | 0.44082 |  |  |  | 0.11 | 0.17049 | 0.11
[13 empty] | 0.09 | 0.17066 | 0.09
# of Values Extracted = |  |  | 128 | [9 empty] | 0.16 | 0.17635 | 0.16
# of Values Used in Fit = |  |  | 128 | [9 empty] | 0.11 | 0.21688 | 0.11
[13 empty] | 0.28 | 0.23277 | 0.28
File | Use | Pressure | FL | FL | Diff (FL - CHL) |  |  |  | Fit vs. | FL | CHL | FL-0.07 | 1.13 | 0.23576 | 1.13
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y |  |  | 0.17 | 0.24269 | 0.17
1 | YES | 2.1103 | 0.83862 | 0.024139 | 0.38862 | 0.032357 | -0.35626 |  | 0.83862 | 0.38862 | 0.45 | 0.76862 | 0.18 | 0.254 | 0.18
2 | YES | 41.035 | 0.57502 | 0.01982 | 0.095017 | -0.019717 | -0.11473 |  | 0.57502 | 0.095017 | 0.48 | 0.50502 | 0.2 | 0.2567 | 0.2
2 | YES | 30.7288 | 0.69957 | 0.023124 | -0.01043 | 0.0048881 | 0.015318 |  | 0.69957 | -0.01043 | 0.71 | 0.62957 | 0.44 | 0.26026 | 0.44
2 | YES | 20.5372 | 0.77225 | 0.025396 | -0.087752 | 0.019245 | 0.107 |  | 0.77225 | -0.087752 | 0.86 | 0.70225 | 0.27 | 0.28746 | 0.27
2 | YES | 10.5615 | 1.6266 | 0.0387 | 0.076612 | 0.18802 | 0.11141 |  | 1.6266 | 0.076612 | 1.55 | 1.5566 | 0.62 | 0.29124 | 0.62
2 | YES | 6.301 | 1.3484 | 0.047256 | -0.24156 | 0.13307 | 0.37463 |  | 1.3484 | -0.24156 | 1.59 | 1.2784 | 1.1 | 0.29141 | 1.1
2 | YES | 2.2235 | 0.9589 | 0.026931 | -0.6311 | 0.056118 | 0.68722 |  | 0.9589 | -0.6311 | 1.59 | 0.8889 | 0.3 | 0.29758 | 0.3
3 | YES | 40.8675 | 0.4949 | 0.024354 | 0.0049008 | -0.035543 | -0.040444 |  | 0.4949 | 0.0049008 | 0.49 | 0.4249 | 0.76 | 0.29942 | 0.76
3 | YES | 30.9102 | 0.48264 | 0.015222 | 0.012645 | -0.037965 | -0.050609 |  | 0.48264 | 0.012645 | 0.47 | 0.41264 | 0.87 | 0.30298 | 0.87
3 | YES | 20.9181 | 0.49418 | 0.03338 | 0.014182 | -0.035685 | -0.049867 |  | 0.49418 | 0.014182 | 0.48 | 0.42418 | 0.26 | 0.31917 | 0.26
3 | YES | 10.7859 | 0.46371 | 0.014865 | 0.013711 | -0.041705 | -0.055416 |  | 0.46371 | 0.013711 | 0.45 | 0.39371 | 0.31 | 0.32002 | 0.31
3 | YES | 5.9789 | 0.46179 | 0.029235 | 0.0017851 | -0.042085 | -0.043871 |  | 0.46179 | 0.0017851 | 0.46 | 0.39178 | 0.51 | 0.32024 | 0.51
3 | YES | 1.9556 | 0.4466 | 0.016279 | -0.013397 | -0.045085 | -0.031688 |  | 0.4466 | -0.013397 | 0.46 | 0.3766 | 0.55 | 0.32054 | 0.55
4 | YES | 41.1574 | 0.38917 | 0.014664 | 0.12917 | -0.056429 | -0.1856 |  | 0.38917 | 0.12917 | 0.26 | 0.31917 | 0.2 | 0.3216 | 0.2
4 | YES | 31.2168 | 0.48587 | 0.018746 | 0.13587 | -0.037328 | -0.1732 |  | 0.48587 | 0.13587 | 0.35 | 0.41587 | 0.59 | 0.32273 | 0.59
4 | YES | 21.104 | 0.66244 | 0.018192 | 0.17244 | -0.0024472 | -0.17489 |  | 0.66244 | 0.17244 | 0.49 | 0.59244 | 0.61 | 0.32689 | 0.61
4 | YES | 11.1311 | 0.90111 | 0.038767 | 0.17111 | 0.044701 | -0.12641 |  | 0.90111 | 0.17111 | 0.73 | 0.83111 | 0.37 | 0.32855 | 0.37
4 | YES | 6.0453 | 1.4872 | 0.035541 | 0.087207 | 0.16048 | 0.073276 |  | 1.4872 | 0.087207 | 1.4 | 1.4172 | 0.52 | 0.33331 | 0.52
4 | YES | 1.8355 | 1.4755 | 0.05031 | -0.15454 | 0.15816 | 0.3127 |  | 1.4755 | -0.15454 | 1.63 | 1.4055 | 0.89 | 0.33582 | 0.89
5 | YES | 40.979 | 0.19891 | 0.0089981 | 0.13891 | -0.094015 | -0.23292 |  | 0.19891 | 0.13891 | 0.06 | 0.12891 | 0.86 | 0.34457 | 0.86
5 | YES | 31.211 | 0.23005 | 0.0080207 | 0.14005 | -0.087864 | -0.22791 |  | 0.23005 | 0.14005 | 0.09 | 0.16005 | 0.52 | 0.34694 | 0.52
5 | YES | 20.8525 | 0.8067 | 0.04896 | 0.3367 | 0.026052 | -0.31065 |  | 0.8067 | 0.3367 | 0.47 | 0.7367 | 0.3 | 0.34859 | 0.3
5 | YES | 11.1913 | 2.0137 | 0.082745 | 0.61368 | 0.26449 | -0.34919 |  | 2.0137 | 0.61368 | 1.4 | 1.9437 | 0.53 | 0.34876 | 0.53
5 | YES | 6.13 | 2.1696 | 0.025546 | 0.76965 | 0.2953 | -0.47436 |  | 2.1696 | 0.76965 | 1.4 | 2.0997 | 0.45 | 0.36377 | 0.45
5 | YES | 2.8734 | 2.1706 | 0.040341 | 0.68059 | 0.29548 | -0.38511 |  | 2.1706 | 0.68059 | 1.49 | 2.1006 | 0.39 | 0.36673 | 0.39
6 | YES | 41.2361 | 0.24049 | 0.011485 | 0.13049 | -0.085802 | -0.21629 |  | 0.24049 | 0.13049 | 0.11 | 0.17049 | 0.18 | 0.36822 | 0.18
6 | YES | 30.8697 | 0.31269 | 0.023494 | 0.14269 | -0.071539 | -0.21423 |  | 0.31269 | 0.14269 | 0.17 | 0.24269 | 0.46 | 0.3766 | 0.46
6 | YES | 20.8518 | 0.3916 | 0.024748 | 0.1916 | -0.05595 | -0.24755 |  | 0.3916 | 0.1916 | 0.2 | 0.3216 | 0.29 | 0.37688 | 0.29
6 | YES | 10.7291 | 1.7907 | 0.0357 | 0.59066 | 0.22043 | -0.37023 |  | 1.7907 | 0.59066 | 1.2 | 1.7207 | 0.37 | 0.38549 | 0.37
6 | YES | 5.3844 | 1.9088 | 0.033427 | 0.76882 | 0.24377 | -0.52505 |  | 1.9088 | 0.76882 | 1.14 | 1.8388 | 0.64 | 0.38679 | 0.64
6 | YES | 3.121 | 1.8907 | 0.023817 | 0.59072 | 0.24019 | -0.35052 |  | 1.8907 | 0.59072 | 1.3 | 1.8207 | 0.46 | 0.39178 | 0.46
7 | YES | 41.2783 | 0.24635 | 0.011016 | 0.086347 | -0.084644 | -0.17099 |  | 0.24635 | 0.086347 | 0.16 | 0.17635 | 0.45 | 0.39371 | 0.45
7 | YES | 30.9682 | 0.49698 | 0.015387 | 0.11697 | -0.035134 | -0.15211 |  | 0.49698 | 0.11697 | 0.38 | 0.42697 | 0.72 | 0.39659 | 0.72
7 | YES | 21.065 | 0.87091 | 0.014954 | 0.19091 | 0.038735 | -0.15217 |  | 0.87091 | 0.19091 | 0.68 | 0.80091 | 0.88 | 0.3984 | 0.88
7 | YES | 11.2677 | 1.7985 | 0.042098 | 0.15849 | 0.22198 | 0.063487 |  | 1.7985 | 0.15849 | 1.64 | 1.7285 | 0.69 | 0.40095 | 0.69
7 | YES | 6.0947 | 1.7241 | 0.083639 | -0.17591 | 0.20728 | 0.38319 |  | 1.7241 | -0.17591 | 1.9 | 1.6541 | 0.32 | 0.40927 | 0.32
7 | YES | 1.9466 | 1.4728 | 0.16859 | -0.39716 | 0.15764 | 0.55481 |  | 1.4728 | -0.39716 | 1.87 | 1.4028 | 1.03 | 0.41108 | 1.03
8 | YES | 42.1289 | 0.24066 | 0.0070976 | 0.15066 | -0.085767 | -0.23643 |  | 0.24066 | 0.15066 | 0.09 | 0.17066 | 0.47 | 0.41264 | 0.47
8 | YES | 32.1999 | 0.3267 | 0.0085476 | 0.1267 | -0.06877 | -0.19547 |  | 0.3267 | 0.1267 | 0.2 | 0.2567 | 0.37 | 0.41504 | 0.37
8 | YES | 21.4763 | 0.55228 | 0.01757 | 0.18228 | -0.024208 | -0.20649 |  | 0.55228 | 0.18228 | 0.37 | 0.48228 | 0.33 | 0.41506 | 0.33
8 | YES | 10.9973 | 1.9003 | 0.02752 | 0.77031 | 0.24209 | -0.52822 |  | 1.9003 | 0.77031 | 1.13 | 1.8303 | 0.35 | 0.41587 | 0.35
8 | YES | 6.4268 | 1.7346 | 0.088556 | 0.59464 | 0.20936 | -0.38528 |  | 1.7346 | 0.59464 | 1.14 | 1.6646 | 0.84 | 0.41626 | 0.84
8 | YES | 2.1956 | 1.5348 | 0.028799 | 0.5048 | 0.16988 | -0.33492 |  | 1.5348 | 0.5048 | 1.03 | 1.4648 | 0.75 | 0.42333 | 0.75
9 | YES | 40.9497 | 0.20718 | 0.0071682 | 0.14718 | -0.092381 | -0.23956 |  | 0.20718 | 0.14718 | 0.06 | 0.13718 | 0.48 | 0.42418 | 0.48
9 | YES | 31.1735 | 0.43822 | 0.01189 | 0.25822 | -0.04674 | -0.30496 |  | 0.43822 | 0.25822 | 0.18 | 0.36822 | 0.49 | 0.4249 | 0.49
9 | YES | 21.1214 | 1.7464 | 0.028301 | 0.71635 | 0.21168 | -0.50467 |  | 1.7464 | 0.71635 | 1.03 | 1.6764 | 0.51 | 0.42566 | 0.51
9 | YES | 11.1849 | 1.6461 | 0.032244 | 0.64609 | 0.19187 | -0.45422 |  | 1.6461 | 0.64609 | 1 | 1.5761 | 0.38 | 0.42697 | 0.38
9 | YES | 6.2373 | 1.5222 | 0.024062 | 0.48221 | 0.1674 | -0.31481 |  | 1.5222 | 0.48221 | 1.04 | 1.4522 | 0.58 | 0.42749 | 0.58
9 | YES | 2.1865 | 1.0688 | 0.025492 | 0.39875 | 0.077818 | -0.32093 |  | 1.0688 | 0.39875 | 0.67 | 0.99875 | 0.37 | 0.43775 | 0.37
10 | YES | 41.1641 | 0.22603 | 0.0084043 | 0.15603 | -0.088657 | -0.24469 |  | 0.22603 | 0.15603 | 0.07 | 0.15603 | 0.57 | 0.46188 | 0.57
10 | YES | 31.1269 | 0.28688 | 0.0082201 | 0.17688 | -0.076636 | -0.25352 |  | 0.28688 | 0.17688 | 0.11 | 0.21688 | 0.93 | 0.47046 | 0.93
10 | YES | 20.2686 | 0.89504 | 0.036073 | 0.43504 | 0.043503 | -0.39154 |  | 0.89504 | 0.43504 | 0.46 | 0.82504 | 0.93 | 0.4775 | 0.93
10 | YES | 11.0906 | 1.3447 | 0.062839 | 0.48473 | 0.13234 | -0.35239 |  | 1.3447 | 0.48473 | 0.86 | 1.2747 | 0.37 | 0.48228 | 0.37
10 | YES | 6.4653 | 1.4457 | 0.020322 | 0.63573 | 0.15229 | -0.48344 |  | 1.4457 | 0.63573 | 0.81 | 1.3757 | 0.46 | 0.49038 | 0.46
10 | YES | 2.1758 | 1.4675 | 0.021056 | 0.50749 | 0.15659 | -0.3509 |  | 1.4675 | 0.50749 | 0.96 | 1.3975 | 0.98 | 0.4986 | 0.98
11 | YES | 41.1016 | 0.21158 | 0.010088 | 0.14158 | -0.091513 | -0.23309 |  | 0.21158 | 0.14158 | 0.07 | 0.14158 | 0.48 | 0.50502 | 0.48
11 | YES | 31.5238 | 0.22102 | 0.0063021 | 0.13102 | -0.089648 | -0.22067 |  | 0.22102 | 0.13102 | 0.09 | 0.15102 | 0.68 | 0.51807 | 0.68
11 | YES | 21.3879 | 0.47927 | 0.020859 | 0.15927 | -0.038631 | -0.1979 |  | 0.47927 | 0.15927 | 0.32 | 0.40927 | 0.42 | 0.52128 | 0.42
11 | YES | 11.4246 | 0.67706 | 0.012834 | 0.10706 | 0.00044091 | -0.10662 |  | 0.67706 | 0.10706 | 0.57 | 0.60706 | 1.11 | 0.56522 | 1.11
11 | YES | 6.1587 | 1.1761 | 0.018493 | 0.12605 | 0.099015 | -0.027035 |  | 1.1761 | 0.12605 | 1.05 | 1.106 | 0.88 | 0.57649 | 0.88
11 | YES | 2.1739 | 1.4818 | 0.10565 | -0.66816 | 0.15942 | 0.82758 |  | 1.4818 | -0.66816 | 2.15 | 1.4118 | 0.49 | 0.59244 | 0.49
12 | YES | 41.1716 | 0.20529 | 0.0069203 | 0.13529 | -0.092755 | -0.22804 |  | 0.20529 | 0.13529 | 0.07 | 0.13529 | 0.88 | 0.60577 | 0.88
12 | YES | 31.2333 | 0.22096 | 0.021997 | 0.15096 | -0.08966 | -0.24062 |  | 0.22096 | 0.15096 | 0.07 | 0.15096 | 0.57 | 0.60706 | 0.57
12 | YES | 21.1517 | 0.324 | 0.019321 | 0.144 | -0.069304 | -0.2133 |  | 0.324 | 0.144 | 0.18 | 0.254 | 0.84 | 0.6075 | 0.84
12 | YES | 11.1669 | 0.44688 | 0.013297 | 0.15688 | -0.045029 | -0.20191 |  | 0.44688 | 0.15688 | 0.29 | 0.37688 | 1.05 | 0.61317 | 1.05
12 | YES | 6.1132 | 0.87824 | 0.019235 | 0.15824 | 0.040184 | -0.11806 |  | 0.87824 | 0.15824 | 0.72 | 0.80824 | 0.71 | 0.62957 | 0.71
12 | YES | 1.8172 | 0.84584 | 0.017559 | -0.24416 | 0.033782 | 0.27795 |  | 0.84584 | -0.24416 | 1.09 | 0.77584 | 0.89 | 0.64444 | 0.89
13 | YES | 41.1691 | 0.35746 | 0.024695 | 0.087455 | -0.062695 | -0.15015 |  | 0.35746 | 0.087455 | 0.27 | 0.28746 | 0.78 | 0.65621 | 0.78
13 | YES | 31.2443 | 0.39002 | 0.034117 | 0.080017 | -0.056263 | -0.13628 |  | 0.39002 | 0.080017 | 0.31 | 0.32002 | 0.94 | 0.67429 | 0.94
13 | YES | 21.1042 | 0.41859 | 0.024319 | 0.11859 | -0.050619 | -0.16921 |  | 0.41859 | 0.11859 | 0.3 | 0.34859 | 0.86 | 0.70225 | 0.86
13 | YES | 11.2594 | 0.48506 | 0.10918 | 0.15506 | -0.037488 | -0.19255 |  | 0.48506 | 0.15506 | 0.33 | 0.41506 | 1.11 | 0.71296 | 1.11
13 | YES | 6.1238 | 0.50775 | 0.029072 | 0.13775 | -0.033005 | -0.17076 |  | 0.50775 | 0.13775 | 0.37 | 0.43775 | 0.47 | 0.7367 | 0.47
13 | YES | 1.9268 | 0.59128 | 0.020096 | 0.17128 | -0.016504 | -0.18778 |  | 0.59128 | 0.17128 | 0.42 | 0.52128 | 0.97 | 0.75667 | 0.97
14 | YES | 41.675 | 0.64649 | 0.058875 | -0.23351 | -0.0055981 | 0.22791 |  | 0.64649 | -0.23351 | 0.88 | 0.57649 | 0.45 | 0.76862 | 0.45
14 | YES | 31.3249 | 0.72621 | 0.13764 | -0.053793 | 0.01015 | 0.063943 |  | 0.72621 | -0.053793 | 0.78 | 0.65621 | 0.98 | 0.77171 | 0.98
14 | YES | 21.355 | 0.67577 | 0.11025 | -0.20423 | 0.00018628 | 0.20442 |  | 0.67577 | -0.20423 | 0.88 | 0.60577 | 1.09 | 0.77584 | 1.09
14 | YES | 11.1567 | 0.74429 | 0.090262 | -0.19571 | 0.013722 | 0.20943 |  | 0.74429 | -0.19571 | 0.94 | 0.67429 | 0.68 | 0.80091 | 0.68
14 | YES | 6.42 | 0.82667 | 0.12808 | -0.14333 | 0.029996 | 0.17333 |  | 0.82667 | -0.14333 | 0.97 | 0.75667 | 0.72 | 0.80824 | 0.72
14 | YES | 2.2314 | 0.78296 | 0.099197 | -0.32704 | 0.021361 | 0.3484 |  | 0.78296 | -0.32704 | 1.11 | 0.71296 | 0.46 | 0.82504 | 0.46
15 | YES | 41.4647 | 0.45679 | 0.090825 | -0.18321 | -0.043072 | 0.14014 |  | 0.45679 | -0.18321 | 0.64 | 0.38679 | 0.73 | 0.83111 | 0.73
15 | YES | 31.2846 | 0.41694 | 0.076207 | -0.10306 | -0.050944 | 0.052114 |  | 0.41694 | -0.10306 | 0.52 | 0.34694 | 1.01 | 0.83571 | 1.01
15 | YES | 21.3756 | 0.39273 | 0.050658 | -0.19727 | -0.055727 | 0.14155 |  | 0.39273 | -0.19727 | 0.59 | 0.32273 | 1.59 | 0.8889 | 1.59
15 | YES | 11.396 | 0.68317 | 0.51442 | -0.36683 | 0.0016491 | 0.36848 |  | 0.68317 | -0.36683 | 1.05 | 0.61317 | 0.96 | 0.93708 | 0.96
15 | YES | 6.4676 | 0.48626 | 0.080514 | -0.35374 | -0.03725 | 0.31649 |  | 0.48626 | -0.35374 | 0.84 | 0.41626 | 1.01 | 0.94339 | 1.01
15 | YES | 2.259 | 0.4684 | 0.066678 | -0.4116 | -0.040779 | 0.37082 |  | 0.4684 | -0.4116 | 0.88 | 0.3984 | 0.95 | 0.96998 | 0.95
16 | YES | 41.1799 | 0.40331 | 0.064523 | -0.11669 | -0.053636 | 0.06305 |  | 0.40331 | -0.11669 | 0.52 | 0.33331 | 0.67 | 0.99875 | 0.67
16 | YES | 31.132 | 0.39024 | 0.046868 | -0.11976 | -0.056219 | 0.063541 |  | 0.39024 | -0.11976 | 0.51 | 0.32024 | 1.05 | 1.106 | 1.05
16 | YES | 20.9989 | 0.46659 | 0.057075 | -0.25341 | -0.041137 | 0.21228 |  | 0.46659 | -0.25341 | 0.72 | 0.39659 | 0.86 | 1.2747 | 0.86
16 | YES | 11.0122 | 0.90571 | 1.5138 | -0.10429 | 0.04561 | 0.1499 |  | 0.90571 | -0.10429 | 1.01 | 0.83571 | 1.59 | 1.2784 | 1.59
16 | YES | 6.1484 | 0.54046 | 0.076652 | -0.38954 | -0.026543 | 0.36299 |  | 0.54046 | -0.38954 | 0.93 | 0.47046 | 0.81 | 1.3757 | 0.81
16 | YES | 2.3186 | 0.63522 | 0.5059 | -0.47478 | -0.0078234 | 0.46695 |  | 0.63522 | -0.47478 | 1.11 | 0.56522 | 0.96 | 1.3975 | 0.96
17 | YES | 40.9018 | 0.36124 | 0.050468 | -0.25876 | -0.061948 | 0.19681 |  | 0.36124 | -0.25876 | 0.62 | 0.29124 | 1.87 | 1.4028 | 1.87
17 | YES | 31.2483 | 0.47095 | 0.18845 | -0.21905 | -0.040275 | 0.17878 |  | 0.47095 | -0.21905 | 0.69 | 0.40095 | 1.63 | 1.4055 | 1.63
17 | YES | 21.1708 | 0.49333 | 0.31255 | -0.25667 | -0.035854 | 0.22082 |  | 0.49333 | -0.25667 | 0.75 | 0.42333 | 2.15 | 1.4118 | 2.15
17 | YES | 11.5254 | 0.56859 | 0.26324 | -0.41141 | -0.020985 | 0.39042 |  | 0.56859 | -0.41141 | 0.98 | 0.4986 | 1.4 | 1.4172 | 1.4
17 | YES | 6.3228 | 0.48108 | 0.086285 | -0.54892 | -0.038273 | 0.51064 |  | 0.48108 | -0.54892 | 1.03 | 0.41108 | 1.04 | 1.4522 | 1.04
17 | YES | 2.7152 | 0.36141 | 0.079861 | -0.73859 | -0.061913 | 0.67667 |  | 0.36141 | -0.73859 | 1.1 | 0.29141 | 1.03 | 1.4648 | 1.03
18 | YES | 54.1784 | 0.36942 | 0.025601 | -0.39058 | -0.060331 | 0.33025 |  | 0.36942 | -0.39058 | 0.76 | 0.29942 | 1.55 | 1.5566 | 1.55
18 | YES | 41.461 | 0.41457 | 0.043951 | -0.44543 | -0.051412 | 0.39402 |  | 0.41457 | -0.44543 | 0.86 | 0.34457 | 1 | 1.5761 | 1
18 | YES | 31.0957 | 0.6775 | 0.59757 | -0.1625 | 0.00052744 | 0.16303 |  | 0.6775 | -0.1625 | 0.84 | 0.6075 | 1.9 | 1.6541 | 1.9
18 | YES | 21.0347 | 0.58807 | 0.59057 | -0.091934 | -0.017139 | 0.074795 |  | 0.58807 | -0.091934 | 0.68 | 0.51807 | 1.14 | 1.6646 | 1.14
18 | YES | 11.051 | 0.5475 | 0.39278 | -0.3825 | -0.025154 | 0.35735 |  | 0.5475 | -0.3825 | 0.93 | 0.4775 | 1.03 | 1.6764 | 1.03
18 | YES | 5.9396 | 0.40582 | 0.16709 | -0.48418 | -0.053141 | 0.43104 |  | 0.40582 | -0.48418 | 0.89 | 0.33582 | 1.2 | 1.7207 | 1.2
18 | YES | 2.0994 | 0.30576 | 0.070944 | -0.82424 | -0.072907 | 0.75133 |  | 0.30576 | -0.82424 | 1.13 | 0.23576 | 1.64 | 1.7285 | 1.64
19 | YES | 41.5646 | 0.43377 | 0.043151 | -0.016231 | -0.04762 | -0.031388 |  | 0.43377 | -0.016231 | 0.45 | 0.36377 | 1.3 | 1.8207 | 1.3
19 | YES | 30.8044 | 0.71444 | 0.036327 | -0.17556 | 0.0078256 | 0.18339 |  | 0.71444 | -0.17556 | 0.89 | 0.64444 | 1.13 | 1.8303 | 1.13
19 | YES | 20.4534 | 0.84171 | 0.058614 | -0.13829 | 0.032967 | 0.17126 |  | 0.84171 | -0.13829 | 0.98 | 0.77171 | 1.14 | 1.8388 | 1.14
19 | YES | 10.8898 | 2.9063 | 0.11523 | -0.17368 | 0.44082 | 0.6145 |  | 2.9063 | -0.17368 | 3.08 | 2.8363 | 1.4 | 1.9437 | 1.4
19 | YES | 5.9855 | 2.859 | 0.11989 | -0.37104 | 0.43147 | 0.80251 |  | 2.859 | -0.37104 | 3.23 | 2.789 | 1.4 | 2.0997 | 1.4
19 | YES | 2.4288 | 2.4481 | 0.13575 | -0.091942 | 0.35029 | 0.44224 |  | 2.4481 | -0.091942 | 2.54 | 2.3781 | 1.49 | 2.1006 | 1.49
20 | YES | 41.6987 | 0.48504 | 0.020127 | 0.11504 | -0.037491 | -0.15253 |  | 0.48504 | 0.11504 | 0.37 | 0.41504 | 2.54 | 2.3781 | 2.54
20 | YES | 30.077 | 0.45549 | 0.010929 | 0.085491 | -0.043329 | -0.12882 |  | 0.45549 | 0.085491 | 0.37 | 0.38549 | 3.23 | 2.789 | 3.23
20 | YES | 20.3832 | 0.56038 | 0.02819 | 0.10038 | -0.022608 | -0.12299 |  | 0.56038 | 0.10038 | 0.46 | 0.49038 | 3.08 | 2.8363 | 3.08
20 | YES | 10.1693 | 1.0071 | 0.046293 | 0.047075 | 0.065635 | 0.01856 |  | 1.0071 | 0.047075 | 0.96 | 0.93708
20 | YES | 6.08 | 1.0134 | 0.037618 | 0.0033884 | 0.066882 | 0.063494 |  | 1.0134 | 0.0033884 | 1.01 | 0.94339
20 | YES | 2.5464 | 1.04 | 0.035271 | 0.089983 | 0.072135 | -0.017849 |  | 1.04 | 0.089983 | 0.95 | 0.96998
21 | YES | 40.8782 | 0.36758 | 0.019571 | 0.067578 | -0.060695 | -0.12827 |  | 0.36758 | 0.067578 | 0.3 | 0.29758
21 | YES | 31.4327 | 0.39855 | 0.023093 | 0.028554 | -0.054576 | -0.08313 |  | 0.39855 | 0.028554 | 0.37 | 0.32855
21 | YES | 21.0009 | 0.43673 | 0.034709 | 0.046727 | -0.047035 | -0.093763 |  | 0.43673 | 0.046727 | 0.39 | 0.36673
21 | YES | 11.1781 | 0.49566 | 0.017113 | -0.014339 | -0.035393 | -0.021055 |  | 0.49566 | -0.014339 | 0.51 | 0.42566
21 | YES | 6.0229 | 0.53188 | 0.032403 | -0.038116 | -0.028238 | 0.0098781 |  | 0.53188 | -0.038116 | 0.57 | 0.46188
21 | YES | 1.7436 | 0.49749 | 0.028793 | -0.082512 | -0.035032 | 0.04748 |  | 0.49749 | -0.082512 | 0.58 | 0.42749
22 | YES | 40.7657 | 0.30277 | 0.03748 | 0.022769 | -0.073498 | -0.096267 |  | 0.30277 | 0.022769 | 0.28 | 0.23277
22 | YES | 30.8083 | 0.33026 | 0.021272 | -0.10974 | -0.068067 | 0.041669 |  | 0.33026 | -0.10974 | 0.44 | 0.26026
22 | YES | 21.1501 | 0.41876 | 0.17256 | -0.11124 | -0.050585 | 0.060655 |  | 0.41876 | -0.11124 | 0.53 | 0.34876
22 | YES | 10.9578 | 0.39054 | 0.019381 | -0.15946 | -0.05616 | 0.1033 |  | 0.39054 | -0.15946 | 0.55 | 0.32054
22 | YES | 6.3243 | 0.39689 | 0.044265 | -0.21311 | -0.054905 | 0.1582 |  | 0.39689 | -0.21311 | 0.61 | 0.32689
22 | YES | 2.2949 | 0.37298 | 0.02981 | -0.49702 | -0.059628 | 0.43739 |  | 0.37298 | -0.49702 | 0.87 | 0.30298
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. FL
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | CHL | FL |  | FL - CHL
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | CHL | FL | FL | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2004-26-0001 | 2004-26-0001 | 121 | 2.11 | 2.1103 | 0.026079 | 0.00032234 | 0.45 | 0.83862 | 0.024139 | 0.38862
2004-26-0003 | 2004-26-0003 | 121 | 41.035 | 41.035 | 0.023942 | 2.2888e-05 | 0.48 | 0.57502 | 0.01982 | 0.095017
2004-26-0003 | 2004-26-0003 | 121 | 30.729 | 30.7288 | 0.026169 | -0.00024033 | 0.71 | 0.69957 | 0.023124 | -0.01043
2004-26-0003 | 2004-26-0003 | 121 | 20.537 | 20.5372 | 0.033546 | 0.0001564 | 0.86 | 0.77225 | 0.025396 | -0.087752
2004-26-0003 | 2004-26-0003 | 121 | 10.562 | 10.5615 | 0.031576 | -0.00048828 | 1.55 | 1.6266 | 0.0387 | 0.076612
2004-26-0003 | 2004-26-0003 | 121 | 6.301 | 6.301 | 0.026796 | 0 | 1.59 | 1.3484 | 0.047256 | -0.24156
2004-26-0003 | 2004-26-0003 | 121 | 2.224 | 2.2235 | 0.048319 | -0.00044632 | 1.59 | 0.9589 | 0.026931 | -0.6311
2004-26-0004 | 2004-26-0004 | 121 | 40.868 | 40.8675 | 0.024953 | -0.00048828 | 0.49 | 0.4949 | 0.024354 | 0.0049008
2004-26-0004 | 2004-26-0004 | 121 | 30.91 | 30.9102 | 0.022538 | 0.00022316 | 0.47 | 0.48264 | 0.015222 | 0.012645
2004-26-0004 | 2004-26-0004 | 121 | 20.918 | 20.9181 | 0.027783 | 9.1553e-05 | 0.48 | 0.49418 | 0.03338 | 0.014182
2004-26-0004 | 2004-26-0004 | 121 | 10.786 | 10.7859 | 0.027734 | -5.8174e-05 | 0.45 | 0.46371 | 0.014865 | 0.013711
2004-26-0004 | 2004-26-0004 | 121 | 5.979 | 5.9789 | 0.024818 | -7.4387e-05 | 0.46 | 0.46179 | 0.029235 | 0.0017851
2004-26-0004 | 2004-26-0004 | 121 | 1.956 | 1.9556 | 0.030317 | -0.00036359 | 0.46 | 0.4466 | 0.016279 | -0.013397
2004-26-0007 | 2004-26-0007 | 121 | 41.157 | 41.1574 | 0.02535 | 0.00044632 | 0.26 | 0.38917 | 0.014664 | 0.12917
2004-26-0007 | 2004-26-0007 | 121 | 31.217 | 31.2168 | 0.025478 | -0.00022316 | 0.35 | 0.48587 | 0.018746 | 0.13587
2004-26-0007 | 2004-26-0007 | 121 | 21.104 | 21.104 | 0.026257 | 4.9591e-05 | 0.49 | 0.66244 | 0.018192 | 0.17244
2004-26-0007 | 2004-26-0007 | 121 | 11.131 | 11.1311 | 0.024792 | 6.6757e-05 | 0.73 | 0.90111 | 0.038767 | 0.17111
2004-26-0007 | 2004-26-0007 | 121 | 6.045 | 6.0453 | 0.027 | 0.00025606 | 1.4 | 1.4872 | 0.035541 | 0.087207
2004-26-0007 | 2004-26-0007 | 121 | 1.836 | 1.8355 | 0.028051 | -0.00047934 | 1.63 | 1.4755 | 0.05031 | -0.15454
2004-26-0012 | 2004-26-0012 | 121 | 40.979 | 40.979 | 0.098019 | 1.5259e-05 | 0.06 | 0.19891 | 0.0089981 | 0.13891
2004-26-0012 | 2004-26-0012 | 121 | 31.211 | 31.211 | 0.10165 | -4.1962e-05 | 0.09 | 0.23005 | 0.0080207 | 0.14005
2004-26-0012 | 2004-26-0012 | 121 | 20.853 | 20.8525 | 0.14442 | -0.00048065 | 0.47 | 0.8067 | 0.04896 | 0.3367
2004-26-0012 | 2004-26-0012 | 121 | 11.191 | 11.1913 | 0.059207 | 0.00030613 | 1.4 | 2.0137 | 0.082745 | 0.61368
2004-26-0012 | 2004-26-0012 | 121 | 6.13 | 6.13 | 0.054075 | 1.6689e-05 | 1.4 | 2.1696 | 0.025546 | 0.76965
2004-26-0012 | 2004-26-0012 | 121 | 2.873 | 2.8734 | 0.26602 | 0.00043821 | 1.49 | 2.1706 | 0.040341 | 0.68059
2004-26-0015 | 2004-26-0015 | 121 | 41.236 | 41.2361 | 0.16664 | 0.00014114 | 0.11 | 0.24049 | 0.011485 | 0.13049
2004-26-0015 | 2004-26-0015 | 121 | 30.87 | 30.8697 | 0.15384 | -0.00026512 | 0.17 | 0.31269 | 0.023494 | 0.14269
2004-26-0015 | 2004-26-0015 | 121 | 20.852 | 20.8518 | 0.20844 | -0.00019836 | 0.2 | 0.3916 | 0.024748 | 0.1916
2004-26-0015 | 2004-26-0015 | 121 | 10.729 | 10.7291 | 0.26645 | 0.00014877 | 1.2 | 1.7907 | 0.0357 | 0.59066
2004-26-0015 | 2004-26-0015 | 121 | 5.384 | 5.3844 | 0.4328 | 0.00035572 | 1.14 | 1.9088 | 0.033427 | 0.76882
2004-26-0015 | 2004-26-0015 | 121 | 3.121 | 3.121 | 0.10649 | 8.3446e-06 | 1.3 | 1.8907 | 0.023817 | 0.59072
2004-26-0020 | 2004-26-0020 | 121 | 41.278 | 41.2783 | 0.053213 | 0.00028992 | 0.16 | 0.24635 | 0.011016 | 0.086347
2004-26-0020 | 2004-26-0020 | 121 | 30.968 | 30.9682 | 0.036544 | 0.00023079 | 0.38 | 0.49698 | 0.015387 | 0.11697
2004-26-0020 | 2004-26-0020 | 121 | 21.065 | 21.065 | 0.1121 | -7.6294e-06 | 0.68 | 0.87091 | 0.014954 | 0.19091
2004-26-0020 | 2004-26-0020 | 121 | 11.268 | 11.2677 | 0.11078 | -0.00029755 | 1.64 | 1.7985 | 0.042098 | 0.15849
2004-26-0020 | 2004-26-0020 | 121 | 6.095 | 6.0947 | 0.042526 | -0.00028086 | 1.9 | 1.7241 | 0.083639 | -0.17591
2004-26-0020 | 2004-26-0020 | 121 | 1.947 | 1.9466 | 0.066402 | -0.00042975 | 1.87 | 1.4728 | 0.16859 | -0.39716
2004-26-0029 | 2004-26-0029 | 121 | 42.129 | 42.1289 | 0.060241 | -0.00012589 | 0.09 | 0.24066 | 0.0070976 | 0.15066
2004-26-0029 | 2004-26-0029 | 121 | 32.2 | 32.1999 | 0.056048 | -9.9182e-05 | 0.2 | 0.3267 | 0.0085476 | 0.1267
2004-26-0029 | 2004-26-0029 | 121 | 21.476 | 21.4763 | 0.045735 | 0.00030518 | 0.37 | 0.55228 | 0.01757 | 0.18228
2004-26-0029 | 2004-26-0029 | 121 | 10.997 | 10.9973 | 0.042887 | 0.00033855 | 1.13 | 1.9003 | 0.02752 | 0.77031
2004-26-0029 | 2004-26-0029 | 121 | 6.427 | 6.4268 | 0.026055 | -0.00018168 | 1.14 | 1.7346 | 0.088556 | 0.59464
2004-26-0029 | 2004-26-0029 | 121 | 2.196 | 2.1956 | 0.27773 | -0.00040507 | 1.03 | 1.5348 | 0.028799 | 0.5048
2004-26-0030 | 2004-26-0030 | 121 | 40.95 | 40.9497 | 0.024456 | -0.00028229 | 0.06 | 0.20718 | 0.0071682 | 0.14718
2004-26-0030 | 2004-26-0030 | 121 | 31.174 | 31.1735 | 0.025362 | -0.00049591 | 0.18 | 0.43822 | 0.01189 | 0.25822
2004-26-0030 | 2004-26-0030 | 121 | 21.121 | 21.1214 | 0.029538 | 0.00037956 | 1.03 | 1.7464 | 0.028301 | 0.71635
2004-26-0030 | 2004-26-0030 | 121 | 11.185 | 11.1849 | 0.022998 | -0.00013256 | 1 | 1.6461 | 0.032244 | 0.64609
2004-26-0030 | 2004-26-0030 | 121 | 6.237 | 6.2373 | 0.028535 | 0.00024796 | 1.04 | 1.5222 | 0.024062 | 0.48221
2004-26-0030 | 2004-26-0030 | 121 | 2.187 | 2.1865 | 0.038936 | -0.00049591 | 0.67 | 1.0688 | 0.025492 | 0.39875
2004-26-0031 | 2004-26-0031 | 121 | 41.164 | 41.1641 | 0.024428 | 0.00011444 | 0.07 | 0.22603 | 0.0084043 | 0.15603
2004-26-0031 | 2004-26-0031 | 121 | 31.127 | 31.1269 | 0.024768 | -0.00010109 | 0.11 | 0.28688 | 0.0082201 | 0.17688
2004-26-0031 | 2004-26-0031 | 121 | 20.269 | 20.2686 | 0.03904 | -0.00042915 | 0.46 | 0.89504 | 0.036073 | 0.43504
2004-26-0031 | 2004-26-0031 | 121 | 11.091 | 11.0906 | 0.024943 | -0.00037193 | 0.86 | 1.3447 | 0.062839 | 0.48473
2004-26-0031 | 2004-26-0031 | 121 | 6.465 | 6.4653 | 0.032013 | 0.00028086 | 0.81 | 1.4457 | 0.020322 | 0.63573
2004-26-0031 | 2004-26-0031 | 121 | 2.176 | 2.1758 | 0.046819 | -0.00019026 | 0.96 | 1.4675 | 0.021056 | 0.50749
2004-26-0036 | 2004-26-0036 | 121 | 41.102 | 41.1016 | 0.20539 | -0.0004158 | 0.07 | 0.21158 | 0.010088 | 0.14158
2004-26-0036 | 2004-26-0036 | 121 | 31.524 | 31.5238 | 0.22348 | -0.00016594 | 0.09 | 0.22102 | 0.0063021 | 0.13102
2004-26-0036 | 2004-26-0036 | 121 | 21.388 | 21.3879 | 0.15174 | -0.00011635 | 0.32 | 0.47927 | 0.020859 | 0.15927
2004-26-0036 | 2004-26-0036 | 121 | 11.425 | 11.4246 | 0.046634 | -0.0003891 | 0.57 | 0.67706 | 0.012834 | 0.10706
2004-26-0036 | 2004-26-0036 | 121 | 6.159 | 6.1587 | 0.17653 | -0.00026417 | 1.05 | 1.1761 | 0.018493 | 0.12605
2004-26-0036 | 2004-26-0036 | 121 | 2.174 | 2.1739 | 0.18993 | -7.4387e-05 | 2.15 | 1.4818 | 0.10565 | -0.66816
2004-26-0039 | 2004-26-0039 | 121 | 41.172 | 41.1716 | 0.034446 | -0.00042343 | 0.07 | 0.20529 | 0.0069203 | 0.13529
2004-26-0039 | 2004-26-0039 | 121 | 31.233 | 31.2333 | 0.043316 | 0.00028992 | 0.07 | 0.22096 | 0.021997 | 0.15096
2004-26-0039 | 2004-26-0039 | 121 | 21.152 | 21.1517 | 0.048764 | -0.00030708 | 0.18 | 0.324 | 0.019321 | 0.144
2004-26-0039 | 2004-26-0039 | 121 | 11.167 | 11.1669 | 0.041458 | -6.5804e-05 | 0.29 | 0.44688 | 0.013297 | 0.15688
2004-26-0039 | 2004-26-0039 | 121 | 6.113 | 6.1132 | 0.048082 | 0.00017357 | 0.72 | 0.87824 | 0.019235 | 0.15824
2004-26-0039 | 2004-26-0039 | 121 | 1.817 | 1.8172 | 0.065076 | 0.00022316 | 1.09 | 0.84584 | 0.017559 | -0.24416
2004-26-0046 | 2004-26-0046 | 121 | 41.169 | 41.1691 | 0.027893 | 5.722e-05 | 0.27 | 0.35746 | 0.024695 | 0.087455
2004-26-0046 | 2004-26-0046 | 121 | 31.244 | 31.2443 | 0.030867 | 0.00027275 | 0.31 | 0.39002 | 0.034117 | 0.080017
2004-26-0046 | 2004-26-0046 | 121 | 21.104 | 21.1042 | 0.031496 | 0.00024033 | 0.3 | 0.41859 | 0.024319 | 0.11859
2004-26-0046 | 2004-26-0046 | 121 | 11.259 | 11.2594 | 0.033797 | 0.00041294 | 0.33 | 0.48506 | 0.10918 | 0.15506
2004-26-0046 | 2004-26-0046 | 121 | 6.124 | 6.1238 | 0.026737 | -0.00019026 | 0.37 | 0.50775 | 0.029072 | 0.13775
2004-26-0046 | 2004-26-0046 | 121 | 1.927 | 1.9268 | 0.025798 | -0.0002315 | 0.42 | 0.59128 | 0.020096 | 0.17128
2004-26-0049 | 2004-26-0049 | 121 | 41.675 | 41.675 | 0.025827 | 4.9591e-05 | 0.88 | 0.64649 | 0.058875 | -0.23351
2004-26-0049 | 2004-26-0049 | 121 | 31.325 | 31.3249 | 0.029963 | -9.9182e-05 | 0.78 | 0.72621 | 0.13764 | -0.053793
2004-26-0049 | 2004-26-0049 | 121 | 21.355 | 21.355 | 0.031385 | 4.1962e-05 | 0.88 | 0.67577 | 0.11025 | -0.20423
2004-26-0049 | 2004-26-0049 | 121 | 11.157 | 11.1567 | 0.025544 | -0.00028896 | 0.94 | 0.74429 | 0.090262 | -0.19571
2004-26-0049 | 2004-26-0049 | 121 | 6.42 | 6.42 | 0.032313 | -2.4796e-05 | 0.97 | 0.82667 | 0.12808 | -0.14333
2004-26-0049 | 2004-26-0049 | 121 | 2.231 | 2.2314 | 0.03329 | 0.00043821 | 1.11 | 0.78296 | 0.099197 | -0.32704
2004-26-0052 | 2004-26-0052 | 121 | 41.465 | 41.4647 | 0.028761 | -0.0003128 | 0.64 | 0.45679 | 0.090825 | -0.18321
2004-26-0052 | 2004-26-0052 | 121 | 31.285 | 31.2846 | 0.05478 | -0.00035477 | 0.52 | 0.41694 | 0.076207 | -0.10306
2004-26-0052 | 2004-26-0052 | 121 | 21.376 | 21.3756 | 0.034547 | -0.00035477 | 0.59 | 0.39273 | 0.050658 | -0.19727
2004-26-0052 | 2004-26-0052 | 121 | 11.396 | 11.396 | 0.047146 | 4.9591e-05 | 1.05 | 0.68317 | 0.51442 | -0.36683
2004-26-0052 | 2004-26-0052 | 121 | 6.468 | 6.4676 | 0.025533 | -0.00037193 | 0.84 | 0.48626 | 0.080514 | -0.35374
2004-26-0052 | 2004-26-0052 | 121 | 2.259 | 2.259 | 0.043072 | -8.3446e-06 | 0.88 | 0.4684 | 0.066678 | -0.4116
2004-26-0055 | 2004-26-0055 | 121 | 41.18 | 41.1799 | 0.084163 | -0.00014114 | 0.52 | 0.40331 | 0.064523 | -0.11669
2004-26-0055 | 2004-26-0055 | 121 | 31.132 | 31.132 | 0.041689 | -4.9591e-05 | 0.51 | 0.39024 | 0.046868 | -0.11976
2004-26-0055 | 2004-26-0055 | 121 | 20.999 | 20.9989 | 0.048569 | -7.4387e-05 | 0.72 | 0.46659 | 0.057075 | -0.25341
2004-26-0055 | 2004-26-0055 | 121 | 11.012 | 11.0122 | 0.038752 | 0.00017357 | 1.01 | 0.90571 | 1.5138 | -0.10429
2004-26-0055 | 2004-26-0055 | 121 | 6.148 | 6.1484 | 0.025337 | 0.00038052 | 0.93 | 0.54046 | 0.076652 | -0.38954
2004-26-0055 | 2004-26-0055 | 121 | 2.319 | 2.3186 | 0.055255 | -0.00045466 | 1.11 | 0.63522 | 0.5059 | -0.47478
2004-26-0058 | 2004-26-0058 | 121 | 40.902 | 40.9018 | 0.071209 | -0.0002327 | 0.62 | 0.36124 | 0.050468 | -0.25876
2004-26-0058 | 2004-26-0058 | 121 | 31.248 | 31.2483 | 0.11307 | 0.00034714 | 0.69 | 0.47095 | 0.18845 | -0.21905
2004-26-0058 | 2004-26-0058 | 121 | 21.171 | 21.1708 | 0.069186 | -0.00020599 | 0.75 | 0.49333 | 0.31255 | -0.25667
2004-26-0058 | 2004-26-0058 | 121 | 11.525 | 11.5254 | 0.10077 | 0.00041294 | 0.98 | 0.56859 | 0.26324 | -0.41141
2004-26-0058 | 2004-26-0058 | 121 | 6.323 | 6.3228 | 0.074754 | -0.00018168 | 1.03 | 0.48108 | 0.086285 | -0.54892
2004-26-0058 | 2004-26-0058 | 121 | 2.715 | 2.7152 | 0.048389 | 0.0002315 | 1.1 | 0.36141 | 0.079861 | -0.73859
2004-26-0062 | 2004-26-0062 | 121 | 54.178 | 54.1784 | 0.056851 | 0.00035477 | 0.76 | 0.36942 | 0.025601 | -0.39058
2004-26-0062 | 2004-26-0062 | 121 | 41.461 | 41.461 | 0.034717 | 3.4332e-05 | 0.86 | 0.41457 | 0.043951 | -0.44543
2004-26-0062 | 2004-26-0062 | 121 | 31.096 | 31.0957 | 0.025707 | -0.00032425 | 0.84 | 0.6775 | 0.59757 | -0.1625
2004-26-0062 | 2004-26-0062 | 121 | 21.035 | 21.0347 | 0.044813 | -0.00032234 | 0.68 | 0.58807 | 0.59057 | -0.091934
2004-26-0062 | 2004-26-0062 | 121 | 11.051 | 11.051 | 0.031574 | -2.3842e-05 | 0.93 | 0.5475 | 0.39278 | -0.3825
2004-26-0062 | 2004-26-0062 | 121 | 5.94 | 5.9396 | 0.030059 | -0.00035524 | 0.89 | 0.40582 | 0.16709 | -0.48418
2004-26-0062 | 2004-26-0062 | 121 | 2.099 | 2.0994 | 0.030008 | 0.00042152 | 1.13 | 0.30576 | 0.070944 | -0.82424
2004-26-0065 | 2004-26-0065 | 121 | 41.565 | 41.5646 | 0.24804 | -0.0003624 | 0.45 | 0.43377 | 0.043151 | -0.016231
2004-26-0065 | 2004-26-0065 | 109 | 30.942 | 30.8044 | 0.3986 | -0.13758 | 0.89 | 0.71444 | 0.036327 | -0.17556
2004-26-0065 | 2004-26-0065 | 121 | 20.453 | 20.4534 | 0.39865 | 0.0004139 | 0.98 | 0.84171 | 0.058614 | -0.13829
2004-26-0065 | 2004-26-0065 | 121 | 10.89 | 10.8898 | 0.2233 | -0.00024796 | 3.08 | 2.9063 | 0.11523 | -0.17368
2004-26-0065 | 2004-26-0065 | 121 | 5.986 | 5.9855 | 0.079216 | -0.0004878 | 3.23 | 2.859 | 0.11989 | -0.37104
2004-26-0065 | 2004-26-0065 | 121 | 2.429 | 2.4288 | 0.27293 | -0.00020647 | 2.54 | 2.4481 | 0.13575 | -0.091942
2004-26-0068 | 2004-26-0068 | 90 | 41.601 | 41.6987 | 0.62831 | 0.097687 | 0.37 | 0.48504 | 0.020127 | 0.11504
2004-26-0068 | 2004-26-0068 | 53 | 30.242 | 30.077 | 0.53813 | -0.16504 | 0.37 | 0.45549 | 0.010929 | 0.085491
2004-26-0068 | 2004-26-0068 | 121 | 20.383 | 20.3832 | 0.28782 | 0.00024796 | 0.46 | 0.56038 | 0.02819 | 0.10038
2004-26-0068 | 2004-26-0068 | 106 | 10.36 | 10.1693 | 0.50215 | -0.19072 | 0.96 | 1.0071 | 0.046293 | 0.047075
2004-26-0068 | 2004-26-0068 | 121 | 6.08 | 6.08 | 0.37886 | -1.6689e-05 | 1.01 | 1.0134 | 0.037618 | 0.0033884
2004-26-0068 | 2004-26-0068 | 121 | 2.546 | 2.5464 | 0.42174 | 0.00042963 | 0.95 | 1.04 | 0.035271 | 0.089983
2004-26-0071 | 2004-26-0071 | 121 | 40.878 | 40.8782 | 0.11367 | 0.00021744 | 0.3 | 0.36758 | 0.019571 | 0.067578
2004-26-0071 | 2004-26-0071 | 121 | 31.433 | 31.4327 | 0.16547 | -0.00028229 | 0.37 | 0.39855 | 0.023093 | 0.028554
2004-26-0071 | 2004-26-0071 | 121 | 21.001 | 21.0009 | 0.20107 | -0.00012398 | 0.39 | 0.43673 | 0.034709 | 0.046727
2004-26-0071 | 2004-26-0071 | 121 | 11.178 | 11.1781 | 0.14928 | 8.2016e-05 | 0.51 | 0.49566 | 0.017113 | -0.014339
2004-26-0071 | 2004-26-0071 | 121 | 6.023 | 6.0229 | 0.17169 | -0.0001154 | 0.57 | 0.53188 | 0.032403 | -0.038116
2004-26-0071 | 2004-26-0071 | 121 | 1.744 | 1.7436 | 0.2516 | -0.00038016 | 0.58 | 0.49749 | 0.028793 | -0.082512
2004-26-0074 | 2004-26-0074 | 121 | 40.766 | 40.7657 | 0.20903 | -0.00025559 | 0.28 | 0.30277 | 0.03748 | 0.022769
2004-26-0074 | 2004-26-0074 | 121 | 30.808 | 30.8083 | 0.3299 | 0.00032997 | 0.44 | 0.33026 | 0.021272 | -0.10974
2004-26-0074 | 2004-26-0074 | 121 | 21.15 | 21.1501 | 0.046037 | 0.00010872 | 0.53 | 0.41876 | 0.17256 | -0.11124
2004-26-0074 | 2004-26-0074 | 121 | 10.958 | 10.9578 | 0.038944 | -0.00016594 | 0.55 | 0.39054 | 0.019381 | -0.15946
2004-26-0074 | 2004-26-0074 | 121 | 6.324 | 6.3243 | 0.15411 | 0.00026464 | 0.61 | 0.39689 | 0.044265 | -0.21311
2004-26-0074 | 2004-26-0074 | 121 | 2.295 | 2.2949 | 0.16825 | -6.628e-05 | 0.87 | 0.37298 | 0.02981 | -0.49702
Create Fit Sheet