## File List
Number of Files= |  | 19
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2004-37-0001 | 2004-37-0001 | 12 | 13 | 2004-37-0001 & 2004-37-0001
2 | 2004-37-0002 | 2004-37-0002 | 15 | 16 | 2004-37-0002 & 2004-37-0002
3 | 2004-37-0006 | 2004-37-0006 | 18 | 19 | 2004-37-0006 & 2004-37-0006
4 | 2004-37-0009 | 2004-37-0009 | 21 | 22 | 2004-37-0009 & 2004-37-0009
5 | 2004-37-0012 | 2004-37-0012 | 24 | 25 | 2004-37-0012 & 2004-37-0012
6 | 2004-37-0015 | 2004-37-0015 | 27 | 28 | 2004-37-0015 & 2004-37-0015
7 | 2004-37-0023 | 2004-37-0023 | 30 | 31 | 2004-37-0023 & 2004-37-0023
8 | 2004-37-0032 | 2004-37-0032 | 33 | 34 | 2004-37-0032 & 2004-37-0032
9 | 2004-37-0034 | 2004-37-0034 | 36 | 38 | 2004-37-0034 & 2004-37-0034
10 | 2004-37-0039 | 2004-37-0039 | 40 | 41 | 2004-37-0039 & 2004-37-0039
11 | 2004-37-0042 | 2004-37-0042 | 43 | 44 | 2004-37-0042 & 2004-37-0042
12 | 2004-37-0044 | 2004-37-0044 | 46 | 47 | 2004-37-0044 & 2004-37-0044
13 | 2004-37-0047 | 2004-37-0047 | 49 | 51 | 2004-37-0047 & 2004-37-0047
14 | 2004-37-0049 | 2004-37-0049 | 53 | 54 | 2004-37-0049 & 2004-37-0049
15 | 2004-37-0052 | 2004-37-0052 | 56 | 57 | 2004-37-0052 & 2004-37-0052
16 | 2004-37-0055 | 2004-37-0055 | 59 | 60 | 2004-37-0055 & 2004-37-0055
17 | 2004-37-0057 | 2004-37-0057 | 62 | 63 | 2004-37-0057 & 2004-37-0057
18 | 2004-37-0059 | 2004-37-0059 | 65 | 66 | 2004-37-0059 & 2004-37-0059
19 | 2004-37-0061 | 2004-37-0061 | 68 | 68 | 2004-37-0061 & 2004-37-0061

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0051332 |  | X | CALC Y
m= | 6.833e-06 | 1.7977e-05 |  | Std Dev of Resid |  | 0.0061528 |  | 150.277 | 0.0028053
b= | 0.0017785 | 0.0047826 |  | Resid Sum of Squares |  | 0.00106 |  | 372.67 | 0.0043249
# of Values Extracted = |  |  | 39
# of Values Used in Fit = |  |  | 30
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 110.209 | 31.2011 | 0.00031667 | 0.11791 | 0.0025315 | -0.11538 |  | 231.111 | 0.012691
1 | NO | 100.191 | 31.1467 | 0.00041262 | -0.021772 | 0.0024631 | 0.024235 |  | 244.526 | 0.0020561
2 | YES | 231.111 | 32.1975 | 0.00065332 | 0.012691 | 0.0033576 | -0.0093339 |  | 244.611 | 0.001442
2 | NO | 200.09 | 32.0537 | 0.0048671 | -0.021145 | 0.0031457 | 0.024291 |  | 221.623 | 0.002861
3 | YES | 244.526 | 33.898 | 0.00023505 | 0.0020561 | 0.0034493 | 0.0013932 |  | 201.791 | 0.0029602
3 | YES | 244.611 | 33.8979 | 0.00023698 | 0.001442 | 0.0034499 | 0.0020079 |  | 184.313 | 0.0033722
4 | YES | 221.623 | 33.8746 | 0.00024643 | 0.002861 | 0.0032928 | 0.00043179 |  | 175.011 | -0.0013771
4 | YES | 201.791 | 33.8748 | 0.00021634 | 0.0029602 | 0.0031573 | 0.00019708 |  | 171.173 | 0.0059815
5 | YES | 184.313 | 33.8178 | 0.00021239 | 0.0033722 | 0.0030379 | -0.00033432 |  | 210.266 | 0.0046597
5 | YES | 175.011 | 33.8173 | 0.00022724 | -0.0013771 | 0.0029743 | 0.0043514 |  | 200.335 | 0.00070572
6 | YES | 171.173 | 33.7465 | 0.00025822 | 0.0059815 | 0.0029481 | -0.0030334 |  | 150.277 | -0.0003643
6 | NO | 149.783 | 33.7286 | 0.0005239 | 0.0032158 | 0.0028019 | -0.00041387 |  | 310.053 | -0.0039749
7 | YES | 210.266 | 31.7243 | 0.00075975 | 0.0046597 | 0.0032152 | -0.0014444 |  | 300.001 | 0.0074863
7 | YES | 200.335 | 31.7006 | 0.00066948 | 0.00070572 | 0.0031473 | 0.0024416 |  | 249.985 | 0.0019817
8 | NO | 175.577 | 31.2723 | 0.00059414 | 0.075531 | 0.0029782 | -0.072553 |  | 372.67 | 0.00844
8 | YES | 150.277 | 31.1419 | 0.00035955 | -0.0003643 | 0.0028053 | 0.0031696 |  | 349.872 | -0.013887
9 | YES | 310.053 | 31.1529 | 0.00044651 | -0.0039749 | 0.003897 | 0.007872 |  | 340.021 | 0.0095959
9 | YES | 300.001 | 31.1694 | 0.0028853 | 0.0074863 | 0.0038284 | -0.003658 |  | 299.463 | 0.0049248
9 | YES | 249.985 | 31.1498 | 0.000301 | 0.0019817 | 0.0034866 | 0.0015049 |  | 275.184 | 0.016224
10 | YES | 372.67 | 31.2574 | 0.0003448 | 0.00844 | 0.0043249 | -0.0041151 |  | 250.05 | 0.0054665
10 | YES | 349.872 | 31.219 | 0.00069471 | -0.013887 | 0.0041691 | 0.018057 |  | 316.832 | 0.0052948
11 | YES | 340.021 | 31.225 | 0.00021582 | 0.0095959 | 0.0041018 | -0.005494 |  | 300.016 | 0.0015316
11 | YES | 299.463 | 31.1746 | 0.00021889 | 0.0049248 | 0.0038247 | -0.0011001 |  | 250.279 | -0.0015068
12 | YES | 275.184 | 31.143 | 0.0051456 | 0.016224 | 0.0036588 | -0.012565 |  | 188.75 | 0.010403
12 | YES | 250.05 | 31.1034 | 0.0003678 | 0.0054665 | 0.003487 | -0.0019794 |  | 174.696 | -0.0094433
13 | YES | 316.832 | 31.2244 | 0.00034951 | 0.0052948 | 0.0039434 | -0.0013514 |  | 350.547 | 0.0031338
13 | YES | 300.016 | 31.2109 | 0.00021153 | 0.0015316 | 0.0038285 | 0.0022969 |  | 350.547 | 0.0055332
13 | YES | 250.279 | 31.1269 | 0.00069828 | -0.0015068 | 0.0034886 | 0.0049954 |  | 312.193 | 0.0048733
14 | YES | 188.75 | 30.9582 | 0.0002862 | 0.010403 | 0.0030682 | -0.0073345 |  | 300.322 | 0.0040226
14 | YES | 174.696 | 30.9024 | 0.00076652 | -0.0094433 | 0.0029722 | 0.012415 |  | 231.357 | 0.011276
15 | NO | 165.084 | 30.9224 | 0.00025525 | 0.029259 | 0.0029065 | -0.026352
15 | NO | 150.005 | 30.8455 | 0.00029589 | -0.048742 | 0.0028034 | 0.051546 |  |  | 0.0035454
16 | YES | 350.547 | 30.9679 | 0.00019138 | 0.0031338 | 0.0041737 | 0.00104
16 | YES | 350.547 | 30.9679 | 0.00019138 | 0.0055332 | 0.0041737 | -0.0013595
17 | YES | 312.193 | 30.9474 | 0.00022317 | 0.0048733 | 0.0039117 | -0.00096161
17 | YES | 300.322 | 30.9476 | 0.0001745 | 0.0040226 | 0.0038306 | -0.00019204
18 | NO | 145.098 | 30.8753 | 0.00024888 | 0.0060673 | 0.0027699 | -0.0032974
18 | NO | 124.892 | 30.8486 | 0.0010182 | -0.003643 | 0.0026318 | 0.0062749
19 | YES | 231.357 | 29.4796 | 0.00046994 | 0.011276 | 0.0033593 | -0.0079169
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 4.5379e-05 |  | X | CALC Y
m= | 6.1029e-07 | 1.7121e-05 |  | Std Dev of Resid |  | 0.0058597 |  | 150.277 | 0.001804
b= | 0.0017123 | 0.0045547 |  | Resid Sum of Squares |  | 0.0009614 |  | 372.67 | 0.0019398
# of Values Extracted = |  |  | 39
# of Values Used in Fit = |  |  | 30
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 110.209 | 31.1953 | 0.00031032 | 0.11205 | 0.0017796 | -0.11027 |  | 231.111 | 0.012402
1 | NO | 100.191 | 31.1407 | 0.00041997 | -0.027773 | 0.0017735 | 0.029546 |  | 244.526 | 0.0008049
2 | YES | 231.111 | 32.1972 | 0.00047043 | 0.012402 | 0.0018534 | -0.010548 |  | 244.611 | 0.00020981
2 | NO | 200.09 | 32.0552 | 0.0026034 | -0.019604 | 0.0018345 | 0.021438 |  | 221.623 | 0.0019188
3 | YES | 244.526 | 33.8967 | 0.00029295 | 0.0008049 | 0.0018616 | 0.0010567 |  | 201.791 | 0.0018578
3 | YES | 244.611 | 33.8967 | 0.00029389 | 0.00020981 | 0.0018616 | 0.0016518 |  | 184.313 | 0.0022163
4 | YES | 221.623 | 33.8736 | 0.00032604 | 0.0019188 | 0.0018476 | -7.1199e-05 |  | 175.011 | -0.0027275
4 | YES | 201.791 | 33.8737 | 0.00026557 | 0.0018578 | 0.0018355 | -2.2272e-05 |  | 171.173 | 0.0047264
5 | YES | 184.313 | 33.8166 | 0.0002532 | 0.0022163 | 0.0018248 | -0.00039152 |  | 210.266 | 0.002903
5 | YES | 175.011 | 33.816 | 0.0003242 | -0.0027275 | 0.0018191 | 0.0045467 |  | 200.335 | -0.00070953
6 | YES | 171.173 | 33.7452 | 0.00027809 | 0.0047264 | 0.0018168 | -0.0029096 |  | 150.277 | -0.001648
6 | NO | 149.783 | 33.7268 | 0.00035937 | 0.0014458 | 0.0018037 | 0.00035798 |  | 310.053 | -0.0056953
7 | YES | 210.266 | 31.7225 | 0.00026077 | 0.002903 | 0.0018407 | -0.0010623 |  | 300.001 | 0.006237
7 | YES | 200.335 | 31.6992 | 0.00030023 | -0.00070953 | 0.0018346 | 0.0025441 |  | 249.985 | 0.00024605
8 | NO | 175.577 | 31.2712 | 0.00045324 | 0.074356 | 0.0018195 | -0.072537 |  | 372.67 | 0.0068398
8 | YES | 150.277 | 31.1407 | 0.00025957 | -0.001648 | 0.001804 | 0.003452 |  | 349.872 | -0.015802
9 | YES | 310.053 | 31.1512 | 0.0011533 | -0.0056953 | 0.0019016 | 0.0075969 |  | 340.021 | 0.0073624
9 | YES | 300.001 | 31.1681 | 0.0020517 | 0.006237 | 0.0018954 | -0.0043416 |  | 299.463 | 0.0032062
9 | YES | 249.985 | 31.148 | 0.00024685 | 0.00024605 | 0.0018649 | 0.0016189 |  | 275.184 | 0.0097599
10 | YES | 372.67 | 31.2558 | 0.00031232 | 0.0068398 | 0.0019398 | -0.0049 |  | 250.05 | 0.0038338
10 | YES | 349.872 | 31.2171 | 0.00052873 | -0.015802 | 0.0019259 | 0.017728 |  | 316.832 | 0.003418
11 | YES | 340.021 | 31.2228 | 0.00029741 | 0.0073624 | 0.0019198 | -0.0054425 |  | 300.016 | -0.00026703
11 | YES | 299.463 | 31.1729 | 0.00023407 | 0.0032062 | 0.0018951 | -0.0013112 |  | 250.279 | -0.0041199
12 | YES | 275.184 | 31.1366 | 0.0025653 | 0.0097599 | 0.0018803 | -0.0078796 |  | 188.75 | 0.0090408
12 | YES | 250.05 | 31.1017 | 0.00030099 | 0.0038338 | 0.0018649 | -0.0019688 |  | 174.696 | -0.0090351
13 | YES | 316.832 | 31.2225 | 0.00028568 | 0.003418 | 0.0019057 | -0.0015123 |  | 350.547 | 0.00099945
13 | YES | 300.016 | 31.2091 | 0.00022553 | -0.00026703 | 0.0018954 | 0.0021625 |  | 350.547 | 0.0033989
13 | YES | 250.279 | 31.1243 | 0.00068273 | -0.0041199 | 0.0018651 | 0.0059849 |  | 312.193 | 0.002842
14 | YES | 188.75 | 30.9568 | 0.00024307 | 0.0090408 | 0.0018275 | -0.0072133 |  | 300.322 | 0.0018997
14 | YES | 174.696 | 30.9028 | 0.0045537 | -0.0090351 | 0.001819 | 0.010854 |  | 231.357 | 0.0099869
15 | NO | 165.084 | 30.9205 | 0.00024085 | 0.027351 | 0.0018131 | -0.025538
15 | NO | 150.005 | 30.8441 | 0.00076926 | -0.050087 | 0.0018039 | 0.051891 |  |  | 0.0018702
16 | YES | 350.547 | 30.9658 | 0.00022222 | 0.00099945 | 0.0019263 | 0.00092682
16 | YES | 350.547 | 30.9658 | 0.00022222 | 0.0033989 | 0.0019263 | -0.0014726
17 | YES | 312.193 | 30.9453 | 0.00027308 | 0.002842 | 0.0019029 | -0.00093908
17 | YES | 300.322 | 30.9455 | 0.00022407 | 0.0018997 | 0.0018956 | -4.0996e-06
18 | NO | 145.098 | 30.8737 | 0.00025355 | 0.0044575 | 0.0018009 | -0.0026566
18 | NO | 124.892 | 30.846 | 0.00061286 | -0.0061607 | 0.0017886 | 0.0079493
19 | YES | 231.357 | 29.4783 | 0.00055379 | 0.0099869 | 0.0018535 | -0.0081333
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.009617 |  | X | CALC Y
m= | 0.00012604 | 0.00024173 |  | Std Dev of Resid |  | 0.0061389 |  | 2 | 0.0025413
b= | 0.0022892 | 0.0026572 |  | Resid Sum of Squares |  | 0.0010552 |  | 19 | 0.004684
# of Values Extracted = |  |  | 39
# of Values Used in Fit = |  |  | 30
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 110.209 | 31.2011 | 0.00031667 | 0.11791 | 0.0024152 | -0.1155 |  | 2 | 0.012691
1 | NO | 100.191 | 31.1467 | 0.00041262 | -0.021772 | 0.0024152 | 0.024188 |  | 3 | 0.0020561
2 | YES | 231.111 | 32.1975 | 0.00065332 | 0.012691 | 0.0025413 | -0.01015 |  | 3 | 0.001442
2 | NO | 200.09 | 32.0537 | 0.0048671 | -0.021145 | 0.0025413 | 0.023686 |  | 4 | 0.002861
3 | YES | 244.526 | 33.898 | 0.00023505 | 0.0020561 | 0.0026673 | 0.00061121 |  | 4 | 0.0029602
3 | YES | 244.611 | 33.8979 | 0.00023698 | 0.001442 | 0.0026673 | 0.0012254 |  | 5 | 0.0033722
4 | YES | 221.623 | 33.8746 | 0.00024643 | 0.002861 | 0.0027934 | -6.7642e-05 |  | 5 | -0.0013771
4 | YES | 201.791 | 33.8748 | 0.00021634 | 0.0029602 | 0.0027934 | -0.00016683 |  | 6 | 0.0059815
5 | YES | 184.313 | 33.8178 | 0.00021239 | 0.0033722 | 0.0029194 | -0.00045277 |  | 7 | 0.0046597
5 | YES | 175.011 | 33.8173 | 0.00022724 | -0.0013771 | 0.0029194 | 0.0042965 |  | 7 | 0.00070572
6 | YES | 171.173 | 33.7465 | 0.00025822 | 0.0059815 | 0.0030455 | -0.002936 |  | 8 | -0.0003643
6 | NO | 149.783 | 33.7286 | 0.0005239 | 0.0032158 | 0.0030455 | -0.00017032 |  | 9 | -0.0039749
7 | YES | 210.266 | 31.7243 | 0.00075975 | 0.0046597 | 0.0031715 | -0.0014881 |  | 9 | 0.0074863
7 | YES | 200.335 | 31.7006 | 0.00066948 | 0.00070572 | 0.0031715 | 0.0024658 |  | 9 | 0.0019817
8 | NO | 175.577 | 31.2723 | 0.00059414 | 0.075531 | 0.0032976 | -0.072233 |  | 10 | 0.00844
8 | YES | 150.277 | 31.1419 | 0.00035955 | -0.0003643 | 0.0032976 | 0.0036619 |  | 10 | -0.013887
9 | YES | 310.053 | 31.1529 | 0.00044651 | -0.0039749 | 0.0034236 | 0.0073985 |  | 11 | 0.0095959
9 | YES | 300.001 | 31.1694 | 0.0028853 | 0.0074863 | 0.0034236 | -0.0040627 |  | 11 | 0.0049248
9 | YES | 249.985 | 31.1498 | 0.000301 | 0.0019817 | 0.0034236 | 0.0014419 |  | 12 | 0.016224
10 | YES | 372.67 | 31.2574 | 0.0003448 | 0.00844 | 0.0035496 | -0.0048904 |  | 12 | 0.0054665
10 | YES | 349.872 | 31.219 | 0.00069471 | -0.013887 | 0.0035496 | 0.017437 |  | 13 | 0.0052948
11 | YES | 340.021 | 31.225 | 0.00021582 | 0.0095959 | 0.0036757 | -0.0059202 |  | 13 | 0.0015316
11 | YES | 299.463 | 31.1746 | 0.00021889 | 0.0049248 | 0.0036757 | -0.0012491 |  | 13 | -0.0015068
12 | YES | 275.184 | 31.143 | 0.0051456 | 0.016224 | 0.0038017 | -0.012422 |  | 14 | 0.010403
12 | YES | 250.05 | 31.1034 | 0.0003678 | 0.0054665 | 0.0038017 | -0.0016647 |  | 14 | -0.0094433
13 | YES | 316.832 | 31.2244 | 0.00034951 | 0.0052948 | 0.0039278 | -0.001367 |  | 16 | 0.0031338
13 | YES | 300.016 | 31.2109 | 0.00021153 | 0.0015316 | 0.0039278 | 0.0023962 |  | 16 | 0.0055332
13 | YES | 250.279 | 31.1269 | 0.00069828 | -0.0015068 | 0.0039278 | 0.0054346 |  | 17 | 0.0048733
14 | YES | 188.75 | 30.9582 | 0.0002862 | 0.010403 | 0.0040538 | -0.0063489 |  | 17 | 0.0040226
14 | YES | 174.696 | 30.9024 | 0.00076652 | -0.0094433 | 0.0040538 | 0.013497 |  | 19 | 0.011276
15 | NO | 165.084 | 30.9224 | 0.00025525 | 0.029259 | 0.0041799 | -0.025079
15 | NO | 150.005 | 30.8455 | 0.00029589 | -0.048742 | 0.0041799 | 0.052922
16 | YES | 350.547 | 30.9679 | 0.00019138 | 0.0031338 | 0.0043059 | 0.0011721
16 | YES | 350.547 | 30.9679 | 0.00019138 | 0.0055332 | 0.0043059 | -0.0012273
17 | YES | 312.193 | 30.9474 | 0.00022317 | 0.0048733 | 0.004432 | -0.00044133
17 | YES | 300.322 | 30.9476 | 0.0001745 | 0.0040226 | 0.004432 | 0.00040935
18 | NO | 145.098 | 30.8753 | 0.00024888 | 0.0060673 | 0.004558 | -0.0015093
18 | NO | 124.892 | 30.8486 | 0.0010182 | -0.003643 | 0.004558 | 0.008201
19 | YES | 231.357 | 29.4796 | 0.00046994 | 0.011276 | 0.004684 | -0.0065922
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.009617 |  | X | CALC Y
m= | 0.00012604 | 0.00024173 |  | Std Dev of Resid |  | 0.0061389 |  | 2 | 0.0025413
b= | 0.0022892 | 0.0026572 |  | Resid Sum of Squares |  | 0.0010552 |  | 19 | 0.004684
# of Values Extracted = |  |  | 39
# of Values Used in Fit = |  |  | 30
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 110.209 | 31.2011 | 0.00031667 | 0.11791 | 0.0024152 | -0.1155 |  | 2 | 0.012691
1 | NO | 100.191 | 31.1467 | 0.00041262 | -0.021772 | 0.0024152 | 0.024188 |  | 3 | 0.0020561
2 | YES | 231.111 | 32.1975 | 0.00065332 | 0.012691 | 0.0025413 | -0.01015 |  | 3 | 0.001442
2 | NO | 200.09 | 32.0537 | 0.0048671 | -0.021145 | 0.0025413 | 0.023686 |  | 4 | 0.002861
3 | YES | 244.526 | 33.898 | 0.00023505 | 0.0020561 | 0.0026673 | 0.00061121 |  | 4 | 0.0029602
3 | YES | 244.611 | 33.8979 | 0.00023698 | 0.001442 | 0.0026673 | 0.0012254 |  | 5 | 0.0033722
4 | YES | 221.623 | 33.8746 | 0.00024643 | 0.002861 | 0.0027934 | -6.7642e-05 |  | 5 | -0.0013771
4 | YES | 201.791 | 33.8748 | 0.00021634 | 0.0029602 | 0.0027934 | -0.00016683 |  | 6 | 0.0059815
5 | YES | 184.313 | 33.8178 | 0.00021239 | 0.0033722 | 0.0029194 | -0.00045277 |  | 7 | 0.0046597
5 | YES | 175.011 | 33.8173 | 0.00022724 | -0.0013771 | 0.0029194 | 0.0042965 |  | 7 | 0.00070572
6 | YES | 171.173 | 33.7465 | 0.00025822 | 0.0059815 | 0.0030455 | -0.002936 |  | 8 | -0.0003643
6 | NO | 149.783 | 33.7286 | 0.0005239 | 0.0032158 | 0.0030455 | -0.00017032 |  | 9 | -0.0039749
7 | YES | 210.266 | 31.7243 | 0.00075975 | 0.0046597 | 0.0031715 | -0.0014881 |  | 9 | 0.0074863
7 | YES | 200.335 | 31.7006 | 0.00066948 | 0.00070572 | 0.0031715 | 0.0024658 |  | 9 | 0.0019817
8 | NO | 175.577 | 31.2723 | 0.00059414 | 0.075531 | 0.0032976 | -0.072233 |  | 10 | 0.00844
8 | YES | 150.277 | 31.1419 | 0.00035955 | -0.0003643 | 0.0032976 | 0.0036619 |  | 10 | -0.013887
9 | YES | 310.053 | 31.1529 | 0.00044651 | -0.0039749 | 0.0034236 | 0.0073985 |  | 11 | 0.0095959
9 | YES | 300.001 | 31.1694 | 0.0028853 | 0.0074863 | 0.0034236 | -0.0040627 |  | 11 | 0.0049248
9 | YES | 249.985 | 31.1498 | 0.000301 | 0.0019817 | 0.0034236 | 0.0014419 |  | 12 | 0.016224
10 | YES | 372.67 | 31.2574 | 0.0003448 | 0.00844 | 0.0035496 | -0.0048904 |  | 12 | 0.0054665
10 | YES | 349.872 | 31.219 | 0.00069471 | -0.013887 | 0.0035496 | 0.017437 |  | 13 | 0.0052948
11 | YES | 340.021 | 31.225 | 0.00021582 | 0.0095959 | 0.0036757 | -0.0059202 |  | 13 | 0.0015316
11 | YES | 299.463 | 31.1746 | 0.00021889 | 0.0049248 | 0.0036757 | -0.0012491 |  | 13 | -0.0015068
12 | YES | 275.184 | 31.143 | 0.0051456 | 0.016224 | 0.0038017 | -0.012422 |  | 14 | 0.010403
12 | YES | 250.05 | 31.1034 | 0.0003678 | 0.0054665 | 0.0038017 | -0.0016647 |  | 14 | -0.0094433
13 | YES | 316.832 | 31.2244 | 0.00034951 | 0.0052948 | 0.0039278 | -0.001367 |  | 16 | 0.0031338
13 | YES | 300.016 | 31.2109 | 0.00021153 | 0.0015316 | 0.0039278 | 0.0023962 |  | 16 | 0.0055332
13 | YES | 250.279 | 31.1269 | 0.00069828 | -0.0015068 | 0.0039278 | 0.0054346 |  | 17 | 0.0048733
14 | YES | 188.75 | 30.9582 | 0.0002862 | 0.010403 | 0.0040538 | -0.0063489 |  | 17 | 0.0040226
14 | YES | 174.696 | 30.9024 | 0.00076652 | -0.0094433 | 0.0040538 | 0.013497 |  | 19 | 0.011276
15 | NO | 165.084 | 30.9224 | 0.00025525 | 0.029259 | 0.0041799 | -0.025079
15 | NO | 150.005 | 30.8455 | 0.00029589 | -0.048742 | 0.0041799 | 0.052922
16 | YES | 350.547 | 30.9679 | 0.00019138 | 0.0031338 | 0.0043059 | 0.0011721
16 | YES | 350.547 | 30.9679 | 0.00019138 | 0.0055332 | 0.0043059 | -0.0012273
17 | YES | 312.193 | 30.9474 | 0.00022317 | 0.0048733 | 0.004432 | -0.00044133
17 | YES | 300.322 | 30.9476 | 0.0001745 | 0.0040226 | 0.004432 | 0.00040935
18 | NO | 145.098 | 30.8753 | 0.00024888 | 0.0060673 | 0.004558 | -0.0015093
18 | NO | 124.892 | 30.8486 | 0.0010182 | -0.003643 | 0.004558 | 0.008201
19 | YES | 231.357 | 29.4796 | 0.00046994 | 0.011276 | 0.004684 | -0.0065922
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.002185 |  | X | CALC Y
m= | 5.7071e-05 | 0.00023048 |  | Std Dev of Resid |  | 0.0058534 |  | 2 | 0.0014155
b= | 0.0013013 | 0.0025336 |  | Resid Sum of Squares |  | 0.00095934 |  | 19 | 0.0023857
# of Values Extracted = |  |  | 39
# of Values Used in Fit = |  |  | 30
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 110.209 | 31.1953 | 0.00031032 | 0.11205 | 0.0013584 | -0.11069 |  | 2 | 0.012402
1 | NO | 100.191 | 31.1407 | 0.00041997 | -0.027773 | 0.0013584 | 0.029131 |  | 3 | 0.0008049
2 | YES | 231.111 | 32.1972 | 0.00047043 | 0.012402 | 0.0014155 | -0.010986 |  | 3 | 0.00020981
2 | NO | 200.09 | 32.0552 | 0.0026034 | -0.019604 | 0.0014155 | 0.021019 |  | 4 | 0.0019188
3 | YES | 244.526 | 33.8967 | 0.00029295 | 0.0008049 | 0.0014726 | 0.00066766 |  | 4 | 0.0018578
3 | YES | 244.611 | 33.8967 | 0.00029389 | 0.00020981 | 0.0014726 | 0.0012628 |  | 5 | 0.0022163
4 | YES | 221.623 | 33.8736 | 0.00032604 | 0.0019188 | 0.0015296 | -0.00038916 |  | 5 | -0.0027275
4 | YES | 201.791 | 33.8737 | 0.00026557 | 0.0018578 | 0.0015296 | -0.00032813 |  | 6 | 0.0047264
5 | YES | 184.313 | 33.8166 | 0.0002532 | 0.0022163 | 0.0015867 | -0.00062964 |  | 7 | 0.002903
5 | YES | 175.011 | 33.816 | 0.0003242 | -0.0027275 | 0.0015867 | 0.0043142 |  | 7 | -0.00070953
6 | YES | 171.173 | 33.7452 | 0.00027809 | 0.0047264 | 0.0016438 | -0.0030826 |  | 8 | -0.001648
6 | NO | 149.783 | 33.7268 | 0.00035937 | 0.0014458 | 0.0016438 | 0.000198 |  | 9 | -0.0056953
7 | YES | 210.266 | 31.7225 | 0.00026077 | 0.002903 | 0.0017008 | -0.0012021 |  | 9 | 0.006237
7 | YES | 200.335 | 31.6992 | 0.00030023 | -0.00070953 | 0.0017008 | 0.0024104 |  | 9 | 0.00024605
8 | NO | 175.577 | 31.2712 | 0.00045324 | 0.074356 | 0.0017579 | -0.072598 |  | 10 | 0.0068398
8 | YES | 150.277 | 31.1407 | 0.00025957 | -0.001648 | 0.0017579 | 0.0034059 |  | 10 | -0.015802
9 | YES | 310.053 | 31.1512 | 0.0011533 | -0.0056953 | 0.001815 | 0.0075103 |  | 11 | 0.0073624
9 | YES | 300.001 | 31.1681 | 0.0020517 | 0.006237 | 0.001815 | -0.004422 |  | 11 | 0.0032062
9 | YES | 249.985 | 31.148 | 0.00024685 | 0.00024605 | 0.001815 | 0.0015689 |  | 12 | 0.0097599
10 | YES | 372.67 | 31.2558 | 0.00031232 | 0.0068398 | 0.0018721 | -0.0049677 |  | 12 | 0.0038338
10 | YES | 349.872 | 31.2171 | 0.00052873 | -0.015802 | 0.0018721 | 0.017674 |  | 13 | 0.003418
11 | YES | 340.021 | 31.2228 | 0.00029741 | 0.0073624 | 0.0019291 | -0.0054332 |  | 13 | -0.00026703
11 | YES | 299.463 | 31.1729 | 0.00023407 | 0.0032062 | 0.0019291 | -0.0012771 |  | 13 | -0.0041199
12 | YES | 275.184 | 31.1366 | 0.0025653 | 0.0097599 | 0.0019862 | -0.0077737 |  | 14 | 0.0090408
12 | YES | 250.05 | 31.1017 | 0.00030099 | 0.0038338 | 0.0019862 | -0.0018476 |  | 14 | -0.0090351
13 | YES | 316.832 | 31.2225 | 0.00028568 | 0.003418 | 0.0020433 | -0.0013747 |  | 16 | 0.00099945
13 | YES | 300.016 | 31.2091 | 0.00022553 | -0.00026703 | 0.0020433 | 0.0023103 |  | 16 | 0.0033989
13 | YES | 250.279 | 31.1243 | 0.00068273 | -0.0041199 | 0.0020433 | 0.0061631 |  | 17 | 0.002842
14 | YES | 188.75 | 30.9568 | 0.00024307 | 0.0090408 | 0.0021003 | -0.0069405 |  | 17 | 0.0018997
14 | YES | 174.696 | 30.9028 | 0.0045537 | -0.0090351 | 0.0021003 | 0.011135 |  | 19 | 0.0099869
15 | NO | 165.084 | 30.9205 | 0.00024085 | 0.027351 | 0.0021574 | -0.025194
15 | NO | 150.005 | 30.8441 | 0.00076926 | -0.050087 | 0.0021574 | 0.052244
16 | YES | 350.547 | 30.9658 | 0.00022222 | 0.00099945 | 0.0022145 | 0.001215
16 | YES | 350.547 | 30.9658 | 0.00022222 | 0.0033989 | 0.0022145 | -0.0011844
17 | YES | 312.193 | 30.9453 | 0.00027308 | 0.002842 | 0.0022716 | -0.0005704
17 | YES | 300.322 | 30.9455 | 0.00022407 | 0.0018997 | 0.0022716 | 0.00037183
18 | NO | 145.098 | 30.8737 | 0.00025355 | 0.0044575 | 0.0023286 | -0.0021288
18 | NO | 124.892 | 30.846 | 0.00061286 | -0.0061607 | 0.0023286 | 0.0084894
19 | YES | 231.357 | 29.4783 | 0.00055379 | 0.0099869 | 0.0023857 | -0.0076012
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2004-37-0001 | 2004-37-0001 | 121 | 110.209 | 110.209 | 0.033192 | -0.00047302 | 31.0832 | 31.2011 | 0.00031667 | 0.11791 | 31.0832 | 31.1953 | 0.00031032 | 0.11205
2004-37-0001 | 2004-37-0001 | 121 | 100.191 | 100.191 | 0.031799 | 0.0003891 | 31.1685 | 31.1467 | 0.00041262 | -0.021772 | 31.1685 | 31.1407 | 0.00041997 | -0.027773
2004-37-0002 | 2004-37-0002 | 121 | 231.111 | 231.111 | 0.091313 | 9.1553e-05 | 32.1848 | 32.1975 | 0.00065332 | 0.012691 | 32.1848 | 32.1972 | 0.00047043 | 0.012402
2004-37-0002 | 2004-37-0002 | 121 | 200.09 | 200.09 | 0.11028 | -0.00022888 | 32.0748 | 32.0537 | 0.0048671 | -0.021145 | 32.0748 | 32.0552 | 0.0026034 | -0.019604
2004-37-0006 | 2004-37-0006 | 232 | 244.277 | 244.526 | 0.41922 | 0.24901 | 33.8959 | 33.898 | 0.00023505 | 0.0020561 | 33.8959 | 33.8967 | 0.00029295 | 0.0008049
2004-37-0006 | 2004-37-0006 | 227 | 244.841 | 244.611 | 0.40547 | -0.23027 | 33.8965 | 33.8979 | 0.00023698 | 0.001442 | 33.8965 | 33.8967 | 0.00029389 | 0.00020981
2004-37-0009 | 2004-37-0009 | 121 | 221.623 | 221.623 | 0.16604 | -0.00038147 | 33.8717 | 33.8746 | 0.00024643 | 0.002861 | 33.8717 | 33.8736 | 0.00032604 | 0.0019188
2004-37-0009 | 2004-37-0009 | 121 | 201.791 | 201.791 | 0.19714 | 0.00048828 | 33.8718 | 33.8748 | 0.00021634 | 0.0029602 | 33.8718 | 33.8737 | 0.00026557 | 0.0018578
2004-37-0012 | 2004-37-0012 | 121 | 184.313 | 184.313 | 0.15212 | -0.00038147 | 33.8144 | 33.8178 | 0.00021239 | 0.0033722 | 33.8144 | 33.8166 | 0.0002532 | 0.0022163
2004-37-0012 | 2004-37-0012 | 121 | 175.011 | 175.011 | 0.15659 | -0.00018311 | 33.8187 | 33.8173 | 0.00022724 | -0.0013771 | 33.8187 | 33.816 | 0.0003242 | -0.0027275
2004-37-0015 | 2004-37-0015 | 121 | 171.173 | 171.173 | 0.2669 | -0.00027466 | 33.7405 | 33.7465 | 0.00025822 | 0.0059815 | 33.7405 | 33.7452 | 0.00027809 | 0.0047264
2004-37-0015 | 2004-37-0015 | 121 | 149.783 | 149.783 | 0.052145 | 0.00039673 | 33.7254 | 33.7286 | 0.0005239 | 0.0032158 | 33.7254 | 33.7268 | 0.00035937 | 0.0014458
2004-37-0023 | 2004-37-0023 | 121 | 210.266 | 210.266 | 0.12467 | 0.00027466 | 31.7196 | 31.7243 | 0.00075975 | 0.0046597 | 31.7196 | 31.7225 | 0.00026077 | 0.002903
2004-37-0023 | 2004-37-0023 | 121 | 200.335 | 200.335 | 0.22634 | -0.00022888 | 31.6999 | 31.7006 | 0.00066948 | 0.00070572 | 31.6999 | 31.6992 | 0.00030023 | -0.00070953
2004-37-0032 | 2004-37-0032 | 121 | 175.577 | 175.577 | 0.037293 | -0.00027466 | 31.1968 | 31.2723 | 0.00059414 | 0.075531 | 31.1968 | 31.2712 | 0.00045324 | 0.074356
2004-37-0032 | 2004-37-0032 | 121 | 150.277 | 150.277 | 0.031574 | 0.00027466 | 31.1423 | 31.1419 | 0.00035955 | -0.0003643 | 31.1423 | 31.1407 | 0.00025957 | -0.001648
2004-37-0034 | 2004-37-0034 | 121 | 310.053 | 310.053 | 0.057574 | 0.00030518 | 31.1569 | 31.1529 | 0.00044651 | -0.0039749 | 31.1569 | 31.1512 | 0.0011533 | -0.0056953
2004-37-0034 | 2004-37-0034 | 121 | 300.001 | 300.001 | 0.035623 | -3.0518e-05 | 31.1619 | 31.1694 | 0.0028853 | 0.0074863 | 31.1619 | 31.1681 | 0.0020517 | 0.006237
2004-37-0034 | 2004-37-0034 | 121 | 249.985 | 249.985 | 0.077451 | -0.00038147 | 31.1478 | 31.1498 | 0.000301 | 0.0019817 | 31.1478 | 31.148 | 0.00024685 | 0.00024605
2004-37-0039 | 2004-37-0039 | 121 | 372.67 | 372.67 | 0.04212 | 0.00036621 | 31.249 | 31.2574 | 0.0003448 | 0.00844 | 31.249 | 31.2558 | 0.00031232 | 0.0068398
2004-37-0039 | 2004-37-0039 | 121 | 349.872 | 349.872 | 0.057227 | 0.00045776 | 31.2329 | 31.219 | 0.00069471 | -0.013887 | 31.2329 | 31.2171 | 0.00052873 | -0.015802
2004-37-0042 | 2004-37-0042 | 121 | 340.021 | 340.021 | 0.10793 | -0.00021362 | 31.2154 | 31.225 | 0.00021582 | 0.0095959 | 31.2154 | 31.2228 | 0.00029741 | 0.0073624
2004-37-0042 | 2004-37-0042 | 121 | 299.463 | 299.463 | 0.093835 | 0.00030518 | 31.1697 | 31.1746 | 0.00021889 | 0.0049248 | 31.1697 | 31.1729 | 0.00023407 | 0.0032062
2004-37-0044 | 2004-37-0044 | 121 | 275.184 | 275.184 | 0.036581 | -0.00033569 | 31.1268 | 31.143 | 0.0051456 | 0.016224 | 31.1268 | 31.1366 | 0.0025653 | 0.0097599
2004-37-0044 | 2004-37-0044 | 121 | 250.05 | 250.05 | 0.074986 | 6.1035e-05 | 31.0979 | 31.1034 | 0.0003678 | 0.0054665 | 31.0979 | 31.1017 | 0.00030099 | 0.0038338
2004-37-0047 | 2004-37-0047 | 121 | 316.832 | 316.832 | 0.032909 | 0.00036621 | 31.2191 | 31.2244 | 0.00034951 | 0.0052948 | 31.2191 | 31.2225 | 0.00028568 | 0.003418
2004-37-0047 | 2004-37-0047 | 121 | 300.016 | 300.016 | 0.031463 | -0.00030518 | 31.2094 | 31.2109 | 0.00021153 | 0.0015316 | 31.2094 | 31.2091 | 0.00022553 | -0.00026703
2004-37-0047 | 2004-37-0047 | 121 | 250.279 | 250.279 | 0.048894 | 0.00042725 | 31.1284 | 31.1269 | 0.00069828 | -0.0015068 | 31.1284 | 31.1243 | 0.00068273 | -0.0041199
2004-37-0049 | 2004-37-0049 | 121 | 188.75 | 188.75 | 0.031107 | -0.00021362 | 30.9478 | 30.9582 | 0.0002862 | 0.010403 | 30.9478 | 30.9568 | 0.00024307 | 0.0090408
2004-37-0049 | 2004-37-0049 | 121 | 174.696 | 174.696 | 0.036057 | -0.00013733 | 30.9118 | 30.9024 | 0.00076652 | -0.0094433 | 30.9118 | 30.9028 | 0.0045537 | -0.0090351
2004-37-0052 | 2004-37-0052 | 121 | 165.084 | 165.084 | 0.051394 | 0.00018311 | 30.8931 | 30.9224 | 0.00025525 | 0.029259 | 30.8931 | 30.9205 | 0.00024085 | 0.027351
2004-37-0052 | 2004-37-0052 | 121 | 150.005 | 150.005 | 0.068708 | 0.00013733 | 30.8942 | 30.8455 | 0.00029589 | -0.048742 | 30.8942 | 30.8441 | 0.00076926 | -0.050087
2004-37-0055 | 2004-37-0055 | 214 | 350.535 | 350.547 | 0.044601 | 0.011597 | 30.9648 | 30.9679 | 0.00019138 | 0.0031338 | 30.9648 | 30.9658 | 0.00022222 | 0.00099945
2004-37-0055 | 2004-37-0055 | 214 | 350.555 | 350.547 | 0.044601 | -0.0083923 | 30.9624 | 30.9679 | 0.00019138 | 0.0055332 | 30.9624 | 30.9658 | 0.00022222 | 0.0033989
2004-37-0057 | 2004-37-0057 | 121 | 312.193 | 312.193 | 0.29332 | 9.1553e-05 | 30.9425 | 30.9474 | 0.00022317 | 0.0048733 | 30.9425 | 30.9453 | 0.00027308 | 0.002842
2004-37-0057 | 2004-37-0057 | 121 | 300.322 | 300.322 | 0.37226 | 0.00030518 | 30.9436 | 30.9476 | 0.0001745 | 0.0040226 | 30.9436 | 30.9455 | 0.00022407 | 0.0018997
2004-37-0059 | 2004-37-0059 | 121 | 145.098 | 145.098 | 0.34851 | -7.6294e-05 | 30.8692 | 30.8753 | 0.00024888 | 0.0060673 | 30.8692 | 30.8737 | 0.00025355 | 0.0044575
2004-37-0059 | 2004-37-0059 | 121 | 124.892 | 124.892 | 0.12766 | -0.00030518 | 30.8522 | 30.8486 | 0.0010182 | -0.003643 | 30.8522 | 30.846 | 0.00061286 | -0.0061607
2004-37-0061 | 2004-37-0061 | 121 | 231.357 | 231.357 | 0.031418 | -0.00016785 | 29.4683 | 29.4796 | 0.00046994 | 0.011276 | 29.4683 | 29.4783 | 0.00055379 | 0.0099869
Create Fit Sheet