## File List
Number of Files= |  | 19
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2004-37-0001 | 2004-37-0001 | 12 | 13 | 2004-37-0001 & 2004-37-0001
2 | 2004-37-0002 | 2004-37-0002 | 15 | 16 | 2004-37-0002 & 2004-37-0002
3 | 2004-37-0006 | 2004-37-0006 | 18 | 19 | 2004-37-0006 & 2004-37-0006
4 | 2004-37-0009 | 2004-37-0009 | 21 | 22 | 2004-37-0009 & 2004-37-0009
5 | 2004-37-0012 | 2004-37-0012 | 24 | 25 | 2004-37-0012 & 2004-37-0012
6 | 2004-37-0015 | 2004-37-0015 | 27 | 28 | 2004-37-0015 & 2004-37-0015
7 | 2004-37-0023 | 2004-37-0023 | 30 | 31 | 2004-37-0023 & 2004-37-0023
8 | 2004-37-0032 | 2004-37-0032 | 33 | 34 | 2004-37-0032 & 2004-37-0032
9 | 2004-37-0034 | 2004-37-0034 | 36 | 38 | 2004-37-0034 & 2004-37-0034
10 | 2004-37-0039 | 2004-37-0039 | 40 | 41 | 2004-37-0039 & 2004-37-0039
11 | 2004-37-0042 | 2004-37-0042 | 43 | 44 | 2004-37-0042 & 2004-37-0042
12 | 2004-37-0044 | 2004-37-0044 | 46 | 47 | 2004-37-0044 & 2004-37-0044
13 | 2004-37-0047 | 2004-37-0047 | 49 | 51 | 2004-37-0047 & 2004-37-0047
14 | 2004-37-0049 | 2004-37-0049 | 53 | 54 | 2004-37-0049 & 2004-37-0049
15 | 2004-37-0052 | 2004-37-0052 | 56 | 57 | 2004-37-0052 & 2004-37-0052
16 | 2004-37-0055 | 2004-37-0055 | 59 | 60 | 2004-37-0055 & 2004-37-0055
17 | 2004-37-0057 | 2004-37-0057 | 62 | 63 | 2004-37-0057 & 2004-37-0057
18 | 2004-37-0059 | 2004-37-0059 | 65 | 66 | 2004-37-0059 & 2004-37-0059
19 | 2004-37-0061 | 2004-37-0061 | 68 | 68 | 2004-37-0061 & 2004-37-0061

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 4.1653e-05 |  | X | CALC Y
m= | -1.7179e-06 | 4.7053e-05 |  | Std Dev of Resid |  | 0.017888 |  | 150.005 | 0.00082391
b= | 0.0010816 | 0.012088 |  | Resid Sum of Squares |  | 0.010239 |  | 372.67 | 0.00044139
# of Values Extracted = |  |  | 39
# of Values Used in Fit = |  |  | 34
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 110.209 | 31.1976 | 0.00031667 | 0.11441 | 0.00089227 | -0.11352 |  | 231.111 | 0.0091896
1 | NO | 100.191 | 31.1432 | 0.00041262 | -0.025272 | 0.00090948 | 0.026182 |  | 200.09 | -0.024643
2 | YES | 231.111 | 32.194 | 0.00065313 | 0.0091896 | 0.00068458 | -0.008505 |  | 244.526 | -0.0014458
2 | YES | 200.09 | 32.0502 | 0.0048668 | -0.024643 | 0.00073787 | 0.025381 |  | 244.611 | -0.0020599
3 | YES | 244.526 | 33.8945 | 0.00023465 | -0.0014458 | 0.00066153 | 0.0021073 |  | 221.623 | -0.00064087
3 | YES | 244.611 | 33.8944 | 0.00023658 | -0.0020599 | 0.00066138 | 0.0027213 |  | 201.791 | -0.00053787
4 | YES | 221.623 | 33.8711 | 0.00024614 | -0.00064087 | 0.00070088 | 0.0013417 |  | 184.313 | -0.0001297
4 | YES | 201.791 | 33.8713 | 0.00021599 | -0.00053787 | 0.00073495 | 0.0012728 |  | 175.011 | -0.004879
5 | YES | 184.313 | 33.8143 | 0.00021251 | -0.0001297 | 0.00076497 | 0.00089467 |  | 171.173 | 0.0024834
5 | YES | 175.011 | 33.8138 | 0.00022681 | -0.004879 | 0.00078095 | 0.00566 |  | 210.266 | 0.0011597
6 | YES | 171.173 | 33.743 | 0.00025777 | 0.0024834 | 0.00078754 | -0.0016958 |  | 200.335 | -0.0027943
6 | NO | 149.783 | 33.7251 | 0.00052378 | -0.00028229 | 0.00082429 | 0.0011066 |  | 175.577 | 0.072031
7 | YES | 210.266 | 31.7208 | 0.00075975 | 0.0011597 | 0.00072039 | -0.00043928 |  | 150.277 | -0.0038643
7 | YES | 200.335 | 31.6971 | 0.00066948 | -0.0027943 | 0.00073745 | 0.0035317 |  | 310.053 | -0.0074749
8 | YES | 175.577 | 31.2688 | 0.00059414 | 0.072031 | 0.00077998 | -0.071251 |  | 300.001 | 0.0039864
8 | YES | 150.277 | 31.1384 | 0.00035955 | -0.0038643 | 0.00082344 | 0.0046877 |  | 249.985 | -0.0015183
9 | YES | 310.053 | 31.1494 | 0.00044651 | -0.0074749 | 0.00054896 | 0.0080239 |  | 372.67 | 0.00494
9 | YES | 300.001 | 31.1659 | 0.0028853 | 0.0039864 | 0.00056623 | -0.0034201 |  | 349.872 | -0.017387
9 | YES | 249.985 | 31.1463 | 0.000301 | -0.0015183 | 0.00065215 | 0.0021704 |  | 340.021 | 0.0060959
10 | YES | 372.67 | 31.2539 | 0.0003448 | 0.00494 | 0.00044139 | -0.0044986 |  | 299.463 | 0.0014248
10 | YES | 349.872 | 31.2155 | 0.00069456 | -0.017387 | 0.00048056 | 0.017868 |  | 275.184 | 0.012724
11 | YES | 340.021 | 31.2215 | 0.00021581 | 0.0060959 | 0.00049748 | -0.0055984 |  | 250.05 | 0.0019665
11 | YES | 299.463 | 31.1711 | 0.00021889 | 0.0014248 | 0.00056715 | -0.00085764 |  | 316.832 | 0.0017948
12 | YES | 275.184 | 31.1395 | 0.0051456 | 0.012724 | 0.00060886 | -0.012115 |  | 300.016 | -0.0019684
12 | YES | 250.05 | 31.0999 | 0.0003678 | 0.0019665 | 0.00065204 | -0.0013144 |  | 250.279 | -0.0050068
13 | YES | 316.832 | 31.2209 | 0.00034951 | 0.0017948 | 0.00053732 | -0.0012575 |  | 188.75 | 0.0069027
13 | YES | 300.016 | 31.2074 | 0.00021153 | -0.0019684 | 0.0005662 | 0.0025346 |  | 174.696 | -0.012943
13 | YES | 250.279 | 31.1234 | 0.00069828 | -0.0050068 | 0.00065165 | 0.0056584 |  | 165.084 | 0.025759
14 | YES | 188.75 | 30.9547 | 0.0002862 | 0.0069027 | 0.00075735 | -0.0061453 |  | 150.005 | -0.052242
14 | YES | 174.696 | 30.8989 | 0.00076652 | -0.012943 | 0.00078149 | 0.013725 |  | 350.547 | -0.00036621
15 | YES | 165.084 | 30.9189 | 0.00025525 | 0.025759 | 0.000798 | -0.024961 |  | 350.547 | 0.0020332
15 | YES | 150.005 | 30.842 | 0.00029592 | -0.052242 | 0.00082391 | 0.053066 |  | 312.193 | 0.0013733
16 | YES | 350.547 | 30.9644 | 0.00019138 | -0.00036621 | 0.0004794 | 0.00084561 |  | 300.322 | 0.00052261
16 | YES | 350.547 | 30.9644 | 0.00019138 | 0.0020332 | 0.0004794 | -0.0015538 |  | 231.357 | 0.0077763
17 | YES | 312.193 | 30.9439 | 0.00022317 | 0.0013733 | 0.00054529 | -0.000828
17 | YES | 300.322 | 30.9441 | 0.0001745 | 0.00052261 | 0.00056568 | 4.3065e-05
18 | NO | 145.098 | 30.8718 | 0.00024888 | 0.0025673 | 0.00083234 | -0.001735
18 | NO | 124.892 | 30.8451 | 0.0010183 | -0.007143 | 0.00086705 | 0.0080101
19 | YES | 231.357 | 29.4761 | 0.00046994 | 0.0077763 | 0.00068415 | -0.0070921
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00096674 |  | X | CALC Y
m= | -8.1822e-06 | 4.6497e-05 |  | Std Dev of Resid |  | 0.017676 |  | 150.005 | 0.0014976
b= | 0.002725 | 0.011945 |  | Resid Sum of Squares |  | 0.0099985 |  | 372.67 | -0.00032426
# of Values Extracted = |  |  | 39
# of Values Used in Fit = |  |  | 34
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 110.209 | 31.1934 | 0.00031038 | 0.11015 | 0.0018232 | -0.10833 |  | 231.111 | 0.010502
1 | NO | 100.191 | 31.1388 | 0.00041999 | -0.029673 | 0.0019052 | 0.031578 |  | 200.09 | -0.021503
2 | YES | 231.111 | 32.1953 | 0.00047035 | 0.010502 | 0.000834 | -0.0096679 |  | 244.526 | -0.0010948
2 | YES | 200.09 | 32.0533 | 0.0026035 | -0.021503 | 0.0010878 | 0.022591 |  | 244.611 | -0.0016899
3 | YES | 244.526 | 33.8948 | 0.00029296 | -0.0010948 | 0.00072424 | 0.0018191 |  | 221.623 | 1.9073e-05
3 | YES | 244.611 | 33.8948 | 0.00029391 | -0.0016899 | 0.00072354 | 0.0024135 |  | 201.791 | -4.1962e-05
4 | YES | 221.623 | 33.8717 | 0.00032638 | 1.9073e-05 | 0.00091164 | 0.00089256 |  | 184.313 | 0.00031662
4 | YES | 201.791 | 33.8718 | 0.000266 | -4.1962e-05 | 0.0010739 | 0.0011159 |  | 175.011 | -0.0046272
5 | YES | 184.313 | 33.8147 | 0.00025318 | 0.00031662 | 0.0012169 | 0.00090029 |  | 171.173 | 0.0028267
5 | YES | 175.011 | 33.8141 | 0.00032416 | -0.0046272 | 0.001293 | 0.0059203 |  | 210.266 | 0.0010033
6 | YES | 171.173 | 33.7433 | 0.00027779 | 0.0028267 | 0.0013244 | -0.0015023 |  | 200.335 | -0.0026093
6 | NO | 149.783 | 33.7249 | 0.00035912 | -0.00045395 | 0.0014994 | 0.0019534 |  | 175.577 | 0.072456
7 | YES | 210.266 | 31.7206 | 0.00026068 | 0.0010033 | 0.0010046 | 1.2922e-06 |  | 150.277 | -0.0035477
7 | YES | 200.335 | 31.6973 | 0.00030028 | -0.0026093 | 0.0010858 | 0.0036951 |  | 310.053 | -0.0075951
8 | YES | 175.577 | 31.2693 | 0.0004533 | 0.072456 | 0.0012884 | -0.071168 |  | 300.001 | 0.0043373
8 | YES | 150.277 | 31.1388 | 0.00025953 | -0.0035477 | 0.0014954 | 0.0050431 |  | 249.985 | -0.0016537
9 | YES | 310.053 | 31.1493 | 0.0011533 | -0.0075951 | 0.00018809 | 0.0077831 |  | 372.67 | 0.00494
9 | YES | 300.001 | 31.1662 | 0.0020517 | 0.0043373 | 0.00027033 | -0.004067 |  | 349.872 | -0.017704
9 | YES | 249.985 | 31.1461 | 0.00024693 | -0.0016537 | 0.00067957 | 0.0023332 |  | 340.021 | 0.0054627
10 | YES | 372.67 | 31.2539 | 0.00031236 | 0.00494 | -0.00032426 | -0.0052643 |  | 299.463 | 0.0013065
10 | YES | 349.872 | 31.2152 | 0.00052877 | -0.017704 | -0.00013772 | 0.017566 |  | 275.184 | 0.0078602
11 | YES | 340.021 | 31.2209 | 0.00029751 | 0.0054627 | -5.7118e-05 | -0.0055198 |  | 250.05 | 0.0019341
11 | YES | 299.463 | 31.171 | 0.00023424 | 0.0013065 | 0.00027474 | -0.0010318 |  | 316.832 | 0.0015183
12 | YES | 275.184 | 31.1347 | 0.0025652 | 0.0078602 | 0.00047339 | -0.0073868 |  | 300.016 | -0.0021667
12 | YES | 250.05 | 31.0998 | 0.00030092 | 0.0019341 | 0.00067904 | -0.001255 |  | 250.279 | -0.0060196
13 | YES | 316.832 | 31.2206 | 0.0002857 | 0.0015183 | 0.00013262 | -0.0013856 |  | 188.75 | 0.0071392
13 | YES | 300.016 | 31.2072 | 0.00022557 | -0.0021667 | 0.00027021 | 0.002437 |  | 174.696 | -0.010937
13 | YES | 250.279 | 31.1224 | 0.00068278 | -0.0060196 | 0.00067717 | 0.0066968 |  | 165.084 | 0.025452
14 | YES | 188.75 | 30.9549 | 0.00024298 | 0.0071392 | 0.0011806 | -0.0059586 |  | 150.005 | -0.051989
14 | YES | 174.696 | 30.9009 | 0.0045538 | -0.010937 | 0.0012956 | 0.012232 |  | 350.547 | -0.00090027
15 | YES | 165.084 | 30.9186 | 0.00024083 | 0.025452 | 0.0013743 | -0.024077 |  | 350.547 | 0.0014992
15 | YES | 150.005 | 30.8422 | 0.00076919 | -0.051989 | 0.0014976 | 0.053486 |  | 312.193 | 0.00094032
16 | YES | 350.547 | 30.9639 | 0.0002221 | -0.00090027 | -0.00014324 | 0.00075703 |  | 300.322 | 0
16 | YES | 350.547 | 30.9639 | 0.0002221 | 0.0014992 | -0.00014324 | -0.0016424 |  | 231.357 | 0.0080872
17 | YES | 312.193 | 30.9434 | 0.00027324 | 0.00094032 | 0.00017058 | -0.00076975
17 | YES | 300.322 | 30.9436 | 0.00022399 | 0 | 0.00026771 | 0.00026771
18 | NO | 145.098 | 30.8718 | 0.00025365 | 0.0025559 | 0.0015378 | -0.0010181
18 | NO | 124.892 | 30.8441 | 0.00061294 | -0.0080605 | 0.0017031 | 0.0097636
19 | YES | 231.357 | 29.4764 | 0.00055374 | 0.0080872 | 0.00083199 | -0.0072552
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2004-37-0001 | 2004-37-0001 | 121 | 110.209 | 110.209 | 0.033192 | -0.00047302 | 31.0832 | 31.1976 | 0.00031667 | 0.11441 | 31.0832 | 31.1934 | 0.00031038 | 0.11015
2004-37-0001 | 2004-37-0001 | 121 | 100.191 | 100.191 | 0.031799 | 0.0003891 | 31.1685 | 31.1432 | 0.00041262 | -0.025272 | 31.1685 | 31.1388 | 0.00041999 | -0.029673
2004-37-0002 | 2004-37-0002 | 121 | 231.111 | 231.111 | 0.091313 | 9.1553e-05 | 32.1848 | 32.194 | 0.00065313 | 0.0091896 | 32.1848 | 32.1953 | 0.00047035 | 0.010502
2004-37-0002 | 2004-37-0002 | 121 | 200.09 | 200.09 | 0.11028 | -0.00022888 | 32.0748 | 32.0502 | 0.0048668 | -0.024643 | 32.0748 | 32.0533 | 0.0026035 | -0.021503
2004-37-0006 | 2004-37-0006 | 232 | 244.277 | 244.526 | 0.41922 | 0.24901 | 33.8959 | 33.8945 | 0.00023465 | -0.0014458 | 33.8959 | 33.8948 | 0.00029296 | -0.0010948
2004-37-0006 | 2004-37-0006 | 227 | 244.841 | 244.611 | 0.40547 | -0.23027 | 33.8965 | 33.8944 | 0.00023658 | -0.0020599 | 33.8965 | 33.8948 | 0.00029391 | -0.0016899
2004-37-0009 | 2004-37-0009 | 121 | 221.623 | 221.623 | 0.16604 | -0.00038147 | 33.8717 | 33.8711 | 0.00024614 | -0.00064087 | 33.8717 | 33.8717 | 0.00032638 | 1.9073e-05
2004-37-0009 | 2004-37-0009 | 121 | 201.791 | 201.791 | 0.19714 | 0.00048828 | 33.8718 | 33.8713 | 0.00021599 | -0.00053787 | 33.8718 | 33.8718 | 0.000266 | -4.1962e-05
2004-37-0012 | 2004-37-0012 | 121 | 184.313 | 184.313 | 0.15212 | -0.00038147 | 33.8144 | 33.8143 | 0.00021251 | -0.0001297 | 33.8144 | 33.8147 | 0.00025318 | 0.00031662
2004-37-0012 | 2004-37-0012 | 121 | 175.011 | 175.011 | 0.15659 | -0.00018311 | 33.8187 | 33.8138 | 0.00022681 | -0.004879 | 33.8187 | 33.8141 | 0.00032416 | -0.0046272
2004-37-0015 | 2004-37-0015 | 121 | 171.173 | 171.173 | 0.2669 | -0.00027466 | 33.7405 | 33.743 | 0.00025777 | 0.0024834 | 33.7405 | 33.7433 | 0.00027779 | 0.0028267
2004-37-0015 | 2004-37-0015 | 121 | 149.783 | 149.783 | 0.052145 | 0.00039673 | 33.7254 | 33.7251 | 0.00052378 | -0.00028229 | 33.7254 | 33.7249 | 0.00035912 | -0.00045395
2004-37-0023 | 2004-37-0023 | 121 | 210.266 | 210.266 | 0.12467 | 0.00027466 | 31.7196 | 31.7208 | 0.00075975 | 0.0011597 | 31.7196 | 31.7206 | 0.00026068 | 0.0010033
2004-37-0023 | 2004-37-0023 | 121 | 200.335 | 200.335 | 0.22634 | -0.00022888 | 31.6999 | 31.6971 | 0.00066948 | -0.0027943 | 31.6999 | 31.6973 | 0.00030028 | -0.0026093
2004-37-0032 | 2004-37-0032 | 121 | 175.577 | 175.577 | 0.037293 | -0.00027466 | 31.1968 | 31.2688 | 0.00059414 | 0.072031 | 31.1968 | 31.2693 | 0.0004533 | 0.072456
2004-37-0032 | 2004-37-0032 | 121 | 150.277 | 150.277 | 0.031574 | 0.00027466 | 31.1423 | 31.1384 | 0.00035955 | -0.0038643 | 31.1423 | 31.1388 | 0.00025953 | -0.0035477
2004-37-0034 | 2004-37-0034 | 121 | 310.053 | 310.053 | 0.057574 | 0.00030518 | 31.1569 | 31.1494 | 0.00044651 | -0.0074749 | 31.1569 | 31.1493 | 0.0011533 | -0.0075951
2004-37-0034 | 2004-37-0034 | 121 | 300.001 | 300.001 | 0.035623 | -3.0518e-05 | 31.1619 | 31.1659 | 0.0028853 | 0.0039864 | 31.1619 | 31.1662 | 0.0020517 | 0.0043373
2004-37-0034 | 2004-37-0034 | 121 | 249.985 | 249.985 | 0.077451 | -0.00038147 | 31.1478 | 31.1463 | 0.000301 | -0.0015183 | 31.1478 | 31.1461 | 0.00024693 | -0.0016537
2004-37-0039 | 2004-37-0039 | 121 | 372.67 | 372.67 | 0.04212 | 0.00036621 | 31.249 | 31.2539 | 0.0003448 | 0.00494 | 31.249 | 31.2539 | 0.00031236 | 0.00494
2004-37-0039 | 2004-37-0039 | 121 | 349.872 | 349.872 | 0.057227 | 0.00045776 | 31.2329 | 31.2155 | 0.00069456 | -0.017387 | 31.2329 | 31.2152 | 0.00052877 | -0.017704
2004-37-0042 | 2004-37-0042 | 121 | 340.021 | 340.021 | 0.10793 | -0.00021362 | 31.2154 | 31.2215 | 0.00021581 | 0.0060959 | 31.2154 | 31.2209 | 0.00029751 | 0.0054627
2004-37-0042 | 2004-37-0042 | 121 | 299.463 | 299.463 | 0.093835 | 0.00030518 | 31.1697 | 31.1711 | 0.00021889 | 0.0014248 | 31.1697 | 31.171 | 0.00023424 | 0.0013065
2004-37-0044 | 2004-37-0044 | 121 | 275.184 | 275.184 | 0.036581 | -0.00033569 | 31.1268 | 31.1395 | 0.0051456 | 0.012724 | 31.1268 | 31.1347 | 0.0025652 | 0.0078602
2004-37-0044 | 2004-37-0044 | 121 | 250.05 | 250.05 | 0.074986 | 6.1035e-05 | 31.0979 | 31.0999 | 0.0003678 | 0.0019665 | 31.0979 | 31.0998 | 0.00030092 | 0.0019341
2004-37-0047 | 2004-37-0047 | 121 | 316.832 | 316.832 | 0.032909 | 0.00036621 | 31.2191 | 31.2209 | 0.00034951 | 0.0017948 | 31.2191 | 31.2206 | 0.0002857 | 0.0015183
2004-37-0047 | 2004-37-0047 | 121 | 300.016 | 300.016 | 0.031463 | -0.00030518 | 31.2094 | 31.2074 | 0.00021153 | -0.0019684 | 31.2094 | 31.2072 | 0.00022557 | -0.0021667
2004-37-0047 | 2004-37-0047 | 121 | 250.279 | 250.279 | 0.048894 | 0.00042725 | 31.1284 | 31.1234 | 0.00069828 | -0.0050068 | 31.1284 | 31.1224 | 0.00068278 | -0.0060196
2004-37-0049 | 2004-37-0049 | 121 | 188.75 | 188.75 | 0.031107 | -0.00021362 | 30.9478 | 30.9547 | 0.0002862 | 0.0069027 | 30.9478 | 30.9549 | 0.00024298 | 0.0071392
2004-37-0049 | 2004-37-0049 | 121 | 174.696 | 174.696 | 0.036057 | -0.00013733 | 30.9118 | 30.8989 | 0.00076652 | -0.012943 | 30.9118 | 30.9009 | 0.0045538 | -0.010937
2004-37-0052 | 2004-37-0052 | 121 | 165.084 | 165.084 | 0.051394 | 0.00018311 | 30.8931 | 30.9189 | 0.00025525 | 0.025759 | 30.8931 | 30.9186 | 0.00024083 | 0.025452
2004-37-0052 | 2004-37-0052 | 121 | 150.005 | 150.005 | 0.068708 | 0.00013733 | 30.8942 | 30.842 | 0.00029592 | -0.052242 | 30.8942 | 30.8422 | 0.00076919 | -0.051989
2004-37-0055 | 2004-37-0055 | 214 | 350.535 | 350.547 | 0.044601 | 0.011597 | 30.9648 | 30.9644 | 0.00019138 | -0.00036621 | 30.9648 | 30.9639 | 0.0002221 | -0.00090027
2004-37-0055 | 2004-37-0055 | 214 | 350.555 | 350.547 | 0.044601 | -0.0083923 | 30.9624 | 30.9644 | 0.00019138 | 0.0020332 | 30.9624 | 30.9639 | 0.0002221 | 0.0014992
2004-37-0057 | 2004-37-0057 | 121 | 312.193 | 312.193 | 0.29332 | 9.1553e-05 | 30.9425 | 30.9439 | 0.00022317 | 0.0013733 | 30.9425 | 30.9434 | 0.00027324 | 0.00094032
2004-37-0057 | 2004-37-0057 | 121 | 300.322 | 300.322 | 0.37226 | 0.00030518 | 30.9436 | 30.9441 | 0.0001745 | 0.00052261 | 30.9436 | 30.9436 | 0.00022399 | 0
2004-37-0059 | 2004-37-0059 | 121 | 145.098 | 145.098 | 0.34851 | -7.6294e-05 | 30.8692 | 30.8718 | 0.00024888 | 0.0025673 | 30.8692 | 30.8718 | 0.00025365 | 0.0025559
2004-37-0059 | 2004-37-0059 | 121 | 124.892 | 124.892 | 0.12766 | -0.00030518 | 30.8522 | 30.8451 | 0.0010183 | -0.007143 | 30.8522 | 30.8441 | 0.00061294 | -0.0080605
2004-37-0061 | 2004-37-0061 | 121 | 231.357 | 231.357 | 0.031418 | -0.00016785 | 29.4683 | 29.4761 | 0.00046994 | 0.0077763 | 29.4683 | 29.4764 | 0.00055374 | 0.0080872
Create Fit Sheet