File List for SeaBird Data          Cruise Number: _2004-41____

[osapcommon.cruise_data.2004-41]

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon.cruise_data.2004-41.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon.cruise_data.2004-41.derive]

*.cnv - data after running WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon.cruise_data.2004-41.doc]

2004-41-rcal.ccf – calibration control file

2004-41-CTD.con – corrected configuration file used for all casts

2004-41_proc.doc - processing notes

2004-41_file.doc - this document

2004-41.hdr.txt– text file used to add comments to the headers of the files

2004-41-hdr-part2.txt – text file used to add comments to the extra casts processed in 2006

[osapcommon.cruise_data.2004-41.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del and *.delrev – after DELETE

*.edt - data after all editing has been done

*.ios - data after conversion to IOS HEADERS

*.log and *.lo&- log files created by CTDEDIT

Delete.log and Delete-pt2.log - logs from routine DELETE