## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

## PROCESSING NOTES

Cruise: 2004-44

Agency: OSAP

Location: Queen Charlotte Strait / Broughton Archipelago

Party Chief: Beamish R.

Platform: W. E. RICKER

Date:  November 26, 2004-November 29 2004

Processed by: Germaine Gatien

Date of Processing: 16 February 2005 – 16 February 2005

Number of original CTD casts: 5

Number of casts processed: 5

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0506) was mounted with a Transmissometer #197 and Seapoint Fluorometer (#2228).

# SUMMARY OF QUALITY AND CONCERNS

There were no logs available for this cruise. It is believed to have immediately followed 2004-32 and used the same equipment. There is a list of 13 casts run in November 2004 that include these 5 casts, but no times are given, only dates; no data were available for the other 8 casts at the time of processing.

It is assumed that the sensors used for this cruise are the same as the ones used for Leg 2 of 2004-32, but there are no records available to confirm this.

The temperature and conductivity sensors were changed between the first and second legs of 2004-32, but the configuration files were not changed. When a configuration file was prepared for the second leg with the correct sensor numbers, the data could not be converted until the sensor numbers were entered incorrectly, using those from the Leg 1 configuration. This was because the information was wrong in the headers. Editing the header files was not sufficient to correct this problem during 2004-32. For cruise 2004-44 the headers also contain the sensor numbers that are believed to be wrong.  WARNING: The information in the con file has the wrong sensor numbers. The information in the IOS SHELL headers is correct.

There were problems in the top 50m of the downcasts, with secondary salinity looking unlike the primary and unlike the upcast data. Fluorescence also looked bad in the top 25db. The secondary pump is suspected of being the cause of the problem; the bleed valve may have been clogged. Fluorescence was not archived.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension DAT.

##### Preliminary Steps

There was no log book, nor any cruise report. The only files available were DAT files. It is believed that the data were collected immediately after cruise 2004-32 on the Ricker. There is a list of 13 casts for November 2004 that include these 5; the list has positions and dates only, no times.

There were no configuration files provided with the data. It is assumed that the same ones used for the second leg of 2004-32 should be used with this data. There were problems with the configuration files from that cruise with the wrong sensor numbers being listed in the headers. The sensors listed were actually at the factory at that time, so it is known the files must be wrong. However, changing the sensor numbers in the configuration files made it impossible to convert the data because the wrong numbers are embedded in the DAT files; so the con files had to be left with incorrect sensor numbers. As was done for 2004-32, HEADER EDIT will have to be used later to correct the sensor information in the IOS SHELL headers.

##### Conversion of Raw Data

The raw data were converted using configuration file 2004-44-CTD.con  which is a copy of file 2004-32-CTD2.con.

After conversion all file names were changed to standard format, 2004-44-0006.cnv etc.

There are two times in the headers, UPLOAD time and NMEA time. The UPLOAD times are all between 7am and 6pm, which is consistent with normal Ricker operations. The NMEA times are all 8 hours later, so the two times appear to just be from different time zones. The NMEA times do appear to be correct UTC time but no independent records were available to confirm this.

All expected channels were present.

As during 2004-32 there are significant differences between the upcast and downcast secondary salinity in the top 50db. The temperatures seem ok. The primary salinity is reasonably close to that of the upcast. This looks like a secondary pump problem that clears with sufficient pressure, possibly due to a clogged bleed valve.

Fluorescence showed significant differences between downcast and upcast traces. The fluorescence could be related to pump problems as it was probably mounted on the secondary pump. For 2004-32 it was decided that this channel should not be archived; the same will be done for this cruise.

##### WILDEDIT

Program WILDEDIT was used to remove spikes in the pressure and temperature channels only.  Parameters used were: 	Pass 1    Std Dev = 2	Pass 2    Std Dev = 5     Points per block = 50

##### CELLTM

Based on the tests run for 2004-32 CELLTM was run using (0.02, 9.0) for the primary sensor and (0.03, 9.0) for the secondary.

##### DERIVE

Program DERIVE was run on all casts to calculate primary and secondary salinity.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers.

CLEAN was used to add event numbers and to remove pad values in the pressure channel using linear interpolation based on record number.

##### Checking Headers

A header summary and a header check were produced. The positions agree with 5 from the list of 13 PBS casts in November 2004. No data was available for the other 8 casts at the time of processing.

The cruise track was plotted and the positions look reasonable.

The average surface pressure is 3.5db which is slightly lower than during 2004-32, but seems reasonable.

##### SHIFT

Conductivity

All data were put through SHIFT using -1.2 for the primary conductivity based on the results of 2004-32.

##### DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Pressure Tolerance: 1.0                                        Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over  11 points) will be deleted.

Drop rate applies in the range    10.00 dbars to 10 dbars less than the maximum pressure

Sample interval = 0.042 seconds. (from header)

COMMENTS ON WARNINGS: There were no warnings.

##### DETAILED EDITING

The primary sensors were selected for editing.

Page plots were produced using T0,S0. These plots were examined for spikes and instabilities and used to guide the use of CTDEDIT. A few surface data were removed and salinity was cleaned very lightly.

The descent rate was generally smooth and high. All casts required light editing.

##### Climatology comparisons

All data fell within the historic ranges for the 2 casts for which there was a useful climatology.

##### Recalibration

Based on the results of 2004-32 the primary salinity is believed to be slightly lower than the bottles, probably within 0.001psu. No recalibration was applied.

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the edited files (output AVG):

Bin channel = pressure

Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen and no further editing was deemed necessary.

##### Final Plots

THIN and DERIVE were run to obtain values for tables and page plots were prepared using the averaged data and displaying T, S and Transmissivity profiles.

##### FINAL CTD files steps (REMOVE and HEADEDIT)

The Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Fluorescence:Seapoint, Status:Pump, Descent_Rate and Flag channels were removed from all casts.

HEADER EDIT was used to fix formats and change the sensor numbers in the INSTRUMENT section and to add the following comments:

Transmissivity data are nominal and unedited, except that some records were removed in editing                    T and S.

The final files were named CTD. The Standards Check routine was run and HEADEDIT adjusted until all format problems were removed.

Station Names and Bottom depths were added to the headers based on the list of PBS casts for R. Beamish for November 2004.

##### Producing final files

A cross-reference listing was produced.

The sensor history was updated.

# Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#: 2004-44

Dates: Start: November 26, 2004 End: November 29, 2004

Location: Queen Charlotte Strait / Broughton Archipelago

Vessel: W.E. Ricker

Party Chief: Beamish R.

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0506 | No | Yes |

Institute of Ocean Sciences

# CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/0506	Cruise ID#:		2004-44

NOTE that the configuration file lists different sensors to match what was entered in the headers. What follows it the correct configuration and the information in the IOS HEADERS is correct

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2663 | 16/10/04 | Factory |  |  |
| Conductivity | 2280 | 15/10/04 | “ |  |  |
| Secondary Temp. | 2095 | 16/10/04 | “ |  |  |
| Secondary Cond. | 1764 | 15/10/04 | “ |  |  |
| Transmissometer | 197 | 16/01/03 | IOS |  |  |
| Fluorometer | 2228 |  | IOS |  |  |