File List for SeaBird Data          Cruise Number: 2005-01

[osapcommon\cruise_data\2005-01\CHL]

QF2005-01CHL.xls – original chl data

[osapcommon\cruise_data\2005-01\ctd files]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon\cruise_data\2005-01\ctd files\convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon\cruise_data\2005-01\ ctd files \derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon\cruise_data\ctd\2005-01\ ctd files \doc]

argo-ctd-comp.xls – comparison of Argo float and CTD cast near launch of float

2005-01-recal.ccf – calibration control file for recalibration of SAL and DO

2005-01-recal.ccf – calibration control file for recalibration of DO

2005-01_proc.doc - processing notes

2005-01_file.doc - this document

*hdr.txt –  various files containing comments used for headers

[osapcommon\cruise_data\2005-01\ ctd files \hydro]

*.add – bottle from analyst, converted, edited, with flags

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl1 – titrated chlorophyll data

*.ed1 & *.log – editing files for cast #77

*.mrg – merge of sal, add, nuts and bottle-averaged rosette files

*.nut1 – nutrient data converted by spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted by spreadsheet

*.sam – bottle files with sample numbers added

2005-01-nuts.csv – simplified spreadsheet of nutrient data

2005-01-sal-non-loop-all.csv – spreadsheet of non-loop salinity data

QF2005-01CHL.csv – simplified version of CHL data

addsamp.csv – file containing cast #, bottle number and sample number

2005-01-sal-comp1.xls – initial salinity COMPARE file

2005-01-sal-comp2.csv & .xls - salinity COMPARE files after recalibration of S

2005-01-sal-niskin.csv & .xls – salinity COMPARE with Niskin Bottle # as reference

2005-01-dox-comp1.csv & .xls – initial DO COMPARE files

2005-01-dox-comp2.csv & .xls – DO COMPARE files after 1st recalibration

2005-01-dox-comp3.csv & .xls – DO COMPARE files downcast vs upcast bottles

2005-01-dox-comp4.csv & .xls – DO COMPARE files after 2nd recalibration

[osapcommon\cruise_data\2005-01\ ctd files \ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2005-01\files]

[osapcommon\cruise_data\2005-01\GTD data]

[osapcommon\cruise_data\2005-01\Nutrients] Nutrient Files from analyst

[osapcommon\cruise_data\2005-01\oxygen data] Original oxygen bottle files from analyst

osapcommon\cruise_data\2005-01\photos]

[osapcommon\cruise_data\2005-01\salinity] Original bottle salinity files from analyst

[osapcommon\cruise_data\2005-01\SCS data]

[osapcommon\cruise_data\2005-01\TSG Data] files from sea

[osapcommon\cruise_data\2005-01\TSG Data\convert] – data after SeaBird conversion

[osapcommon\cruise_data\2005-01\TSG Data\doc]

2005-01-TSG-recal.ccf – calibration control file for TSG

2005-01-ctd-surf.csv – CTD data from near surface

2005-02-loop-sal.csv – data from bottle analysis

2005-02-loop-sal.xls – comparison of loop samples and TSG

*reduced.xls – TSG files at times of CTD casts

ctd-stop-loop.xls – comparison of loop samples during CTD stops

*.txt – files with comments for headers

[osapcommon\cruise_data\2005-01\TSG Data\IOS] – data after conversion to IOS Headers

*.atc – files after adding time channel

*.ios – files after conversion from CSV to IOS headers

*.tob – final data file after REMOVE and HEAD EDIT