File List for SeaBird Data          Cruise Number: _2005-02____

osapcommon\cruise_data\2005-02\chl\ - chlorophyll files from analyst

[osapcommon\cruise_data\2005-02\ctd]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon\cruise_data\2005-02\ctd\convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon\cruise_data\2005-02\ctd\derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon\cruise_data\ctd\2005-02\ctd\doc]

2005-02-recal1.ccf – calibration control file for recalibration of DO

2005-02-recal2.ccf – calibration control file for recalibration of Salinity

2005-02_proc.doc - processing notes

2005-02_file.doc - this document

2005-02-bot-hdr.txt – header file comments used for CHE files

2005-02-hdr.txt – header file comments used for CTD downcast files

[osapcommon\cruise_data\2005-02\ctd\hydro]

*.add – bottle from analyst, converted, edited, with flags

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – titrated chlorophyll files converted from spreadsheet

*.ed1 and *.log – files from editing of cast #7

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted by spreadsheet

*.sam – bottle files with sample numbers added

addsamp.csv – file containing cast #, bottle number and sample number

2005-02-sal-comp1.csv & xls – initial salinity COMPARE file

2005-02-sal-comp2.csv & .xls - salinity COMPARE files after recalibration of S

2005-02 ch-fl-comp.xls – comparison of fluorescence and titrated chlorophyll

2005-02-dox-comp1.csv & .xls – initial comparison of titrated DO and CTD DO

2005-02-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after recal

2005-02-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

[osapcommon\cruise_data\2005-02\ctd\ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2005-02\Oxy] Original oxygen bottle files from analyst

[osapcommon\cruise_data\2005-02\Salinity] Original oxygen bottle files from analyst

[osapcommon\cruise_data\2005-02\TSG]

*.hex and con – original files from sea

*.cnv – Converted files

[osapcommon\cruise_data\2005-02\TSG\DOC]

2005-02-TSG-recal.ccf – calibration control file for TSG

2005-02 loop sal.xls – spreadsheet of loop salinity data

2005-02 TSG-loop-sal-comp.xls – comparison of TSG and loop sals

2005-02-loop-chl.xls – spreadsheet of loop chlorophyll

2005-02-TSG-avg.xls – study of noise level in TSG data

2005-02-TSG-CTD-comp.xls – comparison of TSG and surface CTD data

2005-02-TSG-FL-chl-comp.xls – comparison of TSG FL and loop chl

2005-02-TSG-time-study.xls – check on time in TSG files

2005-02-therm-hdr.txt – file with comment for header of final TSG file

[osapcommon\cruise_data\2005-02\TSG\IOS]

*.atc – after adding header details and time and date channels to *.ios files

*.ios – files after conversion from CSV to IOS headers

*.tob – final data file after REMOVE and HEAD EDIT