Hi Germaine,

Hold off processing the SBE19+, I will check on that.

Cheers,

Bon

-----Original Message-----

From: 	Gatien, Germaine

Sent:	Friday, October 28, 2005 10:28 AM

To:	van Hardenberg, Bon

Subject:	files

Bon,

I have copied the 2005 files from your folder on OSDCOMMON into folders in OSDCOMMON\CRUISE_DATA\2005-05 and OSDCOMMON\CRUISE_DATA\2005-06, so if you want to remove them from your folder it is ok. When you update the rosette files could you either e-mail them to me, or let me know that I should copy new ones from your folder. Do you want the SBE19 data processed as well for 2005-05?

Thanks, Germaine

==================================================================

Good morning Germaine,

1. about 2004: I think Eddy is referring to the chemistry spreadsheet, wants the corrected pressures (depths) where bottles were tripped, and the corresponding T,S, oxy etc from the sensors  - I will look into that..

2. We just unloaded the ship this week, the samples are now arriving at the labs and no analysis has been done yet for either of the 2005 Laurier legs.

3. I will dig around in that 2004-13 file, look at cast #42 and get back to you (Fi is away for ~3 weeks…).

About 2005-06: there was one cast where the deck unit failed to synchronise so the data file is only from internally recorded data in the CTD: there is no bottle trip file, and trip depths have to be determined from the time-series of pressure! I will be happy to look at that with you when you get to that (not sure which cast nr since I brought you the log books).

Cheers,

Bon