File List for SeaBird Data

Cruise Number: _2005-07____

[osapcommon\cruise_data\2005-07\ctd]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon\cruise_data\2005-07\ctd\convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon\cruise_data\2005-07\ctd\derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon\cruise_data\ctd\2005-07\ctd\doc]

2005-07-ctd.con – configuration file used for all casts

2005-07-recal.ccf – calibration control file for recalibration of DO

2005-07-recal2.ccf – calibration control file for 2nd recalibration of DO

2005-07_proc.doc - processing notes

2005-07_file.doc - this document

2005-07-bot-hdr.txt – header file comments used for CHE files

2005-07-hdr.txt – header file comments used for CTD downcast files

[osapcommon\cruise_data\2005-07\ctd\hydro]

*.add – bottle from analyst, converted, edited, with flags

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted by spreadsheet

*.sam – bottle files with sample numbers added

addsamp.csv – file containing cast #, bottle number and sample number

2005-07-sal-comp1.csv & xls – salinity COMPARE file

2005-07-dox-comp1.csv & .xls – initial comparison of titrated DO and CTD DO

2005-07-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after recal

2005-07-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

2005-07-dox-comp4.csv & .xls – comparison of titrated DO and downcast CTD DO after

2nd recalibration of CTD DO.

[osapcommon\cruise_data\2005-07\ctd\ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

osapcommon\cruise_data\2005-07\Doc] Documents that were not products of processing job

[osapcommon\cruise_data\2005-07\Oxy] Original oxygen bottle files from analyst

[osapcommon\cruise_data\2005-07\Salinity] Original oxygen bottle files from analyst