## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2005/07/29 11:46:50 | Compare Excel Add-in Version 2.1
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal-Bot | Sal0 |  | Sal0 - Sal-Bot
Comp 2 | Sal-Bot | Sal1 |  | Sal1 - Sal-Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal-Bot | Sal0 | Sal0 | (S-P) | Sal-Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2005-07-0004.mrg | 2005-07-0004.sam | 121 | 97.931 | 97.9307 | 0.049768 | -0.00030518 | 32.0499 | 32.0592 | 0.0027754 | 0.0093269 | 32.0499 | 32.0653 | 0.00083724 | 0.015442
2005-07-0005.mrg | 2005-07-0005.sam | 121 | 75.149 | 75.1494 | 0.040626 | 0.0004425 | 31.8679 | 31.8615 | 0.001401 | -0.0064392 | 31.8679 | 31.8641 | 0.0026441 | -0.0038433
2005-07-0006.mrg | 2005-07-0006.sam | 121 | 10.077 | 10.0774 | 0.031877 | 0.00041294 | 30.3785 | 30.3125 | 0.0067544 | -0.065989 | 30.3785 | 30.1775 | 0.0052397 | -0.20095
2005-07-0007.mrg | 2005-07-0007.sam | 121 | 95.241 | 95.2406 | 0.029252 | -0.00041962 | 31.76 | 31.781 | 0.00037845 | 0.021009 | 31.76 | 31.7766 | 0.00045706 | 0.016588
2005-07-0012.mrg | 2005-07-0012.sam | 242 | 30.536 | 30.5336 | 0.033355 | -0.0023918 | 30.6609 | 30.7968 | 0.00048017 | 0.13591 | 30.6609 | 30.7927 | 0.00065334 | 0.13176
2005-07-0013.mrg | 2005-07-0013.sam | 121 | 64.054 | 64.0543 | 0.032734 | 0.00030518 | 32.3539 | 32.4338 | 0.0053698 | 0.079925 | 32.3539 | 32.4379 | 0.0038045 | 0.083988
2005-07-0014.mrg | 2005-07-0014.sam | 121 | 95.049 | 95.0494 | 0.02785 | 0.00035095 | 32.5106 | 32.6024 | 0.00060445 | 0.091778 | 32.5106 | 32.5979 | 0.00041464 | 0.087284
2005-07-0017.mrg | 2005-07-0017.sam | 121 | 109.932 | 109.932 | 0.032209 | 0.00012207 | 32.5739 | 32.6375 | 0.00029967 | 0.063553 | 32.5739 | 32.6344 | 0.00029098 | 0.060482
2005-07-0018.mrg | 2005-07-0018.sam | 121 | 80.796 | 80.7963 | 0.026765 | 0.00032806 | 32.5211 | 32.5391 | 0.00025187 | 0.017986 | 32.5211 | 32.5369 | 0.00022392 | 0.015812
2005-07-0019.mrg | 2005-07-0019.sam | 121 | 53.982 | 53.982 | 0.022527 | 2.6703e-05 | 31.3603 | 31.413 | 0.0003113 | 0.052729 | 31.3603 | 31.4099 | 0.0002934 | 0.049597
2005-07-0020.mrg | 2005-07-0020.sam | 121 | 100.18 | 100.18 | 0.027322 | 0.00021362 | 32.3121 | 32.3388 | 0.0033187 | 0.026741 | 32.3121 | 32.3406 | 0.0058307 | 0.028473
2005-07-0022.mrg | 2005-07-0022.sam | 121 | 197.243 | 197.243 | 0.035877 | 0.00036621 | 32.8767 | 32.8836 | 0.00026262 | 0.006897 | 32.8767 | 32.8812 | 0.00022926 | 0.0044594
2005-07-0023.mrg | 2005-07-0023.sam | 121 | 190.175 | 190.175 | 0.02959 | -0.00016785 | 32.8595 | 32.8717 | 0.00029238 | 0.012245 | 32.8595 | 32.8695 | 0.0002695 | 0.010033
2005-07-0024.mrg | 2005-07-0024.sam | 121 | 155.146 | 155.146 | 0.039971 | -0.00021362 | 32.767 | 32.7479 | 0.00032646 | -0.019112 | 32.767 | 32.7454 | 0.00020982 | -0.021622
2005-07-0025.mrg | 2005-07-0025.sam | 121 | 115.149 | 115.149 | 0.028726 | -0.00011444 | 32.5988 | 32.6511 | 0.00028738 | 0.052303 | 32.5988 | 32.648 | 0.00025695 | 0.049168
2005-07-0026.mrg | 2005-07-0026.sam | 121 | 99.826 | 99.8256 | 0.038584 | -0.00035858 | 32.2938 | 32.3608 | 0.00031858 | 0.067013 | 32.2938 | 32.3569 | 0.00047909 | 0.063095
2005-07-0027.mrg | 2005-07-0027.sam | 121 | 79.874 | 79.8741 | 0.023079 | 8.3923e-05 | 31.9387 | 32.1056 | 0.0037164 | 0.16685 | 31.9387 | 32.0975 | 0.0027419 | 0.15881
2005-07-0028.mrg | 2005-07-0028.sam | 121 | 55.199 | 55.1995 | 0.02914 | 0.00045395 | 31.5099 | 31.6662 | 0.0023188 | 0.15632 | 31.5099 | 31.6668 | 0.00046825 | 0.15689
2005-07-0030.mrg | 2005-07-0030.sam | 242 | 91.718 | 91.7137 | 0.032099 | -0.0042725 | 27.8296 | 27.823 | 0.00071917 | -0.0065784 | 27.8296 | 27.8168 | 0.0013784 | -0.012835
2005-07-0032.mrg | 2005-07-0032.sam | 121 | 140.286 | 140.286 | 0.034763 | 0.00013733 | 26.9147 | 26.9999 | 0.00054931 | 0.085195 | 26.9147 | 26.9922 | 0.0020611 | 0.077534
2005-07-0033.mrg | 2005-07-0033.sam | 242 | 99.67 | 99.6687 | 0.029833 | -0.0012894 | 26.4671 | 26.4972 | 0.0037032 | 0.030098 | 26.4671 | 26.4909 | 0.003785 | 0.023815
2005-07-0035.mrg | 2005-07-0035.sam | 121 | 49.909 | 49.9088 | 0.030127 | -0.00019074 | 26.7141 | 26.8185 | 0.00078149 | 0.10443 | 26.7141 | 26.8153 | 0.00021311 | 0.10123
Create Fit Sheet

## File List
Number of Files= |  | 22
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2005-07-0004.mrg | 2005-07-0004.sam | 12 | 12 | 2005-07-0004.mrg & 2005-07-0004.sam
2 | 2005-07-0005.mrg | 2005-07-0005.sam | 14 | 14 | 2005-07-0005.mrg & 2005-07-0005.sam
3 | 2005-07-0006.mrg | 2005-07-0006.sam | 16 | 16 | 2005-07-0006.mrg & 2005-07-0006.sam
4 | 2005-07-0007.mrg | 2005-07-0007.sam | 18 | 18 | 2005-07-0007.mrg & 2005-07-0007.sam
5 | 2005-07-0012.mrg | 2005-07-0012.sam | 20 | 20 | 2005-07-0012.mrg & 2005-07-0012.sam
6 | 2005-07-0013.mrg | 2005-07-0013.sam | 22 | 22 | 2005-07-0013.mrg & 2005-07-0013.sam
7 | 2005-07-0014.mrg | 2005-07-0014.sam | 24 | 24 | 2005-07-0014.mrg & 2005-07-0014.sam
8 | 2005-07-0017.mrg | 2005-07-0017.sam | 26 | 26 | 2005-07-0017.mrg & 2005-07-0017.sam
9 | 2005-07-0018.mrg | 2005-07-0018.sam | 28 | 28 | 2005-07-0018.mrg & 2005-07-0018.sam
10 | 2005-07-0019.mrg | 2005-07-0019.sam | 30 | 30 | 2005-07-0019.mrg & 2005-07-0019.sam
11 | 2005-07-0020.mrg | 2005-07-0020.sam | 32 | 32 | 2005-07-0020.mrg & 2005-07-0020.sam
12 | 2005-07-0022.mrg | 2005-07-0022.sam | 34 | 34 | 2005-07-0022.mrg & 2005-07-0022.sam
13 | 2005-07-0023.mrg | 2005-07-0023.sam | 36 | 36 | 2005-07-0023.mrg & 2005-07-0023.sam
14 | 2005-07-0024.mrg | 2005-07-0024.sam | 38 | 38 | 2005-07-0024.mrg & 2005-07-0024.sam
15 | 2005-07-0025.mrg | 2005-07-0025.sam | 40 | 40 | 2005-07-0025.mrg & 2005-07-0025.sam
16 | 2005-07-0026.mrg | 2005-07-0026.sam | 42 | 42 | 2005-07-0026.mrg & 2005-07-0026.sam
17 | 2005-07-0027.mrg | 2005-07-0027.sam | 44 | 44 | 2005-07-0027.mrg & 2005-07-0027.sam
18 | 2005-07-0028.mrg | 2005-07-0028.sam | 46 | 46 | 2005-07-0028.mrg & 2005-07-0028.sam
19 | 2005-07-0030.mrg | 2005-07-0030.sam | 48 | 48 | 2005-07-0030.mrg & 2005-07-0030.sam
20 | 2005-07-0032.mrg | 2005-07-0032.sam | 50 | 50 | 2005-07-0032.mrg & 2005-07-0032.sam
21 | 2005-07-0033.mrg | 2005-07-0033.sam | 52 | 52 | 2005-07-0033.mrg & 2005-07-0033.sam
22 | 2005-07-0035.mrg | 2005-07-0035.sam | 54 | 54 | 2005-07-0035.mrg & 2005-07-0035.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal0 - Sal-Bot) | Pressure | 22
2 | (Sal1 - Sal-Bot) | Pressure | 22
3 | (Sal0 - Sal-Bot) | File Pair # | 22
4 | (Sal1 - Sal-Bot) | File Pair # | 22

## Fit_1
Calculation of Linear Least Squares Fit For
(Sal0 - Sal-Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal-Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.061294 |  | X | CALC Y
m= | -0.00031547 | 0.00027606 |  | Std Dev of Resid |  | 0.058136 |  | 10.0774 | 0.07594
b= | 0.079119 | 0.028974 |  | Resid Sum of Squares |  | 0.067596 |  | 197.243 | 0.016895
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 22
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal-Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 97.9307 | 32.0592 | 0.0027754 | 0.0093269 | 0.048225 | 0.038898 |  | 97.9307 | 0.0093269
2 | YES | 75.1494 | 31.8615 | 0.001401 | -0.0064392 | 0.055412 | 0.061851 |  | 75.1494 | -0.0064392
3 | YES | 10.0774 | 30.3125 | 0.0067544 | -0.065989 | 0.07594 | 0.14193 |  | 10.0774 | -0.065989
4 | YES | 95.2406 | 31.781 | 0.00037845 | 0.021009 | 0.049074 | 0.028064 |  | 95.2406 | 0.021009
5 | YES | 30.5336 | 30.7968 | 0.00048017 | 0.13591 | 0.069487 | -0.066423 |  | 30.5336 | 0.13591
6 | YES | 64.0543 | 32.4338 | 0.0053698 | 0.079925 | 0.058912 | -0.021014 |  | 64.0543 | 0.079925
7 | YES | 95.0494 | 32.6024 | 0.00060445 | 0.091778 | 0.049134 | -0.042644 |  | 95.0494 | 0.091778
8 | YES | 109.932 | 32.6375 | 0.00029967 | 0.063553 | 0.044439 | -0.019114 |  | 109.932 | 0.063553
9 | YES | 80.7963 | 32.5391 | 0.00025187 | 0.017986 | 0.05363 | 0.035644 |  | 80.7963 | 0.017986
10 | YES | 53.982 | 31.413 | 0.0003113 | 0.052729 | 0.062089 | 0.0093608 |  | 53.982 | 0.052729
11 | YES | 100.18 | 32.3388 | 0.0033187 | 0.026741 | 0.047515 | 0.020774 |  | 100.18 | 0.026741
12 | YES | 197.243 | 32.8836 | 0.00026262 | 0.006897 | 0.016895 | 0.009998 |  | 197.243 | 0.006897
13 | YES | 190.175 | 32.8717 | 0.00029238 | 0.012245 | 0.019125 | 0.0068795 |  | 190.175 | 0.012245
14 | YES | 155.146 | 32.7479 | 0.00032646 | -0.019112 | 0.030175 | 0.049287 |  | 155.146 | -0.019112
15 | YES | 115.149 | 32.6511 | 0.00028738 | 0.052303 | 0.042793 | -0.0095101 |  | 115.149 | 0.052303
16 | YES | 99.8256 | 32.3608 | 0.00031858 | 0.067013 | 0.047627 | -0.019386 |  | 99.8256 | 0.067013
17 | YES | 79.8741 | 32.1056 | 0.0037164 | 0.16685 | 0.053921 | -0.11293 |  | 79.8741 | 0.16685
18 | YES | 55.1995 | 31.6662 | 0.0023188 | 0.15632 | 0.061705 | -0.094617 |  | 55.1995 | 0.15632
19 | YES | 91.7137 | 27.823 | 0.00071917 | -0.0065784 | 0.050186 | 0.056765 |  | 91.7137 | -0.0065784
20 | YES | 140.286 | 26.9999 | 0.00054931 | 0.085195 | 0.034863 | -0.050332 |  | 140.286 | 0.085195
21 | YES | 99.6687 | 26.4972 | 0.0037032 | 0.030098 | 0.047677 | 0.017579 |  | 99.6687 | 0.030098
22 | YES | 49.9088 | 26.8185 | 0.00078149 | 0.10443 | 0.063374 | -0.041059 |  | 49.9088 | 0.10443
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(Sal1 - Sal-Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal-Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0018797 |  | X | CALC Y
m= | -7.0571e-05 | 0.00036363 |  | Std Dev of Resid |  | 0.076579 |  | 10.0774 | 0.046675
b= | 0.047386 | 0.038166 |  | Resid Sum of Squares |  | 0.11729 |  | 197.243 | 0.033467
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 22
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal-Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 97.9307 | 32.0653 | 0.00083724 | 0.015442 | 0.040475 | 0.025033 |  | 97.9307 | 0.015442
2 | YES | 75.1494 | 31.8641 | 0.0026441 | -0.0038433 | 0.042083 | 0.045926 |  | 75.1494 | -0.0038433
3 | YES | 10.0774 | 30.1775 | 0.0052397 | -0.20095 | 0.046675 | 0.24763 |  | 10.0774 | -0.20095
4 | YES | 95.2406 | 31.7766 | 0.00045706 | 0.016588 | 0.040665 | 0.024077 |  | 95.2406 | 0.016588
5 | YES | 30.5336 | 30.7927 | 0.00065334 | 0.13176 | 0.045231 | -0.086529 |  | 30.5336 | 0.13176
6 | YES | 64.0543 | 32.4379 | 0.0038045 | 0.083988 | 0.042866 | -0.041122 |  | 64.0543 | 0.083988
7 | YES | 95.0494 | 32.5979 | 0.00041464 | 0.087284 | 0.040678 | -0.046606 |  | 95.0494 | 0.087284
8 | YES | 109.932 | 32.6344 | 0.00029098 | 0.060482 | 0.039628 | -0.020854 |  | 109.932 | 0.060482
9 | YES | 80.7963 | 32.5369 | 0.00022392 | 0.015812 | 0.041684 | 0.025872 |  | 80.7963 | 0.015812
10 | YES | 53.982 | 31.4099 | 0.0002934 | 0.049597 | 0.043577 | -0.0060201 |  | 53.982 | 0.049597
11 | YES | 100.18 | 32.3406 | 0.0058307 | 0.028473 | 0.040316 | 0.011844 |  | 100.18 | 0.028473
12 | YES | 197.243 | 32.8812 | 0.00022926 | 0.0044594 | 0.033467 | 0.029007 |  | 197.243 | 0.0044594
13 | YES | 190.175 | 32.8695 | 0.0002695 | 0.010033 | 0.033965 | 0.023933 |  | 190.175 | 0.010033
14 | YES | 155.146 | 32.7454 | 0.00020982 | -0.021622 | 0.036437 | 0.058059 |  | 155.146 | -0.021622
15 | YES | 115.149 | 32.648 | 0.00025695 | 0.049168 | 0.03926 | -0.0099076 |  | 115.149 | 0.049168
16 | YES | 99.8256 | 32.3569 | 0.00047909 | 0.063095 | 0.040341 | -0.022754 |  | 99.8256 | 0.063095
17 | YES | 79.8741 | 32.0975 | 0.0027419 | 0.15881 | 0.041749 | -0.11706 |  | 79.8741 | 0.15881
18 | YES | 55.1995 | 31.6668 | 0.00046825 | 0.15689 | 0.043491 | -0.1134 |  | 55.1995 | 0.15689
19 | YES | 91.7137 | 27.8168 | 0.0013784 | -0.012835 | 0.040914 | 0.053748 |  | 91.7137 | -0.012835
20 | YES | 140.286 | 26.9922 | 0.0020611 | 0.077534 | 0.037486 | -0.040048 |  | 140.286 | 0.077534
21 | YES | 99.6687 | 26.4909 | 0.003785 | 0.023815 | 0.040353 | 0.016537 |  | 99.6687 | 0.023815
22 | YES | 49.9088 | 26.8153 | 0.00021311 | 0.10123 | 0.043864 | -0.05737 |  | 49.9088 | 0.10123
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_3
Calculation of Linear Least Squares Fit For
(Sal0 - Sal-Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal-Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.11606 |  | X | CALC Y
m= | 0.0030722 | 0.0018958 |  | Std Dev of Resid |  | 0.056415 |  | 1 | 0.016933
b= | 0.01386 | 0.0249 |  | Resid Sum of Squares |  | 0.063652 |  | 22 | 0.081449
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 22
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal-Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 97.9307 | 32.0592 | 0.0027754 | 0.0093269 | 0.016933 | 0.0076058 |  | 1 | 0.0093269
2 | YES | 75.1494 | 31.8615 | 0.001401 | -0.0064392 | 0.020005 | 0.026444 |  | 2 | -0.0064392
3 | YES | 10.0774 | 30.3125 | 0.0067544 | -0.065989 | 0.023077 | 0.089066 |  | 3 | -0.065989
4 | YES | 95.2406 | 31.781 | 0.00037845 | 0.021009 | 0.026149 | 0.0051399 |  | 4 | 0.021009
5 | YES | 30.5336 | 30.7968 | 0.00048017 | 0.13591 | 0.029222 | -0.10669 |  | 5 | 0.13591
6 | YES | 64.0543 | 32.4338 | 0.0053698 | 0.079925 | 0.032294 | -0.047632 |  | 6 | 0.079925
7 | YES | 95.0494 | 32.6024 | 0.00060445 | 0.091778 | 0.035366 | -0.056412 |  | 7 | 0.091778
8 | YES | 109.932 | 32.6375 | 0.00029967 | 0.063553 | 0.038438 | -0.025115 |  | 8 | 0.063553
9 | YES | 80.7963 | 32.5391 | 0.00025187 | 0.017986 | 0.04151 | 0.023524 |  | 9 | 0.017986
10 | YES | 53.982 | 31.413 | 0.0003113 | 0.052729 | 0.044583 | -0.0081461 |  | 10 | 0.052729
11 | YES | 100.18 | 32.3388 | 0.0033187 | 0.026741 | 0.047655 | 0.020914 |  | 11 | 0.026741
12 | YES | 197.243 | 32.8836 | 0.00026262 | 0.006897 | 0.050727 | 0.04383 |  | 12 | 0.006897
13 | YES | 190.175 | 32.8717 | 0.00029238 | 0.012245 | 0.053799 | 0.041554 |  | 13 | 0.012245
14 | YES | 155.146 | 32.7479 | 0.00032646 | -0.019112 | 0.056871 | 0.075983 |  | 14 | -0.019112
15 | YES | 115.149 | 32.6511 | 0.00028738 | 0.052303 | 0.059944 | 0.0076404 |  | 15 | 0.052303
16 | YES | 99.8256 | 32.3608 | 0.00031858 | 0.067013 | 0.063016 | -0.0039969 |  | 16 | 0.067013
17 | YES | 79.8741 | 32.1056 | 0.0037164 | 0.16685 | 0.066088 | -0.10076 |  | 17 | 0.16685
18 | YES | 55.1995 | 31.6662 | 0.0023188 | 0.15632 | 0.06916 | -0.087162 |  | 18 | 0.15632
19 | YES | 91.7137 | 27.823 | 0.00071917 | -0.0065784 | 0.072233 | 0.078811 |  | 19 | -0.0065784
20 | YES | 140.286 | 26.9999 | 0.00054931 | 0.085195 | 0.075305 | -0.0098908 |  | 20 | 0.085195
21 | YES | 99.6687 | 26.4972 | 0.0037032 | 0.030098 | 0.078377 | 0.048279 |  | 21 | 0.030098
22 | YES | 49.9088 | 26.8185 | 0.00078149 | 0.10443 | 0.081449 | -0.022984 |  | 22 | 0.10443
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_4
Calculation of Linear Least Squares Fit For
(Sal1 - Sal-Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal-Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.12259 |  | X | CALC Y
m= | 0.0040333 | 0.0024128 |  | Std Dev of Resid |  | 0.071799 |  | 1 | -0.0016587
b= | -0.005692 | 0.03169 |  | Resid Sum of Squares |  | 0.1031 |  | 22 | 0.083041
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 22
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal-Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 97.9307 | 32.0653 | 0.00083724 | 0.015442 | -0.0016587 | -0.017101 |  | 1 | 0.015442
2 | YES | 75.1494 | 31.8641 | 0.0026441 | -0.0038433 | 0.0023747 | 0.006218 |  | 2 | -0.0038433
3 | YES | 10.0774 | 30.1775 | 0.0052397 | -0.20095 | 0.006408 | 0.20736 |  | 3 | -0.20095
4 | YES | 95.2406 | 31.7766 | 0.00045706 | 0.016588 | 0.010441 | -0.0061469 |  | 4 | 0.016588
5 | YES | 30.5336 | 30.7927 | 0.00065334 | 0.13176 | 0.014475 | -0.11729 |  | 5 | 0.13176
6 | YES | 64.0543 | 32.4379 | 0.0038045 | 0.083988 | 0.018508 | -0.06548 |  | 6 | 0.083988
7 | YES | 95.0494 | 32.5979 | 0.00041464 | 0.087284 | 0.022541 | -0.064743 |  | 7 | 0.087284
8 | YES | 109.932 | 32.6344 | 0.00029098 | 0.060482 | 0.026575 | -0.033907 |  | 8 | 0.060482
9 | YES | 80.7963 | 32.5369 | 0.00022392 | 0.015812 | 0.030608 | 0.014796 |  | 9 | 0.015812
10 | YES | 53.982 | 31.4099 | 0.0002934 | 0.049597 | 0.034641 | -0.014956 |  | 10 | 0.049597
11 | YES | 100.18 | 32.3406 | 0.0058307 | 0.028473 | 0.038675 | 0.010202 |  | 11 | 0.028473
12 | YES | 197.243 | 32.8812 | 0.00022926 | 0.0044594 | 0.042708 | 0.038249 |  | 12 | 0.0044594
13 | YES | 190.175 | 32.8695 | 0.0002695 | 0.010033 | 0.046741 | 0.036709 |  | 13 | 0.010033
14 | YES | 155.146 | 32.7454 | 0.00020982 | -0.021622 | 0.050775 | 0.072396 |  | 14 | -0.021622
15 | YES | 115.149 | 32.648 | 0.00025695 | 0.049168 | 0.054808 | 0.0056403 |  | 15 | 0.049168
16 | YES | 99.8256 | 32.3569 | 0.00047909 | 0.063095 | 0.058841 | -0.0042539 |  | 16 | 0.063095
17 | YES | 79.8741 | 32.0975 | 0.0027419 | 0.15881 | 0.062875 | -0.095933 |  | 17 | 0.15881
18 | YES | 55.1995 | 31.6668 | 0.00046825 | 0.15689 | 0.066908 | -0.089981 |  | 18 | 0.15689
19 | YES | 91.7137 | 27.8168 | 0.0013784 | -0.012835 | 0.070941 | 0.083776 |  | 19 | -0.012835
20 | YES | 140.286 | 26.9922 | 0.0020611 | 0.077534 | 0.074974 | -0.0025592 |  | 20 | 0.077534
21 | YES | 99.6687 | 26.4909 | 0.003785 | 0.023815 | 0.079008 | 0.055193 |  | 21 | 0.023815
22 | YES | 49.9088 | 26.8153 | 0.00021311 | 0.10123 | 0.083041 | -0.018193 |  | 22 | 0.10123
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE