## data
Cruise 2005-07 Nutrient samples
Analyzed from frozen samples by Melissa Hennekes July 27 and August 3 and 4, 2005
General comments: Many glass tubes were broken and there was a lot of ice in the bottom of the plastic bags.
The cracked glass tubes will likely be prone to contamination.
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Sp for nitrate for the range 4.0 to 25.8 uM was 0.12
Sp for silicate for the range 12.6 to 51.4 uM was 0.37
Sp for phosphate for the range 0.80 to 3.6 uM was 0.10
Quality Flags:
c = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
d = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
e = Not reported (lost sample; unredeemably bad measurement)
i = sample not drawn for this measurement from this bottle
f = average of duplicate samples
Cruise | Cast | Stn | S.N. | Nitrate | NO3 | Silicate | SIL | Phosphate | PO4 | Comments
[5 empty] | QF |  | QF |  | QF
2005-07 | 12 | EF01 | 34 | 0.81755 |  | 11.2849 |  | 0.094672 |  | glass test tube broken -transferred to cup
2005-07 | 12 | EF01 | 33 | 2.5064 |  | 8.8241 |  | 0.75665 |  | glass test tube broken -transferred to cup
2005-07 | 12 | EF01 | 32 | 4.9316 |  | 12.6105 |  | 0.97243
2005-07 | 12 | EF01 | 31 | 5.879 |  | 17.9754 |  | 1.2435
2005-07 | 12 | EF01 | 30 | 6.8259 |  | 21.3922 |  | 1.4791
2005-07 | 12 | EF01 | 29 | 6.5605 |  | 20.3715 |  | 1.4297
2005-07 | 13 | EF02 | 41 | -0.038742 |  | 4.092 |  | 0.14434
2005-07 | 13 | EF02 | 40 | 3.5515 |  | 9.0496 |  | 0.73564
2005-07 | 13 | EF02 | 39 | 5.6069 |  | 12.4542 |  | 0.92076
2005-07 | 13 | EF02 | 38 | 7.9231 |  | 16.5209 |  | 1.1088
2005-07 | 13 | EF02 | 37 | 11.5501 |  | 23.2238 |  | 1.4566
2005-07 | 13 | EF02 | 36 | 19.7772 |  | 57.2773 |  | 2.7892
2005-07 | 13 | EF02 | 35 | 1.8566 |  | 87.7986 |  | 4.9853
2005-07 | 14 | EF02A | 49 | 0.21504 |  | 6.4662 |  | 0.032749
2005-07 | 14 | EF02A | 48 | 2.8552 |  | 7.119 |  | 0.63142
2005-07 | 14 | EF02A | 47 | 5.5972 |  | 11.9339 |  | 0.96717
2005-07 | 14 | EF02A | 46 | 8.0195 |  | 16.6326 |  | 1.0908
2005-07 | 14 | EF02A | 45 | 12.1208 |  | 23.1787 |  | 1.4043
2005-07 | 14 | EF02A | 44 | 20.2989 |  | 53.3188 |  | 2.6594
2005-07 | 14 | EF02A | 43 | 0 |  | 119.6318 |  | 5.9733
2005-07 | 14 | EF02A | 42 | 0.074176 |  | 126.9523 |  | 6.5061
2005-07 | 17 | EF03 | 58 | 0.15046 |  | 5.5938 |  | 0.070884
2005-07 | 17 | EF03 | 57 | 3.4245 |  | 8.457 |  | 0.66725
2005-07 | 17 | EF03 | 55 | 8.2212 |  | 16.0222 |  | 1.0766
2005-07 | 17 | EF03 | 54 | 10.7466 |  | 20.0814 |  | 1.3151
2005-07 | 17 | EF03 | 53 | 21.2402 |  | 50.181 |  | 2.5841
2005-07 | 17 | EF03 | 52 | 0 |  | 104.6829 |  | 5.8454
2005-07 | 17 | EF03 | 51 | 0 |  | 156.316 |  | 9.9229
2005-07 | 17 | EF03 | 50 | -0.016338 |  | 159.1132 |  | 8.1468
2005-07 | 18 | EF03A | 66 | 0 |  | 3.6805 |  | 0.047778
2005-07 | 18 | EF03A | 65 | 3.9938 |  | 8.8871 |  | 0.71036
2005-07 | 18 | EF03A | 64 | 5.9975 |  | 12.6727 |  | 0.94639
2005-07 | 18 | EF03A | 63 | 7.8942 |  | 16.0742 |  | 1.0694
2005-07 | 18 | EF03A | 62 | 11.1055 |  | 21.7108 |  | 1.2997
2005-07 | 18 | EF03A | 61 | 20.5062 |  | 49.4538 |  | 2.4605
2005-07 | 18 | EF03A | 60 | -0.026867 |  | 108.8185 |  | 6.6702
2005-07 | 18 | EF03A | 59 | 0 |  | 109.9157 |  | 5.8181
2005-07 | 19 | EF04 | 73 | 0.20187 |  | 5.3205 |  |  | e | glass tube broken
2005-07 | 19 | EF04 | 72 | 3.9782 |  | 9.2414 |  | 1.1975
2005-07 | 19 | EF04 | 71 | 5.4092 |  | 11.8541 |  |  | e | plastic only
2005-07 | 19 | EF04 | 70 | 8.0185 |  | 16.8393 |  | 1.0865
2005-07 | 19 | EF04 | 69 | 11.246 |  | 21.3057 |  |  | e | plastic only
2005-07 | 19 | EF04 | 68 | 18.6878 |  | 34.6599 |  |  | e | plastic only
2005-07 | 19 | EF04 | 67 | 18.9984 |  | 35.9603 |  |  | e | plastic only
2005-07 | 20 | EF04A | 81 | 0.29632 |  | 3.2293 |  | 0.11657
2005-07 | 20 | EF04A | 80 | 4.4401 |  | 9.7732 |  | 0.76711
2005-07 | 20 | EF04A | 79 | 5.8232 |  | 12.6522 |  | 0.88581
2005-07 | 20 | EF04A | 78 | 8.2839 |  | 16.9837 |  | 1.0571
2005-07 | 20 | EF04A | 77 | 12.4917 |  | 23.1727 |  | 1.3865
2005-07 | 20 | EF04A | 76 | 20.6626 |  | 39.214 |  | 2.1047
2005-07 | 20 | EF04A | 75 | 24.1117 |  | 53.489 |  | 2.5734
2005-07 | 20 | EF04A | 74 | 26.2245 |  | 62.4499 |  | 3.0954
2005-07 | 22 | EF05 | 93 | 0.49307 |  | 3.5011 |  | 0.11365
2005-07 | 22 | EF05 | 92 | 3.9807 |  | 9.0041 |  | 0.64602
2005-07 | 22 | EF05 | 91 | 5.5208 |  | 12.1545 |  | 0.88306
2005-07 | 22 | EF05 | 90 | 8.089 |  | 16.7611 |  | 1.061
2005-07 | 22 | EF05 | 89 | 12.4594 |  | 23.8878 |  | 1.4106
2005-07 | 22 | EF05 | 87 | 23.3134 |  | 49.4959 |  | 2.3075
2005-07 | 22 | EF05 | 86 | 27.4843 |  | 65.1348 |  | 3.1932
2005-07 | 22 | EF05 | 85 | 25.7884 |  | 81.0337 |  | 3.5973
2005-07 | 22 | EF05 | 84 | 7.9923 |  | 88.8089 |  | 4.2936 | d | glass tube broken
2005-07 | 22 | EF05 | 83 | 0 |  | 118.1952 |  | 5.7693
2005-07 | 22 | EF05 | 82 | 0 |  | 142.7727 |  | 7.6451
2005-07 | 23 | EF05A | 105 | 0.37924 |  | 3.5741 |  | 0.15814
2005-07 | 23 | EF05A | 104 | 1.4083 |  | 4.6165 |  | 0.30956
2005-07 | 23 | EF05A | 103 | 5.0642 |  | 11.6921 |  | 0.76344
2005-07 | 23 | EF05A | 102 | 8.0518 |  | 17.0799 |  | 1.0665
2005-07 | 23 | EF05A | 101 | 12.0699 |  | 23.142 |  | 1.2841
2005-07 | 23 | EF05A | 100 | 20.258 |  | 37.9859 |  | 2.0295
2005-07 | 23 | EF05A | 99 | 22.9366 |  | 47.1782 |  | 2.5187 | d | glass tube broken
2005-07 | 23 | EF05A | 98 | 26.4378 |  | 57.8842 |  | 3.1476
2005-07 | 23 | EF05A | 97 | 25.6172 |  | 77.8362 |  | 4.4416 | d | glass tube broken
2005-07 | 23 | EF05A | 96 | 8.3156 |  | 91.9501 |  | 3.8844 | d | seems low
2005-07 | 23 | EF05A | 95 | 0 |  | 113.6997 |  | 5.828
2005-07 | 23 | EF05A | 94 | 0 |  | 115.9962 |  | 6.6038 | d | glass tube broken
2005-07 | 24 | EF06 | 115 | 0.0080607 |  | 3.3915 |  | 0.13041
2005-07 | 24 | EF06 | 114 | 6.205 |  | 13.343 |  | 0.99197
2005-07 | 24 | EF06 | 113 | 6.2053 |  | 13.3429 |  | 0.95931
2005-07 | 24 | EF06 | 112 | 9.9696 |  | 19.6483 |  | 1.223
2005-07 | 24 | EF06 | 111 | 11.7212 |  | 22.0159 |  | 1.421
2005-07 | 24 | EF06 | 110 | 19.3931 |  | 37.3397 |  | 1.9821
2005-07 | 24 | EF06 | 109 | 23.5076 |  | 51.298 |  | 2.584
2005-07 | 24 | EF06 | 108 | 25.2029 |  | 72.0608 |  | 3.5386
2005-07 | 24 | EF06 | 107 | 14.3951 |  | 86.9035 |  | 4.2433
2005-07 | 24 | EF06 | 106 | 10.0179 |  | 94.3504 |  | 4.4567
2005-07 | 25 | EF07 | 124 | 0.081898 |  | 2.3727 |  | 0.093726
2005-07 | 25 | EF07 | 123 | 2.0396 |  | 4.981 |  | 0.40278
2005-07 | 25 | EF07 | 122 | 5.8997 |  | 12.1648 |  | 0.9228
2005-07 | 25 | EF07 | 121 | 8.4203 |  | 16.7471 |  | 1.1141
2005-07 | 25 | EF07 | 120 | 10.1685 |  | 19.4998 |  | 1.2396
2005-07 | 25 | EF07 | 119 | 17.7773 |  | 34.5044 |  | 1.8536
2005-07 | 25 | EF07 | 118 | 24.048 |  | 55.0658 |  | 2.7272
2005-07 | 25 | EF07 | 117 | 24.6628 |  | 73.794 |  | 3.5303
2005-07 | 25 | EF07 | 116 | 21.5761 |  | 83.6115 |  | 3.9628
2005-07 | 26 | EF07A | 132 | 0.30746 |  | 3.4367 |  | 0.14219
2005-07 | 26 | EF07A | 131 | 3.9012 |  | 8.5148 |  | 0.7014
2005-07 | 26 | EF07A | 130 | 5.698 |  | 12.1669 |  | 0.93213
2005-07 | 26 | EF07A | 129 | 7.8534 |  | 16.2159 |  | 1.0642
2005-07 | 26 | EF07A | 128 | 10.7781 |  | 20.9258 |  | 1.2688
2005-07 | 26 | EF07A | 127 | 19.0429 |  | 38.2809 |  | 2.0221
2005-07 | 26 | EF07A | 126 | 22.894 |  | 50.8505 |  | 2.5719
2005-07 | 26 | EF07A | 125 | 25.513 |  | 64.6882 |  | 3.083
2005-07 | 27 | EF08 | 140 | 0.3765 |  | 6.3131 |  | 0.12474
2005-07 | 27 | EF08 | 139 | 4.4213 |  |  | e | 0.78283 |  | two glass tubes only - silicate no good
2005-07 | 27 | EF08 | 138 | 6.2137 |  | 13.7323 |  | 0.94779
2005-07 | 27 | EF08 | 137 | 8.518 |  | 17.7757 |  | 1.0997
2005-07 | 27 | EF08 | 136 | 10.9763 |  | 21.4327 |  | 1.278
2005-07 | 27 | EF08 | 135 | 18.2552 |  | 37.175 |  | 1.9126
2005-07 | 27 | EF08 | 134 | 20.9734 |  | 48.6536 |  | 2.4559
2005-07 | 27 | EF08 | 133 | 21.3822 |  | 49.8373 |  | 2.3899
2005-07 | 28 | EF09 | 147 | 1.3345 |  | 6.1724 |  | 0.32501
2005-07 | 28 | EF09 | 146 | 4.3386 |  | 10.051 |  | 0.73798
2005-07 | 28 | EF09 | 145 | 5.6855 |  | 12.4544 |  | 0.84309
2005-07 | 28 | EF09 | 144 | 7.9144 |  | 16.3305 |  | 1.0532
2005-07 | 28 | EF09 | 143 | 11.5977 |  | 22.7544 |  | 1.2896
2005-07 | 28 | EF09 | 142 | 18.2996 |  | 37.9223 |  | 1.9468
2005-07 | 28 | EF09 | 141 | 17.5178 |  | 36.4206 |  | 1.8879
2005-07 | 30 | CL01 | 156 | 4.541 |  | 16.3978 |  | 0.55611
2005-07 | 30 | CL01 | 155 | 4.7476 |  | 15.7193 |  | 0.70051
2005-07 | 30 | CL01 | 154 | 5.1095 |  | 15.5751 |  | 0.85808
2005-07 | 30 | CL01 | 153 | 4.6946 |  | 14.0982 |  | 0.85828
2005-07 | 30 | CL01 | 152 | 4.3315 |  | 13.4225 |  | 0.83882
2005-07 | 30 | CL01 | 151 | 4.1239 |  | 13.1469 |  | 0.87182
2005-07 | 30 | CL01 | 150 | 4.3304 |  | 16.5974 |  | 1.0032
2005-07 | 30 | CL01 | 149 | 4.2263 |  | 16.5861 |  | 1.01
2005-07 | 30 | CL01 | 148 | 4.1739 |  | 16.8408 |  | 1.0036
2005-07 | 32 | CL02 | 166 | 4.7932 |  | 15.6124 |  | 0.75502
2005-07 | 32 | CL02 | 165 | 5.2583 |  | 16.7958 |  | 0.74211
2005-07 | 32 | CL02 | 164 | 5.3094 |  | 16.2539 |  | 0.83413
2005-07 | 32 | CL02 | 163 | 5.5157 |  | 15.9777 |  | 0.88024
2005-07 | 32 | CL02 | 162 | 5.1011 |  | 15.437 |  | 0.86733
2005-07 | 32 | CL02 | 161 | 5.2039 |  | 15.4263 |  | 0.88066
2005-07 | 32 | CL02 | 160 | 5.7206 |  | 16.6064 |  | 0.9399
2005-07 | 32 | CL02 | 159 | 5.8234 |  | 17.2564 |  | 1.0451
2005-07 | 32 | CL02 | 158 | 6.4952 |  | 20.0227 |  | 1.0978
2005-07 | 32 | CL02 | 157 | 6.8049 |  | 21.9945 |  | 1.2227
2005-07 | 33 | CL03 | 175 | 4.1654 |  | 17.7255 |  | 0.48871 |  | glass tube cracked - transferred
2005-07 | 33 | CL03 | 174 | 3.958 |  | 17.7142 |  | 0.56757
2005-07 | 33 | CL03 | 173 | 7.6803 |  | 20.2078 |  | 0.84317
2005-07 | 33 | CL03 | 172 | 7.6277 |  | 19.7988 |  | 1.0468
2005-07 | 33 | CL03 | 171 | 6.7994 |  | 17.6782 |  | 1.0142
2005-07 | 33 | CL03 | 170 | 5.5579 |  | 15.036 |  | 0.94876
2005-07 | 33 | CL03 | 169 | 6.3326 |  | 18.1802 |  | 1.0474
2005-07 | 33 | CL03 | 168 | 6.2284 |  | 18.1679 |  | 1.0542
2005-07 | 33 | CL03 | 167 | 6.176 |  | 18.0242 |  | 1.0741
2005-07 | 35 | CL04 | 181 | 0.49374 |  | 14.0563 |  | 0.071688 | d | PO4 seems very low
2005-07 | 35 | CL04 | 180 | 8.0336 |  | 21.1239 |  | 1.0027
2005-07 | 35 | CL04 | 179 | 10.1007 |  | 24.1309 |  | 1.1408
2005-07 | 35 | CL04 | 178 | 11.9099 |  | 26.3495 |  | 1.2789
2005-07 | 35 | CL04 | 177 | 13.9265 |  | 31.7286 |  | 1.5287
2005-07 | 35 | CL04 | 176 | 13.8734 |  | 33.1587 |  | 1.6078

## dups
Duplicates collected 2005-07
Cruise 2005-07
Nutrients analysed frozen at IOS by Melissa Hennekes
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Sp for nitrate for the range 4.0 to 25.8 uM was 0.12
Sp for silicate for the range 12.6 to 51.4 uM was 0.37
Sp for phosphate for the range 0.80 to 3.6 uM was 0.10
Cruise | Cast | Stn | S.N. | NO3 |  | SIL |  | PO4 |  | Comments | NO3 | SIL | PO4
[11 empty] | diff ^2 | diff ^2 | diff ^2
2005-07 | 12 | EF01 | 32 dup | 4.9788 |  | 12.9302 |  | 0.95209 |  |  | 0.002224 | 0.10218 | 0.00041384
2005-07 |  |  | 32 | 4.9316 |  | 12.6105 |  | 0.97243
2005-07 | 13 | EF02 | 38 dup | 7.9191 |  | 16.834 |  | 1.1337 |  |  | 1.588e-05 | 0.097988 | 0.00062215
2005-07 |  |  | 38 | 7.9231 |  | 16.5209 |  | 1.1088
2005-07 | 14 | EF02A | 45 dup | 12.0125 |  | 22.8065 |  | 1.5623 |  |  | 0.011718 | 0.13853 | 0.024963
2005-07 |  |  | 45 | 12.1208 |  | 23.1787 |  | 1.4043
2005-07 | 17 | EF03 | 53 dup | 21.2401 |  | 49.5417 |  | 2.5486 |  |  | 6.4e-09 | 0.4087 | 0.0012562
2005-07 |  |  | 53 | 21.2402 |  | 50.181 |  | 2.5841
2005-07 | 18 | EF03A | 62 dup | 10.9934 |  | 21.3586 |  | 1.7351 |  |  | 0.012551 | 0.12402 | 0.18959
2005-07 |  |  | 62 | 11.1055 |  | 21.7108 |  | 1.2997
2005-07 | 19 | EF04 | 70 | 8.0185 |  | 16.8393 |  |  | 1.0865 |  | 1.637e-05 | 0.35404
2005-07 | 19 | EF04 | 70dup | 8.0225 |  | 16.2443 |  |  | 1.667 | glass tube broken
2005-07 | 20 | EF04A | 77 | 12.4917 |  | 23.1727 |  | 1.3865 |  |  | 4.7748e-05 | 0.037791 | 0.00021845
2005-07 | 20 | EF04A | 77dup | 12.4987 |  | 23.3671 |  | 1.4012
2005-07 | 22 | EF05 | 85 | 25.7884 |  |  | 81.0337 | 3.5973 |  | omitted silicate pairs | 0.30925 |  | 0.036004
2005-07 | 22 | EF05 | 85dup | 25.2323 |  |  | 142.6326 | 3.4076
2005-07 | 23 | EF05A | 97 |  | 25.6172 |  | 77.8362 |  | 4.4416 | glass tube broken
2005-07 | 23 | EF05A | 97dup |  | 22.1796 |  | 66.27 |  | 3.654 | not duplicates
2005-07 | 24 | EF06 | 109 | 23.5076 |  | 51.298 |  | 2.584 |  |  | 0.026468 | 0.010426 | 0.02692
2005-07 | 24 | EF06 | 109dup | 23.3449 |  | 51.4001 |  | 2.4199
2005-07 | 25 | EF07 | 119 | 17.7773 |  | 34.5044 |  | 1.8536 |  |  | 0.025873 | 0.65514 | 0.0061026
2005-07 | 25 | EF07 | 119dup | 17.6164 |  | 33.695 |  | 1.7755
2005-07 | 26 | EF07A | 128 | 10.7781 |  | 20.9258 |  | 1.2688 |  |  | 7.3984e-06 | 0.065204 | 0.0026751
2005-07 | 26 | EF07A | 128dup | 10.7754 |  | 21.1812 |  | 1.2171
2005-07 | 27 | EF08 | 136 | 10.9763 |  | 21.4327 |  | 1.278 |  |  | 0.0029214 | 4.6376e-05 | 0.0083421
2005-07 | 27 | EF08 | 136dup | 10.9222 |  | 21.4259 |  | 1.1867
2005-07 | 28 | EF09 | 144 | 7.9144 |  | 16.3305 |  |  | 1.0532 | omit phosphate | 0.023116 | 0.57497
2005-07 | 28 | EF09 | 144dup | 8.0664 |  | 17.0888 |  |  | 0.02529 | plastic only, glass tube cracked
2005-07 | 30 | CL01 | 151 | 4.1239 |  | 13.1469 |  | 0.87182 |  |  | 0.024814 | 0.18961 | 0.0010217
2005-07 | 30 | CL01 | 151dup | 3.9664 |  | 12.7114 |  | 0.83985
2005-07 | 32 | CL02 | 160 | 5.7206 |  | 16.6064 |  |  | 0.9399 | omit phosphate | 7.6895e-06 | 0.19487
2005-07 | 32 | CL02 | 160dup | 5.7178 |  | 16.1649 |  |  | 0.010204 | no glass
2005-07 | 33 | CL03 | 170 | 5.5579 |  | 15.036 |  | 0.94876 |  |  | 0.065347 | 1.2959 | 0.00073317
2005-07 | 33 | CL03 | 170dup | 5.8135 |  | 16.1744 |  | 0.97583
2005-07 | 35 | CL04 | 179 | 10.1007 |  | 24.1309 |  | 1.1408 |  |  | 0.011583 | 0.037431 | 0.00064618
2005-07 | 35 | CL04 | 179dup | 9.9931 |  | 23.9374 |  | 1.1153
[10 empty] | sum | 0.51596 | 4.2869 | 0.29951
[10 empty] | count | 17 | 16 | 14
[10 empty] | Sp | 0.12319 | 0.36601 | 0.10342
[10 empty] | min | 3.9664 | 12.6105 | 0.83985
[10 empty] | max | 25.7884 | 51.4001 | 3.5973
Cruise 2005-07
Nutrients analysed frozen at IOS by Melissa Hennekes
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Sp for nitrate for the range 4.0 to 25.8 uM was 0.12
Sp for silicate for the range 12.6 to 51.4 uM was 0.37
Sp for phosphate for the range 0.80 to 3.6 uM was 0.10

## TT179 samples
T. Thomson samples analyzed during 2005-07 nutrient analysis.
Anal Date |  | NO3 | SIL | PO4
2005-07-27 | TT surf | 6.4261 | 11.8932 | 1.0042
| TT surf | 6.4254 | 12.0145 | 0.99781
| TT 500m | 41.7847 | 93.1761 | 3.0115
| TT 500m | 42.0407 | 93.1379 | 3.0051
2005-08-04 | TT Surf | 6.45 | 12.1105 | 1.0147
| TT Surf | 6.3434 | 11.8533 | 1.0106
| TT 500m | 41.9643 | 93.7696 | 3.0116
| TT 500m | 42.0197 | 93.5029 | 3.0356